Agricultural Research Council, Roodeplaat-east, Roodeplaat, ARC-Plant Protection Research

P/Bag X134, Pretoria Queenswood, 0121 South Africa

Tel: 012 8088177 (Int: +27-12-8088177)

REQUEST FOR QUOTATION

| RFQ NUMBER: | ARC-PHP/ Roodeplaat/ Laboratory Equipment‬‬‬‬‬‬‬‬‬ |
| --- | --- |
| CLOSING DATE: | 26-07-2023 |
| DESCRIPTION | Laboratory Equipment |
| ADDRESS | ARC-PHP R573 KwaMhlanga/ Moloto Road Roodeplaat- East Roodeplaat |
| ENQUIRY | Name: Rirhandzu Hlatshwayo SCM ARC: Plant Protection Research Email: ppriquote@arc.agric.za |

1.         YOU ARE HEREBEY INVITED TO SUBMIT QUOTATIONS FOR THE REQUIREMENTS OF AGRICULTURAL RESEARCH COINCIL

|  | Quantity | UOM |
| --- | --- | --- |
| REQ-073485 : Zeiss V8 phototube |  |  |
| Phototube suitable for pre-existing Stereo V8 Microscope an Versatile color camera for education, documentation and routine applications with standalone capability, USB3.0 and Ethernet connectivity with 64bit driver software. Camera package should contain the following accessories: • USB 3.0 hub Type-C, • USB 3.0 flash drive, Type-C and Type-A • USB 3.0 cable Type-C to Type-A • Power adapter with country-specific plug Sensor: Sony CMOS image sensor Color, Rolling Shutter Number of Pixel: 3840 (H) x 2160 (V) = 8.3MP, Ultra HD (4K) Selectable Resolution: 3840 x 2160 = Ultra HD (4K) and 1920 x 1080 = Full HD (1080p) Pixel size: 1.85 μm x 1.85 μm Effective Area: 7.1 mm x 4.0 mm, equivalent to 1/2.1" (8.1 mm diagonal) Spectral range: approx. 400 nm # 700 nm, IR filter; RGB Bayer color mask Interfaces for Communication and for Power: • HDMI for monitor • USB 3.0 Type C for USB hub, flash drive, Wi-Fi adapter or, PC connection Ethernet (RJ45) Free Software fo | 1 | EA |
| REQ-073512 : Laboratory counter |  |  |
| Multi-position counter 9-digit Mechanical table counter, multi-position. For counting blood cells, bacterial colonies or for other applications in which different samples must be counted repeatedly. Individual positions count to 999. With sums window for the total count, an acoustic signal is issued after 100 total counts. Rotary knob to reset | 5 | EA |
| REQ-073530 : Centrifuges |  |  |
| Heraeus Megafuge 8 230 V Autolock rotor lock : Safe and fast rotor change for cleaning and multiple applications High performance: Fastest acceleration in class (under 9 seconds with swing out rotor) 4 500rpm / 3 260rcf with swing out rotor 24x 5/7ml and 8x50ml rotor 16 000rpm / 24 328 rcf with Microtube 24 x 1.5/2ml Maintenance free brushless induction motor High versatility: Multiple rotors wide range of adaptors (clinical blood tubes/ conical tubes/ microtubes / microplates/ columns / PCR tubes / Hematocrit. Clickseal biocontainment lids: Certified biocontainments lids for certain rotors •Intuitive user interface: 4 programs Highly visible backlit display Glove and detergent friendly construction and design End of run alarm / auto lid opening (programmable) Acceleration and deceleration curves Compact footprint: 37cm(W) x 48cm(D) Imbalance detection with SMART-SPIN technology Certification: UL listed / CE marked / IVD compliant / Certified Biocontainment 2YR w | 2 | EA |
| REQ-071927 : Temperature probes |  |  |
| Temperature probe for Glacier, -86oC ultralow temperature freezers Manufacturer: Nuair Model No: NU-9668E | 1 | EA |
| Temperature probe for -86oC ultralow temperature freezers Make : EVOSAFE-Series - Model: VF720-86 | 1 | EA |
| REQ-071933 : CO2 back up‬‬‬ |  |  |
| CO2 back up system compatible with - Make : EVOSAFE-Series - Model: VF720-86 ultralow freezer | 1 | EA |
| CO2 back up system compatible with Glacier, -86oC ultralow temperature freezers Manufacturer: Nuair Model No: NU-9668E | 1 | EA |
| REQ-072179 : Stainless steel racks‬‬‬ |  |  |
| RACK 1-TIER S/STEEL MCCARTNEY BOTTLE 81 280X280X30MM | 100 | EA |
| REQ-074172 : Water purification system |  |  |
| 1. 60L Type II pure water suitable for buffers, reagent preparation, microbiological culture media preparation, general washing and glassware rinsing. 2. 254nm UV lamp 3. All required filters - (Pre-treatment cartridge; RO cartridge; Ion exchange cartridge) 4. Gauges, tubes, fittings 5. 60Liter reservoir 6. Tank filter and UV lamp 7. Tank connections 8. System status display with at least : • Resistivity reading • Reservoir level indicator • Automatic notification when cartridge change is required. 9. Resistivity (>10MΩ.cm) , TOC (>30ppb) 10. Automatic circulation 11. Installation 12. Travel cost 13. Calibration certificate 14. Compliance of equipment to quality standards e.g. ISO 9001 certified 15. A breakdown of maintenance items, part no., frequency and cost e.g. filters, lamp, UV lamps seals etc. 16. Quick reference guide for daily operation 17. A demonstration or training on the use of equipment after installation where needed. | 1 | EA |
| REQ-074207 : Laboratory glassware washer |  |  |
| - Entry level lab. dishwasher with DI water connection for final rinse with DI water - Accessory set Upper basket with integrated spray arm, height adjustable for optimum loading of inserts - Lower basket with two module connections (automatically close when not in use) for holding up to 2 injector modules or inserts - 7x7mm perforated Insert (for upper and lower basket)for the gentle cleaning of delicate load items by interrupting the water jet - 2 x modules with 9x injector nozzles 90mm high and 9x injector nozzels 185mm high (78mm across the with and 157mm across the depth) suitable for glassware which include erlenmeyer and round flasks - Module with 4 injector nozzels 6 x 130mm and 4 injection nozzels 6 x 210mm for 250-1000ml lab. glassware - Module with 16 injector nozzels 2.5 x 80mm and 16 injection nozzels 2.5 x 125mm for 25-100ml lab. glassware - Powder cleaning agent suitable for all types of materials with pH value 11.7-11.9, mildly alkaline, 10kg- free from oxidants, foam damping effect - Relevant fittings - Installation - Travel cost - Compliance of equipment to quality standards e.g ISO 9001 certified - A demonstration or training on the use of washer after installation. | 1 | EA |
| REQ-073273 : Glacier -86oC ultralow temperature freezers |  |  |
| Glacier, -86oC ultralow temperature freezers 1. Glacier, -86oC ultralow temperature freezers Manufacturer: Nuair Model No: NU-9668E Interior volume: 728 L/ 25.7ft3 Exterior Dimensions (W x D x H) 1041 x 980 x 1980 mm / 41.0 x 38.6 x 78.0 in Interior Dimensions (W x D x H) 766 x 716 x 1310 mm / 30.2 x 28.2 x 51.6 in Temperature Range -40°C to -86°C Net Weight 345 kg / 761 lbs Noise (dB(A)) 50 |  |  |
| Chest Freezer: Dimensions on outside: Length: 1.31m Width: 0.6m Height: 0.89 Chest Freezer: Dimensions on inside: Length: 1.20m Width: 0.48m Height: 0.74 Drawer: Dimensions on outside: Length: 0.49m Width: 0.37m Final Specifications: If the freezer can be slightly wider on the inside (0.5m), this will allow 2 lots of drawers to be able to fit into the freezer lengthwise, so doubling the number of drawers being frozen at a time. NB –30°C or slightly colder | 1 | EA |
| REQ-073276 : Laminar flow or biological safety cabinet+UV |  |  |
| BIOBASE horizontal Laminar flow or biological safety cabinet with UV Model: Model: BBS-H1800 Manufacturer: JINAN BIOBASE BIOTECH CO., LTD (see attachment on detailed specifications) | 2 | EA |
| REQ-073286 : CHLOROPHYLL CONTENT METER WITH GPS |  |  |
| CCM-200plus Chlorophyll Content Meter with GPS Measured Parameters: Optical absorbance in two different wavebands (653 nm and 931 nm). Designed to measure chlorophyll content and compensate for leaf thickness Measurement Area: 3/8” diameter circle, or 9.53 mm area 0.11in , or 71.22 mm Resolution: +/- 1 CCI Unit Repeatability: +/- 1% Source: (1) Medical grade LED (peak at 653nm) (1) Infrared LED ( peak at 931 nm) Detector: Silicon photodiode with integral amplifier for absorbance measurement and source power monitoring for temperature compensation Storage Capacity: 1 Gigabyte of non-volitile memory allows between 94,000 and 160,000 measurements. User Interface: 128 x 32 pixel display, 6 keys for control and data manipulation, beep signal for status and warnings Output: USB 1.1 interface for data transfer. Either entire measuring files, or single measurements can be output by selection Temperature Range: 0-50 Deg C Temperature Drift: Temperature compensated source and detector circuitry for minimum drift over full range. Power Source: 9V Alkaline Battery Auto Off Interval: 4 minutes (no key press or download) Size: 152(L)x82(W)x25(D)mm (see attachment on more details and specifications or applications) | 1 | EA |
| REQ-073289 SOIL MOISTURE METER |  |  |
| SOIL MOISTURE METER. solution.seeedstudio.com 4 / 14 2 Specifications Soil Temperature Range -40 to +80 Accuracy ± 0.5 Resolution 0.1 Soil Moisture Range From completely dry to fully saturated (from 0% to 100% of saturation) Accuracy ± 3% (0~53%); 5% (53~100%) Resolution 1% General Parameters Product Model S-Soil MT-02 Interface RS-485 Protocol MODBUS-RTU RS485 Power Supply 3.6 ~ 30V DC Current Consumption Max 40mA @24V DC Measuring Area A cylinder area (with the probe as the center, diameter: 7cm, height: 7cm) Response Time Less than 1 second IP Rating IP68 Cable Length 5 meters Operating Temperature -40 ~ 85 Storage Temperature -40 ~ 85 The material of the probe Food grade stainless steel Sealing material The black flame retardant epoxy resin Installation All buried or probe into all of the measured medium This industrial-grade MODBUS-RTU RS485 Soil Moisture and Temperature Sensor is highly accurate, reliable, stable, and durable, and can be used in a vast array of soil moisture and soil temperature monitoring in professional application scenarios, such as water-saving irrigation, greenhouses management. S-Soil MT-02 V2.0 User Manual data sheet Features ◾ High Performance: high accuracy, reliability, and stability ◾ Universal Protocol: MODBUS-RTU RS485 ◾ Wide range power supply: 3.6V ~ 30V ◾Industrial-grade ◾ Robustness: IP68 rated, suitable for long-term applications ◾ Strong Anti-interference: made of flame-retardant epoxy resin ◾ High Durability: anti-corrosion, with excellent performance for long-term use ◾ User-friendly: easy to use, install and integrate ◾ Safety: designed with reverse voltage protection | 1 | EA |
| REQ-074491 : Microscope Camera Capex |  |  |
| 2.1MP Color front llluiminated CMOS, 1920x1080, 2.9um pixel size 5.6x3.1mm, 06.4mm | 1 | EA |
| REQ-073726 : Real-time PCR machine |  |  |
| 5 channels (green, yellow, orange, red, crimson), rotor to spin tubes while cycling. laptop computer, software, accessories and starter kit, 1-year warranty on parts labor, installation and training | 1 | EA |
| REQ-073729‬‬ : ‎Upright freezer‬‬‬ |  |  |
| Temperature: minus 20 to minus 30 Compliance of equipment to quality standards Multiple malfunction alarm including high/low temperature alarm, sensor error alarm, door ajar alarm capacity: 220 -450L | 1 | EA |
| REQ-073734‬‬ : ‎Pipette sets with stand‬‬‬ |  |  |
| Mechanical air-cushion pipettes. high accuracy for small amounts (below 1µL) Pipettte ranges: 0.1 – 2.5 µL, 1 - 10 µL, 10 - 100 µL, 100 - 1000 µL. Decimals in 0.1 increments entirely autoclavable Compliance of equipment to quality standards calibration certificate high UV and chemical resistance | 3 | EA |
| REQ-073471 : Infrared sterilizer |  |  |
| The Infrared Sterilizer sterilizes micro-organisms utilizing infrared heat produced by a ceramic core element. The ceramic element contains no asbestos and ensures maximum sterility without splatter across the work surface area. Complete sterilization occurs within 5-7 seconds at optimum sterilizing temperature of 815.6ºC. Center High-temperature 825°C ± 50°C Max-diameter of Sterilizer Goods Φ14 Φ35 Length of Sterilizer 150mm Dimensions(DXWXH) 159x100x260mm - 162 x 98 x 225mm Power 170W - 320W Net Weight ~ 1.5kg Adjustable angle range of heater 55° 1. Compliance of equipment to quality standards e.g ISO 9001 certified, accredited to ISO: 9001 and ISO:14001 standards etc. 2. Calibration certificate 3. A breakdown of yearly maintenance items, part no. and cost 4. A demonstration or training on the use of equipment after installation where needed. | 1 | EA |
| REQ-073476 : Refrigerated micro centrifuge |  |  |
| Maximum speed: 16000r/min Power supply: AC 220V 50Hz 10A Maximum RCF: 21532*g Machine noise: ≤55dB(A) Maximum capacity: 60ml Power: 700W Speed Accuracy: ±20r/min Temperature range: -20℃~+40℃ Fastest Acc/Dec time: 13~30s Temperature accuracy: ±1℃ Rotors: Angle rotor NO.1 - 24*1.5/2.2ml Angle rotor NO.2 - 12*5ml 1. Compliance of equipment to quality standards e.g ISO 9001 certified, accredited to ISO:9001 and ISO:14001 standards etc. 2. Request for a calibration certificate 3. A breakdown of yearly maintenance items, part no. and cost e.g. filters, lamp, septa, seals etc. 4. A demonstration or training on the use of equipment after installation where needed. | 1 | EA |
| All CAPEX items, with following: 1. Compliance of equipment to quality standards e.g ISO 9001 certified, accredited to ISO:9001 and ISO:14001 standards etc. 2. Request for a calibration certificate (pipettes, autoclaves - including pressure test report, microscope, centrifuge, scale etc. 3. Request for validation certificate for Biosafety cabinet/laminar flows 4. A breakdown of yearly maintenance items, part no. and cost e.g. filters, lamp, septa, seals etc. 5. A demonstration or training on the use of equipment after installation where needed. |  |  |

- Essential administrative  requirements:

- Only bidders registered on the Central Supplier Database (CSD) will be considered.  Bidders shall include the CSD registration number and full CSD report with the bid proposal.

- Only bidders that claim specific goals will be considered for scoring on the 20 points as per the 80/20 principle.

- Completed and signed Standard Bidding Documents (SBD) forms included in the bid document.

- The above specified goods/services should be delivered / rendered to the ARC-Plant Protection Research at above-mentioned delivery address.

- The particulars of the guarantee that will apply to the goods quoted for, with the particular regards to the period and extent of the warranty must be clearly stated.  Where services are required, service providers must submit documentation pertaining the relevant experience.

- Your written quotation must be emailed depending on the instructions given in the email or advert.

- All price quotations that have a rand value of R 2,000.00 to below R 50,000,000.00, including VAT, will be evaluated by applying the 80/20 principle as prescribed by the Preferential Procurement Policy Framework Act 5 of 2022 and its Regulations.

- The lowest acceptable price will score 80 points, Specific goals for the tender and points claimed are indicate per the table below:

| The specific goals allocated points in terms of this tender | Number of points allocated (80/20 system) (To be completed by the organ of state) | Number of points claimed (80/20 system) (To be completed by the tenderer) |
| --- | --- | --- |
| Percentage (%) Ownership by HDIs | Points 8 |  |
| 91-100% | 8 |  |
| 81-90 | 7 |  |
| 71-80 | 6 |  |
| 61-70 | 5 |  |
| 51-60 | 4 |  |
| 41-50 | 3 |  |
| 21-40 | 2 |  |
| 1-20 | 1 |  |
| 0% | 0 |  |
| Percentage (%) ownership by Women | Points (4) |  |
| 81-100 | 4 |  |
| 51-80 | 3 |  |
| 31-50 | 2 |  |
| 1-30 | 1 |  |
| 0% | 0 |  |
| Percentage (%) Ownership ( by Youth | Points (4) |  |
| 81-100 | 4 |  |
| 51-80 | 3 |  |
| 31-50 | 2 |  |
| 1-30 | 1 |  |
| 0% | 0 |  |
| Percentage Ownership by PwD | Points (2) |  |
| 51-100% | 2 |  |
| 1-50 | 1 |  |
| 0% | 0 |  |
| RDP Goals | Points (2) |  |
| EME’s/QSE’s | 2 |  |

- Standard conditions:

- The validity of the quotations must be indicated.

- Prices quoted should be in South African Rand and inclusive of VAT costs such as delivery, insurance, taxes, etc.

- No price adjustments or amendment of the delivery particulars contained in paragraph 8.2 will be considered by the ARC.

- The supplier accepts full responsibility for the proper execution and fulfilment of the goods/services quoted for.

- ARC reserves the right to accept or reject any special terms and conditions that may qualify the goods/services to be provided.

- Quotes should be submitted on an official letterhead and duly signed.

- Goods and services should be supplied / rendered upon receipt of a purchase order from the ARC.

- The General Conditions of Contract issued by National Treasury are applicable.

- The ARC supply chain management code of conduct is applicable.

- Standard Bidding Documents (SBD) forms must be signed and returned together with the quotation.  Failure to comply may result to disqualification of your quotation.

- Your quotation must indicate the delivery date.

- The ARC reserve the right to do due diligence on the quotations.

- The ARC reserves the right to benchmark prices quoted.

# SBD 6.1

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2022

This preference form must form part of all tenders invited.  It contains general information and serves as a claim form for preference points for specific goals.

NB:	BEFORE COMPLETING THIS FORM, TENDERERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS, 2022

- GENERAL CONDITIONS

  - The following preference point systems are applicable to invitations to tender:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

- the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

  - To be completed by the organ of state

(delete whichever is not applicable for this tender).

- The applicable preference point system for this tender is the 90/10 preference point system.

- The applicable preference point system for this tender is the 80/20 preference point system.

- Either the 90/10 or 80/20 preference point system will be applicable in this tender. The lowest/ highest acceptable tender will be used to determine the accurate system once tenders are received.

  - Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for:

- Price; and

- Specific Goals.

  - To be completed by the organ of state:

The maximum points for this tender are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| SPECIFIC GOALS | 20 |
| Total points for Price and SPECIFIC GOALS | 100 |

  - Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

  - The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.

- DEFINITIONS

- “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation;

- “price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts;

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and

- “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).

- FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

  - POINTS AWARDED FOR PRICE

3.1.1   THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	or	90/10

Ps=801-Pt-PminPmin	or	Ps=901-Pt-PminPmin

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmin	=	Price of lowest acceptable tender

  - FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT

    - POINTS AWARDED FOR PRICE

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	               or	            90/10

Ps=801+Pt-PmaxPmax	or	Ps=901+Pt-PmaxPmax

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmax	=	Price of highest acceptable tender

- POINTS AWARDED FOR SPECIFIC GOALS

  - In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender:

  - In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of—

- an invitation for tender for income-generating contracts, that either the 80/20 or 90/10 preference point system will apply and that the highest acceptable tender will be used to determine the applicable preference point system; or

- any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,

then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system.

Table 1: Specific goals for the tender and points claimed are indicated per the table below.

(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such.

Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)

| The specific goals allocated points in terms of this tender | Number of points allocated (90/10 system) (To be completed by the organ of state) | Number of points allocated (80/20 system) (To be completed by the organ of state) | Number of points claimed (90/10 system) (To be completed by the tenderer) | Number of points claimed (80/20 system) (To be completed by the tenderer) |
| --- | --- | --- | --- | --- |
| Percentage (%) Ownership by HDIs |  | Points 8 |  |  |
| 91-100% 8 |  |  |  |  |
| 81-90 7 |  |  |  |  |
| 71-80 6 |  |  |  |  |
| 61-70 5 |  |  |  |  |
| 51-60 4 |  |  |  |  |
| 41-50 3 |  |  |  |  |
| 21-40 2 |  |  |  |  |
| 1-20 1 |  |  |  |  |
| 0% 0 |  |  |  |  |
| Percentage (%) ownership by Women |  | Points (4) |  |  |
| 81-100 4 |  |  |  |  |
| 51-80 3 |  |  |  |  |
| 31-50 2 |  |  |  |  |
| 1-30 1 |  |  |  |  |
| 0% 0 |  |  |  |  |
| Percentage (%) Ownership ( by Youth |  | Points (4) |  |  |
| 81-100 4 |  |  |  |  |
| 51-80 3 |  |  |  |  |
| 31-50 2 |  |  |  |  |
| 1-30 1 |  |  |  |  |
| 0% 0 |  |  |  |  |
| Percentage Ownership by PwD |  | Points (2) |  |  |
| 51-100% 2 |  |  |  |  |
| 1-50 1 |  |  |  |  |
| 0% 0 |  |  |  |  |
| RDP Goals |  | Points (2) |  |  |
| EME’s/QSE’s 2 |  |  |  |  |
| Total |  |  |  |  |

DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm…………………………………………………………………….

  - Company registration number: …………………………………………………………...

  - TYPE OF COMPANY/ FIRM

Partnership/Joint Venture / Consortium

One-person business/sole propriety

Close corporation

Public Company

Personal Liability Company

(Pty) Limited

Non-Profit Company

State Owned Company

[Tick applicable box]

  - I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct;

- If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

  - disqualify the person from the tendering process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution, if deemed necessary.

……………………………………….

SIGNATURE(S) OF TENDERER(S)

SURNAME AND NAME:	 ……………………………………………………….

DATE:			………………………………………………………

ADDRESS:		………………………………………………………

………………………………………………………

………………………………………………………

………………………………………………………

SBD4

BIDDER’S DISCLOSURE

- PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.

- Bidder’s declaration

2.1 	Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise,

employed by the state?						YES/NO

2.1.1	If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

| Full Name | Identity Number | Name of State institution |
| --- | --- | --- |

2.2	Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? YES/NO

2.2.1     If so, furnish particulars:

……………………………………………………………………………………

……………………………………………………………………………………

2.3 	Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?				YES/NO

    - If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

- DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 	I have read and I understand the contents of this disclosure;

3.2	I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;

3.3 	The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium will not be construed as collusive bidding.

3.4 	In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.

3.4	The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

3.5 	There have been no consultations, communications, agreements or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

  - I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.

………………………………	 ..……………………………………………

Signature	                          Date

………………………………	………………………………………………

Position 	Name of bidder

the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.

Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.