Specifications for 3 x industrial airconditioners on the BSSA project

- Industrial airconditioner for Glasshouse 1, room 2

Split unit/inverter

Non-duckted

- Industrial airconditioner for Glasshouse 8, room 1

Split unit/inverter

Non-duckted

- Industrial airconditioner for Glasshouse 8, room 2

Split unit/inverter

Non-duckted

Site visit to compile quote is compulsory.

Installation of units should be quoted separately

Warranty of 2 years on installation and equipment