RIVERWALK ACCESS CONTROL AND CCTV MONITORING

BILL OF QUANTITIES

OEM: Hikvision

Infrastructure: The system is stand-alone on each building block
		: The system is hosted and governed by the National Treasury network.

Door panels: Each panel controls a maximum of 4 doors

Security readers: Dual readers, fingerprint and proximity cards.

BLOCK A

Access control:

| FLOOR | DOORS | READERS | EMERGENCY | PANELS |
| --- | --- | --- | --- | --- |
| Ground | 12 | 24 | 3 | 4 |
| 1st | 6 | 12 | 3 | 2 |
| 2nd | 6 | 12 | 3 | 2 |
| 3rd | 6 | 12 | 3 | 1 |
| Basement 1 | 4 | 8 | 2 | 3 |
| Basement 2 | 1 | 2 | 2 | 0 |
| Basement 3 | 2 | 4 | 2 | 2 |
| Drop-arm barriers (Grnd) | 8 | 8 | 0 | 2 |
| Vehicle boom poles (B1) | 2 | 2 | 0 | 0 |
| Total | 47 | 84 | 18 | 16 |

CCTV Monitoring

| FLOOR | CAMERA |
| --- | --- |
| 1st | 5 |
| 2nd | 6 |
| 3rd | 6 |
| Ground | 21 |
| Basement 1 | 17 |
| Basement 2 | 13 |
| Basement 3 | 12 |
| Total | 80 |

CONTROL ROOM/SERVER

| ITEM | QUANTITY | Comments |
| --- | --- | --- |
| Hikcentral server | 1 |  |
| CCTV recorders | 3 |  |
| Monitors | 3 |  |

BLOCK C

Access control:

| FLOOR | DOORS | READERS | EMERGENCY | PANELS |
| --- | --- | --- | --- | --- |
| Ground | 6 | 12 | 2 | 1 |
| 1st | 5 | 10 | 1 | 1 |
| 2nd | 5 | 10 | 1 | 2 |
| 3rd | 5 | 10 | 1 | 1 |
| Basement 1 | 0 | 0 | 4 | 0 |
| Basement 2 | 2 | 4 | 3 | 2 |
| Basement 3 | 0 | 0 | 3 | 0 |
| Drop-arm barriers (Grnd) | 5 | 5 | 0 | 0 |
| Vehicle boom poles (B1) | 2 | 2 | 0 | 0 |
| Total | 30 | 53 | 15 | 7 |

CCTV Monitoring

| FLOOR | CAMERA |
| --- | --- |
| 1st | 5 |
| 2nd | 5 |
| 3rd | 5 |
| Ground | 10 |
| Basement 1 | 10 |
| Basement 2 | 6 |
| Basement 3 | 9 |
| Total | 50 |

CONTROL ROOM/SERVER

| ITEM | QUANTITY | Comments |
| --- | --- | --- |
| Hikcentral server | 1 |  |
| CCTV recorders | 3 |  |
| Monitors | 3 |  |