{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Unpriced Boiler Spares BoQ"],"not_rendered":{"external_links":21,"defined_names":954},"read":"whole","date_system":"1900"}

{"sheet":"Unpriced Boiler Spares BoQ","index":0,"n_rows":89,"n_cols":8,"rows_kept":89,"merged":[[88,3,89,3],[88,7,89,7]]}
[]
[{"$nulls":3}," ",{"$nulls":3},"2026-05-18"]
[]
[null,"PROJECT: SUPPLY AND DELIVERY OF BOILER SPARES AT KUSILE POWER STATION (ONCE-OFF)"]
[]
[null,"ITEM NO.",null,"DESCRIPTION","UNIT","QTY","RATE","AMOUNT"]
[]
[{"$nulls":3},"ITEM 1"]
[null,1,null,"PRELIMINARIES AND GENERAL"]
[]
[null,1.1,null,"Delivery to Site (8 ton Truck)","Per Day",{"v":8,"d":"8.00"}]
[]
[{"$nulls":3},"Total Item 1 (Prelimaries and General) Carried to Final Summary"]
[]
[{"$nulls":3},"ITEM 2"]
[null,2,null,"BOILER SPARES"]
[]
[null,2.1,"0030571","BRG BAL:CONRAD;DOUBLE SHIELD;ID 60 MM","EA",{"v":1,"d":"1.00"}]
[null,2.2,"0501493","SEAT VLV: DISCHARGE; 310 X 210 MM;STL","EA",{"v":6,"d":"6.00"}]
[null,2.3,"0501495","SEAT:VALVE;ID 90 X OD 200 MM;STL","EA",{"v":6,"d":"6.00"}]
[null,2.4,"0574038","TRANSMITTER PRESS:0-400 BAR;O/P 4-20 MA","EA",{"v":1,"d":"1.00"}]
[null,2.5,"0608668","REPEATER LGHT SGNL:GALVANIC ISOLATOR","EA",{"v":1,"d":"1.00"}]
[null,2.6,"0609103","COUPLING SHFT FLEX:ELASTIC;19 MM;70 NM","EA",{"v":1,"d":"1.00"}]
[null,2.7,"0612017","VALVE GLB:450 MM; 300MM; AUTOMATIC; 1.5145","EA",{"v":1,"d":"1.00"}]
[null,2.8,"0616304","MOTOR ELEC:7.5 KW;2915 RPM;132M;14/8.1 A","EA",{"v":1,"d":"1.00"}]
[null,2.9,"0616806","TRAP STEAM:SLUDGE VESSEL;BW 50 MM;1.4903","EA",{"v":1,"d":"1.00"}]
[null,{"v":2.1,"d":"2.10"},"0621538","BRG PLN:PA FAN BEARING DRIVE END;ID 200","EA",{"v":1,"d":"1.00"}]
[null,2.11,"0621538","BRG PLN:PA FAN BEARING DRIVE END;ID 200","EA",{"v":1,"d":"1.00"}]
[null,2.12,"0621758","COMPENSATOR: TYPE: FABRIC EXPANSION; APPLICATION: FD FAN OUTLET THERMAL; SUPPL P/N: 4078X4209X240F/F; PRESSURE: -20 TO 20KPA; TEMPERATURE: -65 TO 200DEG C; MATERIAL: ALUMINISED SILICONE COATED FIBRE GLASS","EA",{"v":1,"d":"1.00"}]
[null,2.13,"0621977","SPIDER CPLG:SPACER;STL;ID 28 X 22.2 MM","KG",{"v":1,"d":"1.00"}]
[null,2.14,"0622119","SCRW SET:8 MM;0.7 MM;35 MM;SOCKET HEX","EA",{"v":1,"d":"1.00"}]
[null,2.15,"0631149","TUBE:BYPASS;LG 5000 MM;OD 70 MM;ID 64 MM","EA",{"v":1,"d":"1.00"}]
[null,2.16,"0639692","JOINT EXPSN:COMPENSATOR;WD 916 X HT 237","EA",{"v":1,"d":"1.00"}]
[null,2.17,"0643302","VALVE:CONTROL;150 MM;MANUAL","M",{"v":1,"d":"1.00"}]
[null,2.18,"0646099","TRANSMITTER, TEMPERATURE: SUPPL P/N: HSG31537405","M",{"v":1,"d":"1.00"}]
[null,2.19,"0646174","VALVE, RELIEF: SUPPL P/N: 35.901","M",{"v":1,"d":"1.00"}]
[null,{"v":2.2,"d":"2.20"},"0647617","BLADE, FAN: SUPPL P/N: SP-KUS-F2-0575556","EA",{"v":1,"d":"1.00"}]
[null,2.21,"0647620","BEARING, PLAIN: SUPPL P/N: SP-KUS-F2-0575557","EA",{"v":1,"d":"1.00"}]
[null,2.22,"0647621","SEAL, LABYRINTH: SUPPL P/N: SP-KUS-F2-0575558","EA",{"v":1,"d":"1.00"}]
[null,2.23,"0653599","SEAL:KVH DN100 PN40","EA",{"v":1,"d":"1.00"}]
[null,2.24,"0653600","SEAL: SUPPL P/N: SP-KUS-F2-06541","EA",{"v":1,"d":"1.00"}]
[null,2.25,"0654568","BEARING, PLAIN: SUPPL P/N: SP-KUS-F2-06401","EA",{"v":1,"d":"1.00"}]
[null,2.26,"0654570","COUPLING, SHAFT: TYPE: TAPER GRID RESILIANT; SUPPL P/N: SP-KUS-F2-06520; SIZE: STH 2170 C/W 900 DIAMETER BRAKE DISK","EA",{"v":1,"d":"1.00"}]
[null,2.27,"0654760","ELBOW, PIPE: DEGREE: 90; SUPPL P/N: SP-KUS-F2-02408/POS.1","EA",{"v":1,"d":"1.00"}]
[null,2.28,"0654767","ELBOW, PIPE: DEGREE: 90; SUPPL P/N: SP-KUS-F2-02411/POS.4","EA",{"v":1,"d":"1.00"}]
[null,2.29,"0654773","ELBOW, PIPE: DEGREE: 15; SUPPL P/N: SP-KUS-F2-02412/POS.5","KG",{"v":1,"d":"1.00"}]
[null,{"v":2.3,"d":"2.30"},"0654775","ELBOW, PIPE: DEGREE: 15; SUPPL P/N: SP-KUS-F2-02413/POS.6","EA",{"v":1,"d":"1.00"}]
[null,2.31,"0654776","ELBOW, PIPE: DEGREE: 90; SUPPL P/N: SP-KUS-F2-02414/POS.7","EA",{"v":2,"d":"2.00"}]
[null,2.32,"0654779","ELBOW, PIPE: DEGREE: 90; SUPPL P/N: SP-KUS-F2-02415/POS.8","EA",{"v":2,"d":"2.00"}]
[null,2.33,"0654780","ELBOW, PIPE: DEGREE: 15; SUPPL P/N: SP-KUS-F2-02416/POS.9","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.33999999999999,"d":"2.34"},"0654782","ELBOW, PIPE: DEGREE: 90; SUPPL P/N: SP-KUS-F2-02417/POS.10","EA",{"v":2,"d":"2.00"}]
[null,2.35,"0654786","ELBOW, PIPE: DEGREE: 30; SUPPL P/N: SP-KUS-F2-02419/POS.12","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.35999999999999,"d":"2.36"},"0654788","ELBOW, PIPE: DEGREE: 90; SUPPL P/N: SP-KUS-F2-02420/POS.13","EA",{"v":2,"d":"2.00"}]
[null,2.37,"0654789","ELBOW, PIPE: DEGREE: 15; SUPPL P/N: SP-KUS-F2-02421/POS.14","M",{"v":2,"d":"2.00"}]
[null,{"v":2.37999999999999,"d":"2.38"},"0654791","ELBOW, PIPE: DEGREE: 90; SUPPL P/N: SP-KUS-F2-02422/POS.15","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.38999999999999,"d":"2.39"},"0654793","ELBOW, PIPE: DEGREE: 45; SUPPL P/N: SP-KUS-F2-02423/POS.16","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.39999999999999,"d":"2.40"},"0654794","ELBOW, PIPE: DEGREE: 90; SUPPL P/N: SP-KUS-F2-02424/POS.17","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.40999999999999,"d":"2.41"},"0654797","ELBOW, PIPE: DEGREE: 30; SUPPL P/N: SP-KUS-F2-02425/POS.18","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.41999999999999,"d":"2.42"},"0654798","ELBOW, PIPE: DEGREE: 30; SUPPL P/N: SP-KUS-F2-02425/POS.18","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.42999999999999,"d":"2.43"},"0654800","ELBOW, PIPE: DEGREE: 90; SUPPL P/N: SP-KUS-F2-02427/POS.21","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.43999999999999,"d":"2.44"},"0654801","ELBOW, PIPE: DEGREE: 90; SUPPL P/N: SP-KUS-F2-02428/POS.22","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.44999999999999,"d":"2.45"},"0654803","ELBOW, PIPE: DEGREE: 90; SUPPL P/N: SP-KUS-F2-02429/POS.23","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.45999999999999,"d":"2.46"},"0654805","ELBOW, PIPE: DEGREE: 90; SUPPL P/N: SP-KUS-F2-02430/POS.24","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.46999999999999,"d":"2.47"},"0655346","PROTECTOR: TYPE: PROTECTIVE COVER; SUPPL P/N: SP-KUS-F2-16455; B / FOR 2 MECH. LS","EA",{"v":1,"d":"1.00"}]
[null,{"v":2.47999999999999,"d":"2.48"},"0655725","PIECE: TYPE: ARMOURING; SIZE: DIA 734 X LG 831 X THK 25 MM; APPLICATION: PF; BURNERS; SUPPL P/N: SP-KUS-F2-02009; ","EA",{"v":1,"d":"1.00"}]
[null,{"v":2.48999999999999,"d":"2.49"},"0655944","SEAL, MECHANICAL: APPLICATION: MILL REJECT SYS PRESSURE PUMP 1-2; SUPPL P/N: 57B-BP/048","EA",{"v":4,"d":"4.00"}]
[null,{"v":2.49999999999999,"d":"2.50"},"0655952","SET: TYPE: TAKE UP PULLEY; APPLICATION: DRIVE COAL FEEDER CONVEYOR; SUPPL P/N: SP-KUS-F2-05014; TAIL SHAFT; PULLEY COUPLING","EA",{"v":1,"d":"1.00"}]
[null,{"v":2.50999999999999,"d":"2.51"},"0655953","SET: TYPE: TAKE UP ROD AND NUT; APPLICATION: DRIVE COAL FEEDER CONVEYOR; SUPPL P/N: SP-KUS-F2-05027","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.51999999999999,"d":"2.52"},"0655957","FLAP: TYPE: COAL DETECTOR; SUPPL P/N: SP-KUS-F2-05030","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.52999999999999,"d":"2.53"},"0655958","FLAP: TYPE: COAL DETECTOR FLAP BEARING; SUPPL P/N: SP-KUS-F2-05031","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.53999999999999,"d":"2.54"},"0656034","METER: TYPE: MEASURING INSTRUMENT; SUPPL P/N: SP-KUS-F2-05408","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.54999999999999,"d":"2.55"},"0656057","KIT: TYPE: PRIMARY AIR QUICK CLOSING DAMPER; APPLICATION: MILL 10; 20; 30; 40; 50 MILLING; COMPRISING: DAMPER BLADES; SHAFT; BALL JOINTS","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.55999999999999,"d":"2.56"},"0656062","JOINT, BALL: SUPPL P/N: SP-KUS-F2-05388","EA",{"v":1,"d":"1.00"}]
[null,{"v":2.56999999999999,"d":"2.57"},"0656291","SPINDLE:CONTROL VALVE;56 MM;LG 724 MM","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.57999999999999,"d":"2.58"},"0656313","SPINDLE:CONTROL VALVE;26 MM;LG 385 MM","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.58999999999999,"d":"2.59"},"0665859","SPINDLE:CONTROL VALVE;63 MM;LG 1341 MM","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.59999999999999,"d":"2.60"},"0665860","SPINDLE:CONTROL VALVE;60 MM;LG 525 MM","EA",{"v":2,"d":"2.00"}]
[null,{"v":2.60999999999999,"d":"2.61"},"0501497","SPINDLE:VALVE;125 MM;LG 1.3 M;1.4122+QT","EA",{"v":3,"d":"3.00"}]
[]
[{"$nulls":3},"Total Item 2 (Boiler Spares) Carried to Final Summary"]
[]
[]
[{"$nulls":3},"FINAL SUMMARY"]
[]
[null,"ITEM 1",null,"PRELIMINARIES AND GENERAL"]
[]
[null,"ITEM 2",null,"BOILER SPARES"]
[]
[{"$nulls":3},"Total Amount (Excl VAT)"]