REQUEST FOR QUOTATION: SUPPLY AND DELIVERY OF WATER QUALITY METERS

1. Item: Water Quality Meters

2. Quantity: 2

3.  Detailed specification:  SEE ATTACHED

4. Delivery: CNR Mountain Mill and East Lake Road, Worcester, 6850

5. SCM Related Enquiries:nmafanya@bocma.co.za or asithole@bocma.co.za

Tel: 023 346 8000 and all Technical related enquiries: Contact Ms. Thembela Bushula tbushula@bocma.co.za Tel: 082 897 7370

6.Closing Date RFQ: Thursday  20 March 2025 at 10:00 am

Please complete the SBD Forms attached,

SBD4 Declaration of Interest of Interest

SBD 6.1 Preferential Procurement Points

Please attach your Tax clearance clearly reflecting tax status Pin

Evaluation Process:

This RFQ, will be evaluated as per the PPR of 2022 on the 80/20 principle

Where 80 points will be for price and the 20 points for specific goals.

NB: Service providers who did not complete the table on SBD 6.1 of PPR 2022 Completely will not be awarded the points as they would have not claimed the points; in order to claim points for specific goals, the service providers must claim the points on the in SBD 6.1

The specific goals will be evaluated as per the following:

Pricing and Specific goals

The following 80/20 criteria will be used for the evaluation of the proposals:

Pricing: 80 points

Specific Goals: 20 points

Specific goals:

|  | 80/20 Preference point system |
| --- | --- |
| Enterprises 51% or more black woman owned | 10 |
| Enterprise owned by people with disability or Youth | 5 |
| Enterprise with 51% or more black owned | 5 |
| Maximum Points |  |

Please provide proof to claim specific goals

Failure to submit proof for specific goals will not disqualify you but you will not score any points for specific goals

The following documents will be used as verification documents

- BEE Certificate / Affidavit

- Certified Identity Document

- Letter from the Doctor confirming Disability

SPECIFICATION : WATER TESTING

Water Quality meter specifications:

One meter to measure the following:

Dissolved Oxygen - Replaceable aluminium caps feature the Luminophore membrane, DO Measurement range: 0-500% / 0-50mg/L, Simple 2-point calibration, Resolution of 0.1% / 0.01mg/L,  Accuracy of 0 – 200%: ± 1% of reading. 200% – 500%: ± 10%.

Electrical Conductivity - Corrosion resistant gold coated stainless-steel build. Measurement range: 0-200,000µS. Single point calibration at one of the following concentrations: 1413µS (adjustable to any value)

pH - User replaceable sensor. Measurement range: 0-14pH, Simple 3-point calibration at pH 4,7 and 10. Internal temperature compensation. Sensor accuracy of 0.1pH.

Total Dissolved Solids - corrosion-resistant gold-coated stainless steel EC sensor, Measurement range 0 – 100,000 mg/L, Resolution 2 auto ranging scales: 0 – 9999mg/L, 10.00 – 100.00 mg/L, Accuracy of 1% of reading.

Temperature - Measurement range of -5 - +50 Degrees C, Accurate to +/-0.5 degrees C.

Turbidity - Dense sapphire lenses,  Measurement range: 0-3000 NTU, 3-point calibration at 0, 20 and 1000NTU, Internal temperature compensation, Auto range scaling: 0-99.9 / 100-3000 NTU.

Salinity - Uses the Corrosion resistant gold coated stainless-steel EC sensor, Measurement range 0 – 70 PSU, Resolution 0.01 PSU, Accuracy of 1% of reading.

Must come with - a GPS meter, downloading cable, calibration solutions, altitude measurements.

NB: 3-year maintenance plan must be included in the quote.