Annexure 1: Bid Specification:

RFB 3227/2025 REQUEST FOR BID FOR THE APPOINTMENT OF A SERVICE PROVIDER FOR THE SUPPLY AND INSTALLATION OF SPLIT AIR CONDITIONING UNITS AT X 17 SAPS SITES ON BEHALF OF THE SOUTH AFRICAN POLICE SERVICES (SAPS), GAUTENG

TECHNICAL, PRICING AND PREFERENCE POINTS REQUIREMENTS

# Contents

1.	Purpose and Background	3

1.1	Purpose	3

1.2.	Background	3

2.	Scope of bid	3

2.1	Scope of Work	3

2.2	Delivery Address	4

3.	Requirements	4

3.1	Product / Service Requirements	4

3.1.1	Aircon Installation Specifications	4

3.2	Project Requirements	6

4.	Bid Evaluation Stages	6

4.1	Mandatory Administrative Responsiveness (Stage 1)	6

4.1.1	Attendance of site visits	6

4.1.2	Registered Supplier	6

4.2	Technical returnable documents	6

4.2.1	Instruction and evaluation criteria	6

4.2.2	Technical mandatory requirements (Stage 2)	7

4.3	Special Conditions of Contract Verification (Stage 3)	8

4.3.1	Special Conditions of Contract	9

4.3.2	Declaration of compliance and acceptance SCC	14

4.4	Price and Preference Points Evaluation (Stage 4)	15

4.5	Preference Requirements	16

Annex A Bidder Substantiating Evidence	22

5.	Technical Mandatory Requirement Evidence	22

5.1	Air-Conditioning Technician Requirements	22

5.2	CIDB Registration Requirements	22

5.3	Bidder Experience and Capability Requirements	22

5.4	Special Conditions of Contracts	23

5.5	Preference Points Preferential Goals Evidence	23

Annex B CIDB Registration Requirements	24

Annex C: SAPS Sites	25

# Purpose and Background

## 1.1	Purpose

The purpose of this Request for Bid (RFB) is to invite Suppliers (hereinafter referred to as “bidders”) to submit bids for the supply and installation of air conditioning units for Network Outdoor enclosures in SAPS 17 Sites in Gauteng Province.

## 1.2.	Background

The customer has identified overheating in their outdoor enclosures that were installed during the NNUP Project. It has been noticed that when the weather temperatures rise, the temperature inside the outdoor enclosures also increases. When it is hot the cabinet air conditioner extracts more heated air into the enclosure exacerbating the heat which ultimately causes failure and damage to the network equipment and have an increased risk of fire. The enclosures are currently equipped with an air vents and Whirlybird that are supposed to extract the heat externally but unfortunately, they do not solve the problem as the enclosure remains hot inside. The condition was therefore identified as critical and needed urgent intervention by installing split air conditioning units for the enclosures to extract the hot air out and cool the room up.

# Scope of bid

## Scope of Work

The scope will include sourcing the service provider through the procurement process and providing for the customer SAPS the proposal for the following:

- Supply and installation of the Aircons.

- Fourteen 18,000 BTU and four 12,000 BTU split air conditioners are required for the supply, delivery, and installation at specified police stations in the network ISO container.

- The split air-conditioning unit(s) shall relate to insulated refrigerant piping,
electric wiring and interlocking control and cabling. In addition, the provision shall
be made in the unit design to re-evaporate condensation from the condenser, where
applicable.

- Condensing units shall be selected for a maximum compressor running operation of 8 hours per day.

- Controls shall have the following minimum functionality:

- Manual ON/OFF.

- Room temperature display.

- Room temperature adjustment.

- Cooling/heating selection.

- A COC is needed for all electrical connections

- At sites where there are only an electrical Hubble plug and no DB, an additional Hubble plug will be put in series to allow the air-con unit to be powered with its own Hubble plug.

- At sites where there are an existing DB – Board, the air-con unit must be connected to the existing DB–Board with its own circuit breaker. Should no blank space be available on the existing distribution box, an additional Hubble plug must be utilized as if there is no DB available.

- All electrical wiring must be installed in trunking.

NB: The Final BOM will be compiled and concluded on site by Suppliers, Customer and SITA on the day of the site visit.

## Delivery Address

The equipment will be delivered and installed at the following sites:

| No | SITE NAME | SITE ID | Longitude (E) | Latitude (S) | Street | Street No | Suburb |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Actonville - SAPS and CID | 7648 | 28,2997 | -26,2119 | SINGH STREET | 73 | ACTIONVILLE |
| 2 | Akasia - SAPS and CID | 6793 | 27,7952 | -25,6402 | PIET RAUTENBACH STREET | 91 | ROSSLYN |
| 3 | Benoni - SAPS and CID | 7641 | 28,3137 | -26,1964 | HARPUR AVENUE | 117 | BENONI |
| 4 | Boipatong - SAPS and CID | 8689 | 27,8454 | -26,6695 | MAMELODI STREET | 13 | BOIPATONG |
| 5 | Booysens - SAPS and CID | 7522 | 28,0216 | -26,2339 | BOOYSENS ROAD | 4 | BOOYSENS |
| 6 | Bronkhorstspruit - SAPS | 6835 | 28,7453 | -25,8092 | HAMMILTON STREET | 35 | BRONKHORSTSPRUIT |
| 7 | Edenvale - SAPS and CID | 7494 | 28,1496 | -26,1482 | 1ST AVENUE | 104 | EDENVALE |
| 8 | Johannesburg - Diepkloof Garage | 7526 | 28,0636 | -26,1386 | Z. DYNAMO STREET | 10 | DIEPKLOOF |
| 9 | Kameeldrift - SAPS and CID | 6825 | 28,3131 | -25,6355 | PLOT ROAD | 171 | KAMEELDRIFT |
| 10 | Lenasia South - SAPS and CID | 7539 | 27,8578 | -26,3956 | PERENESE STREET | 1 | EXT 4 |
| 11 | Moffatview - SAPS and CID | 8730 | 28,0885 | -26,241 | OUTSPAN ROAD | 72 | MOFFAT VIEW |
| 12 | Olifantsfontein - SAPS and CID | 7538 | 28,232 | -25,9513 | MAIN ROAD | 62 | OLIFANTSFONTEIN |
| 13 | Rietgat - SAPS and CID | 6920 | 28,0864 | -25,4981 | COMMISSIONER STREET | 112 | RIETGAT |
| 14 | Sandringham - SAPS and CID | 7529 | 28,1084 | -26,145 | MOPEDI ROAD | 2 | SANDRINGHAM |
| 15 | Silverton - Mamelodi Cluster | 6828 | 28,2761 | -25,7336 | HAAK STREET | 270 | WATLOO, SILVERTON |
| 16 | Temba - SAPS and CID | 7810 | 28,1559 | -25,2333 | KUDUBE UNIT 1 ROAD | 366 | TEMBA |
| 17 | Zonkiziswe - SAPS and CID | 7509 | 28,1788 | -26,4098 | STAND STREET | 115 | ZONKIZIZWE |

# Requirements

## Product / Service Requirements

### Aircon Installation Specifications

- Fourteen 18,000 BTU and four 12,000 BTU split air conditioners are required for the supply, delivery, and installation at specified police stations in the network ISO container.

- The split air-conditioning unit(s) shall be connected with insulated refrigerant piping,
electric wiring and interlocking control and cabling. In addition, the provision shall
be made in the unit design to re-evaporate condensation from the condenser, where
applicable.

- Condensing units shall be selected for a maximum compressor running operation of 8 hours per day.

- Controls shall have the following minimum functionality:

- Manual ON/OFF.

- Room temperature display.

- Room temperature adjustment.

- Cooling/heating selection.

- A COC is needed for all electrical connections

- At sites where there are only an electrical Hubble plug and no DB, an additional Hubble plug will be put in series to allow the air-con unit to be powered with its own Hubble plug.

- At sites where there are an existing DB – Board, the air-con unit must be connected to the existing DB–Board with its own circuit breaker. Should no blank space be available on the existing distribution box, an additional Hubble plug must be utilized as if there is no DB available.

- All electrical wiring must be installed in trunking.

## Project Requirements

3.2.1 Project Delivery Schedule and Performance

| WBS | Statement of Work | Delivery Timeframe |
| --- | --- | --- |
|  | Delivery of equipment | 3- weeks after contracting |
|  | Installation | 3- weeks after receiving |

NB: Delivery of all equipment as per the BOM that will be concluded during site visit at identified   addresses in section 2.2

# Bid Evaluation Stages

The bid evaluation process consists of Four stages, according to the nature of the bid. A bidder must qualify for each stage to be eligible to proceed to the next stage of the evaluation. The stages are:

Table 1: Bid Evaluation Stages

| Stage | Description | Applicable for this bid YES/NO |
| --- | --- | --- |
| Stage 1 | Mandatory Administrative Responsiveness | YES |
| Stage 2 | Technical Mandatory Responsiveness | YES |
| Stage 3 | Special Conditions of Contract verification | YES |
| Stage 4 | Price and Preference Points Evaluation | YES |

## Mandatory Administrative Responsiveness (Stage 1)

### Attendance of site visits

- A Compulsory site visit will be held.  The bidder must sign the attendance register using the same information (bidder company name, bidder representative person name and contact details) as submitted in the bidder’s response document. Any bidder who fails to attend all the site visit will be disqualified.

### Registered Supplier

- Only responses from bidders who are registered as a Supplier on National Treasury’s Central Supplier Database (CSD) in terms of National Treasury’s Instruction Note 4A of 2016/17 will be considered for award on this RFB.

## Technical returnable documents

### Instruction and evaluation criteria

- The bidder must comply with ALL the requirements as per the Technical Mandatory Requirements below by providing substantiating evidence in the form of documentation or information, failing which it will be regarded as “NOT COMPLY”.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response.

- The bidder must comply with ALL the TECHNICAL MANDATORY REQUIREMENTS in order for the bid response to proceed to the next stage of the evaluation.

### Technical mandatory requirements (Stage 2)

Table 2: Technical Mandatory Requirements

| Mandatory Requirements | Substantiating evidence of compliance (used to evaluate bid) | Evidence reference (to be completed by bidder) |  |
| --- | --- | --- | --- |
| - Air-Conditioning Technician Requirements |  |  |  |
| The bidder must have an Air-Conditioning Technician with a minimum qualification of a Refrigeration Mechanic (Industrial) and a valid trade test certificate that is Five (5) years old or longer. | Attach to ANNEX A, a copy of valid Trade Test Certificate. NOTE (1): The certificate must clearly indicate the following information below: - The Technician’s name; and - The date it was issued; and - if applicable, the expiry date NOTE (2): SITA reserves the right to verify information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex A, section 5.1> |  |
| - CIDB Registration Requirements |  |  |  |
| The Bidder or its Subcontractor must be registered with Construction Industry Development Board (CIDB) with a minimum rating of 3ME or higher. | The Bidder must complete and sign ANNEX B as evidence that the bidder or its Subcontractor is registered with the CIDB with a minimum rating of 3ME or higher. NOTE (1): SITA reserves the right to verify information provided. |  | <provide unique reference to locate substantiating evidence in the bid response Annex A, Annex B, Section 5.2> |
| - Bidder Experience and Capability Requirements |  |  |  |
| The bidder must have executed the delivery and installation of split air-conditioning to at least Two (2) customers in the past Five (5) years from the publication date of this bid. | Provide to ANNEX A, reference details and/or reference letters from at least Two (2) corporate customers to whom the delivery and installation of split air-conditioning was delivered in the past Five (5) years from publication date of this bid. NOTE (1): The Bidder must provide all of the following information when completing Table 6: - Company name; and - Contact person, telephone and/or e-mail address; and - Project scope of Work; and - Project start and end date. NOTE (2): The reference letter/s should be on the referees’ company letterhead and include all of the following information: - Company Name; and - Contact person, telephone and/or e-mail address; and - Project scope of Work; and - Project start and End date. NOTE (3): SITA reserves the right to verify information provided. NOTE (4): Failure to submit reference letters and/or to complete Table 6 fully as indicated above will result in disqualification. | < provide unique reference to locate substantiating evidence in the bid response Annex A, Section 5.3> |  |
| - Special Condition of Contract Verification |  |  |  |
| Bidder must accept ALL the Special Conditions of contract. | The Bidder must accept ALL the Special Conditions of Contract by completing and signing the declaration of Acceptance in the Declaration of Compliance and Acceptance under the Special Conditions (Section 4.3.2). NOTE (1): Failure to accept ALL the Special Conditions of Contract will result in disqualification. | <Provide unique reference to locate substantiating evidence in the bid response – see Annex A, Section 5.4> |  |

## Special Conditions of Contract Verification (Stage 3)

- The successful supplier will be bound by Government Procurement: General Conditions of Contract (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the successful Supplier. However, SITA reserves the right to include or waive the condition in the signed contract.

- SITA reserves the right to:

  - Negotiate the conditions; or

  - Automatically disqualify a bidder for not accepting these conditions; or

  - Allow subcontracting

- In the event that the bidder qualifies the proposal with own conditions and does not specifically withdraw such own conditions when called upon to do so, SITA will invoke the rights reserved in accordance with subsection 4.3. (b) above.

### Special Conditions of Contract

#### Contracting Conditions

- Formal Contract - The supplier must enter into a formal written contract (agreement) with SITA.

- Right to Audit - SITA reserves the right, before entering into a contract, to conduct or commission an external service provider to conduct a financial audit or probity to ascertain whether a qualifying bidder has the financial wherewithal or technical capability to provide the goods and services as required by this tender.

#### Delivery Address

- The supplier must deliver the required products or services at as indicated in Section 2.2, Delivery Address

#### Supplier Performance Reporting

- Supplier must provide reporting documents.

- Supplier must attend project meetings (daily or weekly) as required by SITA.

- Supplier must provide the Project Plan outlining how the target dates prescribed will achieved.

- Project Management service is required to effectively co-ordinate and ensure timely implementation of the solution and customer expectations are met. This may include collaborative work with SITA Project Manager/SITA Engineers or Client.

#### Certification, Expertise and Qualification

- The bidder certifies that:

  - it has the necessary expertise, skill, qualifications and ability to undertake the work required in terms of the Statement of Work or Service Definition

  - it is committed to provide the Products or Services; and

  - perform all obligations detailed herein without any interruption to the Customer

  - it has been certified for the Products and Services required.

#### Logistical Conditions

- Hours of Work

  - Office hours are defined as business working hours of the customer and is Mondays to Fridays between 08:00 and 16:30

  - After hours of the customer during weekdays are from 16:30 to 08:00

  - All mission critical sites will be managed on a 24 x 7 x 365 basis

- Client environment

In the event that SITA grants the bidder permission to access SITA's Environment including hardware, software, internet facilities, data, telecommunication facilities and/or network facilities remotely, the Supplier must adhere to SITA's relevant policies and procedures (which policy and procedures are available to the Supplier on request) or in the absence of such policy and procedures, in terms of, best industry practice.

- Tools of Trade

The bidder is expected to use its own resources (cell phone, laptops etc) to communicate with its own offices or outside of the SITA/Client buildings, including all tools and equipment to render the services effectively.

#### Regulatory, Quality and Standards

- The bidder must for the duration of the contract ensure compliance with ISO/IEC General Quality Standards, ISO27001, and Protection of Personal Information Act (POPIA).

- The bidder must for the duration of the contract ensure compliance with General Quality Standards, ISO 9001

- Electrical Work. Where applicable, the Supplier must ensure that Electrical Work is performed as prescribed by the Occupation Health and Safety Act (Act 85 of 1993 as amended), Electrical Regulations 2009, including,

    - The Supplier/subcontractor must be registered at the Department of Labour as an Electrical Contractor.

    - The standard of work conforms to SABS SANS 10142-1: The code of practice for wiring of premises; and

    - Any Electrical installation or alteration is certified after completion of work by means of a Certificate of Compliance.

NB: Any discrepancies found during the installation sign off process will result in delayed payment until the installation conforms to the quality and all documents received required by SITA.

#### Personnel Security Clearance

  - Company security screening: The supplier may be required to undergo a company security screening conducted by the State Security Agency (SSA). Should the SSA find the supplier not suitable after the conduct of the security screening, the business relationship will be terminated. The following documentation will be required for the company security screening process to be conducted:

    - Copy of company registration documentation.

    - Copy(ies) of identity documentation of Director(s), Member(s) or Trustee(s);

    - Copy of valid tax clearance certificate.

  - Security suitability checks for individuals: SITA may, at its own discretion and in line with its policies and procedures, require employees of the supplier to be subjected to a security suitability check before commencement of a project or delivering of a service. The security suitability check is conducted by SITA in order to ensure that individuals meet the minimum-security requirements and also to verify personal information. The supplier will be required to replace any employee(s) who is found to be not suitable after the conduct of the security screening. The following documentation will be required for the security suitability check:

    - Copy of identity document.

    - Copy(ies) of qualification(s) if SITA requires verification thereof.

    - Fingerprints – will be taken electronically.

    - Signed consent form for the conduct of background checks.

  - Security clearance: A security clearance, issued by either the SSA or Defence Intelligence (DI) is required if any employee of the supplier will have or may gain access to classified information throughout the duration of the project or in the process of delivering a service. The level of security clearance required – Confidential, Secret or Top Secret, will be determined at the sole discretion of SITA. The supplier will have to replace any employee who do not qualify for a security clearance or is found not suitable by the SSA or DI. The following documentation will be required for the security clearance process:

    - Completed Z204 or DD1057 security clearance application form.

    - Fingerprints.

    - Personal documentation of the applicant, including but not limited to, identity document, passport, marriage certificate (if applicable), divorce order (if applicable), qualifications, salary advice and bank statements.

#### Confidentiality and non -disclosure conditions

- The Supplier, including its management and staff, must before commencement of the Contract, sign a non-disclosure agreement regarding Confidential Information

- Confidential Information means any information or data, irrespective of the form or medium in which it may be stored, which is not in the public domain, and which becomes available or accessible to a Party as a consequence of this Contract, including information or data which is prohibited from disclosure by virtue of:

  - the Promotion of Access to Information Act, 2000 (Act no. 2 of 2000).

  - being clearly marked "Confidential" and which is provided by one Party to another Party in terms of this Contract.

  - being information or data, which one Party provides to another Party or to which a Party has access because of Services provided in terms of this Contract and in which a Party would have a reasonable expectation of confidentiality.

  - being information provided by one Party to another Party in the course of contractual or other negotiations, which could reasonably be expected to prejudice the right of the non-disclosing Party.

  - being information, the disclosure of which could reasonably be expected to endanger a life or physical security of a person.

  - being technical, scientific, commercial, financial and market-related information, know-how and trade secrets of a Party.

  - being financial, commercial, scientific or technical information, other than trade secrets, of a Party, the disclosure of which would be likely to cause harm to the commercial or financial interests of a non-disclosing Party; and

  - being information supplied by a Party in confidence, the disclosure of which could reasonably be expected either to put the Party at a disadvantage in contractual or other negotiations or to prejudice the Party in commercial competition; or

  - information the disclosure of which would be likely to prejudice or impair the safety and security of a building, structure or system, including, but not limited to, a computer or communication system; a means of transport; or any other property; or a person; methods, systems, plans or procedures for the protection of an individual in accordance with a witness protection scheme; the safety of the public or any part of the public; or the security of property; information the disclosure of which could reasonably be expected to cause prejudice to the defence of the Republic; security of the Republic; or international relations of the Republic; or plans, designs, drawings, functional and technical requirements and specifications of a Party, but must not include information which has been made automatically available, in terms of the Promotion of Access to Information Act, 2000; and information which a Party has a statutory or common law duty to disclose or in respect of which there is no reasonable expectation of privacy or confidentiality;

- Notwithstanding the provisions of this Contract, no Party is entitled to disclose Confidential Information, except where required to do so in terms of a law, without the prior written consent of any other Party having an interest in the disclosure.

- Where a Party discloses Confidential Information which materially damages or could materially damage another Party, the disclosing Party must submit all facts related to the disclosure in writing to the other Party, who must submit information related to such actual or potential material damage to be resolved as a dispute.

- Parties may not, except to the extent that a Party is legally required to make a public statement, make any public statement or issue a press release which could affect another Party, without first submitting a written copy of the proposed public statement or press release to the other Party and obtaining the other Party's prior written approval for such public statement or press release, which consent must not unreasonably be withheld.

#### Guarantee and warranties

The supplier confirms that:

- The warranty of goods supplied under this contract remains valid for the duration of the contract after the goods were delivered, installed and commissioned with a sign off, including the clients signature

- as at Commencement Date, it has the rights, title and interest in and to the Product or Services to deliver such Product or Services in terms of the Contract and that such rights are free from any encumbrances whatsoever.

- the Product is in good working order, free from Defects in material and workmanship, and substantially conforms to the Specifications, for the duration of the Warranty period.

- during the Warranty period any defective item or part component of the Product be repaired or replaced within 3 (three) days after receiving a written notice from SITA.

- the Products is maintained during its Warranty Period at no expense to SITA.

- the Product possesses all material functions and features required for SITA’s Operational Requirements.

- the Product remains connected, or Service is continued during the term of the Contract.

- all third-party warranties that the Supplier receives in connection with the Products including the corresponding software and the benefits of all such warranties are ceded to SITA without reducing or limiting the Supplier’s obligations under the Contract.

- no actions, suits, or proceedings, pending or threatened against it or any of its third-party suppliers or sub-contractors that have a material adverse effect on the Supplier’s ability to fulfil its obligations under the Contract exist.

- SITA is notified immediately if it becomes aware of any action, suit, or proceeding, pending or threatened to have a material adverse effect on the Supplier’s ability to fulfil the obligations under the Contract.

- any Product sold to SITA after the Commencement Date of the Contract remains free from any lien, pledge, encumbrance or security interest.

- SITA’s use of the Product and Manuals supplied in connection with the Contract does not infringe any Intellectual Property Rights of any third party.

- the information disclosed to SITA does not contain any trade secrets of any third party, unless disclosure is permitted by such third party.

- it is financially capable of fulfilling all requirements of the Contract and that the Supplier is a validly organized entity that has the authority to enter into the Contract.

- it is not prohibited by any loan, contract, financing arrangement, trade covenant, or similar restriction from entering into the Contract.

- the prices, charges and fees to SITA as contained in the Contract are at least as favourable as those offered by the Supplier to any of its other customers that are of the same or similar standing and situation as SITA; and

- A registered OEM warranty must be supplied to an appointed SITA representative within fourteen (14) days after the completion of installation.

- The supplier must provide a registered OEM warranty of five (5) years on all equipment, covering both hardware and software, along with a guaranteed one (1) year workmanship warranty. No maintenance or after-sales service is required.

- any misrepresentation by the Supplier amounts to a breach of Contract.

#### Intellectual Property Rights

- SITA retains all Intellectual Property Rights in and to SITA's Intellectual Property. As of the Effective Date, the Supplier is granted a non-exclusive license, for the continued duration of this Contract, to perform any lawful act including the right to use, copy, maintain, modify, enhance and create derivative works of SITA's Intellectual Property for the sole purpose of providing the Products or Services to SITA pursuant to this Contract; provided that the Supplier must not be permitted to use SITA's Intellectual Property for the benefit of any entities other than SITA without the written consent of SITA, which consent may be withheld in SITA's sole and absolute discretion. Except as otherwise requested or approved by SITA, which approval is in SITA's sole and absolute discretion, the Supplier must cease all use of SITA's Intellectual Property, at of the earliest of:

  - termination or expiration date of this Contract.

  - the date of completion of the Services; and

  - the date of rendering of the last of the Deliverables

- If so required by SITA, the Supplier must certify in writing to SITA that it has either returned all SITA Intellectual Property to SITA or destroyed or deleted all other SITA Intellectual Property in its possession or under its control

- SITA, at all times, owns all Intellectual Property Rights in and to all Bespoke Intellectual Property.

- Save for the license granted in terms of this Contract, the Supplier retains all Intellectual Property Rights in and to the Supplier’s pre-existing Intellectual Property that is used or supplied in connection with the Products or Services

- Provide SITA with the compliant Occupational Health and Safety File (required on site for period of installation and proof of compliance).

#### Counter Conditions

Bidders’ attention is drawn to the fact that amendments to any of the Bid Conditions or setting of counter conditions by bidders may result in the invalidation of such bids.

#### Fronting

- The SITA supports the spirit of Broad Based Black Economic Empowerment and recognizes that real empowerment can only be achieved through individuals and businesses conducting themselves in accordance with the Constitution and in an honest, fair, equitable, transparent and legally compliant manner. Against this background the SITA will not condone any form of fronting.

- The SITA, in ensuring that bidders conduct themselves in an honest manner will, as part of the bid evaluation processes, conduct or initiate the necessary enquiries/investigations to determine the accuracy of the representation made in bid documents. Should any of the fronting indicators as contained in the Guidelines on Complex Structures and Transactions and Fronting, issued by the Department of Trade and Industry, be established during such enquiry/investigation, the onus will be on the bidder / contractor to prove that fronting does not exist. Failure to do so within a period of 14 days from date of notification may invalidate the bid / contract and may also result in the restriction of the bidder/contractor to conduct business with the public sector for a period not exceeding ten (10) years, in addition to any other remedies SITA may have against the bidder/contractor concerned.

#### Business Continuity and Disaster Recovery Plans

The bidder confirms that they have written business continuity and disaster recovery plans that define the roles, responsibilities and procedures necessary to ensure that the required services under this bid specification is in place and will be maintained continuously in the event of a disruption to the bidder’s operations, regardless of the cause of the disruption.

#### Supplier Due Diligence

SITA reserves the right to conduct supplier due diligence prior to final award or at any time during the Contract period and this may include pre-announced / non-announced site visits. During the due diligence process the information submitted by the bidder will be verified and any misrepresentation thereof may disqualify the bid or Contract in whole or parts thereof.

#### Preference Goal Requirements conditions

The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

- The Bidder must sustain or improve the company’s BBBEE Level for the duration of the contact which will form part of the Contractual Agreement.

- Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report indicating progress against the Bidder’s Preferential commitments within 30 days of the yearly anniversary of the contract.

- Bidders need to keep auditable substantive records / evidence and upon request by SITA must be made available for audit and, or due diligence purposes.

- SITA reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA.

- SITA reserves the right to verify information / evidence provided by the Bidder.

- SITA reserves the right to introduce a penalty of 1% of the overall annual year spent by SITA for  the prior year if the Bidder fails to comply to paragraphs (a), (b) and (c) above.

### Declaration of compliance and acceptance SCC

I (we), the bidder hereby declare that I (we) accept ALL the Special Conditions of Contract as specified in par 4.3.1 above and shall comply with all stated obligations:

Name of Bidder:_____________________________	Signature: _________________________

Date:______________

## Price and Preference Points Evaluation (Stage 4)

    - Costing and Preference Evaluation

- In terms of the SITA Preferential Procurement Policy (PPP), the following preference point system is applicable to this bid:

  - the 80/20 system (80 Price, 20 Specific Goals) for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); or

- The Applicable Preference Point system for this tender is the 80/20 preference point system.

- Points for this tender shall be awarded for:

  - Price; and

  - Preference points for specific goals.

- The maximum points for this tender will be allocated as follows, subject to par.2.

Table 3: Points Allocation

| Description | Points |
| --- | --- |
| Price | 80 |
| Preference points for specific goals | 20 |
| Total points for Price and preference points for specific goals | 100 |

    - Costing and Pricing Conditions

- South African Pricing –

# The total price must be VAT inclusive and be quoted in South African Rand (ZAR).

- Total Price

- All quoted prices are the total price for the entire scope of required services and deliverables to be provided by the bidder.

- All additional costs as well as cost of delivery, labour, S&T, overtime, etc. must be included in this bid.

- All services, accessories, upgrades and options required by the solution or specified by the client must be included in the quoted price. If not included, suppliers will be required to supply these accessories at no cost to the client.

- SITA reserves the right to negotiate pricing with the successful bidder prior to the award as well as envisaged quantities

- These conditions will form part of the Contract between SITA and the bidder. However, SITA or the department reserves the right to include or waive the condition in the Contract.

- The bidder must complete the declaration of acceptance as per par 4.4.3 below by marking with an “X” either “ACCEPT ALL”, or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

    - Declaration of Acceptance

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Costing and Pricing conditions as specified in par 4.4.2 above by indicating with an “X” in the “ACCEPT ALL” column, or - The bidder declares to NOT ACCEPT ALL the Costing and Pricing Conditions as specified in par 4.4.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and. - Provide reason and proposal for each of the condition not accepted. |  |  |
| Comments by bidder: Provide the condition reference, the reasons for not accepting the condition. |  |  |

## Preference Requirements

- The bidder must complete in full all the PREFERENCE requirements.

- Allocation of points per requirements: The point’s allocation of bidders’ responses to the requirements will be determined by the completeness, relevance and accuracy of substantiating evidence.

- Points will be allocated for each PREFERENCE requirement as per the criteria set in each section in the table 5 below.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response, as “NOT COMPLY”. The evidence needs to be attached to ANNEX A.

- Preference Goal Requirements:

  - The applicable Preference Point system for this tender and points claimed is 80/20.

  - The specific Preferential Goal Requirements for this tender is indicated in table 4 below.

  - The Bidder must complete 80/20 preference point system and submit proof or documentation required in terms of this tender.

  - The Bidder must indicate their commitment to claim points for each of the preference points by signing at par 4.5 in the Invitation to Bid document.

  - Failure on the part of a bidder to submit proof or documentation required or to comply to paragraph (d) above in terms of this tender to claim preference points for the Preference Goal Requirements for this tender, will be interpreted to mean that preference points are not claimed.

  - The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

  - The Bidder must sustain or improve the company’s BBBEE Level for the duration of the contact which will form part of the Contractual Agreement.

  - Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report to SITA indicating progress against the Bidder’s preferential commitments within 30 days after each quarter from the commencement date of the contract.

  - Bidders need to keep auditable substantive records / evidence and upon request by SITA must be made available for audit and, or due diligence purposes.

  - SITA reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA.

  - SITA reserves the right to verify information / evidence provided by the Bidder.

  - SITA reserves the right to introduce a penalty of 1% of the overall annual year spent by SITA for the prior year if the Bidder fails to comply with paragraphs (f), (g) and (h) above.

Table 4: Preferential Goal Requirements 80/20 Preference Points system

| Preference Goal Requirement # | Preferential Goal Requirements | Preferential Goal Requirements |  |
| --- | --- | --- | --- |
|  | Preferential Goal Requirements allocated for this tender | Substantiating evidence and evidence reference to be completed by bidder. Evaluation per requirement: Each requirement indicated in the table below must be completed and points will be allocated based on the evidence required below Evidence Reference |  |
|  | B-BBEE Requirements |  |  |
| 1) | B-BBEE Requirements Promotion of Transformational Objectives. | Evidence: The Bidder must provide a copy of the following relevant evidence for the Preferential Goal points which the Bidder qualifies for: - Columns A, B, C and D in table 5 # Copy of relevant proof (B-BBEE certificate or sworn affidavit) of B-BBEE status level of contributor as defined in the Broad-Based Black Economic Empowerment Act: - B-BBEE certificate (from a SANAS Accredited Agency / thedtic). or - Sworn affidavit in the format provided by CIPC - Applicable to EMEs and QSEs only. # and/ or - Column D in table 5 # Copy of South African Identification Document (ID). # and/ or - Column E in table 5 # Copy of Medical Certificate clearly indicating the disability in line with the B-BBEE status claimed as defined in the Broad-Based Black Economic Empowerment Act. Note: The CIPC (Companies and Intellectual Property Commission) registration documents will also be used as evidence to confirm compliance to the Preferential procurement requirements as part of the evaluation process. Points allocation: Points will be allocated for bidders that meets the requirements as indicated in either table 5. | <provide unique reference to locate the substantiating evidence in the bid response – Annex A, section 5.5> |

Table 5: B-BBEE Points as part of the Preference Goal requirements (Preferential Goal Requirements for (80/20) system)

Note: Bidder to select the section for points they wish to claim (Mark as Y=Yes) in the table below.

|  |  |  |  | Ownership |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Reference # | Contributor Level as defined in the Broad-Based Black Economic Empowerment Act | EME/QSEs | Black Owned (BO) (51% or more) | Black Woman Owned (BWO) (More than 30%) | Youth Owned | Owned by People living with disabilities | Score | Bidder to select the section for points they wish to claim (Mark as Y= Yes) |  |
|  |  |  | (A) | (B) | (C) | (D) | (E) | (F) |  |  |
|  | 1 | Level 1 | 6 | 4 | 4 | 4 | 2 | 20 |  |  |
|  | 2 | Level 1 | 6 | 4 | 2 | 2 | 0 | 14 |  |  |
|  | 3 | Level 1 | 6 | 4 | 2 | 0 | 0 | 12 |  |  |
|  | 4 | Level 1 | 6 | 4 | 0 | 0 | 0 | 10 |  |  |
|  | 5 | Level 2 and 3 | 4 | 2 | 1 | 1 | 1 | 9 |  |  |
|  | 6 | Level 2 and 3 | 4 | 2 | 1 | 1 | 0 | 8 |  |  |
|  | 7 | Level 2 and 3 | 4 | 2 | 1 | 0 | 0 | 7 |  |  |
|  | 8 | Level 2 and 3 | 4 | 2 | 0 | 0 | 0 | 6 |  |  |
|  | 9 | Level 4 and 5 | 2 | 1 | 0,5 | 0,5 | 0,5 | 4,5 |  |  |
|  | 10 | Level 4 and 5 | 2 | 0,5 | 0,5 | 0,5 | 0 | 3,5 |  |  |
|  | 11 | Level 4 and 5 | 2 | 0,5 | 0,5 | 0 | 0 | 3 |  |  |
|  | 12 | Level 4 and 5 | 2 | 0,5 | 0 | 0 | 0 | 2,5 |  |  |
|  | 13 | Level 6 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 14 | Level 7 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 15 | Level 8 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 16 | Non-Contributor | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | Total Maximum Score Allocation: |  | 20 |  |  |  |  |  |  |  |

- Annex A Bidder Substantiating Evidence

# Technical Mandatory Requirement Evidence

## Air-Conditioning Technician Requirements

Attach a copy of valid Trade Test Certificate here.

NOTE (1):

The certificate must clearly indicate the following information below:

              - The Technician’s name; and

              - The date it was issued; and

              - If applicable, the expiry date

NOTE (2):

SITA reserves the right to verify information provided.

## CIDB Registration Requirements

The Bidder must complete and sign ANNEX B as evidence that the bidder or its Subcontractor is registered with the CIDB with a minimum rating of 3ME or higher and attach here.

NOTE (1):

SITA reserves the right to verify information provided.

## Bidder Experience and Capability Requirements

- Provide reference details and/or reference letters from at least Two (2) customers to whom the delivery and installation of split air-conditioning was delivered in the past Five (5) years from the publication date of this bid.

Table 6: References

| No | Company Name | Reference person name, contact details | Project Scope of Work | Project start and end date |
| --- | --- | --- | --- | --- |
| 1 | <Company name> | <Person Name> <Tel> <email> | <Provide scope details of a project from a customer to whom the delivery and installation of split air-conditioning was delivered in the past five (5) years> | Start Date: End Date: |
| 2 | <Company name> | <Person Name> <Tel> <email> | <Provide scope details of a project from a customer to whom the delivery and installation of split air-conditioning was delivered in the past five (5) years> | Start Date: End Date: |

NOTE (1):

The Bidder must provide all the following information when completing Table 6:

            - Company name; and

            - Contact person, telephone and/or e-mail address; and

            - Project scope of Work; and

            - Project start and End date.

NOTE (2):

The reference letter/s should be on the referees’ company letterhead and include all of the following information:

- Company Name; and

- Contact person, telephone and/or e-mail address; and

- Project scope of Work; and

- Project start and End date.

NOTE (3):

SITA reserves the right to verify information provided.

NOTE (4):

Failure to submit reference letters and/or to complete Table 6 fully as indicated above will result in disqualification.

## Special Conditions of Contracts

The Bidder must accept ALL the Special Conditions of Contract by completing and signing the declaration of Acceptance in the Declaration of Compliance and Acceptance under the Special Conditions (Section 4.3.2).

## Preference Points Preferential Goals Evidence

Evidence:
The Bidder must provide a copy of the following relevant evidence for the Preferential Goal points which the Bidder qualifies for:

- Columns A, B, C and D in table 5

# Copy of relevant proof (B-BBEE certificate or sworn affidavit) of B-BBEE status level of contributor as defined in the Broad-Based Black Economic Empowerment Act:

        - B-BBEE certificate (from a SANAS Accredited Agency / thedtic).

or

        - Sworn affidavit in the format provided by CIPC - Applicable to EMEs and QSEs only.

# and/ or

- Column D in table 5

# Copy of South African Identification Document (ID).

# and/ or

- Column E in table 5

# Copy of Medical Certificate clearly indicating the disability in line with the B-BBEE status claimed as defined in the Broad-Based Black Economic Empowerment Act.

Note:

The CIPC (Companies and Intellectual Property Commission) registration documents will also be used as evidence to confirm compliance to the Preferential procurement requirements as part of the evaluation process.

Points allocation: Points will be allocated for bidders that meets the requirements as indicated in table 5.

- Annex B CIDB Registration Requirements

The bidder needs to complete and sign ANNEX B as evidence that the bidder, or subcontractor is registered with the CIDB with a minimum rating of 3ME or Higher.

      - The Bidder needs to indicate their CIDB rating by ticking next to the relevant CIDB rating in the table below:

| Service and Support (Milestones) | CIDB Rating | Indicate the CIDB rating here by ticking next to the appropriate rating | Bidder to Indicate the Bidder CIDB rating here |
| --- | --- | --- | --- |
| CIDB Rating | 3ME |  |  |
|  | Higher |  |  |

- The Bidder needs to provide the Bidder, or subcontractor’s CRS number in the space in the table below:

| Requirement | Bidder CRS Number |
| --- | --- |
| Bidder CRS number relating to the minimum rating of 3ME |  |
| Bidder CRS number relating to the CIDB grading Higher than 3ME rating. |  |

I, the Supplier (Full names) …………………………………………………. representing (company name) ……………………………………………………………. hereby confirm that the Bidder is registered with Construction Industry Development Board (CIDB) and understand that it will form part of the contract and is legally binding.

Thus done and signed at ……………………………………. On this………day of……………….20….

__________________

Signature

Designation:

- Annex C: SAPS Sites

| No. | SITE NAME | SITE ID |
| --- | --- | --- |
| 1 | Akasia SAPS | 6793 |
| 2 | Boipotong SAPS | 8689 |
| 3 | Kameeldrift SAPS | 6825 |
| 4 | Olifantsfontein SAPS and CID | 7538 |
| 5 | Silverton Mamelodi Cluster | 6828 |
| 6 | Edenvale SAPS | 7494 |
| 7 | JHB Diepkloof Garage | 7526 |
| 8 | Zonkizizwe SAPS | 7509 |
| 9 | Actonville SAPS | 7648 |
| 10 | Benoni SAPS | 7641 |
| 11 | Booysens SAPS | 7522 |
| 12 | Bronkhorstspruit SAPS | 6835 |
| 13 | Lenasia South SAPS | 7539 |
| 14 | Moffatview SAPS | 8730 |
| 15 | Rietgat SAPS | 6920 |
| 16 | Sandringham SAPS | 7529 |
| 17 | Temba SAPS | 7810 |