RFx Number 6000022854

REQUEST FOR QUOTATION

APPOINTMENT OF A SERVICE PROVIDER FOR GENERAL PLUMBING MAINTAINANCE SERVICES AND MINOR WORKS ON AN AS AND WHEN REQUIRED BASIS “ADHOC”  FOR A PERIOD OF 12 MONTHS

PUBLISH DATE

24 August 2023

CLOSING DATE AND TIME

01 September 2023

Microsoft Teams Meeting

Friday 25 August 2023  At 14h30

Please click on the link below

Microsoft Teams meeting

Join on your computer, mobile app or room device

Click here to join the meeting

Meeting ID: 356 140 356 803 
Passcode: KYnhaV

Download Teams | Join on the web

Learn More | Meeting options

GENERAL PLUMBING MAINTENANCE

- PURPOSE

1.1 	The bid is designed to provide a framework that will enable a broad base of service providers an opportunity to participate in the provision of the various general plumbing maintenance and installation services to SARS within the region, on an as and when basis.

1.2	The primary objective being to bring the procurement of cycle times to a more acceptable level, without losing the essential concepts of openness, fairness, accountability, competitiveness and responsibility.

1.3 	This document details the services required by a service provider/s for general plumbing maintenance and services, on an as and when basis. In addition, this document defines the roles and responsibilities of the service provider/s and includes the levels of service that is expected.

- SERVICE PROVIDERS:

- The service provider will be appointed for a period of 12 months based on the pricing submitted. The contract will be based on duration (months) or value which will not exceed R500 000.00

- The service provider may make use of sub-contractors. The contract will however be awarded to the service provider/s as the primary contractor who will be responsible for the management of the contract. No separate contracts will be entered into between SARS and any such sub-contractors

- The service provider will be required to submit a health and safety file upon finalizing of SLA

- The successful bidder is reminded that any work allocated will arise on an “as and when basis”

- The offices will comprise of a service provider for the plumbing category. The service providers will comprise of more than 1 service provider for this category as per clusters within the region.

- Invoicing of work done by the service provider must be done on a “per job” basis which will further be outlined in the service level agreement

- SARS’s endeavour to ensure that the distribution of work allocated to a successful bidder, will be issued as per format below:

  - All work issued to respective service provider will be logged via the regional SARS Facilities helpdesk and a reference number will be issued;

  - A service request and work specification will be issued to the service provider to provide a quotation for required item of work;

  - Once the quotation is approved the service provider will be notified to proceed with work request by means of a purchase order

  - SARS Facilities will verify that the quality and completeness of the work and will then sign off the service request / job card and request the service provider to invoice for the completed work. Supplier invoice(s) must be attached where applicable;

  - After receipt of the detailed invoice, SARS Facilities will check and verify the invoice and approve for payment once all invoiced items are confirmed as correct;

  - In cases where existing materials were used, the service provider is required to submit quantities used in the course of the completed work, for verification purposes

  - Non schedule items relating to plumbing maintenance work will require supplier quote and material mark up percentage

- SCOPE OF WORK

- Details of scope of work relating to labour pricing provided in schedule of rates. This request includes non schedule (materials) items relating to plumbing maintenance work that will require supplier quote and material mark up percentage when requested as indicated above.

CATEGORY ONE:

| 3.1 | GENERAL DAY-TO-DAY BUILDING MAINTENANCE SERVICES | Category one | Yes/ no/ comments |
| --- | --- | --- | --- |
| 3.1.1 | The contractor acknowledges that he is capable of attending to all the plumbing maintenance services as listed below: | Infrastructure |  |
| 3.2.1 | PLUMBING WORK INCLUDING REPAIR AND INSTALLATIONS: leaking and replacement of taps, toilet seat, unblock drains basins, hand basins, pipes, toilet pan, geyser, flushmaster, pipe rodding, hydro boils, repairs to jojo tanks, automated filtered water unit, back up water tank, water pump, high pressure jet, septic tank pipe repairs or replacements, filling of jojo tanks with water, portable toilets, issue of compliance certificate when required, etc. | Plumbing |  |

4. GENERAL CONDITIONs

|  | Specification/ Description | Yes/ No/ Comments |
| --- | --- | --- |
| 4.1 | This Bid would be for a period of 12 (twelve) months whereby it could be terminated prior to the 12 month period. These services may be acquired from the successful service provider/s on an as and when required basis. All conditions apply as stipulated in the SARS Procurement Policy. |  |
| # 4.2 | # All SARS offices as per Annexure A will participate in this contract as and when required. SARS reserves the right to add or remove offices. |  |
| 4.3 | SARS reserves the right to accept more than one Bid to order its requirements from the most economical and/ or convenient point of supply. SARS also reserves the right to accept a Bid as a whole or partially or not at all. SARS will not be obliged to accept any particular Bid for whatever reason. SARS also reserves the right to request further references. |  |
| 4.4 | The following information must be provided per item: |  |
| 4.4.1 | - It should be noted that the specification represents the minimum requirements of SARS, and any deviations, proposals, etc must be clearly specified by the service provider/s. |  |
| 4.5 | The winning bidder may not exceed sub-contracting any part of the contract over the threshold as stipulated by National Treasury which limits it to 25 percent of the contract. When sub-contracting, the appointed service provider may only apply the mark up’s as indicated below for material. Refer to Annexure B. The appointed service provider may not place a mark-up on labour. The contract will however be awarded to the Service Provider/s as the primary contractor who will be responsible for the management of the contract. No separate contracts will be entered into between SARS and any such sub-contractors. |  |
| 4.6 | The Service Provider/s is required to provide an “invoice” from his “Supplier” for any materials purchased when submitting his invoice to SARS for payment as indicated in point 2.6 |  |
| 4.7 | SARS reserves the right to verify the cost of any materials purchased against the “Suppliers” invoice or by any other independent supplier. |  |
| 4.8 | SARS reserves the right to verify “suppliers” invoice for material charges |  |
| 4.9 | The Service Provider/s is required to provide the repair and corrective maintenance service on a Time (labour) and Material basis. |  |
| - 4.10 | - A Service Level Agreement (SLA) will be entered into between SARS and the successful service provider/s |  |
| - 4.11 | - The South African Revenue Service shall have the right to terminate this contract in the event of poor service and/or non compliance to the service level agreement by the service provider/s. |  |
| - 4.12 | - The South African Revenue Service shall not be liable for any damage or loss to the service provider/s resulting from termination under this clause. |  |
| - 4.13 | - The service provider and sub-contractor should comply with the requirements of the Occupational Health and Safety Act No. 85 of 1993 and the Regulations thereto including any relevant standards and SABS codes of practice that may apply. To minimize of eliminate contractor’s and SARS staff health and safety risks. |  |
| - 4.14 | - The contractor should make provision for the cost of health and safety measures to be implemented during the duration of the contract / during the maintenance / construction process. |  |
| - 4.15 | - If resources is situated more than 100km it must be subcontracted |  |

5.MANDATORY

The following table defines the weighting allocated to each major category that will be used for the evaluation of the bid responses.  Each major category is defined further in the sections below:

| INSTANT DIS-QUALYFIERS |  |  |
| --- | --- | --- |
| - Letter of intent from Insurance Company or proof of Public Liability insurance to the value of not less than R1 000,000.00 (one million Rand). Please provide certified copy of insurance policy or intent letter. | Proof submitted | Evaluate further |
|  | Proof not submitted | Disqualified |
| - The service provider/s must be registered with CIDB as a 2, 3 or higher SO. Please provide registration number. | Proof submitted – | Evaluate further |
|  | Proof not submitted | Disqualified |
| Service provider/s has submitted labour pricing in template per preferred clustered as referred to in the Annexure B. | pricing template completed | Evaluate further |

- TECHNICAL EVALUATION

The following table defines the weighting allocated to each major category that will be used for the evaluation of the bid responses.  Each major category is defined further in the sections below

| TECHNICAL EVALUATION CRITERIA |  | WEIGHTING |
| --- | --- | --- |
| Company Profile |  | 100 |
| Company profile: - Provide detailed list of plumbing services provided; - Provide a list of resources (staff and equipment) which includes detailed CV’s of staff in relation to plumbing maintenance (2 x point per staff and 2 x point per equipment) - Contracts or work completed relating to plumbing maintenance; ( 2 points per contract ) and - Address of business office indicated in document | 1 x point per service 2 x points per staff and 2 x points per equipment 2 x points per contract 1 x point per information | 10 20 12 3 |
| References from 5 x existing and previous clients( plumbing contracts or works), - Name of client; (1 x points per ref); - nature of contract(s) or work done(1 ref = 1 points); and - contact person with contactable numbers or reference letters (landline and cell phone) (1 ref = 1 points). | 1 x point per ref 1 x point per ref 1 x point per ref | 5 5 5 |
| - Qualification: - Relevant plumbing qualification of staff - List of training attended by staff including Health and Safety | 1 x point per ref 1 x point per ref | 5 5 |
| Management plan: - Service implementation and execution of plumbing work to be implemented. (Points awarded on discretion of information submitted). - The service provider needs to provide process flows of call management from time of receiving the request until execution / implementation. - Resource schedule inclusive of vehicles and skilled and semi skilled labour available for execution of work | Detail information 10 points Detail information 10 points 1 x point per ref (vehicle and details of staff) | 10 10 10 |
| TECHNICAL EVALUATION TOTAL |  | 100 |
| Only service provider/s that score 65 % or more on the technical evaluation, will be taken for further evaluation |  |  |

- VAT

|  | Description | Yes/ no/ comments |
| --- | --- | --- |
| 7.1 | Where appropriate, prices quoted shall include VAT and a reference to the service provider/s VAT registration number must be included (where the service provider/s is VAT registered or liable for VAT registration). (Show VAT separately, e.g. Price 10.00 VAT 1.50 Total (11.50) |  |

Annexure A

LIST OF SARS OFFICES THAT WILL PARTICIPATE IN THIS CONTRACT ON A ‘AS AND WHEN’ BASIS

WESTERN CAPE – Cluster A:

|  | Suburb |  | Building name | Address | Cluster | Yes/No |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Cape Town |  | Project P166 | 22 Hans Strijdom Avenue | A |  |
| 2 | Cape Town |  | 17 Lower Long Street | 17 Lower Long Street | A |  |
| 3 | Cape Town |  | Revenue Building | 90 Plein Street | A |  |
| 4 | Cape Town |  | Parliamentary building | 120 Plein Street | A |  |
| 5 | Cape Town |  | State Warehouse | Cape Town Harbour | A |  |
| 6 | Cape Town |  | Harbour | Scanner Site | A |  |
| 7 | Cape Town |  | Liberty Promenade | AZ Berman & Morgenster | A |  |
| 8 | Saldanha Bay |  | Port of Saldanha | Port of Saldanha | A |  |
| 9 |  | Cape Town | CT Airport | Customs Building: CT International Airport & Passenger Arrival | A |  |
| 10 |  | Bellville | Sable House | C/o Durban & Voortrekker Rd | A |  |
| 11 |  | Paarl | Rhoba Building | 19 Market Street | A |  |
| 12 |  | Stellenbosch | Alex Forbes House | C/o Piet Retief & School Street | A |  |
| 13 |  | Cape Town | Customs Cargo – Airport office | Agent street | A |  |
| 14 |  | Goodwood | Cape Mail | Goodwood showground | A |  |
| 15 |  | Cape Town harbour | Cowrie House | Port of Cape Town | A |  |

WESTERN CAPE – Cluster B:

|  | Suburb | Building name | Address | Cluster | Yes/No |
| --- | --- | --- | --- | --- | --- |
| 1 | Worcester | Naude Building | 59 Church Street | B |  |
| 2 | Robertson | Customs House | 48 Church Street | B |  |

NOTE: The Service Provider/s price must be based on a fixed price basis for duration of 12 months. Such fixed price should be inclusive of, i.e., overheads, profits, etc as SARS will not entertain any additional costs not specifically provided for by the Service Provider/s in the pricing schedule.

Annexure B

SCHEDULE OF RATES:

Note:  All service provider/s must complete schedule of rates table. Failure to complete this table will lead to automatic disqualification.

Table A – Cluster A Pricing Template – CBD (P166, Lower Long, 90 & 120 Plein Street, States Warehouse, Scanner Site, Cowrie House, Mitchells Plain & Saldanha) Boland Offices (Bellville, CT Airport, Cape Mail Stellenbosch, Paarl)

Labour Rates

| Human resources | Labour Rate - After Hours/Holidays/weekends 16:00 to 08:00 & weekends. The cost is to include travel. | Labour Rate- Business Hours-08:00 to 16:00. The cost is to include travel |
| --- | --- | --- |
| Skilled Artisan | R per hour | R per hour |
| General Assistant | R per hour | R per hour |
| Emergency call out fee | R per hour | R per hour |
| Skilled Artisan -Saldanha | R per hour | R per hour |
| General Assistant - Saldanha | R per hour | R per hour |
| Emergency call out fee - Saldanha | R per hour | R per hour |

Table A – Cluster B Pricing Template – (Worcester)

| Human resources | Labour Rate - After Hours/Holidays/weekends 16:00 to 08:00 & weekends. The cost is to include travel. | Labour Rate- Business Hours-08:00 to 16:00. The cost is to include travel |
| --- | --- | --- |
| Skilled Artisan | R per hour | R per hour |
| General Assistant | R per hour | R per hour |
| Emergency call out fee | R per hour | R per hour |

Table A – Cluster B Pricing Template – (Robertson)

| Human resources | Labour Rate - After Hours/Holidays/weekends 16:00 to 08:00 & weekends. The cost is to include travel. | Labour Rate- Business Hours-08:00 to 16:00. The cost is to include travel |
| --- | --- | --- |
| Skilled Artisan | R per hour | R per hour |
| General Assistant | R per hour | R per hour |
| Emergency call out fee | R per hour | R per hour |

| Material markups | Markup |
| --- | --- |
| R0 – R4999.00 | 12% |
| R5000 – R19,999 | 10% |
| R20,000 – R100,000 | 7% |
| R101,000 – R499,000 | 5 % |

NOTE: The Service Provider/s price must be based on a fixed price basis for duration of 12 months. Such fixed price should be inclusive of, i.e., material, overheads, profits, etc as SARS will not entertain any additional costs not specifically provided for by the Service Provider/s in the pricing schedule.

Annexure B

- INCIDENT RESPONSE TIMES ARE DETAILED IN TABLE C1 BELOW:

| Table C1 |  |  |  |
| --- | --- | --- | --- |
| Incidents | Response Time Targets (Hours) |  |  |
|  | Availability and Incident Response Times | Fix or Workaround | Comply- Yes/ No |
| Critical | 24 hours, 7 days a week, within 4 hours of receipt of call | - Failures that seriously affect the client’s operational effectiveness. - Failure that constitute a danger to personnel or equipment or health hazard. |  |

- Incident resolution times are detailed in Table C2 below:

| Table C2 |  |  |  |
| --- | --- | --- | --- |
| Incidents | Resolution Time Targets (Hours) |  |  |
|  | Incident Response | Fix or Workaround | Comply- Yes/ No |
| Break-Fix Repair | 1 hour to acknowledge the service call | 4 working hours after receiving a service request from SARS |  |
| Service Requests | 4 hrs | 2 working days after receiving a service request from SARS |  |

Annexure C

- SERVICE PROVIDER/S CONTACT DETAILS DURING BUSINESS HOURS

- TABLE

| Callouts | Primary Number | 1st Alternative Number | 2nd Alternative Number |
| --- | --- | --- | --- |
| Helpdesk/office |  |  |  |
| e-mail address |  |  |  |
| Mobile number |  |  |  |
| Fax number |  |  |  |
| after hours tel. number |  |  |  |

Annexure D

# OATH OF SECRECY/SOLEMN DECLARATION

(Internal - Must be completed by employees, consultants, contractors, subcontractors, or a person employed by a consultant or sub-contractor and any other person who renders services to SARS.)

(Use block letters and write with black ink/ballpoint pen)

# I, (Full names and surname)…………………………………………………………………………………………………………………

# Date of Birth………………….......................... Identity Number…………………….........................................................................

# In my capacity as………………………………….…of……………………………………………….. (Name of Company if applicable)

hereby swear/solemnly declare that:

(a)	 I have taken note of the provisions of the Protection of Information Act, 1982 (Act No. 84 of 1982).

(b)	 I have taken note of the provisions of the Public Finance Management Act.

(c)	 I have taken note of the provisions of the Promotion Administrative Justice Act, 2000 (Act No. 3 of 2000).

(d)	 I have taken note of the provisions of the Promotion of Access to Information Act, 2000 (Act 2 of 2000).

(e)	 I have taken note of the provisions of the Electronic Communications and Transactions Act, 2002 (Act No. 25 of 2002).

(f)	 I have taken note of the provisions of the South African Revenue Service (SARS) Act, No. 34 of 1997.

(g)	 I have taken note of the SARS Security Policies.

(h) 	 I understand that I may not disclose, either verbally or in writing, to any unauthorised person any classified information of whatever nature that has, or                    may come to my knowledge as a result of my duties as-

(i)	An employee of SARS;

(ii)	A consultant, contractor or subcontractor, or a person employed by a consultant or subcontractor, who renders   services to SARS; or

(iii)	a member of the Regional Industrial Development Board (the Board) or its successor, or a person employed by the Board or the Department of Trade and Industry who is in any way involved in the preparation or evaluation of applications for purposes of the tax holiday scheme contemplated in section 37H of the Income Tax Act, 1962 (Act No. 58 of 1962), (other than in the carrying out of my official duties or in the performance of my duties under any of the Acts referred to), without having received the prior approval of either the Commissioner, or an Officer duly authorized by him/her.

(i)	I will not, either directly or indirectly, divulge or disclose to anyone or be a party to the divulging of or disclosure to or obtaining by anyone any particular matter or thing relating to the affairs or income of, or income tax, customs and excise duty, sales tax or value added tax payable by any person or body, or any information which has been in any way acquired by me in connection with the discharge of my duties imposed upon or entrusted to me under the Income Tax Act, 1962 (Act No. 58 of 1962), or any previous or subsequent Income Tax Acts, the Customs and Excise Act, 1964 (Act No. 91 of 1964), or any previous or subsequent Customs and Excise Acts, the Sales Tax Act, 1978 (Act No. 103 of 1978), prior to the repeal thereof, and/or the Value-Added Tax Act, 1991 (Act No. 89 of 1991), or in any subsequent Value-Added Tax Acts, or any proclamations, regulations or rules made under any of the said

Acts, or in any office, post, or position that I may at any time hold or occupy under the said Acts, except when I shall be required to do so in the course of my duties, or by order of a competent court of law, and that I will always observe secrecy with regard to all such particulars, matters and information.

(j)	I understand that I must perform my duties in accordance with the SARS Security Policies, Standards and Procedures.

(k)	I understand that the above is applicable not only during my term of employment, office or contract, but also after my services (including services contemplated in paragraph (h) (ii) and (iii) in or with, as the case may be, SARS or the Board (or its successor) have been terminated.

(l) 	I am fully aware of the serious consequences that may follow on any breach or contravention of the above mentioned provisions and instructions, as well as that action will be taken in accordance with the SARS Disciplinary Code, which may lead to dismissal, criminal proceedings or both.

Signature……………………………………………………………………………………………………………………………………..

(Must be signed in the presence of a Justice of the Peace, Magistrate or Commissioner of Oath)

# Date………………………………………………Place……………………………………………………………………………………..

# I certify that prior to my administering the prescribed oath/affirmation; I put the following questions to the deponent and wrote down his/her answers thereto in his/her presence:

(a) Do you know and understand the provisions of the above statement? Answer……………………..………………….

(b) Do you have any objection to taking the prescribed oath/affirmation? Answer…………………..……….…………….

(c) Do you regard the prescribed oath/affirmation as binding on your conscience? Answer………………....……………

# I certify that the deponent acknowledges that he/she knows and understands the provisions of this statement which was sworn to/affirmed and signed by the deponent in my presence.

# Justice of the Peace/Magistrate/Commissioner of Oath: Signature …………...………………………………………………………

# Designation…………………………………………………………………………………..…………Ex officio Republic of South Africa

Date………………………………………     Place………………………………………………………………………………………….

# Full names and surname…………………………………………………………………………………………………………………….

# Address…………………………………………………………………………………………………………………………………………

……………………………………………………………………………………………………………………………………………