| To whom it may concern | Date | 21 February 2025 |
| --- | --- | --- |
|  | Enquiries | MWP3020CX |
|  | E-mail address | Madondst@eskom.co.za |

Dear Sir/Madam

| Request for Enquiry Number | MWP3020CX |
| --- | --- |
| Description / Project Title | THE PROVISION OF CONDITIONING MONITORING SERVICE OF FABRIC FILTERS FOR ALL ESKOM POWER STATION PLANTS FOR A PERIOD OF 12 MONTHS ON AN ‘AS AND WHEN’ REQUIRED BASIS. |
| Tender Questions Closing Date | 5 Days before tender closing |

| Item | Questions | Answers | Clarity Published Dates |
| --- | --- | --- | --- |
|  | General Station Layout: A diagram showing the location of filters and their interaction with other systems. | N/A to this project | 21 February 2025 |
|  | Baghouse Filter Layout Drawings: Data on the length and diameter of filter cells, as well as the number of bags. | N/A to this project | 21 February 2025 |
|  | Fabric Used and Its Service Life: Information on current materials and their operational characteristics. | PPS/PI PAN/PI ,PPS, PTFE | 21 February 2025 |
|  | Temperature and Volume of Flue Gases: Data on temperature and gas volume throughout the gas path, from the burner to emissions. | N/A to this project | 21 February 2025 |
|  | Dew Point of Gases: Determination of the condensation point and moisture formation in the gases. | N/A to this project | 21 February 2025 |
|  | Coal Dust Composition: Analysis of coal dust composition for selecting the optimal filter material. | N/A to this project | 21 February 2025 |
|  | Sulfur Oxides (SOx) Emissions: Data on SOx concentration (mg/Nm³) and hourly emissions. | N/A to this project | 21 February 2025 |
|  | Nitrogen Oxides (NOx) Emissions: Information on NOx concentration (mg/Nm³) and hourly emissions. | N/A to this project | 21 February 2025 |
|  | Ash Data: Quantity of ash emitted per hour. | N/A to this project | 21 February 2025 |
|  | Sparks: Presence of sparks during operation and their impact on material selection. | N/A to this project | 21 February 2025 |
|  | Emission Requirements and Limitations: Information on current environmental regulations and restrictions. | N/A to this project | 21 February 2025 |
|  | Fuel Composition: Chemical composition and type of fuel used at each station. | N/A to this project | 21 February 2025 |