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	To whom it may concern
	Date
	21 February 2025

	
	Enquiries
	MWP3020CX

	
	E-mail address
	Madondst@eskom.co.za


Dear Sir/Madam
	Request for Enquiry Number
	MWP3020CX

	Description / Project Title
	THE PROVISION OF CONDITIONING MONITORING SERVICE OF FABRIC FILTERS FOR ALL ESKOM POWER STATION PLANTS FOR A PERIOD OF 12 MONTHS ON AN ‘AS AND WHEN’ REQUIRED BASIS.

	Tender Questions Closing Date
	5 Days before tender closing 



	Item 
	Questions 
	Answers 
	Clarity Published Dates 

	1. 
	General Station Layout: A diagram showing the location of filters and their interaction with other systems.
	N/A to this project
	21 February 2025

	2. 
	Baghouse Filter Layout Drawings: Data on the length and diameter of filter cells, as well as the number of bags.
	N/A to this project
	21 February 2025

	3. 
	Fabric Used and Its Service Life: Information on current materials and their operational characteristics.
	PPS/PI PAN/PI ,PPS, PTFE
	21 February 2025

	4. 
	Temperature and Volume of Flue Gases: Data on temperature and gas volume throughout the gas path, from the burner to emissions.
	N/A to this project
	21 February 2025

	5. 
	Dew Point of Gases: Determination of the condensation point and moisture formation in the gases.
	N/A to this project
	21 February 2025

	6. 
	Coal Dust Composition: Analysis of coal dust composition for selecting the optimal filter material.
	N/A to this project
	21 February 2025

	7. 
	Sulfur Oxides (SOx) Emissions: Data on SOx concentration (mg/Nm³) and hourly emissions.
	N/A to this project
	21 February 2025

	8. 
	Nitrogen Oxides (NOx) Emissions: Information on NOx concentration (mg/Nm³) and hourly emissions.
	N/A to this project
	21 February 2025

	9. 
	Ash Data: Quantity of ash emitted per hour.
	N/A to this project
	21 February 2025

	10. 
	Sparks: Presence of sparks during operation and their impact on material selection.
	N/A to this project
	21 February 2025

	11. 
	Emission Requirements and Limitations: Information on current environmental regulations and restrictions.
	N/A to this project
	21 February 2025

	12. 
	Fuel Composition: Chemical composition and type of fuel used at each station.
	N/A to this project
	21 February 2025
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