Guard Hut 1

Size: 1,2m x 1,2m

- Material – Aluminium zinc coated sheeting

- Wall Height 2m and Roof Height 2,3m

- 2 opening glass windows - 600mm x 900mm

- 1 fixed window in door - 400mm x 800mm (toughened)

- Lockable Door

- Colour plus Steel Framed Floor with Shutter Board

- 4 Adjustable Legs

- Chalk colour Walls with a Blue Roof

- Electrics - DB Board, 1 x Double Plug Point, 1 x Fluorescent