| REQUEST FOR QUOTATION (RFQ) NUMBER: | PR10113485 (Please use this number as reference when sending quotations and supporting documentation) |
| --- | --- |
| DESCRIPTION | The Road Accident Fund (RAF) wishes to appoint a suitable service provider for Security System Maintenance at RAF Hatfield Office on a month-to-month basis for a period not exceeding six (6) months. |
| RFQ ISSUED DATE | 12 January 2026 |
| RFQ VALIDITY PERIOD | 30 days from the closing date. |
| CLOSING DATE AND TIME | 16 January 2026 @ 11:00 |
| EXPECTED DATE SERVICES IS REQUIRED | Six (6) months agreement which will come into existence from the date of the last signatory |
| COMPULSORY BRIEFING SESSION/ SITE VISIT/SITE INSPECTION | N/A |
| DELIVERY ADDRESS OF GOODS/SERVICES | 1040 Burnett Street Hatfield Pretoria 0028 |
| RFQ RESPONSES MUST BE EMAILED TO: | All quotations should be emailed to Rfq-Menlyn.procurement@raf.co.za Failure to follow these instructions will result in your quote not being considered. |
| ENQUIRIES REGARDING THIS RFQ SHOULD BE SUBMITTED VIA E-MAIL TO | Enquiries can be directed at this e-mail address khensanimab@raf.co.za |

Important Notes to this RFQ:

- Service providers/suppliers should ensure that RFQ responses are emailed to the correct email address;

(Rfq-Menlyn.procurement@raf.co.za)

- If the quotation is late, it shall not be accepted for consideration.

- The RAF reception is generally accessible 8 hours a day (07h45 to 16h00); 5 days a week (Monday to Friday) for delivery of goods.

- All suppliers are required to complete and sign all Annexures to this document (Standard Bidding Documents and documents for submission under Mandatary Evaluation, where applicable).

- Points claimed for Preferential Procurement Specific Goals will be verified through CSD.

- Suppliers  who have a disability must provide a valid medical certificate issued by a registered medical practitioner as proof of disability (RAF reserves the right to verify this information).

- RAF will ONLY conduct business with CSD Registered suppliers.

- Should you not be contacted within 14 working days of an issued RFQ, consider your proposal/quotation unsuccessful.

Prohibition of Gifts & Hospitality:

“Except for the specific goods or service procured by the Road Accident Fund, service providers/suppliers are required not to offer any gift, hospitality or other benefit to any RAF official. To avoid doubt, branded marketing material is considered to be a gift. Furthermore, should any RAF official request a gift, hospitality or other benefit, the service providers must report the matter to our toll-free fraud line at 0800 005919.” If solicited bribery matters are not reported, service provider will be deemed an accomplice and will be restricted from conducting business with all Organs of State.

*HDI - means a South African Citizen who (a) due to the apartheid policy, had no franchise in national elections prior to the introduction of the Constitution of the Republic of South Africa, 1983(Act No.110 of 1983) or the Interim Constitution of the Republic of South Africa,1993 (Act No.200 of 1993); (b) is a female; or  (c) has a disability.

CONTENTS

Annex A :	TERMS AND CONDITIONS OF REQUEST FOR QUOTATION (RFQ)	3

Annex B :	GENERAL CONDITIONS OF CONTRACT	4

Annex C :	RFQ SPECIFICATION	5

Annex D :	EVALUATION CRITERIA	6

Annex E :	COST BREAK DOWN	8

Annex F :	STANDARD BIDDING DOCUMENTS	9

TERMS AND CONDITIONS OF REQUEST FOR QUOTATION (RFQ)

SERVICE PROVIDER/SUPPLIER: 			………………………………………………………………………..

REGISTRATION NUMBER:				……………………………………………………………………….

CSD UNIQUE SUPPLIER REGISTRATION NUMBER:	……………………………………………………………………….

ADDRESS:						……………………………………………………………………….

CONTACT PERSON:					………………………………………………………………………..

TEL:							…………………………………………………………………........

- RAF’s standard conditions of purchase shall apply.

- RAF will not conduct business with suppliers whose tax matters are not declared to be in order by SARS.

- Goods or services shall be delivered and accepted against an official and RAF Award Letter or Purchase Order (PO) signed and duly authorised RAF official.

- The RAF reserves the right to not make payment or accept the goods or services should the goods or services be delivered to the RAF before the RAF Award Letter or PO is issued. (An official authorised RAF PO should have the Supply Chain Management (SCM): Manager signature or such other official duly authorised in terms of the RAF’s Delegations of Authority and Approval Framework),Description of the item, Quantity of items purchased, Date of delivery of the item, Total amount of the items purchased inclusive of where applicable VAT and other applicable taxes.

- This RFQ will be evaluated based on the 80/20 preference point system applicable to bids with a Rand value equal to, or above R2 000.01 and up to a rand value of R1 000 000.00 (all applicable taxes included). The RAF may elect to apply the 80/20 preference point system to price quotations with a rand value less than R2 000.01.

I, the undersigned (NAME)……….………………………………………certify that:

I have read and understood the conditions of this RFQ.

I have supplied the required information, and the information submitted as part of this RFQ is true and correct.

Signature: ______________________________            Date:  ______________

Capacity: _________________________

GENERAL CONDITIONS OF CONTRACT

http://ocpo.treasury.gov.za/Resource_Centre/Legislation/General%20Conditions%20of%20Contract-%20Inclusion%20of%20par%2034%20CIBD.pdf

RFQ SPECIFICATION

#### BACKGROUND TO THE ROAD ACCIDENT FUND

The Road Accident Fund (RAF) is a schedule 3A Public Entity established in terms of the Road Accident Fund Act, 1996 (Act No. 56 of 1996), as amended. Its mandate is the provision of compulsory social insurance cover to all users of South African roads, to rehabilitate and compensate persons injured as a result of the negligent driving of motor vehicles in a timely and caring manner, and to actively promote the safe use of our roads.

The customer base of the RAF comprises not only the South African public, but all foreigners who may have had accidents within the borders of the country. The RAF head office is in Centurion there will be other Customer Experience Centres in each province in the country.

#### BACKGROUND OF THE PROJECT

### The Road Accident Fund (RAF) wishes to appoint a suitable service provider for Security System Maintenance at RAF Hatfield Office on a month-to-month basis for a period not exceeding six (6) months.

### Purpose

This specification defines the requirements for the maintenance, servicing, repair, procurement, and installation of electronic security systems for the organization’s facilities. The objective is to ensure all security systems remain fully operational, compliant with security standards, and responsive to operational risks.

### Scope of Work

The appointed service provider shall be responsible for the preventive, corrective, and ad-hoc maintenance of the following systems:

- CCTV Surveillance System (Analogue/IP)

- Biometric Access Control Systems

- X-ray Screening Machines

- Walk-through Metal Detectors

- Intruder Detection and Alarm Systems

- Security Control Room Monitoring Equipment

- Network Infrastructure related to security systems

- Any additional electronic security equipment as may be required

SCOPE OF REQUIREMENTS

The table below shows RAF Pretoria Regional Office (Hatfield) with the number of technicians required.

| Region | Offices | Frequency of visits | Number of technicians |
| --- | --- | --- | --- |
| Pretoria Regional Office | Hatfield | Once a month | 1 |

Description of work required is on the below table:

| NO | DESCRIPTION | FREQUENCY |
| --- | --- | --- |
| 1. | ACCESS CONTROL DATA BASE MAINTENANCE | Once a month |
|  | - Analyze reports and take action to prevent failures - Backup and restore data - Archive offsite |  |
| 2. | ACCESS CONTROL HARDWARE | Once a month |
|  | - Clean exterior equipment boxes (Inside and outside) - Check overheating and water leaks - Check general of wiring (damaged, burned, lose) - Check and clean all power supply units - Check battery runtime - Check functionality of Face/fingerprint readers - Clean Face/fingerprint reader - Check functionality of all the devices |  |
| 3. | X-RAY MACHINE | Once a month |
|  | - Check general condition and clean X-Ray Machine - Service and clean mechanism |  |
| 4. | WALK THROUGH METAL DETECTOR | Once a month |
|  | • Check general condition and clean walk-through metal detector • Service and clean mechanism | Once a month |
| 5. | Fixture | Once a month |
|  | - Check equipment fixtures, repair and replace if required |  |
| 6. | Training and support | When required |
|  | - Training to be provided to security RAF employees on basics and advance of the security systems and networking concepts. |  |
| 7. | Provide Monthly Maintenance report | Monthly |

- qUANTITIES

| Security Systems |  |
| --- | --- |
| ACCESS CONTROL | PTA REGIONAL OFFICE |
| Access Control |  |
| Access Control PC | 1 |
| Impro Access Portal V5 (Software) | 1 |
| Hikvision 4.3” 3000 Faces/Fingerprints/Cards 1 input, 1 relay output | 18 |
| 32-inch Monitor | 1 |
| Enrolment Reader 4.3’’ Faces/Fingerprints/Cards 1 input, 1 relay output | 1 |
| Brackets for Facial Readers | 9 |
| Portal Linux OS Application Controller in IPS Box | 1 |
| ITRT2 Distributed Controller in metal box with intelligent PoE++ Module | 9 |
| 12V 8Ah Nano-gel battery | 10 |
| Hikvision 24-port smart gigabit POE switch | 2 |
| Walk-through metal detector | 1 |
| X-Ray Machine | 1 |
| Network Switches | 1 |
| TURNSTILES |  |
| Full Height Turnstile control panel comp logic and power supply | 4 |
| Twister 3-Arm Single Slim Line Waist Height Turnstile, Control Logic, 12v &24V Power Supply for Battery Backup | 3 |
| Ballustrade with 50mm Roud Tube (900mm x 1000mm L – Ballustrade and Metal Bars | 1 |
| Automated motorised disables (special needs) swing gate 180-degree opening | 1 |
| Manual disables (special needs) swing gate | 1 |
| Ballustrade with 50mm Roud Tube | 1 |

- rESPONSES tIMES

| Category | Response |
| --- | --- |
| Priority 1 – Urgent | 2 Hour |
| Priority 2 – High | 4 Hours |
| Priority 3 – Medium | 6 Hours |
| Priority 4 – Low | Normal schedule |

### Maintenance Requirements

### Preventive Maintenance

The service provider must perform scheduled preventive maintenance on all systems quarterly, including:

- System health checks, cleaning, and calibration.

- Firmware and software updates.

- Testing of power backup systems (UPS, batteries).

- Verification of camera focus, alignment, and recording functionality.

- Verification of biometric reader responsiveness and user database integrity.

- Testing X-ray and metal detection sensitivity and calibration.

- Physical inspection of all cables, housing, brackets, and protective conduits.

- Detailed reporting after every maintenance cycle.

#### Corrective Maintenance

- Fault response time: Within 2 hours of notification for critical systems.

- Resolution or replacement: Within 4 hours for high-priority issues.

- All corrective work must be logged, with fault description, cause, rectification, and parts used.

#### System Performance Testing

- All equipment must be tested for compliance with the original design specifications and PSIRA standards.

### Equipment Procurement and Installation

The service provider must have the capacity to source, supply, install, and configure the following:

- CCTV Systems (IP-based, PTZ, 360°, infrared/night vision, network recorders).

- Biometric Systems (fingerprint, facial recognition, card access).

- X-Ray Machines and Metal Detectors (for screening and entry control points).

- Alarm and Intrusion Systems (motion sensors, panic buttons, sirens).

- Network Infrastructure (switches, PoE, structured cabling, routers).

- Security Control Room Equipment (monitors, recording servers, consoles).

All equipment must:

- Meet SABS and PSIRA standards.

- Come with a minimum 12-month warranty.

- Be compatible with existing infrastructure and scalable for future integration.

### Compliance

The service provider must:

- Be registered with PSIRA under the relevant category.

- Have certified and trained technicians in electronic security systems.

- Comply with all applicable Occupational Health and Safety regulations.

- Maintain confidentiality and comply with data protection regulations regarding surveillance footage and access logs.

### Reporting and Documentation

The provider shall maintain detailed records of:

- All maintenance visits and reports.

- Fault logs and corrective actions.

- Equipment inventory and warranty status.

- Configuration backups and access control user logs.

- Ad-hoc work orders and installation certificates.

- Reports must be submitted monthly to the Manager: Security Operations and quarterly.

### Performance Standards

The service provider will be evaluated based on:

- Response time to faults.

- Quality of maintenance and installations.

- System uptime percentage (target: 99% operational availability).

- Compliance with reporting and safety standards.

- Failure to meet performance standards may lead to penalties or contract review

### Contract Duration

The contract shall be valid for six (6) months on month-to-month basis.

### Confidentiality

All information, drawings, system configurations, and data accessed during service are confidential and shall not be shared with third parties without written consent from the client.

EVALUATION CRITERIA

- The evaluation criteria will be based on the following requirements:

- Mandatory Requirements.

- Evaluation for Price and Specific Goals based preference system on the 80/20.

All Bidders who do not meet Mandatory Requirements will be disqualified and will not be considered for further

evaluation on Price and Specific Goals based preference system on the 80/20

Phase 1. Mandatory Requirements

Service Providers must indicate by ticking (√) correct box indicating that they Comply OR do Not Comply.

| Number | Description | Comply | Not Comply |
| --- | --- | --- | --- |
| 1 | The service provider must submit a valid copy of Private Security Industry Regulatory Authority (PSIRA) letter of good standing for the company and directors. The valid proof of registration must be submitted by the closing date and time of the RFQ. The RAF reserves the right to validate and confirm validity. |  |  |
| Substantiate / Comment |  |  |  |

| Number | Description | Comply | Not Comply |
| --- | --- | --- | --- |
| 2 | The bidder must attach copy of letter of good standing from the Compensation Commissioner or authorized entity to comply with the Compensation for Occupational Injuries and Disease Act, Act 130 of 1993 (COIDA). The successful bidder will be required to comply with the requirements of Occupational Health and Safety Act, Act 85 of 1993. The service provider must submit a valid copy of the letter of good standing for Security Systems and/or Biometrics, CCTV, Access Control, Fire Detection, Fire Security, Electrical Installation, Electronic Products Installation and Supply, Security Alarm Systems, Information Technology, Software Installation, Installation of Burglar Alarm and Security Systems, Electronic Security Solutions and Equipment, Installation of Access, Security and Safety Equipment or Security Equipment Installation. Note: The COIDA certificate of good standing should not be older than twelve (12) months. The valid proof must be submitted by the closing date and time of the RFQ. The RAF reserves the right to validate and confirm validity. |  |  |
| Substantiate / Comment |  |  |  |

| Number | Description | Comply | Not Comply |
| --- | --- | --- | --- |
| 3 | The service provider must submit a valid copy of Private Security Industry Regulatory Authority (PSIRA) Certificate for their registered company. The valid proof must be submitted by the closing date and time of the RFQ. The RAF reserves the right to validate and confirm validity. |  |  |
| Substantiate / Comment |  |  |  |

| Number | Description | Comply | Not Comply |
| --- | --- | --- | --- |
| 4 | The service provider must be registered with Private Security Industry Regulatory Authority (PSIRA) under the category of installation, servicing or repairing of security equipment. The valid proof must be submitted by the closing date and time of the RFQ. The RAF reserves the right to validate and confirm validity. |  |  |
| Substantiate / Comment |  |  |  |

| Number | Description | Comply | Not Comply |
| --- | --- | --- | --- |
| 5 | The service provider must provide a technician with Grade C PSIRA Certificate The valid proof must be submitted by the closing date and time of the RFQ. The RAF reserves the right to validate and confirm validity. |  |  |
| Substantiate / Comment |  |  |  |

| Number | Description | Comply | Not Comply |
| --- | --- | --- | --- |
| 6 | The service provider must provide a minimum of two (2) reference letters showing experience where Repairing or Maintaining or Servicing or Installing of Security Systems was rendered with the following details: - The name of the company at which the repairs or maintenance or service or installation of Security Systems was rendered. - Contact Person. - Contact Number or Email Address. Please note: The RAF will not accept a list of references letter listed on a table other than signed reference letters on a company letterhead from the client. The RAF reserves the right to validate and confirm the company details and the content submitted on the reference letter. The reference letter(s) must be in the form of individual letter(s) from the respective clients. If the letter does not include all the information on the bullets above it will not be acceptable. The Reference Letter must be submitted by the closing date and time of the RFQ |  |  |
| Substantiate / Comment |  |  |  |

| Number | Description | Comply | Not Comply |
| --- | --- | --- | --- |
| 7 | The service provider must be provide a certified and trained technician with a certificate in Electronics or Electrical Engineering or a Certification installation of access control (biometrics) or Certificate in Installation of CCTV Cameras. The valid proof must be submitted by the closing date and time of the RFQ. The RAF reserves the right to validate and confirm validity. |  |  |
| Substantiate / Comment |  |  |  |

- Price and Specific Goals Evaluations

The evaluation for Price and points claimed for Preferential Procurement Specific Goals, in terms of Preferential Procurement Policy Framework Act, 2022, shall be based on the 80/20 principle as follows:

| Evaluation criteria |  | Points |
| --- | --- | --- |
| 1. | Price | 80 |
| 2. | Specific Goals #; Specific Goal; Proof; Points Allocation. 1; An HDI refers to a South African citizen who had no franchise in national elections prior to the introduction of the Constitution of the Republic of South Africa, (Act N0. 8 of 1996) or the Constitution of the Republic of South Africa, Act NO.5 of 2005. (Includes a minimum of 51% ownership or more); CSD Report; 10. 2; Women (minimum 51% ownership or more); ID copy / CSD report; 8. 3; (Persons living with disabilities (minimum 51% ownership or more); Valid medical certificate issued by an accredited medical practitioner; 2. | 20 |
| Total |  | 100 |

COST BREAK DOWN

- All prices must be VAT inclusive (if VAT registered) and must be quoted in South African Rand (ZAR). All VAT vendors are required to include VAT on their proposed prices, should they fail to do so the actual quoted price will be deemed an all-inclusive price and will be accepted as such. No VAT amount will be included after the award.

- Should the service provider who is not VAT-registered charge VAT, the service provider will be automatically disqualified.

- Only prices completed in the table below will be accepted for evaluation purposes, failure to provide price on the below table will lead to disqualification.

- No price changes will be accepted after the official Award Letter / Purchase Order (PO) is issued.

Part A

| NO. | ITEM DESCRIPTION | PERIOD | UNIT PRICE PER MONTH | TOTAL PRICE FOR SIX (6) MONTHS |
| --- | --- | --- | --- | --- |
| 1 | Maintain, Service and Repair of Security System | 6 months |  |  |
| TOTAL |  |  |  |  |
| VAT (IF VAT REGISTERED) |  |  |  |  |
| GRAND TOTAL (VAT INCLUSIVE - IF VAT REGISTERED) |  |  |  |  |

I, the undersigned (Name and Surname) ________________________________________ certify that                                                             I agree to render the services as per the specification and as per the above cost breakdown.

Signature of service provider: _____________________________.

Other Costs / Ad hoc services – (these are for services falling outside of the primary scope noted above)

| Other | Rates (inclusive of VAT) | Unit of Measure |
| --- | --- | --- |
| Call out Fee | R | each |
| Labour Rate (during working hours) Service Provider to indicate their working hours | R | per hour |
| Labour Rate (outside working hours inclusive of weekends and public holidays) | R | per hour |
| Travelling Rate (km's) (Based on approved AA rates) | R | per km |
| Upgrading and expanding existing systems to meet evolving security needs. | R | per hour |
| Relocation and reconfiguration of systems during office moves or renovations | R | per hour |
| Removal and safe disposal of obsolete or non-functional equipment | R | per hour |
| Security equipment’s (integration of new security cameras, biometric access points, and X-ray screening systems). | % | percentage (%) |
| Material mark up for hardware and equipments (service provider will be required to provide quotation from their suppliers to verify pricing / mark up is market related) | % | percentage (%) |

STANDARD BIDDING DOCUMENTS

SBD 4 Bidders Disclosure

SBD 6.1 in Terms of PPR 2022

Annexure A: Security Measures