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[bookmark: OLE_LINK1]REQUEST FOR QUOTATION

SENTECH INVITES SUPPLIERS FOR:

	Project title:
	Supply and deliver Abloy keys and locks to Sentech Vryburg


	Quotation or Proposal no:
	1000011198

	RFQ Issue date:
	14 December 2021

	Closing date:
	17 December 2021

	Closing time:
	12h00
	Validity period: 
	   30     days



You are invited to provide a quote to deliver the goods, services or works defined in the Scope of Work.

QUOTATIONS OR PROPOSALS TO BE RETURNED TO:
	Quotations Administrator 
	Zanele Zulu

	
	All enquiries should be sent via email 

	E-mail:
	Quotations6@sentech.co.za



	
Form of Offer and Acceptance

Offer


	The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the services as stated in the RFQ: Scope of Work


	The Service Providers, identified in the Offer signature block, has examined the documents listed in the RFQ and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of this RFQ.


	By the representative of the Service Provider, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the Service Provider offers to perform all of the obligations and liabilities of the RFQ under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the RFQ. 


	THE OFFERED TOTAL OF THE PRICES INCLUSIVE OF VAT IS: 

[bookmark: Text566](in words)  …………………………………………………………………………..………………………………………………….. 

………………………………………………………………………………………………………………….……….Rand; 

R…………………………………………………(in figures) 

	THE OFFERED PRICES ARE AS STATED IN THE PRICING SCHEDULE


	
This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the Service Provider before the end of the period of validity stated in the RFQ, or other period as agreed.







	Signature(s)

	
	
	

	Name(s)

	
	
	

	Capacity

	
	
	

	For the tenderer:

	

	
Name & signature of witness
	(Insert name and address of organisation)
	
	

Date
	



	Acceptance

	By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the Service Providers Offer.  In consideration thereof, the Employer shall pay the Service Provider the amount due in accordance with the conditions of the RFQ.  Acceptance of the Service Providers Offer shall form an agreement between the Employer and the Service Provider upon the terms and conditions contained in this RFQ.

	Deviations from and amendments to the documents listed in the RFQ and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the Service Provider and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

	The Service Provider shall within two days of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the RFQ. Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

	Notwithstanding anything contained herein, this agreement comes into effect on the date when the Service Provider receives one fully completed original copy of this document, including the Schedule of Deviations (if any).  

	



	Signature(s)

	
	
	

	Name(s)
	

	
	

	Capacity

	
	
	

	for the Employer

	

	
Name & signature of witness
	(Insert name and address of organisation)
	
	

Date





RFQ Data

1. ADMINISTRATIVE RESPONSIVENESS CRITERIA
Suppliers are required to ensure that they meet all the Administrative Responsiveness Criteria. Suppliers that do not meet all the Administrative Responsive Criteria may not be awarded this Quote. It is the service provider’s responsibility to ensure that Sentech is in possession of a valid and original tax clearance certificate and a valid B-BBEE Certificate at the time of offer closure.
1.1.  Supplier’s providing quotations must be registered on the Sentech Supplier Database. 
1.2.  Quotations must be in a Company Letterhead.
1.3. Quotations or Proposals must be received on or before the closing date and time specified on the Call for Quotation or Proposal document.
1.4. Quotations or Proposals must be fully completed and signed in BLACK ink.
1.5. Quotations must be submitted via Email.
1.6. The Tenderer undertakes to the Purchaser that it will treat as confidential the terms of this RFQ together with all the Purchaser's confidential information and will not disclose such confidential information to any person, firm or company (other than to its auditors and other professional advisers) or to the media, and will not use such confidential information other than for the purposes of this RFQ, subject always to any prior specific authorisation in writing by the Purchaser to such disclosure or use."

2. EVALUATION CRITERIA
The evaluation criteria are stipulated in Section 5. It is the Suppliers responsibility to ensure that it has responded to the evaluation criteria. Failure to meet the evaluation criteria may result in the Supplier being disqualified from being appointed. Suppliers must ensure that they have included all supporting documentation, especially the documentation that may be required to support the response to the evaluation criteria.

3. BRIEFING SESSION
N/A

4. RFQ EVALUATION METHOD
This RFQ will be evaluated as described in the table below.
	[bookmark: OLE_LINK2][bookmark: OLE_LINK3]Evaluation Method 
	1. Stage 1 – Administrative Responsiveness Evaluation
All the Quotations will be evaluated against the Administrative responsiveness requirements as set out in section 2 of the RFQ Data.
2. Stage 2 – Mandatory Evaluation Criteria
Proposals that are administratively responsive will be evaluated against the Mandatory Evaluation Criteria. Suppliers must COMPLY FULLY with all the Mandatory evaluation criteria in-order to be evaluated further.
3. Stage 3 – Functional Evaluation Criteria
The proposals that COMPLY with the Mandatory evaluation criteria be evaluated against the Functional Criteria. Suppliers meeting the minimum requirement will be evaluated further.
4. Stage 4 – Price and Preference
Suppliers with the lowest Price offered will score the highest points. Only Suppliers that submit a valid B-BBEE Certificate can claim preference points in line with the 80/20
Suppliers with the highest number of points will be recommended for the award of this quotation, unless there are compelling and justifiable reasons not to do so.




5. Evaluation of Price and Preference
The Service Provider will be evaluated on a points system for Price and Preference as per Preferential Procurement Framework Act of 2000 (Act 5 of 2000).

5.1. Mandatory Evaluation Criteria
	[bookmark: _Hlk39481074]Mandatory Criteria
	Proof Required

	
	

	
	

	
	



5.2. Functional Evaluation Criteria
	Functional criteria
	Proof required
	Maximum points

	
	
	

	
	
	

	
	
	










5.3. The price / preference weighting applicable for RFQ are as follows:
	Price / Preference
	Points


	Preference:
	20

	Price:
	80 

	Total must equal:
	100



5.4. Preference Point allocation – 80/20
	80/20 point scoring system

	Preference: 20 Points
	Price: 80 points

	Other:  B-BBEE Status Level Contributor
	

	B-BBEE Level 
	Number of Points
	Price:
	100 % (of 80)

	1
	20
	Quality / Functionality:
	0 % (of 80)

	2
	18
	

	3
	14
	

	4
	12
	

	5
	8
	

	6
	6
	

	7
	4
	

	8
	2
	

	Non-Compliant contributor
	0
	

	
	Total must equal:
	100% (of 80)





5.5. Price Calculation 80/20
The following formula will be used to calculate the points for price.

Ps=  80 	1- (Pt – Pmin)
	Pmin

Where:
Ps		=	Points scored for price of bid under consideration
Pt		=	Rand value of bid under consideration
Pmin 		=	Rand value of lowest acceptable bid








   


a) Abloy Locks and Keys that match mandatory criteria below:

	Mandatory Criteria
	Proof Required

	ITEMS MUST BE DELIVERED TO VRYBURG OFFICE
	YES

	ITEMS MUST BE CUT WITH THE SENTECH SECURITY CODE (OBTAINED FROM ABLOY SA)
	YES

	ALL LOCKS AND KEYS MUST BE ENGRAVED INDICATING THE SECURITY LEVEL
	YES

	PROTEC Keys:
· 15 x Sentech no. 1 with brown dot indicator 
· 15 X  Sentech no. 3 
· 2 x Sentech no. 10 
	YES

	PROTEC Padlock 341 - with 25mm shackle:
· 20 x Sentech no. 1
· 20 x Sentech no. 3
	YES


  

The successful applicant will: 
Supply and deliver the following to: 
Sentech SOC,
11 Leipoldstreet,Vryburg,8601



NOTE:
On submission of your quote please attach your company’s proof of registration
with National Treasury, on the Central Supplier Database (CSD) www.csd.gov.za

Please attach CSD certificate, or Tax and BEE registration certificates
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