	Questions
	Answers

	Good Day, 

I hope this email finds you well. I am reaching out to request clarity on Protection IED stream under team composition. You provided 3 key personnel information, yet the tender states required number is 4 teams. Kindly advise on required certification and designation of the fourth team. 

I hope I get a response this time.  

Kind Regards, 
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Yes , Three personnel per team , maximum of four teams.

	Good Day Ndivhuwo

Please advise on the BID 2549GS Telecommunication Stream, Do you allow same person with different certificates that are required. Can we submit all four certificates  required on this stream belonging to the same person?
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No, three different personnel per team

	Good Day Ndivhuwo

Please clarify for me on the streams. Can I apply for only one stream or all the streams are compulsory on the BID 2549 GS?
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You can select the stream you are applying for 

	Good morning, Mr/Mrs Maphanga.

I hope you are well.

Please provide the desired amperage for the battery in question, and also the desired charger ratings for the charger.

Kindly assist with RTU specifications as well.

We downloaded the CP_TSSPEC 151 and 160 but we cannot get it there either.

Kind regards,
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	Thembelihle Khanyile 
Solid Wedge Services, Unit 5 St James Commercial park
James Crescent, Halfway House, Midrand
Johannesburg, South Africa, 1685
Tel: +2711 314 5861 Cell: +27 67 705 0564
Email : salesza1@solid-wedge.com
Website: www.solid-wedge.com



	





Requirement is to complete the specification and ratings will be provided during execution.


RTU specifications Refer to spec 268 in the tender document

	Good morning, Ndivhumo.

I hope you are well.

On the bid document Bid No 2549GS, on RTU Stream.

Please advise on the where to find the speicifications 268.

Kindly advise.

Kind regards,
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	Thembelihle Khanyile 
Solid Wedge Services, Unit 5 St James Commercial park
James Crescent, Halfway House, Midrand
Johannesburg, South Africa, 1685
Tel: +2711 314 5861 Cell: +27 67 705 0564
Email : salesza1@solid-wedge.com
Website: www.solid-wedge.com




	






RTU specifications, Refer to spec 268 in the tender document

	Regards
Good day , I hope this email finds you well
I am doing bid for battery and chargers. Now I am kindly asking what to write on the total bid price,  and total number of items offered 
 Vhemma
	

Pricing will be required at Execution stage

	Good day 

Hope this finds you well.

Regarding the above-mentioned tender, is there a BOQ? If there is, please may you share it. 

Regarding the key personnel, can bidders submit the same CV’s across the streams or do they have to be different personnel ? eg, Can bidders submit the same Technician in stream 1 & 2 ? 

Please clarify the team compositions, where more than 1 team is needed, this means each team should consist of the personnel listed ? Eg, if 10 technicians are needed in a team and 4 teams are needed, bidders are to submit x40 technicians to score full points ? 

Your urgent response would be highly appreciated 

Kind Regards

[image: signature_4047253182]




	



Pricing will be required at Execution stage



Yes same personnel in different streams





Yes

	Regards
Good day to you. I hope I find you well.
I am having trouble  with finding the BOQ for tender bid 2549GS. 
Are we supposed to fill the price list . The document does have the BOQ.

Please advise 
vhenna
	
Pricing will be required at Execution stage




	Ndivhuwo

I hope this email finds you well.

May you please forward me BOQ on soft format.
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Pricing will be required at Execution stage

	Good Day Ndivhuwo, 

I hope this email finds you well. I am reaching out to request for clarification on two items. 

1. The effect of acquiring 0% on Specific Goals, is 0% stands a ground of being kicked out without being evaluated on price? 
1. The list of documentation for each stream stated on specifications, are they required now or after the tender has been awarded? I have attached a screenshot for reference 
[image: ]
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Yes, it is possible of being kicked out by acquiring 0% on Specific Goals 




It can be submitted any time



	From: raymond@rmtsholdings.co.za <raymond@rmtsholdings.co.za> 
Sent: Monday, 01 July 2024 09:30
To: 'nmamphaga@citypower.co.za' <nmamphaga@citypower.co.za>
Subject: Request for Bid_2549 GS

Good morning, Sir 
Hope this email finds you well
I would like to find out if there is no BOQ document for this bid? I have not seen any 
Regards
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	Raymond Mketi
Project Engineer

Tel : +27128093765   M : +27835641976
Web : https://www.rmtsholdings.co.za/ 
 Email : raymond@rmtsholdings.co.za
Address: Unit 39/40 Block 3, Lombardy Business Park Graham Street, Silver lakes PTA East

  






	







Pricing will be required at Execution stage

	Good morning, Sir 
Hope this email finds you well
I would like to find out if there is no BOQ document for this bid? I have not seen any 
Regards
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	Raymond Mketi
Project Engineer

Tel : +27128093765   M : +27835641976
Web : https://www.rmtsholdings.co.za/ 
 Email : raymond@rmtsholdings.co.za
Address: Unit 39/40 Block 3, Lombardy Business Park Graham Street, Silver lakes PTA East

  






	Pricing will be required at Execution stage

	Good morning agreement on form data 3.1 page 26 do we write the amount the BOQ or contract sum by letters?

Regards 
Dipuo Nkogatse 

	Pricing will be required at Execution stage

	From: Garikai <garikai@pelesolutions.co.za> 
Sent: Tuesday, June 18, 2024 3:30 PM
To: Ndivhuwo Mamphaga <nmamphaga@citypower.co.za>
Cc: tinashe@pelesolutions.co.za
Subject: Missing specification in Bid No 2549GS

Good day 

May I know how we can be able to obtain the missing specification document for Bid No 2549GS. We were unable to obtain the following spec in the bid document:

CP_TSSTAN_111_REV 0  Standard for design, supply, installation, commissioning, and maintenance of multiplexers

Regards


	






Spec 111 is available on both City Powe Tender and e-tenders website


 

	Good day Ndivhuwo,
 
Hope you are keeping warm. 
 
Regarding the above mentioned tender – Integrated Security System Stream – is there a BOQ we are pricing or what determines the final Price Schedule? 
 
I have downloaded the specifications as well and there is nothing in there. 
 
If you could kindly offer some more clarity 😊 
 
Kind regards,
 
Mariska van der Merwe

	






Pricing will be required at Execution stage
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Kind Regards,
Phumzile Ngwenya

Tel: +27 (0) 11 234 0910
Tel: +27 (0) 12 653 0501
Fax: +27 (0) 86 6718496

28 Kyalami Boulevard
Kyalami Business Park
Midrand

1684
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DOCUMENTATION

Technical product catalogue and operating and installation manuals shall be provided.

Full detailed dimensions drawings shall be provided,

A copy of all ype test reports shall be provided.

A copy of the proposed routine test reports shall be provided.

Al tests shall be fully documented in Engiish and shall be signed and siamped by the
purchaser's inspector(s), and copies shall bs forwarded to the purchaser.

“The copies shal include tes: certificates, bound together in one volume, recording the resuls
of type tests, routine tesls and speca tests (i applicable) carried out on one flly assembled
voltage transformer of each type.

Routine test cerlicates Each VT shall be delivered with one copy of all routine test
certicates together wilh a copy of the excitation curve that shows clearly where the knss-
point oceurs for each core.

‘These certficates and curves shall be packed in a waterproof container and housed inside
the terminal box of the respective V.

If specified in schedue A, three sets of descriptive pamphets and instruction books that
coverthe equipment offered shall be supplied to the purchaser as soon as possible, but not
later than the delivery date of the voliage transformers.

A complete set of test certficates, as specified in 6.4.1 and 6.4.2, shall be included in each
instructon book.

“The instruction books shall include details of the recommended oi-sampling procedres,
together with the necassary sectional and cther sketches of oll-sampling davices provided
and  recommended maintenance and inspections 1o be done during the Ife of the
equipment,
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