SPECIFICATIONS FOR THE ANALYTICAL STANDARDS

The main requirements are:

- The analytical standards should be Vetranal (Veterinary Drug Analysis) or Pestanal (Pesticide Analysis).

- The analytical standards should be supplied in quantities ranging from 0.25mg to 1000mg (1g) and can be supplied in liquid or solution form in any concentration.

- Purity & Certification: analytical standards should be accompanied by a Certificate of Analysis (CoA) confirming purity, usually 98.5% or higher, and stating the lot number, retest date, and storage conditions.

| Description of Analytical Standard | Specification (Vetranal or Pestanal) | Quantity |
| --- | --- | --- |
| Testosterone | Vetranal | 100mg |
| Amoxicillin Trihydrate | Vetranal | 100mg |
| Sulfamonomethoxine | Vetranal | 100mg |
| Tilmicosin | Vetranal | 100mg |
| Aflatoxin M1 | Vetranal | 5mg |
| AMOZ | Vetranal | 100mg |
| Levamisole | Vetranal | 100mg |
| Albendazole | Vetranal | 100mg |
| Carbaryl | Pestanal | 250mg |
| Diclazuril | Vetranal | 100mg |
| Flunixin | Vetranal | 100mg |
| Dichlofenac acid | Vetranal | 100mg |
| 4,4-DDT | Pestanal | 100mg |
| Maduramycin | Vetranal | 100mg |
| Lincomycin | Vetranal | 100mg |
| Monensin | Vetranal | 100mg |
| Ractopamine | Vetranal | 100mg |
| Sulfaguadine | Vetranal | 100mg |
| Sulfaquinoxiline | Vetranal | 100mg |
| Spiramycin | Vetranal | 100mg |
| Tetracycline | Vetranal | 100mg |
| Lasalocid | Vetranal | 5mg |
| Tylosin | Vetranal | 100mg |
| Zearalenone | Pestanal | 1mg |
| Aflatoxin B1 | Vetranal | 1mg |
| Aflatoxin B2 | Vetranal | 1mg |
| Aflatoxin G1 | Vetranal | 1mg |
| Aflatoxin G2 | Vetranal | 1mg |
| Ochratoxin A | Vetranal | 1mg |
| Zeranol | Vetranal | 1mg |