Addendum - Maintenance Asset Purchases

Tender Number E2936GXLPMAT

For the Supply and Delivery of Maintenance Assets on Once Off Basis.

- We note that the tender was published on the 20th May 2026.

The closing date on the bulletin shows 3rd June 2026.

This allows for only 9 days to work through the documents and requirements and raise any clarifications if necessary.

We would also require time to prepare the technical file.

Therefore, the timeframe between publish date and closing date is too short.

Please consider extending the closing date by working days.

- Whilst we are able to view the files on the Tender bulletin, we are unable to download the files – please check.

- For the items below, we require additional information such as  a specification, and/or detailed description, and/or brand, and/or part number.

| Material | Description | Quantity | Rates |
| --- | --- | --- | --- |
| 1 | FRF purifier | 1 |  |
| 2 | Oil pump (ACC) | 2 |  |

Please see the following Technical Specification for the New Mobile Purifier:

The Purifier must be capable of the following:

• Fine solid particle removal

• Moisture removal

• Removal of TAN (Total Acidic Number)

Specification:

• Application- Fire Resistant Fluid(FRF), Turbine Lube Oil

• Minimum flow rate – 40 Litres per minute

• Operating pressure – 0 to 10 bar

• Hose pipes – Teflon

• Seals – Viton

• Material – Stainless Steel

• Accessories- Online Particle Counter

• Purifier Structure- Must be Mobile with Wheels.

• Purifier to be supplied with Flexible Hoses, connections, and Power cable.

Lead time- Unknown as this type of purifier was never bought at Matimba.

Price – Unknown (This type was never bought before. The following is the picture of the Purifier we want however it could be any brand that fulfils the above technical specification.