RFx 6000024847

REQUEST FOR QUOTATION

APPOINTMENT OF A SERVICE PROVIDER FOR SERVICE, INSTALLATION AND MAINTENANCE OF FIRE EQUIPMENT

Publish Date

19 February 2024

Closing Date

26 February 2024

At 11h00

Briefing Session Via MS Teams

Thursday 22 Feb at 11h00 via MS Teams

RFx 6000024847 Service, Installation and maintenance of Fire Equipment at all SARS Building WC

Revision 2

09/2023
INTRODUCTION

1.1	The bid is designed to provide a framework that will enable a broad base of service providers an opportunity to participate in the provision of the service, maintenance and where required installation of fire extinguishers at various SARS offices within the region.

1.2	The primary objective being to bring the procurement cycle times to a more acceptable level, without losing the essential concepts of openness, fairness, accountability, competitiveness and responsibility.

1.3	This document details the services required by a service provider/s for the service, maintenance and where required installation of fire extinguishers. In addition, this document defines the roles and responsibilities of the service provider/s and includes the levels of service that is expected.

  - A service provider must submit pricing as requested on template

1.6   A service provider is reminded that when submitting the document for any office, all buildings in that group must be included.

2.SERVICE PROVIDERS:

- The service provider will be appointed for a period of 36 months based on the pricing submitted

- The service provider may make use of sub-contractors. The contract will however be awarded to the service provider/s as the primary contractor who will be responsible for the management of the contract. No separate contracts will be entered into between SARS and any such sub-contractors

- The successful bidder is reminded that any work allocated will arise as per service schedules, as required by SARS Facilities

- The service providers will comprise of more than 1 service provider for this category as per clusters within the region.

- Invoicing of work done by the service provider must be done on a “per job” basis which will further be outlined in the service level agreement

- SARS’s endeavour to ensure that the distribution of work allocated to a successful bidder, will be issued as per format below:

  - All work issued to respective service provider will be logged via the regional SARS Facilities helpdesk and a reference number will be issued;

  - A service request and work specification will be issued to the service provider to provide a quotation for required item of work;

  - Once the quotation is approved the service provider will be notified to proceed with work request by means of a purchase order

  - SARS Facilities will verify that the quality and completeness of the work and will then sign off the service request / job card and request the service provider to invoice for the completed work. Supplier invoice(s) must be attached where applicable;

  - After receipt of the detailed invoice, SARS Facilities will check and verify the invoice and approve for payment once all invoiced items are confirmed as correct;

  - In cases where existing materials were used, the service provider is required to submit quantities used in the course of the completed work, for verification purposes

  - Non schedule items relating to plumbing maintenance work will require supplier quote and material mark up percentage

  - A contractor shall ensure that all necessary health and safety precautions stated in the SANS 10139 and 10475 part 1 and 2  and General Safety Regulations are taken into consideration when conducting any work.

3.SCOPE OF WORKS

  - This specification covers the various trades of services that may be requested at SARS offices as per service schedule;

  - The types of services are fully described in “Scope of Works” under Section 6 below;

  - The onus is on the appointed service provider to appoint a registered and certified person to carry out the maintenance and servicing of the fire extinguisher in accordance with SANS 1475 part 1 and 2

  - Maintenance by a certified person ensures that the system will continue to function as originally intended

  - The service technician shall conduct the necessary inspection to check whether any changes affected the compliance of the system and provide the relevant recommendation

  - All faults and incidences to be recorded on the service report

  - All equipment to be tested to ensure functionality

  - The service provider/s shall be required to take full responsibility for its resources including management, performance management, quality control, SLA, staff and sub-contractor management ;

  - SARS will require service providers to submit and hand over to SARS all warrantees and guarantees for materials and equipment supplied, serviced and or installed

RFx 6000024847 Service, Installation and maintenance of Fire Equipment at all SARS Building WC

Please indicate compliance (yes) or non-compliance (no) in the paragraph as per list of specifications and bid conditions included in this document.

Should the service provider/s fail to adhere to this requirement, it will be assumed that the service provider/s is not in compliance with the statement/ requirement as specified.

| No | Description |  | Yes/ no/ comments |
| --- | --- | --- | --- |
| 4. | Definitions: |  |  |
| 4.1 | Servicing, maintenance and installation refers to the service and repairs to fire equipment at the various SARS offices. |  |  |
| 4.2 | The technician responding to the service calls logged to the service provider by SARS will be capable of investigation, restoration and/or rectification of the request. |  |  |

5. SCOPE OF WORKS – FIRE EQUIPMENT

| 5.1 | FIRE EQUIPMENT | Category | Yes/ no/ comments |
| --- | --- | --- | --- |
| 5.1.1 | ROUTINE AND MAINTENANCE SERVICE: Repair, install, refill, replace and service of fire extinguishers and fire hose reels including pressure testing of units where required, hangers, signages (relating to fire and normal building signages), backing boards, issue of certificate, numbering of extinguishers, service and repair of jockey pump, replenish of first aid boxes, service and repair of sprinkler system, sprinkler heads, supply and install push bars, door closers, fire rated doors, etc. | Maintenance |  |

- GENERAL CONDITIONs

|  | Specification/ Description | Yes/ No/ Comments |
| --- | --- | --- |
| 6.1 | This Bid would be for a period of 36 (thirty six) months whereby it could be terminated prior to the 36 (thirty six) month period. These services may be acquired from the successful service provider/s as per schedule. All conditions apply as stipulated in the SARS Procurement Policy. |  |
| # 6.2 | # All SARS business units in the specified cluster as per Annexure A will participate in this contract as and when required. SARS reserves the right # to add or remove offices. |  |
| 6.3 | SARS reserves the right to accept more than one Bid. SARS also reserves the right to accept a Bid as a whole or partially or not at all. SARS will not be obliged to accept any particular Bid for whatever reason. SARS also reserves the right to request further references. |  |
| 6.4 | The following information must be provided per item: |  |
| 6.4.1 | - A definite indication of compliance with minimum requirements. Deviations from the set specifications must be motivated/ explained as an addendum to the applicable item. |  |
| 6.4.2 | - Volume discounts for quantity classes as specified in the appendixes for the specific item must be indicated. |  |
| 6.4.3 | - It should be noted that the specification represents the minimum requirements of SARS, and any deviations, proposals, etc must be clearly specified by the service provider/s. |  |
| 6.5 | Service Provider/s are required to clearly indicate (yes /no) for which office in the region the bid is submitted for. Please refer to Annexure A for the list of SARS Offices that will participate in this contract. |  |
| 6.6 | Service Provider/s may bid for all or certain buildings in a cluster |  |
| 6.7 | The winning bidder may not exceed sub-contracting any part of the contract over the threshold as stipulated by National Treasury which limits it to 25 percent of the contract. When sub-contracting, the appointed service provider may only apply the mark up’s as indicated below for material. Refer to Annexure B. The appointed service provider may place a mark-up on labour. The contract will however be awarded to the Service Provider/s as the primary contractor who will be responsible for the management of the contract. No separate contracts will be entered into between SARS and any such sub-contractors. |  |
| 6.8 | The Service Provider/s is required to provide an “invoice” from his “Supplier” for any materials purchased when submitting his invoice to SARS for payment. |  |
| 6.9 | SARS reserves the right to verify the cost of any materials purchased against the “Suppliers” invoice or by any other independent supplier. |  |
| 6.10 | SARS reserves the right to verify “suppliers” invoice for material charges against the “Merkel’s” database of costs. |  |
| 6.11 | The Service Provider/s is required to provide the repair and corrective service on a Time and Material basis. |  |
| - 6.12 | - A Service Level Agreement (SLA) will be entered into between SARS and the successful service provider/s. Refer to Annexure E for proposed draft SLA. |  |
| - 6.13 | - The South African Revenue Service shall have the right to terminate this contract in the event of poor service and/or non compliance to the service level agreement by the service provider/s. |  |
| - 6.14 | - The South African Revenue Service shall not be liable for any damage or loss to the service provider/s resulting from termination under this clause. |  |
| - 6.15 | The service providers and sub-contractors should comply with the requirements of the Occupational Health and Safety Act No. 85 of 1993 and the Regulations thereto including any relevant standards and SANS codes of practice that may apply. To minimize and eliminate contractor’s and SARS staff health and safety risks. - The contractor should make provision for the cost of health and safety measures to be implemented during the duration of the contract |  |
| - 6.16 | Technicians and supervisors must have training in compliance with the standards specified by South African Qualifications Authority (SAQA) |  |
| - 6.17 | All work, testing and inspection procedures of equipment to comply with SANS standards and norms. |  |

7. Mandatory information to be submitted to SARS

It is mandatory in terms of this tender bid to submit the following information to SARS. Failure to submit the requested information together with this completed document will prejudice the bid evaluation of the service provider/s in terms of this request

| INSTANT DIS-QUALYFIERS |  |  |
| --- | --- | --- |
| - Letter of intent from Insurance Company or proof of Public Liability insurance to the value of not less than R1 000,000.00 (one million Rand). Please provide certified copy of insurance policy or intent letter. | Proof submitted | Evaluate further |
|  | Proof not submitted | Disqualified |
| - SAQCC or FDIA or FFETA certification or registration number to be provided by the service provider | Proof submitted – | Evaluate further |
|  | Proof not submitted | Disqualified |
| Service provider/s has completed in full the pricing template per preferred cluster as referred to in Annexure B. This information is accurately reflecting the service provider/s pricing | pricing template completed | Evaluate further |
|  | incomplete pricing template | Disqualified |
| Note: If the service provider/s does not meet these requirements, the bid is disqualified |  |  |

RFx 6000024847 Service, Installation and maintenance of Fire Equipment at all SARS Building WC

- VAT

|  | Description | Yes/ no/ comments |
| --- | --- | --- |
| 9.1 | Where appropriate, prices quoted shall include VAT and a reference to the service provider/s VAT registration number must be included (where the service provider/s is VAT registered or liable for VAT registration). (Show VAT separately, e.g. Price 10.00 VAT 1.50 Total (11.50) |  |

Annexure A

LIST OF SARS OFFICES THAT MAY PARTICIPATE IN THIS CONTRACT

WESTERN CAPE – Cluster A:

|  | Suburb | Building name | Address | Yes/No |  |
| --- | --- | --- | --- | --- | --- |
| 1 | Cape Town | Project P166 | 22 Hans Strijdom Avenue |  |  |
| 2 | Cape Town | 17 Lower Long Street | 17 Lower Long Street |  |  |
| 3 | Cape Town | Revenue Building | 90 Plein Street |  |  |
| 4 | Cape Town | Parliamentary building | 120 Plein Street |  |  |
| 5 | Cape Town | State Warehouse | Cape Town Harbour |  |  |
| 6 | Cape Town | Harbour | Scanner Site, Duncan Road, Porto of Cape Town |  |  |
| 7 | Cape Town | Liberty Promenade | AZ Berman & Morgenster |  |  |
| 8 | Saldanha Bay | Port of Saldanha | Port of Saldanha |  |  |
| 9 | Cape Town | CT Airport | Customs Building: CT International Airport & Passenger Arrival |  |
| 10 | Bellville | Sable House | C/o Durban & Voortrekker Rd |  |
| 11 | Paarl | Rhoba Building | 19 Market Street |  |
| 12 | Stellenbosch | Alex Forbes House | C/o Piet Retief & School Street |  |
| 13 | Cape Town | Customs Cargo – Airport office | Agent street |  |
| 14 | Goodwood | Cape Mail | Goodwood showground |  |
| 15 | Cape Town | Cowrie House | Duncan Road, Port of Cape Town |  |

WESTERN CAPE – Cluster B:

|  | Suburb | Building name | Address | Yes/No |
| --- | --- | --- | --- | --- |
| 1 | Robertson | Customs Building | 48 Church Street |  |
| 2 | Mossel Bay | Customs Building | Bland Street |  |
| 3 | Oudtshoorn | Allied building | Church Street |  |

NOTE: The Service Provider/s price must be based on a fixed price basis for duration of 36 months. Such fixed price should be inclusive of, i.e., overheads, profits, transport cost to be included, etc.  as SARS will not entertain any additional costs not specifically provided for by the Service Provider/s in the pricing schedule.

RFx 6000024847 Service, Installation and maintenance of Fire Equipment at all SARS Building WC

SCHEDULE OF RATES:												Annexure B

WESTERN CAPE – Cluster A:

Table A – Cluster A Pricing Template – CBD (P166, Lower Long, 90 & 120 Plein Street, States Warehouse, Scanner Site, Mitchells Plain, Bellville, CT Airport, Cape Mail Stellenbosch, Paarl)

| Fire equipment | Price year 1 | Price year 2 | Price year 3 |
| --- | --- | --- | --- |
| Service per extinguisher cost as follows: |  |  |  |
| 9kg DCP fire extinguisher |  |  |  |
| 4.5kg DCP fire extinguisher (STP) |  |  |  |
| 4.5kg DCP fire extinguisher |  |  |  |
| 5kg CO2 fire extinguisher |  |  |  |
| 2.5kg CO2 fire extinguisher |  |  |  |
| 2kg CO2 fire extinguisher |  |  |  |
| Fire hydrant |  |  |  |

| Material markups | Markup |
| --- | --- |
| R0 – R4999.00 | 17% |
| R5000 – R19,999 | 12% |
| R20,000 – R100,000 | 7 % |
| R101,000 – R499,000 | 5 % |

NOTE: The Service Provider/s price must be based on a fixed price basis for duration of 36 months. Such fixed price should be inclusive of, i.e., overheads, profits, transport cost to be included etc as SARS will not entertain any additional costs not specifically provided for by the Service Provider/s in the pricing schedule.

Worcester

| Fire equipment | Price year 1 | Price year 2 | Price year 3 |
| --- | --- | --- | --- |
| Service cost per extinguisher required as follows: |  |  |  |
| 9kg DCP fire extinguisher |  |  |  |
| 4.5kg DCP fire extinguisher (STP) |  |  |  |
| 4.5kg DCP fire extinguisher |  |  |  |
| 5kg CO2 fire extinguisher |  |  |  |
| 2.5kg CO2 fire extinguisher |  |  |  |
| 2kg CO2 fire extinguisher |  |  |  |
| Fire hydrant |  |  |  |

WESTERN CAPE – Cluster B:

Table A – Cluster B Pricing Template – (Robertson )

| Fire equipment | Price year 1 | Price year 2 | Price year 3 |
| --- | --- | --- | --- |
| Service cost per extinguisher required as follows: |  |  |  |
| 9kg DCP fire extinguisher |  |  |  |
| 4.5kg DCP fire extinguisher (STP) |  |  |  |
| 4.5kg DCP fire extinguisher |  |  |  |
| 5kg CO2 fire extinguisher |  |  |  |
| 2.5kg CO2 fire extinguisher |  |  |  |
| 2kg CO2 fire extinguisher |  |  |  |
| Fire hydrant |  |  |  |

Table A – Cluster B Pricing Template – (Mossel Bay and Oudtshoorn)

| Fire equipment | Price year 1 | Price year 2 | Price year 3 |
| --- | --- | --- | --- |
| Service cost per extinguisher required as follows: |  |  |  |
| 9kg DCP fire extinguisher |  |  |  |
| 4.5kg DCP fire extinguisher (STP) |  |  |  |
| 4.5kg DCP fire extinguisher |  |  |  |
| 5kg CO2 fire extinguisher |  |  |  |
| 2.5kg CO2 fire extinguisher |  |  |  |
| 2kg CO2 fire extinguisher |  |  |  |
| Fire hydrant |  |  |  |

| Material markups | Markup |
| --- | --- |
| R0 – R4999.00 | 17% |
| R5000 – R19,999 | 12% |
| R20,000 – R100,000 | 7 % |
| R101,000 – R499,000 | 5 % |

NOTE: The Service Provider/s price must be based on a fixed price basis for duration of 36 months. Such fixed price should be inclusive of, i.e.,, overheads, profits, transport cost to be included  etc as SARS will not entertain any additional costs not specifically provided for by the Service Provider/s in the pricing schedule.

Annexure C

- INCIDENT RESPONSE TIMES ARE DETAILED IN TABLE C1 BELOW:

| Table C1 |  |  |  |
| --- | --- | --- | --- |
| Incidents | Response Time Targets (Hours) |  |  |
|  | Availability and Incident Response Times | Fix or Workaround | Comply- Yes/ No |
| Critical | 24 hours, 7 days a week, within 4 hours of receipt of call | - Failures that seriously affect the client’s operational effectiveness. - Failure that constitute a danger to personnel or equipment or health hazard. |  |

- Incident resolution times are detailed in Table C2 below:

| Table C2 |  |  |  |
| --- | --- | --- | --- |
| Incidents | Resolution Time Targets (Hours) |  |  |
|  | Incident Response | Fix or Workaround | Comply- Yes/ No |
| Break-Fix Repair | 2 hour to acknowledge the service call | 4 working hours after receiving a service request from SARS |  |
| Service Requests | 4 hrs | 2 working days after receiving a service request from SARS |  |

RFx 6000024847 Service, Installation and maintenance of Fire Equipment at all SARS Building WC

Annexure D

- SERVICE PROVIDER/S CONTACT DETAILS DURING BUSINESS HOURS

- TABLE

| Callouts | Primary Number | 1st Alternative Number | 2nd Alternative Number |
| --- | --- | --- | --- |
| Helpdesk/office |  |  |  |
| e-mail address |  |  |  |
| Mobile number |  |  |  |
| after hours tel. number |  |  |  |

RFx 6000024847 Service, Installation and maintenance of Fire Equipment at all SARS Building WC

Annexure F

# OATH OF SECRECY/SOLEMN DECLARATION

(Internal - Must be completed by employees, consultants, contractors, subcontractors, or a person employed by a consultant or sub-contractor and any other person who renders services to SARS.)

(Use block letters and write with black ink/ballpoint pen)

# I, (Full names and surname)…………………………………………………………………………………………………………………

# Date of Birth………………….......................... Identity Number…………………….........................................................................

# In my capacity as………………………………….…of……………………………………………….. (Name of Company if applicable)

hereby swear/solemnly declare that:

(a)	 I have taken note of the provisions of the Protection of Information Act, 1982 (Act No. 84 of 1982).

(b)	 I have taken note of the provisions of the Public Finance Management Act.

(c)	 I have taken note of the provisions of the Promotion Administrative Justice Act, 2000 (Act No. 3 of 2000).

(d)	 I have taken note of the provisions of the Promotion of Access to Information Act, 2000 (Act 2 of 2000).

(e)	 I have taken note of the provisions of the Electronic Communications and Transactions Act, 2002 (Act No. 25 of 2002).

(f)	 I have taken note of the provisions of the South African Revenue Service (SARS) Act, No. 34 of 1997.

(g)	 I have taken note of the SARS Security Policies.

(h) 	 I understand that I may not disclose, either verbally or in writing, to any unauthorised person any classified information of whatever nature that has, or                    may come to my knowledge as a result of my duties as-

(i)	An employee of SARS;

(ii)	A consultant, contractor or subcontractor, or a person employed by a consultant or subcontractor, who renders   services to SARS; or

(iii)	a member of the Regional Industrial Development Board (the Board) or its successor, or a person employed by the Board or the Department of Trade and Industry who is in any way involved in the preparation or evaluation of applications for purposes of the tax holiday scheme contemplated in section 37H of the Income Tax Act, 1962 (Act No. 58 of 1962), (other than in the carrying out of my official duties or in the performance of my duties under any of the Acts referred to), without having received the prior approval of either the Commissioner, or an Officer duly authorized by him/her.

(i)	I will not, either directly or indirectly, divulge or disclose to anyone or be a party to the divulging of or disclosure to or obtaining by anyone any particular matter or thing relating to the affairs or income of, or income tax, customs and excise duty, sales tax or value added tax payable by any person or body, or any information which has been in any way acquired by me in connection with the discharge of my duties imposed upon or entrusted to me under the Income Tax Act, 1962 (Act No. 58 of 1962), or any previous or subsequent Income Tax Acts, the Customs and Excise Act, 1964 (Act No. 91 of 1964), or any previous or subsequent Customs and Excise Acts, the Sales Tax Act, 1978 (Act No. 103 of 1978), prior to the repeal thereof, and/or the Value-Added Tax Act, 1991 (Act No. 89 of 1991), or in any subsequent Value-Added Tax Acts, or any proclamations, regulations or rules made under any of the said

Acts, or in any office, post, or position that I may at any time hold or occupy under the said Acts, except when I shall be required to do so in the course of my duties, or by order of a competent court of law, and that I will always observe secrecy with regard to all such particulars, matters and information.

(j)	I understand that I must perform my duties in accordance with the SARS Security Policies, Standards and Procedures.

(k)	I understand that the above is applicable not only during my term of employment, office or contract, but also after my services (including services contemplated in paragraph (h) (ii) and (iii) in or with, as the case may be, SARS or the Board (or its successor) have been terminated.

(l) 	I am fully aware of the serious consequences that may follow on any breach or contravention of the above mentioned provisions and instructions, as well as that action will be taken in accordance with the SARS Disciplinary Code, which may lead to dismissal, criminal proceedings or both.

Signature……………………………………………………………………………………………………………………………………..

(Must be signed in the presence of a Justice of the Peace, Magistrate or Commissioner of Oath)

# Date………………………………………………Place……………………………………………………………………………………..

# I certify that prior to my administering the prescribed oath/affirmation; I put the following questions to the deponent and wrote down his/her answers thereto in his/her presence:

(a) Do you know and understand the provisions of the above statement? Answer……………………..………………….

(b) Do you have any objection to taking the prescribed oath/affirmation? Answer…………………..……….…………….

(c) Do you regard the prescribed oath/affirmation as binding on your conscience? Answer………………....……………

# I certify that the deponent acknowledges that he/she knows and understands the provisions of this statement which was sworn to/affirmed and signed by the deponent in my presence.

# Justice of the Peace/Magistrate/Commissioner of Oath: Signature …………...………………………………………………………

# Designation…………………………………………………………………………………..…………Ex officio Republic of South Africa

Date………………………………………     Place………………………………………………………………………………………….

# Full names and surname…………………………………………………………………………………………………………………….

# Address…………………………………………………………………………………………………………………………………………

……………………………………………………………………………………………………………………………………