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Enquiries:







ONDERSTEPOORT BIOLOGICAL PRODUCTS LTDPRIVATE BAG X7, ONDERSTEPOORT 0110


Ms. Mr, Dr.………………….............................. .
Kindly provide the quotation for the following:  OBP  499/2023/24 A
PERIOD: 36 Months
	Compulsory Document Requirements
	Yes/No

	CSD Report (With a Tax Compliant status that is current)
	

	Declarations SBD4 (Completed, signed & submitted)
	

	Fire Detection: Commissioner (SAQCC) – Proof provided
	

	Gas fire suppression: Installer (SAQCC) – Proof provided
	

	Certified copies of CIPRO/CIPC company registration
	

	COID letter of good standing
	

	Accreditation certificates (SAQCC Fire registration) – proof provided.
	

	Sworn Affidavit stamped and signed by commissioner of oath or original /certified SANAS Accredited certificate. – Proof provided
	


NB: Please note that if any of the above requirements is not submitted with the quote it will be an immediate disqualification.

	REQUEST FOR PROPOSALS OF THE SERVICING OF FIRE FIGHTING EQUIPMENT & FIRE DETECTION QUIPMENTS AT ONDERSTEPOORT BIOLOGICAL PRODUCTS SOC LTD FOR (36 MONTHS) PERIOD.



	1.INTRODUCTION

Onderstepoort Biological Products (OBP) SOC Ltd is a state-owned company established by the Onderstepoort Biological Products Incorporation Act of 1999 and is responsible for the development, manufacturing, and distribution of animal vaccines in the country and beyond its borders. OBP is a schedule 3B public entity in terms of the Public Finance Management Act 1 of 1999, which reports to the Minister of Agriculture, Land Reform and Rural Development. 

The core functions of OBP are to develop, manufacture, and distribute animal vaccines locally and globally to ensure food security through the promotion of animal health.



	2.BACKGROUND

The company is situated in the Onderstepoort complex next to the Onderstepoort Veterinary Institute (of the ARC) and the Veterinary Faculty (of the University of Pretoria). The complex comprises a manufacturing plant, an experimental animal farm and the corporate offices. The full staff complement is housed at the facility. 

Activities on the site include offices, laboratories, animal facility and stables, food preparation areas (canteens), workshops, clinic, and a boardroom centre. Activities offsite includes animal facilities/stables.



	3. SCOPE OF WORK 

During the term of this contract the service provider will be required to ensure that all firefighting equipment are serviced repaired and maintained to ensure that they are properly functioning and ready to use in the events of emergencies at the Onderstepoort Biological Products main site in accordance with the SANS 1475 & SANS 10139. 

3.1 The Service Provider will be required to ensure the following:

a) All firefighting equipment must be listed, updated, and maintained on an inspection register, ID number, identifying location, type, capacity, Service date and pressure test date. Index Register is to be always updated.
b) Ensure all firefighting equipment is numbered and identified according to the standard. The location of all moveable firefighting equipment must correspond with the location number.
c) If any Fire Fighting Equipment has been tampered with, or has been damaged, that it leaks or is under/overcharged, the Fire Fighting equipment must be subjected to a complete maintenance test and service.  In the case of Fire Extinguishers must be withdrawn and serviced.
d) All Firefighting equipment’s to be serviced as per applicable SANS Standard 
e) Ensure the sticker on the Fire Fighting Equipment is updated after been serviced. A Record of service must be kept on file.

f) Ensure that firefighting equipment’s are hydrostatic pressure tested as in when required. A Pressure test certificate must be provided for each extinguisher that is pressure tested.
g) Assist with Emergency Preparedness as per organizational schedule.
3.1.1 Annual service and certification of the following equipment   SANS 1475:

Quantity

Description-Specification

121
CO2 5kg    Fire Extinguishers

20
CO2  2kg   Fire Extinguishers    

26

DCP 4.5kg Fire Extinguishers

51

DCP 9kg    Fire Extinguishers

2

Foam 9L    Fire Extinguishers 

30

Hose reel 30m 

8

Hydrants 

3.1.2 Quarterly servicing of Fire detection System   SANS  10139
Quantity
Specification

9

Convectional System

2

Gas Suppression System

1

Addressable System

5

Vesda detectors

8

Radio links 

120

Detection Point

3.1.1.2.  Fire detection System. Index register/logbook to be updated always. 

A service certificate should be issued after equipment has been serviced!!! 

	4.Competency

· Accreditation certificates (SAQCC Fire registration) as service provider and 

· The competency certificate of technicians servicing the firefighting equipment (SAQCC registration/card). Complete servicing as required by the SANS 14575 & SANS 10139 



	5.EVALUATION CRITERIA AND PROCESSES TO BE USED

The evaluation process will entail the following phases:

Phase 1 – Evaluation on Legal requirements

Phase 2– Price and preference BBBEE points.


SBD 4
BIDDER’S DISCLOSURE

1. PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process. 

2. Bidder’s declaration

2.1 
Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest
 in the enterprise, 


employed by the state?





YES/NO


2.1.1
If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.
	Full Name
	Identity Number
	Name of State institution

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


2.2
Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? YES/NO


                                          

2.2.1     If so, furnish particulars:

………………………………………………………………………………

………………………………………………………………………………

2.3 
Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?



YES/NO
2.3.1 If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

3 DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 
I have read, and I understand the contents of this disclosure.
3.2
I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect.

3.3 
The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement, or arrangement with any competitor. However, communication between partners in a joint venture or consortium
 will not be construed as collusive bidding.

3.4 
In addition, there have been no consultations, communications, agreements, or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.
3.4
The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

3.5 
There have been no consultations, communications, agreements, or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

3.6 I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT. 

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.  

………………………………
 ..…………………………………………… 



Signature
                          Date

………………………………
………………………………………………
---------------------------------                           ---------------------------------------

Position 
Name of bidder

Terms and Conditions:
-Submission should be no later than           (5 December 2023, 15H00)  
-Please indicate your offer validity and lead time:


-All prices must be VAT exclusive, (Vat vendor please indicate as such) if no indication, prices will be evaluated as exclusive
-Quotation must be on a company letter head and strictly on a PDF format    
-Quotations sent on Word or Excel format will not be accepted  
-Quotations must be emailed back to: purchasing@obpvaccines.co.za   
 If no reply after 14 days of closing date your RFQ was unsuccessfully  

-Orders above 30K will be BEE evaluated

-Please indicate if you are unable to quote and state the reason why

-Please note that fluctuations in the exchange rate (where applicable) will not be for the account of OBP.

-Payment terms:  30 days after statement
Bidders must be registered on CSD (Central Supplier Data base National Treasury) and be tax complaint 

I agree that the offer herein shall remain binding upon me and open for acceptance by OBP during the validity period indicated.
Signature                                                                                                     Date




REQUEST FOR QUOTATION FOR GOODS AND SERVICES





� 


























From:  


Date: 29 November 2023


Tel:   012 522 1500


Fax:


Email: purchasing @obpvaccines.co.za





To:   


Supplier:


Tel:  


Fax:


Email: 








� the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.








� Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.
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