SPECIFICATION FOR DUCTING, CHILLED WATER PIPING, INSULATION RENEWAL, CLADDING, MOUNTING BRACKETS AND MAJOR RENEWAL OF AIR HANDLING UNITS (3 BUILDINGS) - PHASE 1

Theatre building

1. 	7th floor

- AHUs 14, 15, and 16 in 7th floor air-condition room all ducting to be repaired and painted.

- to remove rust on metal wall cladding, treat the metal sheet to avoid water penetration& paint ducting and the floor

- Insulation replacement and cladding painting of (2 X 15 m) chilled water line pipes from ground floor to seventh floor

- insulation replacement and cladding painting of (2 X 18 m) chilled water line pipes from -1 floor to seventh floor

2. 	6th floor

- restore painting on a section of ducting 1m²

3. 	Ground	floor (loading bay area and maintenance workshop passage)

- clean chilled water pipelines and treat corroded areas

4	Bar office

- clean chilled water pipes, treat corroded areas and painting AHU 4

5	Loft emergency exit side

- clean chilled water pipes, and treat corroded areas

6	Alhambra roof landing area

- AHUs 5, 6, 7, and 8 clean chilled water pipes, treat corroded areas and paint

- Replace the ducting’ insulations assess the internal conditions and repair where possible

- Waterproof the landing area after

7	Tudor roof landing area

- AHU 10 clean chilled water pipes, treat corroded areas and paint

- Replace the ducting’ insulations assess the internal conditions and repair where possible

- Waterproof the landing area.

8	Loft roof landing area

- AHU 11 clean chilled water pipes, treat corroded areas and paint

- Replace the ducting’ insulations assess the internal conditions and repair where possible

- Waterproof the landing area.

- Remove the fresh air fan ducting manufacture new one with same look and install

9   -1 Zulu lounge passage arear and store room

- clean chilled water pipes, treat corroded areas and painting.