Specification For General Build maintenance

- Replace the cracked glass panel in the entrance door.

- Replace bent and broken blinds in tearoom and offices.

- Replace missing/broken ceiling panels in the short passage.

- Replace loose and torn carpets tiles in various areas in the office building

- Paint rusted doors and burglar bars.

- Fix the leaking roof that causes unsightly stains on the ceiling panels.

- Replace broken ceilings on the outside to prevent pigeons from entering the roof.

- Install burglar bars and windows at the chemical store.

- Replace broken padlocks at car ports.

- Replace dilapidated ceiling at oven lab.

- Replace door lock at oven lab.

- Do upholstery of all chairs with thorn material covers.

- Door lock at Room 19

- Door lock between rooms 7 & 8

Compulsory Requirements:

➢ Supplier with at least 2 RECOMMENDATION LETTERS over R 100 000 each