Specification for Fibertec 800 FOSS Machine

FibertecTM 8000 system, 230 V 50/60HZ

Consists of:

1 pc, 60053121, Basic Unit FibertecTM 8000, hot extraction

Unit, 1 pc, 60058884, Standard Accessory Kit, 1 pc, 60051537, Acid tank for crude fiber analysis, 1 pc, 60056553, Alkali tank for crude fiber analysis, 1 pc, 60057395, NDS tank for Neutral Detergent Fiber

Analysis

1 pc, 60057421 ADS tank for Acid Detergent Fiber Analysis, 1 pc 60056233 Reflector,1 pc 15290021 Water aspirator, 1 pc 10001080 Crucible Holder, 1 pc 10001079 Crucible stand, 2 sets 10001172 Crucibles P2 standard 6/set, 1 set 10009410 Preheating tubes, 6/set 1 pc 10000065 Water supply tank, 10 L, 1 pc, 60055604, Amber bottle for octanol, 60 mL, 1 pc, 60055582, Amber bottle for enzyme, 150 mL, 1 pc, 60054514, Leakage tray, 1 pc, 60058863, Wrench, 7 mm, 4 pc, 15640166, Fuse 10AH, 15 pc, 15820051, Clamp, 1 pc, 15820066, Water tubing, 15 m, 15820204, EPDM tubing, 6/12 mm, 2 m, 15820162, Viton tubing, 8/12 mm, 2 m, 15820200Viton tubing, 5/8 mm,1 pc, Owners Guide and 1 pc, 60056578, Spare Parts Manual