Annexure 1: Bid Specification

| RFB REF. NO: | RFB 3206-2025 |
| --- | --- |
| DESCRIPTION | REQUEST FOR BID FOR THE APPOINTMENT OF A SERVICE PROVIDER TO EXECUTE THE CIVIL AND ARCHITECTURAL WORKS AT SITA CENTURION TECHNOLOGY LABORATORY. |
| PUBLICATION DATE | 03 February 2026 |
| SITE BRIEFING SESSION | Compulsory Site / Physical Briefing Session Date: 13 February 2026 Time: 11:00am Venue: - SITE 1: SITA Erasmuskloof (Technology Lab), 459 Tsitsa Street, Pretoria, Gauteng SITE 2: SITA Centurion, John Vorster Drive, Centurion, Pretoria |
| CLOSING DATE FOR QUESTIONS AND ANSWERS | 23 February 2026 |
| RFB CLOSING DETAILS | DATE: 02 March 2026 TIME: 11:00am (SOUTH AFRICAN TIME) PLACE: Tender Office, 459 Tsitsa Street, Erasmuskloof, Pretoria, 0105 |
| PUBLIC OPENING OF RFB RESPONSES | N/A |
| RFB VALIDITY PERIOD | 200 Days |

NOTE: PROSPECTIVE BIDDERS MUST BE REGISTERED ON NATIONAL TREASURY’S CENTRAL SUPPLIER DATABASE (CSD) PRIOR TO SUBMITTING BIDS.

# Contents

1.	Purpose and Background	3

1.1	Purpose	3

1.2	Background	3

2.	Scope of Bid	3

2.1	Scope of Work	3

2.1.1	Description of Works	4

2.1.2	Exclusions	8

2.2	Delivery address	9

2.3	Customer Infrastructure and environment requirements	9

3.	Bid Evaluation Stages	9

3.1	Mandatory Administrative responsiveness (Stage 1)	9

3.1.1	Attendance of briefing session	9

3.1.2	Registered Supplier	10

3.2	Technical returnable documents	10

3.2.1	Instruction and evaluation criteria	10

3.2.2	Technical mandatory requirements (Stage 2)	10

3.3	Special Conditions of Contract Verification (Stage 3)	12

3.3.1 Special Conditions of Contract	12

3.3.1.1 Contracting Conditions	12

3.3.1.2 Delivery Address	12

3.3.1.3 Infrastructure Requirements	12

3.3.1.4 Tarred Driveway Requirements	15

3.3.2 Declaration of compliance and acceptance SCC	25

3.4	Price and Preference Points Evaluation (Stage 4)	26

3.4.1	Costing and Preference Evaluation	26

3.4.2	Costing and Pricing Conditions	26

3.4.3	Bid Pricing Schedule	26

3.4.4	Declaration of Acceptance	27

3.5	Preference Requirements	27

Annex A: Bidder Substantiating Evidence	31

4.	Technical Mandatory Requirement Evidence	31

4.1	Bidder Experience and Capability Requirements	31

4.2	CIDB Registration requirements	32

4.3	Special conditions of contracts	32

4.4	Preference Points Preferential Goals Evidence	32

Annex B	33

# Purpose and Background

## Purpose

The purpose of this Request for Bid (RFB) is to invite Suppliers (hereinafter referred to as “bidders”) to submit bids to execute the civil & architectural works at SITA Centurion Technology Laboratory to comply with SANS 10400.

## Background

Technology Advisory Services (TAS) provides consulting services to SITA and the government and supports the SITA Act mandate to certify ICT goods and services. A key component of TAS's capabilities is the facility in Erasmuskloof, Apollo, which houses the Technology Lab.

The Technology Lab supports several critical processes, including research, consultation, technology testing and certification, and proofs of concept (POCs). It also contains data centre-type equipment essential for operations and record-keeping.

The Technology Lab in Erasmuskloof has faced significant challenges over the last few years, including:

- Water leaks caused by rain and blocked pipes from the upstairs gym.

- Bathroom leaks that damaged infrastructure and test equipment.

- Safety concerns due to the compromised working environment for personnel.

- Electrical issues affecting the Lab's operations.

- Access control issues compromising security.

These issues have led to the decision to repurpose the unused crèche facility in Centurion. The renovations will be carried out without disrupting the Technology Lab's services, and the new facility will provide ample space for current operations and future business expansions. The new facility in Centurion must support the same processes and workflows, offering equal or enhanced infrastructure.

# Scope of Bid

## Scope of Work

The contractor shall furnish all labour, materials, plant and supervision to complete the following in accordance with SANS 2001 series and drawings.

The drawings for the project will be shared during the compulsory site briefing session.

- Demolition

Safe removal of internal walls, existing floor tiles and selected aluminium frames; cart spoil to licensed tip.

- New Brickwork and Drywall Partitions

- 220 mm plastered brick including DPC, lintels and interface with existing structure.

- 90 mm metal stud, double 12.5 mm gypsum each face, acoustic insulation, fire rating per plan.

- Ablution Facilities

Supply and install new ablution facilities and related hygiene equipment

- Doors & Frames

Supply / install wooden doors including Class A fire doors (1 000 mm to server room) and 2 multi fold glazed doors (5 700 mm) detailed specifications as per schedule.

- Windows

Remove 10 existing units and install new AAAMSA rated aluminium windows in revised positions.

- Kitchen Units

Install new kitchen unit as well as plumbing.

- HVAC equipment

Supply and install new HVAC equipment. Supply, mount and commission 8 split systems with refrigerant pipework, drainage and fresh air duct knock outs

- Fire Fighting Equipment

Installation of Firehose reel; 9kg fire extinguishers and Firefighting brooms.

- Flooring and roofing

Smooth Concrete flooring: Install porcelain tiles antistatic vinyl and R11 anti slip tiles suspend 600 × 600 mm acoustic ceilings

- Tarred Driveway Construction

Provide, test and commission a flexible (asphalt) pavement suitable for occasional traffic by rigid-axle trucks up to 4 t gross vehicle mass (GVM). Works include site clearance, earthworks, layer-works, asphalt surfacing, edge restraints and drainage.

- Housekeeping / Clean Up

Removal of all debris and surplus materials from site.

### Description of Works

The following table depicts the unit of measure and quantity of the project scope of work according to priority.

Table 1: Goods/Services Description

| Item No | Goods/Service description | Unit of measure | Qty |
| --- | --- | --- | --- |
| 1 | Demolishing Works |  |  |
| 1.1 | Remove Existing Brick Walls of Existing Offices | m² | 50 |
| 1.2 | Remove Existing Brick Walls of Toilet 1 | m² | 40 |
| 1.3 | Remove Existing Brick Walls of Toilet 2 | m² | 40 |
| 1.4 | Remove Existing Brick Walls of Toilet 3 | m² | 40 |
| 1.5 | Remove Existing Folding doors & drywall between existing classrooms | m² | 15 |
| 1.6 | Remove Existing Brick Walls of Office | m² | 40 |
| 1.7 | Remove Existing Brick Walls of Kitchen | m² | 40 |
| 1.8 | Remove Existing Floor Tiles in the Kitchen | m² | 40 |
| 1.9 | Remove Existing Brick Walls of Sandpit | m² | 40 |
| 1.10 | Remove Existing Brick Walls of Flowerbed | Each | 1 |
| 1.11 | Remove Existing Entrance – aluminum framing | Each | 1 |
| 1.12 | Remove Existing Door & frame | Each | 6 |
| 1.13 | Remove Existing Pavement on Driveway | m² | 700 |
| 1.14 | Taking out and removing old dilapidated suspended ceilings, including grids and preparing to receive new installations | Sum | 300 |
| 1.15 | Removal of old tiles, disconnect and remove old pans, wall cisterns and toilet seats including urinals, flush masters, washbasins, counter tops and mirrors | m² | 40 |
| 1.16 | Existing Main Entrance – Aluminum Door & Frame | m² | 10 |
| 1.17 | Existing plants opposite the main Facilities Entrance | m² | 160 |
| 1.18 | Decommission old Distribution Board | Each | 1 |
| 2 | New Brick & Partition Works |  |  |
| 2.1 | Ablution Facilities (Male & Female toilets) | m² | 40 |
| 2.2 | Tech Lab and Corridor | m² | 300 |
| 2.3 | Supply & Install New Dry Wall Partitions - 90mm thick | m² | 80 |
| 3 | Ablution Facilities |  |  |
| 3,1 | Patching and preparing the area to receive new installations | m² | 50 |
| 3.2 | Supply and install new white ceiling tiles (600x600mm) and grids drop of 600mm from the roof | m² | 20 |
| 3.3 | Supply and install white wall mounted toilet pans for wall cistern with its proper toilet seat covers, replace wall plumping pipes up to the connection joints at the back-service entrance (provision of up to 1m piping). | Each | 3 |
| 3.4 | Supply and install urinal with its proper wall cistern and automatic flushing system automatically after usage. | Each | 1 |
| 3.5 | Supplying and installing urinal automatic sanitizer dispenser | Each | 1 |
| 3.6 | Supply and install wall mounted Rolled White Hand Towel Dispenser | Each | 3 |
| 3.7 | Supply and install soap dispenser with automatic sensor | Each | 3 |
| 3.8 | Supply and install satin wall seat sanitizer dispenser | Each | 3 |
| 3.9 | Supply and install stainless steel jumbo roll round toilet paper dispenser | Each | 3 |
| 3.10 | Supply and install new (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint and inside toilet cubicle walls | m² | 40 |
| 3.11 | Supply and lay new charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint | m² | 40 |
| 3.12 | Supply and install new vanity slab made of Caesarstone countertop, also boxing the vanity to cover waste pipes– white shimmer and a mirror measurement must be verified on site | Each | 3 |
| 3.13 | Supply and install new Duravit dura-square washbasins with waste outlets and water taps (cobra tap mixers). | Each | 3 |
| 3.14 | Provide and applying chalk brush enamel paint to toilet cubicle doors (standard door size) | Each | 3 |
| 3.15 | Supply and install bathroom stall doors for Male and Female | Each | 3 |
| 3.16 | Supply and install main bathroom entrance doors for Male and Female ablution facilities | Each | 2 |
| 3.17 | Supply and install bathroom explanatory/safety signage - Male and Female | Each | 2 |
| 4 | Doors to be Supplied & Installed with Frames |  |  |
| 4.1 | Supply and install ablution entrance doors for Male and Female (813x2032mm) | Each | 2 |
| 4.2 | Supply and install ablution timber solid cubicle doors for Male and Female (762x1880mm) | Each | 3 |
| 4.3 | Supply and Install Single Timber Solid Kitchen Door (915x2032 mm) | Each | 1 |
| 4.4 | Supply and Install Custom-made natural anodized single aluminum door frame (900x2100mm) with Aluminum framed clear glazing to AAAMSA approved specifications - Open Office Area | Each | 1 |
| 4.5 | Supply and Install Custom-made natural anodized double aluminum door frame (1600x2100mm) with Aluminum framed clear glazing to AAAMSA approved specifications - Main Entrance | Each | 1 |
| 4.6 | Supply and Install 230mm Heavy-duty pressed metal double door frame with single rebate for 230mm wall plastered both sides, complete with three (3) pairs of 102mm length steel hinges per door, adjustable c.p. striking plate & rubber buffers painted with high gloss enamel paint. the doors must be a Pair of 762 x 2032mm Class A rated Fire Double Doors - Tech Lab Exit. | Each | 1 |
| 4.7 | Supply and Install Standard aluminum double door frame door for Tech Lab Entrance, complete with grey rubber doorstop gasket for 90mm drywall partitions complete with 1,5 pairs of 100mm long aluminum hinges & adjustable c.p. striking plate. Single door frame to suite (813x2032mm) Colour: Grey | Each | 1 |
| 4.8 | Supply and Install 230mm Heavy-duty pressed metal single door frame with single rebate for 230mm wall plastered both sides, complete with three (3) pair of 102mm length steel hinges per door, adjustable c.p. striking plate & rubber buffers painted with high gloss enamel paint. (813x2032mm) Class A rated Fire Door - Corridor | Each | 1 |
| 4.9 | Supply and Install 230mm Heavy-duty pressed metal single door frame with single rebate for 230mm wall plastered both sides, complete with three (3) pair of 102mm length steel hinges per door, adjustable c.p. striking plate & rubber buffers painted with high gloss enamel paint. (813x2032mm) Class A rated Fire Door - Server Room | Each | 1 |
| 4.10 | Supply and Install Multi-fold & Stack-Away (5700x2025mm) Custom-made natural anodized aluminum folding doors frame to suit drywall partition. The Multi Fold & Stack-away aluminum framed clear safety glazing to AAAMSA approved specifications. - Boardroom 1&2 | Each | 1 |
| 4.11 | Supply and Install steel gate - Walkway Gate | Sum | 1 |
| 5 | Windows to be Supplied & Installed |  |  |
| 5.1 | Male & Female Toilets Custom-made natural anodized aluminum window frame to suite brick wall. Clear safety glazing to AAAMSA approved specifications to suit aluminum door | Each | 5 |
| 5.2 | Passage-Way 2 (Corridor 2) Custom-made natural anodized aluminum window frame to suite brick wall. Clear safety glazing to AAAMSA approved specifications to suit aluminum door | Each | 2 |
| 5.3 | Tech Lab Custom-made natural anodized aluminum window frame to suite brick wall. Clear safety glazing to AAAMSA approved specifications to suit aluminum door | Each | 4 |
| 5.4 | Entrance/Reception Custom-made natural anodized aluminum window frame to suite brick wall. Clear safety glazing to AAAMSA approved specifications to suit aluminum door | Each | 1 |
| 6 | Kitchen Units |  |  |
| 6.1 | Supply & install new water supply pipes | Each | 1 |
| 6.2 | Supply & Install Double Stainless-Steel Sink | Each | 1 |
| 6.3 | Supply & Install Round Prep Sink Ø 450 mm single bowl SS sink, no tap, c/w 38 mm waste & basket strainer. | Each | 1 |
| 6.4 | Supply & Install Kitchen Wall Units Factory built melamine faced chipboard carcasses (white, 16 mm) with 2 mm PVC edge band; adjustable feet; back panels 3 mm white MDF. Provide per floor: 3 m run base units, 3 m run wall units (600 mm high). | Each | 1 |
| 6.5 | Supply & Install Cabinet Hardware Hydraulic soft close hinges: Blum Clip top 110° or equal (>50 000 cycles). | Each | 1 |
| 6.6 | Supply & Install Handles 160 mm c c brushed SS bar pulls, 128 mm on drawer fronts per hinge / handle | Each | 1 |
| 6.7 | Supply & Install Worktops 20 mm Caesarstone quartz (colour: Pure White), epoxy bonded joints, underside moisture seal; overhang 20 mm; polished edge. Support span ≤ 600 mm | Each | 1 |
| 6.8 | Supply & Install Tile Splash back Ceramic Tile sheets 300 × 300 mm, fixed with C2S1 adhesive & epoxy grout. Height 600 mm above worktop along all wet walls | Each | 1 |
| 6.9 | Supply & Install Waste & Traps Stainless steel strainer stopper waste, 90 mm, pop up plug; PP bottle trap, 40 mm PVC waste line with cleaning eye to stack. | Each | 1 |
| 7 | HVAC Equipment |  |  |
| 7.1 | Supply & Install 18 000 BTU Cassette Unit | Each | 3 |
| 7.2 | Supply & Install 24 000 BTU Cassette Unit | Each | 1 |
| 7.3 | Supply & Install 18 000 BTU Under-Ceiling Unit | Each | 4 |
| 7.4 | Supply & Install Extraction Fans for Ablution Facilities | Sum | 6 |
| 8 | Firefighting Equipment |  |  |
| 8.1 | Fire Hose Reel Supply & Install aluminum nozzle fixed firehose reel as per SANS 10400 | Sum | 1 |
| 8.2 | Fire Extinguishers Supply & Install 9 kg DCP Fire Extinguishers | Each | 10 |
| 8.3 | Fire Fighting Brooms Supply & Install Fire Fighting Brooms | Each | 10 |
| 9 | Flooring and Roofing |  |  |
| 9.1 | Flooring in the Kitchen & Ablutions Areas Supply and install new charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint | Sum | 50 |
| 9.2 | Flooring in all other areas Construct new Smooth Polished Concrete flooring | Sum | 250 |
| 9.3 | Ceiling Tiles in all other areas Supply and install new white ceiling tiles (600x600mm) and grid drop of 600mm from the roof | Sum | 300 |
| 10 | Tared Driveway Construction |  |  |
| 10.1 | Driveway Provide, test and commission a flexible (asphalt) pavement suitable for occasional traffic by rigid-axle trucks up to 4t gross vehicle mass (GVM) | Sum | 700 |
| 11 | Clean Up |  |  |
| 11.1 | Housekeeping Remove all debris and surplus materials from the installation site. | Each | 1 |
| 12 | Contingency Allowance | instance | 1 |

### Exclusions

The following works are excluded from this bid.

- All electrical works beyond isolating the existing distribution board and main supply cable.

- UPS & generator integration, PV/solar systems.

- Network cabling, fibre backbone and Wi‑Fi.

- Fire‑suppression systems, detectors and alarms.

- CCTV, access control and other security measures.

- Furniture, loose equipment and specialised lab benches.

## Delivery address

The address where the required works must be delivered is:

| Building | Physical Address |
| --- | --- |
| SITA Centurion | John Vorster Drive, Centurion, Pretoria |

## Customer Infrastructure and environment requirements

Infrastructure and environmental conditions are necessary to support the successful operation of the Technology Lab. These requirements are critical to ensure that the lab functions optimally and that all associated processes, including research, testing, and certification, can be conducted without disruption

Please see further detail under Special Conditions section 2.7.1.3

# Bid Evaluation Stages

The bid evaluation process consists of four stages, according to the nature of the bid. A bidder must qualify for each stage to be eligible to proceed to the next stage of the evaluation. The stages are:

Table 2: Bid Evaluation Stages

| Stage | Description | Applicable for this bid YES/NO |
| --- | --- | --- |
| Stage 1 | Mandatory Administrative Responsiveness | YES |
| Stage 2 | Technical Mandatory Responsiveness | YES |
| Stage 3 | Special Conditions of Contract Verification | YES |
| Stage 4 | Price and Preference Points Evaluation | YES |

## Mandatory Administrative responsiveness (Stage 1)

### Attendance of briefing session

- A Compulsory site/physical briefing session will be held. The bidder must sign the briefing session attendance register using the same information (bidder company name, bidder representative person name and contact details) as submitted in the bidder’s response document. Any bidder who fails to attend the compulsory briefing session will be disqualified.

### Registered Supplier

- Only responses from bidders who are registered as a Supplier on National Treasury’s Central Supplier Database (CSD) in terms of National Treasury’s Instruction Note 4A of 2016/17 will be considered for award on this RFB.

- In the case of joint ventures or consortiums the bidder must demonstrate that at least one of the parties to the bid response attended the briefing session.

## Technical returnable documents

### Instruction and evaluation criteria

- The bidder must comply with ALL the requirements as per the Technical Mandatory Requirements below by providing substantiating evidence in the form of documentation or information, failing which it will be regarded as “NOT COMPLY”.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response.

- The bidder must comply with ALL the TECHNICAL MANDATORY REQUIREMENTS for the bid response to proceed to the next stage of the evaluation.

### Technical mandatory requirements (Stage 2)

Table 3: Technical Mandatory Requirements

| Mandatory Requirements | Substantiating evidence of compliance (used to evaluate bid) |  | Evidence reference (to be completed by bidder) |
| --- | --- | --- | --- |
| 1. Bidder Experience and Capability Requirements |  |  |  |
| The bidder must have successfully executed civil & architectural works to at least one (1) corporate customer to the value of not less than R1 000 000 within the past five (5) years from the publication of this bid. | Provide to ANNEX A, reference details and/or reference letter from at least one (1) corporate customer to whom the civil & architectural works to the value of not less than R1 000 000 was delivered within the past five (5) years from the publication date of this bid. NOTE (1): The Bidder must provide all of the following information when completing Table 7: 1. Company name; and 2. Contact person, telephone and/or e-mail address; and 3. Project scope of Work; and 4. Project start and end date. NOTE (2): The reference letter/s should be on the referees’ company letterhead and include all of the following information: 1. Company Name; and 2. Contact person, telephone and/or e-mail address; and 3. Project scope of Work; and 4. Project start and End date. NOTE (3): SITA reserves the right to verify information provided. NOTE (4): Failure to submit reference letters and / or to complete Table 7 fully as indicated above will result in disqualification. |  | <provide unique reference to locate substantiating evidence in the bid response – see Annex A, par 5.1, table 7> |
| 2. CIDB Registration Requirement |  |  |  |
| The Bidder, or its Subcontractor must be registered with Construction Industry Development Board (CIDB) with a minimum rating of GB4, or higher |  | The Bidder needs to complete and sign Annex B as evidence that the Bidder or its Subcontractor, is registered with the CIDB with a minimum rating of GB4 or higher and attach this to Annex A. NOTE 1 Note: SITA reserves the right to validate the certificate of registration prior to the award of the bid. | <provide unique reference to locate substantiating evidence in the bid response – see Annex A, par 5.2 |
| 3. Special Conditions of Contract Verification |  |  |  |
| Bidder must accept ALL the Special Conditions of contract. |  | The Bidder must accept ALL the Special Conditions of Contract by completing and signing the declaration of Acceptance in Declaration of compliance and acceptance under the Special Conditions (Section 3.3.2). NOTE (1): Failure to accept ALL the Special Conditions of Contract will result in disqualification. | <Provide unique reference to locate substantiating evidence in the bid response – see Annex A, par 5.3> |

## Special Conditions of Contract Verification (Stage 3)

- The successful supplier will be bound by Government Procurement: General Conditions of Contract (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the successful Supplier. However, SITA reserves the right to include or waive the condition in the signed contract.

- SITA reserves the right to:

  - Negotiate the conditions; or

  - Automatically disqualify a bidder for not accepting these conditions

- If the bidder qualifies the proposal with own conditions and does not specifically withdraw such own conditions when called upon to do so, SITA will invoke the rights reserved in accordance with subsection 4.3. (b) above.

## 3.3.1 Special Conditions of Contract

### 3.3.1.1 Contracting Conditions

- Formal Contract - The supplier must enter into a formal written contract (agreement) with SITA.

- Right to Audit - SITA reserves the right, before entering into a contract, to conduct or commission an external service provider to conduct a financial audit or probity to ascertain whether a qualifying bidder has the financial wherewithal or technical capability to provide the goods and services as required by this tender.

- The site is a National Key point, and regulations must be observed.

### 3.3.1.2 Delivery Address

The supplier must deliver the required products or services at as indicated in Section 2.2, Delivery Address

### 3.3.1.3 Infrastructure Requirements

The following works must be constructed to meet the Technology Lab requirements:

| Area / Space | Demolition (SANS 2001-BD1) | New brickwork (SANS 10400-K & 2001-CM1) | Drywall (SANS 2001-CG1) | Doors (SANS 1253 / 10400-T, N) | Flooring (SANS 2001-CC1 & 10400-D) | Windows (SANS 10400-N) | HVAC (SANS 10147 & 10400-O) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Boardroom 1 | Lift floor tiles 31.12 m²; remove drywall return 3 990 × 2.4 m (9.58 m²) | In-fill above folding door 5.7 × 0.45 m (2.57 m²) | New 90 mm stud wall 3 990 × 2.4 m (9.58 m²) | Supply 1 off D-01 multi-fold glazed door 5 700 × 2 025 mm incl. frame & ironmongery | Smooth Polished Concrete flooring 31.12 m² | – | 1 × 18 000 BTU cassette; connect with ¼"×½" ACR copper (≤30 m run); 10 L/s OA duct |
| Boardroom 2 | Lift floor tiles 31.12 m²; demolish drywall return 4 003 × 2.4 m (9.61 m²) | In-fill above folding door 5.7 × 0.45 m (2.57 m²) | New stud wall 4 003 × 2.4 m (9.61 m²) | 1 off D-01 as A1 | Smooth Polished Concrete flooring 31.12 m² | – | 1 × 18 000 BTU cassette; connect with ¼"×½" ACR copper (≤30 m run); 10 L/s OA duct |
| Hot-desk Bay | Remove floor tiles 16.00 m² | – | – | Re-hang existing single door D-03 900 × 2 100 mm | Smooth Polished Concrete flooring 16.00 m² | – | 1 × 18 000 BTU cassette; connect with ¼"×½" ACR copper (≤30 m run); 1E0 L/s OA duct |
| Office / Reception | Strip floor tiles 16.81 m²; demolish existing office walls 25.03 m² | New rear brick nib 2.24 × 2.4 m (5.38 m²) | – | New aluminium glazed entrance door D-02 1 600 × 2 100 mm | Smooth Polished Concrete flooring 16.81 m² | 1 off W-01 2 375 × 2 025 mm | 1 × 24 000 BTU cassette; ⅜"×⅝" copper; OA duct |
| Kitchen | Strip floor tiles 12.77 m²; demolish kitchen walls 38.11 m² | – | – | Replace door with solid timber D-09 915 × 2 032 mm | R11 anti-slip tiles 12.77 m² + 100 mm coved skirting | – | Tie-in to building extract; no cooling unit |
| Tech-Lab Hall | Lift floor tiles ~30 m² at circulation strip | – | – | Maintain pair fire doors D-04 1 520 × 2 032 mm | Smooth Polished Concrete flooring 31.12 m² | 5 off W-04 3 435 × 2 025 mm | 2 × 18 000 BTU under-ceiling (N+1); copper ¼"×½"; leak detector; 50 mm drain |
| Male & Female WCs | Demolish 3 × toilet cores: walls 109.7 m²; lift floor 27.44 m² | – | Re-erect cubicle drywall (5 pods) total 32 m² | 5 × D-08 cubicle doors 762 × 1 880 mm; 2 × D-09 fire exits 813 × 2 032 mm | R11 anti-slip tiles 27.44 m²; full-height wall tiles | 1 × W-02 + 3 × W-03 | Extract fans ≥30 L/s each room |
| Corridors 1 & 2 | Remove floor tiles 31.12 m²; demolish lintel over old folding door 13.68 m² | – | Two return drywalls 4 000 × 2.4 m each (19.2 m²) | Retain D-04 pair; add intumescent strip | Smooth Polished Concrete flooring 31.12 m² | – | Served by boardroom cassettes |
| Storeroom | Lift floor tiles 4 m²; remove existing shelving | – | New drywall lining 2 walls, 6 m² | New solid door D-05 813 × 2 032 mm | Smooth Polished Concrete flooring 4 m² | – | Passive ventilation only |
| Server / Network Room | Enlarge door opening to 1 000 mm; remove floor 12 m² | – | 2 m nib drywall to close old opening | Install Class-A fire door D-11 1 000 × 2 032 mm (new tag) | Smooth Polished Concrete flooring 12 m² | – | 2 × 18 000 BTU under-ceiling (N+1); copper ¼"×½"; leak detector; 50 mm drain |
| Main Entrance | Remove Existing Entrance – aluminium framing | – | – | Custom-made natural anodised double aluminium door frame (1600x2100mm) with Aluminium framed clear glazing to AAAMSA approved | – | – | – |
| Sandpit | Remove existing sandpit | – | – | – | Smooth Polished Concrete flooring 12 m² | – |  |
| Flower bed | Remove flowerbed and prepare for tared road | Install tarred road | – | – | – | – | – |

Note: All measurements are to be confirmed on-site.

### 3.3.1.4 Tarred Driveway Requirements

Provide, test and commission a flexible (asphalt) pavement suitable for occasional traffic by rigid-axle trucks up to 4 t gross vehicle mass (GVM). Works include site clearance, earthworks, layer-works, asphalt surfacing, edge restraints and drainage, completed to the workmanship requirements of the applicable SANS standards:

- Pavement Structure (minimum)

| Layer | Material & standard | Nominal compacted thickness | Compaction target |
| --- | --- | --- | --- |
| Wearing course | 30 mm continuously graded medium asphalt (AC-6) to SANS 1200 MH; binder 70/100 pen | 30 mm | 92–96 % Marshall density; min air-voids 3 % |
| Base | G1 crushed stone (19 mm) to SANS 1200 MF, sprayed with SS60 tack coat | 150 mm | 98 % Mod-AASHTO |
| Sub-base | G5 natural gravel to SANS 1200 ME, primed with MC-30 cut-back | 150 mm | 95 % Mod-AASHTO |
| Selected sub-grade (if CBR < 8 %) | In-situ soil improved with 3 % hydrated lime, SANS 1200 D | 150 mm | 93 % Mod-AASHTO |

  - Edge-restraint: 100 × 300 mm concrete kerb (strength class 25 MPa) to SANS 1200 MK flush with asphalt surface.

  - Joints: Longitudinal joints straight edged; cold joints cut back 50 mm and reheated.

- Materials:

  - Bitumen: 70/100 pen grade complying with SANS 4001-BT1.

  - Aggregates: Crushed quarzitic stone; LAA ≤ 25 %, 10 % Fines Value ≥ 110 kN, water absorption ≤ 1 %.

  - Prime & tack: MC-30 (0.9 ℓ/m²) and 65 % residual cationic emulsion (0.35 ℓ/m²).

  - Geotextile (optional): 200 g/m² non-woven separator on expansive clay sub-grades.

- Workmanship

  - Site preparation – clear vegetation & soft spots; compact platform to 93 % Mod-AASHTO.

  - Layer-works – place in single lifts, correct moisture, shape to ±10 mm tolerance, compact with steel & pneumatic rollers to densities in §4.

  - Bituminous works – asphalt mixed to Job-Mix Formula; pave > 135 °C, compact finish > 90 °C. No trafficking < 24 h below 35 °C surface temperature.

  - Drainage – construct side-drains or slurry-lined V-ditches to tie into existing stormwater.

  - Quality control – minimum tests per SANS 3001 schedule: densities (GR40), binder content & grading (AS20), core densities (AS11), and sand-patch texture (AS18).

##### 3.3.1.5 Kitchen Equipment

The kitchen equipment to be installed include:

| Item | Minimum specification | Applicable SANS / standard |
| --- | --- | --- |
| Demolition & Strip-out | Carefully remove all existing kitchen cupboards, tops, single sink, wall tiles (~12 m²) and obsolete galvanised water pipework. Cap live services; protect slabs and walls. Cart debris off-site to licensed tip. | SANS 2001-BD1 |
| New Water Supply | Install 15 mm PEX-c barrier pipe in chased walls with ½" brass angle-valves at each sink; crimp fittings. | SANS 10252-1; SANS 10400-O |
| Double Stainless-Steel Sink | Drop-in 1 000 × 500 mm 304 SS double-bowl with 90 mm waste outlets; 1,2 mm gauge; supplied with basket strainers & PP bottle traps. Seal to top with food-grade silicone. | SANS 1186-1 food contact |
| Round Prep Sink | Ø 450 mm single-bowl SS sink, no tap, c/w 38 mm waste & basket strainer. | As above |
| Kitchen Wall Units | Factory-built melamine-faced chipboard carcasses (white, 16 mm) with 2 mm PVC edge-band; adjustable feet; back panels 3 mm white MDF. Provide per floor: 3 m run base units, 3 m run wall units (600 mm high). | SANS 2001-CS1 joinery |
| Cabinet Hardware | • Hydraulic soft-close hinges: Blum Clip-top 110° or equal (>50 000 cycles). |  |
| Handles. | 160 mm c-c brushed SS bar pulls, 128 mm on drawer fronts per hinge / handle |  |
| Worktops | 20 mm Caesarstone quartz (colour: Pure White), epoxy-bonded joints, underside moisture-seal; overhang 20 mm; polished edge. Support span ≤ 600 mm c/c. | Caesarstone fabrication manual; SANS 204 energy |
| Splashback | Ceramic tile sheets 300 × 300 mm, fixed with C2S1 adhesive & epoxy grout. Height 600 mm above worktop along all wet walls (~6 m² per kitchen). | SANS 2001-CC1 |
| Waste & Traps | Stainless-steel strainer-stopper waste, 90 mm, pop-up plug; PP bottle trap, 40 mm PVC waste line with cleaning eye to stack. | SANS 10252-1 |
| Testing & Housekeeping | Commission water lines to ≤ 0.1 mg/L free chlorine; issue CoC. | OHS Act 85/1993 |

##### 3.3.1.6 Environmental Requirements

- Safety and Compliance

  - Regulatory Compliance: Ensuring that all infrastructure upgrades meet local building codes, safety regulations, and IT standards.

  - Waste Management: Proper disposal of construction debris and hazardous materials in compliance with environmental regulations.

- Space Utilisation

  - Office and Meeting Rooms: Creation of an open area by removing walls for a larger meeting room, as well as a smaller meeting room, to accommodate team discussions and collaboration.

  - Furniture and Workstations: Provision of suitable furniture, including test benches and working areas, tailored to the specific needs of the lab environment.

- Operational Continuity

  - Minimised Disruption: Planning construction and refurbishment activities in a manner that minimises disruption to ongoing operations at the SITA Centurion facility.

  - Off-Load Facility: Construction of an under-roof off-load facility to accommodate delivery vehicles, ensuring smooth logistics and material handling.

##### 3.3.1.7 Technology Integration Requirements

- Equipment and Systems Integration

  - Data Centre Equipment: The lab will house data centre-type equipment, requiring integration with the existing IT infrastructure to support operations and record-keeping.

  - Wi-Fi and Open Internet: Provision of robust Wi-Fi coverage and open internet access throughout the lab to support research, testing, and certification activities.

#### 3.3.1.8 Product / Service / Solution Requirements

- All material used shall be of approved quality and profiles.

- The service provider shall ensure that its team has relevant expertise and have necessary experience, equipment and tools to undertake the work.

- A comprehensive project plan must be supplied with the technical bid spec for approval indicating a clear proposed timeframe, project milestone and dependencies.

- All working areas must be kept clear from obstructive material and always clean. The activities should not hamper or endanger any SITA employees, Clients and Visitors.

- The service provider will be expected to issue a guaranteed certificate on the work done.

- The service provider must always adhere to SA National Building and Occupational Health and Safety regulations and standards.

#### 3.3.1.9 Service Elements

##### 3.3.1.9.1 Pre-Installation Phase

- Site Inspection:

  - Conduct a thorough inspection of the site where the installation will take place. This includes assessing the layout, available space, and existing infrastructure.

  - Identify any structural constraints (e.g., walls, floors, and ceilings) that may affect the installation

  - Confirm the availability and condition of water supply, HVAC systems.

- Finalisation of Design and Layout:

  - Review the final designs for the reception area, lab spaces, and other relevant sections. Ensure that all stakeholders agree on the proposed layout.

  - Adjust the layout based on any changes in equipment placement, access points, or structural constraints found during the site survey

- Permitting and Regulations:

  - Determine local regulations and obtain necessary permits.

  - Ensure compliance with building codes.

- Customer Consultation:

  - Discuss customer requirements, preferences, and expectations.

- Health and Safety Measures

  - Ensure all health and safety protocols are in place for the installation team. This includes protective gear, emergency procedures, and site safety regulations.

##### 3.3.1.9.2 Installation Phase

- Preparation:

  - Ensure that the installation area is clear and free of obstructions. This includes removing any unnecessary materials, equipment, or debris from the worksite.

  - Set up safety barriers if needed to prevent unauthorised access or to demarcate specific work areas.

- Receive and Inspect Equipment:

  - Once equipment arrives on-site, perform a thorough inspection to ensure everything is in good condition and matches the specifications provided.

  - Check for any damages, defects, or missing components. Any discrepancies should be addressed immediately with the supplier/SITA to avoid delays.

  - Move equipment to the designated staging area. Organise the tools and materials to allow easy access during the installation.

  - Ensure all installation tools (e.g., drills, screwdrivers, lifts) are available and in working order.

- Quality Checks:

  - Conduct quality inspections to verify that the installation meets design and performance standards.

  - Ensure that all connections, mounts, and installations are secure and compliant with the specified requirements.

  - Address any issues promptly to meet quality standards and customer satisfaction.

- Regulatory Compliance

  - Ensure that all installations adhere to local building codes.

  - If required, schedule inspections with local authorities or certification bodies to get the necessary approvals for the lab’s operational readiness.

  - Provide all relevant occupancy certificates.

##### 3.3.1.9.3 Post-Installation Phase

- Cleanup:

  - Remove debris and surplus materials from the installation site.

  - Leave the area clean and safe for use.

- Post-Installation Review (Pre-acceptance)

  - Conduct a final walk-through of the installation site with the project manager, installation team, and key stakeholders. This will ensure everything is installed according to plan.

  - Review the installation checklist to verify that all tasks have been completed, and that no equipment or functionality has been overlooked.

- Feedback and Follow-Up:

  - Obtain feedback from the SITA project team regarding the installation process.

  - Address any concerns or questions to ensure complete satisfaction.

#### 3.3.1.10 Services and Performance Metrics

  - The Service Provider is responsible to provide the following services as specified in the (SBS):

| SBS | Service Element | Service Grade | Service Level |
| --- | --- | --- | --- |
|  | Project Planning and Scheduling: - Development of a detailed project schedule with milestones and timelines. - Task allocation and resource planning | Professional and quality workmanship | - Official SITA working hours are 08h00am – 16h30pm. - All services to be done outside the official SITA working hours must be communicated and approved in advance |
|  | Risk Management: - Identification of potential risks and development of mitigation strategies. - Ongoing risk assessments throughout the project | Professional and quality workmanship | - Official SITA working hours are 08h00am – 16h30pm. - All services to be done outside the official SITA working hours must be communicated and approved in advance |
|  | Site Preparation Services: - Site Inspection and Surveys - Pre-installation site surveys to assess readiness. - Measurement and documentation of the site’s current condition. - Site Clearance and Preparation - Clearing the site of any obstructions or debris. - Ensuring that all utilities (e.g., power, water) are available and functional. - Health and Safety Compliance - Implementation of health and safety measures for personnel. - Regular health and safety checks throughout the project. | Professional and quality workmanship | - Official SITA working hours are 08h00am – 16h30pm. - All services to be done outside the official SITA working hours must be communicated and approved in advance |
|  | Building Modifications: MUST be in line with 2.1 Scope of Work and Infrastructure Requirements - Alteration of the loading area. - Installation of a double front door and renovation of bathroom facilities. - Demolish and build walls (where applicable) Setup of a modern minimalist reception area with clean lines and an open design. | Professional and quality workmanship | - Official SITA working hours are 08h00am – 16h30pm. - All services to be done outside the official SITA working hours must be communicated and approved in advance |
|  | User Acceptance Testing (UAT): - Allowing stakeholders or lab personnel to validate that the renovated facility and installed equipment meet their operational needs. - Addressing any issues identified during the testing phase. | Professional and quality workmanship | - Official SITA working hours are 08h00am – 16h30pm. - All services to be done outside the official SITA working hours must be communicated and approved in advance |
|  | The successful bidder will have to demonstrate and present 3D drawings/proposal showing the concept designs and samples of material to be used, which should include the provided SITA specifications. The drawings and samples presented will be agreed upon with SITA project management team, before the commencement of the project. |  |  |

#### 3.3.1.11 Supplier Performance Reporting

- The successful bidder will provide a progress report on a weekly basis to SITA project team/project manager, during the design, preparation work, installation and implementation phase until the project life cycle is completed.

- Scheduled bi-weekly meetings to be scheduled as well as ADHOC meetings when required from both the successful bidder and SITA.

- The report type will be driven by the service level agreement; definitions of the content of each report type will be finalised at the time of concluding the contract service level agreement).

#### 3.3.1.12 Certification, Expertise and Qualification

- The bidder certifies that:

  - it has the necessary expertise, skill, qualifications and ability to undertake the work required in terms of the Statement of Work or Service Definition

  - it is committed to provide the Products or Services; and

  - perform all obligations detailed herein without any interruption to the Customer

  - it has been certified for the Products and Services required

#### 3.3.1.13 Logistical Conditions

- Hours of Work

  - Office hours are defined as business working hours of the customer and is Mondays to Fridays between 07:30 and 16:00 to be discussed

  - After hours of the customer during weekdays are from16:00 to 07:30

  - All mission critical sites will be managed on a 24 x 7 x 365 basis

- Tools of Trade

  - The bidder is expected to use its own resources (cell phone, laptops etc) to communicate with its own offices or outside of the SITA/Client buildings, including all tools and equipment to render the services effectively.

#### 3.3.1.14 Personnel Security Clearance

  - Company security screening: The supplier may be required to undergo a company security screening conducted by the State Security Agency (SSA). Should the SSA find the supplier not suitable after the conduct of the security screening, the business relationship will be terminated. The following documentation will be required for the company security screening process to be conducted:

    - Copy of company registration documentation.

    - Copy(ies) of identity documentation of Director(s), Member(s) or Trustee(s);

    - Copy of valid tax clearance certificate.

  - Security suitability check for individuals: SITA may, at its own discretion and in line with its policies and procedures, require employees of the supplier to be subjected to a security suitability check before commencement of a project or delivering of a service. The security suitability check is conducted by SITA in order to ensure that individuals meet the minimum-security requirements and also to verify personal information. The supplier will be required to replace any employee(s) who is found to be not suitable after the conduct of the security screening. The following documentation will be required for the security suitability check:

    - Copy of identity document.

    - Copy(ies) of qualification(s) if SITA requires verification thereof.

    - Fingerprints – will be taken electronically.

    - Signed consent form for the conduct of background checks.

  - Security clearance: A security clearance, issued by either the SSA or Defence Intelligence (DI) is required if any employee of the supplier will have or may gain access to classified information throughout the duration of the project or in the process of delivering a service. The level of security clearance required – Confidential, Secret or Top Secret, will be determined at the sole discretion of SITA. The supplier will have to replace any employee who do not qualify for a security clearance or is found not suitable by SITA or DI. The following documentation will be required for the security clearance process:

- Completed Z204 or DD1057 security clearance application form.

- Fingerprints; and

- Personal documentation of the applicant, including but not limited to, identity document, passport, marriage certificate (if applicable), divorce order (if applicable), qualifications, salary advice and bank statements.

#### 3.3.1.15 Confidentiality and non-disclosure conditions

- The Supplier, including its management and staff, must before commencement of the Contract, sign a non-disclosure agreement regarding Confidential Information

- Confidential Information means any information or data, irrespective of the form or medium in which it may be stored, which is not in the public domain, and which becomes available or accessible to a Party because of this Contract, including information or data which is prohibited from disclosure by virtue of:

  - the Promotion of Access to Information Act, 2000 (Act no. 2 of 2000).

  - being clearly marked "Confidential" and which is provided by one Party to another Party in terms of this Contract.

  - being information or data, which one Party provides to another Party or to which a Party has access because of Services provided in terms of this Contract and in which a Party would have a reasonable expectation of confidentiality.

  - being information provided by one Party to another Party during contractual or other negotiations, which could reasonably be expected to prejudice the right of the non-disclosing Party.

  - being information, the disclosure of which could reasonably be expected to endanger a life or physical security of a person.

  - being technical, scientific, commercial, financial and market-related information, know-how and trade secrets of a Party.

  - being financial, commercial, scientific or technical information, other than trade secrets, of a Party, the disclosure of which would be likely to cause harm to the commercial or financial interests of a non-disclosing Party; and

  - being information supplied by a Party in confidence, the disclosure of which could reasonably be expected either to put the Party at a disadvantage in contractual or other negotiations or to prejudice the Party in commercial competition; or

  - information the disclosure of which would be likely to prejudice or impair the safety and security of a building, structure or system, including, but not limited to, a computer or communication system; a means of transport; or any other property; or a person; methods, systems, plans or procedures for the protection of an individual in accordance with a witness protection scheme; the safety of the public or any part of the public; or the security of property; information the disclosure of which could reasonably be expected to cause prejudice to the defence of the Republic; security of the Republic; or international relations of the Republic; or plans, designs, drawings, functional and technical requirements and specifications of a Party, but must not include information which has been made automatically available, in terms of the Promotion of Access to Information Act, 2000; and information which a Party has a statutory or common law duty to disclose or in respect of which there is no reasonable expectation of privacy or confidentiality;

- Notwithstanding the provisions of this Contract, no Party is entitled to disclose Confidential Information, except where required to do so in terms of a law, without the prior written consent of any other Party having an interest in the disclosure.

- Where a Party discloses Confidential Information which materially damages or could materially damage another Party, the disclosing Party must submit all facts related to the disclosure in writing to the other Party, who must submit information related to such actual or potential material damage to be resolved as a dispute.

- Parties may not, except to the extent that a Party is legally required to make a public statement, make any public statement or issue a press release which could affect another Party, without first submitting a written copy of the proposed public statement or press release to the other Party and obtaining the other Party's prior written approval for such public statement or press release, which consent must not unreasonably be withheld.

#### 3.3.1.16 Guarantee and warranties

- The supplier confirms that:

  - The warranty of goods supplied under this contract remains valid for the duration of 5 years after the goods were delivered and installed with a sign off, including the clients signature

  - Data cables carry a different warranty in line with MIOS requirements as can be located at www.sita.co.za/prodcert.htm under the Network domain.

  - as at Commencement Date, it has the rights, title and interest in and to the Product or Services to deliver such Product or Services in terms of the Contract and that such rights are free from any encumbrances whatsoever.

  - the Product is in good working order, free from Defects in material and workmanship, and substantially conforms to the Specifications, for the duration of the Warranty period.

  - during the Warranty period any defective item or part component of the Product be repaired or replaced within 3 (three) days after receiving a written notice from SITA.

  - the Products is maintained during its Warranty Period at no expense to SITA.

#### 3.3.1.17 Intellectual Property Rights

- SITA retains all Intellectual Property Rights in and to SITA's Intellectual Property. As of the Effective Date, the Supplier is granted a non-exclusive license, for the continued duration of this Contract, to perform any lawful act including the right to use, copy, maintain, modify, enhance and create derivative works of SITA's Intellectual Property for the sole purpose of providing the Products or Services to SITA pursuant to this Contract; provided that the Supplier must not be permitted to use SITA's Intellectual Property for the benefit of any entities other than SITA without the written consent of SITA, which consent may be withheld in SITA's sole and absolute discretion. Except as otherwise requested or approved by SITA, which approval is in SITA's sole and absolute discretion, the Supplier must cease all use of SITA's Intellectual Property, at of the earliest of:

  - termination or expiration date of this Contract.

  - the date of completion of the Services; and

  - the date of rendering of the last of the Deliverables

- If so, required by SITA, the Supplier must certify in writing to SITA that it has either returned all SITA Intellectual Property to SITA or destroyed or deleted all other SITA Intellectual Property in its possession or under its control

- SITA, at all times, owns all Intellectual Property Rights in and to all Bespoke Intellectual Property.

- Save for the license granted in terms of this Contract, the Supplier retains all Intellectual Property Rights in and to the Supplier’s pre-existing Intellectual Property that is used or supplied in connection with the Products or Services

- Provide SITA with the compliant Occupational Health and Safety File (required on site for period of installation and proof of compliance).

#### 3.3.1.18 General

- The supplier will be bound by Government Procurement: General Conditions of Contract.

- (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the Supplier. However, SITA reserves the right to include or waive the condition in the signed contract.

- SITA reserves the right to:

  - Negotiate the conditions, or

  - Automatically disqualify a bidder for not accepting these conditions, or

  - Before entering into a contract, conduct or commission an external service provider to audit or conduct probity to ascertain whether a qualifying bidder has the technical capability to provide the goods and services as required by this tender.

#### 3.3.1.19 Counter Conditions

Bidders’ attention is drawn to the fact that amendments to any of the Bid Conditions or setting of counter conditions by bidders may result in the invalidation of such bids.

#### 3.3.1.20 Fronting

- The SITA supports the spirit of Broad Based Black Economic Empowerment and recognizes that real empowerment can only be achieved through individuals and businesses conducting themselves in accordance with the Constitution and in an honest, fair, equitable, transparent and legally compliant manner. Against this background the SITA will not condone any form of fronting.

- The SITA, in ensuring that bidders conduct themselves in an honest manner will, as part of the bid evaluation processes, conduct or initiate the necessary enquiries/investigations to determine the accuracy of the representation made in bid documents. Should any of the fronting indicators as contained in the Guidelines on Complex Structures and Transactions and Fronting, issued by the Department of Trade and Industry, be established during such enquiry/investigation, the onus will be on the bidder / contractor to prove that fronting does not exist. Failure to do so within a period of 14 days from date of notification may invalidate the bid / contract and may also result in the restriction of the bidder/contractor to conduct business with the public sector for a period not exceeding ten (10) years, in addition to any other remedies SITA may have against the bidder/contractor concerned.

#### 3.3.1.21 Business Continuity and Disaster Recovery Plans

The bidder confirms that they have written business continuity and disaster recovery plans that define the roles, responsibilities and procedures necessary to ensure that the required services under this bid specification is in place and will be maintained continuously in the event of a disruption to the bidder’s operations, regardless of the cause of the disruption.

#### 3.3.1.22 Supplier Due Diligence

- SITA reserves the right to conduct supplier due diligence prior to final award or at any time during the Contract period and this may include pre-announced / non-announced site visits. During the due diligence process the information submitted by the bidder will be verified and any misrepresentation thereof may disqualify the bid or Contract in whole or parts thereof.

#### 3.3.1.23 Preference Goal Requirements conditions

- The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding, and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

- The Bidder must sustain or improve the company’s BBBEE Level for the duration of the contact which will form part of the Contractual Agreement.

- Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report indicating progress against the Bidder’s Preferential commitments within 30 days of the yearly anniversary of the contract.

- Bidders need to keep auditable substantive records / evidence and upon request by SITA/Department must be made available for audit and, or due diligence purposes.

- SITA reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA.

- SITA reserves the right to verify information / evidence provided by the Bidder.

- SITA reserves the right to introduce a penalty of 1% of the overall annual year spent by SITA for the prior year if the Bidder fails to comply to paragraphs (a), (b) and (c) above.

## 3.3.2 Declaration of compliance and acceptance SCC

I (we), the bidder hereby declare that I (we) accept ALL the Special Conditions of Contract as specified in par 3.3.1 above and shall comply with all stated obligations:

Name of Bidder:_____________________________	Signature: _________________________

Date:______________

## Price and Preference Points Evaluation (Stage 4)

### Costing and Preference Evaluation

- In terms of the SITA Preferential Procurement Policy (PPP), the following preference point system is applicable for this Bid:

  - the 80/20 system (80 Price, 20 Specific Goals) for requirements with a Rand value of up to R50 000 000 (all applicable taxes included)

- The Bidder must complete the 80/20 preference point system based on the offer submitted by the Bidder and submit proof of documentation required in terms of this tender.

- Points will be allocated for each of the Preferential Goal Requirements for this tender as indicated in table 4.

- Points for this tender shall be awarded for:

  - Price; and

  - Preference points for specific goals.

Table 4: Points allocation

| Description | Points |
| --- | --- |
| Price | 80 |
| Preference points for specific goals | 20 |
| Total points for Price and preference points for specific goals | 100 |

### Costing and Pricing Conditions

- South African Pricing

# The total price must be VAT inclusive and be quoted in South African Rand (ZAR).

- Total Price

  - All quoted prices are the total price for the entire scope of required services and deliverables to be provided by the bidder.

  - All additional costs as well as cost of delivery, labour, S&T, overtime, etc. must be included in this bid.

  - All services, accessories, upgrades and options required by the solution or specified by the client must be included in the quoted price. If not included, suppliers will be required to supply these accessories at no cost to the client.

  - SITA reserves the right to negotiate pricing with the successful bidder prior to the award as well as envisaged quantities

- These conditions will form part of the Contract between SITA and the bidder. However, SITA reserves the right to include or waive the condition in the Contract.

- The bidder must complete the declaration of acceptance as per par 3.4.4 below by marking with an “X” either “ACCEPT ALL”, or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

### Bid Pricing Schedule

# Bidders must complete the bid pricing schedule in the Excel spreadsheet format provided and upload this as part of their submission. The Excel spreadsheet consist of one (1) Sheets

### Declaration of Acceptance

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Costing and Pricing conditions as specified in par 3.4.2 above by indicating with an “X” in the “ACCEPT ALL” column, or - The bidder declares to NOT ACCEPT ALL the Costing and Pricing Conditions as specified in par 3.4.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and. - Provide reason and proposal for each of the condition not accepted. |  |  |
| Comments by bidder: Provide the condition reference, the reasons for not accepting the condition. |  |  |

## Preference Requirements

    - Costing and Preference Evaluation

- The bidder must complete in full all the PREFERENCE requirements.

- Allocation of points per requirements: The points allocation of bidders’ responses to the requirements will be determined by the completeness, relevance and accuracy of substantiating evidence.

- Points will be allocated for each PREFERENCE requirement as per the criteria set in table 5 based on the offer submitted by the Bidder.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response, as “NOT COMPLY”. The evidence needs to be attached to Annex A.

- Preference Goal Requirements

  - The applicable Preference Point system for this tender and points claimed is 80/20.

  - The specific Preferential Goal Requirements for this tender is indicated in Table 5 below.

  - Failure on the part of a bidder to complete 80/20 preference point systems and submit proof or documentation required in terms of this tender to claim preference points for the Preference Goal Requirements, will be interpreted to mean that preference points for specific goals are not claimed.

  - The Bidder must indicate how they claim points for each of the preference points.

  - Failure on the part of a bidder to submit proof or documentation required in terms of this tender to claim preference points for the Preference Goal Requirements for this tender, will be interpreted to mean that preference points are not claimed.

  - The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding, and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

  - The Bidder must sustain or improve the company’s BBBEE Level for the duration of the contact which will form part of the Contractual Agreement.

  - Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report indicating progress against the Bidder’s Preferential commitments within 30 days of the yearly anniversary of the contract.

  - Bidders need to keep auditable substantive records / evidence and upon request by SITA must be made available for audit and, or due diligence purposes.

  - SITA reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA.

  - SITA reserves the right to verify information / evidence provided by the Bidder.

  - SITA reserves the right to introduce a penalty of 1% of the overall annual year spent by SITA for the prior year if the Bidder fails to comply to paragraphs (g), (h) and (i) above.

Table 5: Preference Goal Requirements (Specific Goals)

| Preference Goal Requirement # | Preferential Goal Requirements | Preferential Goal Requirements |  |
| --- | --- | --- | --- |
|  | Preferential Goal Requirements allocated for this tender | Substantiating evidence and evidence reference to be completed by bidder. Evaluation per requirement: Each requirement indicated in the table below must be completed and points will be allocated based on the evidence required below | Evidence Reference |
|  | B-BBEE Requirements |  |  |
| 1) | B-BBEE Requirements Promotion of Transformational Objectives. | Evidence: The Bidder must provide a copy of the following relevant evidence for the Preferential Goal points which the Bidder qualifies for: - Columns A, B, C and D in table 6 # Copy of relevant proof of the following to confirm the B-BBEE status of the contributor as defined in the Broad-Based Black Economic Empowerment Act: - B-BBEE certificate (from a SANAS Accredited Agency); # or # Sworn affidavit in the format provided by CIPC - Applicable to EMEs and QSEs only; # and/ or - Column D in table 6 # Copy of South African Identification Document (ID); and/ or - Column E in table 6 # Copy of Medical Certificate clearly indicating the disability in line with the B-BBEE status claimed as defined in the Broad-Based Black Economic Empowerment Act. Points allocation: Points will be allocated for bidders that meets the requirements as indicated in table 6. | <provide unique reference to locate substantiating evidence in the bid response – Annex A, par 5.4> |

Table 6: B-BBEE Points as part of the Preference Goal requirements (Preferential Goal Requirements for (80/20) system)

Note: Bidder to select the section for points they wish to claim (Mark as Y=Yes) in the table below.

|  |  |  |  | Ownership |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Reference # | Contributor Level as defined in the Broad-Based Black Economic Empowerment Act | EME/QSEs | Black Owned (BO) (51% or more) | Black Woman Owned (BWO) (More than 30%) | Youth Owned | Owned by People living with disabilities | Score | Bidder to select the section for points they wish to claim (Mark as Y= Yes) |  |
|  |  |  | (A) | (B) | (C) | (D) | (E) | (F) |  |  |
|  | 1 | Level 1 | 6 | 6 | 4 | 2 | 2 | 20 |  |  |
|  | 2 | Level 1 | 6 | 4 | 2 | 2 | 0 | 14 |  |  |
|  | 3 | Level 1 | 6 | 4 | 2 | 0 | 0 | 12 |  |  |
|  | 4 | Level 1 | 6 | 4 | 0 | 0 | 0 | 10 |  |  |
|  | 5 | Level 2 and 3 | 4 | 2 | 1 | 1 | 1 | 9 |  |  |
|  | 6 | Level 2 and 3 | 4 | 2 | 1 | 1 | 0 | 8 |  |  |
|  | 7 | Level 2 and 3 | 4 | 2 | 1 | 0 | 0 | 7 |  |  |
|  | 8 | Level 2 and 3 | 4 | 2 | 0 | 0 | 0 | 6 |  |  |
|  | 9 | Level 4 and 5 | 2 | 1 | 0,5 | 0,5 | 0,5 | 4,5 |  |  |
|  | 10 | Level 4 and 5 | 2 | 0,5 | 0,5 | 0,5 | 0 | 3,5 |  |  |
|  | 11 | Level 4 and 5 | 2 | 0,5 | 0,5 | 0 | 0 | 3 |  |  |
|  | 12 | Level 4 and 5 | 2 | 0,5 | 0 | 0 | 0 | 2,5 |  |  |
|  | 13 | Level 6 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 14 | Level 7 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 15 | Level 8 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 16 | Non-Contributor | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | Total Maximum Score Allocation: |  | 20 |  |  |  |  |  |  |  |

Bidder Substantiating Evidence

# Technical Mandatory Requirement Evidence

## Bidder Experience and Capability Requirements

- Complete table below, noting that:

Provide reference details and or reference letter from one (1) corporate customer 	to whom the civil & architectural works of not less than R1 000 000 was delivered within the past five (5) years from the publication date of this bid.

Table 7: References

| No | Company Name | Reference person name, contact details | Project Scope of Work | Project start and end date |
| --- | --- | --- | --- | --- |
| 1 | <Company name> | <Person Name> <Tel> <email> | < Provide scope details of a project from a customer to whom the civil & architectural works of not less than R1 000 000 was delivered within the past five (5) years from the publication date of this bid. | Start Date: End Date: |

NOTE (1):

The Bidder must provide all of the following information when completing Table 7:

1.   Company name; and

2.	Contact person, telephone and/or e-mail address; and

3.    Project scope of Work; and

4.   Project start and end date.

NOTE (2):

The reference letter/s should be on the referees’ company letterhead and include all of the following information:

1.   Company Name; and

2.	Contact person, telephone and/or e-mail address; and

3.    Project scope of Work; and

4.    Project start and End date.

NOTE (3):

SITA reserves the right to verify information provided.

NOTE (4):

Failure to submit reference letters and or to complete Table 7 fully and/or to submit reference letter/s as indicated above will result in disqualification.

## CIDB Registration requirements

The Bidder needs to complete and sign Annex B as evidence that the Bidder or its Subcontractor, is registered with the CIDB with a minimum rating of GB4 or higher and attach this here.

NOTE 1

## SITA reserves the right to validate the certificate of registration prior to the award of the bid.

## Special conditions of contracts

The Bidder must accept ALL the Special Conditions of Contract by completing and signing the declaration of Acceptance in Declaration of compliance and acceptance under the Special Conditions 	(Section 3.3.2).

## Preference Points Preferential Goals Evidence

The Bidder must:

      - Preference Goal Requirements:

          - Bidder to select the section for points they wish to claim (Mark as Y=Yes) in table 6 in section 4.3, dependant on which preference system the Bidder selects in line with section 4.3; and

          - Provide a copy of the following relevant evidence for the Preferential Goal points which the Bidder qualifies for as set out in table 6 in section 4.3 and attach it here:

    - Columns A, B, C and D in table 6:

# Copy of relevant proof of the following to confirm the B-BBEE status of the contributor as defined in the Broad-Based Black Economic Empowerment Act:

- B-BBEE certificate (from a SANAS Accredited Agency); or

- Sworn affidavit in the format provided by CIPC - Applicable to EMEs and QSEs only; and/ or

    - Column D in table 6:

Copy of South African Identification Document (ID): and/ or

    - Column E in table 6:

# Copy of Medical Certificate clearly indicating the disability in line with the B-BBEE status claimed as defined in the Broad-Based Black Economic Empowerment Act.

      - Indicate their commitment to claim points for each of the preference points by signing at par 4.3 in the Invitation to Bid document.

Annex B: CIDB Registration Requirements

The Bidder needs to complete and sign to confirm that the bidder or subcontractor is registered with the Construction Industry Development Board (CIDB) with a minimum rating or higher of GB4 or higher.

      - The Bidder needs to indicate the Bidder, or Subcontractor’s CIDB rating by ticking next to the relevant CIDB rating in the table below:

| Service and Support (Milestones) | CIDB Rating | Bidder to Indicate the Bidder, or subcontractor’s CIDB rating here | CRS Number |
| --- | --- | --- | --- |
| CIDB Rating | GB 4 |  |  |
|  | Higher |  |  |

      - The Bidder confirms and will ensure compliance to the CIDB Basic Guide General Conditions of Contract for Construction Works (GCC 2004).

NOTE 1:

SITA reserves the right to verify the information.

I, the Supplier (Full names) …………………………………………………. Representing (company name) …………………………………………………………….. hereby confirm that the Bidder is registered with Construction Industry Development Board (CIDB) and understand that it will form part of the contract and is legally binding.

Thus, done and signed at ……………………………………. On this………day of……………….20….

__________________

Signature

Designation: