| Description | SUPPLY AND DELIVERY OF SUPPLY OF MATTERPORT PRO 3 SCANNER FOR OPERATION ASSETS. |
| --- | --- |
| Advert Date | 23/05/2024 |
| Closing Date and Time | 30/05/2025 @ 23h59 |
| Non-compulsory Briefing Session | N/A |
| SCM Enquiries | Nokwanda Mboyi Tel: 033 846 1818 Email:nokwanda.mboyi@uuw.co.za /nokwanda.mboyi@umgeni.co.za |
| Technical Enquiries | Mfanasibili Nkonyane Tel: 033 846 1873 Email:Mfanasibili.nkonyane@uuw.co.za |
| Contents of RFQ | - Invitation to quote - Bidders information - Terms and Conditions - Undertaking by Bidder - Terms of Reference/RFQ specifications - Price Schedule - Authority to Sign - Bidders disclosure [SBD 4] - Preference points claim form (SBD 6.1) - Contract Form [SBD 7.1 or SBD 7.2] |

| Quotation Submission: | Tip-Offs Anonymous Hotline: |
| --- | --- |
| All Quotations must be emailed to : scmquotes@uuw.co.za./scmquotes@umgeni.co.za using Quote number as the email subject Quotations dropped in the tender box will NOT be ACCEPTED Emailed Quotations received after 00h00 will also NOT be ACCEPTED Suppliers are under no circumstances allowed to cc buyers when emailing your RFQs to the scmquotes@uuw.co.za./scmquotes@umgeni.co.za Failure to adhere to the above will result in your RFQ not getting accepted. | Report unethical conduct at uMngeni-uThukela Water on: Toll Free Number: 0800 864 463 Email: umgeniwater@whistleblowing.co.za Toll Free Fax: 0800 212 689 Postal: Freepost KZN665, Musgrave, 4062 SMS: 33490 Online: www.whistleblowing.co.za Stop theft / fraud / dishonesty / bribery /blackmail / intimidation, and remain anonymous. |

BIDDERS INFORMATION

| Name of Bidder |  |
| --- | --- |
| Company Registration number |  |
| VAT registration number |  |
| Contact Person |  |
| Telephone number |  |
| Cell number |  |
| E-mail address |  |
| Postal address |  |
| Physical address |  |
| uMngeni-uThukela Vendor Number |  |
| CSD Supplier number |  |

I certify that the information furnished on this form is true and correct.  I further accept that, in addition to cancellation of a contract, action may be taken against me should this declaration prove to be false.

______________________	_____________		____________

Name of Representative	Signature 			Date

(Duly Authorised)

TERMS AND CONDITIONS OF REQUEST FOR QUOTATION (RFQ)

- Any alteration made by the bidder must be initialled.

- Use of correcting fluid is prohibited

- Bidders must be registered on the National Treasury’s Central Suppliers Database.

- Tenderers are required to submit a valid Tax clearance verification PIN or CSD MAAA number

- This quotation is subject to the Preferential Procurement Policy Framework Act and the Preferential Procurement Regulations, 2022; the General Conditions of Contract (GCC) and if applicable any other Special Conditions of Contract.

- The applicable preference point system for this tender is the 80/20 preference point system, Failure on the part of a tenderer to submit proof or documentation required in terms of this RFQ to claim points for specific goals, will be interpreted to mean that preference points for specific goals are not claimed by the bidder. Kindly refer to SBD 6.1 form for additional information.

- Suppliers must complete the attached SBD 4 – Bidders disclosure, failure to complete these documents may result in the quotation being invalidated.

- Quotations must be in accordance and comply with the terms of reference/specifications provided, unless otherwise stipulated.

- The official uMngeni-uThukela Water quotation form must be used to quote the offered price.  Should the allocated price page be insufficient, the tenderer may supplement the price page with an additional pricing breakdown.

- Price Declaration must be completed, and should the total RFQ prices differ, the one indicated on the price declaration shall be considered the correct price.

- The successful supplier may be required to fill in and sign a written Contract Form. (If applicable)

- This document may contain confidential information that is the property of uMngeni-uThukela Water.

- No part of the contents may be used, copied, disclosed or conveyed in whole or in part to any party in any manner whatsoever other than for preparing a proposal in response to this RFQ, without prior written permission from uMngeni-uThukela Water and the Bidder.

- All Copyright and Intellectual Property herein vests with uMngeni-uThukela Water and its Bidder.

- Responses to this RFQ must be submitted by email scmquotes@umgeni.co.za or be deposited in tender box situated as indicated on the quotation request form marked appropriated as directed. (The applicable submission method is reflected on the cover page).

- It is the responsibility of the bidder to ensure that its response reaches uMngeni-uThukela Water on or before the closing date and time of the RFQ. Late and incomplete submissions will not be accepted.

- No services must be rendered or goods delivered before an official uMngeni-uThukela Water Purchase Order form has been received.

- uMngeni-uThukela Water reserves the right to appoint more than one supplier/service provider and or to award the quote as whole or in part.

- A full copy of General Conditions of Contract (GCC) are available on the National Treasury website (https://www.treasury.gov.za/divisions/ocpo/sc/generalconditions/general%20conditions%20of%20contract.pdf)

UNDERTAKING BY BIDDER

1.	I/We hereby quote to supply all or any of the supplies and/or to render all or any of the services described in the attached documents to uMngeni-uThukela ela Water on the terms and conditions. In accordance with the specifications stipulated in the quotation documents (and which shall be taken as part of and be incorporated into this quote) at the prices and on the terms regarding time for delivery and/or execution inserted therein.

2.	I/we agree that:

(a)	the offer herein shall remain binding upon me and open for acceptance by uMngeni-uThukela Water during the validity period indicated and calculated from the closing time of the quote;

(b)	this quote and its acceptance shall be subject to the Public Finance Management Act, 1999, uMngeni-uThukela Water’s Supply Chain Management Policy and Procedures, the General and Special Conditions of Contract as may be applicable, with which I/we am fully acquainted;

(c)	if I/we withdraw my quote within the period for which I/we have agreed that the quote shall remain open for acceptance, or fail to fulfil the contract when called upon to do so. uMngeni-uThukela Water may, without prejudice to its other rights, agree to the withdrawal of my quote or cancel the contract that may have been entered into between uMngeni-uThukela Water and I/us. I/we will then pay uMngeni-uThukela Water any additional expenses incurred for having either to accept any less favourable quote or, if fresh quote have to be invited, the additional expenditure incurred by the invitation of fresh quotes and by the subsequent acceptance of any less favourable quotes.  uMngeni-uThukela Water shall reserve the right to recover such additional expenditure by set-off against monies which may be due to me under this, or any other tender or contract or against any guarantee or deposit that may have been furnished by me or on my behalf for the due fulfilment of this or any other tender or contract. Pending the ascertainment of the amount of such additional expenditure to retain such monies, guarantee or deposit as security for any loss uMngeni-uThukela Water may sustain by reason of my default;

(d)	if my quote is accepted, the acceptance may be communicated to me by electronic mail, to the email address supplied in my quotation document;

(e)	the law of the Republic of South Africa shall govern the contract created by the acceptance of my quote and I choose domicilium citandi et executandi in the Republic at (full physical address) :

_______________________________________________________________________________________________________________________________________________________________________________________________________________

3.	I/we furthermore confirm that I/we have satisfied myself as to the correctness and validity of my quote: that the price(s), rate(s) and preference quoted cover all of the work/item(s) and my obligations under a resulting contract, and I accept that any mistakes regarding the price(s) and calculations will be at my risk.

4.	I/we hereby accept full responsibility for the proper execution and fulfilment of all obligations and conditions devolving on me under this agreement, as the Principal(s) liable for the due fulfilment of this contract.

5.	I/we agree that any action arising from this contract may in all respects be instituted against me and I/we hereby undertake to satisfy fully any sentence or judgement which may be pronounced against me as a result of such action.

6.	I/we confirm that I/we have declared all and any interest that I or any persons related to my business has with regard to this quote or any related quotations by completion of the Declaration of Interest Section.

7.	I/WE, THE UNDERSIGNED, WHO WARRANT THAT I AM DULY AUTHORISED TO DO SO ON BEHALF OF THE TENDERER, CERTIFY THAT THE INFORMATION SUPPLIED IN TERMS OF THIS DOCUMENT IS CORRECT AND TRUE, THAT THE SIGNATORY TO THIS DOCUMENT IS DULY AUTHORISED AND ACKNOWLEDGE THAT:

# (1) 	The tenderer will furnish documentary proof regarding any tendering issue to the satisfaction of the uMngeni-uThukela Water, if requested to do so.

# (2) 	If the information supplied is found to be incorrect and/or false then uMngeni-uThukela Water, in addition to any remedies it may have, may: -

- Recover from the contractor all costs, losses or damages incurred or sustained by uMngeni-uThukela Water as a result of the award of the contract, and/or

- Cancel the contract and claim any damages which uMngeni-uThukela Water may suffer by having to make less favourable arrangements after such cancellation.

______________________	_____________		____________

Name of Representative	Signature 			Date

(Duly Authorised)

SPECIFICATIONS OF GOODS REQUIRED

- Scope Description

To supply a Matterport Pro3 3D LiDAR scanner and associated components to enable detailed condition assessments and generation of accurate 3D point cloud models for infrastructure and asset documentation purposes. The scanner will be used to capture structural, mechanical, and electrical layouts for design validation, retrofitting, and planning.

Definition

The appointed supplier shall be responsible for:

- Supplying the Matterport Pro3 LiDAR Scanner and its complete accessory kit.

- Supplying the Tripod, rotating mount, and transport case.

- Including a subscription license for cloud processing and Matterport software platform access.

- Providing initial onsite or virtual training on device operation and data processing.

- Delivering all items.

- Providing product datasheets, warranty documents, and user manuals.

- Ensuring post-delivery technical support (remote).

Technical Specifications

Matterport Pro3 Scanner

Scanning

- Depth technology: LiDAR

- Laser: Class 1 (in accordance with IEC 60825-1:2014)

- Field of view: 360° H / 295° V

- Accuracy: +/- 20mm @ 10m

- Wavelength: 904nm

- Depth resolution: 100k points per second 1.5M points per scan

- Min operating range: 0.5m

- Max operating range: Up to 100m (only available with E57)

- 3D data registration: Automatic

Imaging

- Output pano pixels: 134.2MP

- Number of exposures per HDR frame: 5

- White balance: Automatic, full model

System

- Capture speed: <20 seconds per scan

- Camera boot time: <40 seconds

- Remote operation: Matterport Capture App on Apple or Android mobile devices

- Wireless communication: BLE to setup Wi-Fi connection, WiFi 802.11 5GHz communication with mobile device running Capture App

General

- Dimensions: 181mm x 161.4mm x 76mm

- Weight: 2.2kg

- Battery: >220 scans assuming continuous, consecutive scans

- Battery charge time: 2.5 hours 80% charge, 3.5 hours 100% charge

- Mounting mechanism: Quick release tripod mount; Female 3/8-16 thread

- GPS: Included

- Operating temperature: 0°C to 40°C

- Storage temperature: -20°C to 60°C

- Ingress protection: IP43

Included Accessories

- 1x Tripod (recommended heavy-duty)

- 2x Battery Packs + Charger

- 1x Rotating Mount

- 1x Hard-shell Carry Case

- 1x 1-Year Matterport Professional Plan

- 1x Tablet Stand / Device Holder

- 1x Calibration Certificate

- Quick-start guide and user manual

*The datasheets and technical manual is required for the Scanner upon submission*

Delivery Requirements

- Delivery location: Mkondeni Workshop (Mkondeni Stores)

7 Portland Road Mkondeni

3201. South Africa

- Goods must be packaged appropriately for safe handling

Training on Operation and Maintenance of equipment

The Contractor shall make provision for the training of, uMngeni-uThukela Water Operations Personnel on the safe operation of the equipment.

Provide a half-day remote or onsite training session for up to 5 personnel.

Training must cover:

- Assembly and setup

- Field scanning best practices

- Data upload and cloud syncing

- Processing of point clouds

The equipment must comply with:

- CE / FCC Certification

- ISO 10360 for laser scanning precision

- Compatible with SANS-compliant design workflows (AutoCAD/Revit)

- Contract term

The Contract will be for duration of four weeks.

- Other documents

In addition to this Bid document, the documents listed below form part of this Bid:

a)	Guarantee certificate once the project is completed

- Pricing

- The bidder shall provide the price proposal as detailed in SBD 3.1

- The bidders’s price must be fully inclusive, and each item must be clearly specified.

- All additional costs must be clearly specified and included in the total quotation price, (e.g. transport, labour, etc.).

- All prices must be VAT inclusive.

- The bidder is responsible for all the cost that they shall incur related to the preparation and submission of the quotation.

- Evaluation Process

The RFQ will be evaluated using a two (02) stage evaluation approach:

  - First stage: Mandatory/ Administrative Requirements

Administrative Requirements:

Bidder completed all RFQ Forms

Central Supplier Database (CSD)

Company Registration Certificate

Mandatory

SBD 4 – Bidders disclosure

  - Third Stage: Price and Preference goals

- Subsequent to the evaluation of mandatory/ administrative requirements, the second stage of evaluation of the bids will be in respect of price and preferential procurement only.

- Tenderer is tax complaint

- In compliance with the Preferential Procurement Regulations 2022, the 80/20 preference point system is applicable: points for this bid shall be awarded for:

a) 	Price; and (80) and Preference as defined in SBD 6.1 (20)

- The Preference Goals that have been identified for this bid is stipulated in SBD 6.1

- Preferential goals and applicable points for this tender in terms of Preferential Procurement Regulations 2022, are indicated in the table below:

|  | Description | 80/20 | Evidence to be provided |
| --- | --- | --- | --- |
| HDI | 51% owned by youth | 10 | BBBEEE cert. /Sworn affidavit |
| RDP | South Africa Owned Company | 10 | CIPC Registration certificate/CSD Report |
| Total points for preferential goals |  | 20 |  |

- Failure on the part of a bidder to submit proof or documentation required in terms of this RFQ to claim points for specific goals, will be interpreted to mean that preference points for specific goals are not claimed by the bidder.

- UW reserves the right to require of a bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by UW.

- UW reserves the right to conduct negotiations with the qualifying bidder/s regarding any terms and conditions, including price(s), of a proposed contract where applicable UW reserves the right not to accept the lowest financial offer or any offer.

PRICING SCHEDULE (BOQ) – FIRM PRICES

NOTE:

- Only firm prices will be accepted. Non-Firm prices (including prices subject to rates of exchange variations) will not be considered

- In cases where different delivery points influence the pricing, a separate pricing schedule must be submitted for each delivery point

Name of bidder _______________________ RFQ number___Q25/915NM___________ Closing Time ____23h59__________ Closing date______30/05/2025_________________

OFFER TO BE VALID FOR___________CALENDER DAYS FROM THE CLOSING DATE OF QUOTE.

| #### Item No. | #### Material / Description of item |  | #### Unit Measure | #### Qty (A) | #### Unit Price (B) | #### Quoted Price(AxB) #### Excl. Vat |
| --- | --- | --- | --- | --- | --- | --- |
|  | Supply and deliver Matterport Pro3 3D Scanner with all standard accessories |  | No. | 1 |  |  |
|  | Supply and deliver Heavy-duty Tripod with Mount |  | No. | 1 |  |  |
|  | Supply and deliver Spare Battery Pack + Charger |  | Set | 1 |  |  |
|  | Supply and deliver Hard Case for Transport |  | No. | 1 |  |  |
|  | Supply and deliver License: Matterport Pro Subscription Plan |  | License | 1 |  |  |
|  | Delivery to KwaZulu-Natal |  | Lot | 1 |  |  |
|  | OEM-accredited training on Matterport system (5 x UUW representatives) – onsite or virtual |  | Sum | 2 |  |  |
| A- Sub-Total for all Items excluding VAT |  |  |  |  |  |  |
| B- VAT @ 15% of C |  |  |  |  |  |  |
| C – Total Contract Price including VAT (A+B) |  |  |  |  |  |  |
| I (full name)__________________________________________, in my capacity as ___________________________, the duly authorized representative of ________________________________________________(business name) hereby declares that the offer is in accordance with the attached specification, notes to suppliers & accepts all conditions/clauses contained in the said documents. |  |  |  |  |  |  |
| Signature of duly authorized representative |  | _______________ |  |  | DATE: ____________ |  |

BILL OF QUANTITIES - PRICE TABLE (Note: Datasheets are to be submitted with RFQ)

AUTHORITY TO SIGN

RFQ NO: ______________________________

Description: ______________________________________________________________

Close Corporation / Company / Partnership / Trust /Sole proprietor or Sole trader

Company Name: __________________________________________________________________

Registration Number: _______________________________________________________ Resolution Of The Directors Of The Company etc. resolved that _____________________, in his/her capacity as _______________________________, is authorized to make applications on behalf of the  Close Corporation / Company / Partnership / Trust /Sole proprietor or sole trader for:

Any documentation relating to the business (which is not necessarily a change of ownership). The nominated person will also have access to webpage for the business. Signature(s) for Close Corporation / Company / Partnership / Trust/ Sole proprietor or sole trader.

(Sole member still must sign this resolution)

Signature of members:

Name 						Signature 				Date

1. _______________________            ________________________               ____________________

2. _______________________            ________________________ 	     ____________________

3. _______________________            ________________________               ____________________

4. _______________________            ________________________	     ____________________

5. _______________________            ________________________	     ____________________

6. _______________________            ________________________	     ____________________

SBD 4 - BIDDER’S DISCLOSURE

- PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.

- Bidder’s declaration

2.1 	Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise, employed by the state YES/NO

2.1.1	If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

| Full Name | Identity Number | Name of State institution |
| --- | --- | --- |

2.2	Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? YES/NO

2.2.1    If so, furnish particulars:

____________________________________________________________________________________________________________________________________________________

2.3 	Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?	YES/NO

    - If so, furnish particulars:

________________________________________________________________________________________________________________________________________

- DECLARATION

I, the undersigned, (name)__________________________________________________ in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

  - I have read and I understand the contents of this disclosure;

  - I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;

  - The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium will not be construed as collusive bidding.

  - In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.

  - The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

  - There have been no consultations, communications, agreements or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

  - I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.

_________________________	         _________________

Signature	   Date

_________________________	_________________

Position                                                    Name of bidder

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2022 (SBD 6.1)

This preference form must form part of all tenders invited.  It contains general information and serves as a claim form for preference points for specific goals.

NB:	BEFORE COMPLETING THIS FORM, TENDERERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS, 2022

- GENERAL CONDITIONS

  - The following preference point systems are applicable to invitations to tender:

the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

  - To be completed by the organ of state

The applicable preference point system for this tender is the 80/20 preference point system.

  - Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for:

- Price; and

- Specific Goals.

  - To be completed by the organ of state:

The maximum points for this tender are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| SPECIFIC GOALS | 20 |
| TOTAL POINTS FOR PRICE AND SPECIFIC GOALS | 100 |

  - Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

  - The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state

- DEFINITIONS

- “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation;

- “price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts;

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and

- “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).

- FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

  - POINTS AWARDED FOR PRICE

3.1.1   	THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	or	90/10

Ps=801-Pt-PminPmin	or	Ps=901-Pt-PminPmin

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmin	=	Price of lowest acceptable tender

  - FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT

    - POINTS AWARDED FOR PRICE

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	               	or	90/10

Ps=801+Pt-PmaxPmax	or	Ps=901+Pt-PmaxPmax

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmax	=	Price of highest acceptable tender

- POINTS AWARDED FOR SPECIFIC GOALS

  - In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender:

  - In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of—

- an invitation for tender for income-generating contracts, that either the 80/20 or 90/10 preference point system will apply and that the highest acceptable tender will be used to determine the applicable preference point system; or

- any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,  then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system.

Table 1: Specific goals for the tender and points claimed are indicated per the table below.

(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such.

Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)

| The specific goals allocated points in terms of this tender [select where applicable to this bid] | Number of points allocated (80/20 system) (To be completed by the organ of state) | Number of points claimed (80/20 system) (To be completed by the tenderer) |
| --- | --- | --- |
| The entity must be registered in South Africa | 10 |  |
| 51% owned by youth | 10 |  |

DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm	____________________________________________

  - Company registration number: …………………………………………………………...

TYPE OF COMPANY/ FIRM [Tick applicable box]

Partnership/Joint Venture / Consortium

One-person business/sole propriety

Close corporation

Public Company

Personal Liability Company

(Pty) Limited

Non-Profit Company

State Owned Company

  - I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct;

- If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

  - disqualify the person from the tendering process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution, if deemed necessary.

SIGNATURE(S) OF TENDERER(S)  ________________________________

SURNAME AND NAME:		   ________________________________

DATE: 				   ________________________________

ADDRESS:			   ________________________________

________________________________

________________________________

________________________________

# SBD 7.1 CONTRACT FORM - PURCHASE OF GOODS/WORKS

This form must be filled in duplicate by both the successful bidder (part 1) and the purchaser (part 2).  Both forms must be signed in the original so that the successful bidder and the purchaser would be in possession of originally signed contracts for their respective records.

# PART 1 (TO BE FILLED IN BY THE BIDDER)

- I hereby undertake to supply all or any of the goods and/or works described in the attached bidding documents to uMngeni-Uthukela Water in accordance with the requirements and specifications stipulated in the above mentioned RFQ number at the price/s quoted.  My offer/s remain binding upon me and open for acceptance by the purchaser during the validity period indicated and calculated from the closing time of bid.

- The following documents shall be deemed to form and be read and construed as part of this agreement:

- Bidding documents, viz

- Invitation to bid;

- Proof of tax compliance status;

- Pricing schedule(s);

- Technical Specification(s);

- Preference claim form for Preferential Procurement in terms of the Preferential Procurement Regulations;

- Bidder’s Disclosure form;

- Special Conditions of Contract;

- General Conditions of Contract; and

- Other (specify)

- I confirm that I have satisfied myself as to the correctness and validity of my bid; that the price(s) and rate(s) quoted cover all the goods and/or works specified in the bidding documents; that the price(s) and rate(s) cover all my obligations and I accept that any mistakes regarding price(s) and rate(s) and calculations will be at my own risk.

- I accept full responsibility for the proper execution and fulfilment of all obligations and conditions devolving on me under this agreement as the principal liable for the due fulfillment of this contract.

- I declare that I have no participation in any collusive practices with any bidder or any other person regarding this or any other bid.

- I confirm that I am duly authorised to sign this contract.

WITNESSES

- ______________

- ______________

DATE:	______________

NAME (PRINT)		________________________________

CAPACITY		________________________________

SIGNATURE		________________________________

NAME OF TENDERER	________________________________

DATE			________________________________

SBD 7.1 CONTRACT FORM - PURCHASE OF GOODS/WORKS

# PART 2 (TO BE FILLED IN BY THE PURCHASER)

- I____________________________________ in my capacity as _________________________

accept your quotation under reference number ________________dated ___________________ for the supply of goods/works indicated hereunder and/or further specified in the annexure(s).

- An official order indicating delivery instructions is forthcoming.

- I undertake to make payment for the goods/works delivered in accordance with the terms and conditions of the contract, within 30 (thirty) days after receipt of an invoice accompanied by the delivery note.

| ## ITEM NO. |  |
| --- | --- |
| PRICE (ALL APPLICABLE TAXES INCLUDED) |  |
| BRAND |  |
| DELIVERY PERIOD |  |
| TOTAL PREFERENCE POINTS CLAIMED |  |
| THE ENTITY MUST BE 51% BLACK OWNED |  |
| THE ENTITY MUST BE REGISTERED IN SOUTH AFRICA |  |

4.	I confirm that I am duly authorised to sign this contract.

SIGNED AT _______________________________________ 		ON:_____________________

NAME (PRINT):___________________________________	SIGNATURE:_____________________

WITNESSES

- ______________________

- ______________________

DATE:	______________________

OFFICIAL STAMP

the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.

Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.