| PART B RESPONSE SHEET IN TERMS OF A REQUEST FOR INFORMATION To be completed by the supplier |  |  |  |  |
| --- | --- | --- | --- | --- |
| To | Eskom Holdings SOC Ltd | Date |  |  |
| Attention | Njabulo Masango |  |  |  |
| Tel no |  | Fax no and /or e-mail address |  |  |
| From |  | Address |  |  |
| Address |  |  |  |  |
| Sender |  |  |  |  |
| Description of the works/goods/services | Request for information for state-of-the-art technology that determines transformer winding design specifications as per original equipment manufacturer (OEM). |  |  |  |

Scope of work

The scope of this RFI is as follows:

- Suppliers are required to submit the following information regarding the commercially available state of the art technology they provide to effectively determine transformer winding design specifications.

All documentation regarding the technology should be submitted electronically through Eskom Tender Bulletin on the Eskom E- tendering page with the following information:

|  | Questions | Supplier response |
| --- | --- | --- |
|  | Supplier Name |  |
|  | Product Name |  |
|  | Product Description |  |
|  | Main technical data and specifications. |  |
|  | Copy of user manual |  |
|  | Number of years the product being on the Market |  |
|  | International Usage (Describe worldwide usage – country, utility/company name, period used) |  |
|  | Expected life cycle and associated maintenance costs |  |
|  | Methodology and procedures for using the technology |  |
|  | Operational requirements of the technology |  |
|  | Maintenance Requirements |  |
|  | Calibration Requirements (Frequency, indicate whether it can be done locally or only internationally, is onsite calibration possible) |  |
|  | Spares Availability (Locally or only Internationally) |  |
|  | Training requirements on use of equipment |  |
|  | Case studies of successful product usage for reverse engineering transformer windings |  |
|  | Applicable international standards of the technology |  |
|  | Indication of the cost of the equipment |  |
|  | Lead time for the supply & delivery of the equipment |  |
|  | The potential supplier to indicate if they offer the service to determine the transformer winding specification |  |
|  | Estimated equipment costs |  |

Yours faithfully

| Name | Designation | Signature | Date |
| --- | --- | --- | --- |
| Telephone number |  | Fax and/or e-mail address |  |