Bid Clarification (Science Lab Thethe High)

- Double door fire door should be a Class 1 Fire Door

- Storeroom to be fitted with a standard burglar gate

- Contractor to make allowance for siting of existing water lines

- To supply and fit an Air Conditioner in the room (18 000 BTU)

- Specification of the Gas pipe: SABS approved gas pipes

- Specification for water pipe: Copper

- Side Cabinet Specifications using similar material:  6.5m (L) x 0.8 (H) x2

- Projector Specifications:

The supplier shall provide a one (1) projector, with one (1) wall mounted screen, and the projector shall adhere to the following specifications:

- Lumens: 3000

- Resolution: minimum 1920x1080 pixels

- Contrast ratio: minimum 1000:1

- Zoom ratio: minimum 1.5

- Interface: at least HDMI, USB and RS232

- Projector Screen

HD projector screen with REMOTE for opening and closing which will accommodate the  computer, video, slide, and overhead projection in the classroom.

- 65 Round Housing Case

- Matt White Fabric

- Fabric Thickness: 0.4mm

- Electronic Motor – 220 – 240 V AC

- Wired Remote for Control

- Black Framed and Black-Backed Screen.

- Screen size: 2366*1429mm