| Contact Person | Mapule Msiza |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Email Address | Mapule.msiza@tia.org.za |  |  |  |  |  |
| Closing Date | 21 January 2025 |  |  |  |  |  |
| delivery address | 1 Dickens road, umbongitwini, 4120 |  |  |  |  |  |
| Description of Goods / Services |  |  |  |  |  |  |
| Item Description |  | Quantity |  |  |  |  |
| Quote for Fire Panel - Maintenance and Servicing of the fire panel - Type of panel name : ZP3 – Fire Control Panel - Quantity of smoke detectors X 36 - MCP X 5 - Square meter job area X 120 meters, this is rough estimation, most of the cables are in the ceiling - Batteries: X 2 Batteries to be changed - Panel has x44 devices in total - Full service on the Fire Panel is required - Supply and Fit new 7amp 12v Batteries x2 - Supply and Fit new Ziton Addressable detectors x2 |  | 1 |  | Service address is: 1 Dickens road, umbongitwini, 4120 |  |  |
| - Invoice paid after good and services delivery and within 30 days as per the National Treasury Act. - Suppliers must all be registered on the Central Supplier Database - Quotations: to be accompanied by SBD 4 AND 6.1 forms, Proof of specific goals where applicable, the completed and signed request for quotation form - Quotation received after the closing date and time will not be considered. - 80/20 preferential point system will be used 6. The validity period of price quotations after the closing date is 30 days |  |  |  |  |  |  |
| Specific Goals For TIA For Day - To - Day Procurement |  |  | Proof |  |  |  |
| 50% Owned By Historically Disadvantaged Individuals |  | 5 | Share Register / CSD Report |  |  |  |
| 51% Owned Black Women |  | 5 | Share register /CSD Report |  |  |  |
| At Least One Of The Owners Has A Disability / Disabilities |  | 5 | Statements Or Letters On A Physician’s / Medical Professional’s Letterhead With Practise Number Confirming Disability |  |  |  |
| At Least One Of The Owners Is A Youth |  | 5 | Copy Of A Certified ID CARD |  |  |  |
| Total |  | 20 |  |  |  |  |
| Supplier’s Information |  |  |  |  |  |  |
| Company Name |  |  |  |  |  |  |
| Contact Person |  |  |  |  |  |  |
| Contact Number |  |  |  |  |  |  |
| Email Address |  |  |  |  |  |  |
| Signature |  |  |  |  | Date |  |