Enquiries:

- How does the SSA define “South African-owned” for purposes of the mandatory local representative requirement, and what documentary evidence must be submitted?

- Deployment requirements: what is second and third phase

- Crowd detection: it is not clear how this feature must function

- Can we also request to be granted a submission extension to submit quality bid responses?

- The functional-requirements- detailed explanation is not clear and more clarity is needed

Feed allocation

- The tender identifies 150 camera feeds for ingestion and 150 feeds for facial-recognition analytics at each remote site. Please confirm whether the facial-recognition channels are applied to the same 150 camera feeds or whether a further 150 feeds must be catered for.

- Please confirm whether the 25 LPR/ANPR channels at each remote site form part of the 150 camera feeds or must be added to the total camera quantity.

- For the NOC, please confirm whether the 25 facial-recognition channels and 10 LPR/ANPR channels are drawn from the 50 camera feeds being ingested or represent additional feeds.

Central recording and project programme

- Is the NOC expected to maintain a duplicate archive of all video recorded at the remote sites, or will it receive only selected live video, events, metadata and video clips associated with incidents?

- Please advise the expected duration of the initial implementation and the required completion date for the NOC and four remote sites.

Users and operational locations

- Are NOC operators, remote-site operators and field responders separate categories of users within the proposed system?

- Will each remote sensor site have its own operators who will access and operate the parallel VMS from that location?

- Where remote-site operators are required, please provide the following information per site:

  - Total operator headcount.

  - Operators required per shift.

  - Maximum simultaneous logins.

- There are 20 NOC operators specified but only 10 NOC workstations. Please confirm whether this is based on shift rotation or whether other access devices are available.

- Will remote-site users access the VMS installed at their local site, the central NOC system, or both environments?

- Please provide the expected number of field responders requiring secure web-client or mobile-client access.

- Please confirm whether the NOC currently has a video wall. Where one is available, how many live camera feeds are expected to be displayed at the same time?

Recording assumptions and availability

- Please provide the recording parameters that bidders must use when calculating server and archive capacity:

- Recording method: continuous, motion or event.

- Camera resolution.

- Frames per second.

- Video compression format.

- Average bitrate per camera.

- Whether audio recording is required.

- Is server failover required automatically at all five sites, or only for identified critical systems and locations?

- We generally require 2megapixel stream from cameras for facial Recognition. We are concerned if second stream is not good enough from the cameras on site we will not get a good facial detection and the % will deteriorate. We can supply the functionality but it will be the clients responsibility to supply a high resolution stream

- Evaluation phase – Will this be done on one of the sites (which one), and will this also be required to show the remote capability at PTA.

- Point 2.5 and 2.6 pg18 - Crowd detection/ crowd based analytics and  Object and Behavior detection clarification. We are not completely sure how many channels to include here. Is it also 150 per site?

- We also just want to clarify it is 150 Facial licenses per site – thus 600 total from remote sites?

- Pg 30 point 2.c - Support object tracking across multiple cameras/zones. How many channels should we allow for this. Also 150 per site (thus 600 total)?

- Pg 30 point 2.d - Detection of behavior, e.g. loitering, fighting, running, aggression, intrusion, etc. Should this also be on all 150 channels (thus 600 total)?