PRICING SCHEDULE – BILL OF QUANTITIES

Tenderers will be appointed on rates only:

Part 1: Preliminary & General Service-Related Rates

SECTION 01

| Item No. | Model / Service | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Services | Skilled labour- Engineer |  | Hour | 1 | R | R | R |
| 2 |  | Skilled labour- Technician |  | Hour | 1 | R | R | R |
| 3 |  | Semi-skilled labour |  | Hour | 1 | R | R | R |
| 4 |  | Travelling (Ugu only accepts DOT Rates for Road and Economy for Flights) |  | Km | 1 | R | R | R |
| 5 |  | Transport 1 Ton with a rigger / Operator |  | Km | 1 | R | R | R |
| 6 |  | Transport 8 Ton with crane, a rigger / Operator |  | Km | 1 | R | R | R |
| 7 |  | Transport 10 Ton with crane, a rigger / Operator |  | Km | 1 | R | R | R |
| 8 |  | Transport 20 Ton with crane, a rigger / Operator |  | Km | 1 | R | R | R |
| 9 |  | Accommodation (Ugu only accepts up to grade 3 star Hotel, BNB or Self-Catering Rates as gazetted by National Treasury)”. |  | Per Night | 1 | R | R | R |
| 10 |  | Consumables 0-1000kVA GENSET |  | Per Service | 1 | R | R | R |
| 11 |  | Consumables 1000-2000kVA GENSET |  | Per Service | 1 | R | R | R |
| 12 |  | Consumables 2000-3000kVA GENSET |  | Per Service | 1 | R | R | R |
| 13 |  | Installation 0-1000kVA GENSET |  | Per Unit | 1 | R | R | R |
| 14 |  | Installation 1000-2000kVA GENSET |  | Per Unit | 1 | R | R | R |
| 15 |  | Installation 2000-3000kVA GENSET |  | Per Unit | 1 | R | R | R |
| 16 |  | Plinth Construction 0-1000kVA GENSET |  | Per Unit | 1 | R | R | R |
| 17 |  | Plinth Construction 1000-2000kVA GENSET |  | Per Unit | 1 | R | R | R |
| 18 |  | Plinth Construction 2000-3000kVA GENSET |  | Per Unit | 1 | R | R | R |
| 19 |  | Trailer for 0-1000kVA GENSET |  | Per Unit | 1 | R | R | R |
| 20 |  | Trailer 1000-2000kVA GENSET |  | Per Unit | 1 | R | R | R |
| 21 |  | Trailer 20000-3000kVA GENSET |  | Per Unit | 1 | R | R | R |
| 22 |  | Commissioning and testing 0-1000kVA GENSET |  | Per Unit | 1 | R | R | R |

| 23 |  | Commissioning and testing 1000-2000kVA GENSET |  | Per Unit | 1 | R |  | R |  | R |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 24 |  | Commissioning and testing 2000-3000kVA GENSET |  | Per Unit | 1 | R |  | R |  | R |  |
| 25 |  | Major Service and overhaul Engine/Generator 400V; 16.5 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 26 |  | Major Service and overhaul Engine/Generator 400V; 18 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 27 |  | Major Service and overhaul Engine/Generator 400V; 22 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 28 |  | Major Service and overhaul Engine/Generator 400V; 26 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 29 |  | Major Service and overhaul Engine/Generator 400V; 30 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 30 |  | Major Service and overhaul Engine/Generator 400V; 35 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 31 |  | Major Service and overhaul Engine/Generator 400V; 44 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 32 |  | Major Service and overhaul Engine/Generator 400V; 53 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 33 |  | Major Service and overhaul Engine/Generator 400V; 72 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 34 |  | Major Service and overhaul Engine/Generator 400V; 88 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 35 |  | Major Service and overhaul Engine/Generator 400V; 120 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 36 |  | Major Service and overhaul Engine/Generator 400V; 136 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 37 |  | Major Service and overhaul Engine/Generator 400V; 140 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 38 |  | Major Service and overhaul Engine/Generator 400V; 160 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 39 |  | Major Service and overhaul Engine/Generator 400V; 176 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 40 |  | Major Service and overhaul Engine/Generator 400V; 200 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 41 |  | Major Service and overhaul Engine/Generator 400V; 220 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 42 |  | Major Service and overhaul Engine/Generator 400V; 240 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 43 |  | Major Service and overhaul Engine/Generator 400V; 264 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 44 |  | Major Service and overhaul Engine/Generator 400V; 280 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 45 |  | Major Service and overhaul Engine/Generator 400V; 320 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 46 |  | Major Service and overhaul Engine/Generator 400V; 360 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 47 |  | Major Service and overhaul Engine/Generator 400V; 400 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 48 |  | Major Service and overhaul Engine/Generator 400V; 440 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 49 |  | Major Service and overhaul Engine/Generator 400V; 512 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 50 |  | Major Service and overhaul Engine/Generator 400V; 565 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 51 |  | Major Service and overhaul Engine/Generator 400V; 660 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 52 |  | Major Service and overhaul Engine/Generator 400V; 720 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 53 |  | Major Service and overhaul Engine/Generator 400V; 833 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 54 |  | Major Service and overhaul Engine/Generator 400V; 888 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 55 |  | Major Service and overhaul Engine/Generator 400V; 800 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 56 |  | Major Service and overhaul Engine/Generator 400V; 906 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 57 |  | Major Service and overhaul Engine/Generator 400V; 1000 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 58 |  | Major Service and overhaul Engine/Generator 400V; 1120 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 59 |  | Major Service and overhaul Engine/Generator 400V; 1340 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 60 |  | Major Service and overhaul Engine/Generator 400V; 1340 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 61 |  | Major Service and overhaul Engine/Generator 400V; 1650 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 62 |  | Major Service and overhaul Engine/Generator 400V; 1800 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 63 |  | Major Service and overhaul Engine/Generator 400V; 2000 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 64 |  | Major Service and overhaul Engine/Generator 400V; 2200 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 65 |  | Major Service and overhaul Engine/ Generator 400V; 2400 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 66 |  | Major Service and overhaul Engine/Generator 400V; 2800 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 67 |  | Major Service and overhaul Engine/Generator 400V; 3000 kVA; |  | Per Unit | 1 | R |  | R |  | R |  |
| 68 |  | Major Service and overhaul Engine/Generator 400V; 220 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 69 |  | Major Service and overhaul Engine/Generator 400V; 450 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 70 |  | Major Service and overhaul Engine/Generator 400V; 350 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 71 |  | Major Service and overhaul Engine/Generator 400V; 500 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 72 |  | Major Service and overhaul Engine/Generator 400V; 208 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 73 |  | Major Service and overhaul Engine/Generator 400V, 129 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 74 |  | Major Service and overhaul Engine/Generator 400V, 750 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 75 |  | Major Service and overhaul Engine/Generator 400V, 385 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 76 |  | Rental of Generator 400V; 16.5 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 77 |  | Rental of Generator 400V; 18 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 78 |  | Rental of Generator 400V; 22 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 79 |  | Rental of Generator 400V; 26 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 80 |  | Rental of Generator 400V; 30 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 81 |  | Rental of Generator 400V; 35 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 82 |  | Rental of Generator 400V; 44 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 83 |  | Rental of Generator 400V; 53 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 84 |  | Rental of Generator 400V; 72 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 85 |  | Rental of Generator 400V; 88 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 86 |  | Rental of Generator 400V; 120 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 87 |  | Rental of Generator 400V; 136 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 88 |  | Rental of Generator 400V; 140 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 89 |  | Rental of Generator 400V; 160 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 90 |  | Rental of Generator 400V; 176 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 91 |  | Rental of Generator 400V; 200 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 92 |  | Rental of Generator 400V; 220 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 93 |  | Rental of Generator 400V; 240 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 94 |  | Rental of Generator 400V; 264 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 95 |  | Rental of Generator 400V; 280 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 96 |  | Rental of Generator 400V; 320 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 97 |  | Rental of Generator 400V; 360 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 98 |  | Rental of Generator 400V; 400 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 99 |  | Rental of Generator 400V; 440 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 100 |  | Rental of Generator 400V; 512 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 101 |  | Rental of Generator 400V; 565 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 102 |  | Rental of Generator 400V; 660 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 103 |  | Rental of Generator 400V; 720 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 104 |  | Rental of Generator 400V; 833 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 105 |  | Rental of Generator 400V; 888 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 106 |  | Rental of Generator 400V; 800 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 107 |  | Rental of Generator 400V; 906 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 108 |  | Rental of Generator 400V; 1000 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 109 |  | Rental of Generator 400V; 1120 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 110 |  | Rental of Generator 400V; 1340 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 111 |  | Rental of Generator 400V; 1340 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 112 |  | Rental of Generator 400V; 1650 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 113 |  | Rental of Generator 400V; 1800 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 114 |  | Rental of Generator 400V; 2000 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 115 |  | Rental of Generator 400V; 2200 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 116 |  | Rental of Generator 400V; 2400 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 117 |  | Rental of Generator 400V; 2800 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 118 |  | Rental of Generator 400V; 3000 kVA ; |  | Per Unit | 1 | R |  | R |  | R |  |
| 119 |  | Rental of Generator 400V; 220 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 120 |  | Rental of Generator 400V; 450 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 121 |  | Rental of Generator 400V; 350 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 122 |  | Rental of Generator 400V; 500 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 123 |  | Rental of Generator 400V; 208 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 124 |  | Rental of Generator 400V, 129 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 125 |  | Rental of Generator 400V, 750 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 126 |  | Rental of Generator 400V, 385 kVA |  | Per Unit | 1 | R |  | R |  | R |  |
| 127 |  | Trailer to transport 0- 1000kVA Rental/Mobile Genset |  | Per day | 1 | R |  | R |  | R |  |
| 128 |  | Trailer to transport 1000- 2000kVA Rental/Mobile Genset |  | Per day | 1 | R |  | R |  | R |  |
| 129 |  | Trailer to transport 2000- 3000kVA Rental/Mobile Genset |  | Per day | 1 | R |  | R |  | R |  |
| 130 |  | Installation of Vandal Proof Enclosure |  | Per Unit | 1 | R |  | R |  | R |  |
| 131 |  | Installation of change-over panel |  | Per Unit | 1 | R |  | R |  | R |  |
| 132 |  | Installation of Additional Fuel Storage Tank |  | Per Unit | 1 | R |  | R |  | R |  |
| 133 |  | Installation of Additional Fuel Tank size |  | Per Unit | 1 | R |  | R |  | R |  |
| 134 |  | FAT 0- 1000kVA Genset |  | Per Unit | 1 | R |  | R |  | R |  |
| 135 |  | FAT 1000- 2000kVA Genset |  | Per Unit | 1 | R |  | R |  | R |  |
| 136 |  | FAT 2000- 3000kVA Genset |  | Per Unit | 1 | R |  | R |  | R |  |
| 137 |  | Installation of Control Equipment |  | Per Unit | 1 | R |  | R |  | R |  |
| 138 |  | Technical Report |  | Per Unit | 1 | R |  | R |  | R |  |
|  |  | Safety files |  |  |  |  |  |  |  |  |  |
| 139 |  | 1. Job specific safety file items |  | Sum | 1 | R |  | R |  | R |  |
| 140 |  | 2. Annual safety file |  | Sum | 1 | R |  | R |  | R |  |
| Total Carried to Summary |  |  |  |  |  |  |  |  | R |  |  |  |  | R | R |

PART 2: BILL OF QUANTITIES FOR SPARES & COMPLETE UNITS – SIMILAR APPROVED

SECTION A1

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V; 220 kVA; C275D5B ; 6LTAA9.5-G3 Or similar approved | Belt, Water Pump Drive; 3288475 |  | Each | 1 | R | R | R |
|  |  | Rocker Lever Housing Gasket; 3966708 |  | Each | 1 | R | R | R |
|  |  | Sensor, Engine Speed; 5346957 |  | Each | 1 | R | R | R |
|  |  | Indicator, Oil Level (Dipstick); 3939117 |  | Each | 1 | R | R | R |
|  |  | Thermostat; 5337942 |  | Each | 1 | R | R | R |
|  |  | Alternator DC Charging; 3415691 |  | Each | 1 | R | R | R |
|  |  | Pump Fuel Injection; 5346969 |  | Each | 1 | R | R | R |
|  |  | Pump Lubricating Oil ; 4941464 |  | Each | 1 | R | R | R |
|  |  | Pump Water ; 3973114 |  | Each | 1 | R | R | R |
|  |  | Seal Pump Water; 3940386 |  | Each | 1 | R | R | R |
|  |  | Starter-Motor; 5256984 |  | Each | 1 | R | R | R |
|  |  | O-Ring (Injector); 3029820 |  | Each | 1 | R | R | R |
|  |  | Injector; 3975929 |  | Each | 1 | R | R | R |
|  |  | Oil Drain Plug; 3973071 |  | Each | 1 | R | R | R |
|  |  | Fan Pulley ; 3926855 |  | Each | 1 | R | R | R |
|  |  | Switch, Magnetic; 391630200 |  | Each | 1 | R | R | R |
|  |  | Sensor - Pressure; 0193-0430-01 |  | Each | 1 | R | R | R |
|  |  | Sensor - Temperature ; 0193-0529-02 |  | Each | 1 | R | R | R |
|  |  | Sensor - Low Coolant Level; 0193-0468 |  | Each | 1 | R | R | R |
|  |  | Heater, Water ; A029C774 |  | Each | 1 | R | R | R |
|  |  | Harness, Engine ; A053V305 |  | Each | 1 | R | R | R |
| Total Carried To Summary |  |  |  |  |  |  |  | R |

SECTION A2

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V; 264 kVA ; C330D5B ; 6LTAA9.5-G1 Or similar approved | Filter Oil ; LF9009 |  | Each | 1 | R | R | R |
|  |  | Element, Air Cleaner -Safety ; AF26431 |  | Each | 1 | R | R | R |
|  |  | Filter - Fuel ; FF5461 |  | Each | 1 | R | R | R |
|  |  | Filter Water ; FS1280 |  | Each | 1 | R | R | R |
|  |  | Belt, Water Pump Drive ; 3288475 |  | Each | 1 | R | R | R |
|  |  | Rocker Lever Housing Gasket ; 3966708 |  | Each | 1 | R | R | R |
|  |  | Sensor, Engine Speed ; 5346957 |  | Each | 1 | R | R | R |
|  |  | Indicator, Oil Level (Dipstick) ; 3939117 |  | Each | 1 | R | R | R |
|  |  | Thermostat ; 5337942 |  | Each | 1 | R | R | R |
|  |  | Alternator DC Charging ; 3415691 |  | Each | 1 | R | R | R |
|  |  | Pump Fuel Injection ; 5346969 |  | Each | 1 | R | R | R |
|  |  | Pump Lubricating Oil ; 4941464 |  | Each | 1 | R | R | R |
|  |  | Pump Water ; 3973114 |  | Each | 1 | R | R | R |
|  |  | Seal Pump Water ; 3940386 |  | Each | 1 | R | R | R |
|  |  | Starter-Motor ; 5256984 |  | Each | 1 | R | R | R |
|  |  | O-Ring (Injector) ; 3029820 |  | Each | 1 | R | R | R |
|  |  | Injector ; 3975929 |  | Each | 1 | R | R | R |
|  |  | Oil Drain Plug ; 3973071 |  | Each | 1 | R | R | R |
|  |  | Fan Pulley ; 3926855 |  | Each | 1 | R | R | R |
|  |  | Switch, Magnetic ; 391630200 |  | Each | 1 | R | R | R |
|  |  | Sensor - Pressure ; 0193-0430-01 |  | Each | 1 | R | R | R |
|  |  | Sensor - Temperature ; 0193-0529-02 |  | Each | 1 | R | R | R |
|  |  | Sensor - Low Coolant Level ; 0193-0468 |  | Each | 1 | R | R | R |
|  |  | Heater, Water ; A029C774 |  | Each | 1 | R | R | R |
|  |  | Harness, Engine ; A053V305 |  | Each | 1 | R | R | R |
|  |  | Isolator, Battery ; A035A403 |  | Each | 1 | R | R | R |
|  |  | Breaker, Circuit ; A024X464 |  | Each | 1 | R | R | R |
|  |  | Battery ; A055K937 |  | Each | 1 | R | R | R |
|  |  | Pipe, Flexible ; A054M359 |  | Each | 1 | R | R | R |
|  |  | Pipe, Flexible ; A054N474 |  | Each | 1 | R | R | R |
|  |  | Harness Generator Electrical ; A053V424 |  | Each | 1 | R | R | R |
|  |  | Radiator ; A054G668 |  | Each | 1 | R | R | R |
|  |  | Hose, Radiator ; A055Z107 |  | Each | 1 | R | R | R |
|  |  | Tube, Radiator ; A054G738 |  | Each | 1 | R | R | R |
|  |  | Hose, Radiator ; A054G744 |  | Each | 1 | R | R | R |
|  |  | Hose, Radiator ; A054G746 |  | Each | 1 | R | R | R |
|  |  | Fan, Radiator ; A054G752 |  | Each | 1 | R | R | R |
|  |  | Valve, Ball ; A055Y140 |  | Each | 1 | R | R | R |
|  |  | Hose, Radiator ; A054G724 |  | Each | 1 | R | R | R |
|  |  | Tube, Radiator ; A054G732 |  | Each | 1 | R | R | R |
|  |  | Tube, Radiator ; A054G734 |  | Each | 1 | R | R | R |
|  |  | Hose, Radiator ; A054G728 |  | Each | 1 | R | R | R |
|  |  | Tube, Radiator ; A054G736 |  | Each | 1 | R | R | R |
| Total Carried To Summary |  |  |  |  |  |  |  | R |

SECTION A3

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V; 280 kVA ; C350D5B ; 6LTAA9.5-G1 Or similar approved | Filter Oil ; LF9009 |  | Each | 1 | R | R | R |
|  |  | Element, Air Cleaner -Safety ; AF26431 |  | Each | 1 | R | R | R |
|  |  | Filter - Fuel ; FF5461 |  | Each | 1 | R | R | R |
|  |  | Filter Water ; FS1280 |  | Each | 1 | R | R | R |
|  |  | Belt, Water Pump Drive ; 3288475 |  | Each | 1 | R | R | R |
|  |  | Rocker Lever Housing Gasket ; 3966708 |  | Each | 1 | R | R | R |
|  |  | Sensor, Engine Speed ; 5346957 |  | Each | 1 | R | R | R |
|  |  | Indicator, Oil Level (DipStick) ; 3939117 |  | Each | 1 | R | R | R |
|  |  | Thermostat ; 5337942 |  | Each | 1 | R | R | R |
|  |  | Alternator DC Charging ; 3415691 |  | Each | 1 | R | R | R |
|  |  | Pump Fuel Injection ; 5346969 |  | Each | 1 | R | R | R |
|  |  | Pump Lubricating Oil ; 4941464 |  | Each | 1 | R | R | R |
|  |  | Pump Water ; 3973114 |  | Each | 1 | R | R | R |
|  |  | Seal Pump Water ; 3940386 |  | Each | 1 | R | R | R |
|  |  | Starter-Motor ; 5256984 |  | Each | 1 | R | R | R |
|  |  | O-Ring (Injector) ; 3029820 |  | Each | 1 | R | R | R |
|  |  | Injector ; 3975929 |  | Each | 1 | R | R | R |
|  |  | Oil Drain Plug ; 3973071 |  | Each | 1 | R | R | R |
|  |  | Fan Pulley ; 3926855 |  | Each | 1 | R | R | R |
|  |  | Switch, Magnetic ; 391630200 |  | Each | 1 | R | R | R |
|  |  | Sensor - Pressure ; 0193-0430-01 |  | Each | 1 | R | R | R |
|  |  | Sensor - Temperature ; 0193-0529-02 |  | Each | 1 | R | R | R |
|  |  | Sensor - Low Coolant Level ; 0193-0468 |  | Each | 1 | R | R | R |
|  |  | Heater, Water ; A029C774 |  | Each | 1 | R | R | R |
|  |  | Harness, Engine ; A053V305 |  | Each | 1 | R | R | R |
|  |  | Isolator, Battery ; A035A403 |  | Each | 1 | R | R | R |
|  |  | Breaker, Circuit ; A024X464 |  | Each | 1 | R | R | R |
|  |  | Battery ; A055K937 |  | Each | 1 | R | R | R |
|  |  | Pipe, Flexible ; A054M359 |  | Each | 1 | R | R | R |
|  |  | Pipe, Flexible ; A054N474 |  | Each | 1 | R | R | R |
|  |  | Harness Generator Electrical ; A053V424 |  | Each | 1 | R | R | R |
|  |  | Radiator ; A054G668 |  | Each | 1 | R | R | R |
|  |  | Hose, Radiator ; A055Z107 |  | Each | 1 | R | R | R |
|  |  | Tube, Radiator ; A054G738 |  | Each | 1 | R | R | R |
|  |  | Hose, Radiator ; A054G744 |  | Each | 1 | R | R | R |
|  |  | Hose, Radiator ; A054G746 |  | Each | 1 | R | R | R |
|  |  | Fan, Radiator ; A054G752 |  | Each | 1 | R | R | R |
|  |  | Valve, Ball ; A055Y140 |  | Each | 1 | R | R | R |
|  |  | Hose, Radiator ; A054G724 |  | Each | 1 | R | R | R |
|  |  | Tube, Radiator ; A054G732 |  | Each | 1 | R | R | R |
|  |  | Tube, Radiator ; A054G734 |  | Each | 1 | R | R | R |
|  |  | Hose, Radiator ; A054G728 |  | Each | 1 | R | R | R |
|  |  | Tube, Radiator ; A054G736 |  | Each | 1 | R | R | R |
| Total Carried To Summary |  |  |  |  |  |  |  | R |

SECTION A4

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V; 320 kVA ; C400D5 ; QSG12-G1 Or similar approved | Air Cleaner ; LF9009 |  | Each | 1 | R | R | R |
|  |  | Air Cleaner ; AF891M |  | Each | 1 | R | R | R |
|  |  | Fuel Filter ; 3000958 |  | Each | 1 | R | R | R |
|  |  | Fuel Filter ; FS1212 |  | Each | 1 | R | R | R |
|  |  | Corrosion Resistor ; WF2076 |  | Each | 1 | R | R | R |
|  |  | Sender, Pressure ; 0193-0430-01 |  | Each | 1 | R | R | R |
|  |  | Sender, Coolant Level ; 0193-0468 |  | Each | 1 | R | R | R |
|  |  | Sensor - Temperature ; 0193-0529-01 |  | Each | 1 | R | R | R |
|  |  | Display Control ; 0300-6314-01 |  | Each | 1 | R | R | R |
|  |  | Card, Governor ; 0327-1507 |  | Each | 1 | R | R | R |
|  |  | Card, Control ; 0327-1617-01 |  | Each | 1 | R | R | R |
|  |  | Harness, Engine ; A046K677 |  | Each | 1 | R | R | R |
|  |  | Harness, Wiring ; A046K679 |  | Each | 1 | R | R | R |
|  |  | Harness, Engine ; A050H401 |  | Each | 1 | R | R | R |
|  |  | Harness, Wiring ; A050H403 |  | Each | 1 | R | R | R |
|  |  | Tube, Coolant ; A048A217 |  | Each | 1 | R | R | R |
|  |  | Line, Fuel ; A048G052 |  | Each | 1 | R | R | R |
|  |  | Transformer, Current ; B2400030 |  | Each | 1 | R | R | R |
|  |  | Breaker, Circuit ; B3210112-03 |  | Each | 1 | R | R | R |
|  |  | Switch, Push button ; B3225017 |  | Each | 1 | R | R | R |
|  |  | AVR ; E000-24403/1P |  | Each | 1 | R | R | R |
|  |  | Rectifier Service Kit; 450-16016 |  | Each | 1 | R | R | R |
|  |  | NDE Bearing kit ; 45-0320 |  | Each | 1 | R | R | R |
|  |  | Radiator ; A046R877 |  | Each | 1 | R | R | R |
|  |  | Guard, Radiator; A048A190 |  | Each | 1 | R | R | R |
|  |  | Pipe, Flexible; A048A202 |  | Each | 1 | R | R | R |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A5

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V; 360 kVA ; C450D5 ; QSG12-G2 Or similar approved | Air Cleaner ; LF9009 |  | Each | 1 | R | R |  |
|  |  | Air Cleaner ; AF891M |  | Each | 1 | R | R |  |
|  |  | Fuel Filter ; 3000958 |  | Each | 1 | R | R |  |
|  |  | Fuel Filter ; FS1212 |  | Each | 1 | R | R |  |
|  |  | Corrosion Resistor ; WF2076 |  | Each | 1 | R | R |  |
|  |  | Sender, Pressure ; 0193-0430-01 |  | Each | 1 | R | R |  |
|  |  | Sender, Coolant Level ; 0193-0468 |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature ; 0193-0529-01 |  | Each | 1 | R | R |  |
|  |  | Display Control ; 0300-6314-01 |  | Each | 1 | R | R |  |
|  |  | Card, Governor ; 0327-1507 |  | Each | 1 | R | R |  |
|  |  | Card, Control ; 0327-1617-01 |  | Each | 1 | R | R |  |
|  |  | Harness, Engine ; A046K677 |  | Each | 1 | R | R |  |
|  |  | Harness, Wiring ; A046K679 |  | Each | 1 | R | R |  |
|  |  | Harness, Engine ; A050H401 |  | Each | 1 | R | R |  |
|  |  | Harness, Wiring ; A050H403 |  | Each | 1 | R | R |  |
|  |  | Tube, Coolant ; A048A217 |  | Each | 1 | R | R |  |
|  |  | Line, Fuel ; A048G052 |  | Each | 1 | R | R |  |
|  |  | Transformer, Current ; B2400030 |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit ; B3210112-03 |  | Each | 1 | R | R |  |
|  |  | Switch, Push button ; B3225017 |  | Each | 1 | R | R |  |
|  |  | AVR ; E000-24403/1P |  | Each | 1 | R | R |  |
|  |  | Rectifier Service Kit ; 450-16016 |  | Each | 1 | R | R |  |
|  |  | NDE Bearing kit ; 45-0320 |  | Each | 1 | R | R |  |
|  |  | Radiator ; A046R877 |  | Each | 1 | R | R |  |
|  |  | Guard, Radiator ; A048A190 |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible ; A048A202 |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A6

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V; 440 kVA ; C550D5 ; QSZ13-G10 Or similar approved | Filter Oil ; LF9009 |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety ; AF26431 |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel ; FF5461 |  | Each | 1 | R | R |  |
|  |  | Filter Water ; FS1280 |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive ; 3288475 |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket ; 3966708 |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed ; 5346957 |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; 3939117 |  | Each | 1 | R | R |  |
|  |  | Thermostat ; 5337942 |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging ; 3415691 |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection ; 5346969 |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil ; 4941464 |  | Each | 1 | R | R |  |
|  |  | Pump Water ; 3973114 |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water ; 3940386 |  | Each | 1 | R | R |  |
|  |  | Starter-Motor ; 5256984 |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) ; 3029820 |  | Each | 1 | R | R |  |
|  |  | Injector ; 3975929 |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug ; 3973071 |  | Each | 1 | R | R |  |
|  |  | Fan Pulley ; 3926855 |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic ; 391630200 |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure ; 0193-0430-01 |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature ; 0193-0529-02 |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level ; 0193-0468 |  | Each | 1 | R | R |  |
|  |  | Heater, Water ; A029C774 |  | Each | 1 | R | R |  |
|  |  | Harness, Engine ; A053V305 |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery ; A035A403 |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit ; A024X464 |  | Each | 1 | R | R |  |
|  |  | Battery ; A055K937 |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible ; A054M359 |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible ; A054N474 |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical ; A053V424 |  | Each | 1 | R | R |  |
|  |  | Radiator ; A054G668 |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator ; A055Z107 |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator ; A054G738 |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator ; A054G744 |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator ; A054G746 |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator ; A054G752 |  | Each | 1 | R | R |  |
|  |  | Valve, Ball ; A055Y140 |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator ; A054G724 |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator ; A054G732 |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator ; A054G734 |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator ; A054G728 |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator ; A054G736 |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A7

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V; 565 kVA ; C700D5 ; VTA28-G5 Or similar approved | FILTER, OIL BY PASS ; LF777 |  | Each | 1 | R | R |  |
|  |  | FILTER, OIL ; LF670 |  | Each | 1 | R | R |  |
|  |  | AIR CLEANER, NORMAL DUTY ; AH1100 |  | Each | 1 | R | R |  |
|  |  | ELEMENT, AIR CLEANER -HEAVY DUTY -OUTER ; AF26207 |  | Each | 1 | R | R |  |
|  |  | ELEMENT, AIR CLEANER -HEAVY DUTY -SAFETY ; AF26208 |  | Each | 1 | R | R |  |
|  |  | FILTER -FUEL ; FS1006 |  | Each | 1 | R | R |  |
|  |  | FITER WATER ; WF2076 |  | Each | 1 | R | R |  |
|  |  | SENSOR,TEMPERATURE ; 0193-0529-01 |  | Each | 1 | R | R |  |
|  |  | SENDER,PRESSURE ; A028X493 |  | Each | 1 | R | R |  |
|  |  | SWITCH, TEMP ; 0309-0269 |  | Each | 1 | R | R |  |
|  |  | CAP, RADIATOR ; A041B365 |  | Each | 1 | R | R |  |
|  |  | HARNESS,ENGINE ; A045C193 |  | Each | 1 | R | R |  |
|  |  | PCB ASSY CNTRL 3300 ; 0327-1601-01 |  | Each | 1 | R | R |  |
|  |  | PCB ASSY (DYNAMO GOV) ; 0327-1507 |  | Each | 1 | R | R |  |
|  |  | HOSE VENT ; A041B372 |  | Each | 1 | R | R |  |
|  |  | TUBE, RADIATOR ; A045Z234 |  | Each | 1 | R | R |  |
|  |  | TUBE, RADIATOR ; A045Z236 |  | Each | 1 | R | R |  |
|  |  | HOSE, RADIATOR ; A044K795 |  | Each | 1 | R | R |  |
|  |  | HOSE, COOLANT ; A043L742 |  | Each | 1 | R | R |  |
|  |  | TUBE,VENT ; B3840002 |  | Each | 1 | R | R |  |
|  |  | PCB ASSY (PCC1302 CONTROL), If fitted ; 0327-1617-01 |  | Each | 1 | R | R |  |
|  |  | TRANSFORMER,CURRENT ; 0302-2057-34 |  | Each | 1 | R | R |  |
|  |  | DRAINCOCK ; CQ3165997-20 |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A8

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V; 660 kVA ; C825D5A ; VTA28-G6 Or similar approved | FILTER, OIL BY PASS ; LF777 |  | Each | 1 | R | R | R |
|  |  | FILTER, OIL ; LF670 |  | Each | 1 | R | R | R |
|  |  | AIR CLEANER, NORMAL DUTY ; AH1100 |  | Each | 1 | R | R | R |
|  |  | ELEMENT, AIR CLEANER -HEAVY DUTY -OUTER ; AF26207 |  | Each | 1 | R | R | R |
|  |  | ELEMENT, AIR CLEANER -HEAVY DUTY -SAFETY ; AF26208 |  | Each | 1 | R | R | R |
|  |  | FILTER - FUEL ; FS1006 |  | Each | 1 | R | R | R |
|  |  | FITER WATER ; WF2076 |  | Each | 1 | R | R | R |
|  |  | SENSOR, TEMPERATURE ; 0193-0529-01 |  | Each | 1 | R | R | R |
|  |  | SENDER, PRESSURE ; A028X493 |  | Each | 1 | R | R | R |
|  |  | SWITCH, TEMP; 0309-0269 |  | Each | 1 | R | R | R |
|  |  | CAP, RADIATOR ; A041B365 |  | Each | 1 | R | R | R |
|  |  | HARNESS,ENGINE ; A045C193 |  | Each | 1 | R | R | R |
|  |  | PCB ASSY CNTRL 3300 ; 0327-1601-01 |  | Each | 1 | R | R | R |
|  |  | PCB ASSY (DYNAMO GOV) ; 0327-1507 |  | Each | 1 | R | R | R |
|  |  | HOSE VENT ; A041B372 |  | Each | 1 | R | R | R |
|  |  | TUBE, RADIATOR ; A045Z234 |  | Each | 1 | R | R | R |
|  |  | TUBE, RADIATOR ; A045Z236 |  | Each | 1 | R | R | R |
|  |  | HOSE, RADIATOR ; A044K795 |  | Each | 1 | R | R | R |
|  |  | HOSE, COOLANT ; A043L742 |  | Each | 1 | R | R | R |
|  |  | TUBE,VENT ; B3840002 |  | Each | 1 | R | R | R |
|  |  | PCB ASSY (PCC1302 CONTROL), If fitted ; 0327-1617-01 |  | Each | 1 | R | R | R |
|  |  | TRANSFORMER, CURRENT ; 0302-2057-34 |  | Each | 1 | R | R | R |
|  |  | DRAINCOCK ; CQ3165997-20 |  | Each | 1 | R | R | R |
| Total Carried To Summary |  |  |  |  |  |  |  | R |

SECTION A9

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V; 906 kVA ; C1100D5B ; KTA38-G14 Or similar approved | FILTER, OIL BY PASS ; LF777 |  | Each | 1 | R | R |  |
|  |  | FILTER, OIL ; LF670 |  | Each | 1 | R | R |  |
|  |  | AIR CLEANER, NORMAL DUTY ; AH1100 |  | Each | 1 | R | R |  |
|  |  | ELEMENT, AIR CLEANER -HEAVY DUTY - OUTER ; AF26207 |  | Each | 1 | R | R |  |
|  |  | ELEMENT, AIR CLEANER - HEAVY DUTY -SAFETY ; AF26208 |  | Each | 1 | R | R |  |
|  |  | FILTER - FUEL ; FS1006 |  | Each | 1 | R | R |  |
|  |  | FITER WATER ; WF2076 |  | Each | 1 | R | R |  |
|  |  | ALTERNATOR DC Charging ; 4094998 |  | Each | 1 | R | R |  |
|  |  | BELT, ALTERNATOR (If fitted) ; 3039376 |  | Each | 1 | R | R |  |
|  |  | WASHER PLAIN (Oil Drain plug) ; 67946 |  | Each | 1 | R | R |  |
|  |  | GASKET PUMP WATER ; 206193 |  | Each | 1 | R | R |  |
|  |  | HEATER, ENGINE COOLANT ; A034J176 |  | Each | 1 | R | R |  |
|  |  | HEATER, ENGINE COOLANT ; A034J177 |  | Each | 1 | R | R |  |
|  |  | HEATER HOSE ; 0503-2203-02 |  | Each | 1 | R | R |  |
|  |  | HEATER HOSE ; 0503-2203-04 |  | Each | 1 | R | R |  |
|  |  | INDICATOR, OIL LEEL (DIPSTICK) ; 3201793 |  | Each | 1 | R | R |  |
|  |  | INJECTOR ; 307670300PX |  | Each | 1 | R | R |  |
|  |  | OIL DRAIN PLUG ; 3055069 |  | Each | 1 | R | R |  |
|  |  | SEAL O-RING (INJECTOR) ; 3037537 |  | Each | 1 | R | R |  |
|  |  | PUMP-FUEL INJECTION ; 3075537BA58 |  | Each | 1 | R | R |  |
|  |  | PUMP-WATER KIT ; 408930100RX |  | Each | 1 | R | R |  |
|  |  | RELAY-CONTROL ; 0307-2874 |  | Each | 1 | R | R |  |
|  |  | ROCKER COVER GASKET(If fitted) ; 4920076 |  | Each | 1 | R | R |  |
|  |  | SEALS (THERMOSTAT) ; 3627961 |  | Each | 1 | R | R |  |
|  |  | STARTER - MOTOR ; 363227300RX |  | Each | 1 | R | R |  |
|  |  | THERMOSTAT ; 3629205 |  | Each | 1 | R | R |  |
|  |  | TURBO CHARGER ; 4955707 |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A10

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V; 1000 kVA ; C1250D5A ; KTA38-G9 Or similar approved | ELEMENT AIR CLEANER, NORMAL DUTY ; AF25708M |  | Each | 1 | R | R |  |
|  |  | ELEMENT AIR CLEANER, HEAVY DUTY ; AF800 |  | Each | 1 | R | R |  |
|  |  | FILTER, OIL BY PASS ; LF777 |  | Each | 1 | R | R |  |
|  |  | FILTER OIL ; LF670 |  | Each | 1 | R | R |  |
|  |  | FILTER FUEL ; FS1006 |  | Each | 1 | R | R |  |
|  |  | FILTER WATER ; WF2075 |  | Each | 1 | R | R |  |
|  |  | ELEMENT, AIR CLEANER, HEAVY DUTY OUTER ; AF899M |  | Each | 1 | R | R |  |
|  |  | BATTERY CHARGER 5A ; 0416-1181-02 |  | Each | 1 | R | R |  |
|  |  | BATTERY CHARGER 10A ; 0416-1182-02 |  | Each | 1 | R | R |  |
|  |  | CURRENT TRANSFORMER(3154/1-6308/1) ; 0302-2057-42 |  | Each | 1 | R | R |  |
|  |  | ELECTRONIC GOVERNOR/ACTUATOR ETR FUEL COM ; 340832600 |  | Each | 1 | R | R |  |
|  |  | FUSE HOLDER ; 0249-0811 |  | Each | 1 | R | R |  |
|  |  | FUSE 6.3 AMP ; A041B825 |  | Each | 1 | R | R |  |
|  |  | HARNES ACCESSORY ; A041A425 |  | Each | 1 | R | R |  |
|  |  | LOW COLLANT SENSOR HARNESS ; A035H837 |  | Each | 1 | R | R |  |
|  |  | ENGINE HARNESS ; A035G075 |  | Each | 1 | R | R |  |
|  |  | HARNESS, (PCC3300) ; A034Y614 |  | Each | 1 | R | R |  |
|  |  | HARNESS, ACCESSORY ; A0345E847 |  | Each | 1 | R | R |  |
|  |  | HARNESS, (PCC3300-AUX101) ; A040G672 |  | Each | 1 | R | R |  |
|  |  | HARNESS (HMI) ; A035N938 |  | Each | 1 | R | R |  |
|  |  | HARNESS ; A035P061 |  | Each | 1 | R | R |  |
|  |  | HARNESS ALTERNATING CURRENT ; A041X400 |  | Each | 1 | R | R |  |
|  |  | HARNESS INTERFACE ; A040W512 |  | Each | 1 | R | R |  |
|  |  | HARNESS INTERFACE ; 0151-0411 |  | Each | 1 | R | R |  |
|  |  | OIL PRESSURE SENSOR ; A028X493 |  | Each | 1 | R | R |  |
|  |  | TEMP SWITCH ; 0309-0269 |  | Each | 1 | R | R |  |
|  |  | SENSOR TEMPERATURE ; 0193-0432 |  | Each | 1 | R | R |  |
|  |  | MAGNETIC SWITCH ; 305069200 |  | Each | 1 | R | R |  |
|  |  | BELT, FAN ; A052A389 |  | Each | 1 | R | R |  |
|  |  | HOSE,VENT ; A052A392 |  | Each | 1 | R | R |  |
|  |  | CLAMP,HOSE ; A044K972 |  | Each | 1 | R | R |  |
|  |  | HOSE,RADIATOR ; A044L669 |  | Each | 1 | R | R |  |
|  |  | CLAMP,HOSE ; A044L667 |  | Each | 1 | R | R |  |
|  |  | HOSE,RADIATOR ; A044L668 |  | Each | 1 | R | R |  |
|  |  | CLAMP,HOSE ; A043L745 |  | Each | 1 | R | R |  |
|  |  | DISPLAY - CONTROL ASSY 9 BAR HMI ; 0327-6366-02 |  | Each | 1 | R | R |  |
|  |  | DISPLAY - CONTROL ASSY SYM ENG TXT ; 0327-6315-02 |  | Each | 1 | R | R |  |
|  |  | PCB ASSY CNTRL 3300 ; 0327-1601-01 |  | Each | 1 | R | R |  |
|  |  | CARD CONTROL (AUX105) ; A028T766 |  | Each | 1 | R | R |  |
|  |  | PCB ASSY (DYNMO GOV)(AUX 104) ; 0327-1507 |  | Each | 1 | R | R |  |
|  |  | PCB ASSY (SYSTEM I/O DEVICE) ; 0327-1536 |  | Each | 1 | R | R |  |
|  |  | CIRCUIT BREAKER, 2000A 3P ; A035P812 |  | Each | 1 | R | R |  |
|  |  | EMERGENCY STOP SWITCH ; A034L265 |  | Each | 1 | R | R |  |
|  |  | PGM ASSEMBLY, COMPLETED (IF FITTED) ; 45-0119A |  | Each | 1 | R | R |  |
|  |  | BEARING KIT ; 45-0336 |  | Each | 1 | R | R |  |
|  |  | DIOE FWD/REV & VSRISTOR KIT ; RSK-6001 |  | Each | 1 | R | R |  |
|  |  | HEATER, ALTERNATOR 110/125 VOLT ; 45-0324 |  | Each | 1 | R | R |  |
|  |  | HEATER, ALTERNATOR 220/260 VOLT ; 45-0325 |  | Each | 1 | R | R |  |
|  |  | RECTIFIER ASSEMBLY ; 450-325 |  | Each | 1 | R | R |  |
|  |  | CIRCUIT BREAKER, 2000A 3P ; 760-11216 |  | Each | 1 | R | R |  |
|  |  | VOLTAGE REGULATOR( AVR)XMX341 ; E000-23412/1P |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A11

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V; 1650 kVA ; C2000D5 ; QSK60-G3 Or similar approved | FILTER OIL ; LF0009050 |  | Each | 1 | R | R |  |
|  |  | AIR CLEANER NORMAL DUTY ; AF0025708M |  | Each | 1 | R | R |  |
|  |  | FUEL SEPERATOR ; FS0019870 |  | Each | 1 | R | R |  |
|  |  | WATER FILTER ; WF0002075 |  | Each | 1 | R | R |  |
|  |  | TRIPLEX FUEL FILTER ELEMENT ; FS0019763 |  | Each | 1 | R | R |  |
|  |  | DUPLEX FUEL FILTER ELEMENT REMOTE MTD ; FS0053014 |  | Each | 1 | R | R |  |
|  |  | LUBRICATION OIL 208 LITRES ; 886281 |  | Each | 1 | R | R |  |
|  |  | LUBRICATION OIL 20 LITRES ; 886282 |  | Each | 1 | R | R |  |
|  |  | COOLANT OAT 208 LITRES ; CC0036076 |  | Each | 1 | R | R |  |
|  |  | COOLANT OAT 20 LITRES ; CC0036074 |  | Each | 1 | R | R |  |
|  |  | ALTERNATOR DC CHARGING ; 4101372 |  | Each | 1 | R | R |  |
|  |  | BELT ALTERNATOR ; 5412990 |  | Each | 1 | R | R |  |
|  |  | GASKET OIL DRAIN ; 3089019 |  | Each | 1 | R | R |  |
|  |  | GASKET WATER PUMP ; 3089261 |  | Each | 1 | R | R |  |
|  |  | GASKET WATER PUMP ; 3089262 |  | Each | 1 | R | R |  |
|  |  | GASKET WATER PUMP ; 3332299 |  | Each | 1 | R | R |  |
|  |  | GASKET ROCKER LEVER ; 3171499 |  | Each | 1 | R | R |  |
|  |  | INJECTOR ; 4326780 |  | Each | 1 | R | R |  |
|  |  | KIT TURBOCHARGER ; 4089808 |  | Each | 1 | R | R |  |
|  |  | FUEL PUMP ; 4307244BH30 |  | Each | 1 | R | R |  |
|  |  | WATER PUMP ; 4376121RX |  | Each | 1 | R | R |  |
|  |  | INJECTOR SEAL ; 4307148 |  | Each | 1 | R | R |  |
|  |  | THERMOSTAT SEALS ; 3627961 |  | Each | 1 | R | R |  |
|  |  | SENSOR TEMPERATURE ; 3408345 |  | Each | 1 | R | R |  |
|  |  | SENSOR TEMPERATURE ; 4954905 |  | Each | 1 | R | R |  |
|  |  | SENSOR PRESSURE ; 2872254 |  | Each | 1 | R | R |  |
|  |  | SENSOR PRESSURE ; 4088734 |  | Each | 1 | R | R |  |
|  |  | SENSOR PRESSURE ; 4902720 |  | Each | 1 | R | R |  |
|  |  | SENSOR SPEED ; 4327239 |  | Each | 1 | R | R |  |
|  |  | SERVICE INDICATOR ; 3933711S |  | Each | 1 | R | R |  |
|  |  | STARTER MOTOR ; 3651891 |  | Each | 1 | R | R |  |
|  |  | MAGNETIC SWITCH ; 3050692 |  | Each | 1 | R | R |  |
|  |  | THERMOSTAT ; 3629205 |  | Each | 1 | R | R |  |
|  |  | REN VALVE GASKET ; 3945567S |  | Each | 1 | R | R |  |
|  |  | REN SEDIMENT ; 3967685S |  | Each | 1 | R | R |  |
|  |  | REN PLATE GASKET ; 3945563S |  | Each | 1 | R | R |  |
|  |  | CAP RADIATOR ; 0130-5325 |  | Each | 1 | R | R |  |
|  |  | BELT DRIVE ; 0511-0161-22 |  | Each | 1 | R | R |  |
|  |  | LEVEL SWITCH ; A055K311 |  | Each | 1 | R | R |  |
|  |  | DISPLAY CONTROL ; 0300-6315-02 |  | Each | 1 | R | R |  |
|  |  | PCB ASSY (PCC3300 ONLY) ; 0327-1593 |  | Each | 1 | R | R |  |
|  |  | TRANSFORMER CURRENT ; 0315-1610-03 |  | Each | 1 | R | R |  |
|  |  | NDE BEARING KIT ; 45-0336 |  | Each | 1 | R | R |  |
|  |  | DIODE VARISTOR KIT ; RSK-6001 |  | Each | 1 | R | R |  |
|  |  | HEATER ALTERNATOR ; 0333-0438-06 |  | Each | 1 | R | R |  |
|  |  | FUEL PUMP ROTARY ; 0149-2736 |  | Each | 1 | R | R |  |
|  |  | HARNESS EXTENSION ; 0338-4314 |  | Each | 1 | R | R |  |
|  |  | HARNESS AC (P7) ; 0338-4317 |  | Each | 1 | R | R |  |
|  |  | HARNESS ALARM ; 0338-4351 |  | Each | 1 | R | R |  |
|  |  | HARNESS POWER ; 0338-4495 |  | Each | 1 | R | R |  |
|  |  | HARNESS POWER (ENGINE HEATER) ; 0338-3982 |  | Each | 1 | R | R |  |
|  |  | HARNESS CONTROL (ENGINE HEATER) ; 0338-3983 |  | Each | 1 | R | R |  |
|  |  | WATER HEATER ; 0333-0634-02 |  | Each | 1 | R | R |  |
|  |  | VIBRATION ISOLATOR ; 0402-0666-01 |  | Each | 1 | R | R |  |
|  |  | THERMOSTAT ; 0309-0649 |  | Each | 1 | R | R |  |
|  |  | HOSE ; 0503-2452 |  | Each | 1 | R | R |  |
|  |  | HOSE CLAMP ; 0503-1872-01 |  | Each | 1 | R | R |  |
|  |  | HOSE ; 0130-6567 |  | Each | 1 | R | R |  |
|  |  | HOSE CLAMP ; 0503-1872-07 |  | Each | 1 | R | R |  |
|  |  | HOSE ; 0503-2451 |  | Each | 1 | R | R |  |
|  |  | HOSE CLAMP ; 0503-1872-04 |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A12

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V; 2000 kVA ; C2500D5A ; QSK60-G8 Or similar approved | FILTER OIL ; LF0009050 |  | Each | 1 | R | R |  |
|  |  | AIR CLEANER NORMAL DUTY ; AF0025708M |  | Each | 1 | R | R |  |
|  |  | FUEL SEPERATOR ; FS0019870 |  | Each | 1 | R | R |  |
|  |  | WATER FILTER ; WF0002075 |  | Each | 1 | R | R |  |
|  |  | TRIPLEX FUEL FILTER ELEMENT ; FS0019763 |  | Each | 1 | R | R |  |
|  |  | DUPLEX FUEL FILTER ELEMENT REMOTE MTD ; FS0053014 |  | Each | 1 | R | R |  |
|  |  | LUBRICATION OIL 208 LITRES ; 886281 |  | Each | 1 | R | R |  |
|  |  | LUBRICATION OIL 20 LITRES ; 886282 |  | Each | 1 | R | R |  |
|  |  | COOLANT OAT 208 LITRES ; CC0036076 |  | Each | 1 | R | R |  |
|  |  | COOLANT OAT 20 LITRES ; CC0036074 |  | Each | 1 | R | R |  |
|  |  | ALTERNATOR DC CHARGING ; 4101372 |  | Each | 1 | R | R |  |
|  |  | BELT ALTERNATOR ; 5412990 |  | Each | 1 | R | R |  |
|  |  | GASKET OIL DRAIN ; 3089019 |  | Each | 1 | R | R |  |
|  |  | GASKET WATER PUMP ; 3089261 |  | Each | 1 | R | R |  |
|  |  | GASKET WATER PUMP ; 3089262 |  | Each | 1 | R | R |  |
|  |  | GASKET WATER PUMP ; 3332299 |  | Each | 1 | R | R |  |
|  |  | GASKET ROCKER LEVER ; 3171499 |  | Each | 1 | R | R |  |
|  |  | INJECTOR ; 4326780 |  | Each | 1 | R | R |  |
|  |  | KIT TURBOCHARGER ; 4089808 |  | Each | 1 | R | R |  |
|  |  | FUEL PUMP ; 4307244BH30 |  | Each | 1 | R | R |  |
|  |  | WATER PUMP ; 4376121RX |  | Each | 1 | R | R |  |
|  |  | INJECTOR SEAL ; 4307148 |  | Each | 1 | R | R |  |
|  |  | THERMOSTAT SEALS ; 3627961 |  | Each | 1 | R | R |  |
|  |  | SENSOR TEMPERATURE ; 3408345 |  | Each | 1 | R | R |  |
|  |  | SENSOR TEMPERATURE ; 4954905 |  | Each | 1 | R | R |  |
|  |  | SENSOR PRESSURE ; 2872254 |  | Each | 1 | R | R |  |
|  |  | SENSOR PRESSURE ; 4088734 |  | Each | 1 | R | R |  |
|  |  | SENSOR PRESSURE ; 4902720 |  | Each | 1 | R | R |  |
|  |  | SENSOR SPEED ; 4327239 |  | Each | 1 | R | R |  |
|  |  | SERVICE INDICATOR ; 3933711S |  | Each | 1 | R | R |  |
|  |  | STARTER MOTOR ; 3651891 |  | Each | 1 | R | R |  |
|  |  | MAGNETIC SWITCH ; 3050692 |  | Each | 1 | R | R |  |
|  |  | THERMOSTAT ; 3629205 |  | Each | 1 | R | R |  |
|  |  | REN VALVE GASKET ; 3945567S |  | Each | 1 | R | R |  |
|  |  | REN SEDIMENT ; 3967685S |  | Each | 1 | R | R |  |
|  |  | REN PLATE GASKET ; 3945563S |  | Each | 1 | R | R |  |
|  |  | CAP RADIATOR ; 0130-5325 |  | Each | 1 | R | R |  |
|  |  | BELT DRIVE ; 0511-0161-22 |  | Each | 1 | R | R |  |
|  |  | LEVEL SWITCH ; A055K311 |  | Each | 1 | R | R |  |
|  |  | DISPLAY CONTROL ; 0300-6315-02 |  | Each | 1 | R | R |  |
|  |  | PCB ASSY (PCC3300 ONLY) ; 0327-1593 |  | Each | 1 | R | R |  |
|  |  | TRANSFORMER CURRENT ; 0315-1610-03 |  | Each | 1 | R | R |  |
|  |  | NDE BEARING KIT ; 45-0336 |  | Each | 1 | R | R |  |
|  |  | DIODE VARISTOR KIT ; RSK-6001 |  | Each | 1 | R | R |  |
|  |  | HEATER ALTERNATOR ; 0333-0438-06 |  | Each | 1 | R | R |  |
|  |  | FUEL PUMP ROTARY ; 0149-2736 |  | Each | 1 | R | R |  |
|  |  | HARNESS EXTENSTION ; 0338-4314 |  | Each | 1 | R | R |  |
|  |  | HARNESS AC (P7) ; 0338-4317 |  | Each | 1 | R | R |  |
|  |  | HARNESS ALARM ; 0338-4351 |  | Each | 1 | R | R |  |
|  |  | HARNESS POWER ; 0338-4495 |  | Each | 1 | R | R |  |
|  |  | HARNESS POWER (ENGINE HEATER) ; 0338-3982 |  | Each | 1 | R | R |  |
|  |  | HARNESS CONTROL (ENGINE HEATER) ; 0338-3983 |  | Each | 1 | R | R |  |
|  |  | WATER HEATER ; 0333-0634-02 |  | Each | 1 | R | R |  |
|  |  | VIBRATION ISOLATOR ; 0402-0666-01 |  | Each | 1 | R | R |  |
|  |  | THERMOSTAT ; 0309-0649 |  | Each | 1 | R | R |  |
|  |  | HOSE ; 0503-2452 |  | Each | 1 | R | R |  |
|  |  | HOSE CLAMP ; 0503-1872-01 |  | Each | 1 | R | R |  |
|  |  | HOSE ; 0130-6567 |  | Each | 1 | R | R |  |
|  |  | HOSE CLAMP ; 0503-1872-07 |  | Each | 1 | R | R |  |
|  |  | HOSE ; 0503-2451 |  | Each | 1 | R | R |  |
|  |  | HOSE CLAMP ; 0503-1872-04 |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A13

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V, 220kVA VOLVO PENTA Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel; |  | Each | 1 | R | R |  |
|  |  | Filter Water; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A14

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V , 450kVA VOLVO PENTA Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel; |  | Each | 1 | R | R |  |
|  |  | Filter Water; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A15

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V , 350kVA VOLVO PENTA Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel; |  | Each | 1 | R | R |  |
|  |  | Filter Water; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A16

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V , 500kVA VOLVO PENTA Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel; |  | Each | 1 | R | R |  |
|  |  | Filter Water; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried to Summary |  |  |  |  |  |  | R |  |

SECTION A17

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V , 208 kVA PERKINS Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel; |  | Each | 1 | R | R |  |
|  |  | Filter Water; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A18

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V , 129 kVA VOLVO PENTA Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety ; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel ; |  | Each | 1 | R | R |  |
|  |  | Filter Water ; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A19

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V, 750 kVA MARELLI GENERATORS Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel; |  | Each | 1 | R | R |  |
|  |  | Filter Water; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick); |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A20

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V , 385 kVA VOLVO PENTA Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel; |  | Each | 1 | R | R |  |
|  |  | Filter Water; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A21

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V, 167 kVA VOLVO PENTA Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel; |  | Each | 1 | R | R |  |
|  |  | Filter Water; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A22

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V, 125 kVA CUMMINS Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel; |  | Each | 1 | R | R |  |
|  |  | Filter Water; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A23

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V , 510 kVA MARELLI Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety ; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel ; |  | Each | 1 | R | R |  |
|  |  | Filter Water ; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A24

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V , 500 kVA SCANIA Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel; |  | Each | 1 | R | R |  |
|  |  | Filter Water; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A25

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V , 275 kVA DETROIT Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety ; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel ; |  | Each | 1 | R | R |  |
|  |  | Filter Water ; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A26

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V , 100 kVA DEUTZ Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety ; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel ; |  | Each | 1 | R | R |  |
|  |  | Filter Water ; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A27

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V , 100 kVA VOLVO TAD 531 GE Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety ; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel ; |  | Each | 1 | R | R |  |
|  |  | Filter Water ; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A28

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V , 60 kVA DIESEL ELECTRIC Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety ; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel ; |  | Each | 1 | R | R |  |
|  |  | Filter Water ; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION A29

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator 400V , 350 kVA SCANIA Or similar approved | Filter Oil |  | Each | 1 | R | R |  |
|  |  | Element, Air Cleaner -Safety ; |  | Each | 1 | R | R |  |
|  |  | Filter - Fuel ; |  | Each | 1 | R | R |  |
|  |  | Filter Water ; |  | Each | 1 | R | R |  |
|  |  | Belt, Water Pump Drive |  | Each | 1 | R | R |  |
|  |  | Rocker Lever Housing Gasket |  | Each | 1 | R | R |  |
|  |  | Sensor, Engine Speed |  | Each | 1 | R | R |  |
|  |  | Indicator, Oil Level (DipStick) ; |  | Each | 1 | R | R |  |
|  |  | Thermostat |  | Each | 1 | R | R |  |
|  |  | Alternator DC Charging |  | Each | 1 | R | R |  |
|  |  | Pump Fuel Injection |  | Each | 1 | R | R |  |
|  |  | Pump Lubricating Oil |  | Each | 1 | R | R |  |
|  |  | Pump Water |  | Each | 1 | R | R |  |
|  |  | Seal Pump Water |  | Each | 1 | R | R |  |
|  |  | Starter-Motor |  | Each | 1 | R | R |  |
|  |  | O-Ring (Injector) |  | Each | 1 | R | R |  |
|  |  | Injector |  | Each | 1 | R | R |  |
|  |  | Oil Drain Plug |  | Each | 1 | R | R |  |
|  |  | Fan Pulley |  | Each | 1 | R | R |  |
|  |  | Switch, Magnetic |  | Each | 1 | R | R |  |
|  |  | Sensor - Pressure |  | Each | 1 | R | R |  |
|  |  | Sensor - Temperature |  | Each | 1 | R | R |  |
|  |  | Sensor - Low Coolant Level |  | Each | 1 | R | R |  |
|  |  | Heater, Water |  | Each | 1 | R | R |  |
|  |  | Harness, Engine |  | Each | 1 | R | R |  |
|  |  | Isolator, Battery |  | Each | 1 | R | R |  |
|  |  | Breaker, Circuit |  | Each | 1 | R | R |  |
|  |  | Battery |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Pipe, Flexible |  | Each | 1 | R | R |  |
|  |  | Harness Generator Electrical |  | Each | 1 | R | R |  |
|  |  | Radiator |  | Each | 1 | R | R |  |
|  |  | Hose, Radiator |  | Each | 1 | R | R |  |
|  |  | Tube, Radiator |  | Each | 1 | R | R |  |
|  |  | Fan, Radiator |  | Each | 1 | R | R |  |
|  |  | Valve, Ball |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION B1

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Generator complete units Or similar approved | Generator 400V; 16.5 kVA ; C17D5 ; X2.5-G2 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 18 kVA ; C22D5 ; X2.5-G2 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 22 kVA ; C28D5 ; X2.5-G2 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 26 kVA ; C33D5 ; X3.3-G1 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 30 kVA ; C38D5 ; X3.3-G1 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 35 kVA ; C44D5L ; 4BTAA3.3-G13 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 44 kVA ; C55D5L ; 4BTAA3.3-G13 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 53 kVA ; C66D5L ; 4BTAA3.3-G13 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 72 kVA ; C90D5 ; 6BTA5.9-G5 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 88 kVA ; C110D5 ; 6BTA5.9-G5 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 120 kVA; C150D5 ; 6BTAA5.9-G6 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 136 kVA; C170D5 ; 6BTAA5.9-G7 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 140 kVA ; C175D5E ; QSB7-G5 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 160 kVA ; C200D5E ; QSB7-G5 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 176 kVA ; C220D5E ; QSB7-G5 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 176 kVA ; C220D5 ; 6CTAA8.3-G7 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 200 kVA ; C250D5 ; 6CTAA8.3-G9 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 220 kVA ; C275D5 ; QSL9-G5 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 240 kVA ; C300D5 ; QSL9-G5 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 264 kVA ; C330D5 ; QSL9-G5 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 220 kVA ; C275D5B ; 6LTAA9.5-G3 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 240 kVA ; C300D5B ; 6LTAA9.5-G3 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 264 kVA ; C330D5B ; 6LTAA9.5-G1 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 280 kVA ; C350D5B ; 6LTAA9.5-G1 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 320 kVA ; C400D5 ; QSG12-G1 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 360 kVA ; C450D5 ; QSG12-G2 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 320 kVA ; C400D5EB ; QSZ13-G7 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 360 kVA ; C450D5EB ; QSZ13-G7 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 400 kVA ; C500D5 ; QSZ13-G5 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 440 kVA ; C550D5 ; QSZ13-G10 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 440 kVA ; C550D5E ; QSX15-G8 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 512 kVA ; C640D5 ; KTAA19-G6 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 565 kVA ; C700D5 ; VTA28-G5 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 660 kVA ; C825D5A ; VTA28-G6 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 660 kVA ; C825D5 ; QSK23-G3 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 720 kVA ; C900D5 ; QSK23-G3 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 833 kVA ; C1000D5 ; QST30-G3 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 888 kVA ; C1100D5 ; QST30-G4 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 800 kVA ; C1000D5B ; KTA38-G14 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 906 kVA ; C1100D5B ; KTA38-G14 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 1000 kVA ; C1250D5A ; KTA38-G9 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 1120 kVA ; C1400D5 ; KTA50-G3 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 1340 kVA ; C1675D5 ; KTA50-G8 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 1340 kVA ; C1675D5A ; KTA50-GS8 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 1650 kVA ; C2000D5 ; QSK60-G3 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 1800 kVA ; C2250D5 ; QSK60-G4 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 2000 kVA ; C2500D5A ; QSK60-G8 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 2200 kVA ; C2750D5B ; QSK60-G22 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 2200 kVA ; C2750D5BE ; QSK60-G23 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 2200 kVA ; C2750D5 ; QSK78-G9 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 2200 kVA ; C2750D5E ; QSK78-G15/G16 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 2400 kVA ; C3000D5 ; QSK78-G9 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 2400 kVA ; C3000D5E ; QSK78-G15/G16 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 2800 kVA ; C3500D5 ; QSK95-G4 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 3000 kVA ; C3750D5 ; QSK95-G4 |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 220 kVA |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 450 kVA |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 350 kVA |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 500 kVA |  | Each | 1 | R | R |  |
|  |  | Generator 400V; 208 kVA |  | Each | 1 | R | R |  |
|  |  | Generator 400V, 129 kVA |  | Each | 1 | R | R |  |
|  |  | Generator 400V, 750 kVA |  | Each | 1 | R | R |  |
|  |  | Generator 400V, 385 kVA |  | Each | 1 | R | R |  |
|  |  | Generator 400V, 167 kVA |  | Each | 1 | R | R |  |
|  |  | Generator 400V, 125KVA |  | Each | 1 | R | R |  |
|  |  | Generator 400V, 510KVA |  | Each | 1 | R | R |  |
|  |  | Generator 400V, 500KVA |  | Each | 1 | R | R |  |
|  |  | Generator 400V, 275VA |  | Each | 1 | R | R |  |
|  |  | Generator 400V, 100KVA |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION C1 – DEAPSEA CONTROL EQUIPMENT or SIMILAR APPROVED

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | DEEPSEA Or similar approved | DSE701MKII - Manual & Auto Start Control Module |  | Each | 1 | R | R |  |
|  |  | DSE702 - Manual & Auto Start Control Module |  | Each | 1 | R | R |  |
|  |  | DSE402MKII - Waterproof Manual & Auto Start Control Module |  | Each | 1 | R | R |  |
|  |  | DSE3110 - Manual & Auto Start Control Module |  | Each | 1 | R | R |  |
|  |  | DSE3210 - Manual & Auto Start Control Module |  | Each | 1 | R | R |  |
|  |  | DSE4510MKII - Auto Start Control Module |  | Each | 1 | R | R |  |
|  |  | DSE6110MKII - Auto Start Control Module |  | Each | 1 | R | R |  |
|  |  | DSE7110MKII- Auto Start Control Module |  | Each | 1 | R | R |  |
|  |  | DSE7310MKII - Auto Start Control Module |  | Each | 1 | R | R |  |
|  |  | DSE7410MKII - Auto Start Control Module |  | Each | 1 | R | R |  |
|  |  | DSE4520MKII - Auto Mains (Utility) Failure Control Module |  | Each | 1 | R | R |  |
|  |  | DSE7120MKII - Auto Mains (Utility) Failure Control Module |  | Each | 1 | R | R |  |
|  |  | DSE6120 MKIII - Auto Mains (Utility) Failure Control Module |  | Each | 1 | R | R |  |
|  |  | DSE7320MKII - Auto Mains (Utility) Failure Control Module |  | Each | 1 | R | R |  |
|  |  | DSE7420MKII - Auto Mains (Utility) Failure Control Module |  | Each | 1 | R | R |  |
|  |  | DSE8920 - 7” Colour Load Share & Synchronising Control Module |  | Each | 1 | R | R |  |
|  |  | DSE8660MKII - Auto Transfer Switch & Mains (Utility) Control Module |  | Each | 1 | R | R |  |
|  |  | DSE8610MKII - Synchronising & Load Sharing Control Module |  | Each | 1 | R | R |  |
|  |  | DSEM870 PV - PV / Diesel Load Sharing Fuel Save Controller For Solar And Wind Applications |  | Each | 1 | R | R |  |
|  |  | DSE7450 -DC / Hybrid Generator Control Module |  | Each | 1 | R | R |  |
|  |  | DSE8860 - Auto Transfer Switch & Mains (Utility) Graphical Colour Display Control Module |  | Each | 1 | R | R |  |
|  |  | DSE8810 - Load Share Control With Graphical Colour Display |  | Each | 1 | R | R |  |
|  |  | DSE8620MKII - Synchronising & Load Sharing Auto Mains (Utility) Failure Control Module |  | Each | 1 | R | R |  |
|  |  | DSE8680 - Synchronising Generator Bus Tie Control Module |  | Each | 1 | R | R |  |
|  |  | DSE2548 |  |  |  |  |  |  |
|  |  | DSE2548 LED OUTPUT EXPANSION MODULE |  | Each | 1 | R | R |  |
|  |  | DSE2157 OUTPUT EXPANSION MODULE |  | Each | 1 | R | R |  |
|  |  | DSE2152 ANALOGUE OUTPUT EXPANSION MODULE |  | Each | 1 | R | R |  |
|  |  | DSE2133 RTD/ THERMOCOUPLE INPUT EXPANSION MODULE |  | Each | 1 | R | R |  |
|  |  | DSE2131 RATIOMETRIC INPUT EXPANSION MODULE |  | Each | 1 | R | R |  |
|  |  | DSE2130 INPUT EXPANSION MODULE |  | Each | 1 | R | R |  |
|  |  | DSE123 ANALOGUE LOAD SHARE LINES INTERFACE |  | Each | 1 | R | R |  |
|  |  | DSE124 MSC/CAN EXTENDER |  | Each | 1 | R | R |  |
|  |  | DSEM835 3.5” Programmable Display |  | Each | 1 | R | R |  |
|  |  | DSEM840 4.3” Programmable Display |  | Each | 1 | R | R |  |
|  |  | DSEM870 7” Programmable Display |  | Each | 1 | R | R |  |
|  |  | DSEM812 12.1” Programmable Display |  | Each | 1 | R | R |  |
|  |  | DSEA109 - Digital Automatic Voltage Regulators (AVR) |  | Each | 1 | R | R |  |
|  |  | DSEA108 - Digital Automatic Voltage Regulators (AVR) |  | Each | 1 | R | R |  |
|  |  | DSEA106MKII - Digital Automatic Voltage Regulators (AVR) |  | Each | 1 | R | R |  |
|  |  | DSEP100 - Mains (Utility) Decoupling Relay |  | Each | 1 | R | R |  |
|  |  | DSEP961 - pView® multi-Function Power Meters |  | Each | 1 | R | R |  |
|  |  | DSEP962 - pView® multi-Function Power Meters |  | Each | 1 | R | R |  |
|  |  | DSEL401MKII - Intelligent Lighting Tower Control Module |  | Each | 1 | R | R |  |
|  |  | DSE8004 - 10” Graphical Colour Multi-Set Remote Overview Display |  | Each | 1 | R | R |  |
|  |  | DSE8003 MKII - 7” Graphical Colour Multi-Set Remote Overview Display |  | Each | 1 | R | R |  |
|  |  | DSE7310MKII - Auto Start Remote Display Module / Auto Mains (Utility) Failure Remote Display Module |  | Each | 1 | R | R |  |
|  |  | DSE7320MKII - Auto Start Remote Display Module / Auto Mains (Utility) Failure Remote Display Module |  | Each | 1 | R | R |  |
|  |  | DSE890MKII |  | Each | 1 | R | R |  |
|  |  | DSE891 |  | Each | 1 | R | R |  |
|  |  | DSE892 - Simple Network Management Protocol (SNMP) Gateway |  | Each | 1 | R | R |  |
|  |  | DSE8005 - SCADA Suite Software |  | Each | 1 | R | R |  |
|  |  | DSEM240 CAN Slave Unit (44 I/O) |  | Each | 1 | R | R |  |
|  |  | DSEM640 Programmable Controller (68 I/O) |  | Each | 1 | R | R |  |
|  |  | DSEM643 Programmable Controller (34 I/O) |  | Each | 1 | R | R |  |
|  |  | DSEE050 CONTROLLER – ENGINE DISPLAY |  | Each | 1 | R | R |  |
|  |  | DSEE100 CONTROLLER – ENGINE CONTROL MODULE |  | Each | 1 | R | R |  |
|  |  | DSEE400 CONTROLLER – ENGINE CONTROL MODULE |  | Each | 1 | R | R |  |
|  |  | DSEE800 CONTROLLER – ENGINE CONTROL MODULE |  | Each | 1 | R | R |  |
|  |  | DSE9702 12V 5A BATTERY CHARGER |  | Each | 1 | R | R |  |
|  |  | DSE9130 12V 5A BATTERY CHARGER -COMPACT |  | Each | 1 | R | R |  |
|  |  | DSE9483 12V 15A BATTERY CHARGER |  | Each | 1 | R | R |  |
|  |  | DSE9484 12V 30A BATTERY CHARGER |  | Each | 1 | R | R |  |
|  | DEEPSEA Or similar approved | DSE9701 24V 5A BATTER CHARGER |  | Each | 1 | R | R |  |
|  |  | DSE9255 24 V 5A BATTERY CHARGER |  | Each | 1 | R | R |  |
|  |  | DSE9470MKII 12V/24V 10A BATTER CHARGER |  | Each | 1 | R | R |  |
|  |  | DSE9473 24V 15A BATTERY CHARGER |  | Each | 1 | R | R |  |
|  |  | DSE9474 24V 30A BATTERY CHARGER |  | Each | 1 | R | R |  |
|  |  | DSE9476 24V 20A BATTERY CHARGER |  | Each | 1 | R | R |  |
|  |  | DSE9462 12V/24V 10/15A DUAL OUT BATTERY CHARGER |  | Each | 1 | R | R |  |
|  |  | DSE9460 12V/24V 5A BATTERY CHARGER |  | Each | 1 | R | R |  |
|  |  | DSE9461 12V/24V 5A BATTERY CHARGER |  | Each | 1 | R | R |  |
|  |  | DSE2541 REMOTE BATTERY CHARGER DISPLAY MODULE |  | Each | 1 | R | R |  |
|  |  | DSE160 SELF-SEEKING POWER SUPPLY |  | Each | 1 | R | R |  |
|  |  | DSE327 AUTO TRANSFER SWITCH CONTROL MODULE |  | Each | 1 | R | R |  |
|  |  | DSE330 AUTO TRANSFER SWITCH CONTROL MODULE |  | Each | 1 | R | R |  |
|  |  | DSE331 AUTO TRANSFER SWITCH CONTROL MODULE |  | Each | 1 | R | R |  |
|  |  | DSE334 AUTO TRANSFER SWITCH CONTROL MODULE |  | Each | 1 | R | R |  |
|  |  | DSE335 AUTO TRANSFER SWITCH CONTROL MODULE |  | Each | 1 | R | R |  |
|  |  | MKX341 VOLTAGE REGULATOR |  | Each | 1 | R | R |  |
|  |  | GSM Modem |  | Each | 1 | R | R |  |
|  |  | LF0902800 Oil Filter Combo Spinon |  | Each | 1 | R | R |  |
|  |  | FS1965700 Fuel Separator Spinon Strataspore |  | Each | 1 | R | R |  |
|  |  | 15w40 engine oil (per20lt) |  | Each | 1 | R | R |  |
|  |  | Coolant (per 20lt) |  | Each | 1 | R | R |  |
|  |  | FUSE |  |  |  |  |  |  |
|  |  | E91/32 32A 1 18mm 690 – FUSE HOLDERS |  | Each | 1 | R | R |  |
|  |  | E93/32 32A 3 54mm 690 - FUSE HOLDERS |  | Each | 1 | R | R |  |
|  |  | 1038 Fuse Link from 1A to 32A - FUSE |  | Each | 1 | R | R |  |
|  |  | 1038 N Neutral Link - FUSE |  | Each | 1 | R | R |  |
|  |  | PRESSURE UNITS |  |  |  |  |  |  |
|  |  | 360-081-029-004C VDO Pressure sender only 0-500kPa - 1/8"-27NPTF |  | Each | 1 | R | R |  |
|  |  | 360-081-029-012C VDO Pressure sender only 0-1000kPa - 1/8"-27NPTF |  | Each | 1 | R | R |  |
|  |  | 360-081-030-052C VDO Pressure sender/switch combination 0-1000kPa - 1/8"-27NPTF |  | Each | 1 | R | R |  |
|  |  | 230-112-001-001C VDO Pressure switch N/O 100kPa M10x1 |  | Each | 1 | R | R |  |
|  |  | 230-112-001-002C VDO Pressure switch N/C 70kPa 1/8"-27NPTF |  | Each | 1 | R | R |  |
|  |  | 230-112-003-013C VDO Pressure switch N/C 70kPa 1/8"-27NPTF |  | Each | 1 | R | R |  |
|  |  | TEMPERATURE UNITS |  |  |  |  |  |  |
|  |  | 323-801-005-001D VDO Temperature sender only 40-120°C 1/8"-27NPTF |  | Each | 1 | R | R |  |
|  |  | 323-801-001-026N VDO Temperature sender only 40-120°C - M14x1.5 |  | Each | 1 | R | R |  |
|  |  | 323-803-001-001D VDO Temperature sender/switch combination 40-120°C 100°C M14x1.5 |  | Each | 1 | R | R |  |
|  |  | 232-011-005-019D VDO Temperature switch N/O 96°C 1/8"-27NPTF |  | Each | 1 | R | R |  |
|  |  | 232-011-017-034D VDO Temperature switch N/O 100°C M14x1.5 |  | Each | 1 | R | R |  |
|  |  | FUEL UNITS |  |  |  |  |  |  |
|  |  | 220-003 Fuel Level Sender (Tank Depth 150 to 600mm) 10 - 180Ω - Top |  | Each | 1 | R | R |  |
|  |  | LS-103-4 Mechanical/Magnetic coolant level switch N/O or N/C - 1/2" BSP Side |  | Each | 1 | R | R |  |
|  |  | LS-103-3 Mechanical/Magnetic coolant level switch N/O or N/C - Ø20mm Hole |  | Each | 1 | R | R |  |
|  |  | WL/100/01 Electronic interphase, harness and probe N/C - 1/8"-27NPTF |  | Each | 1 | R | R |  |
|  |  | Probe only for WL/100/01 - - - |  | Each | 1 | R | R |  |
|  |  | Fuel Level Sensors - Tubular - Resistive Analogue with Digital Low level Alarm contact point |  | Each | 1 | R | R |  |
|  |  | S5-E150 150 mm - 0 to 190Ω - Stainless steel - 10 mm resolution |  | Each | 1 | R | R |  |
|  |  | S5-E200 200 mm - 0 to 190Ω - Stainless steel - 10 mm resolution |  | Each | 1 | R | R |  |
|  |  | S5-E250 250 mm - 0 to 190Ω - Stainless steel - 10 mm resolution |  | Each | 1 | R | R |  |
|  |  | S5-E300 300 mm - 0 to 190Ω - Stainless steel - 10 mm resolution |  | Each | 1 | R | R |  |
|  |  | S5-E350 350 mm - 0 to 190Ω - Stainless steel - 10 mm resolution |  | Each | 1 | R | R |  |
|  |  | S5-E500 500 mm - 0 to 190Ω - Stainless steel - 10 mm resolution |  | Each | 1 | R | R |  |
|  |  | S5-E650 650 mm - 0 to 190Ω - Stainless steel - 10 mm resolution |  | Each | 1 | R | R |  |
|  |  | S5-E800 800 mm - 0 to 190Ω - Stainless steel - 10 mm resolution |  | Each | 1 | R | R |  |
|  |  | S5-E1000 1000 mm - 0 to 190Ω - Stainless steel - 10 mm resolution |  | Each | 1 | R | R |  |
|  |  | S5-E1200 1200 mm - 0 to 190Ω - Stainless steel - 10 mm resolution |  | Each | 1 | R | R |  |
|  |  | S5-E1500 1500 mm - 0 to 190Ω - Stainless steel - 10 mm resolution |  | Each | 1 | R | R |  |
|  |  | S5-E1800 1800 mm - 0 to 190Ω - Stainless steel - 10 mm resolution |  | Each | 1 | R | R |  |
|  |  | S5-E2000 2000 mm - 0 to 190Ω - Stainless steel - 10 mm resolution |  | Each | 1 | R | R |  |
|  |  | 2-WIRE 12/24VDC SOLENOID |  |  |  |  |  |  |
|  |  | S12VDC-2W Solenoid with 2-wire 12VDC |  | Each | 1 | R | R |  |
|  |  | S24VDC-2W Solenoid with 2-wire 24VDC |  | Each | 1 | R | R |  |
|  |  | 3-wire 12/24VDC Solenoid |  |  |  |  |  |  |
|  |  | S12VDC-3W CUT SOLENOID 12VDC 3-WIRE |  | Each | 1 | R | R |  |
|  |  | S24VDC-3W CUT SOLENOID 24VDC 3-WIRE |  | Each | 1 | R | R |  |
|  |  | SPEED CONTROL – ACTUATORS |  |  |  |  |  |  |
|  |  | ADC100 12 OR 24V |  | Each | 1 | R | R |  |
|  |  | ADC225 12 OR 24V |  | Each | 1 | R | R |  |
|  |  | SPEED CONTROL – GOVERNORS |  |  |  |  |  |  |
|  |  | ESD5500 |  | Each | 1 | R | R |  |
|  |  | ESD2110 |  | Each | 1 | R | R |  |
|  |  | ESD2210 12 OR 24V |  | Each | 1 | R | R |  |
|  |  | EEG6500 |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION D1 – Vandal Proof Concrete Enclosure

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Vandal Proof Concrete Enclosure | Vandal Proof Concrete Enclosure for 0- 500kVA Genset with sound attenuation |  | Each | 1 | R | R |  |
|  |  | Vandal Proof Concrete Enclosure 500- 1000kVA Genset with sound attenuation |  | Each | 1 | R | R |  |
|  |  | Vandal Proof Concrete Enclosure 1000- 2000kVA Genset with sound attenuation |  | Each | 1 | R | R |  |
|  |  | Vandal Proof Concrete Enclosure 2000- 3000kVA Genset with sound attenuation |  | Each | 1 | R | R |  |
|  |  | Concrete Plinth construction 0-500kVA |  | Each | 1 | R | R |  |
|  |  | Concrete Plinth construction 500-1000kVA |  | Each | 1 | R | R |  |
|  |  | Concrete Plinth construction 1000-2000kVA |  | Each | 1 | R | R |  |
|  |  | Concrete Plinth construction 2000-3000kVA |  | Each | 1 | R | R |  |
| Total Carried To Summary |  |  |  |  |  |  | R |  |

SECTION E1 – Enclosures, Change-Over Panels & Additional/Fuel Storage Tanks and UPS (Uninterrupted Power Supply) and Inverter System

| Item No. | Model | Material / Service | Turnaround Time (Days / Weeks/ Months) | Unit of Measure | Qty | Rate (VAT Excl.) YEAR 1 | Rate (VAT Excl.) YEAR 2 | Rate (VAT Excl.) YEAR 3 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Enclosures/ Change over Panels & Fuel Storage Tanks complete units | Vandal Proof Enclosure for 0- 1000kVA Genset |  | Each | 1 | R | R |  |  |
|  |  | Vandal Proof Enclosure 1000- 2000kVA Genset |  | Each | 1 | R | R |  |  |
|  |  | Vandal Proof Enclosure 2000- 3000kVA Genset |  | Each | 1 | R | R |  |  |
|  |  | Vandal Proof Enclosure 3000- 4000kVA Genset |  | Each | 1 | R | R |  |  |
|  |  | Additional Fuel Storage tank size 2000L |  | Each | 1 | R | R |  |  |
|  |  | Concrete Plinth with bunded construction 0-500kVA |  | Each | 1 | R | R |  |  |
|  |  | Concrete Plinth with bunded construction 500-1000kVA |  | Each | 1 | R | R |  |  |
|  |  | Concrete Plinth with bunded construction 1000-2000kVA |  | Each | 1 | R | R |  |  |
|  |  | Concrete Plinth with bunded construction 2000-3000kVA |  | Each | 1 | R | R |  |  |
|  |  | 400 VA Single phase UPS include installation and COC |  | Each | 1 |  |  |  |  |
|  |  | 1 k VA Single phase UPS include installation and COC |  | Each | 1 |  |  |  |  |
|  |  | 10 k VA Three/Single phase UPS include installation and COC |  | Each | 1 |  |  |  |  |
|  |  | 20 k VA Three/Single phase UPS include installation and COC |  | Each | 1 |  |  |  |  |
|  |  | 5 kVA Hybrid Inverter, Lithium-Ion battery pack. |  | Each |  |  |  |  |  |
|  |  | 10 kVA Hybrid Inverter, Lithium-Ion battery pack. |  | Each |  |  |  |  |  |
|  |  | 20 kVA Hybrid Inverter, Lithium-Ion battery pack. |  | Each |  |  |  |  |  |
|  |  | 40 kVA Hybrid Inverter, Lithium-Ion battery pack. |  | Each |  |  |  |  |  |
| Total Carried to Summary |  |  |  |  |  | R |  |  |  |

| PART C: SUMMARY OF BILL OF QUANTITIES |  |  |  |  |
| --- | --- | --- | --- | --- |
| PART | DESCRIPTION | AMOUNT | AMOUNT | AMOUNT |
|  |  | R-C (YEAR 1) | R-C (YEAR 2) | R-C (YEAR 3) |
| PART 1 | SERVICE-RELATED RATES |  |  |  |
| 01 | Preliminary & General Service-Related Rates | R |  |  |
| PART 2 | BILL OF QUANTITIES FOR SPARES & COMPLETE UNITS OR SIMILAR APPROVED |  |  |  |
| A1 | Generator 400V; 220 kVA; C275D5B ; 6LTAA9.5-G3 | R |  |  |
| A2 | Generator 400V; 264 kVA ; C330D5B | R |  |  |
| A3 | Generator 400V; 280 kVA ; C350D5B ; 6LTAA9.5-G1 | R |  |  |
| A4 | Generator 400V; 320 kVA ; C400D5 ; QSG12-G1 | R |  |  |
| A5 | Generator 400V; 360 kVA ; C450D5 ; QSG12-G2 . | R |  |  |
| A6 | Generator 400V; 440 kVA ; C550D5 ; QSZ13-G10 | R |  |  |
| A7 | Generator 400V; 565 kVA ; C700D5 ; VTA28-G5 | R |  |  |
| A8 | Generator 400V; 660 kVA ; C825D5A ; VTA28-G6 | R |  |  |
| A9 | Generator 400V; 906 kVA ; C1100D5B ; KTA38-G14 | R |  |  |
| A10 | Generator 400V; 1000 kVA ; C1250D5A ; KTA38-G9 | R |  |  |
| A11 | Generator 400V; 1650 kVA ; C2000D5 ; QSK60-G3 Generator 400V; 1650 kVA ; C2000D5 ; QSK60-G3 | R |  |  |
| A12 | Generator 400V; 2000 kVA ; C2500D5A ; QSK60-G8 | R |  |  |
| A13 | Generator 400V, 220kVA | R |  |  |
| A14 | Generator 400V, 450kVA | R |  |  |
| A15 | Generator 400V; 350 kVA | R |  |  |
| A16 | Generator 400V; 500 kVA | R |  |  |
| A17 | Generator 400V; 208 kVA | R |  |  |
| A18 | Generator 400V, 129 kVA | R |  |  |
| A19 | Generator 400V, 750 kVA | R |  |  |
| A20 | Generator 400V, 385 kVA | R |  |  |
| A21 | Generator 400V, 167kVA | R |  |  |
| A22 | Generator 400V, 125kVA | R |  |  |
| A23 | Generator 400V, 510kVA | R |  |  |
| A24 | Generator 400V, 500kVA | R |  |  |
| A25 | Generator 400V, 275kVA | R |  |  |
| A26 | Generator 400V, 100 kVA | R |  |  |
| A27 | Generator 400V, 100 kVA | R |  |  |
| A28 | Generator 400V, 60 kVA | R |  |  |
| A29 | Generator 400V, 350 kVA | R |  |  |
| B1 | Generator Complete Units Or Similar Approved | R |  |  |
| C1 | Deepsea Equipment Or Similar Approved | R |  |  |
| D1 | Vandal Proof Concrete Enclosures | R |  |  |
| E1 | Enclosures, Changeover Panels & Additional/Fuel, UPS an Inverter and Storage tank | R |  |  |
| A SUBTOTAL (Use to calculate CPG amount and percentage) |  | R |  |  |
| B CONTINGENCIES (Add 15% of Subtotal A) |  | R |  |  |
| C SUBTOTAL (A + B) |  | R |  |  |
| D VALUE ADDED TAX (Add 15% of Subtotal C) |  | R |  |  |
| TOTAL (C+D) CARRIED TO FORM, C1.1, FORM OF OFFER |  | R |  |  |