# Invitation to bid

| YOU ARE HEREBY INVITED TO BID FOR THE REQUIREMENTS OF THE South African Nuclear Energy Corporation SOC Ltd |  |
| --- | --- |
| BID NUMBER: | FIN-SCM-TEN-0133 |
| BID DESCRIPTION: | Bid for SAFARI-1 Cooling Tower Fills Replacement |
| CLARIFICATION MEETING. | A compulsory clarification meeting will be held on 09 September 2025 at 09:30 pm in SAFARI-1. |
| ACCESS TO CLARIFICATION MEETING | Bidders to confirm attending Compulsory site meeting by sending ID Copies of company representatives to the following email address: Didintle.Tselane@necsa.co.za before the 29th of August 2025. Failure to attend the compulsory site meeting will result in automatic disqualification. |
| CLOSING DATE: | 26 September 2025 at 11:00 am |
| BID VALIDITY PERIOD: | 90 Days (Commencing the bid Closing Date) |
| DELIVERY ADDRESS: | BID DOCUMENTS MUST BE DEPOSITED IN THE BID BOX SITUATED AT: Necsa Gate 3 R104 Elias Motsoaledi Street (Church Street West Ext) Pelindaba Brits Magisterial District Madibeng Municipality North West 0240 The physical size of the Bid Response must be limited to 400mm x 100mm x 150mm as the Tender Box aperture cannot accommodate larger sizes. International suppliers may email to scm@necsa.co.za |
| ENQUIRES: | Mr Buyani Nsibande Email: scm@necsa.co.za Tel: +27 (0) 12 305 6072 Clarity seeking question must be sent at least three (3) working days before the closing date. |

THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2022, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT.

# Table of Contents

SECTION 1	3

1.	Introduction	3

Company Overview	3

2.	Scope of Work	3

Project Plan and Schedule	5

Applicable Necsa Policies	5

3.	Applicable Necsa Procedures	5

Requirements to Access Necsa Site	5

Emergencies, Incidents, Accidents	6

Necsa Health, Safety and Environmental Requirements	6

Necsa Requirements for Quality	6

Necsa Requirements for Project SHEQ	6

Confidentiality	6

SECTION 2	6

4.	Instruction to Bidders	6

General	7

Bidder Information	7

Consortium	7

Sub-contracting	7

Necsa’s Bidding Rights	8

Bidding Process	9

Bid Submission Requirements	9

5.	Eligibility Requirements	10

5.1	Pre-qualification Criteria	10

5.2	Technical / Functional Evaluation Criteria	10

5.3	Preference points and Price evaluation	12

5.4	80/20 preference point system for acquisition of goods or services for Rand value equal to or above R30 000 and up to R50 million	12

SECTION 3	14

6.	Returnable documents Checklist	14

7.	Bidder Information	15

Introduction

Company Overview

The South African Nuclear Energy Corporation Limited (Necsa) is a state-owned public company (SOC), registered in terms of the Companies Act, (Act No. 61 of 1973), registration number 2000/003735/06.

The Necsa Group engages in commercial business mainly through its wholly-owned commercial subsidiaries: NTP Radioisotopes SOC Ltd (NTP), which is responsible for a range of radiation-based products and services for healthcare, life sciences and industry, and Pelchem SOC Ltd (Pelchem), which supplies fluorine and fluorine-based products. Both subsidiaries, together with their subsidiaries, supply local and global markets, earning valuable foreign exchange for South Africa and are among the best in their field in their respective world markets.

Necsa’s safety, health, environment and quality policies provides for top management commitment to compliance with regulatory requirements of ISO 14001, OHSAS 18001 and RD 0034 (Quality and Safety Management Requirements for Nuclear Installations), ISO 9001 and ISO 17025.

Necsa promotes the science, technology and engineering expertise of South Africa and improves the public understanding of these through regular communications at various forums and outreach programmes to the community. We are a proudly South African company continuously striving, and succeeding in many respects, to be at the edge of science, technology and engineering related to the safe use of nuclear knowledge to improve our world.

SAFARI-1 is a 20 MW de-mineralised light water-cooled, beryllium reflected, tank-in-pool-type research reactor situated at Pelindaba West. The reactor is owned and operated by Necsa. It is has been safely operated since 1965.

Scope of Work

The summary of the scope of work is provided on Table 1 below.

The bidder shall, based on the overall objective of the scope of work to be performed and the bidders expertise, identify any obvious omissions from the scope that they believe to be essential for meeting the overall objectives. The bidder shall include this into the price of the work to be performed and submit it for negotiation.

The bidder may comply with all technical and commercial requirements of this bid.

A bid with a deviation shall be considered as an alternative bid. These may be evaluated provided that the main bid complies with all requirements supplied. Hourly labour rates shall include all charges and overheads associated with labour, e.g. bonus, overtime or other incentive payments necessary to attract and retain sufficient workforce during the contract period. It shall include daily allowances, fares, transport, subsistence allowances, condition money, national insurance, sick pay and leave, industrial training levy, redundancy payment contribution, provision for protective clothing-tools-and-equipment.

Pricing/Billing Model.

Table 1: Scope of SAFARI-1 Cooling Tower Fills Replacement

| Item Description | Quantity |
| --- | --- |
| Replacement of Cooling Tower Fills at SAFARI-1 Research Reactor The scope of work includes, but is not limited to: - Pre-Replacement Inspection & Assessment - Visual and dimensional survey of existing fill packs, support grid, drift eliminators, spray headers, and basin components. - Baseline measurement of pressure drop and approach temperature under load. - Identification of structural deterioration (e.g., wood rot in fiberglass-clad beams), fouling, channeling, or biofilm accumulation. - Fill Media Supply - Provision of mesh modules compatible with the tower’s spray-header configuration. - Submission of material certificates or equivalent test reports. - Demounting & Disposal - Safe removal of existing polypropylene fill packs and any compromised support members. - Environmentally compliant disposal of all demounted materials. - Support Grid Refurbishment - Replacement or reinforcement of weakened grid members, load-bearing beams, and retaining clips. - Verification of grid alignment, flatness, and anchor integrity prior to new fill installation. - Fill Installation - Placement of new-mesh modules in proper flow orientation, secured with hangers/clips. - Maintenance of manufacturer has specified clearances for thermal expansion. - Adjustment of spray nozzles to ensure uniform wet-out. - Commissioning & Verification - Wet-out testing to confirm complete coverage and eliminate dry channels. - Post-installation measurements of air-side pressure drop and approach temperature against CTI curves. - Structural and vibration checks under operational conditions. - Documentation & Handover - Submission of method statements, risk assessments, permits, as-installed drawings, installation checklists, and material traceability records. - Delivery of commissioning reports, maintenance/cleaning procedures, and a two-year performance warranty. Service providers must ensure compliance with all relevant local and international standards, site-specific safety requirements, and operational procedures. | 01 |
| Assessment Report (Compulsory): All bidders are required to submit a brief assessment report along with their quotation, following the site briefing. The report must include: - Observations from the site visit. - Recommendations for replacement fill type and installation methodology. - Preliminary evaluation of structural compatibility and risks. - Anticipated timeline for execution. | 01 |

Consulting and project management rates must be aligned to the DPSA rates.

Project Plan and Schedule

The bidder is required to provide a details of delivery of the service required.

Applicable Necsa Policies

The following Necsa policies must be adhered to:

| SHEQ-INS-0100 | Necsa General Safety, Health and Environmental Policy. |
| --- | --- |
| SHEQ-INS-0102 | Necsa Alcohol and Drug Policy. |
| FIN-SCM-PRO-0014 R6 | Procedure for Necsa’s Supply Chain Management Process. |

Applicable Necsa Procedures

Requirements to Access Necsa Site

As Necsa site is a National Key Point, access for tenderers is restricted to the building where the equipment will be housed.

Access to any other area will only be allowed when escorted by a Necsa staff member who is conversant with the security and safety requirements and conditions of the specific area.

The system will be installed in a radiological area (currently white contamination and radiation).

The Necsa Contact Person for this bid will make arrangements for site access after receipt of the following information, which shall be verified on the provision of a South African Identification Document or Driver’s License:

Full names and surname

ID or passport number

Mobile or work telephone number

Employer name and phone number

Vehicle registration number

In the case of foreign citizens, whether visitors to South Africa or residents in the country, a copy or scan of the passport must be submitted at least four (4) weeks before the date required to enter the Necsa site.

Nobody will be allowed to enter the site if they are not in possession of a valid identification document.

Emergencies, Incidents, Accidents

Necsa Health, Safety and Environmental Requirements

The bidder shall submit its company Health, Safety and Environmental (SHE) Policy with the bid. It shall reflect the intention to submit a SHE Plan in relation to the work that will be performed.

Necsa Requirements for Quality

The bidder shall submit its company Quality Policy with its bid. It shall reflect the intention to submit a Quality Plan for ensuring all deliverables comply with the bid specifications.

Necsa Requirements for Project SHEQ

Necsa’s SHEQ Project Approval Process prescribes that all planned projects or project phases be assessed for compliance with Necsa’s SHEQ requirements (SHEQ-INS-0823).

Confidentiality

Bidders shall handle the contents of this document as confidential and private and may not disclose it to a third party or publish it in any way whatsoever.

The signing of Necsa’s Confidentiality agreement will only be required if information of a confidential nature is provided to the bidders. Normally this is only required on entering into a contract, and is not part of the bid documentation.

  - Instruction to Bidders

General

Bidders must familiarise themselves with and comply with the mandatory requirements as required, on the appropriate dates.

Bidder Information

The required information on the bidder must be completed as stipulated in Paragraph 7. Failure to do so may result in disqualification.

Bidder to provide solvency statement signed by a qualified authority that the financial position of the bidder is sound and that the company will be able to mobilise the required resources for the execution of this contract.

The successful bidder shall demonstrate to Necsa that adequate pre-employment screening, including security screening, was performed on their employees/ sub-contractors (staff). Note: this is only applicable to employees or sub-contractors that will be involved in installation, commissioning and training.

The pre-employment screening shall as a minimum be able to:

Authenticate that staff are who they claim to be;

Confirm that staff have a right to work in the RSA;

Obtain written declaration from staff of any criminal record; and

Confirm that staff possesses the relevant qualifications to undertake the duties effectively and safely.

The successful bidder shall deploy competent staff, supervision and labour who are appropriately experienced and trained for the work they are to undertake.

Necsa and its representatives may seek formal assurance to this effect (including a formal audit) at any time during the contract period.

Consortium

Bidders forming part of a Consortium must submit with their bid a copy of their Consortium agreement in a separate attachment. This must clearly indicate:

The form of agreement;

The respective roles and responsibilities of the members;

The identity of the lead company which will have the overall project responsibility;

The name and address of the officer acting as the single point of contact for all communications between NECSA and the tenderers. He shall be fully empowered to act on behalf of all members; and

The member’s agreement to be jointly and severally liable to NECSA for the performance of the contract.

Sub-contracting

Bidders must detail any work to be sub-contracted, and the proposed sub-contractor(s) to be used.

Necsa reserves the right to reject the use of any of the bidder’s proposed subcontractors and any subcontractor proposed during the contract term.

Bidders are advised that Necsa will not respond to any direct approach from potential sub-contractors for details in respect of any particular item in this bid.

Necsa’s Bidding Rights

Necsa reserves the right to:

Extend the closing date;

Verify any information contained in a proposal;

Request documented proof regarding any bid issue;

Give preference to locally manufactured goods or locally sourced services;

Issue follow-up or supplementary questions during the response period or after receipt of tenders;

Make known to all bidders any questions submitted by a bidder including commercial and technical clarifications, together with the answers given to any individual bidder, if it is considered to be relevant to the tender; and

Cancel or withdraw this request for tender as a whole or in part.

As part of the evaluation process, NECSA may require bidders to arrange and/ or participate in one or more of the following:

Interviews with, or written references from, nominated reference;

Reference site visits to the location(s) of nominated reference;

Interviews with bidder personnel who would be involved in the contract execution (day-to-day operations of the site);

Negotiations with the bidders.

The successful bidder shall deploy competent staff, supervision and labour who are appropriately experienced and trained for the work they are to undertake.

Necsa and its representatives may seek formal assurance to this effect (including a formal audit) at any time during the contract period.

Should a Bidder have reasons to believe that the Technical Specification is not open and/ or is written for a particular brand or product; the Bidder shall notify SCM before closing date.

Necsa will not necessarily accept the lowest or any tender, and it reserves the right to accept a tender as a whole or in part.

Necsa shall accept no liability in respect of any loss or damage which may incur in the preparation and admission of this tender.

Bidders shall handle the contents of this document as confidential and private and may not disclose it to a third party or publish in any way whatsoever.

Your designation as a successful bidder creates no legal connection with Necsa until such time as a written agreement/order has been negotiated and conducted with you. This tender document will form part of the agreement.

Bidders shall ensure that they are fully informed on the service which must be rendered and what is required from the tenderer.

The successful bidder will be required to register as a supplier/service provider of Necsa if not already registered as a supplier.

Necsa is under no obligation to award a purchase order as a result of this tender.

Bidding Process

Bidders must familiarise themselves with and comply with the procurement timetable as required, on the appropriate dates. Necsa is unlikely to be able to offer much flexibility to this timetable.

Bidders are required to:

Respond in the English language;

A cover letter on the bidders company letterhead with clear reference to the bid of interest should accompany both the technical and pricing proposals;

All copies of the tender response must have signatures on the Declaration of Compliance to the Necsa Contact Person;

Ensure that all document attachments are clearly marked and bound in a clear, logical and well-marked format with a table of contents ensuring ease of finding individual documents or sections; and

The original document must be signed in black ink by an authorised person, agent or representative and each and every page of the bidding documents shall contain the initials of the same signatory.

All costing and information must be typed and signed by the bidder; no hand written costing/ pricing will be accepted.

All bids in this regard shall be accepted if they have been placed in the tender box by the closing date stipulated. Late bid submissions will not be considered.

Bid Submission Requirements

Bidders must submit their responses and all supporting documents in properly labelled and sealed envelopes clearly as follows:

Technical Proposal – Envelope One must include:

|  | a set of two (2) hard copies (one (1) original and one (1) copies) and one (1) electronic copy (on disk or memory stick). No pricing information must be included in Envelope One. - The physical size of the Response must be limited to 400mm x 100mm x 150mm as the Tender Box aperture cannot accommodate larger sizes. |
| --- | --- |

Pricing Proposal – Envelope Two must include:

|  | a set of two (2) hard copies (one (1) original and one (1) copy) and one (1) electronic copy (on disk or memory stick). All compulsory returnable documents must be included in Envelope Two. The physical size of the Response must be limited to 400mm x 100mm x 150mm as the Tender Box aperture cannot accommodate larger sizes. |
| --- | --- |

- Only international Suppliers shall be permitted to submit their bids through email.

Eligibility Requirements

    - Pre-qualification Criteria

Non-compliance to the following pre-qualification criteria will result in automatic disqualification:

| Item | Requirement | Yes/No |
| --- | --- | --- |
| 1 | Bidder company information (Paragraph 7) |  |
| 2 | Assessment Report (Compulsory): A bidder is required to submit a brief assessment report along with their quotation, following the site briefing. The report must include: - Observations from the site visit. - Recommendations for replacement fill type and installation methodology. - Preliminary evaluation of structural compatibility and risks. - Anticipated timeline for execution. |  |
| 3 | Letter of good standing ( COIDA) |  |
| 4 | CIDB grading 3 ME PE or 4 ME or higher |  |

    - Technical / Functional Evaluation Criteria

| Item | Requirement | Weight | Points | Criteria |
| --- | --- | --- | --- | --- |
| 1 | Track Record Bidder has experience in similar Installation works (attach letters from clients within the last five years or completion certificates). | 20 | 20 | Bidder has executed and completed similar projects to scope of work with a minimum of 3 references |
|  |  |  | 15 | Bidder has executed and completed similar projects to scope of work with a minimum of 2 references |
|  |  |  | 10 | Bidder has executed and completed similar projects to scope of work with a minimum of 1 reference |
|  |  |  | 0 | Bidder has not executed and completed similar projects |
| 2 | Clarity of method for site assessment, thermal/hydraulic modeling, selection of fill type (mesh vs. film), customization to site conditions, and prototype validation. (Bidder to submit method statement) | 25 | 25 | Bidder can demonstrate full compliance with site assessment methodology of thermal/ hydraulic modelling, selection of fill type (mesh vs. film), customization to site conditions, and prototype validation to be used on the inspection and test activities |
|  |  |  | 10 | Bidder can demonstrate partial compliance to site assessment methodology of thermal/ hydraulic modelling, selection of fill type (mesh vs. film), customization to site conditions, and prototype validation to be used on the inspection and test activities |
|  |  |  | 0 | Bidder cannot demonstrate full compliance to site assessment methodology of thermal/ hydraulic modelling, selection of fill type (mesh vs. film), customization to site conditions, and prototype validation to be used on the inspection and test activities |
| 3 | Lead Time to Deliver up to 5 days per cell per one shutdown (Evaluation will consider the supplier’s proposed schedule for completing the full cooling-tower-fill replacement process—comprising site assessment, removal of old fills, supply of new fills, installation, testing and commissioning, and final reporting—during planned shutdown periods. Work must include the completion of fills for two cooling ponds during the designated long shutdown, with the remaining pond to be completed in the following scheduled shutdown.) ( Bidder to submit lead time) | 25 | 25 | Completion within 5 days per cell |
|  |  |  | 0 | Lead time not stated and or lead time above 5 days per cell |
| 4 | QMS (Adherence to industry, inclusion of certified test reports, material traceability, and QA/QC procedures). Bidder to submit proof of Quality Management System (QMS) Certificate | 10 | 10 | Bidder has Quality management system (ISO 9001) or equivalent system in their operation |
|  |  |  | 0 | Bidder does not have Quality management system (ISO 9001) or equivalent system in their operation |
| 5 | Specification (Compliance) | 10 | 10 | Bidder quoted as per Section 2 (Scope of work) above |
|  |  |  | 0 | Bidder did not comply as per Section 2 (Scope of work) above |
| 6 | Installation & After-Sale Support (Bidder to submit a 12 month warranty letter for the works) | 10 | 10 | Full Compliance |
|  |  |  | 0 | Non-Compliance |
| Total |  | 100% |  |  |

    - Preference points and Price evaluation

      - Each tender that obtained the minimum qualifying score for functionality must be evaluated further in terms of price and the preference point system.

    - 80/20 preference point system for acquisition of goods or services for Rand value equal to or above R30 000 and up to R50 million

      - The following formula must be used to calculate the points out of 80 for price in respect of a tender with a Rand value equal to or above R30 000 and up to a Rand value of R50 million, inclusive of all applicable taxes:

Ps=801-Pt-PminPmin

Where-

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration; and

Pmin	=	Price of lowest acceptable tender.

      - The following table must be used to calculate the score out of 20 for specific goal:

| Ownership | Number of Points | Evidence to be by the supplier to substantiate the points allocated per specific goal |
| --- | --- | --- |
| 100% black ownership | 20 | BBBEE certificate/sworn affidavit or the company registration documents, which contain the % of ownership or shareholding certificate with the % of shares owned by the individuals. |
| At least 51% black ownership | 15 |  |
| Less than 51 % black owned but more than 40% black ownership. | 10 |  |
| Less than 40% black ownership and more than 0% black ownership. | 05 |  |
| 0% black ownership | 0 |  |

      - A tenderer must submit proof of its B-BBEE status level of contributor or proof of ownership to indicate company ownership (Specific goal).

      - A tenderer failing to submit proof of specific goal, may not be disqualified, but:

        - May only score points out of 80 for price; and

        - Score 0 points out of 20 for specific goal

      - The points scored by a tenderer for a specific goal must be added to the points scored for price and the total must be rounded off to the nearest two decimal places.

      - Subject to sub regulation 4(4), the contract must be awarded to the tenderer scoring the highest points.

      - If the price offered by a tenderer scoring the highest points is not market-related, the organ of state may not award the contract to that tenderer.

      - The organs of state may:

        - Negotiate a market-related price with the tenderer scoring the highest points or cancel the tender;

        - If the tenderer does not agree to a market-related price, negotiate a market-related price with the tenderer scoring the second highest points or cancel the tender;

        - If the tenderer scoring the second highest points does not agree to a market-related price, negotiate a market-related price with the tenderer scoring the third highest points or cancel the tender; or

        - If a market-related price is still not agreed the organ of state must cancel the tender.

  - Returnable documents Checklist

Please indicate that all compliance documents are included in this bid by ticking the boxes in the checklist below. Responses received without all required documents may be disqualified. Please also indicate where additional documents have been submitted to the main tender response.

| No | Document to be submitted | Non-submission may result in disqualification | YES/NO |
| --- | --- | --- | --- |
| 1 | Necsa Safety, Health and Environmental Requirements for contractors | Complete and sign the supplied pro forma document |  |
| 2 | Necsa Alcohol and Drug Control Policy |  |  |
| 3 | - Necsa Confidentiality Agreement. | Complete and sign the supplied pro forma document |  |
| 4 | - Necsa Terms and Conditions of Contract. | Complete and sign the supplied pro forma document |  |
| 5 | - SBD 1 Invitation to Bid. | Complete and sign the supplied pro forma document |  |
| 6 | - SBD 3.1 Pricing Schedule – Firm Prices. | Complete and sign the supplied pro forma document |  |
| 7 | - SBD 4 Declaration of Interest | Complete and sign the supplied pro forma document |  |
| 8 | SBD 6.1 Preference points claim form in terms of the preferential procurement regulations 2022 | Complete and sign the supplied pro forma document |  |
| 9 | SBD 7.1 Contract Form – Purchase of Goods/ Works | Complete and sign the supplied pro forma document |  |
| 10 | Proof of consortium/joint venture agreement if applicable. | Written undertaking of consortium commitment between main bidder and partner(s)/subcontractor(s). (This must be signed by all parties) |  |
| 11 | Tax pin issued by SARS |  |  |

Bidder Information

The following information must be completed. Failure to do so may result in disqualification.

| BIDDER INFORMATION |  |
| --- | --- |
| Bidder Name: |  |
| Registration Number: |  |
| VAT Registration Number: |  |
| Bidding Structure (Individual, Joint Venture, Consortium, Sub-contractors) |  |
| Contact Person: |  |
| Telephone Number: |  |
| Fax Number: |  |
| Email Address: |  |
| Postal Address: |  |
| Physical Address: |  |

| HAS A TAX CLEARANCE AND PIN BEEN SUBMITTED? |  |  | Yes |  |  | No |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| IF YES, PLEASE INDICATE THE EXPIRY DATE | D | D | M | M | Y | Y | Y | Y |
| IS A VALID BBBEE CERTIFICATE BEEN SUBMITTED? |  |  | Yes |  |  | No |  |  |
| IF YES, PLEASE INDICATE THE EXPIRY DATE | D | D | M | M | Y | Y | Y | Y |

If bidding as a Joint Venture, Consortium or Sub-Contractors, complete the following company information.

| Name of Company (1): |  |
| --- | --- |
| Registration Number: |  |
| VAT Registration Number: |  |
| Contact Person: |  |
| Telephone Number: |  |
| Fax Number: |  |
| Email Address: |  |
| Postal Address: |  |
| Physical Address: |  |

| HAS A TAX CLEARANCE AND PIN BEEN SUBMITTED? |  |  | Yes |  |  | No |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| IF YES, PLEASE INDICATE THE EXPIRY DATE | D | D | M | M | Y | Y | Y | Y |
| IS A VALID BBBEE CERTIFICATE BEEN SUBMITTED? |  |  | Yes |  |  | No |  |  |
| IF YES, PLEASE INDICATE THE EXPIRY DATE | D | D | M | M | Y | Y | Y | Y |

| Name of Company (2): |  |
| --- | --- |
| Registration Number: |  |
| VAT Registration Number: |  |
| Contact Person: |  |
| Telephone Number: |  |
| Fax Number: |  |
| Email Address: |  |
| Postal Address: |  |
| Physical Address: |  |

| HAS A TAX CLEARANCE AND PIN BEEN SUBMITTED? |  |  | Yes |  |  | No |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| IF YES, PLEASE INDICATE THE EXPIRY DATE | D | D | M | M | Y | Y | Y | Y |
| IS A VALID BBBEE CERTIFICATE BEEN SUBMITTED? |  |  | Yes |  |  | No |  |  |
| IF YES, PLEASE INDICATE THE EXPIRY DATE | D | D | M | M | Y | Y | Y | Y |

| Name of Company (3): |  |
| --- | --- |
| Registration Number: |  |
| VAT Registration Number: |  |
| Contact Person: |  |
| Telephone Number: |  |
| Fax Number: |  |
| Email Address: |  |
| Postal Address: |  |
| Physical Address: |  |

| HAS A TAX CLEARANCE AND PIN BEEN SUBMITTED? |  |  | Yes |  |  | No |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| IF YES, PLEASE INDICATE THE EXPIRY DATE | D | D | M | M | Y | Y | Y | Y |
| IS A VALID BBBEE CERTIFICATE BEEN SUBMITTED? |  |  | Yes |  |  | No |  |  |
| IF YES, PLEASE INDICATE THE EXPIRY DATE | D | D | M | M | Y | Y | Y | Y |

| I CERTIFY THAT THE INFORMATION PROVIDED ON THIS FORM IS TRUE AND CORRECT. I FURTHER ACCEPT THAT, IN ADDITION TO CANCELLATION OF CONTRACT, ACTION MAY BE TAKEN AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE. |  |  |  |  |
| --- | --- | --- | --- | --- |
| SIGNATURE OF BIDDER (DULY AUTHORISED) |  |  | DATE |  |
| CAPACITY UNDER WHICH THIS BID IS SIGNED |  |  |  |  |