Specification to install the wet wall and exhaust pump

| Item and description | Specifications | Quantity |
| --- | --- | --- |
| Wet wall, with wall | Height = 2 m x length 8 m | 1 |
| Pool Pump 1.1kw with a floating switch | Motor speed 2840 rpm | 1 |
| Duty Exhaust Fan with Automatic Shutter and supporting frame |  | 2 |
| Under ground tank | 250 - 300 L | 1 |
| PVC pipe 32 mm to pump the wet wall, and 110 mm return to the tank |  |  |
| PVC elbows | 32 mm | 10 |
| PVC elbows | 110 mm | 2 |
| Wet wall gutters | Aluminium 8 m | 2 |
| Cable | 60 m | 1 |
| Circuit breakers |  |  |
| Thermostat |  | 2 |
| Valve | 32 mm | 2 |
| Cage for the pump and a locking padlock, on a ground slab |  |  |

Figure 1 Pool pump

Figure 2 Exhaust and wet wall