AGRICULTURAL RESEARCH COUNCIL

SPECIFICATION FOR EMERGENCY ROOF REPAIRS AT BIOSYSTEMATICS

Provide all work needed to do roof repairs at PHP Roodeplaat

COMPULSORY REQUIREMENTS

- 1 GB CIDB Grading or higher

| Item | Description | Price per unit |  |  | Total |
| --- | --- | --- | --- | --- | --- |
| 1 | Repair of a leak on the roof, supply and install new fascia board and painted seal with waterproofing and the gutters |  |  |  |  |
| 2 | Install new ceiling boards |  |  |  |  |
| 3 | Rubble removal |  |  |  |  |
|  |  |  | R |

Site briefing is compulsory

Winning bidders to source SABS approved material

Approval of material by ARC Project Manager to be sought beforehand.