DEPARTMENT OF SOCIAL DEVELOPMENT

MS. N.P NTOMBELA

TENDER NUMBER:	FSDSD (T) 004/2024

TENDER DOCUMENTATION

APPOINTMENT OF A SUITABLY QUALIFIED CONTRACTOR, JOINT VENTURE OR CONSORTIUM FOR:

1) The construction of a guardhouse as per building plan at Matete-Matches Secure Center in Kroonstad.

2) The installation of paving and island at Matete-Matches Secure Center in Kroonstad.

3) The Supply and erection of a steal canopy at Matete-Matches Secure Center in Kroonstad.

4) The Supply, Installation and Commissioning of one (1) New Air Conditioning Unit in the Guard House.

5) The Supply, Delivery, Installation and Connection of the Electrical Components in a new Guard house at Matete-Matches Secure Centre in Kroonstad.

6) The Supply and Erection of 1,2km Long x 3000mm High Clear-Vu Fence at Matete-Matches Secure Centre in Kroonstad

FEBRUARY 2025

| The Department of Social Development 14 Merriam Makeba Street Civilia Building P.O. Box 690 Bloemfontein 9301 Contact: |  |
| --- | --- |
| Directorate: Supply Chain Management Contact Person: Name: Mr. Patrice Nkhatho Telephone: 051–409 0535 Email: Patrice.Nkhatho@fssocdev.gov.za | Directorate: Infrastructure Unit Contact Person: Name: Mr. Paul Mcina Telephone: 084 646 9090 Email: mcinachester@gmail.com |
| NOTE: ALL QUERIES MUST BE SUBMITTED IN WRITING ON THE EMAILS PROVIDED ABOVE AND MUST AT ALL TIMES BE DIRECTED TO THE OFFICIALS LISTED ABOVE |  |
| TENDERER (COMPANY NAME): ………………………………………………………………………………………………………………………..………………..…………………………………………………………………………………………………………..……..……………………………………………………………………………………………………………………………………………..…………………..……………………………………………………..……………………………………………………………………..…………… |  |
| PRICES INCLUSIVE OF VALUE ADDED TAX: - Total price in numbers: R……………………………………………………………..………………………………………………………………………... (b) Total price in words ………………………………………………………………………………………………………………………..………………..…………………………………………………………………………………………………………..……..……………………………………………………………………………………………………………………………………………..…………………..……………………………………………………..……………………………………………………………………..…………… |  |
| CIDB CRS Number: ____ |  |

PART E1:  TENDERING PROCEDURES

T1.1 - TENDER NOTICE AND INVITATION TO TENDER

TENDER NO: DPWFS (T) 002/2024

DESCRIPTION: APPOINTMENT OF A SUITABLY QUALIFIED CONTRACTOR, JOINT VENTURE, OR CONSORTIUM FOR THE CONSTRUCTION, INSTALLATION, AND SUPPLY OF VARIOUS SERVICES AT THE MATETE-MATCHES SECURE CENTER IN KROONSTAD

T1.1 Tender Notice and Invitation to Tender

The Department of Social Development, invites suitably qualified contractors, joint venture, partnership or consortium for the construction, installation, and supply of various services at the Matete-Matches Secure Center in Kroonstad. Tenderers should have a CIDB contractor grading designation of 4SQ or higher. Bids will be evaluated according to the 80/20 points system

The Department of Social Development, Free State Provincial Government, invites Expressions for the following: Project title:; APPOINTMENT OF A SUITABLY QUALIFIED CONTRACTOR, JOINT VENTURE, OR CONSORTIUM FOR THE CONSTRUCTION, INSTALLATION, AND SUPPLY OF VARIOUS SERVICES AT THE MATETE-MATCHES SECURE CENTER IN KROONSTAD. Expression No:; FSDSD (T) 004/2024. Advertising date:; 21 February 2025; Closing date:; 13 March 2025. Compulsory Site Briefing: Date: Time:; 28 February 2025 11h00; Venue:; Matete Matches Secure Care Centre No. 39 Smaldeel Road, Maokeng, Kroonstad (Opposite Boitumelo Hospital). Closing time:; 11:00am; Validity period; 120 Days (CALENDAR DAYS). COLLECTION OF TENDER DOCUMENTS - Bid documents will be available from 24 February 2025 from 08h00 to 15h30 at the Department of Social Development SCM Offices, Room 608, Sixth Floor, Civilia Building, 14 Merriam Makeba Street, Bloemfontein. However, a non-refundable tender / bid deposit of R1 282.00 is payable on collection of the bid documents. Payments to be deposited to the following banking details: Account : Nedbank Limited Tender Number : FSDSD (T) 004/2024 Method of payment : Electronic transfer Account number : 233439189 Banking Details: : FSPG Social Development Branch Code : 198765 - Bids are to be completed in accordance with the conditions and bid rules contained in the bid documents. Bid documents must be properly indexed and neatly bound. Tenders must be deposited in the tender box situated on the Entrance Foyer, Civilia Building Ground Floor (bid box situated at ground floor), 14 Merriam Makeba Street, Bloemfontein, 9300. Each tender must be submitted in a separate, clearly marked sealed envelope and must be submitted by no later than 11:00 am on 13 March 2025. - Please note that tenders, which are not deposited in the relevant tender box and / or are deposited after the closing date and time, will not be considered. Faxed tenders will not be considered. EVALUATION CRITERIA

- EVALUATION CRITERIA - This bid shall be evaluated in three stages: - On stage one tenders will be evaluated on compliance with mandatory requirements. - On stage two tenders will be evaluated on functionality as stipulated on the expression of interest - On stage three tenders will be evaluation on price and specific goals - The 80/20 preference point system will be implemented as follows: Price 80 points Specific Goals 20 points Total points 100 points - Stage one: Compliance with Mandatory Requirements - Provide a unique security Personal Identification number (PIN) issued by the South African Revenue Services (where Consortium / Joint Venture / Sub-contractors are involved, each party to the association must submit a separate or a unique security personal Identification number). - Provide a valid Proof of Registration on the National Treasury`s Central Supplier`s Database (Provide valid MAAA number / CSD Registration Report). - Tenderers should have a CIDB contractor grading designation of 4SQ or higher. A valid CIDB CRS number must be provided as proof of active membership. - A valid Letter of Good Standing issued by the Department of Labour. - Stage one: Non – Mandatory Requirements required for Evaluation Purposes - The department reserves the right to require bidders to attend mandatory clarification meetings for any project which will be implemented under these framework contracts. - Duly completed and signed SBD 6.1 – Preference points claim form in terms of the Preferential Procurement Regulations 2022.

  - Stage two: Evaluation on Functionality

    - The minimum score for Functionality which each bidder must obtain is 70 points out of 100 points. Evaluation on price will be done for each individual project on “as and when” basis, based on the bills of quantities provided.

| N0 | CRITERION | GUIDELINE FOR CRITERION | MAXIMUM SCORE |
| --- | --- | --- | --- |
| 1 | CAPACITY OF THE CONTRACTOR TO EXECUTE THE WORKS | Capacity of the Contractor to execute the works. In order to qualify here, the Contractor will have to demonstrate his or her capacity / ability to execute the works needed in construction projects of a similar nature, which were awarded and completed within the last 3 years. - 3 Projects from R3 million or above -15 Points - 2 Projects from R1 million to R3 million– 10 Points - 1 Project from R1 to R1 million – 05 Points Note: Only Contractor from CIDB 4SQ or higher Supporting documents required to support the claims above. (Corresponding orders/appointment letters, completion certificates and reference letters for projects must be submitted as proof to support claims made above). Bidders must submit all the requested documents as proof in order to be awarded the points. Notes: - All appointment letters, completion letters must be on the letter head of the employer which is dated, signed and stamped. - Submission of completion certificates without corresponding appointment letters or the submission of appointment letters without corresponding completion certificates will not be considered for scoring purposes, therefore points will be forfeited. - The submission of practical completion certificates without corresponding appointment letters and completion certificates will not be accepted. - Failure to complete and sign schedule of the Tenderer’s Experience will result in the bidder forfeiting these points. - Only projects awarded and completed in the last three (3) years will be considered. | 15 |

| 2 | QUALIFICATIONS AND EXPERIENCE OF KEY STAFF | - Construction manager should preferably be in possession of a relevant built environment qualification at NQF Level 5, equivalent or higher. (05 points) Scoring of post registration experience: - 10 to 12 years – 05 points - 7 to 9 years – 04 points - 4 to 6 years – 03 points - 2 to 3 years – 02 points - 0 to 1 years – 01 points Note: - The bidder must complete the attached Resource Information Sheet, failure to do so and to provide valid supporting documents will result in the bidder forfeiting these points. - Only post registration experience will be evaluated. - The bidder has the responsibility to ensure that they maintain within their employment a person/s of similar qualification, and experience as to the one they submitted their details for this bid. - The bidder further has the responsibility to notify the employer should this resource no longer be available for this contract and make an equivalent replacement within a period of one month. - The department will consider it as breach of contract should the contractor not adhere to this condition throughout the duration of this contract |  | 15 |  |
| --- | --- | --- | --- | --- | --- |
|  |  | - Health and Safety Officer should preferably be in possession of a relevant built environment qualification at NQF Level 5, equivalent or higher. (05 points) Scoring of post registration experience: - 4 to 5 years – 05 points - 3 to 4 years – 04 points - 2 to 3 years – 03 points - 1 to 2 years – 02 points - 0 to 1 year – 01 points Note: - The bidder must complete the attached Resource Information Sheet, failure to do so and to provide valid supporting documents will result in the bidder forfeiting these points. - Only post registration experience will be evaluated - The bidder has the responsibility to ensure that they maintain within their employment a person/s of similar qualification, and experience as to the one they submitted their details for this bid. - The bidder further has the responsibility to notify the employer should this resource no longer be available for this contract and make an equivalent replacement within a period of one month. - The department will consider it as breach of contract should the contractor not adhere to this condition throughout the duration of this contract. |  |  |  |
|  |  | - Construction Supervisor with a relevant built environment qualification at NQF Level 5 (05 points) Scoring of post qualification experience: - 10 to 12 years – 05 points - 7 to 9 years – 04 points - 4 to 6 years – 03 points - 2 to 3 years – 02 points - 0 to 1 year – 01 points Note: - The bidder must complete the attached Resource Information Sheet, failure to do so and to provide valid supporting documents will result in the bidder forfeiting these points. - Only post qualification experience will be evaluated - The bidder has the responsibility to ensure that they maintain within their employment a person/s of similar qualification, and experience as to the one they submitted their details for this bid. - The bidder further has the responsibility to notify the employer should this resource no longer be available for this contract and make an equivalent replacement within a period of one month. - The department will consider it as breach of contract should the contractor not adhere to this condition throughout the duration of this contract. |  |  |  |
| 3 | METHODOLOGY AND APPROACH: IT MUST CLEARLY ADDRESS THE MANAGEMENT OF THE LISTED RESOURCS | FINANCES - Confirmation of the availability of cash flow or access to capital at least R 1 million - Surety from credit provider registered with National Credit Regulator of at least R1 million and above (for one of the above – 20 points) | 20 |  |
|  |  | PROJECT MANAGEMENT - Provide a detailed works schedule with clear timeframes. | 10 |  |
|  |  | STAKEHOLDER MANAGEMENT - How will stakeholders be identified and engaged. - Communication with stakeholders. - Stakeholders register management. | 10 |  |
|  |  | EQUIPMENT AND LABOUR - Compliance with Health and Safety Act. (02 points) - List of key personnel and how they will be sourced. (02 points) - List of all major equipment to be used and how it will be sourced. (02 points) - Schedule of engagement which is aligned to the main programme. (02 points) - Complete schedule of plant and equipment. (02 points) | 10 |  |
|  |  | HEALTH AND SAFETY MANAGEMENT - Compliance with the Act. - OHS Policy. - How will the legal appointment be made? | 10 |  |
| 4 | QUALITY MANAGEMENT | QUALITY ASSURANCE (05 points) - How will quality of material be assured before procurement, sourcing of materials from manufactures and suppliers including compliance with minimum threshold for local content and production. - How will quality of material be assured after procurement, i.e. inventory management and storage. - Management of Specialist Contractors. | 10 |  |
|  |  | QUALITY CONTROL (05 points) - Demonstrate the control of quality in the following: - Management and control of key staff. - Management and control of general labourers. - Engagement with the Professional Team. - Management of Site instructions. |  |  |
| TOTAL |  |  | 100 |  |

  - Stage three: Evaluation on price and specific goals

    - Only bidders who score the minimum number of points for functionality will be considered for evaluation on Price and Specific Goals

    - The 80/20 preference point system will be implemented as follows:

- Price			80 points

- Specific Goals 	20 points

Total points		100 points

SCOPE OF WORK /

BILLS OF QUANTITY

BILL OF QUANTITIES

GENERAL PRESCRIPTIONS

INDEX OF CLAUSES

1.	Contract conditions for building services

2.	Checking pages of text

3.	Site inspection

4.	Tender amount

5.	Provisions in tenders

6.	Guarantees

7.	Tests

8.	Maintenance

9.	Provision for contract-price adjustments

10.	Occupational Health and Safety Act, 1993

11.	Use of water and electricity

12.	Unauthorized persons

13.	Site

14.	Interim taking possession

15.	Disturbance

16.	Site meetings and procedures

17.	Progress schedule

18.	Measurements

19.	Metric units

20.	Standard specification

21.	Alteration and old material

22.	Temporary use of material

23.	Rubble

24.	Implements, etc.

25.	Loss

26.	Sheds

27.	Protection of natural vegetation

28.	Protection of buildings

29.	Alternative offer

30.	Financial report

31.	Payment of value added tax by contractor's not stationed in the Republic

32.	Annexure AA

33.	Annexure 1

34.	Reverse Side of Annexure 1

GENERAL PRESCRIPTIONS

1	CONTRACT CONDITIONS FOR BUILDING SERVICES

The official tender form of the Free State Provincial Government, form VST 8.1 as well as the Conditions of Contract: Building, form ST 49, clauses 1 to 29 is attached to this specification document and therefore forms part of the tender documentation. These conditions will be applied mutatis mutandis to this contract.

2	CHECKING OF PAGES AND TEXT

Before the tenderer submits his tender, he should check the number of pages and if any are found to be missing or duplicated, or if the figures or writing is illegible, or if the schedules and/or drawings contain any errors, he/she shall immediately contact the Chief Director of the Department of Public Works (Mechanical Engineering Sub directorate), Bloemfontein for rectification or an explanation/clarification. The Provincial Government shall under no circumstances accept any liability if a dispute in this regard should arise subsequent to the submission of tenders.

3.	SITE INSPECTIONS

The tenderer shall inspect and examine the site and its surroundings and satisfy himself before submitting his tender as to the nature of the building complex so far as is practicable, the form and nature of the site, the quantities and nature of the work, the means of access to the site, the accommodation he/she may require and in general shall himself obtain all necessary information as to the risks, contingencies and other circumstances which may influence or affect his tender. It remains the tenderer's responsibility to arrange for labour, transport, off loading, storage and safe keeping of the material, workshop provisioning, scaffolding, equipment and tools required for the execution of the contract in general. No claims arising (moneywise or time) from a lack of knowledge in this regard will be considered.

The tenderer shall be deemed to have satisfied himself before tendering as to the correctness and sufficiency of his tender for the works, rates and prices he/she has stated in the schedules which rates and prices shall cover all his/her obligations under the contract for the proper completion of the works.

4.	TENDER AMOUNT

It is essential that only materials and equipment of South African origin shall be used, except in exceptional circumstances, in which case special approval for the use of imported items shall be obtained from the Chief Director, Department of Public Works. Tenderers shall state clearly in the submitted tenders which imported items are offered

The tender amount shall include the supply, delivery, installation and commissioning costs of the full equipment specified herein.

Tenderers are expected to make provision for Value Added Tax (VAT) in their tender prices, in other words it shall be assumed that the tender price includes Value Added Tax.

All quoted prices shall be fixed prices in South African currency. Prices shall be filled in as indicated on the price schedule supplied. Tenderers are expected to insure themselves against all risks. The tenderer will be responsible for any change in the cost of material, insurance, shipment and rail age tariffs that may be imposed. If prices are not fixed, the attached form VST 10 must be completed and included in the tender.

The tender amount offered official tender form VST 8.1, will be accepted as the correct amount. If a calculation error is made by the tenderer his/her item prices will be adjusted in deliberation with the Department of Public Works so that the total tender price of the schedule of quantities will be the same as the tender amount. The Chief Directorate of Works will be free to make individual adjustments in the schedule of quantities to eliminate errors, without changing the tender amount.

Tenderer's tendering on a basis of "IN ENTREPOT PRICES", will furnish prices with import-duty and without import-duty on the tender documents in respect of the items that may be involved. Such items will be submitted on a separate annexure together with the official tender form.

5.	PROVISIONS REGARDING TENDERS

Tenderers are requested to submit their tender on the official form provided for this purpose.

With regard to any supplementary or explanatory documentation submitted on the tenderer's writing paper, tenderer's are reminded that if the paper contains any special contradictory conditions to the Department's conditions or if the departmental tender forms have been amended in any way, such tenders shall be deemed to be tenders with provisions and may subsequently be declared invalid.

It shall therefore be assumed that the tender fully comply with the detail, quality, quantity, performance and needs as prescribed in the specification.

6.	SURETY

The contractor must provide one of the following:

(a)	A cash deposit amounting to ten per cent (10%) of the contracted amount;

OR

(b)	a guarantee issued by a recognized commercial bank or building society situated within the borders of the Republic of South Africa in the sum of 10% of the contracted amount;

OR

(c)	a guarantee in the sum of 10% of the contracted amount by a registered insurance company authorized to practice guarantee business in terms of Article 20(2)(b) of the Insurance Act.  Submission of proof of registration and that the company may practice guarantee business, must be provided to the Department.  All stamp duties must be paid and the application must be completed on the department's official form.

7.	TESTS

The contractor will supply all essential staff, testing instruments, tools, and equipment for testing. On completion of the work, a full-load test will be carried out for a sufficient duration of time to determine the satisfactory working of the installation. During this period the work will be inspected and the contractor will rectify any deficiencies that may be found to the satisfaction of the representative/agent.

8.	MAINTENANCE

In supplementation of clauses 21(2), 22(1), 22(3) of the (ST 49) the contractor will make all the necessary adjustments for the correct working of the installation for a period of TWELVE (12) months after the date on which the installation was handed over (First Delivery in terms of ST 49) to the Department and to repair all defects that may occur during this period.  If the installation becomes out of order during this period for a reason the contractor may be held liable for or if defects occur in the installation, the contractor will be notified and he/she will take immediate steps to rectify such deficiencies or to make the necessary adjustments to the satisfaction of the representative/agent.

If such interruptions occur so frequently that they become unacceptable, or if the equipment otherwise appears to be acting unsatisfactory during the said 12 months, the contractor, if so requested by the representative/agent, shall at his own cost replace the entire apparatus or parts thereof as deemed necessary by the representative/agent by apparatus specified by the representative/agent. If such apparatus is supplied, the guarantee period will be extended to ensure the satisfactory working of the appropriate apparatus/equipment.

9.	PROVISION FOR CONTRACT-PRICE ADJUSTMENTS

The following terms shall apply in respect of the application of stipulations concerning the adjustment of contract price.

If the contractual period (period or term of completion) is six (6) months or less, the contracted price shall be fixed irrespective of the amount concerned and no price adjustments shall be considered.

With regard to all contracts of which the cost is fifty thousand rand (R 50 000.00) and less, the contracted price shall be fixed irrespective of the contractual period involved.

The contracted price adjustment stipulation shall only apply to contracts of which the value is more than fifty thousand rand (R50 000.00) and of which the contractual period is longer than six (6) months.

Where contracts comply with the requirements of the aforementioned paragraph, the contract shall be subjected to adjustments in accordance with the BNAR Haylett contracted price adjustment provision formula as issued by the Building Industry Board.

If the above is not possible, the adjustment shall be made as follows:

- IMPORTED MAJOR EQUIPMENT/PLANT

Claims in respect of variation in the exchange rate or the increase in price of imported major equipment shall be considered only if the necessary acceptable documentary proof is submitted. Tenderer's shall indicate on the tender which equipment will be imported, as well as the current exchange rate at the time of the tender (see Annexure AA) and all information required and set out in the manual for the practical application of the price-adjustment formula: B.N.A.R. (Haylett).

B. OTHER MAJOR EQUIPMENT

Price adjustments for all other major equipment not covered by the B.N.A.R. (Haylett) formula or the abovementioned clause (A) shall be calculated according to the SEIFSA formula.

10.	OCCUPATIONAL HEALTH AND SAFETY ACT, 1993

The provision and installation of the work must be in accordance with the conditions as set out in the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (as amended) and shall exempt the Chief: Department of Public Works from any claims in this regard.

All electrical work for the mechanical installation shall comply with the Electrical Installation Regulations of the Occupational Health and Safety Act, 1993. A contractor as defined in regulation 2 shall carry out the electrical work according to the requirements specified in Regulation 3 of the said regulations. On completion the contractor shall furnish the Department with a certificate of compliance (Annexure 1). No completion certificate shall be issued unless the Department is in possession of the said certificate of compliance.

11.	USE OF WATER, ELECTRICITY

- WATER

Tenderers should note that one of the following sub clauses shall apply to this contract:-

- On serviced sites the contractor may use water free of charge, subject to the following:-

(1)	All the necessary temporary plumbing, connections, etc. shall be done by the Tenderer’s own expense and removed on completion.  The site shall be left in the same condition as it was when originally handed over to him.

(2)	Before submitting his tender, the tenderer shall acquaint himself with the extend and availability of the water supply on the site. If the existing supply is found to be insufficient, any shortage shall be supplemented by the contractor at his own expense.

(3)	Water supplied free of charge to the contractor, shall only be used for execution of the work and under no circumstances for any other of the work for any other purpose. Strict precautions shall be maintained at all times to prevent any waste.

(4)	The occupant(s) of the site shall at all times be given preference with regard to the water supply and the contractor shall be held responsible for the unimpeded supply to existing buildings, sports grounds, etc.

(5) No monetary claim and/or claim in respect of the prolongation of time shall be conceded if the water supply does not at all times meet the contractor's requirements.

- On unserviced sites, subdivisions of sites, etc.

In such cases the tenderer shall make provision in his tender for the supply of water, make arrangements for connections, do the necessary plumbing, etc. and bear all concomitant costs himself. The Department shall accept no liability for such temporary arrangements.

- LIGHTS AND POWER

Tenderers must note that one of the following sub clauses shall apply to the contract:

(a)	On serviced sites the contractor may use the electricity free of charge, subject to the following:

(1)	All the essential connections, supply and installation of connection and safety apparatus, wiring, etc. shall be done by the tenderer at his/her own expense and removed on completion. The site shall be left in the same condition as it was when originally handed over to him.

(2)	The above-mentioned temporary work shall be performed by a qualified electrician according to the requirements and to the total satisfaction of the Department. The contractor shall at all times comply with all statutory requirements, safety measures, etc. that may apply to the distribution and consumption of electricity, as well as the requirements and obligations that may apply to the Department and shall exempt the Department from any claims that may arise from the consumption of electricity from existing supplies.

(3)	Before submitting his tender, the tenderer shall acquaint himself with the extend and availability of the electricity supply to/on the site. If the existing supply is found to be insufficient, any shortage shall be supplemented by the contractor at his own expense.

(4)	Electricity supplied free of charge to the contractor, shall only be used for execution of the work and under no circumstances for any other of the work for any other purpose. Strict precautions shall be maintained at all times to prevent any waste.

(5)	The occupant(s) of the site shall at all times be given preference with regard to the electricity supply and the contractor shall be held responsible for the unimpeded supply to existing buildings, sports grounds, etc.

(6)	No monetary claim and/or claim in respect of the prolongation of time shall be conceded if the electricity supply does not at all times meet the contractor's requirements.

- On unserviced sites, subdivisions of sites, etc.

In such cases the tenderer shall make provision in his tender for the supply of electricity, make arrangements for connections, erect the necessary temporary lines, etc. and bear all costs himself. The Department shall accept no liability for such temporary arrangements.

12.	UNAUTHORISED PERSONS

The contractor shall at all times keep unauthorized persons strictly away from work. Under no circumstances may any person, except guards, be allowed to sleep or keep any possessions on the building site during the construction period or thereafter. The contractor shall supply the necessary huts and/or shelters for the guards.

13.	SITE

The site for this contract is as described in the technical section of the tender. The space to be occupied by the contractor shall be pointed out to him either clearly on the site plan or during handing over of the site and he shall under no circumstances be allowed to extend his operations outside the said area.

14.	INTERIM OCCUPATION

The tenderer should note that, if a work sequence programme is determined by the representative for completion and handing over, whether for sections, parts, single rooms, etc., these shall be completed accordingly for handing over to the institution(s) involved for interim occupation.

Such interim occupation procedures shall not be regarded as first occupation/handing over and thus the retention period shall not come into operation, unless otherwise agreed upon. On handing over of the sections, parts, rooms, etc. these shall be inspected by the representative(s) of the Department and head(s) of the institution(s) concerned in the presence of the contractor and all uncompleted and/or unacceptable work shall be properly recorded as work outstanding for completion and/or rectification at a later date.

Occupation according to the contract provisions shall be taken on actual completion of the work as a whole, including the items recorded at sections, parts, etc. occupied temporarily. The maintenance period according to the contract conditions shall only commence on completion of the entire contract.

Any damages or wear and tear that may be found in the interim occupied sections, parts, etc., excluding recorded items and/or latent defects, shall be for the account of the Department and additional remuneration shall be paid for if repaired and/or replaced under this contract.

15.	DISTURBANCE

THE EXISTING BUILDINGS ON THE SITE WILL BE IN USE DURING EXECUTION OF THIS CONTRACT AND THE CONTRACTOR SHALL MAKE ALLOWANCE FOR THE CONVENIENCE AND SAFETY OF THE OCCUPANTS.

The contractor shall perform all work with as little noise and mess as possible and with the minimum disturbance for adjacent and existing buildings and their occupants.  He shall keep the site, structure, etc. sufficiently wet at his own expense during the operations to prevent dust and shall provide and erect all necessary dust-screens to protect the occupants of adjacent and existing buildings, all to the satisfaction of the Chief and Local Authorities.

The contractor shall take all the precautions to protect adjacent buildings from damage and he alone shall be held liable for any damage to persons or property as a result of insufficient precautions.

The contractor shall take the necessary steps to ensure that the workers do not walk around in existing buildings unless absolutely necessary for the activities.

The contractor shall comply with the requirements of any laws or regulations relating to the use of explosives and air-pressure drills.

NOTE:

After the contract has been signed, it shall be the contractor's duty to arrange for an inspection of the buildings, etc. and the adjacent sites in the presence of the Department's representative to identify any defects such as cracks, etc. in buildings, rainwater canals, kerb stones, etc. that may possibly be damaged during execution of this contract.

Such defects shall be recorded to refute any allegations that they have been caused by the building operations under this contract. If such defects are in fact present, the contractor shall record them and submit this in writing to the representative before work commence.

If the contractor fails to inform the representative in writing, it shall be assumed that there are no such defects.

16.	SITE MEETINGS AND PROCEDURES

The representative shall reserve the right to convene a site meeting. The contractor shall promptly attend all site meetings and shall also ensure that all interested persons under his jurisdiction, etc. are notified timely of site meetings.

The contractor shall also be required at all times to keep the minutes of meetings, site instruction book, a complete set of contract work drawings and a quantity list in the site office, which shall be available for inspection by all persons involved in this contract.

17.	SCHEDULE OF PROGRESS

Within two (2) weeks after the site has been handed over, the contractor shall submit the representative with a full detailed construction programme in which all aspects of the works have been taken into consideration. Strict adherence to the provisions of this programme shall be required and the contractor shall report any deviations and/or future deviations to the representative and submit a new programme indicating the variations.

If the contractor wishes to deviate from the contract period specified, he shall obtain the written permission of the Chief, Department of Public Works.

18.	MEASUREMENTS

The scale, according to which the drawings have been compiled, may only be used when no dimensions are given on the drawings or in the specification.

The dimensions must be followed at all times, even if they do not tally with the scale of the drawings, but measurements of the buildings itself shall, wherever possible, be taken.

19.	METRIC UNITS

All measurements, sizes and quantities on the drawings and in the specification shall be given in Systeme International (SI) metric units as recommended by the Metrication Advisory Board of South Africa for use in the Republic of South Africa.

20.	STANDARD SPECIFICATION

Wherever the Standard Specification or User Codes of the South African Bureau of Standards or British Standards Institution are referred to, these shall be called "SABS 476" or "BS 3987" and the latest amendments or revision thereof is intended by this. Tenderers should note that their prices for materials of trade-names or catalogue references shall be based on the type of make as described hereafter. Where materials other than the prescribed make are used, adjustments of prices shall be made to confirm the adjustments.

21.	CHANGE AND OLD MATERIAL

With the demolition and removal of existing work, the utmost care shall be taken to avoid any structural and/or other damage to the remaining parts of the buildings or equipment. The contractor shall repair any damage that may occur the undertaking of the work at his own expense, to the full satisfaction of the Chief of Public Works.

Old materials of the alterations or demolition's, except if specifically described to be re-used or to remain the property of the Department, may not be used in the new construction, except with the specific written permission of the representative, with the concomitant adjustment of prices.  The rest of the old material shall remain the property of the Department and the contractor shall store it on the site. The representative/agent will point out the storage place to the contractor.

22.	TEMPORARY USE OF MATERIAL

No material of whatever nature delivered to the site for the permanent construction of the work shall be temporarily used for scaffolding or any other purpose. Likewise no material in the building that is only intended for temporary use shall be used.

23.	RUBBLE

The contractor shall make provision for the clearing of rubble from the work and, on completion, the cleaning of all machine rooms and the scrubbing of all floors and paving and shall leave the site in a clean and perfect condition for immediate use and occupation. Care should be taken not to use any cleaning agents or material that could damage the surfaces being cleaned.

24.	IMPLEMENTS, ETC.

The contractor shall supply, maintain and remove on completion or if so requested all implements, scaffolding, tools, labour, etc. that may be required for the proper and timely execution of the work.

On completion of the contract work, the contractor shall remove at his own expense all construction implements belonging to him/her or his/her subcontractor, and leave the building site and adjacent grounds in a clean and orderly condition. If the contractor fails to comply with the above-mentioned, all objects, etc. on the site shall become the property of the Department without any further notice and with the proviso of any rights for exemption of loss suffered by the Department as a result of the contractor's failure to clean the site.

25.	LOSS

The contractor shall be liable for any loss through theft, damage, etc. of materials for the construction as well as the contents of the buildings from the time the site is handed over until such time a first delivery certificate is made out for the whole contract. He shall take the necessary precautions for protection against such losses.

26.	SHEDS

The contractor shall provide and maintain sufficient temporary sheds and offices for the proper storage of material and use by the workers.

On completion of the contract work, the contractor shall remove at his own expense all temporary structures belonging to him/her or his/her subcontractor, and leave the building site and adjacent grounds in a clean and orderly condition. If the contractor fails to comply with the above-mentioned, all objects, etc. on the site shall become the property of the Department without any further notice and with the proviso of any rights for exemption of loss suffered by the Department as a result of the contractor's failure to clean the site.

27.	PROTECTION OF NATURAL VEGETATION

The contractor may only remove the natural trees, shrubs and bushes where the buildings are to be erected and shall take every precaution that natural vegetation on the rest of the site is not damaged.

28.	PROTECTION OF BUILDINGS

The contractor shall make provision for the protection of the work against bad weather and frost, as well as for temporary screens, canvas, dust sheets, gutters, outlet pipes, drainage ditches, storm water canals, etc. and for the baling out or pumping of water where necessary to keep all parts of the building free of water.

He shall also make provision for the temporary protection of all completed work that may possibly be damaged by the construction work or by other contractors or the weather, to the satisfaction of the representative.

Especially in existing buildings, contractors shall take sufficient precautions, to the satisfaction of the representative/agent, to prevent damage to the existing apparatus, buildings and other installations during the building operations.

The contractor shall be held solely responsible for any damage to the work because of insufficient precautions.

29.	ALTERNATIVE OFFER

A tenderer who has properly submitted an offer and who complies with the specifications in all respects, might at the same time or any other time before the closing of tenders, also make an alternative offer on own initiative.  If the tenderer's offer according to specification is acceptable to the Council in all respects, his/her alternative offer may also be considered for purposes of allocating the contract. Any deviation from the specification or alternative tender conditions shall be clearly indicated and any saving or additional expenditure for the State brought about by such deviation shall be quantified in the tender document.

30.	FINANCIAL REPORT'S

Within seven (7) days of the date on which he is so requested, the tenderer shall submit a full financial report from his banker. The Council may, as it deems fit and subject to the provisions of section 4(1)(d) of the Act, condone any failure to comply with the aforementioned condition.

The Department shall reserve the right to approach the tenderer's banker or warrantor(s) as indicated in the tender document to ascertain whether the required guarantee will be submitted.

31.	PAYMENT OF VALUE ADDED TAX BY TENDERERS NOT ESTABLISHED IN THE REPUBLIC

A Contractor in the Republic of South Africa (RSA) not established in the RSA or one who is established in the RSA who purchases materials outside the RSA, shall indicate in the tender documents the gross value of the purchases concerned and also submit the necessary proof that on importation of the materials into the RSA he has paid value added tax at the current rate, in order to exempt the Department from any liability to pay such tax in terms of the provisions of the legislation concerned.

NAME OF TENDERER: ……………………….....................................

ADDRESS OF TENDERER: ..................................................................

..................................................................………………………………

SIGNATURE: ......................................... DATE: ………..……………

TEL. No.: .................................................. FAX. No.: …………………

33.	ANNEXURE 1

CERTIFICATE OF COMPLIANCE BY AN ACCREDITED PERSON

I, ......................................................................…………………………….., declare that I am and electrical tester for single phase*/installation electrician*/master installation electrician*

Registration Certificate No ...………………................ ID No .....................…………

Address ............................................................................……………………………………….

............................................................................…………………………………………………

Telephone No .........................………………………....... Area Code No .................………….

I further declare that I inspected and tested the installation at:

Stand Number .............................................................………………………………………….

............................................................................……………………………………………

Name of building ...........................................................………………………………………….

Name of farm ...............................................................…………………………………………

Number of farm .............................................................………………………………………..

Township/Municipality/District* ............................................…………………………………

Supplier ...................................................................………………………………………………

and that in terms of regulation 7 (1) the installation complies with the provisions of regulation 4(1) and that the installation is reasonably safe*

Brief description of work ..................................................……………………………………….

............................................................................…………………………………………………

............................................................................………………………………………………….

............................................................................……………………………………………

............................................................................……………………………………………

I am aware that I am liable to prosecution in the case of a false Declaration to any of the questions set out in this certificate in respect of the VISUAL INSPECTION and TESTING PROCEDURE.

FULL NAME IN BLOCK LETTERS .................................................…………………………….

SIGNATURE ............................................………………………………………………………

DATE .......................................…………………………………………………………………..

*       Delete whichever is not applicable

TECHNICAL SPECIFICATION

(INDEX TO SPECIFICATION)

35.	SITES

36.	SCOPE OF WORK

37.	STANDARDS APPLICABLE TO THIS SERVICE

38.	LEGAL PRESCRIPTIONS

39.	GENERAL

40	BUILDING WORK

41.	MATERIAL AND QUALITY OF WORK

42	ELECTRICAL

43.	AIR CONDITIONING UNITS

44.	CONTRACT PERIOD

45.	WORKING SCHEDULE

46.	OPERATING AND MAINTENANCE MANUALS

47.	GUARANTEE AGAINST DEFECTS

48.	COMMISIONING AND TESTING OF EQUIPMENT

49.	OMMISIONS AND ALTERATIONS

50.	PRICES FOR EACH ESTABLISHMENT

51.	PARTICULARS OF TENDERER

52.	SCHEDULE OF INFORMATION

35.	SITES

The site where the work has to take place is at the Department of Social Welfare: Matete Matches Secure Care Centre, Kroonstad in the Fezile Dabi Region. Contractors must take note that buildings are occupied. It is therefore expected that the successful tenderer will call the authorities on the site to inform them and make the necessary arrangements for getting access to all buildings as is set out in this specification. No claims whatsoever would be considered in this connection. Work can only be done during normal Government working hours.

36.	SCOPE OF WORK

36.1	The work consist of the complete supply, delivery, construction of a guard house; erection of canopy, installation and commissioning of air conditioner at the offices and wirering the building The contractor must note that the scope of work only serve as an indicator of the work to be done and all quantities and details should be according to this specification

36.2	The contractor will be responsible for the complete installation as specified as well as the commissioning and testing thereof.

36.3	The complete service and repairs to existing air conditioners.

37.	STANDARDS APPLICABLE TO THIS SERVICE

The following acts and standards are applicable to this service:-

(1)	Machinery and Occupational Safety Act (or the) Machinery and Occupational Health Act).

(2)	Code of Practice for the wiring of premises (SABS0142)

(3)	Requirements of local authorities

(4)	Code of Practice for quality systems (all parts) (SABS 0157)

(5)	Code of practice for General Requirements for the competence of calibration and testing of laboratories (SABS 0159)

(6)	Employers Liability Act

(7)	Workmen’s Compensation Act, 1941 (as amended)

(8)	Trade Metrology Act (as amended)

(9)	Road Traffic Act

(10)	Mines and Trade Regulations. Government Notices

(11)	Local government Regulations and By - Laws.

(12)	Fire Brigade Regulations

(13)	Post Office Regulations

(14)	All special conditions, specifications and users codes as specified in this document.

(15)	The Highest standards and strictest requisites must be adhered to in case of discrepancies between prescriptions.

38.	LEGAL PRESCRIPTIONS

###### (a)	CONTRACTOR LIABLE FOR LOSSES

(i)	Injury to persons

The contractor is liable for injury to persons and indemnifies the Free State Government against any liability, loss, claim or action of whatever nature in terms of the common law or laws of the country, in respect of the injury or death of any person, whoever it may be, that is caused by or in the course of any execution of works, unless as a result of any act or negligence of the Free State Government or its employees. The contractor must comply throughout with the provisions of the Workmen’s Compensation Act, 1941 (as amended), and must provide the necessary proof that he has complied with these requirements and that he has received such exemptions as have been provided for by the law.

(ii)	Damage to property

The contractor is liable for and herewith indemnifies the Free State Government against any liability, loss, claim or action and against any damage of whatever nature, including theft of materials, that as a result of or the execution of work, is caused to movable or immovable property, unless as a result of any act of negligence of the Free State Government or its employees.

(b)	STIPULATIONS OF LOCAL GOVERNMENTS AND OTHER AUTHORITIES

The contractor should comply with the stipulations of all acts of Parliament and the regulations and attachments of local and other authorities that relate to the works.

He shall, furthermore, issue all the necessary notices, that is payable to such an authority in respect of the works and indemnify the Free State Government against any loss, cost or expense that is caused as a result of his failure to comply with such regulations.

39.	GENERAL.

(a) This specification must be read together with the rest of the documentation as indicated in the index. Where conditions are contradicting the tenderer must note that the General Conditions will take preference and then the conditions as listed in this document. The installation must be capable of functioning successfully under the existing atmospheric conditions. The tenderer must take all other conditions and particulars of the buildings, which may have an influence on the functioning of the installation and equipment supplied, into account. Particulars of the buildings and structures can be gained on site. No extra allowance will be made in the price or the standard of workmanship and material for misinformation in this regard.

(b) The work will be done by specialized workers that can prove their ability and skill in this specific field. The installation must be completed in all respects and it must be done to the satisfaction of the representative. It will be the successful tenderers responsibility to supply everything to ensure a 100 % complete and working installation. Only the best quality of material may be used to carry out the work to the satisfaction of the representative. All materials and equipment shall comply with the relevant SABS or British Standard Specification. Preference must be given to South African manufactured equipment. It is the successful tenderers responsibility to cover all furniture and computer equipment to prevent damage due to dust etc.

(c) The tenderer shall inspect and examine the sites and its surroundings and satisfy him before submitting his tender as to the nature of the building complex so far as is practical, the form and nature of the site, the quantities and nature of the work, the means of access to the site, and in general shall obtain all necessary information as to the risk, contingencies and other circumstances which may influence or affect his / her tender. It remains the tenderers responsibility to supply his own scaffolding, equipment and tools required for the execution of the contract in general. No claims arising (money wise or time) from lack of knowledge in this regard will be considered.

(d) Tenderers must make provision for ladders, trestles, tarpaulins and all requirements for the proper execution of the contract work and for clearing away of rubble and protection against damage due to work operations of other contractors or against the weather. Contractors should, to the satisfaction of the supervising officer, take particular care during operations to prevent damage to equipment, buildings and other installations.

40. BUILDING WORK.

(a) All building work, cutting of ceiling, drilling of holes, installation of sleeves, repairing damage caused to walls, ceilings, roofs or item of equipment during execution of work etc. will form part of this contract and must be done by the successful tenderer under this contract. Allowance must be made in the quoted prices for this as these items will not be specified in the schedule of prices. The successful tenderer shall tidy, clean and remove all rubble and excessive material from the site after completion of the contract. When cleaning existing building or other surfaces care must be taken not to use any cleaning material, which may cause damage to the surface cleaned.

(b) The contractor must allow for drilling of holes through the walls for the refrigerant piping for each unit. Where sleeves go through the wall of the building the contractor must make sure that the size is correct according to the supplier’s specifications. The contractor must also make provision for unistrat brackets on all the outside condensing units and that the weight of the units is accounted for. The evaporator units shall be secured by means of galvanized brackets, hanger rods, nuts; washers etc. and are of suitable size. The contractor must provide for precast concrete blocks (300x300x50) for condensing units. This is to prevent these units not to be directly exposed to soil or garden bedding.

The contractor must also make provision for suitable approved channeling (galvanized) on each unit for the interconnecting refrigerant tubing with insulation, electrical wiring between components and drain pipes. Allowance must be made in the quoted prices for this as these items will not be specified in the schedule of prices.

41. MATERIAL AND QUALITY OF WORK

(a) All work should be performed in a proper manner, using material of the best quality and be subject to inspection and to the satisfaction of the Mechanical Supervisor.

(b) The Free State Government reserves the right to have any maintenance, repair or replacement work of any nature, be done by specialists, agents and/or manufacturers of fittings etc., or can instruct the lawful contractor of this service contract to do such work at remuneration.

(c) Maintenance / repair work will be done by competent / qualified people / artisans / specialists in the field and who have sufficient experience to complete the project successfully with the necessary skills and capabilities. Proof of experiences must be given on request. The Free State Government reserves the right to inspect the workshop or service truck and tools of the tenderer at any time. It is expected from the successful tenderer to keep all tools on the truck, including cleaning materials, lubricating materials and other requirements necessary to carry out these services according to specification.

(d) Care shall be taken by the contractor to ensure that the important services are available to the establishment during the installation, it is therefore important that the Contract is planned in such a manner so as to ensure that the alternative services are available, if possible.

TENDERERS MUST NOTE THAT UNDER NO CIRCUMSTANCES MUST EQUIPMENT BE BORROWED FROM SITE PERSONNEL.

42.	ELECTRICAL WORK

42.1	REGISTRATIONS AS AN ELECTRICAL CONTRACTOR

The contractor is responsible for the completion and submission of the required application forms, in respect of registration, to the particular supplying authority.  A copy of the registration form must be forwarded to the Provincial Administration or its representative as soon as possible after the contract has been allocated.  The electrical installation may not commence before the registration certificate and proof that the particular electrician is registered as an installation electrician have been received.

The successful tenderer/electrical sub-contractor must be registered as an Electrical Contractor with the Electrical Contracting Board of South Africa, with the Workmen's Compensation Commissioner and the Unemployment Insurance Commissioner to qualify for this contract.

The successful tenderer must complete the following questionnaire and submit it to the Department of Public Works before any work is commenced.

| a) Has the company been registered as an electrical contractor with the Electrical Contracting Board of South Africa? |  |  |  |
| --- | --- | --- | --- |
|  |  | ### YES | NO |
| Registration No.: __________________________ |  |  |  |
| Date of issue:__________________________ |  |  |  |
| b) Has the company been registered with the: |  |  |  |
| 1. Department of Manpower? |  | YES | NO |
| Registration No.:_________________________ |  |  |  |
| Date of issue:_________________________ |  |  |  |
| 2. The Workmen's Compensation Commissioner? |  | YES | NO |
| Registration No.:_________________________ |  |  |  |
| Date of issue:_________________________ |  |  |  |
| 3. The Unemployment Insurance? |  | YES | NO |
| Registration No.:_________________________ |  |  |  |
| Date of issue:_________________________ |  |  |  |

I/We certify that the above information is correct and undertake to comply with the provisions in Regulation 4(2) and 6(1) of Government Notice R2920 of 23 October 1992 promulgated under Section 35 of the Occupational Health and Safety Act, No. 85 of 1993.

SIGNATURE OF CONTRACTOR:................................................................….………..

DATE: 				.................................................................….……….

NAME OF CONTRACTOR:	..................................................................………….

ADDRESS:				...................................................................…………

..............................................................……………

..................................................................…………

Regulation (4) 2 read as follows:

CONSTRUCTION

Except in the case of electrical installations supplied by a single-phase electricity supply at the point of supply, an accredited person shall exercise general control over all electrical installation work being carried out and no person shall allow such work without such control.

Regulation 6(1) reads as follows:

COMMENCEMENT OF / AND PERMISSION TO CONNECT INSTALLATION WORK

No person shall commence with installation work that would require a new electricity supply or an increase in electricity supply capacity unless the supplier has been notified thereof in the form of Annexure 2. Provided that the supplier may waive this requirement in respect of such types of work as he may specify.

SIGNATURE OF CONTRACTOR:

................................................................….……….

DATE: ................................................................…

(In your own interest you are advised to obtain a copy of Government Gazette No. 9968 of 11 October 1985 from the Government Printer in Pretoria)

42.2	INTRODUCTION

INTERPRETATION

The contractor must acquaint himself with the full content of each paragraph in the particular document and the details on the drawing(s). Furthermore he must make sure that his interpretation of the specification and drawing(s) is correct and that the Tender price allows for each and every item which is necessary to complete the section in its entirety.

- This specification covers the general requirements regarding material, equipment and installations.

- This specification shall be read in conjunction with the rest of this document.

- The technical, construction and performance requirements contained in this specification must be regarded as being of minimum required standards and therefore full compliance is a necessity.

- Full compliance with these requirements does not release the Contractor from his contractual undertaking: to provide an installation that complies in all aspects with the operational requirements specified.

- The onus is on the tenderer to determine any other local conditions that could possibly influence the operation of the equipment and the final price of the tender.

- Safe working procedures must be followed and carried out at all times.

42.3	GENERAL DESCRIPTION OF WORK

a.	The disconnecting and removal of the existing electrical installation (Heaters).

b.	The supply and installation of a complete surfex installation, including glands, Polly saddles fittings and 	the complete wiring thereof for all: Special outlet points for air conditioners

c.	The supply, installation and connecting up of isolators, plugs and circuit breakers in the distribution 	board complete.

d. 	Surfex shall be 4 mm2 x 2 for single phase and x 4 for three phases.

e.	House Wire 4 mm2 PVC Red, House Wire 4 mm2 Black and also Bare Copper Wire 2.5 mm2

f. 	20 amp Single pole 3ka circuit breaker / 10 amp 3pole 3ka circuit breaker

g. 	30amp surface mounted Isolator double pole /3 pole

h.	Commissioning and testing of the full installation.

i.	All the equipment supplied under this contract shall be suitable for use on 220 Volts, single phase, 50 Hz 	A.C. except where it is for 3 Phase.

j.	All electrical wiring to the units in the roof space must be done in electrical conduit. Wiring between the 	power points, control panels and the air conditioners shall form part of this contract and must be included	in the tender price.

k.	Wiring exposed to the eye within the service yard will be run in a galvanized wiring channel with snap 	in covers. Visible electrical and control wiring inside the building shall be runned in “Egatubing” or 	similar conduit.

l.	The contractor must do the electrical connection to these points as well. All units supplied shall comply with the applicable laws and regulations lay down by Government Institutions and according to the latest SANS regulations.

m.	Note: The units must be quiet in operation and the noise level must not exceed 35 NC when measured 2m away from the units in the offices. When measured and find that the noise level is to high the contractor will at its own expense supply a certificate taken by an approved authority of the measurements taken on site.

n.	The tenderer shall inspect and examine the site and its surroundings and satisfy himself before submitting 	his tender as to the nature of the electrical supply so far as is practicable, the form and nature of the 	site, 	the quantities and nature of the work. Existing Air conditioners are at this stage supplied from 	plugs in each office.

43.	AIRCONDITIONING UNITS.

These units shall confirm to the following specifications:

43.1	GENERAL.

a)	Each unit shall consist of a direct expansion fan coil unit and a separate externally located air cooled 	condensing unit.

b)	Each fan coil unit shall be complete with suitable filters, three speed recirculation fan, adjustable 	directional air discharge grille and direct expansion cooling coil fitted into an appropriate cabinet.

c)	Each condensing unit shall be complete with compressor, air cooled condenser and condenser fan fitted 	into an appropriate cabinet. Each condensing unit shall be weatherproof and able to withstand the natural 	elements.

d)	Each unit shall be fitted with interconnecting refrigerant tubing, electrical wiring between components, insulation and a control panel. Refrigerant piping must be insulated and must be covered in a galvanized channel with snap in covers. Gas lines on the inside and outside of the building will be installed in a channel like Unistrut P1000 with cover plate or other approved. Both the gas and liquid lines must 	be insulated separately with Centurylon AP 701 or other approved insulation material. When insulation 	is subjected to outside conditions the insulation must be covered with UV resistant PVC tape (black).

e)	The supply multi-bladed fan shall be quiet running and be statically and dynamically balanced. The fan 	motor shall provide variable speed and the bearings shall be of the self-centered type.

f)	The cooling coil shall be factory manufactured out of copper tubing with aluminum vanes which are mechanically mounted to the tubes.

g)	A one piece drain pan shall be provided under the complete coil section. The drain pan shall be fitted with drain pipe connections. The drain pipe will be fixed to the structure by means of suitable saddles at Centre distances of maximum of one meter from another. The pipe will follow the horizontal and/or vertical lines of the building.

e)	The units shall be equipped with a factory installed de-ice controller which shall prevent frost gathering on 	the condensing coil in the heating cycle. The indoor fan shall stop automatically when the defrost cycle is	 in operation and only restart when the indoor coil is back on the desired temperature.

f)	The copper pipe inter-connection between the indoor and outdoor units forms part of this contract. The 	pipes must be of suitable size. Adjustments must be made to pipe sizes to accommodate distance and 	height between indoor and outdoor unit where necessary as prescribed by the manufacturers of the    units.

g)      Units with insufficient capacities will not be accepted.

h)      All units will be standard factory manufactured and will be off the heat pump type.

i)     All fan coil units shall be of the high wall type mounted in the position as shown by the      representative of the Department.

43.2	CONTROL

a)	One remote control panel shall control a unit. Each control panel shall consist of an on / off switch, fan 	speed control switch and a thermostat.

b)	Each control panel shall be installed against the wall in the position indicated by the representative of the 	Department.

c)	The electrical wiring between the remote control panel and the fan coil unit shall be fitted into “Egatubing" or similar approved conduit. The position of remote control holders will be determined on	site.

d)	The compressor shall be protected against overheating and overloading.

43.3	CONDENSATE REMOVAL

a)	Drain pipes from the expansion unit shall be 15 mm PVC pipes and lead to the nearest suitable draining 	point to be determined in conjunction with the representative of the Department.

b)	This PVC pipe must be installed with suitable approved clamps against the wall or together with the 	refrigerant piping inside the channeling provided.

c)	If the drain point is further than 6 meters away the drain pipe must be taken to ground level. The drain pipe will be fixed to the structure by means of suitable saddles at centre distances of maximum of one meter from another. The pipe will follow the horizontal and/or vertical lines of the building.

43.4	CAPACITIES

- Air conditioners 12 000 BTU

Cooling / Heating: 			12 000 BTU/Hr. /	12 000 BTU/Hr.

Running Current:			Cooling - 	6.3 Amps

Heating -	6.3 Amps

Indoor air flow:			High Speed -	1800	m³/hr.

Refrigerant:				R 410 A

Volt:					220 Volt.

43.5	All other type air conditioning units must be accompanied with a pamphlet, which stated all criteria. The 	Mechanical Supervisor Departmental must approve all other type air conditioning units in writing before	ordering.

Note: Back to back installation does not necessarily mean that the Evaporator-and Condensing-Units are together or close to each other. It could be within a few meters as mentioned.

44.	CONTRACT PERIOD

The contract period will commence as soon as the tender is accepted and will remain valid for at least 1(One) consecutive calendar month. The Free State Government reserves the right to cancel the contract should the contractor, after having been reminded twice in writing, neglect to comply with the contract conditions. The contractor will be liable for all costs that arise from the cancellation of the contract, including the acceptance and execution of the work by another approved successful tenderer.

The successful contractor will commence with the contract immediately after the tender has been awarded. It will be expected of tenderer after a start has been made with the work that they continue with the contract until all the work have been done and not to do the servicing in fits and starts.

CONTRACT PRICE ADJUSTMENTS WILL NOT BE APPLICABLE TO THIS CONTRACT AND THAT NO PRICE ADJUSTMENTS WILL BE ALLOWED FOR THIS CONTRACT.

45.	WORKING SCHEDULE

Prior to starting with the work the contractor must submit a working schedule for the work as prescribed in this document for approval. The tenderer must note that the existing services must be available at all times. Any shutdown of services must be arranged with the authority on site prior to shut down.

Due to the fact that the work to be done is in occupied areas the tenderer must note that work can only be carried out during official office hours.

46.	OPERATING AND MAINTENANCE INSTRUCTION MANUALS

Three (3) sets of operating and maintenance instruction manuals must be submitted to the representative prior to take over. During commissioning the equipment will be operated according to the manuals and will therefore be thoroughly checked. The manuals will be in one of the official languages but preference will be given to English. The instruction manual will be as complete as possible it shall be binded separately and in a durable cover.

The instruction manuals must at least include the following:

- On/Off switching procedures

(2)	Manufacturers operating instructions

(3)	Prescribed routine maintenance services to be carried out on the equipment.

(4)		Certificate of compliance for electrical work.

(5)	Efficiency test results

47.	GUARANTEE AGAINST DEFECTS

47.1	The Contractor will be required to guarantee the complete installation / service for a period of 12 months after first take over / work completion.

47.2	The guarantee for new equipment which is normally offered by the manufacturer of the equipment will have no legal binding, influence or affect what so ever on the 12 months guarantee which are compulsory on this project.

47.3	If during this twelve months guarantee period the installation is not in a working order or not working satisfactorily, owing to faulty material, or workmanship, the contractor will be notified. Immediate steps shall be taken by him to rectify the defects and / or replace the affected parts on site, at his own expenses.

48.	COMMISIONING AND TESTING OF EQUIPMENT

The installation and equipment will be operated and commissioned on completion of the work. The system and operation of it must be demonstrated to personnel in the presence of the representative (mechanical).

Tests as prescribed in the Occupational Health and Safety Act and the Standard Regulation for the Wiring of Premises (SABS 0142) will be carried out during take over in the presence of the Mechanical Engineer and / or representative. The test results must be filled in, with black ink, on the prescribed forms. The complete forms must be handed over to the engineer or representative together with the Certificate of Compliance. Hand over will not be agreed upon unless the necessary schedules and / or certificates is not received. In the case of obtaining negative test results, errors will have to be rectified, and tests will have to be carried out once again as prescribed.

The service will not be taken over unless the installation as a whole or parts of the installation is to the satisfaction of the inspector and / or authority on site.

49.	OMMISIONS AND ALTERATIONS

The Tenderer is requested to specify any alterations from the specifications above.

……………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

Signature of Tenderer:…………………………………………………………………………

Date:…………………………………………………………………………………………….

50.	 BILL OF QUANTITIES / PRICES:

Prices must be filled in next to every item. If prices are left out it will be assumed that it is covered by the total tender price.

FEZILE DABI DC20.

51.	PARTICULARS OF TENDERER

| Name of firm: |  |
| --- | --- |
| Address: |  |
| Telephone: |  |
| Signature: |  |
| Name in block letters: |  |
| Capacity: |  |
| Date: |  |

| Item No: | Description |  | Unit | Quantity | Rate | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| (1) | Supply and construct guardhouse as per building plan at Matete-matches secure center in Moakeng. |  |  |  |  |  |
|  | BILL No. : 1 EARTHWORKS |  |  |  |  |  |
|  | Preparations SITE CLEARANCE, ETC. |  |  |  |  |  |
| 1 | Digging up and removing rubbish, debris, vegetation, hedges, shrubs, bush, etc. and trees not exceeding 200mm girth |  | m² | 170 |  |  |
| 2 | Strip average 150mm thick layer of topsoil, compact to 95% Mod AASHTO density and level surplus material on site. |  | m² | 30 |  |  |
|  | EXCAVATION, FILLING, ETC. OTHER THAN BULK Excavation in earth strip foundation footings not exceeding 2m deep and compact to 95% Mod AASHTO density |  |  |  |  |  |
| 3 | Trenches average 800mm deeps, including risk of collapse and keeping excavations free of water, measured 600mm x 588mm |  | m3 | 15,1 |  |  |
|  | Extra over all excavations for carting away |  |  |  |  |  |
| 4 | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the Contractor. |  | m3 | 45 |  |  |
|  | Earth filling with sourced G5 material, including compaction in 150mm layers to 95% Mod AASHTO density, including scarifying and compaction of existing ground surface to a depth of 150mm: |  |  |  |  |  |
| 5 | Under floors. |  | m3 | 5.60 |  |  |
| 6 | Foundation Footings |  | m3 | 1.86 |  |  |
|  | Surface preparation |  |  |  |  |  |
| 7 | Compaction of ground surface, including scarifying for a depth of 150mm, breaking down oversize material, madding suitable material where necessary and compacting to 95% Mod AASHTO density. |  | m² | 170 |  |  |
|  | Soil Poisoning |  |  |  |  |  |
| 8 | Soil insecticide in accordance with SANS 5859: Under floors etc. including forming and poisoning shallow furrows against foundation walls etc., filling in furrows and ramming. To bottoms and sides of trenches etc. |  | m² | 77 |  |  |
|  | BILL No. 2 CONCRETE, FORMWORK AND REINFORCEMENT UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES-20 MPa/19mm Concrete |  |  |  |  |  |
| 1 | Strip footings foundations including formwork etc. |  | m3 | 4 |  |  |
| 2 | Surface beds on waterproofing |  | m3 | 22 |  |  |
| 3 | Apron slabs cast in panels including for rough formwork 150mm thick |  | m3 | 5 |  |  |
| 4 | REINFORCING MESH |  | m² | 22 |  |  |
|  | Supply and installation of Ref 200 mesh in all slabs placed on 40mm spacers |  | m² | 22 |  |  |
|  | CONCRETE SUNDRIES Finishing top surfaces of concrete smooth with a wood float: Surface beds, slabs, etc. |  |  |  |  |  |
| 5 | Surface beds, slabs, etc. |  | m² | 22 |  |  |
|  | Wire brushing of concrete surfaces to expose aggregate: |  |  |  |  |  |
| 6 | Apron slabs |  | m² | 30 |  |  |
|  | BILL No. : 3 Guard House Masonry/Brickwork |  |  |  |  |  |
|  | BRICKWORK IN FOUNDATIONS Stretcher bond brickwork in Class II mortar |  |  |  |  |  |
| 1 | 220mm Brick walls |  | m² | 6 |  |  |
|  | Brickwork reinforcement: |  |  |  |  |  |
| 2 | Foundation walls 75mm x 2,8mm Brick force built in horizontally in every course. |  | m | 19 |  |  |
| 3 | Foundation walls 150mm x 2,8mm reinforcement built in horizontally in every course. |  | m | 160 |  |  |
|  | BRICKWORK IN SUPERSTRUCTURE Stretcher bond brickwork in face bricks in Class II mortar. |  |  |  |  |  |
| 4 | 110mm Brick walls. |  | m² | 19 |  |  |
| 5 | 220mm Brick walls. |  | m² | 50 |  |  |
| 6 | 220mm Brick walls. |  | m² | 13 |  |  |
|  | Brickwork reinforcement: |  |  |  |  |  |
| 7 | External walls 150mm x 2,8mm reinforcement built in horizontally in every fourth course up to window lintel level and in every course above window lintel height. |  | m | 162 |  |  |
| 8 | Internal walls 75mm x 2,8mm reinforcement built in horizontally in every fourth course up to window lintel level and in every course above window lintel height. |  | m | 55 |  |  |
|  | Window Cills |  |  |  |  |  |
| 9 | Face brick on edge, set sloping and slightly projecting |  | m | 13 |  |  |
|  | Brickwork Sundries-Guard House Pre-stressed fabricated lintels including necessary temporary supports |  |  | 6 |  |  |
| 10 | 3000 x 105 x 75mm precast concrete lintels |  | No | 2 |  |  |
| 11 | 1600 x 105 x 75mm precast concrete lintels |  | No | 1 |  |  |
| 12 | 2400 x 105 x 75mm precast concrete lintels |  | No | 4 |  |  |
| 13 | 1000 x 105 x 75mm precast concrete lintels |  | No | 4 |  |  |
|  | Ventilation bricks |  |  |  |  |  |
| 14 | 240 x 140-155mm Concrete Airbrick 55mm Terracotta vermin proof with gauze ventilation bricks (No plastic) |  | No | 4 |  |  |
|  | BILL No. : 4 Guard House Waterproofing |  |  |  |  |  |
| 1 | One layer of 375 micron "Consol Plastics Brik grip 225mm DPC" embossed damp proof course on bearing walls/ external walls |  | m | 20 |  |  |
| 2 | One layer of 375 micron "Consol Plastics Brik grip 225mm DPC" embossed damp proof course on laid under the window cills |  | m | 13 |  |  |
| 3 | 375 micron D.P.M under surface beds and aprons. |  | m² | 50 |  |  |
|  | Guard house Builders Work BILL No. : 5 ROOF COVERINGS |  |  |  |  |  |
|  | IBR METAL SHEETING AND ACCESSORIES 0.5mm "Fullhard" IBR sheeting fixed to timber purlins with 75mm long "El Toro" drive screws, in strict accordance with manufacturer's specifications. |  |  |  |  |  |
| 1 | Roof covering with pitch not exceeding 25 degrees |  | m² | 31 |  |  |
|  | Guard house Builders Work BILL No. : 6 CARPENTRY AND JOINERY |  |  |  |  |  |
|  | ROOF TRUSSES, ETC. Sawn softwood: Timber roof construction to single pitched roof, including purlins etc. supplied and fixed complete |  |  |  |  |  |
| 1 | 152 x 38mm sabs approved treated timber rafter beams |  | m | 33 |  |  |
| 2 | 76 x 50mm sabs approved treated timber rafter beam Purlins, securely nailed to roof timbers with 4 mm diameter wire nails one nail for each intersection, at centres. |  | m | 44 |  |  |
| 3 | 114 x 38mm SABS approved treated timber wall plate |  | m | 7 |  |  |
|  | EAVES, VERGES, ETC. Fabre cement fascia and barge boards: |  |  |  |  |  |
| 4 | 12 x 150mm High density fibre cement fascia and barge boards fixed to purlins with 4mm diameter x 32mm long brass screws counter sunk, including 0.5mm galvanized steel H - Profile jointing strips. |  | m | 20 |  |  |
|  | DOORS, ETC. 40mm thick 6 panel hardwood solid door, hung to steel frames (elsewhere measured): |  |  |  |  |  |
| 5 | Single door, size 813 x 2032mm high |  | No | 1 |  |  |
| 6 | Single door, size 813 x 2032mm high |  | No | 2 |  |  |
|  | SKIRTING |  |  |  |  |  |
| 7 | 19 x 17mm meranti skirting |  | M | 30 |  |  |
|  | Guard house Builders Work BILL No. : 7 CEILINGS SCREW UP CEILINGS |  |  |  |  |  |
|  | 6,4mm Gypsum plasterboards with H-profile galvanized steel jointing strips |  |  |  |  |  |
| 1 | Ceilings including 38 x 38mm sawn softwood brandering at 450mm centres with cross brandering at 450mm centers screwed up to brandering using 3,5x 32mm drywall screws at 250mm spacing. |  | m² | 20 |  |  |
|  | Wooden Cornice |  |  |  |  |  |
| 2 | 19mm sabs timber quadrants |  | m | 30 |  |  |
|  | Guard house Builders Work BILL No. : 8 IRONMONGERY |  |  |  |  |  |
|  | IRONMONGERY FIXED TO DOORS, ETC |  |  |  |  |  |
| 1 | Four lever SABS approved mortice lockset complete with lockset and door furniture. |  | no | 2 |  |  |
| 2 | Four lever SABS mortice lockset complete with lockset and door furniture. |  | no | 1 |  |  |
|  | BATHROOM FITTINGS |  |  |  |  |  |
| 3 | Towel rail 1200mm long including end brackets plugged |  | No | 1 |  |  |
| 4 | Toilet roll holder plugged |  | No | 1 |  |  |
| 5 | Soap holder plugged. |  | No | 1 |  |  |
|  | BILL No. : 9 METALWORK PRESSED STEEL DOOR FRAMES |  |  |  |  |  |
| 1 | 1mm Thick SABS approved rebated frames suitable for 110mm wide brick walls, with and including ironmongery and red oxide paint finish Heavy duty frame for door 813 x 2032mm high. |  | No | 2 |  |  |
| 2 | 1mm Thick SABS approved rebated frames suitable for 220mm wide brick walls, with and including ironmongery and red oxide paint finish Heavy duty frame for door 813 x 2032mm high. |  | No | 1 |  |  |
| 3 | 30.5 CASEMENT ALUMINIUM WINDOWS Supply install aluminum top hung window type PT 69, with natural aluminum finish, size 600mm x 900mm complete with 4mm window furniture fitted with obscure glass. |  | No | 2 |  |  |
| 4 | Supply install fixed panel aluminium window, with natural aluminium finish, size 900mm x 900mm complete fitted with 4mm shutter proof glass tinted with one way reflective window film. |  | No | 1 |  |  |
| 5 | Supply install fixed panel aluminium window, with natural aluminium finish, size 1200mm x 900mm complete fitted with 4mm shutter proof glass tinted with one way reflective window film. |  | No | 1 |  |  |
|  | Guard house Builders Work BILL No. : 10 METALWORK |  |  |  |  |  |
|  | 30.5 CASEMENT ALUMINIUM WINDOWS |  |  |  |  |  |
| 1 | Supply install fixed panel aluminium window, with natural aluminium finish, size 3000mm x 900mm complete fitted with 4mm shutter proof glass tinted with one way reflective window film. |  | No | 2 |  |  |
| 2 | 500 slender line aluminium sliding window, with natural aluminium finish, size 3000mm x 900mm complete fitted with 4mm shutter proof glass tinted with one way reflective window film. |  | No | 1 |  |  |
|  | Guard house Builders Work BILL No : 11 PLASTERING |  |  |  |  |  |
| 1 | Screeds wood floated, on concrete. 22,5mm Thick on floors and landings. |  | m² | 19 |  |  |
|  | INTERNAL PLASTER |  |  |  |  |  |
| 2 | One coat cement plaster steel trowelled on brickwork |  | m² | 90 |  |  |
|  | Guard house Builders Work BILL No. : 12 TILING |  |  |  |  |  |
|  | GLAZED WALL TILING 152 x 152mm x 5mm Thick ceramic tiles, fixed with an approved adhesive to plaster (plaster elsewhere) and flush pointed with tinted grout |  |  |  |  |  |
| 1 | In 600mm high hand wash splash back |  | m² | 1 |  |  |
|  | WALL TILING |  |  |  |  |  |
| 2 | 152 x 152mm x 5mm Thick ceramic tiles, fixed with an approved adhesive to plaster (plaster elsewhere) and flush pointed with tinted grout On toilet walls |  | m² | 15 |  |  |
|  | FLOOR TILING |  |  |  |  |  |
| 3 | 300 x 300mm vinyl tiles, fixed with an approved adhesive in accordance to manufactures specifications On floors |  | m² | 19 |  |  |
|  | Guard house Builders Work BILL No. : 13 PLUMBING AND DRAINAGE |  |  |  |  |  |
|  | Only registered plumbers and drain layers shall be employed on any plumbing and drainage work. |  |  |  |  |  |
|  | RAINWATER DISPOSAL Supply and install Galvanized Steel Gutter System: |  |  |  |  |  |
| 1 | 125 x 75mm x 0,6mm Steel Eaves gutter with beaded front edge fixed to 6mm thick hot dip galvanized brackets at maximum 1000mm centers |  |  | 11 |  |  |
| 2 | Extra over for stopped end. |  |  | 2 |  |  |
| 3 | Extra over for stopped end. |  |  | 2 |  |  |
| 4 | 75mm Diameter rainwater downpipe fixed to pipe clips at 1000mm centers |  | m | 8 |  |  |
| 5 | Extra over 75mm diameter rainwater downpipe for bend |  | No | 2 |  |  |
| 6 | Extra over 75mm diameter rainwater downpipe for shoe |  | No | 2 |  |  |
| 7 | Extra over 75mm diameter rainwater downpipe for eaves or plinth offset. |  | No | 2 |  |  |
| 8 | Extra over 600mm concrete rainwater down channel stop end |  | No | 2 |  |  |
|  | COLD WATER SUPPLY (CONNECTION): |  |  |  |  |  |
|  | Excavations Provide all the necessary tees, bends, etc. and do all the necessary cutting and jointing of piping as required |  |  |  |  |  |
| 9 | Dig 400 x 400mm trenches in ground for pipes and fill in and well compact after pipes are laid. |  | m | 80 |  |  |
|  | Water Supply Connection |  |  |  |  |  |
| 10 | Connect to stop cock provided on existing supply with 20mm diameter water piping, screwed and socketed and lay not less than 400mm deep under- ground to the lines. Take braces to building and take up through and along walls and connect to the various fittings. Connect up to taps in basins and to cisterns with 15mm diameter lead or copper service piping. |  | item | 1 |  |  |
|  | DRAINS AND FITTINGS Provide all the necessary tees, bends, etc. and do all the necessary cutting and jointing of piping as required |  |  |  |  |  |
| 11 | Lay all soil and waste water drains to the lines, in sufficient gradients not less 1 in 40 and provide cleaning eyes, inspection eyes and gully to drains |  | m | 100 |  |  |
| 12 | Allow for the necessary excavation, back filling and all material required for the joining up of the new drain to the existing connection |  | m | 100 |  |  |
| 13 | Allow for hacking up and removal of existing concrete paving for the laying of the drains and for repairs on completion, with material to match existing |  | item | 1 |  |  |
|  | SANITARY FITTINGS Provide all the necessary tees, bends, etc. and do all the necessary cutting and jointing of piping as required |  |  |  |  |  |
| 14 | Provide and fit WC including plumbing and drainage, installed complete |  | No | 1 |  |  |
| 15 | Provide and fit glazed vaal wall hung wash hand basin including support bracket, taps, plumbing and drainage, installed complete. |  | No | 2 |  |  |
|  | Guard house Builders Work BILL No. : 14 PAINTWORK |  |  |  |  |  |
| 1 | ON PLASTERED WALL Prepare, prime with an approved Alkali resisting primer and paint one undercoat and one coat eggshell enamel finishing to the new plastered wall surfaces. |  | m² | 90 |  |  |
| 2 | ON CEILINGS Prepare, stop and paint nail heads with flat paint and paint two coats interior emulsion paint to all gypsum plasterboard ceilings and cover strips in all rooms. |  | m² | 23 |  |  |
| 3 | ON METAL SURFACES Clean and rub down on exposed surfaces, touch up with zinc chromate primer and painted one undercoat and one coat high gloss finishing coat. doors frames |  | m² | 15 |  |  |
|  | ON FIBRE-CEMENT BOARD SURFACES Clean down, prepare and treat surfaces with approved bonding liquid and paint surfaces two coats approved acrylic emulsion paint. |  |  |  |  |  |
| 4 | fascia and bargeboards |  | m² | 4 |  |  |
|  | ON WOODEN SURFACES Clean down, prepare surfaces to receive paint surfaces with two coats of approved clear varnish Doors, Skirting and Cornices |  | m² | 28 |  |  |
|  | Guard house Builders Work BILL No. : 16 GLAZZING |  |  |  |  |  |
|  | Mirrors Provide and install mirror where shown or mentioned, size 450 x 350 mm of 6 mm thick rounded and polished edge, mirror to be drilled four (4) times and countersunk screwed to plugs in wall with 38 mm long screws, fitted with domed chromium-plated cups. Provide at each fixing point a felt washer between wall and mirror. |  | Item | 1 |  |  |
| (2) | Supply and install paving and island at Matete-matches secure center in moakeng. |  |  |  |  |  |
|  | PLATFORM ISLANDS EARTHWORKS BILL No. : 1 |  |  |  |  |  |
| 1 | SITE CLEARANCE Clear site for the whole area of the ground to be built upon etc. This operation shall be deemed to include the digging up and removal of rubbish, debris, vegetation, hedges, shrubs and small trees (up to 200 mm girth), bush, etc. as well as the digging up of top soil and examining for and removal of all dead roots | m² |  | 40 |  |  |
| 2 | EXCAVATIONS Excavate the entire designated area to a nominal depth of 150mm for Subgrade layer and compact in-situ material for to minimum of 93% of modified AASHTO | m3 |  | 6 |  |  |
| 3 | EXTRAM OVER FOR CART AWAY The excess material shall be deposited on site, spread and roughly levelled, where shown by the client representative. | m3 |  | 10 |  |  |
| 4 | LAYERWORKS Construct gravel BASE with imported G5 material from the commercial sources, 200mm thick compacted to 95% of mod. AASHTO density. | m3 |  | 8 |  |  |
|  | BILL No. : 2 PAVING |  |  |  |  |  |
| 1 | KERBING Construct 150mm high platform Islands with Figure 3 precast concrete kern on top of sub-base (150 x 300 x 1000mm in length. | m |  | 36 |  |  |
| 2 | Ditto but curved kerb in lengths not exceeding 300mm. | m |  | 11 |  |  |
|  | CONCRETE WORKS 25/19 hunching at every joints (75 x 75mm) | m3 |  | 1 |  |  |
|  | SEGMENTED PAVING Construction of paving (Zig-Zag interlocking pavers) complete laid in herringbone pattern. The rate shall cover the units that needs to be cut to fit to the edge restraints, sand bed of 25mm to be placed below paving blocks. (SABS pre-cast concrete paving blocks or similar approved): |  |  |  |  |  |
| 3 | Colour to match existing blocks (220 x 110 x 80mm) | m2 |  | 30 |  |  |
| 4 | JOINT FILLING Pour sand onto pavers and sweep into the joints, compact with a plate compactor and sweep more sand until the sand fill the top of the pavers and make good. | m2 |  | 30 |  |  |
| (3) | Supply and erect steal canopy at Matete-matches secure center in moakeng. |  |  |  |  |  |
|  | CANOPY BILL No. : 1 |  |  |  |  |  |
| 1 | EXCAVATION, FILLING, ETC Excavation in earth not exceeding 2m deep Post holes | m3 |  | 16 |  |  |
| 2 | Extra over all excavations for carting away Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 |  | 4 |  |  |
| 3 | Keeping excavations free of water Keeping excavations free of all water other than subterranean water | Item |  | 1 |  |  |
|  | UNREINFORCED CONCRETE MPa/19mm concrete |  |  |  |  |  |
| 1 | 40mm base blinding concrete | m3 |  | 0.5 |  |  |
| 2 | Bases | m3 |  | 1.2 |  |  |
| 3 | Infilling pier concrete | m3 |  | 4 |  |  |
|  | BILL No. : 2 STRUCTURAL STEELWORK |  |  |  |  |  |
| 1 | STEEL COLUMNS/POSTS 4900 x 100 x 100mm x 3mm thick steel post in full length complete with 200 x 200 x 3mm welded base plate | no |  | 2 |  |  |
| 2 | 4600 x 100 x 100mm x 3mm thick steel post in full length complete with 200 x 200 x 3mm welded base plate | No |  | 2 |  |  |
|  | BEAMS |  |  |  |  |  |
| 3 | 150 x 50 x 20 x 2mm lipped channel Side beams | m |  | 16 |  |  |
| 4 | 150 x 50 x 20 x 2mm lipped channel End beams | m |  | 12 |  |  |
| 5 | 150 x 50 x 20 x 2mm lipped channel Rafters | m |  | 31 |  |  |
|  | ROOF SHEETING |  |  |  |  |  |
| 6 | 0.5 mm "Fullhard" IBR sheeting fixed to lipped channels with 65mm long full threaded tech screws, including suitable washers. | m² |  | 54 |  |  |
|  | PIERS |  |  |  |  |  |
| 1 | Construct 460 x 460 x 3340mm brick pier surrounding steel post. | no |  | 2 |  |  |
| 2 | Ditto but 460 x 460 x 1840mm | no |  | 2 |  |  |
|  | BILL No : 3 PAINTWORK |  |  |  |  |  |
|  | ON METAL Sand down, remove dirt and applying one undercoat of red oxide and two coat high gloss enamel paint on steel | m² |  | 54 |  |  |
| (4) | The Supply, Installation and Commissioning Of One (1) New Air Conditioning Unit at the Guard House. |  |  |  |  |  |
| 1 | High Wall Mounted Air Conditioning Unit (3.5 kW – 4.1 kW) 12 000 BTU/hr. complete as described elsewhere, installed in Offices (Back to back installation maximum 4 meter refrigerant pipe per unit with outside unit completely on a suitable bracket) | No |  | 1 |  |  |
| 2 | Building Work: Holes, Unistrat Brackets, Channelling & Drain Pipes complete as described under Item 40 Building Work. | Unit |  |  |  |  |
| 3 | Electrical Work: Inclusive of Circuit Breakers, Isolators & Wiring complete as described under Item 42 Electrical Work (DB within ± 10 – 25 m of each unit.) | Unit |  |  |  |  |
| 4 | Supply and fit insulation with covering tape to new Air Conditioners. (Meter) | No |  | 5 |  |  |
| (5) | Supply, Deliver, Install and Connect the Electrical Components in a new Guard house at Matete -Matches Secure Centre in Maokeng Kroonstad. Leave the facility with a fully Electrified and functional Guard house |  |  |  |  |  |
| 1 | 8 Channel Surface Mount Distribution Box | No |  | 1 |  |  |
| 2 | 20A Circuit Breaker | No |  | 3 |  |  |
| 3 | 10A Circuit Breaker | No |  | 2 |  |  |
| 4 | 60A 3 phase Circuit Breaker | No |  | 1 |  |  |
| 5 | Single phase 63A Earth leakage Relay | No |  | 1 |  |  |
| 6 | 16A Double Socket Outlet | No |  | 4 |  |  |
| 7 | 1.5m Double LED Light fitting complete with cover | No |  | 3 |  |  |
| 8 | Round Bulkhead Internal PL9 LED Light Fitting | No |  | 2 |  |  |
| 9 | PL9 Replacement LED Bulb | No |  | 4 |  |  |
| 10 | 2Lever 2Way Switch | No |  | 2 |  |  |
| 11 | 1 way 1 lever Switch | No |  | 2 |  |  |
| 12 | 4 x 4 Open back Surface mount box | No |  | 5 |  |  |
| 13 | 4 x 2 Open back Surface mount box | No |  | 3 |  |  |
| 14 | Screws and Wall Plugs | Pack |  | 1 |  |  |
| 15 | Universal Compression glands | Pack |  | 1 |  |  |
| 16 | 100m roll 2.5mm2 x 2 + Earth Suffix Cable | 100m |  | 1 |  |  |
| 17 | 50m roll 1,5mm2 x 2 + Earth Suffix Cable | M |  | 50 |  |  |
| 18 | 20mm PVC Conduit | 4m |  | 20 |  |  |
| 19 | 100w LED Flood lights | No |  | 2 |  |  |
| 20 | Galvanised metallic pipe sleeves with Saddles | 2m |  | 1 |  |  |
| 21 | PVC Conduit fittings | Set |  | 1 |  |  |
|  | Supply,Deliver, Install and Connect a 4 Core 16mm2 Armoured Power Cable from the Main Switchboard at Matete- Matches Secure Centre to a Sub D.B. in a newly Constructed Guard house.Excavate Trenches of Suitable Installation Depths according to SANS Standard Electrical Specifications, Lay Cables to the New Guard House. Backfill and Consolidate to the original Density of the surrounding Material and in paved areas Reinstate surface Finish.Upon completion the Contractor shall Arrange for the whole Installation to be Tested and Approved for purposes of providing a COC for the Newly Constructed Guard House |  |  |  |  |  |
| 1 | Excavation, Backfill,Removing &Replacing Paving | m3 |  |  |  |  |
| 2 | Galvanised metallic pipe sleeves with Saddles | 2m |  |  |  |  |
| 3 | 16mm2 4 Core Cu Armoured Power Cable | M |  |  |  |  |
| 4 | Main Switchboard inner door( cut outs specified ) | No |  |  |  |  |
| (6) | Supply and Erect a 1,2km Long x 3000mm High Clear-Vu Fence at Matete-Matches Secure Centre in Maokeng Kroonstad |  |  |  |  |  |
|  | PRICING |  |  |  |  |  |
|  | The tenderer is advised to visit the site before pricing this section to acquaint himself/herself with the site conditions |  |  |  |  |  |
|  | INSTALLATION |  |  |  |  |  |
|  | Installation of all fencing and gates must be in accordance to manufacturers specifications and applicable drawings |  |  |  |  |  |
|  | PRODUCT |  |  |  |  |  |
|  | All steel materials shall be of good commercial quality, galvanized steel. |  |  |  |  |  |
|  | All poles shall be galvanized, one piece without joints. Furnish moisture proof caps for all posts. |  |  |  |  |  |
|  | All poles shall be galvanized, one piece without joints. Furnish moisture proof caps for all posts. |  |  |  |  |  |
|  | All poles shall be galvanized, one piece without joints. Furnish moisture proof caps for all posts. |  |  |  |  |  |
|  | Miscellaneous material shall be galvanized |  |  |  |  |  |
|  | BILL No. : 1 PREPARATIONS |  |  |  |  |  |
|  | DEMOLITION |  |  |  |  |  |
| 1 | Carefully remove existing 1,8m high razor fence, Double leaf gate and poles embeded on concrete ect and store on site | m |  | 62 |  |  |
|  | Clear and grub up to 2m wide | m² |  | 2000 |  |  |
|  | Extra-over items for site clearance |  |  |  |  |  |
| 2 | Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site |  |  |  |  |  |
| 3 | Carting away of excavated material |  |  | 1000 |  |  |
|  | BILL No. : 2 EXCAVATIONS |  |  |  |  |  |
|  | RESTRICTED EXCAVATION |  |  |  |  |  |
|  | All excess material from footings, including loose material used for curing, shall be disposed of as directed by the Engineer/Client Representative. |  |  |  |  |  |
|  | Excavate for restricted foundations and footings trenches in all materials |  |  |  |  |  |
|  | BILL No. : 3 CONCRETE WORKS |  |  |  |  |  |
|  | Strength Unreinforced concrete - class 20MPa/13mm cast against ground |  |  |  |  |  |
| 1 | a) 400x400x 600mm deep, Corner and intermediate foundations for posts | m3 |  | 40 |  |  |
|  | TEST BLOCK |  |  |  |  |  |
|  | The costs of making, storing and testing of concrete test cubes as required under clause 7 'Tests' of SABS 1200 G shall include the cost of providing cube moulds necessary for the purpose, for testing costs and for submitting reports on the tests to the Client Representative. The testing shall be undertaken by an independent firm or institution nominated by the Contractor to the approval of the Client Representative. (Test cubes are measured separately). |  |  |  |  |  |
|  | One set of three cubes shall be required for every 40 cubic meters, or part thereof, of concrete cast |  |  |  |  |  |
| 2 | Making and testing set of three 150 x 150 x 150mm concrete strength test cubes (Provisional). | item |  | 1 |  |  |
|  | FENCING The Contractor Shall Submit Certificate of compliance for all materials and coatings. |  |  |  |  |  |
|  | Posts shall be set plumb, and follow the indicated alignment. All posts shall be set to the depth specified. Concrete shall be thoroughly consolidated around each post, free of voids, and finished with a domed shaped surface, with the base of dome at grade elevation. Concrete shall be allowed to cure prior to installing any additional components to the posts. |  |  |  |  |  |
|  | Supply and erect hot dipped galvanized 4000mm long Taper Locking Post. Post width shall be 85mm - tapering to 45mm with a depth of 85mm. Post shall include ‘Locking Recess Mechanism’ to secure panel edge. Post shall be sealed with a UV stabilized polymer cap. Post finish shall be galvanized, then Polymetic 6000 coated | No |  | 365 |  |  |
|  | PANELS |  |  |  |  |  |
|  | Clearvu Reinforced wall" mesh panel with 76,2mm x 12,7mm aperture, size 3305mm width x 3000mm height formed with 3mm wire diameter, reinforced with 4 x 50mm deep 'V' formation horizontal recessed bands (rigidity) having 2 x 70° flanges along sides (internal fixtures- all fixtures shall be on the inside of fence line) Panel shall have 1 x 90° flange along top and 1 x 30° flange along toe (integrated rigid angle, anti-scale locking device). Panel post shall have a flush panel post finish with no climbing aid. Panel shall be affixed to post over 48 line wires using 8 x Double bolt comb clamps and 8 x Single bolt comb clamps using 24 x anti vandal bolts. All panel and fixtures shall be galvanized, The panel shall be reinforced with high tensile toughened steel bar cage to be positioned at 152.4mm intervals to prevent cutting using common hand tools. Panels shall include stainless steel through-bolt system with a modular rail | No |  | 365 |  |  |
|  | 6000mm DOUBLE LEAF SWINGING GATE |  |  |  |  |  |
| 3 | Supplly and install Clear-vu 6m wide x 3m high double leaf swing gate complete with everything to ensure the functionality of the gate., All connections and joints shall be welded to form rigid frames or assembled with corner fittings. Hinges shall not twist or turn under the action of the gate, shall be so arranged that a closed gate cannot be lifted off from the hinges to obtain entry. Gate frame fabrication and miscellaneous items shall be similar to Swing Gates. All fittings, brackets and rear wheel tracks shall be standard manufactured products for the intended application | No |  | 1 |  |  |
|  | SINGLE LEAF 1500mm PEDESTIAN GATE |  |  |  |  |  |
| 4 | Supply and install Clear-vu 6m wide x 3m high double leaf swing gate complete with everything to ensure the functionality of the gate., All connections and joints shall be welded to form rigid frames or assembled with corner fittings. Hinges shall not twist or turn under the action of the gate, shall be so arranged that a closed gate cannot be lifted off from the hinges to obtain entry. Gate frame fabrication and miscellaneous items shall be similar to Swing Gates. All fittings, brackets and rear wheel tracks shall be standard manufactured products for the intended application. | No |  | 1 |  |  |
|  | ANTI BURROW PANELS |  |  |  |  |  |
|  | Supply and install Clearvu Anti-burrow" galvanized and bitumen coated mesh panel with 76.2mm x 12,7mm aperture, size 3305mm x 600mm high | No |  | 364 |  |  |
|  | FENCE TOPPINGS |  |  |  |  |  |
| 4 | 100mm high hot dipped galvanized toughen steel "Shark tooth spike" shall be affixed to panel edge, internally at 150mm intervals using Anti-vandal bolts | m |  | 724 |  |  |
|  | BILL No. : 5 SECURITY BOOM GATE |  |  |  |  |  |
| 1 | Supply, deliver and install Boom gate 3000mm long pvc 75mm diameter arm, coated with reflecto tape, with pivoting up and down action. | No |  | 2 |  |  |

FINAL SUMMARY

| Item No. | DESCRIPTION | TASK PRICE | TOTAL PRICE |
| --- | --- | --- | --- |
| 1 | BUILDING WORK | R |  |
| 2 | ISLAND & PAVINGS | R |  |
| 3 | CANOPY | R |  |
| 4 | MECHANICAL WORK | R |  |
| 5 | ELECTRICAL WORKS | R |  |
| 6 | FANCING | R |  |
|  | SUB TOTAL (sum of task) | R |  |
|  | CONTIGENCY (10% of subtotal) | R |  |
|  | SUB TOTAL B (subtotal + contingency) | R |  |
|  | VAT (15% of subtotal B) | R |  |
|  | GRAND TOTAL (subtotal B+Vat) | R |  |

1.    The prices must include material, labour, transport, delivery, packing expenses, VAT, etc

2.     Period for delivery/rendering of services………..……………

3.     Despite the aforesaid a contract may on reasonable and justifiable ground be

awarded to a tenderer whose quotation price is not the lowest offer received.

4. Business Information:

| Contact Person |  | Bank Name |  |
| --- | --- | --- | --- |
| Trade Name |  | Branch Code |  |
| Close Corporation |  | Bank Account No. |  |
| PTY LTD |  | Bank Account Type |  |
| Sole Owner |  | Income Tax No. |  |
| Partnership |  | VAT No. |  |

.……….……………………               				……………………………

Contractor’s signature                                			 Date

Name of signatory in block letters        			Capacity of signatory

Tel:………………………….                    			…………………………

PART T2:  RETURNABLE DOCUMENTS

T2.1 - List of Returnable Documents

FREE STATE PROVINCIAL GOVERNMENT

DEPARTMENT OF SOCIAL DEVELOPMENT

EXPRESSION NO: FSDSD (T) 004/2024

APPOINTMENT OF A SUITABLY QUALIFIED CONTRACTOR, JOINT VENTURE, OR CONSORTIUM FOR THE CONSTRUCTION, INSTALLATION, AND SUPPLY OF VARIOUS SERVICES AT THE MATETE-MATCHES SECURE CENTER IN KROONSTAD

E2.1 List of Returnable Documents

The tenderer must complete the following returnable documents: - List of Returnable Documents required (Mandatory) - Provide a unique security Personal Identification number (PIN) issued by the South African Revenue Services (where Consortium / Joint Venture / Sub-contractors are involved, each party to the association must submit a separate or a unique security personal Identification number). - Provide a valid Proof of Registration on the National Treasury`s Central Supplier`s Database. - Tenderers should have a CIDB contractor grading designation of 4SQ or higher. A valid CIDB CRS number must be provided as proof of active membership. - A valid Letter of Good Standing issued by the Department of Labour. Required for tender evaluation purposes - Schedule of the Tenderer’s Experience (Particulars of Tenderers Projects) - Certificate of Resolution of Board of Directors. - Certificate of Resolution of Board of Directors to enter into a Consortia or Joint Ventures. - Certificate of Special Resolution of Consortia or Joint Ventures. - Provide proof of qualifications and experience of key staff. Complete and sign the Resource Information Sheet. - Curriculum Vitae of the person who prepares the Contractor’s Health and Safety Plan - Curriculum Vitae of the Health and Safety Officer the successful tenderer intends appointing in accordance with the Occupational Health and Safety Act (Act 85 of 1993). - Curriculum Vitae of all supervisory staff - C1.1 Offer and Acceptance - C1.2 Contract Data (Part 2)

PART T2:  RETURNABLE DOCUMENTS

T2.2 - Returnable Schedules

# SBD 1

PART A

INVITATION TO BID

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF THE (NAME OF DEPARTMENT/ PUBLIC ENTITY) |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BID NUMBER: | FSDSD (T) 004/2024 |  |  | CLOSING DATE: |  | 13 March 2025 |  |  | CLOSING TIME: |  | 11h00 |
| DESCRIPTION | APPOINTMENT OF A SUITABLY QUALIFIED CONTRACTOR, JOINT VENTURE, OR CONSORTIUM FOR THE CONSTRUCTION, INSTALLATION, AND SUPPLY OF VARIOUS SERVICES AT THE MATETE-MATCHES SECURE CENTER IN KROONSTAD |  |  |  |  |  |  |  |  |  |  |
| BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX SITUATED AT (STREET ADDRESS) |  |  |  |  |  |  |  |  |  |  |  |
| Bid Box situated at Main Entrance at the Foyer |  |  |  |  |  |  |  |  |  |  |  |
| Civilia Building, Number 14 |  |  |  |  |  |  |  |  |  |  |  |
| Mariam Makeba Street, |  |  |  |  |  |  |  |  |  |  |  |
| Bloemfontein |  |  |  |  |  |  |  |  |  |  |  |
| 9300 |  |  |  |  |  |  |  |  |  |  |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO |  |  |  |  | TECHNICAL ENQUIRIES MAY BE DIRECTED TO: |  |  |  |  |  |  |
| CONTACT PERSON |  |  | Patrice Nkhatho |  | CONTACT PERSON |  |  | Paul Mcina |  |  |  |
| TELEPHONE NUMBER |  |  | 051 409 0535 |  | TELEPHONE NUMBER |  |  | 051 409 0615 |  |  |  |
| FACSIMILE NUMBER |  |  | N/A |  | FACSIMILE NUMBER |  |  | N/A |  |  |  |
| E-MAIL ADDRESS |  |  | Patrice.Nkhatho@fssocdev.gov.za |  | E-MAIL ADDRESS |  |  | mcinachester@gmail.com |  |  |  |
| SUPPLIER INFORMATION |  |  |  |  |  |  |  |  |  |  |  |
| NAME OF BIDDER |  |  |  |  |  |  |  |  |  |  |  |
| POSTAL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |
| STREET ADDRESS |  |  |  |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER |  | CODE |  |  |  | NUMBER |  |  |  |  |  |
| CELLPHONE NUMBER |  |  |  |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER |  | CODE |  |  |  | NUMBER |  |  |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |
| VAT REGISTRATION NUMBER |  |  |  |  |  |  |  |  |  |  |  |
| SUPPLIER COMPLIANCE STATUS |  | TAX COMPLIANCE SYSTEM PIN: |  |  | OR |  | CENTRAL SUPPLIER DATABASE No: | MAAA |  |  |  |
| #### ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES OFFERED? |  | Yes No [IF YES ENCLOSE PROOF] |  |  | #### ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES OFFERED? |  |  |  |  | Yes No [IF YES, ANSWER THE QUESTIONNAIRE BELOW] |  |
| QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS |  |  |  |  |  |  |  |  |  |  |  |
| IS THE ENTITY A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA)? YES NO DOES THE ENTITY HAVE A BRANCH IN THE RSA? YES NO DOES THE ENTITY HAVE A PERMANENT ESTABLISHMENT IN THE RSA? YES NO DOES THE ENTITY HAVE ANY SOURCE OF INCOME IN THE RSA? YES NO IS THE ENTITY LIABLE IN THE RSA FOR ANY FORM OF TAXATION? YES NO IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN IT IS NOT A REQUIREMENT TO REGISTER FOR A TAX COMPLIANCE STATUS SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 BELOW. |  |  |  |  |  |  |  |  |  |  |  |

PART B

TERMS AND CONDITIONS FOR BIDDING

- BID SUBMISSION:

- BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION. - ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED (NOT TO BE RE-TYPED) OR IN THE MANNER PRESCRIBED IN THE BID DOCUMENT. - THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT, 2000 AND THE PREFERENTIAL PROCUREMENT REGULATIONS, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT. - THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (SBD7).

- TAX COMPLIANCE REQUIREMENTS

- BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS. - BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE THE ORGAN OF STATE TO VERIFY THE TAXPAYER’S PROFILE AND TAX STATUS. - APPLICATION FOR TAX COMPLIANCE STATUS (TCS) PIN MAY BE MADE VIA E-FILING THROUGH THE SARS WEBSITE WWW.SARS.GOV.ZA. - BIDDERS MAY ALSO SUBMIT A PRINTED TCS CERTIFICATE TOGETHER WITH THE BID. - IN BIDS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED; EACH PARTY MUST SUBMIT A SEPARATE TCS CERTIFICATE / PIN / CSD NUMBER. - WHERE NO TCS PIN IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST BE PROVIDED. - NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE, COMPANIES WITH DIRECTORS WHO ARE PERSONS IN THE SERVICE OF THE STATE, OR CLOSE CORPORATIONS WITH MEMBERS PERSONS IN THE SERVICE OF THE STATE.”

NB: FAILURE TO PROVIDE / OR COMPLY WITH ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.

SIGNATURE OF BIDDER:					……………………………………………

CAPACITY UNDER WHICH THIS BID IS SIGNED:		……………………………………………

(Proof of authority must be submitted e.g. company resolution)

DATE:								……………………………

# SBD 4

BIDDER’S DISCLOSURE

- PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.

- BIDDERS’S DECLARATION

2.1 	Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise, employed by the state?      			    YES/NO

2.1.1	If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

| Full Name | Identity Number | Name of State institution |
| --- | --- | --- |

SBD 4

2.2	Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution?                                                                                                         YES/NO

2.2.1     If so, furnish particulars:

……………………………………………………………………………………………………………………….

……………………………………………………………………………………………………………………….

2.3 	Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?			                                                         YES/NO

    - If so, furnish particulars:

……………………………………………………………………………………………………………………….

……………………………………………………………………………………………………………………….

- DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 	I have read and I understand the contents of this disclosure;

3.2	I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;

3.3 	The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium will not be construed as collusive bidding.

3.4 	In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.

3.4	The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

SBD 4

3.5 	There have been no consultations, communications, agreements or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

  - I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.

..…………………………………………… 	                                          ……………………………………

Signature	                                                         Date

………………………………………………	                                          ………………………………………

Position                                                                                         Name of bidder

SBD 6.1

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2022

This preference form must form part of all tenders invited.  It contains general information and serves as a claim form for preference points for specific goals.

NB:	BEFORE COMPLETING THIS FORM, TENDERERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS, 2022

- GENERAL CONDITIONS

  - The following preference point systems are applicable to invitations to tender:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

- the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

  - To be completed by the organ of state

(delete whichever is not applicable for this tender).

- The applicable preference point system for this tender is the 80/20 preference point system.

  - Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for:

- Price; and

- Specific Goals.

  - To be completed by the organ of state:

The maximum points for this tender are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| SPECIFIC GOALS | 20 |
| Total points for Price and SPECIFIC GOALS | 100 |

  - Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

  - The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.

- DEFINITIONS

- “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation;

- “price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts;

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and

- “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).

- FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

  - POINTS AWARDED FOR PRICE

3.1.1   THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	or	90/10

Ps=801-Pt-PminPmin	or	Ps=901-Pt-PminPmin

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmin	=	Price of lowest acceptable tender

  - FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT

    - POINTS AWARDED FOR PRICE

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	               or	            90/10

Ps=801+Pt-PmaxPmax	or	Ps=901+Pt-PmaxPmax

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmax	=	Price of highest acceptable tender

- POINTS AWARDED FOR SPECIFIC GOALS

  - In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender:

  - In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of—

- an invitation for tender for income-generating contracts, that either the 80/20 or 90/10 preference point system will apply and that the highest acceptable tender will be used to determine the applicable preference point system; or

- any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,

then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system.

Table 1: Specific goals for the tender and points claimed are indicated per the table below.

(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such.

Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)

| The specific goals allocated points in terms of this tender | Number of points allocated (80/20 system) (To be completed by the organ of state) | Number of points claimed (80/20 system ) (To be completed by the tenderer) |
| --- | --- | --- |
| Gender: 51% or more owned by women | 6 |  |
| Race : 100% Black ownership | 4 |  |
| People living with disability : 51% or more owned by people with Disabilities | 3 |  |
| Locality: companies within Fezile Dabi District Municipality 100% | 3 |  |
| Locality: Free State based companies : 100% | 2 |  |
| Youth Ownership : 51% or more owned by Youth | 2 |  |

DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm…………………………………………………………………….

  - Company registration number: …………………………………………………………...

  - TYPE OF COMPANY/ FIRM

Partnership/Joint Venture / Consortium

One-person business/sole propriety

Close corporation

Public Company

Personal Liability Company

(Pty) Limited

Non-Profit Company

State Owned Company

[Tick applicable box]

  - I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct;

- If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

  - disqualify the person from the tendering process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution, if deemed necessary.

……………………………………….

SIGNATURE(S) OF TENDERER(S)

SURNAME AND NAME:	 ……………………………………………………….

DATE:			………………………………………………………

ADDRESS:		………………………………………………………

………………………………………………………

………………………………………………………

………………………………………………………

  - The 80 points will be for price; and

  - The 20 points will be allocated for the specific goals as follows:

| HISTORICALLLY DISADVANTAGED PERSON OR INDIVIDUALS | POINTS ALLOCATION | SOURCE DOCUMENTS REQUIRED TO CLAIM POINTS |
| --- | --- | --- |
| Gender: 51% or more owned by women | 6 | Ownership Certificate issued by the Companies and Intellectual Property Commission (CIPC) / Sworn affidavit signed by the EME/QSE representative and attested by a Commissioner of oaths. |
| Race: 100% Black ownership | 4 | Ownership Certificate issued by the Companies and Intellectual Property Commission (CIPC) / Sworn affidavit signed by the EME/QSE representative and attested by a Commissioner of oaths. |
| People living with disability: 51% or more owned by people with Disabilities | 3 | A copy of medical certificate to confirm disability |
| Locality: companies within Fezile Dabi District Municipality 100% | 3 | Proof of residence or valid leasing agreement if not owning the property together with the proof of rental payments (i.e. invoice or statement from the lessor not older than 3 months) Or Proof of municipality accounts in the bidders’ name (company name / Director of company) not older than (3) three months or CIPC certificate |
| Locality: Free State based companies: 100% | 2 | Proof of residence or valid leasing agreement if not owning the property together with the proof of rental payments (i.e. invoice or statement from the lessor not older than 3 months) Or Proof of municipality accounts in the bidders’ name (company name / Director of company) not older than (3) three months or CIPC certificate |
| Youth Ownership: 51% or more owned by Youth | 2 | Ownership Certificate issued by the Companies and Intellectual Property Commission (CIPC) / Sworn affidavit signed by the EME/QSE representative and attested by a Commissioner of oaths. |

Schedule of the Tenderer’s Experience (Particulars of Tenderers Projects)

| FORM: PARTICULARS OF TENDERERS PROJECTS |  |  |  |
| --- | --- | --- | --- |
| Project title: | APPOINTMENT OF A SUITABLY QUALIFIED CONTRACTOR, JOINT VENTURE, OR CONSORTIUM FOR THE CONSTRUCTION, INSTALLATION, AND SUPPLY OF VARIOUS SERVICES AT THE MATETE-MATCHES SECURE CENTER IN KROONSTAD |  |  |
| Expression no: | FSDSD (T) 004/2024 | Closing date: | 13 March 2025 |
| Advertising date: | 21 February 2025 | Validity period: | 120 days |

Note: The Tenderer is required to furnish the following particulars and to attach additional pages if more space is required.  Failure to furnish the particulars will result in the tender offer being disqualified from further consideration.

- PARTICULARS OF THE TENDERER’S CURRENT AND PREVIOUS COMMITMENTS

  - Current projects: Appointment letter(s) must be provided to buttress the information supplied below.

| Projects currently engaged in |  | Name of Employer or Representative of Employer | Contact tel. no. | Contract sum | Contractual commencement date | Contractual completion date | Present progress |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |

| Name of Tenderer | Signature | Date |
| --- | --- | --- |

  - Completed projects: Both appointment letter(s) and completion certificates linked to the project(s) listed below must be provided to buttress the information provided.

| Projects completed in the previous 5 (five) years |  | Name of Employer or Representative of Employer | Contact tel. no. | Contract sum | Contractual commencement date | Contractual completion date | Date of Certificate of Practical Completion |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |

| Name of Tenderer | Signature | Date |
| --- | --- | --- |

### Resource Information Sheet (CV) – Competent Construction Manager who will be committed to the project on at all times

| Professional Registration(s) |  |
| --- | --- |
| Professional Registration Number(s): |  |
| Date of Birth: |  |
| ID number: |  |
| Employed by: |  |
| Number of years with current employer |  |
| Position held with current employer |  |

SIGNATURE OF RESOURCE (CONSTRUCTION MANAGER):

DATE:

| Key projects worked on (align to evaluation requirements) | Name of project | Role in Project | Project Value | Duration of Project | Project Start Date | Project End Date | Reference Name | Reference Contact number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |

| Key projects worked on (align to evaluation requirements) | Name of project | Role in Project | Project Value | Duration of Project | Project Start Date | Project End Date | Reference Name | Reference Contact number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 7 |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |

| Key projects worked on (align to evaluation requirements) | Name of project | Role in Project | Project Value | Duration of Project | Project Start Date | Project End Date | Reference Name | Reference Contact number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 13 |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |
| In your opinion why you would be the right resource for this project, based on your experience? |  |  |  |  |  |  |  |  |

NAME:

SIGNATURE OF RESOURCE:

DATE

### Resource Information Sheet (CV) – Competent Construction Supervisor who will strictly focus on the project

| Professional Registration(s) |  |
| --- | --- |
| Professional Registration Number(s): |  |
| Date of Birth: |  |
| ID number: |  |
| Employed by: |  |
| Number of years with current employer |  |
| Position held with current employer |  |

SIGNATURE OF RESOURCE (CONSTRUCTION SUPERVISOR):

DATE:

| Key projects worked on (align to evaluation requirements) | Name of project | Role in Project | Project Value | Duration of Project | Project Start Date | Project End Date | Reference Name | Reference Contact number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |

| Key projects worked on (align to evaluation requirements) | Name of project | Role in Project | Project Value | Duration of Project | Project Start Date | Project End Date | Reference Name | Reference Contact number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 7 |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |

| Key projects worked on (align to evaluation requirements) | Name of project | Role in Project | Project Value | Duration of Project | Project Start Date | Project End Date | Reference Name | Reference Contact number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 13 |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |
| In your opinion why you would be the right resource for this project, based on your experience? |  |  |  |  |  |  |  |  |

NAME:

SIGNATURE OF RESOURCE:

DATE

RESOLUTION OF BOARD OF DIRECTORS

RESOLUTION of a meeting of the Board of *Directors / Members / Partners of:

(legally correct full name and registration number, if applicable, of the Enterprise)

Held at  	(place)

on  	(date)

RESOLVED that:

1	The Enterprise submits a Tender to the Department of Social Development, Free State Province in respect of the following project:

(project description as per Tender Document)

Tender Number:  	(Tender Number as per Tender Document)

2	*Mr/Mrs/Ms:

in *his/her Capacity as:  	(Position in the Enterprise)

and who will sign as follows:

be, and is hereby, authorised to sign the Tender, and any and all other documents and/or correspondence in connection with and relating to the Tender, as well as to sign any Contract, and any and all documentation, resulting from the award of the Tender to the Enterprise mentioned above.

|  | Name | Capacity | Signature |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |

Note:	ENTERPRISE STAMP

1.	* Delete which is not applicable.

2.	NB. This resolution must be signed by all the Directors / Members / Partners of the Tendering Enterprise.

RESOLUTION OF BOARD OF DIRECTORS TO ENTER INTO CONSORTIA OR JOINT VENTURES

RESOLUTION of a meeting of the Board of *Directors / Members / Partners of:

(Legally correct full name and registration number, if applicable, of the Enterprise)

held at                                                                                            (place) on                                                                                                    (date) RESOLVED that:

1   The Enterprise submits a Tender, in consortium/joint venture with the following Enterprises:

(List all the legally correct full names and registration numbers, if applicable, of the Enterprises forming the consortium/joint venture)

to the Department of Social Development, Free State Province in respect of the following project:

(Project description as per Tender Document)

Tender Number:  	(Tender Number as per Tender Document)

2   *Mr/Mrs/Ms:

in *his/her Capacity as:   	(Position in the Enterprise)

and who will sign as follows:

be, and is hereby, authorised to sign a consortium/joint venture agreement with the parties listed under item 1 above, and any and all other documents and/or correspondence in connection with and relating to the consortium/joint venture, in respect of the project described under item 1 above.

3   The Enterprise accept joint and several liability with the parties listed under item 1 above for the due fulfillment of the obligations of the joint venture deriving from, and in any way connected with, the Contract to be entered into with the Department in respect of the project described under item 1 above.

4   The Enterprise choose as its domicilium citandi et executandi for all purposes arising from this joint venture agreement and the Contract with the Department in respect of the project under item 1 above:

Physical address:											____________

_____________________________(code) _____________

Postal Address: 									_______________

_________________________________________________________________________(code) _____________

Telephone number: ________________________________________ (code) ________________

Fax number: ______________________________________________ (code) ________________

|  | Name | Capacity | Signature |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |
| 11 |  |  |  |
| 12 |  |  |  |
| 13 |  |  |  |
| 14 |  |  |  |
| 15 |  |  |  |

Note:	ENTERPRISE STAMP

1.	*  Delete which is not applicable.

2.	NB. This resolution must be signed by all the Directors / Members / Partners of the Tendering Enterprise.

3.	Should    the    number    of    Directors    / Members / Partners exceed the space available  above,  additional  names, capacity and signatures must be supplied on a separate page.

SPECIAL RESOLUTION OF CONSORTIA OR JOINT VENTURES

RESOLUTION of a meeting of the duly authorised representatives of the following legal entities who have entered into a consortium/joint venture to jointly tender for the project mentioned below: (legally correct full names and registration numbers, if applicable, of the Enterprises forming a consortium/joint venture)

1

2

3

4

5

6

7

8

Held at  	(place)

on  	(date)

RESOLVED that:

A.   The above-mentioned Enterprises submit a tender in consortium/joint venture to the Department of Public and Infrastructure Works, Free State Province in respect of the following project:

(Project description as per Tender Document)

Tender Number:  	(Tender Number as per Tender Document)

B.   Mr/Mrs/Ms:

in *his/her Capacity as:   	(Position in the Enterprise)

and who will sign as follows:

be, and is hereby, authorised to sign the tender, and any and all other documents and/or correspondence in connection with and relating to the tender, as well as to sign any Contract, and any and all documentation, resulting from the award of the tender to the Enterprises in consortium/joint venture mentioned above.

C.  The Enterprises constituting the consortium/joint venture, notwithstanding its composition, shall conduct all business under the name and style of:

D.  The Enterprises to the consortium/joint venture accept joint and several liability for the due fulfilment of the obligations of the consortium/joint venture deriving from, and in any way connected with, the Contract entered into with the Department in respect of the project described under item A above.

E.   Any of the Enterprises to the consortium/joint venture intending to terminate the consortium/joint venture agreement, for whatever reason, shall give the Department 30 days written notice of such intention. Notwithstanding such decision to terminate, the Enterprises shall remain jointly and severally liable to the Department for the due fulfilment of the obligations of the consortium/joint venture as mentioned under item D above.

F.  No Enterprise to the consortium/joint venture shall, without the prior written consent of the other Enterprises to the consortium/joint venture and of the Department, cede any of its rights or assign any of its obligations under the consortium/joint venture agreement in relation to the Contract with the Department referred to herein.

G.  The Enterprises choose as the domicilium citandi et executandi of the consortium/joint venture for all purposes arising from the consortium/joint venture agreement and the Contract with the Department in respect of the project under item A above:

Physical address:										_________________

___________________________(code) _____________

Postal Address: 										_____________

__________________________________________________________________________(code) _________

Telephone number: ________________________________________ (code) ________________

Fax number: ______________________________________________ (code) ________________

THE CONTRACT

PART C1: AGREEMENT AND CONTRACT DATA

C1.1 - Form of Offer and Acceptance

C1.1 Form of Offer and Acceptance

Offer

The employer, identified in the acceptance signature block, has solicited offers to enter into a contract for the procurement of: APPOINTMENT OF A SUITABLY QUALIFIED CONTRACTOR, JOINT VENTURE, OR CONSORTIUM FOR THE CONSTRUCTION, INSTALLATION, AND SUPPLY OF VARIOUS SERVICES AT THE MATETE-MATCHES SECURE CENTER IN KROONSTAD

The tenderer, identified in the offer signature block, has examined the documents listed in the tender data and addenda thereto as listed in the returnable schedules, and by submitting this offer has accepted the conditions of tender.

By the representative of the tenderer, deemed to be duly authorized, signing this part of this form of offer and acceptance, the tenderer offers to perform all of the obligations and liabilities of the contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the contract data.

THE OFFERED TOTAL OF THE PRICES INCLUSIVE OF VALUE ADDED TAX IS:

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . Rand (in words);

R . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . (in figures)

This offer may be accepted by the employer by signing the acceptance part of this form of offer and acceptance and returning one copy of this document to the tenderer before the end of the period of validity stated in the tender data, whereupon the tenderer becomes the party named as the contractor in the conditions of contract identified in the contract data.

Signature       . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .                        Date . . . . . . . . . . . . . . . . . . .

Name             . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Capacity         . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

for the Tenderer

(Name and           . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

address of

organization)         . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Name and

signature

of witness    	 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .                    . . . . . . . . . . . . . . . . . . . . . .

Acceptance

By signing this part of this form of offer and acceptance, the employer identified below accepts the tenderer’s offer.  In consideration thereof, the employer shall pay the contractor the amount due in accordance with the conditions of contract identified in the contract data.  Acceptance of the tenderer’s offer shall form an agreement between the employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1:	Agreements and contract data, (which includes this agreement)

Part C2:	Pricing data

Part C3:	Scope of work.

Part C4:	Site information

Part C5:	Additional returnable Documents

and drawings and documents or parts thereof, which may be incorporated by reference into Parts 1 to 5 above.

Deviations from and amendments to the documents listed in the tender data and any addenda thereto as listed in the tender schedules as well as any changes to the terms of the offer agreed by the tenderer and the employer during this process of offer and acceptance, are contained in the schedule of deviations attached to and forming part of this agreement. No amendments to or deviations from said documents are valid unless contained in this schedule.

The tenderer shall within two weeks after receiving a completed copy of this agreement, including the schedule of deviations (if any), contact the employer’s agent (whose details are given in the contract data) to arrange the delivery of any bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the contract data. Failure to fulfill any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy of this document, including the schedule of deviations (if any).  Unless the tenderer (now contractor) within five working days of the date of such receipt notifies the employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the parties.

Signature         . . . . . . . . . . . . . . . . . . . . . . . . . . . . .              Date . . . . . . . . . . . . . . . . . . .

Name               MS. N.P NTOMBELA

Capacity          ACTING HEAD: FREE STATE DEPARTMENT OF SOCIAL DEVELOPMENT

for the

Employer       DEPARTMENT OF SOCIAL DEVELOPMENT

P.O Box 690

Bloemfontein

Name and			. . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Signature of witness		. . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Date        			. . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Schedule of Deviations

- Subject	. . . . . . . . . . . . . . . . . . . . . . . . . . .. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Details	. . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

- Subject	. . . . . . . . . . . . . . . . . . . . . . . . . . .. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Details	. . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

- Subject	. . . . . . . . . . . . . . . . . . . . . . . . . . .. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Details	. . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

- Subject	. . . . . . . . . . . . . . . . . . . . . . . . . . .. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Details	. . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

- Subject	. . . . . . . . . . . . . . . . . . . . . . . . . . .. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Details	. . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

By the duly authorized representatives signing this agreement, the employer and the tenderer agree to and accept the foregoing schedule of deviations as the only deviations from and amendments to the documents listed in the tender data and addenda thereto as listed in the tender schedules, as well as any confirmation, clarification or changes to the terms of the offer agreed by the tenderer and the employer during this process of offer and acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Agreement shall have any meaning or effect in the contract between the parties arising from this agreement.

PART C1: AGREEMENT AND CONTRACT DATA

C1.2 - Contract Data

CONTRACT PERIOD

SIX (06) MONTHS

FREE STATE PROVINCIAL GOVERNMENT

DEPARTMENT OF SOCIAL DEVELOPMENT

TENDER NO: FSDS (T) 002/2024

Description: DEPARTMENT OF SOCIAL DEVELOPMENT HEREBY INVITES EXPRESSION OF INTEREST TO REGISTER ON PANEL OF   CONSTRUCTION CONTRACTORS (1 – 3GB, 1 – 3ME, 1 – 3EB) ON “AS AND WHEN” REQUIRED BASIS FOR A PERIOD OF THREE (03) YEARS

C1.2	Contract Data

## The Conditions of Contract are clauses of the JBCC Series Principal Building Agreement (Edition 6.2) published by the Joint Building Contracts Committee or any other construction contract approved for use in the Public Sector by the National Department of Social Development.

the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.

Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.