# Part 4: Site Information

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C4 | Site Information |  |
|  | Total number of pages |  |

# Part 4: Site Information

# General description

Kwagga Substation is located in the Gauteng province, in Pretoria West ; Figure 1 below displays the locality map. The refurbishment of the access road at Kwagga Substation is designed for which this report includes the standard civil works as part of the detail design.

Site coordinates

Latitude 25°45'27"S Longitude 28°6'20"E

Figure 1: Locality map and site of Kwagga Substation

Figure 2: Road layout

# Existing buildings, structures, and plant & machinery on the Site

# The site is located on the road that leads to the access of the Kwagga substation therefore the existing infrastructure would be the Kwagga Substation and the boundary fencing

# Subsoil information

N/A

# Hidden services

N/A

# Other reports and publicly available information

The drainage along the road from the gate must be cleaned and where required should be repaired. The drainage outside the substation adjacent to the gate must be cleared of debris and a screen should be installed to both drainage headwalls to prevent debris blocking the drains. After the completion of cleaning and repairing the drains, vegetation should be add/planted in the area adjacent to the gate, this will reduce the soil from washing into the drains as the drains are the lowest point. A cut of drain will be constructed on one side alongside the road at the gate as detailed on KWA20P08-SE-D42. The drainage and concrete gutter along the road inside the substation should be cleared and repaired where damaged. See the Figure 2 for pictures taken on site.