# THE SITE

The project comprises the CONSTRUCTION OF TSHIKHUDINI COMMUNITY HALL in Musina.

The description of the project as described in this section is merely an outline of the contract works and shall not be regarded as limiting to the amount of work to be done by the Contractor under this contract.

The brief scope of work is as follows:

- Site establishment

- Clearing of Site

- Earthworks

- Foundations

- Brickwork

- Roofing

- Flooring

- Glazing

- Ceilings

- Plumbing

- Electrical

- Fencing and Gates

- Ironmongery

- Capentry

- Water Supply

- Exploration and drilling of borehole

- Equipping of borehole with a submissible pump

- Painting

- Sewer system including Septic Tank

- Paving

The above-mentioned works will be applicable for both the Community Hall and its Guardhouse.