TAD MAJOR SERVICE OF THE TRAIN CHILLER PLANT SERIAL NUMBER: U94L04757, MODEL NUMBER: RTHB380RLB00NW00TOUNN4LF2LF0000, WATER TREATMENT AND COOLING TOWERS.

| Numbering | Description | AMOUNT | TOTAL |
| --- | --- | --- | --- |
| 1. | Cleaning of condenser tubes |  |  |
| 2. | Replacement of compressor discharge pipe gasket |  |  |
| 3. | Check gas leaks |  |  |
| 4. | Vacuum and recharging of R22 refrigerant |  |  |
| 5. | Replacement of oil with lip-seal |  |  |
| 6. | Replacement of refrigerant filters with lip-seal |  |  |
| 7. | Test flow switch for both condenser and chilled line. |  |  |
| 8. | Supply three circuit breakers (3-phase;80A) |  |  |
| 9. | Supply three contactors (80A) |  |  |
| 10. | Supply three overload protection (38A-50A) |  |  |
| 11. | Supply and install temperature control sensor |  |  |
| 12. | Repair of water treatment dosing supply tank and automatic pump dosing |  |  |
| 13. | Water treatment on both chilled and condenser pipes |  |  |
| 14. | Cleaning of strainers on the condenser line and chilled line |  |  |
| 15. | Install the standby pumps for chiller line and condenser line |  |  |
| 16. | Cleaning of cooling towers and tower perks |  |  |
| 17. | Repair, installation and commissioning of the cooling tower motor (7.5kW) X2 |  |  |
| 18. | Commissioning of the chiller after repairs |  |  |
| 19. | Provide Test and Service report for water treatment |  |  |
| 20. | Issue COC upon completion |  |  |
| 21. | Provide proof of Qualified technician registered with SAQCC |  |  |
| 22. | Total price EXCL.VAT |  |  |
| 23. | VAT (15%) IF APPLICABLE |  |  |
| 24. | Final grand total inclusive of VAT |  |  |

NB: Site Visit Compulsory

Complete visitor’s forms for site access to be submitted on 13 June 2025 at 12h00PM