ARC PHP Vredenburg campus maintenance list with specifications.

| Scales | Manufacturer and model | Serial number | Supplier | Service required |
| --- | --- | --- | --- | --- |
| 1 | Adam Scale: PGW 4520i_ Max 4500g | AE446L559 | United Scientific | Service and calibration |  |
| 2 | Adam Scale: PGW 4520i_ Max 4500g | AE446L561 | United Scientific | Service and calibration |  |
| 3 | Adam Analytical Scale: PGW 254_Max 250g | AE4383805 | United Scientific | Service and calibration |  |
| 4 | Presica Scale: LX4200C_Max 4200g | 7200060 | United Scientific | Service and calibration |  |
| 5 | Presica Scale: XT4200C_Max 4200g | W51169 | United Scientific | Service and calibration |  |
| 6 | Mettler Scale: PM4600_Max 4600g | F39222 | United Scientific | Service and calibration |  |
| 7 | Mettler Scale: PM4600_Max 4600g | H37714 | United Scientific | Service and calibration |  |
| 8 | Mettle Scale: PE3600_Max 3600g | DI3996 | United Scientific | Service and calibration |  |
| 9 | Mettler Scale: AE100_Max 100g | F48153 | United Scientific | Service and calibration |  |
| Autoclaves | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Labtech autoclave: LAC5100SD | 2014101401 | United Scientific | Service and calibration |  |
| 2 | Labtech autoclave: LAC5100SD | 2014101006 | United Scientific | Service and calibration |  |
| 3 | Service of Hiriyama autoclaves: HA-3D | 84107592 | United Scientific | Service and calibration |  |
| 4 | Service of Hiriyama autoclaves: HA-3D | 82047600 | United Scientific | Service and calibration |  |
| 5 | Lab Almor autoclace | 2707 | Janique Technical services | Service and calibration |  |
| Centrifuges | Lab equipment name and model | Serial number | Supplier | Service required |  |
| 1 | Hermle Z233M-2 | 51120082 | Lasec | Service and calibration |  |
| 2 | Labnet Prism microcentrifuge | P101020 | Lasec | Service and calibration |  |
| 3 | ENS SCI E-C15-24-2P | LW22BAY0000352 | Lasec | Service and calibration |  |
| Ice machine | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Scotsman-AF 80 | DD12571 | Scotsman | Assess and repair (once off ) |  |
|  |  |  | Scotsmans, United Scientific or Lasec | Service |  |
| Microscopes | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Ziess Stemi 580 light microscope | Stemi 508 Body: 3950002613_ Stand K lab: 3944011007 | Wirsam Scientific | Service |  |
| 2 | Ziess Stemi 580 light microscope | Stemi 508 Body: 3950002644_ Stand K lab: 3944010966 | Wirsam Scientific | Service |  |
| 3 | Ziess Stemi 580 light microscope | Stemi 508 Body: 3950002618_ Stand K lab: 3944010996 | Wirsam Scientific | Service |  |
| 4 | Nikon Optiphot | 118791 | Wirsam Scientific | Service |  |
| 5 | Nikon Optiphot + Cover | 122045 | Wirsam Scientific | Service |  |
| 6 | Nikon SMZ1270 | 2002176 | Wirsam Scientific | Service |  |
| Laminars | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Fibration vertical laminar flow cabinet | LAB 00016713 | Hospital and Laboratory solutions | Move out of the lab (once off) |  |
| 2 | Laminaire vertical laminar flow cabinet | LAB 00018789 | Hospital and Laboratory solutions | Service and calibration |  |
| 3 | Afronix vertical laminar flow cabinet | LAB 00018747 | Hospital and Laboratory solutions | Service and calibration |  |
| 4 | Afronix vertical laminar flow cabinet | ARC/PPRI (LAB 000018794)#3 | Hospital and Laboratory solutions | Service and calibration |  |
| 5 | Airvolution vertical laminar flow cabinet | HFL-6FT/16/11/0010 | Hospital and Laboratory solutions | Service and calibration |  |
| 6 | Laminaire/Modtek vertical laminar flow cabinet | LAB 000016701 | Hospital and Laboratory solutions | Service and calibration |  |
| 7 | Protea vertical laminar flow cabinet | LAB 000016683(1445) | Hospital and Laboratory solutions | Service and calibration |  |
| Pipette sets | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Gilson pipetman ; 0.5-10ul | ML14157 | United Scientific or Lasec | Calibration |  |
| 2 | Gilson pipetman ; 2-20ul | MH14026 | United Scientific or Lasec | Calibration |  |
| 3 | Gilson pipetman ; 20-200ul | MJ14233 | United Scientific or Lasec | Calibration |  |
| 4 | Gilson pipetman ; 100-1200ul | CQ37102 | United Scientific or Lasec | Calibration |  |
| 5 | Gilson pipetman ; 2-20ul | HL50389 | United Scientific or Lasec | Calibration |  |
| 6 | Gilson pipetman ; 0.2-2ul | DN56092 | United Scientific or Lasec | Calibration |  |
| 7 | Gilson pipetman ; 20-200ul | DM52243 | United Scientific or Lasec | Calibration |  |
| 8 | Gilson pipetman ; 10-100ul | DL57014 | United Scientific or Lasec | Calibration |  |
| 9 | Gilson pipetman ; 1-10ul | DD54357 | United Scientific or Lasec | Calibration |  |
| 10 | Gilson pipetman ; 2-20ul | DA53071 | United Scientific or Lasec | Calibration |  |
| 11 | Gilson pipetman ; 100-1000ul | DL61358 | United Scientific or Lasec | Calibration |  |
| 12 | Eppendorf ; 0.5-10ul | 351748A | United Scientific or Lasec | Calibration |  |
| 13 | Eppendorf ; 0.4-2.5ul | 498438A | United Scientific or Lasec | Calibration |  |
| 14 | Eppendorf ; 20-200ul | 367499A | United Scientific or Lasec | Calibration |  |
| 15 | Eppendorf ; 2-20ul | G29942B | United Scientific or Lasec | Calibration |  |
| 16 | Eppendorf ; 10-100ul | 337907A | United Scientific or Lasec | Calibration |  |
| 17 | Eppendorf ; 100-100ul | 341394A | United Scientific or Lasec | Calibration |  |
| 18 | Dragon-lab ; 100-1000ul | MA0009384 | United Scientific or Lasec | Calibration |  |
| 19 | Dragon-lab ; 20-200ul | MA0006278 | United Scientific or Lasec | Calibration |  |
| 20 | Dragon-lab ; 0.4-2.5ul | CQ24447 | United Scientific or Lasec | Calibration |  |
| 21 | Dragon-lab ; 10-100ul | CQ37102 | United Scientific or Lasec | Calibration |  |
| 22 | Dragon-lab ; 0.5-10ul | CQ12767 | United Scientific or Lasec | Calibration |  |
| 23 | Scorex ; 100-1000ul | 33051044 | United Scientific or Lasec | Calibration |  |
| 24 | Scorex ; 20-200ul | 33041435 | United Scientific or Lasec | Calibration |  |
| 25 | Scorex ; 1-10ul | 32101231 | United Scientific or Lasec | Calibration |  |
| 26 | Scorex ; 10-100ul | 33041161 | United Scientific or Lasec | Calibration |  |
| 27 | Scorex ; 2-20ul | 33061210 | United Scientific or Lasec | Calibration |  |
| 28 | Scorex ; 10-100ul | 33041170 | United Scientific or Lasec | Calibration |  |
| 29 | Scorex ; 20-200ul | 33041534 | United Scientific or Lasec | Calibration |  |
| freezer (-80) | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Haier DW-86L728 | BE0EZLE1T00QEE8U0011 | United Scientific | Service and calibration |  |
| 2 | Haier DW-86L578J | BE0H1JE1T00QGPBS0027 | United Scientific | Service and calibration |  |
|  | Manufacturer and model | Serial number | Supplier | Service required |  |
| Freeze dryer & vacuum pump | Virtis SP Scientific sentry 2.0 | 310742 | United Scientific | Service and calibration |  |
| Incubator | Manufacturer and model | Serial number | Supplier | Service required |  |
| 1 | Memmert IPP410ECOFO | V724.0005 | Lasec | Service and calibration |  |