ARC PHP Vredenburg campus maintenance list with specifications.
	Scales
	Manufacturer and model
	Serial number 
	Supplier
	Service required

	
	
	
	
	
	

	1
	Adam Scale: PGW 4520i_ Max 4500g
	AE446L559
	United Scientific
	Service and calibration
	

	2
	Adam Scale: PGW 4520i_ Max 4500g
	AE446L561
	United Scientific
	Service and calibration
	

	3
	Adam Analytical Scale: PGW 254_Max 250g
	AE4383805
	United Scientific
	Service and calibration
	

	4
	Presica Scale: LX4200C_Max 4200g
	7200060
	United Scientific
	Service and calibration
	

	5
	Presica Scale: XT4200C_Max 4200g
	W51169
	United Scientific
	Service and calibration
	

	6
	Mettler Scale: PM4600_Max 4600g
	F39222
	United Scientific
	Service and calibration
	

	7
	Mettler Scale: PM4600_Max 4600g
	H37714
	United Scientific
	Service and calibration
	

	8
	Mettle Scale: PE3600_Max 3600g
	 DI3996
	United Scientific
	Service and calibration
	

	9
	Mettler Scale: AE100_Max 100g
	F48153
	United Scientific
	Service and calibration
	

	
	
	
	
	
	

	Autoclaves
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	
	
	
	
	
	

	1
	Labtech autoclave: LAC5100SD
	2014101401
	United Scientific
	Service and calibration
	

	2
	Labtech autoclave: LAC5100SD
	2014101006
	United Scientific
	Service and calibration
	

	3
	Service of Hiriyama autoclaves: HA-3D
	84107592
	United Scientific
	Service and calibration
	

	4
	Service of Hiriyama autoclaves: HA-3D 
	82047600
	United Scientific
	Service and calibration
	

	5
	Lab Almor autoclace 
	2707
	Janique Technical services 
	Service and calibration
	

	
	
	
	
	
	

	Centrifuges
	Lab equipment name and model
	Serial number 
	Supplier
	Service required
	

	
	
	
	
	
	

	1
	Hermle Z233M-2 
	51120082
	Lasec
	Service and calibration
	

	2
	Labnet Prism microcentrifuge
	 P101020
	Lasec
	Service and calibration
	

	3
	ENS SCI E-C15-24-2P
	LW22BAY0000352
	Lasec
	Service and calibration
	

	
	
	
	
	
	

	Ice machine 
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	
	
	
	
	
	

	1
	Scotsman-AF 80
	DD12571 
	Scotsman
	Assess and repair (once off )
	

	
	
	
	Scotsmans, United Scientific or Lasec
	Service
	

	
	
	
	
	
	

	Microscopes
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	
	
	
	
	
	

	1
	Ziess Stemi 580 light microscope 
	Stemi 508 Body: 3950002613_ Stand K lab: 3944011007
	Wirsam Scientific
	Service
	

	2
	Ziess Stemi 580 light microscope 
	Stemi 508 Body: 3950002644_ Stand K lab: 3944010966
	Wirsam Scientific
	Service
	

	3
	Ziess Stemi 580 light microscope 
	Stemi 508 Body: 3950002618_ Stand K lab: 3944010996
	Wirsam Scientific
	Service
	

	4
	Nikon Optiphot 
	118791
	Wirsam Scientific
	Service
	

	5
	Nikon Optiphot  + Cover
	122045
	Wirsam Scientific
	Service
	

	6
	Nikon SMZ1270 
	2002176
	Wirsam Scientific
	Service
	

	
	
	
	
	
	

	Laminars
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	
	
	
	
	
	

	1
	Fibration vertical laminar flow cabinet
	LAB 00016713
	Hospital and Laboratory solutions
	Move out of the lab (once off)
	

	2
	Laminaire vertical laminar flow cabinet
	LAB 00018789
	Hospital and Laboratory solutions
	Service and calibration
	

	3
	Afronix vertical laminar flow cabinet
	LAB 00018747
	Hospital and Laboratory solutions
	Service and calibration
	

	4
	Afronix vertical laminar flow cabinet
	ARC/PPRI (LAB 000018794)#3
	Hospital and Laboratory solutions
	Service and calibration
	

	5
	Airvolution vertical laminar flow cabinet
	HFL-6FT/16/11/0010
	Hospital and Laboratory solutions
	Service and calibration
	

	6
	Laminaire/Modtek vertical laminar flow cabinet
	LAB 000016701
	Hospital and Laboratory solutions
	Service and calibration
	

	7
	Protea vertical laminar flow cabinet
	LAB 000016683(1445)
	Hospital and Laboratory solutions
	Service and calibration
	

	
	
	
	
	
	

	Pipette sets
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	
	
	
	
	
	

	1
	Gilson pipetman ; 0.5-10ul
	ML14157
	United Scientific or Lasec
	Calibration
	

	2
	Gilson pipetman ; 2-20ul
	MH14026
	United Scientific or Lasec
	Calibration
	

	3
	Gilson pipetman ; 20-200ul
	MJ14233
	United Scientific or Lasec
	Calibration
	

	4
	Gilson pipetman ; 100-1200ul
	CQ37102
	United Scientific or Lasec
	Calibration
	

	5
	Gilson pipetman ; 2-20ul
	HL50389
	United Scientific or Lasec
	Calibration
	

	6
	Gilson pipetman ; 0.2-2ul
	DN56092
	United Scientific or Lasec
	Calibration
	

	7
	Gilson pipetman ; 20-200ul
	DM52243
	United Scientific or Lasec
	Calibration
	

	8
	Gilson pipetman ; 10-100ul
	DL57014
	United Scientific or Lasec
	Calibration
	

	9
	Gilson pipetman ; 1-10ul
	DD54357
	United Scientific or Lasec
	Calibration
	

	10
	Gilson pipetman ; 2-20ul
	DA53071
	United Scientific or Lasec
	Calibration
	

	11
	Gilson pipetman ; 100-1000ul
	DL61358
	United Scientific or Lasec
	Calibration
	

	12
	Eppendorf ; 0.5-10ul
	351748A
	United Scientific or Lasec
	Calibration
	

	13
	Eppendorf ; 0.4-2.5ul
	498438A
	United Scientific or Lasec
	Calibration
	

	14
	Eppendorf ; 20-200ul
	367499A
	United Scientific or Lasec
	Calibration
	

	15
	Eppendorf ; 2-20ul
	G29942B
	United Scientific or Lasec
	Calibration
	

	16
	Eppendorf ; 10-100ul
	337907A
	United Scientific or Lasec
	Calibration
	

	17
	Eppendorf ; 100-100ul
	341394A
	United Scientific or Lasec
	Calibration
	

	18
	Dragon-lab ; 100-1000ul
	MA0009384
	United Scientific or Lasec
	Calibration
	

	19
	Dragon-lab ; 20-200ul
	MA0006278
	United Scientific or Lasec
	Calibration
	

	20
	Dragon-lab ; 0.4-2.5ul
	CQ24447
	United Scientific or Lasec
	Calibration
	

	21
	Dragon-lab ; 10-100ul
	CQ37102
	United Scientific or Lasec
	Calibration
	

	22
	Dragon-lab ; 0.5-10ul
	CQ12767
	United Scientific or Lasec
	Calibration
	

	23
	Scorex ; 100-1000ul
	33051044
	United Scientific or Lasec
	Calibration
	

	24
	Scorex ; 20-200ul
	33041435
	United Scientific or Lasec
	Calibration
	

	25
	Scorex ; 1-10ul
	32101231
	United Scientific or Lasec
	Calibration
	

	26
	Scorex ; 10-100ul
	33041161
	United Scientific or Lasec
	Calibration
	

	27
	Scorex ; 2-20ul
	33061210
	United Scientific or Lasec
	Calibration
	

	28
	Scorex ; 10-100ul
	33041170
	United Scientific or Lasec
	Calibration
	

	29
	Scorex ; 20-200ul
	33041534
	United Scientific or Lasec
	Calibration
	

	 
	 
	 
	 
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	freezer (-80)
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	
	
	
	
	
	

	1
	Haier DW-86L728
	BE0EZLE1T00QEE8U0011
	United Scientific
	Service and calibration
	

	2
	Haier DW-86L578J
	BE0H1JE1T00QGPBS0027
	United Scientific
	Service and calibration
	

	
	
	
	
	
	

	 
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	
	
	
	
	
	

	Freeze dryer & vacuum pump
	Virtis SP Scientific sentry 2.0
	310742
	United Scientific
	Service and calibration
	

	
	
	
	
	
	

	
	
	
	
	
	

	Incubator
	Manufacturer and model
	Serial number 
	Supplier
	Service required
	

	
	
	
	
	
	

	1
	Memmert IPP410ECOFO
	V724.0005
	Lasec
	Service and calibration
	



