| RFQ Number | NTP-20250815-01 |
| --- | --- |
| Request for Quotation Date | 02 December 2025 |
| RFQ Closing Date | 05 December 2025 |
| RFQ Closing Time | 12 :00 |
| Compulsory Site Briefing | N/A |
| Contact Person | Thulile Sokhela / Tel: 012 305 5637 |
| Quotation Validity | 90 Days from the closing date |
| Submission Details | RFQ Response must be sent to: Thulile.sokhela@ntp.co.za |
| RFQ Description | Design, fabrication and installation of a lead shielding solution |

Dear Service Provider

Kindly provide a quotation for goods and or services as outlined in section 2 of this document.

# 1. Introduction

Conducting its sophisticated operations amongst an array of state-of-the-art technology and by highly competent scientists, engineers, technologists and pharmacists, NTP Radioisotopes SOC Ltd is one of the world’s leading suppliers of essential medical radioisotopes.

A subsidiary of the South African Nuclear Energy Corporation (Necsa), NTP produces a quarter of the world’s medical radioisotopes which are used in about 40 million medical diagnostic images every year, making it the third largest producer and supplier globally. Use of nuclear medicines allows for gathering of medical information that may otherwise be unavailable, require surgery or necessitate more expensive and invasive diagnostic tests.

This proudly South African corporate company is situated at the sophisticated Necsa nuclear facility site, west of Pretoria and routinely serves customers spanning 60 countries worldwide with its range of nuclear radiation-based products and services. The company has maintained consistent revenue and market share growth and has over the past years created various business subsidiaries or increased holdings in these that strengthened its portfolio.

For more information on NTP Radioisotopes SOC Ltd visit: www.ntp.co.za

# 2. Scope of Work

NTP Radioisotopes SOC Ltd. (NTP) requires the design, fabrication and installation of a lead shielding solution, for the purpose of shielding ionising radiation, for the liquid effluent management tanks of the 177Lu facility, located in building P2100.  The lead shielding solution shall have the following characteristics:

- Two overlapping sliding doors shall be installed to enclose the opening of the concrete shaft where the liquid effluent management tanks are located.  The opening in the concrete shaft is approximately 5m wide.

- The lead shielding solution shall be no less than 2m high.

- The lead shielding solution shall provide no less than 10mm of lead shielding across the entire enclosed surface.  Care shall be taken to avoid possible shine paths created by gaps in the shielding solution.  Where gaps are unavoidable, necessary overlapping shielding components shall be installed.

- Exposed lead shall be clad with stainless steel sheeting of minimum 1mm thickness.

- The sliding door mechanism shall be robust, lockable and operate smoothly.  The sliding door mechanism shall be so constructed to eliminate the possibility of the sliding doors falling over or otherwise becoming unstable.

- The load bearing components of the structure shall be neatly finished by robust powder coating or painting.

- The supplier shall confirm final measurements on site and shall bear sole responsibility for the correctness of such measurements.

- Concept drawings shall be generated by the supplier and submitted to NTP Engineering for acceptance.

- Final shop drawings (general arrangements) shall be generated by the supplier and submitted to NTP Engineering for record keeping.

Bidders shall comply with the following criteria:

- Bidders shall provide a reference project (preferably an NTP or Necsa project/Pelchem) which demonstrates the bidder's competence in the fabrication of lead shielding components for the purpose of shielding ionizing radiation.

- Bidders shall allow an NTP Engineering representative to inspect the bidder's fabrication facility prior to bid adjudication.  The adjudication of fitness-for-purpose of the bidder's fabrication facilities shall be at the discretion of NTP Engineering.

- Bidders shall submit a final, all-inclusive price for the entire scope of work described herein.

- Bidders shall submit a time frame required for the completion of the entire scope of work contained herein.

# 3.  Pricing

- All price must be quoted in South African Rand, exclusive of VAT with details on price elements that are subjected to escalation and exchange rate fluctuations clearly indicated.

- Price must be fixed and firm

- Price should include additional cost elements such as freight, insurance until acceptance, duty where applicable, disbursements etc.

- Quotation must be completed in full, incomplete quote could result in a quote being disqualified.

- Payment will be according to Necsa’s General Conditions of Purchase.

# 4. Evaluation

4.1.  	Phase 1- Functionality Evaluation / Technical Evaluation

Where functional or technical evaluation criterion is applicable, assessment will be performed in terms of the criterion listed below and the criterion may include Technical, Performance, Quality and Risk.

If the Bidder’s response to the Technical templates does not indicate that the Bidder can support an acceptable technical solution, the Bidder’s response will be rejected and not evaluated further.

Together the Technical, Performance & Quality and Risk criteria make up the functionality criterion and a Bidder’s Proposal will be evaluated for functionality out of a possible 100 points.  Only RFQ responses achieving an evaluation score of greater than the set threshold points out of the possible 100 points and which score a number of points for functionality that is greater than or equal to the set threshold points of the number of points achieved by the highest scoring Bid for functionality will be selected to progress to the second stage

4.2. Phase 2 - Evaluation In Terms Of Preferential Procurement Policy Framework Act, 2022 This bid will be evaluated and adjudicated according to the 80/20 point system, in terms of which a maximum of 80 points will be awarded for price and 20 points will be allocated based on the specific goals (BBBE status level).

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| SPECIFIC GOALS ( B-BBEE status level) | 20 |
| Total points for Price and SPECIFIC GOALS | 100 |

Preference goal

B-BBEE status level contributor

| B-BBEE Status Level of Contributor | Number of points (80/20 system) |
| --- | --- |
| 1 | 20 |
| 2 | 18 |
| 3 | 14 |
| 4 | 12 |
| 5 | 8 |
| 6 | 6 |
| 7 | 4 |
| 8 | 2 |
| Non-compliant contributor | 0 |

## 5. Required Documentation

- Tax Clearance Certificate ( Tax pin issued by SARS)

- Declaration of interest ( SBD 4)

- BEE Certificate / Applicable Affidavit if classified as EME

- Letter of Good Standing (COID) only if Applicable due to the nature of work required

- Any other document or certification that might have been requested on this RFQ

- Important

  - Quotation must be submitted on or before the RFQ closing date and time stated above.

  - Orders above R 30 000 will be evaluated according to the PPPFA 80/20-point system and a functionality scorecard where applicable and the ones above R 1 Million will be subjected to the tender process.

  - This RFQ is subjected to the Necsa’s General Conditions of Purchase, Preferential  Procurement Policy Framework Act 2000 and the Preferential Procurement Regulations, 2022, the General Conditions of Contract (GCC) and, if applicable, any other legislation or special conditions of contract

  - Failure on the part of a bidder to submit proof of B-BBEE Status level of contributor together with the bid, will be interpreted to mean that preference points for specific goals are not claimed.

  - The purchaser reserves the right to require of a bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim in regard to specific goals, in any manner required by the purchaser.

  - For a Bidder to obtain clarity on any matter arising from or referred to in this document, please refer queries, in writing, to the contact details provided above. Under no circumstances may any other employee within NTP be approached for any information. Any such action might result in a disqualification of a response submitted in competition to this RFQ.

  - No goods and/or services should be delivered to NTP without an official NTP Purchase order.

  - NTP reserves the right to; cancel or reject any quote and not to award the RFQ to the lowest Bidder or award parts of the RFQ to different Bidders, or not to award the RFQ at all.

  - The supplier shall under no circumstances offer, promise or make any gift, payment, loan, reward, inducement, benefit or other advantage, which may be construed as being made to solicit any favour, to any NTP employee or its representatives. Such an act shall constitute a material breach of the Agreement and the NTP shall be entitled to terminate the Agreement forthwith, without prejudice to any of its rights

  - By responding to this request, it shall be construed that: the bidder, hereby acknowledge to be fully conversant with the details and conditions set out in the Necsa’s General Conditions of Purchase, Preferential Procurement Policy Framework Act 2000 and the Preferential Procurement Regulations, 2022, the General Conditions of Contract (GCC), Technical Information and Specifications attached, and hereby agree to supply, render services or perform works in accordance therewith