SPECIFICATION FOR WATER DISTILLER

Water distiller

- fully automatic operation

- supplier to quote on 4l/hr and 8l/hr models

- over temperature protector

- water float level sensor

- low water supply cut-off

- stainless steel boiling chamber

- stainless steel storage tank

- reservoir tank

- pre-filter and cartridge

  - ease of maintenance, availability of spares

quote to include supply and installation