PANEL FOR SUPPLY AND DELIVERY OF PIPES AND PIPE FITTINGS FOR A PERIOD OF THIRTY-SIX (36) MONTHS

CONTRACT NO: UGU-06-1647-2023

| NAME OF BIDDER: |  |
| --- | --- |
| CONTACT PERSON: |  |
| TELEPHONE Nº : |  |
| FAX Nº /EMAIL ADD.: |  |
| ADDRESS : |  |
| BID SUM : |  |

BID CLOSES: 12H00 ON FRIDAY, 27 SEPTEMBER 2024

Note:  This bid document must NOT be separated;

Annexures are to be attached to the back of the document.

Table of Contents

Bid Notice	3

UDM / MBD 1	5

UDM /MBD 4	7

UDM/ MBD 6.1	10

UDM/MBD 7.2	16

UDM/MBD 7.2	17

CERTIFICATE FOR PAYMENT OF MUNICIPAL SERVICES	18

COPY OF THE LATEST MUNICIPAL ACCOUNT OR AFFIDAVIT OR LEASE AGREEMENT	20

A.	OFFER……………………………………………………………………………………………………………………………………….21

B.	ACCEPTANCE	22

TERMS OF REFERENCE/SPECIFICATION	23

CK DOCUMENT/ID DOCUMENT ………………………………………………………………………………………………………..32

TAX REFERENCE NUMBER AND PIN ………………………………………………………………………………………………….33

JOINT VENTURE AGREEMENT (WHERE APPLICABLE)…………………………………………………………………………34

CERTIFIED VALID BBBEE CERTIFICATE………………………………………………………………………………………………..35

CENTRAL SUPPLIER DATABASE REGISTRATION………………………………………………………………………………....36

SPECIFIC GOALS SUPPORTING DOCUMENTS………………………………………………………………………………………37

PRICING SCHEDULE	…38

# Bid Notice

PANEL FOR SUPPLY AND DELIVERY OF PIPES AND PIPE FITTINGS FOR A PERIOD OF THIRTY-SIX (36) MONTHS

Contract No: UGU-06-1647-2023

Bids are hereby invited from accredited service providers to be a part of the Panel for the Supply and Delivery of Pipes and Pipe Fittings for a period of thirty-six (36) months.

Bid documents are obtainable from the Ugu District Municipality office in Port Shepstone at No. 28 Connor Street as from Tuesday, 27 August 2024, at a non-refundable payment of R250.00 (No cheques will be accepted). The bid will also be advertised on the municipality’s website and documents can be downloaded from the website and the e-tender portal free of charge.

Bids completed in accordance with the conditions indicated in documents, must be sealed and endorsed with the relevant contract number and be deposited in the official tender box at the foyer of Ugu District Municipality on 96 Marine Drive, Phase 2 Building, Oslo Beach not later than 12h00 on Friday, 27 September 2024, at which time bids will be opened in public. Bids that are submitted late, incomplete, unsigned or by facsimile, electronically, couriered or not completed in black ink will be rejected and not accepted for further evaluation. Bids submitted must be valid for a period of  90 days.

A compulsory briefing session will be held at No.6 Lind Road Marburg on Wednesday, 4 September 2024 at 10: 00. Bidders who fail to attend this compulsory meeting will not be considered for further evaluation.

All bid enquiries are to be directed to Inventory Management Officer, Mr Phil Kanniappen during office hours on (039) 688 5900 or emailed to Phil.Kanniappen@ugu.gov.za.

Price and Preference will be used for evaluation.

Ugu District Municipality subscribes to the Preferential Procurement Regulations 2022, pertaining to the Preferential Procurement Policy Framework Act (PPPFA) principles whereby a bidder’s submission will be evaluated according to the sum of the award of points in respect of the tender value and Specific Goals.

Price and Preference will be used for evaluation. The 80/20 preferential point system will be applicable, with 80 points for price and 20 points for Specific Goals (See below table), in terms of revised Preferential Procurement Regulation in effect from 16 January 2023 Gazette Notice No. 47452 dated 04 November 2022.

Points to be allocated as follows:

|  | Categories | Weight | 80¦20 | POE |
| --- | --- | --- | --- | --- |
| 1 | Ownership | 60% | 12 |  |
| 2 | Reconstruction & Development Programme | 30% | 6 |  |
| 3 | Other Specific Goals- | 10% | 2 |  |
|  |  | 100% | 20 |  |
| # | Specific Goal(s) | Weight | 80¦20 PP |  |
|  | Ownership Categories : |  |  |  |
| 1 | Broad Based Black Economic Empowerment: |  |  |  |
|  | 1. BBBEE Level 1 | 100% | 12 | BEE CERTIFICATE |
|  | 2.BBBEE Level 2 | 80% | 10 |  |
|  | 3. BBBEE Level 3 to 8 | 40% | 6 |  |
| 2 | Promotion of Local Business(s) |  |  |  |
|  | 1. Enterprise Located within the District Municipality - Rural | 100% | 6 | MUNICIPAL ACCOUNT/ LEASE AGREEMENT |
|  | 2. Enterprise Located within the District Municipality - Urban | 67.7% | 4 |  |
|  | 2. Enterprise Located within the Province | 33.3% | 2 |  |
| 3 | Other Specified Goals |  |  |  |
|  | 1. Enterprise 100% owned by Youth/Women/Disabled/ Military V | 100% | 2 | CIPC/CSD |

The Council reserves the right not to accept the lowest bid or any bid and reserves the right to accept the whole or part of the bid, or to reject all bids and cancel the notice to tender.

Kindly note: Regulation 44 of Municipal Supply Chain Management Regulations states that the Municipality may not make any award to a person who is in the service of the state

VO MAZIBUKO

ACTING MUNICIPAL MANAGER

UGU DISTRICT MUNICIPALITY

PART A

INVITATION TO BID

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF UGU DISTRICT MUNICIPALITY |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BID NUMBER: | UGU-06-1647-2023 | CLOSING DATE: | 27 SEPTEMBER 2024 | CLOSING TIME: | 12H00 |
| DESCRIPTION | PANEL FOR SUPPLY AND DELIVERY OF PIPES AND PIPE FITTINGS FOR A PERIOD OF THIRTY-SIX (36) MONTHS |  |  |  |  |
| THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (MBD7). |  |  |  |  |  |

MBD    1

BD 1

BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX

SITUATED AT (STREET ADDRESS 	_____

| UGU DISTRICT MUNICIPALITY |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 93 MARINE DRIVE |  |  |  |  |  |  |  |  |  |
| PHASE 2 BUILDING |  |  |  |  |  |  |  |  |  |
| OSLO BEACH - BRIEFING SESSION/SITE INSPECTION |  |  |  |  |  |  |  |  |  |
| SUPPLIER INFORMATION |  |  |  |  |  |  |  |  |  |
| NAME OF BIDDER |  |  |  |  |  |  |  |  |  |
| POSTAL ADDRESS |  |  |  |  |  |  |  |  |  |
| STREET ADDRESS |  |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER | CODE |  |  |  |  | NUMBER |  |  |  |
| CELLPHONE NUMBER |  |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER | CODE |  |  |  |  | NUMBER |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |  |  |  |
| VAT REGISTRATION NUMBER |  |  |  |  |  |  |  |  |  |
| TAX COMPLIANCE STATUS | TCS PIN: |  |  | OR |  | CSD No: |  |  |  |
| B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE [TICK APPLICABLE BOX] | Yes No |  |  | B-BBEE STATUS LEVEL SWORN AFFIDAVIT |  |  | Yes No |  |  |
| ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS ISERVICES IWORKS OFFERED? | Yes No [IF YES ENCLOSE PROOF] |  |  |  | ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS ISERVICES IWORKS OFFERED? |  |  |  | Yes No [IF YES, ANSWER PART B:3 ] |
| TOTAL NUMBER OF ITEMS OFFERED |  |  |  |  | TOTAL BID PRICE |  |  |  | As per the Pricing Schedule |
| SIGNATURE OF BIDDER | ……………………………… |  |  |  | DATE |  |  |  |  |
| CAPACITY UNDER WHICH THIS BID IS SIGNED |  |  |  |  |  |  |  |  |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO: |  |  | TECHNICAL INFORMATION MAY BE DIRECTED TO: |  |  |  |  |  |  |
| DEPARTMENT | SCM Unit |  | CONTACT PERSON |  |  |  |  | Mr P Kanniappen |  |
| CONTACT PERSON | Ms N Mabaso |  | TELEPHONE NUMBER |  |  |  |  | 039-688 5900 |  |
| TELEPHONE NUMBER | 039-688 5906 |  | FACSIMILE NUMBER |  |  |  |  | N/A |  |
| FACSIMILE NUMBER | N/A |  | E-MAIL ADDRESS |  |  |  |  | Phil.Kanniappen@ugu.gov.za |  |
| E-MAIL ADDRESS | Ntabiso.Mzotho@ugu.gov.za |  |  |  |  |  |  |  |  |

PART B

TERMS AND CONDITIONS FOR BIDDING

1. BID SUBMISSION:

1.1. BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION. 1.2. ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED-(NOT TO BE RE-TYPED) 1.3. THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2022, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT.

2. TAX COMPLIANCE REQUIREMENTS

2.1 BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS AND ARE REQUIRED TO SUBMIT VALID TAX CLEARANCE CERTIFICATE. 2.2 IN BIDS WHERE CONSORTIA I JOINT VENTURES I SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MUST SUBMIT A SEPARATE TCS CERTIFICATE / PIN / CSD NUMBER.

NB: FAILURE TO PROVIDE ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.

NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE.

SIGNATURE OF BIDDER:                                                              …………………………………………… CAPACITY UNDER WHICH THIS BID IS SIGNED:                       …………………………………………… DATE:                                                                                              …………………………………………...

Please attach copies of the following documents. Failure to provide the following duly completed and up to date documents and certified where applicable will lead to automatic disqualification.

- Company registration documents.

- Tax Reference Number and Pin

- All Declarations Forms

- ID Document (for sole proprietors)

- Joint Venture Agreement (where applicable)

- Proof of payment for Municipal Services

- Central Supplier Database Registration

- Form of Offer

- Pricing Schedule

SBD 4

- BIDDER’S DISCLOSURE

- PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.

- Bidder’s declaration

  - Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest1 in the enterprise, employed by the state?	YES/NO

    - If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

| Full Name | Identity Number | Name of State institution |
| --- | --- | --- |

  - Do you, or any person connected with the bidder, have a relationship

1 the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.

with any person who is employed by the procuring institution? YES/NO

    - If so, furnish particulars:

……………………………………………………………………………………

……………………………………………………………………………………

  - Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?	YES/NO

    - If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

- DECLARATION

I,               the               undersigned, (name)	in

submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

  - I have read and I understand the contents of this disclosure;

  - I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;

  - The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium2 will not be construed as collusive bidding.

  - In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.

  - The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

  - There have been no consultations, communications, agreements or arrangements made by the bidder with any official of the procuring

2 Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.

institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

  - I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.

……………………………………      ………………………………

Signature		Date

………………………………….        ………………………………

Position                                                     Name of Bidder

MBD 6.1

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2022

This preference form must form part of all tenders invited. It contains general information and serves as a claim form for preference points for specific goals.

NB:	BEFORE  COMPLETING  THIS  FORM,  TENDERS  MUST  STUDY  THE  GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS,

2022.

- GENERAL CONDITIONS

  - The following preference point systems are applicable to invitations to tender:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

- the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

  - To be completed by the organ of state

(delete whichever is not applicable for this tender).

- The applicable preference point system for this tender is the 90/10 preference point system.

- The applicable preference point system for this tender is the 80/20 preference point system.

- Either the 90/10 or 80/20 preference point system will be applicable in this tender. The lowest/ highest acceptable tender will be used to determine the accurate system once tenders are received.

  - Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for:

- Price; and

- Specific Goals.

  - To be completed by the organ of state:

The maximum points for this tender are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| SPECIFIC GOALS | 20 |
| Total points for Price and SPECIFIC GOALS | 100 |

  - Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

  - The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.

- DEFINITIONS

- “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation;

- “price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts;

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and

- “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).

- FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

  - POINTS AWARDED FOR PRICE

3.1.1   THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	or	90/10

Ps=801-Pt-PminPmin	or	Ps=901-Pt-PminPmin

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmin	=	Price of lowest acceptable tender

  - FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT

    - POINTS AWARDED FOR PRICE

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	               or	            90/10

Ps=801+Pt-PmaxPmax	or	Ps=901+Pt-PmaxPmax

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmax	=	Price of highest acceptable tender

- POINTS AWARDED FOR SPECIFIC GOALS

  - In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender:

  - In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of—

- an invitation for tender for income-generating contracts, that either the 80/20 or 90/10 preference point system will apply and that the highest acceptable tender will be used to determine the applicable preference point system; or

- any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,

then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system.

Table 1: Specific goals for the tender and points claimed are indicated per the table below.

(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such.

Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)

| The specific goals allocated points in terms of this tender | Number of points allocated (90/10 system) (To be completed by the organ of state) PART A¦B | Number of points allocated (80/20 system) (To be completed by the organ of state) PART A¦B | Number of points claimed (90/10 system) (To be completed by the tenderer) | Number of points claimed (80/20 system) (To be completed by the tenderer) |
| --- | --- | --- | --- | --- |
| Ownership: |  |  |  |  |
| BBBEE Level 1 | 10¦12 | 5¦6 |  |  |
| BBBEE Level 2 | 8¦10 | 4¦5 |  |  |
| BBBEE Level 3-8 | 4¦6 | 2¦3 |  |  |
| Empowerment |  |  |  |  |
| 1. an EME or QSE which is at least 100% owned by black people; | 4¦0 | 2¦0 |  |  |
| 2. an EME or QSE which is at least 51% owned by black people; | 2¦0 | 1¦0 |  |  |
| 3. an EME or QSE which is at 25% - 50% owned by black people; | 1¦0 | 0.5¦0 |  |  |
| RDP |  |  |  |  |
| 1. Enterprise Located within the District Municipality - Rural | 4¦6 | 2¦3 |  |  |
| 2. Enterprise Located within the District Municipality - Urban | 3¦4 | 1.5¦2 |  |  |
| 2. Enterprise Located within the Province | 1¦2 | 0.5¦1 |  |  |
| Other Specific Goal |  |  |  |  |
| 1. Enterprise 100% owned by Youth/Women/Disabled/ Military V | 2 | 1 |  |  |

DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm…………………………………………………………………….

  - Company registration number: …………………………………………………………...

  - TYPE OF COMPANY/ FIRM

Partnership/Joint Venture / Consortium

One-person business/sole propriety

Close corporation

Public Company

Personal Liability Company

(Pty) Limited

Non-Profit Company

State Owned Company

[Tick applicable box]

  - I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct;

- If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

  - disqualify the person from the tendering process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution, if deemed necessary

……………………………………….

SIGNATURE(S) OF TENDERER(S)

SURNAME AND NAME:	 ……………………………………………………….

DATE:			………………………………………………………

ADDRESS:		………………………………………………………

………………………………………………………

………………………………………………………

………………………………………………………

(i)

MBD 7.2

CONTRACT FORM · RENDERING OF SERVICES

THIS FORM MUST BE FILLED IN DUPLICATE BY BOTH THE SERVICE PROVIDER (PART 1) AND THE PURCHASER (PART 2).  BOTH FORMS MUST BE SIGNED IN THE ORIGINAL SO THAT THE SERVICE PROVIDER AND THE PURCHASER WOULD BE IN POSSESSION OF ORIGINALLY SIGNED CONTRACTS FOR THEIR RESPECTIVE RECORDS.

PART 1 (TO BE FILLED IN BY THE SERVICE PROVIDER)

1.	I hereby undertake to render services described in the attached bidding documents to (name of the institution)............... in accordance with the requirements and task directives I proposals specifications stipulated in Bid Number.......... at the price/s quoted.  My offer/s remain binding upon me and open for acceptance by the Purchaser during the validity period indicated and calculated from the closing date of the bid.

2.	The following documents shall be deemed to form and be read and construed as part of this agreement:

(i)       Bidding documents, viz

-         Invitation to bid;

-         Tax clearance certificate;

-         Pricing schedule(s);

-         Filled in task directiveIproposal;

-      Preference claims for Specific Goal(s) Contribution in terms of the Preferential Procurement Regulations 2022;

-         Declaration of interest;

-         Declaration of Bidder's past SCM practices;

-         Certificate of Independent Bid Determination;

-         Special Conditions of Contract; (ii)      General Conditions of Contract; and (iii)      Other (specify)

3.	I confirm that I have satisfied myself as to the correctness and validity of my bid; that the price(s) and rate(s) quoted cover all the services specified in the bidding documents; that the price(s) and rate(s) cover all my obligations and I accept that any mistakes regarding price(s) and rate(s) and calculations will be at my own risk.

4.	I accept full responsibility for the proper execution and fulfilment of all obligations and conditions devolving on me under this agreement as the principal liable for the due fulfillment of this contract.

5.	I declare that I have no participation in any collusive practices with any bidder or any other person regarding this or any other bid.

6.       I confirm that I am duly authorized to sign this contract.

NAME (PRINT):............... CAPACITY: ................... SIGNATURE    : ................ NAME OF FIRM: ................ DATE: ..................

WITNESSES

1   ...............

2   ...............

DATE:............

CONTRACT FORM · RENDERING OF SERVICES

PART 2 (TO BE FILLED IN BY THE PURCHASER)

- I..................in my capacity I in my capacity as

……………………………………accept your bid under reference number……………………………………………………………………………….

dated ................for the rendering of services indicated hereunder and/or further specified in the annexure(s).

2.       An official order indicating service delivery instructions is forthcoming.

3.	I undertake to make payment for the services rendered in accordance with the terms and conditions of the contract, within 30 (thirty) days after receipt of an invoice.

| DESCRIPTION OF SERVICE | PRICE (ALL APPLICABLE TAXES INCLUDED) | COMPLETION DATE | SPECIFIC GOAL LEVEL OF CONTRIBUTION | MINIMUM THRESHOLD FOR LOCAL PRODUCTION AND CONTENT (if applicable) |
| --- | --- | --- | --- | --- |

4.       I confirm that I am duly authorized to sign this contract.

SIGNED AT ............... ON      ..............

WITNESSES

| NAME (PRINT) | ................. |
| --- | --- |
| SIGNATURE | ................ |
| OFFICIAL STAMP |  |

1   ............

2   ............

# CERTIFICATE FOR PAYMENT OF MUNICIPAL SERVICES

DECLARATION IN TERMS OF CLAUSE 112(1) OF THE MUNICIPAL FINANCE MANAGEMENT ACT (NO.56

OF 2003) - (To be signed in the presence of a Commissioner of Oaths)

*FAILURE TO SUBMIT ANY PROOF AS REQUIRED, WILL INVALIDATE THE TENDER

I, _______________________________________, _________________ (full name and ID no.), hereby

acknowledge that according to SCM Regulation 38(1)(d)(i), the Municipality may reject the tender of the tenderer

if any municipal rates and taxes or municipal service charges owed by the Tenderer or any of its

directors/members/partners to Ugu District Municipality, or to any other municipality or municipal entity, are in

arrears for more than 3 (three) months.

I declare that I am duly authorised to act on behalf of __________________________________________ (name

of the firm) and hereby declare, that to the best of my personal knowledge, neither the firm nor any

director/member/partner of said firm is in arrears on any of its municipal accounts with any municipality in the

Republic of South Africa, for a period longer than 3 (three) months.

I further hereby certify that the information set out in this schedule and/or attachment(s) hereto is true and correct.

The Tenderer acknowledges that failure to properly and truthfully complete this schedule may result in the tender

being disqualified.

Director / Shareholder / partner.....................................................................................................................................................................................................

Physical /residential address of the Director /shareholder / partner..............................................................................................................................................

Municipal Account number(s)........................................................................................................................................................................................................

Director / Shareholder / partner.....................................................................................................................................................................................................

Physical /residential address of the Director /shareholder / partner..............................................................................................................................................

Municipal Account number(s)........................................................................................................................................................................................................

Physical address of the Business..................................................................................................................................................................................................

Municipal Account number(s)................................    .............................................    .............................................    ..................................................................

.............................................			..........................................................			........................

Signature 				Position 						Date

NB:  Bidders who reside/whose businesses are situated in the rural area and are not liable for any Municipal Payment for Services MUST submit an Affidavit (SAPS) in confirmation of their declaration.

NB: Bidders who are tenants and are not liable for any Municipal Payment for Services MUST submit a valid Lease Agreement

NB: Bidders who reside/operating their businesses in a property situated in an urban/ township area that they do not own or rent MUST submit the Municipal Account for the owner and an Affidavit from the owner confirming same.

COMMISSIONER OF OATHS

Signed and sworn to before me at...................................................................., on this ..........day of ......................................2023

by the Deponent, who has acknowledged that he/she knows and understands the contents of this Affidavit, it is true and correct to the best of his/her knowledge and that he/she has no objection to taking the prescribed oath, and that the prescribed oath will be binding on his/her conscience.

COMMISSIONER OF OATHS STAMP

COMMISSIONER OF OATHS:-

Name & Surname........................................................................................

Signature.....................................................................................................

Position:	................................................................................

Address:..................................................................................

# ATTACH COPY OF THE LATEST MUNICIPAL ACCOUNT OR AFFIDAVIT OR LEASE AGREEMENT

[Failure of a Bidder to submit this will invalidate the bid]

FORM OF OFFER AND ACCEPTANCE

# A.	OFFER

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract in respect of the following works:

PANEL FOR SUPPLY AND DELIVERY OF PIPES AND PIPE FITTINGS FOR A PERIOD OF THIRTY-SIX (36) MONTHS

Contract Number: UGU-06-1647-2023

The Bidder, identified in the Offer Signature block below, has examined the documents listed in the Specifications and addenda thereto as listed in the Tender Schedules, and by submitting this Offer has accepted the Conditions of Bid.

By the representative of the Bidder, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance, the Bidder offers to perform all of the obligations and liabilities of the Contractor under the Contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the Conditions of Contract identified in the Contract Data.

The offered total of the prices inclusive of Value Added Tax is:                As per the Pricing Schedule

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document to the Tenderer before the end of the period of validity stated in the Tender Data, whereupon the Tenderer becomes the party named as the Contractor in the Conditions of Contract identified in the Contract Data.

Signature: (of person authorized to sign the bidder):…………………………………………………...........

Name: (of signatory in capitals):…………………………………………………………………………...................

Capacity: (of Signatory):…………………………………………………………………………………….....................

Name of Bidder: (organisation):……………………………………………………………………….................

Address: …………………………………………………………………………………………………................................

Telephone number: 		……………………. Fax number: ………………………………................

Witness

Signature: …………………………………………………………………………………………………

Name: (in capitals):…………………………………………...…Date:……………………………………………

[Failure of a Bidder to fully complete and sign this form will invalidate the bid]

# B.	ACCEPTANCE

By signing this part of the Form of Offer and Acceptance, the Employer identified below accepts the Tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the Conditions of Contract identified in the Contract Data.  Acceptance of the Tenderer’s Offer shall form an agreement between the Employer and the Tenderer upon the terms and conditions contained in this Agreement and in the Contract that is the subject of this Agreement.

The terms of the contract are contained in

Part 1	Agreement, and Specifications (Agreement to be finalised after award)

Part 2	Pricing Schedule

and the schedules, forms and documents or parts thereof, which may be incorporated by reference into Parts 1 to 4 above.

Deviations from and amendments to the documents listed in the Specifications and any addenda thereto listed in the Tender Schedules as well as any changes to the terms of the Offer agreed by the Tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Agreement. No amendments to or deviations from said documents are valid unless contained in this Schedule, which must be duly signed by the authorised representatives of both parties.

Notwithstanding anything contained herein, this Agreement comes into effect on the date when the Tenderer receives one fully completed original copy of this document, including the Schedule of Deviations (if any). Unless the Tenderer (now Service Provider) within five days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this Agreement, this Agreement shall constitute a binding contract between the parties.

Signature:..................................................................................................................................

Name: (in capitals).....................................................................................................................

Capacity:		................................................................................................................................

Name of Employer (organisation)	........................................................................................

Address: 	…………………………………………………………………………………………....................................

Witness:

Signature: .................................

Name: 		.............................................

Date: 		.............................................

- SPECIFICATION

- BACKGROUND

The Ugu District Municipality is hereby requesting service providers to be part of a panel for the supply and deliver pipes and pipe fittings to the municipality for a period of thirty-six (36) months.

- BRIEFING SESSION/SITE INSPECTION

A compulsory briefing session will be held at NO.6 Lind Road Marburg on Wednesday, 4 September 2024 at 10:00. Bidders who fail to attend this compulsory meeting will not be considered for further evaluation.

All bid enquiries are to be directed to Inventory Management Officer, Mr Phil Kanniappen, during office hours on (039) 688 5900 or emailed to Phil.Kanniappen@ugu.gov.za

- GENERAL REQUIREMENTS

The service provider must provide the goods as per the requirements of the municipality.

- DURATION OF CONTRACT:

The contract will be for a period of thirty-six months.

- MINIMUM SPECIFICATIONS

These specifications are only minimum specifications. Any shortcomings in the specifications should be pointed out in the quote/bid and provided for in the price.  Any additional costs incurred by the service provider because of shortcomings in the quote specifications will be for the service provider’s own account.

- 100mm UNIVERSAL FLANGE ADAPTOR (109-128)

- 110MM UNIVERSAL FLANGE ADAPTOR (98-118)

- 150 MM UNIVERSAL FLANGE ADAPTOR (159-182)

- 150MM UNIVERSAL FLANGE ADAPTOR (150-170)

- 200 MM UNIVERSAL FLANGE ADAPTOR (218-235)

- 200MM UNIVERSAL FLANGE ADAPTOR (192-209)

- 250MM UNIVERSAL FLANGE ADAPTOR (250-267)

- 250 MM UNIVERSAL FLANGE ADAPTOR (272-286)

- 300 MM UNIVERSAL FLANGE ADAPTOR (315-332)

- 350MM UNIVERSAL FLANGE ADAPTOR (344-360)

- 375 MM UNIVERSAL FLANGE ADAPTOR (375-387)

- 450MM UNIVERSAL FLANGE ADAPTOR (476-493)

- 500MM UNIVERSAL FLANGE ADAPTOR (518-534)

- 75mm UNIVERSAL FLANGE ADAPTOR (83-102)

- 75MM UNIVERSAL FLANGE ADPATOR (72-85)

- 100MM COUPLINGS (109-128)

- 100 MM COUPLINGS STEEL PIPE (108-118)

- 100 MM STEPDOWN COUPLING AC-UPVC (109-128) (98-118)

- 110MM C.I UPVC REPAIR COUPLING

- 125 MM COUPLING (125AC-110UPVC)

- 125 MM VJ COUPLING (135-153)

- 160 MM CI UPVC REPAIR COUPLING

- 150 MM COUPLINGS (180-193)

- 150 MM COUPLINGS (STEEL PIPE) (159-182)

- 150 MM COUPLINGS STEPDOWN AC-UPVC (159-182) (159-170)

- 150MM COUPLINGS (159-170)

- 15 MM COUPLINGS JOHNSON JNR

- 200 MM COUPLINGS STEPDOWN AQUALOK AC-UPVC (218-235) (192-205)

- 200 MM CI UPVC REPAIR COUPLING

- 200 MM COUPLINGS AC (218-235)

- 200 MM COUPLINGS STEEL

- 200 MM COUPLINGS UPVC (192-205)

- 20 MM COUPLINGS JOHNSON JNR

- 225 MM COUPLINGS STEPDOWN (225AC-200UPVC)

- 225 MM COUPLINGS (235-250)

- 250 MM COUPLINGS UPVC (250-267)

- 250 MM CI UPVC REPAIR COUPLING

- 250 MM COUPLING STEPDOWN AC-UPVC (272-286) (250-267)

- 250 MM COUPLINGS AC (272-286)

- 25 MM COUPLINGS JOHNSON JNR

- 300 MM COUPLINGS UPVC (315-328)

- 300 MM COUPLINGS AC (340-350)

- 300 MM COUPLINGS STEPDOWN AC-UPVC (340-350) (315-328)

- 315 MM UPVC REPAIR COUPLING

- 32 MM COUPLINGS JOHNSON JNR

- 350MM COUPLINGS UPVC (344-360)

- 375 MM COUPLINGS STEEL (396-416)

- 40 MM COUPLINGS JOHNSON JNR

- 400MM COUPLING UPVC (391-407)

- 450 MM COUPLINGS STEEL (450-460)

- 50 MM CI UPVC REPAIR COUPLING

- 50 MM COUPLINGS (49-78)

- 63 MM CI UPVC REPAIR COUPLING

- 75 MM COUPLINGS (72.2-85)

- 75 MM CI UPVC REPAIR COUPLING

- 75 MM COUPLINGS (83-102)

- 75 MM COUPLINGS STEPDOWN AC-UPVC (83-102) (59-78)

- 90 MM CI UPVC REPAIR COUPLING

| SPECIFICATION SHEET: SECTION A |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| UNIVERSAL FLANGE ADAPTORS AND COUPLINGS |  | APPLICABLE CODES |  |  |  |  |
| UNIVERSAL FLANGE ADAPTORS AND COUPLINGS |  | SANS 1808-2 |  |  |  |  |
| Body must be EPOXY Coated |  | JASWIC ACCEPTANCE |  |  |  |  |
| JOHNSON/AQUALOK/THOMAS/EQUIVALENT |  |  |  |  |  |  |

| SPECIFICATION SHEET: SECTION B |  |
| --- | --- |
| COMPRESSION FITTINGS | APPLICABLE CODES |
| 16 Bar Pressure Rate |  |
| All compression fittings included in this specification shall be designed | SANS 14236 |
| and be suitable for use with potable water distribution systems and | SANS 17885 |
| be supplied from manufacturer complying with the requirements of ISO 9002. | Jaswic Acceptance |
| Fittings bodies may be of various configurations and include male adaptors, | Certificate to be support |
| female adaptors, couplings, reduced couplings, elbows 90°, elbows 90° |  |
| with male off take, elbows 90° with female off takes, elbows 45°, |  |
| elbows 45° with male off take, Tee 90°, Tee 90° reduced / increased, Tee 90° | Aplrene/Plasson/Supreme/ Unidelta or Equivalent |
| with male off take, Tee 90° with female off take, Flanged joints, end caps and |  |
| wall plate-elbows. The main size range is from d16 up to d110. The fittings |  |
| must be able to operate at a constant working pressure of 16 bar at an ambient |  |
| temperature of 20 degree centigrade. |  |
| Fittings must be SANS 14236 certified and suppliers must provide |  |
| a copy of the SANS 14236 certificate on request. |  |
| Compression fitting to be of the type with a double lip gasket and thrust |  |
| ring of black polypropylene. |  |

| SPECIFICATION SHEET: SECTION C |  |
| --- | --- |
| REPAIR CLAMP - STAINLESS STEEL | APPLICABLE CODES |
| REPAIR CLAMPS - STAINLESS STEEL | JASWIC APPROVED SANS 1808-45 |
| SABS/ JASWIC APPROVED |  |
| CASCADE/EQUIVALENT |  |

| SPECIFICATION SHEET: SECTION D |  |
| --- | --- |
| TAPS | APPLICABLE CODES |
| 15 MM Cobra Brass 108-15 HP Hose Tap/Equivalent |  |
| ¾ Hose Union, Wingnut + Linning for 1/2" Hose | SANS 226 TYPE 1 |
| 1/2’’ BSP Male Inlet | JASWIC ACCEPTANCE |
| SPECIFICATION SHEET: SECTION E |  |
| HDPE PIPE | APPLICABLE CODES |
| Class 16 Type 5 PE100 PN16 | SANS ISO 4427-2 |
| 20mm to 90mm: 100mtr Coils 110mm: 50mtr Coils |  |

| SPECIFICATION SHEET: SECTION F |  |
| --- | --- |
| STEEL PIPE | APPLICABLE CODES |
| EPOXY COATED 24 BAR PRESSURE RATED | SANS 719 PIPE |
| SPECIFICATION SHEET: SECTION G |  |  |
| STANDPIPE | APPLICABLE CODES |  |
| Fully assembled: | SANS 226 TYPE 1 JASWIC ACCEPTANCE |  |
| 15 mm Cobra Brass 108 HP Hose Tap/Equivalent |  |  |
| 15 mm GI Elbow 90 Deg. FF |  |  |
| 15 mm x 1 metre GI Pipe |  |  |
| 15x15x15 GI Tee |  |  |
| 15 mm Plug Plugged on one end |  |  |
| 20 mm Angle Iron Drilled and Cabled Tied to Galv. Pipe |  |  |
| SPECIFICATION SHEET: SECTION H |  |  |
| UPVC PIPE | APPLICABLE CODES |  |
| Class 16 | SANS 966 Part 1 |  |
| Working Pressure of 1600KPA |  |  |
| 6 metre lengths Socketed one end |  |  |

| SPECIFICATION SHEET: SECTION I |  |
| --- | --- |
| HYDRANT | APPLICABLE CODES |
| Bayonet Underground. | JASWIC ACCEPTANCE |
| Left Hand Closing Capped Top |  |
| WEDGE GATE VALVES AND RSV VALVES | APPLICABLE CODES |
| LEFT HAND CLOSING CAPPED TOP | SABS/SANS 664 SABS/SANS 665 |
| Valves shall comply with requirements of SABS 664, (Latest Amendment) |  |
| with classes and ends elsewhere specified. |  |
| The Spindles shall be on the non-rising type and shall be manufactured of solid |  |
| brass or stainless steel. The valves shall be clockwise opening. |  |
| Gearing shall be provided to limit the total effort at the handwheel or key to 350 newtons. |  |
| Unless otherwise specified buried valves shall be provided with caps for key operation |  |
| and valves in chambers with handwheels. |  |
| The valves shall be provided with C trim with pinned seat rings. The gate shall |  |
| be full length. |  |
| The body of the valves shall be epoxy coated (FBE or COPON EP2300) to a |  |
| minimum D.F.T of 250 microns. |  |

| SPECIFICATION SHEET: SECTION J |  |
| --- | --- |
| LEVELDEX CONTROL VALVES | APPLICABLE CODES |
| Direct Mounted Two-Level Magnetic Latch Pilot with Short Dead Band |  |
| Must be supplied with stud connections suitable for alignment to flanges conforming | SABS |
| to PN10 or PN16 ratings of SANA 1123 & BS EN 1092 standard or | SANS 1123 |
| or ANSIB.16.1 class 150. |  |
| Valve is controlled by a direct mounted two-level magnetic latch pilot suitable |  |
| for DN50(2’’) to DN 150(6’’) valves |  |
| Pilot Body and Float Arm: Stainless Steel 304 |  |
| Float: ABS Plastic: ABS Plastic |  |
| Float Weight: Cast Iron – Epoxy Powder Coated |  |
| Fasteners: Stainless Steel 304 | JASWIC ACCEPTANCE |
| Attachment: ½’’ BSP/NPT Male to Valves Bonnet |  |
| Weight: 2.5kg (5,5lbs) |  |

| SPECIFICATION SHEET: SECTION K |  |
| --- | --- |
| AIR VALVES | APPLICABLE CODES |
| Ventomatic or Equivalent | JASWIC ACCEPTANCE |
| Working Pressure 0Kpa-3000Kpa |  |

| SPECIFICATION SHEET: SECTION L |  |
| --- | --- |
| COBRA/EQUIVALENT BRASS GATE VALVES | APPLICABLE CODES |
| Cobra Ref 1001 Brass Gate Valves. (15mm-50mm) | Cobra or Equivalent |
| Cobra Ref 1002 Brass Gate Valves. (65mm-100mm) |  |
| Cobra Heavy Duty Full-way Cast DZR Brass Gate Valve with non-blowout, | SABS |
| non-Rising spindle, non-asbestos gland packing and guided wedge. | SABS 776 Class 16 |
| Red Pressed Steel Handle Wheel. Suitable for steam working pressures | JASWIC Listed |
| up to 880 kPa. at 175 degrees Celsius and non-shock hydraulic | PN16 (BS5154) |
| working pressures up to 1600kpa. | Tested to 2400kPa |
| STOP COCK VALVES | APPLICABLE CODES |
| 131-22 | SABS |
| 22mm Compression Copper to Copper Connection Ends. ¾ Heavy Pattern Head part, | JASWIC APPROVED |
| very low resistance for low pressure or high-water demand installations. | SANS 226 Type 1 |
| 121-20 |  |
| ¾ BSP Female Iron Connection Ends. ¾ ‘’ BSP Connection Ends and | COBRA/EQUIVALENT |
| Heavy Pattern Head part, very low resistance for low pressure or high water |  |
| demand installations |  |
| 121-15 |  |
| ½’’ BSP Female Inlet |  |
| ½’’ Heavy Pattern Head Part, very low resistance for low pressure or |  |
| high water demand installations. |  |

| SPECIFICATION SHEET: SECTION M |  |
| --- | --- |
| BALL VALVES | APPLICABLE CODES |
| Pressure Tested to 2000KPA | JASWIC APPROVED |
| Chrome Plated |  |
| Jaswic Approved |  |
| 1090 Ball Valve D/F |  |
| With Plastic Coated Plated Steel Lever Handle |  |
| Suitable for hot and cold water, steam, air, gasoline, fuel oils, gas-oil and kerosene |  |

ADDITIONAL CONDITIONS OF TENDER (ACT) ACT 1 ELIGIBILITY – CSD REGISTRATION Tenderers are required to be registered on the National Treasury Central Supplier Database (CSD) as a service provider. In the case of a Joint Venture, this requirement will apply individually to each party in the Joint Venture. Tenderers not so registered, at time of closing of tenders, will not be eligible to submit tenders. The Tenderer’s CSD Supplier Number (starting with “MAAA”) is to be provided in the relevant portions of the tender submission.

Tenderers who wish to register on the CSD may do so via web address https://secure.csd.gov.za.

- COMPLIANCE

Where necessary the service provider must attach explanatory information reference to a paragraph number. The service provider must fully describe how the required functionality will be achieved. Failure to provide sufficient information may disqualify the service provider. Any condition imposed by the service provider that is restrictive or contrary to any part of this tender will automatically disqualify the service provider.

- BID PRICE

Please give all the prices, itemized as far as possible and as indicated in the attached spreadsheet format:

- BID FORMAT

1 (one) original bid must be submitted in the following format :-

- must be SIGNED IN INK by an authorized employee, agent or representative of the Bidder

- Bid response and supporting documents must be neatly bound in one file.

- The written delegation of authority to sign all documents must form part of the Bid.

- All documents as required MUST be included in the bid in order for the bid to be considered.

- All alterations in the bid must be initialed for.

Ugu District Municipality reserves the right to investigate and verify all the information supplied by the bidder.

DOMICILIUM

The parties hereby choose as their domiciluim citandi et executandi for the service of notices and legal document the following street addresses:

Bidder :

…………………………………………………………………

…………………………………………………………………

…………………………………………………………………

Tel/Fax Number:- ………………………………

Ugu District Municipality

The Municipal Manager

28 Connor Street

Port Shepstone

4240

CONTACT DETAILS

The following person may be contacted for more information: -

Mr Phil Kanniappen
E-mail : Phil.Kanniappen@ugu.gov.za 
Tel:  039 688 5900

I/We hereby declare that all the information supplied is true and exact.

____________________________________________
SIGNATURE OWNER / MANAGER DIRECTOR

DATE: ___________________________

WITNESS: ________________________(State occupation in company)

DATE: _____________________________

If it is found that any of the above-mentioned information provided is false, the Municipality reserves the right to terminate this contract with immediate effect. The Municipality may VET the successful bidder

- FUNCTIONALITY ASSESSMENT

# All Bidders are advised that this Bid is subject to a Functionality Assessment as follows:

Minimum points of 70% must be obtained for eligibility. Bids scoring less than 70% will not be evaluated further.

|  | PANEL FOR SUPPLY AND DELIVERY OF PIPES AND PIPE FITTINGS FOR A PERIOD OF THIRTY-SIX (36) MONTHS |  |  |  |
| --- | --- | --- | --- | --- |
| Selection Criteria |  | Evidence Required | Scoring Points | Scoring Methodology |
| 1 | ABILITY |  |  |  |
| 1.1 | Provision and delivery of Pipe and Pipe fittings | Supply of Pipe and Pipe Fittings Appointment letter/Purchase order completed contracts that specifies the quantity delivered and the value in the past five (5) Years. | 50 | Provide proof for 5 projects for Supply and Delivery of Pipe and Pipe Fittings (10 points per project). Bidder to attach appointment letter or purchase order above R150 000.00 per project to score points. |
| 2 | Capacity |  |  |  |
| 2.1 | Service Provider (company) with an experience in Provision and delivery of Pipe and Pipe Fittings | Quality of Service Reference letters must be linked to the appointment letters or purchase orders, in a company letter head that specify the service rendered. | 30 | 30 Points = 5 reference letters and above with experience in supply and delivery of Pipe and Pipe Fittings for the past 5 years. 20 Points = 4 reference letters with experience in the supply and delivery of Pipe and Pipe Fittings for the past 5 years. 10 Points = 3 reference letters with experience in the supply and delivery of Pipe and Pipe Fittings for the past 5 years. 0 Points = Less than 3 reference letters with experience in the supply and delivery of Pipe and Pipe Fittings for the past 5 years. |
| 3 | Financial Capability |  |  |  |
| 3.1 | Financial capacity to supply and deliver of Pipe and Pipe Fittings | Bank Rating Certificate | 20 | 20 Points = Bank Rating A 10 Points = Bank Rating B 05 Points = Bank Rating C 0 Points = Bank Rating Less than C |
| TOTAL |  |  | 100 |  |
| Minium Qualifying Score Required |  |  | 70 |  |

# CERTIFIED CK DOCUMENT OR ID DOCUMENT (FOR SOLE PROPRIETORS)

[Failure of a Bidder to submit this will invalidate the bid]

# TAX REFERENCE NUMBER AND PIN

[Failure of a Bidder to submit this will invalidate the bid]

# JOINT VENTURE AGREEMENT (WHERE APPLICABLE)

[Failure of a JOINT VENTURE Bidder to submit this will invalidate the bid]

# CERTIFIED VALID BBBEE CERTIFICATE

[Bidder that does not submit this will not be awarded BBBEE points]

# CENTRAL SUPPLIER DATABASE REGISTRATION

[Failure of a Bidder to submit this will invalidate the bid]

# SPECIFIC GOALS SUPPORTING DOCUMENTS

[Bidder that does not submit this will not be awarded points]

PRICING SCHEDULE

| SECTION A |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description: FLANGE ADAPTORS AND COUPLINGS | QUANTITY | YEAR 1 | YEAR 2 | YEAR 3 |  |
| 100mm UNIVERSAL FLANGE ADAPTOR (109-128) | 1 |  |  |  |  |
| 110MM UNIVERSAL FLANGE ADAPTOR (98-118) | 1 |  |  |  |  |
| 150 MM UNIVERSAL FLANGE ADAPTOR (159-182) | 1 |  |  |  |  |
| 150MM UNIVERSAL FLANGE ADAPTOR (150-170) | 1 |  |  |  |  |
| 200 MM UNIVERSAL FLANGE ADAPTOR (218-235) | 1 |  |  |  |  |
| 200MM UNIVERSAL FLANGE ADAPTOR (192-209) | 1 |  |  |  |  |
| 250MM UNIVERSAL FLANGE ADAPTOR (250-267) | 1 |  |  |  |  |
| 250 MM UNIVERSAL FLANGE ADAPTOR (272-286) | 1 |  |  |  |  |
| 300 MM UNIVERSAL FLANGE ADAPTOR (315-332) | 1 |  |  |  |  |
| 350MM UNIVERSAL FLANGE ADAPTOR (344-360) | 1 |  |  |  |  |
| 375 MM UNIVERSAL FLANGE ADAPTOR (375-387) | 1 |  |  |  |  |
| 450MM UNIVERSAL FLANGE ADAPTOR (476-493) | 1 |  |  |  |  |
| 500MM UNIVERSAL FLANGE ADAPTOR (518-534) | 1 |  |  |  |  |
| 75mm UNIVERSAL FLANGE ADAPTOR (83-102) | 1 |  |  |  |  |
| 75MM UNIVERSAL FLANGE ADPATOR (72-85) | 1 |  |  |  |  |
| 100MM COUPLINGS (109-128) | 1 |  |  |  |  |
| 100 MM COUPLINGS STEEL PIPE (108-118) | 1 |  |  |  |  |
| 100 MM STEPDOWN COUPLING AC-UPVC (109-128) (98-118) | 1 |  |  |  |  |
| 110MM C.I UPVC REPAIR COUPLING | 1 |  |  |  |  |
| 125 MM COUPLING (125AC-110UPVC) | 1 |  |  |  |  |
| 125 MM VJ COUPLING (135-153) | 1 |  |  |  |  |
| 160 MM CI UPVC REPAIR COUPLING | 1 |  |  |  |  |
| 150 MM COUPLINGS (180-193) | 1 |  |  |  |  |
| 150 MM COUPLINGS (STEEL PIPE) (159-182) | 1 |  |  |  |  |
| 150 MM COUPLINGS STEPDOWN AC-UPVC (159-182) (159-170) | 1 |  |  |  |  |
| 150MM COUPLINGS (159-170) | 1 |  |  |  |  |
| 15 MM COUPLINGS JOHNSON JNR | 1 |  |  |  |  |
| 200 MM COUPLINGS STEPDOWN AQUALOK AC-UPVC (218-235) (192-205) | 1 |  |  |  |  |
| 200 MM CI UPVC REPAIR COUPLING | 1 |  |  |  |  |
| 200 MM COUPLINGS AC (218-235) | 1 |  |  |  |  |
| 200 MM COUPLINGS STEEL | 1 |  |  |  |  |
| 200 MM COUPLINGS UPVC (192-205) | 1 |  |  |  |  |
| 20 MM COUPLINGS JOHNSON JNR | 1 |  |  |  |  |
| 225 MM COUPLINGS STEPDOWN (225AC-200UPVC) | 1 |  |  |  |  |
| 225 MM COUPLINGS (235-250) | 1 |  |  |  |  |
| 250 MM COUPLINGS UPVC (250-267) | 1 |  |  |  |  |
| 250 MM CI UPVC REPAIR COUPLING | 1 |  |  |  |  |
| 250 MM COUPLING STEPDOWN AC-UPVC (272-286) (250-267) | 1 |  |  |  |  |
| 250 MM COUPLINGS AC (272-286) | 1 |  |  |  |  |
| 25 MM COUPLINGS JOHNSON JNR | 1 |  |  |  |  |
| 300 MM COUPLINGS UPVC (315-328) | 1 |  |  |  |  |
| 300 MM COUPLINGS AC (340-350) | 1 |  |  |  |  |
| 300 MM COUPLINGS STEPDOWN AC-UPVC (340-350) (315-328) | 1 |  |  |  |  |
| 315 MM UPVC REPAIR COUPLING | 1 |  |  |  |  |
| 32 MM COUPLINGS JOHNSON JNR | 1 |  |  |  |  |
| 350MM COUPLINGS UPVC (344-360) | 1 |  |  |  |  |
| 375 MM COUPLINGS STEEL (396-416) | 1 |  |  |  |  |
| 40 MM COUPLINGS JOHNSON JNR | 1 |  |  |  |  |
| 400MM COUPLING UPVC (391-407) | 1 |  |  |  |  |
| 450 MM COUPLINGS STEEL (450-460) | 1 |  |  |  |  |
| 50 MM CI UPVC REPAIR COUPLING | 1 |  |  |  |  |
| 50 MM COUPLINGS (49-78) | 1 |  |  |  |  |
| 63 MM CI UPVC REPAIR COUPLING | 1 |  |  |  |  |
| 75 MM COUPLINGS (72.2-85) | 1 |  |  |  |  |
| 75 MM CI UPVC REPAIR COUPLING | 1 |  |  |  |  |
| 75 MM COUPLINGS (83-102) | 1 |  |  |  |  |
| 75 MM COUPLINGS STEPDOWN AC-UPVC (83-102) (59-78) | 1 |  |  |  |  |
| 90 MM CI UPVC REPAIR COUPLING | 1 |  |  |  |  |
|  | VAT |  |  |  |  |
|  | TOTAL |  |  |  |  |
| SECTION B |  |  |  |  |  |
| Description: COMPRESSION SADDLES AND HDPE FITTINGS | QUANTITY | YEAR 1 | YEAR 2 |  | YEAR 3 |
| 110 X 25 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 110 X 40 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 110 X 50 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 160 X 25 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 160 X 40 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 200 X 25 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 200 X 32 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 200 X 40 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 40 X 15 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 40 X 25 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 50 X 15 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 50 X 20 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 50 X 25 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 63 X 15 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 63 X 20 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 63 X 25 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 75 X 15 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 75 X 20 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 75 X 25 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 90 X 15 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 90 X 20 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 90 X 25 MM COMPRESSION SADDLE CLAMP | 1 |  |  |  |  |
| 110 x 90 DEG HDPE COMPRESSION ELBOW | 1 |  |  |  |  |
| 110 MM HDPE FEMALE EQUAL TEE | 1 |  |  |  |  |
| 110 MM HDPE COMPRESSION STRAIGHT COUPLING | 1 |  |  |  |  |
| 110 MM HDPE COMPRESSION EQUAL TEE | 1 |  |  |  |  |
| 110 X 100 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 110 X 100 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 110 x 75 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 110 X 75 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 110 X 90 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 20 MM HDPE COMPRESSION ELBOWS 90 DEG. | 1 |  |  |  |  |
| 20 MM HDPE COMPRESSION EQUAL TEES | 1 |  |  |  |  |
| 20 MM HDPE COMPRESSION THREADED SOCKET | 1 |  |  |  |  |
| 20 X 15 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 20 X 15 MM HDPE COMPRESSION FEMALE ELBOW | 1 |  |  |  |  |
| 20 X 15 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 20 x 15 MM HDPE COMPRESSION MALE ELBOW | 1 |  |  |  |  |
| 20 X 20 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 20 X 20 MM HDPE COMPRESSION FEMALE ELBOW | 1 |  |  |  |  |
| 20 X 20 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 20 X 20 MM HDPE COMPRESSION MALE ELBOW | 1 |  |  |  |  |
| 20 X 20 MM HDPE COMPRESSION STRAIGHT COUPLING | 1 |  |  |  |  |
| 25 MM HDPE COMPRESSION ELBOWS 90 DEG. | 1 |  |  |  |  |
| 25 MM HDPE COMPRESSION STRAIGHT COUPLING | 1 |  |  |  |  |
| 25 MM HDPE COMPRESSION EQUAL TEE | 1 |  |  |  |  |
| 25MM HDPE COMPRESSION THREADED NIPPLE | 1 |  |  |  |  |
| 25 X 15 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 25 X 15 MM HDPE COMPRESSION FEMALE ELBOW | 1 |  |  |  |  |
| 25 X 15 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 25 X 15 MM HDPE COMPRESSION MALE ELBOW | 1 |  |  |  |  |
| 25 X 20 MM HDPE COMPRESSION FEMALE ADAPTORS | 1 |  |  |  |  |
| 25 X 20 MM HDPE COMPRESSION FEMALE ELBOW | 1 |  |  |  |  |
| 25 X 20 MM HDPE COMPRESSION FEMALE TEE | 1 |  |  |  |  |
| 25 X 20 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 25 X 20 MM HDPE COMPRESSION MALE ELBOW | 1 |  |  |  |  |
| 25 X 20 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 25 X 20 MM HDPE COMPRESSION REDUCING TEE | 1 |  |  |  |  |
| 25 X 25 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 25 X 25 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 25 X 32 MM HDPE COMPRESSION REDUCING TEE | 1 |  |  |  |  |
| 32 MM HDPE COMPRESSION ELBOW | 1 |  |  |  |  |
| 32 MM HDPE COMPRESSION MALE ADPATORS | 1 |  |  |  |  |
| 32 MM HDPE COMPRESSION STRAIGHT COUPLINGS | 1 |  |  |  |  |
| 32 MM HDPE COMPRESSION EQUAL TEES 90 DEG. | 1 |  |  |  |  |
| 32 X 20 HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 32 X 20 HDPE COMPRESSION FEMALE ELBOWS | 1 |  |  |  |  |
| 32 X 20 MM HDPE COMPRESSION MALE ADAPTORS | 1 |  |  |  |  |
| 32 X 20 MM HDPE COMPRESSION REDUCING BUSH | 1 |  |  |  |  |
| 32 X 20 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 32 X 25 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 32 X 25 MM HDPE COMPRESSION FEMALE ELBOW | 1 |  |  |  |  |
| 32 X 25 MM HDPE COMPRESSION FEMALE TEE | 1 |  |  |  |  |
| 32 X 25 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 32 X 25 MM HDPE COMPRESSION MALE ELBOW | 1 |  |  |  |  |
| 32 X 25 MM HDPE COMPRESSION REDUCING BUSH | 1 |  |  |  |  |
| 32 X 25 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 32 X 25 MM HDPE COMPRESSION REDUCING TEE | 1 |  |  |  |  |
| 32 X 32 MM HDPE COMPRESSION FEMALE ELBOW | 1 |  |  |  |  |
| 32 X 40 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 40 MM HDPE COMPRESSION ELBOW 90 DEG. | 1 |  |  |  |  |
| 40 MM HDPE COMPRESSION EQUAL TEE | 1 |  |  |  |  |
| 40 X 25 MM HDPE COMPRESSION FEMALE ELBOW | 1 |  |  |  |  |
| 40 X 25 MM HDPE COMPRESSION MALE ELBOW | 1 |  |  |  |  |
| 40 X 25 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 40 X 32 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 40 X 32 MM HDPE COMPRESSION FEMALE ELBOW | 1 |  |  |  |  |
| 40 X 32 MM HDPE COMPRESSION MALE ELBOW | 1 |  |  |  |  |
| 40 X 32 MM HDPE COMPRESSION REDUCING BUSH | 1 |  |  |  |  |
| 40 X 32 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 40 X 32 MM HDPE COMPRESSION REDUCING TEE | 1 |  |  |  |  |
| 40 X 40 MM HDPE COMPRESSION FEMALE ELBOW | 1 |  |  |  |  |
| 40 X 40 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 40 X 40 MM HDPE COMPRESSION MALE ELBOW | 1 |  |  |  |  |
| 40 X 40 MM HDPE COMPRESSION STRAIGHT COUPLING | 1 |  |  |  |  |
| 50 MM HDPE COMPRESSION ELBOW 90 DEG. | 1 |  |  |  |  |
| 50 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 50 MM HDPE COMPRESSION EQUAL TEE 90 DEG | 1 |  |  |  |  |
| 50 X 25 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 50 X 25 MM HDPE COMPRESSION REDUCING BUSH | 1 |  |  |  |  |
| 50 X 25 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 50 X 32 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 50 X 32 MM HDPE COMPRESSION REDUCING BUSHES | 1 |  |  |  |  |
| 50 X 32 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 50 X 32 MM HDPE COMPRESSION REDUCING TEE | 1 |  |  |  |  |
| 50 X 40 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 50 X 40 MM HDPE COMPRESSION FEMALE ELBOW | 1 |  |  |  |  |
| 50 X 40 MM HDPE COMPRESSION FEMALE TEE | 1 |  |  |  |  |
| 50 X 40 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 50 X 40 MM HDPE COMPRESSION MALE ELBOW 90 DEG. | 1 |  |  |  |  |
| 50 X 40 MM HDPE COMPRESSION REDUCING TEE | 1 |  |  |  |  |
| 50 X 50 MM HDPE COMPRESSION FEMALE ELBOW | 1 |  |  |  |  |
| 50 X 50 MM HDPE COMPRESSION FEMALE EQUAL TEE | 1 |  |  |  |  |
| 50 X 50 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 50 X 50 MM HDPE COMPRESSION MALE ELBOW | 1 |  |  |  |  |
| 63 MM HDPE COMPRESSION ELBOW 90 DEG. | 1 |  |  |  |  |
| 63 MM HDPE COMPRESSION STRAIGHT COUPLING | 1 |  |  |  |  |
| 63 MM HDPE COMPRESSION EQUAL TEE 90 DEG. | 1 |  |  |  |  |
| 63 X 32 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 63 X 40 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 63 X 40 MM HDPE COMPRESSION MALE ELBOW | 1 |  |  |  |  |
| 63 X 50 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 63 X 50 MM HDPE COMPRESSION FEMALE ELBOW | 1 |  |  |  |  |
| 63 X 50 MM HDPE COMPRESSION FEMALE TEE | 1 |  |  |  |  |
| 63 X 50 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 63 X 50 MM HDPE COMPRESSION MALE ELBOW 90 DEG. | 1 |  |  |  |  |
| 63 X 50 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 63 X 50 MM HDPE COMPRESSION REDUCING TEE | 1 |  |  |  |  |
| 75 MM HDPE COMPRESSION ELBOW 90 DEG. | 1 |  |  |  |  |
| 75 MM HDPE COMPRESSION EQUAL TEE | 1 |  |  |  |  |
| 75 MM HDPE COMPRESSION STRAIGHT COUPLING | 1 |  |  |  |  |
| 75 X 50 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 75 X 50 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 75 X 63 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 75 X 75 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 75 X 75 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 90 MM HDPE COMPRESSION ELBOW 90 DEG. | 1 |  |  |  |  |
| 90 MM HDPE COMPRESSION STRAIGHT COUPLING | 1 |  |  |  |  |
| 90 MM HDPE COMPRESSION EQUAL TEE | 1 |  |  |  |  |
| 90 X 50 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 90 X 63 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 90 X 63 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 90 X 75 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 90 X 75 MM HDPE COMPRESSION FEMALE TEE | 1 |  |  |  |  |
| 90 X 75 MM HDPE COMPRESSION MALE ADAPTOR | 1 |  |  |  |  |
| 90 X 75 MM HDPE COMPRESSION REDUCING COUPLING | 1 |  |  |  |  |
| 40 X 40 MM HDPE COMPRESSION FEMALE ADAPTOR | 1 |  |  |  |  |
| 50 MM HDPE COMPRESSION STRAIGHT COUPLING | 1 |  |  |  |  |
|  | VAT |  |  |  |  |
|  | TOTAL |  |  |  |  |
| SECTION C |  |  |  |  |  |
| Description: REPAIR CLAMPS | QUANTITY | YEAR 1 | YEAR 2 |  | YEAR 3 |
| 100mm REPAIR CLAMPS AC | 1 |  |  |  |  |
| 100 MM S/STEEL REPAIR CLAMPS | 1 |  |  |  |  |
| 110MM UPVC CASCADE | 1 |  |  |  |  |
| 125MM A/C REPAIR CLAMPS | 1 |  |  |  |  |
| 150MM AC REPAIR CLAMPS | 1 |  |  |  |  |
| 150 MM S/STEEL REPAIR CLAMPS | 1 |  |  |  |  |
| 160MM UPVC REPAIR CLAMPS | 1 |  |  |  |  |
| 200MM REPAIR CLAMPS AC | 1 |  |  |  |  |
| 200 MM S/STEEL REPAIR CLAMPS | 1 |  |  |  |  |
| 200MM UPVC REPAIR CLAMPS | 1 |  |  |  |  |
| 225MM REPAIR CLAMP AC | 1 |  |  |  |  |
| 225MM S/STEEL REPAIR CLAMPS | 1 |  |  |  |  |
| 250MM REPAIR CLAMP AC | 1 |  |  |  |  |
| 250 MM S/STEEL REPAIR CLAMPS | 1 |  |  |  |  |
| 250 MM UPVC REPAIR CLAMP | 1 |  |  |  |  |
| 300mm CASCADE REPAIR CLAMPS AC | 1 |  |  |  |  |
| 300 MM S/STEEL REPAIR CLAMPS | 1 |  |  |  |  |
| 300 MM UPVC REPAIR CLAMP | 1 |  |  |  |  |
| 350MM REPAIR CLAMP AC (356-366) | 1 |  |  |  |  |
| 375 MM REPAIR CLAMP AC | 1 |  |  |  |  |
| 375 MM S/STEEL REPAIR CLAMPS | 1 |  |  |  |  |
| 400 MM REPAIR CLAMP AC | 1 |  |  |  |  |
| 400 MM REPAIR CLAMP STEEL | 1 |  |  |  |  |
| 450 MM REPAIR CLAMPS AC | 1 |  |  |  |  |
| 450 MM REPAIR CLAMP STEEL | 1 |  |  |  |  |
| 50 MM AC REPAIR CLAMPS | 1 |  |  |  |  |
| 50MM HDPE REPAIR CLAMP (45-55) | 1 |  |  |  |  |
| 50MM REPAIR CLAMPS S/S | 1 |  |  |  |  |
| 75 MM AC REPAIR CLAMPS | 1 |  |  |  |  |
| 75MM REPAIR CLAMP SS | 1 |  |  |  |  |
|  | VAT |  |  |  |  |
|  | TOTAL |  |  |  |  |
| SECTION D |  |  |  |  |  |
| Description: BRASS AND PLASTIC TAPS | QUANTITY | YEAR 1 | YEAR 2 |  | YEAR 3 |
| 15 MM TAPS HOSE | 1 |  |  |  |  |
|  | VAT |  |  |  |  |
|  | TOTAL |  |  |  |  |
| SECTION E |  |  |  |  |  |
| Description: HDPE PIPE CL16 TYPE 5 | QUANTITY | YEAR 1 | YEAR 2 |  | YEAR 3 |
| 110 MM HDPE PIPE CL16 TYPE 5 (50 MTR COILS) | 1 |  |  |  |  |
| 20 MM HDPE PIPE CL16 TYPE 5 (MTR) | 1 |  |  |  |  |
| 25 MM HDPE PIPE CL16 TYPE 5 (100MTR COILS) | 1 |  |  |  |  |
| 32 MM HDPE PIPE CL16 TYPE 5 (100MTR COILS) | 1 |  |  |  |  |
| 40 MM HDPE PIPE CL16 TYPE 5 (MTR) | 1 |  |  |  |  |
| 50 MM HDPE PIPE CL16 TYPE 5 (MTR) | 1 |  |  |  |  |
| 63 MM HDPE PIPE CL16 TYPE 5 (MTR) | 1 |  |  |  |  |
| 75 MM HDPE PIPE CL16 TYPE 5 (MTR) | 1 |  |  |  |  |
| 90 MM HDPE PIPE CL16 TYPE 5 (100MTR COILS) | 1 |  |  |  |  |
|  | VAT |  |  |  |  |
|  | TOTAL |  |  |  |  |
| SECTION F |  |  |  |  |  |
| Description: STEEL PIPE EPOXY COATED | QUANTITY | YEAR 1 | YEAR 2 |  | YEAR 3 |
| 200MM STEEL PIPE (24BARS) EPOXY COATED | 1 |  |  |  |  |
| 250MM STEEL PIPE (24BARS) EPOXY COATED | 1 |  |  |  |  |
| 300 MM STEEL PIPE (24BARS) EPOXY COATED | 1 |  |  |  |  |
| 350MM STEEL PIPE 24BAR PRESSURE EPOXY COATED | 1 |  |  |  |  |
| 400MM STEEL PIPE (24 BARS) EPOXY COATED - OD410MM | 1 |  |  |  |  |
| 450 MM STEEL PIPE (24BARS) EPOXY COATED | 1 |  |  |  |  |
| 525 MM STEEL PIPES (24BARS) EPOXY COATED | 1 |  |  |  |  |
|  | VAT |  |  |  |  |
|  | TOTAL |  |  |  |  |
| SECTION G |  |  |  |  |  |
| Description: STANDPIPES | QUANTITY | YEAR 1 | YEAR 2 |  | YEAR 3 |
| 15MM CONSUMER STANDPIPE | 1 |  |  |  |  |
|  | VAT |  |  |  |  |
|  | TOTAL |  |  |  |  |
| SECTION H |  |  |  |  |  |
| Description: UPVC PIPE AND BENDS | QUANTITY | YEAR 1 | YEAR 2 |  | YEAR 3 |
| 110MM UPVC PIPES CL16 | 1 |  |  |  |  |
| 140MM 6MT UPVC PIPE CL16 | 1 |  |  |  |  |
| 160MM UPVC PIPES CL16 | 1 |  |  |  |  |
| 200MM UPVC PIPE CL16 | 1 |  |  |  |  |
| 250mm UPVC PIPE CL.16 | 1 |  |  |  |  |
| 315MM UPVC PIPE CL.16 | 1 |  |  |  |  |
| 40mm UPVC Pipe Class 16 (6m) | 1 |  |  |  |  |
| 50MM X 6MT UPVC PIPE CL16 | 1 |  |  |  |  |
| 63MM UPVC PIPE CL16 | 1 |  |  |  |  |
| 75mm UPVC Class 16 Pipe 6m | 1 |  |  |  |  |
| 90mm UPVC Class 16 Pipe 6m | 1 |  |  |  |  |
| 160mm UPVC BENDS SOCKETED CL16 11 1/4DEG | 1 |  |  |  |  |
| 110mm UPVC BEND SOCKETED CL16 11 1/4 DEG | 1 |  |  |  |  |
| 110 MM UPVC BENDS SOCKETED CL16 22.5DEG | 1 |  |  |  |  |
| 110mm UPVC BENDS SOCKETED CL16 45DEG | 1 |  |  |  |  |
| 110mm UPVC BENDS SOCKETED CL16 90DEG | 1 |  |  |  |  |
| 160mm UPVC BENDS SOCKETED CL16 22.5 DEG | 1 |  |  |  |  |
| 160mm UPVC BENDS SOCKETED CL16 45 DEGREES | 1 |  |  |  |  |
| 160mm UPVC BENDS SOCKETED CL16 90 DEGREES | 1 |  |  |  |  |
|  | VAT |  |  |  |  |
|  | TOTAL |  |  |  |  |
| SECTION I |  |  |  |  |  |
| Description: HYDRANT, WEDGE GATE & RSV VALVES | QUANTITY | YEAR 1 | YEAR 2 |  | YEAR 3 |
| 75 MM BAYONET HYDRANT | 1 |  |  |  |  |
| 100 MM A C SLUICE VALVES | 1 |  |  |  |  |
| 100 MM WEDGE GATE VALVE T16 | 1 |  |  |  |  |
| 100 MM WEDGE GATE VALVE TD | 1 |  |  |  |  |
| 140MM UPVC WEDGE GATE VALVE | 1 |  |  |  |  |
| 150 MM A C SLUICE VALVES | 1 |  |  |  |  |
| 150 MM WEDGE GATE FLANGED VALVES T16 | 1 |  |  |  |  |
| 160MM WEDGE GATE VALVE UPVC | 1 |  |  |  |  |
| 200 MM A C SLUICE VALVES | 1 |  |  |  |  |
| 200 MM WEDGE GATE FLANGED VALVES T16 | 1 |  |  |  |  |
| 200MM UPVC WEDGE GATE VALVE | 1 |  |  |  |  |
| 300 MM WEDGE GATE FLANGED VALVES T16 | 1 |  |  |  |  |
| 50MM WEDGE GATE VALVE UPVC | 1 |  |  |  |  |
| 63 MM UPVC WEDGE GATE VALVE | 1 |  |  |  |  |
| 75 MM A C SLUICE VALVES | 1 |  |  |  |  |
| 75mm UPVC P/E Valve | 1 |  |  |  |  |
| 75MM WEDGE GATE VALVE T16 | 1 |  |  |  |  |
| 75 MM WEDGE GATE FLANGED VALVES TD | 1 |  |  |  |  |
| 90 MM WEDGE GATE VALVE UPVC | 1 |  |  |  |  |
|  | VAT |  |  |  |  |
|  | TOTAL |  |  |  |  |
| SECTION J |  |  |  |  |  |
| Description: LEVELDEX CONTROL VALVES | QUANTITY | YEAR 1 | YEAR 2 |  | YEAR 3 |
| 100MM LEVELDEX CONTROL VALVE | 1 |  |  |  |  |
| 50 MM LEVELDEX CONTROL VALVE | 1 |  |  |  |  |
| 80 MM LEVELDEX CONTROL VALVE | 1 |  |  |  |  |
|  | VAT |  |  |  |  |
|  | TOTAL |  |  |  |  |
| SECTION K |  |  |  |  |  |
| Description: AIR VALVES | QUANTITY | YEAR 1 | YEAR 2 |  | YEAR 3 |
| 100 MM AIR VALVES | 1 |  |  |  |  |
| 25 MM AIR VALVES | 1 |  |  |  |  |
| 80 MM AIR VALVE | 1 |  |  |  |  |
| 50 MM DOUBLE AIR VALVE | 1 |  |  |  |  |
|  | VAT |  |  |  |  |
|  | TOTAL |  |  |  |  |
| SECTION L |  |  |  |  |  |
| Description: COBRA STOP COCKS AND GATE VALVES | QUANTITY | YEAR 1 | YEAR 2 |  | YEAR 3 |
| 15 MM STOP COCK VALVE | 1 |  |  |  |  |
| 15 MM GATE VALVE | 1 |  |  |  |  |
| 20 MM STOP COCK VALVES CC | 1 |  |  |  |  |
| 20 MM STOP COCK VALVES FF | 1 |  |  |  |  |
| 20 MM GATE VALVE | 1 |  |  |  |  |
| 25 MM GATE VALVE | 1 |  |  |  |  |
| 32 MM GATE VALVE | 1 |  |  |  |  |
| 40 MM GATE VALVE | 1 |  |  |  |  |
| 50 MM GATE VALVE | 1 |  |  |  |  |
| 80 MM GATE VALVE | 1 |  |  |  |  |
|  | VAT |  |  |  |  |
|  | TOTAL |  |  |  |  |
| SECTION M |  |  |  |  |  |
| Description: BALL VALVES | QUANTITY | YEAR 1 | YEAR 2 |  | YEAR 3 |
| 100 MM BALL VALVE FF (Fullbore) | 1 |  |  |  |  |
| 15 MM BALL VALVE FF | 1 |  |  |  |  |
| 15 MM BALL VALVE MF | 1 |  |  |  |  |
| 20 MM BALL VALVE MF | 1 |  |  |  |  |
| 25 MM BALL VALVE MF | 1 |  |  |  |  |
| 40 MM BALL VALVE FF | 1 |  |  |  |  |
| 40 MM BALL VALVE MF | 1 |  |  |  |  |
| 50 MM BALL VALVE FF | 1 |  |  |  |  |
| 50 MM BALL VALVE MF | 1 |  |  |  |  |
| 75 MM BALL VALVE FF | 1 |  |  |  |  |
|  | VAT TOTAL |  |  |  |  |