| To whom it may concern | Date | 31 October 2025 |
| --- | --- | --- |
|  | Enquiries | Spha Madondo |
|  | E-mail address | Madondst@eskom.co.za |

Dear Sir/Madam

| Request for Enquiry Number |  |
| --- | --- |
| Description / Project Title | The design, supply, installation, and operation of a pilot plant to test organic removal technologies on Crocodile West raw water at Mamba Cement in Thabazimbi for twelve (12) months. |
| Tender Questions Closing Date | 5 Days before closing date |

| Item | Questions | Answers | Clarity Published Dates |
| --- | --- | --- | --- |
|  | Please share raw water analysis | Crocodile West raw water analysis that was sampled at Mamba Cement is attached on page 2 | 31 October 2025 |
|  | Can you please confirm the full period of the Trial work? The SOW indicated 7 days (24 hrs a day, 7 days a week) across 3 seasons, totaling 7 weeks for each season. | The operational period, along with any unforeseen difficulties etc., commissioning and decommissioning, should be covered in 9 months. | 10 October 2025 |
|  | During non-operation after each 7-week period can we bill for this or just the 7 weeks while in operation? | Billing after each 7 week period is possibly a better option. | 10 October 2025 |
|  | The 24/7 period does it include nightshift or just a normal 8-hour day? As such do we bill for 24 hours a day? | We need as much data as possible so that means 24 hours, 7 days a week operation, hence nightshifts could be included. | 10 October 2025 |
|  | What form/type of security is on site to safeguard people and equipment? | The response from Mamba Cement is that there they on 24/7 onsite security with access control. | 10 October 2025 |
|  | “Is it a qualifying criterion to be ISO9001 certified to be able to submit a bid for this tender?” | Yes, it is a qualifying criteria. WE want analysis to be conducted by an ISO 17025 accredited laboratory | 10 October 2025 |
|  | With reference to question no.6 above. To be clear this Iso requirement is for the lab analysis only. | Yes, it is only for the lab analysis | 10 October 2025 |

Crocodile West raw water analysis: sampled from Mamba Cement raw water supply