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REQUEST FOR A PANEL OF SERVICE PROVIDERS TO SUPPLY, INSTALL, COMMISSION AND MAINTAIN BACK-UP GENERATORS FOR UGU DISTRICT MUNICIPALITY FOR A PERIOD OF THIRTY-SIX (36) MONTHS 
CONTRACT NO: UGU-07-1665-2024

	NAME OF BIDDER:
	

	CONTACT PERSON:
	

	TELEPHONE Nº :
	

	FAX Nº /EMAIL ADD.:
	

	ADDRESS :
	

	[bookmark: _Hlk50376400]
	




                          BID CLOSES: 12H00 ON FRIDAY, 13 SEPTEMBER 2024

Note:  This bid document must NOT be separated; 
Annexures are to be attached to the back of the document.
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REQUEST FOR A PANEL OF SERVICE PROVIDERS TO SUPPLY, INSTALL, COMMISSION AND MAINTAIN BACK-UP GENERATORS FOR UGU DISTRICT MUNICIPALITY FOR A PERIOD OF THIRTY-SIX (36) MONTHS 
Contract Ugu-07-1665-2024

Bids are hereby invited from qualified service providers to enter into a Panel to Supply, Install, Commission and provide Maintenance of Back-up Generators for Ugu District Municipality for a period of thirty-six (36) months.
Bid documents are obtainable from the Ugu District Municipality office in Port Shepstone at No. 28 Connor Street as from Wednesday,            14 August 2024, at a non-refundable payment of R250.00 (No cheques will be accepted). The bid will also be advertised on the municipality’s website and documents can be downloaded from the website and the e-tender portal free of charge.
Bids completed in accordance with the conditions indicated in documents, must be sealed and endorsed with the relevant contract number and be deposited in the official tender box at the foyer of Ugu District Municipality on 96 Marine Drive, Phase 2 Building, Oslo Beach not later than 12h00 on Friday, 13 September 2024, at which time bids will be opened in public. Bids that are submitted late, incomplete, unsigned or by facsimile, electronically, couriered or not completed in black ink will be rejected and not accepted for further evaluation. Bids submitted must be valid for a period of  90 days
There will be a Compulsory Briefing session held on Friday, 23 August 2024 at No.6 Lind Road Marburg at 10h00
All technical and bid enquiries are to be directed to Mr Sanele Tenza at  Sanele.Tenza@ugu.gov.za/Ngangi.Cele@ugu.gov.za or Mr Tarulethu.Mafungwa at Tarulethu.Mafungwa@ugu.gov.za
Functionality, Price and Preference will be used for evaluation.
Minimum points of 70% must be obtained for eligibility. Bids scoring less than 70% will not be evaluated further. The following, will form criteria utilised for functionality assessment:
	Experience of Bidder
	20

	OEM Accreditation/Partnership
	15

	Electrical Technician Qualification/s
	10

	Mechanical Technician Qualification/s
	15

	Dept of Labour Certification
	25

	ISO 9001 Accreditation/QMS Plan 
	15



Ugu District Municipality subscribes to the Preferential Procurement Regulations 2022, pertaining to the Preferential Procurement Policy Framework Act (PPPFA) principles whereby a bidder’s submission will be evaluated according to the sum of the award of points in respect of the tender value and Specific Goals. 
Price and Preference will be used for evaluation. The 80/20 preferential point system will be applicable, with 80 points for price and 20 points for Specific Goals (See below table), in terms of revised Preferential Procurement Regulation in effect from 16 January 2023 Gazette Notice No. 47452 dated 04 November 2022.
 

Points to be allocated as follows:
	
	Categories
	Weight
	80|20
	POE

	1
	Ownership
	60%
	12
	

	2
	Reconstruction & Development Programme
	30%
	6
	

	3
	Other Specific Goals-
	10%
	2
	

	 
	 
	100%
	20
	

	#
	Specific Goal(s)
	Weight
	80|20 PP
	POE

	 
	Ownership Categories :
	
	
	

	1
	Broad Based Black Economic Empowerment:
	
	
	

	 
	1. BBBEE Level 1
	100%
	12
	BBBEE Certificate/ Affidavit

	 
	2.BBBEE Level 2
	80%
	10
	

	 
	3. BBBEE Level 3 to 8
	40%
	6
	

	2
	Promotion of Local Business(s)
	
	
	

	 
	1. Enterprise Located within the District Municipality - Rural
	100%
	6
	Municipal Utilities 
Lease Agreement
Affidavit (Rural)

	 
	2. Enterprise Located within the District Municipality - Urban
	67.7%
	4
	

	 
	2. Enterprise Located within the Province
	33.3%
	2
	

	3
	Other Specified Goals
	
	
	

	 
	1. Enterprise 100% owned by Youth/Women/Disabled/ Military V
	100%
	2
	CSD / CK



The Council reserves the right not to accept the lowest bid or any bid and reserves the right to accept the whole or part of the bid, or to reject all bids and cancel the notice to tender.

Kindly note: Regulation 44 of Municipal Supply Chain Management Regulations states that the Municipality may not make any award to a person who is in the service of the state


VO MAZIBUKO
ACTING MUNICIPAL MANAGER
UGU DISTRICT MUNICIPALITY

[bookmark: _Hlk171414983][bookmark: _Hlk17100282][bookmark: _Hlk17124402][bookmark: _Hlk168990860][bookmark: _Hlk168990861]REQUEST FOR A PANEL OF SERVICE PROVIDERS TO SUPPLY, INSTALL, COMMISSION AND MAINTAIN BACK-UP GENERATORS FOR UGU DISTRICT MUNICIPALITY FOR A PERIOD OF THIRTY-SIX (36) MONTHS
CONTRACT NO: UGU-07-1665-2024
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PART A
                                                                                                                           INVITATION TO BID 



YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF UGU DISTRICT MUNICIPALITY
BID NUMBER:
UGU-07-1665-2024
CLOSING DATE:
13 SEPTEMBER 2024
CLOSING TIME:
12H00

DESCRIPTION
REQUEST FOR A PANEL OF SERVICE PROVIDERS TO SUPPLY, INSTALL, COMMISSION AND MAINTAIN BACK-UP GENERATORS FOR UGU DISTRICT MUNICIPALITY FOR A PERIOD OF THIRTY-SIX (36) MONTHS 



THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (MBD7).




MBD    1

 BD 1




BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX
  SITUATED AT (STREET ADDRESS 	_____
	
UGU DISTRICT MUNICIPALITY 
	

	93 MARINE DRIVE

	PHASE 2 BUILDING

	
OSLO BEACH 
1. BRIEFING SESSION/SITE INSPECTION


	

	SUPPLIER INFORMATION

	
NAME OF BIDDER
	

	
POSTAL ADDRESS
	

	
STREET ADDRESS
	

	
TELEPHONE NUMBER
	
CODE
	
	
NUMBER
	

	
CELLPHONE NUMBER
	

	
FACSIMILE NUMBER
	
CODE
	
	
NUMBER
	

	
E-MAIL ADDRESS
	

	
VAT REGISTRATION NUMBER
	

	
TAX COMPLIANCE STATUS
	
TCS PIN:
	
	
OR
	
CSD No:
	

	
B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE
[TICK APPLICABLE BOX]
	
Yes

No
	
B-BBEE STATUS LEVEL SWORN AFFIDAVIT
	
Yes

No

	
ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS ISERVICES IWORKS OFFERED?
	

Yes                              No

[IF YES ENCLOSE PROOF]
	ARE YOU A FOREIGN
BASED SUPPLIER FOR THE GOODS ISERVICES IWORKS OFFERED?
	
Yes                              No

[IF YES, ANSWER PART B:3 ]

	

TOTAL NUMBER OF ITEMS OFFERED
	
	

TOTAL BID PRICE
	

As per the Pricing Schedule

	
SIGNATURE OF BIDDER
	

………………………………
	

DATE
	

	CAPACITY UNDER WHICH THIS BID IS
SIGNED
	

	BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO:
	TECHNICAL INFORMATION MAY BE DIRECTED TO:

	DEPARTMENT
	SCM Unit
	CONTACT PERSON
	Mr S Tenza 

	CONTACT PERSON
	Ms N Mabaso
	TELEPHONE NUMBER
	039-688 xxxx

	TELEPHONE NUMBER
	039-688 5906
	FACSIMILE NUMBER
	N/A

	FACSIMILE NUMBER
	N/A
	E-MAIL ADDRESS
	Sanele.Tenza@ugu.gov.za 

	E-MAIL ADDRESS
	Ntabiso.Mzotho@ugu.gov.za 
	



PART B
TERMS AND CONDITIONS FOR BIDDING

	1.      BID SUBMISSION:

	1.1.   BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE
ACCEPTED FOR CONSIDERATION.

1.2.   ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED-(NOT TO BE RE-TYPED) 

1.3.   THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2022, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT.

	2.      TAX COMPLIANCE REQUIREMENTS

	2.1    BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS AND ARE REQUIRED TO SUBMIT VALID TAX
CLEARANCE CERTIFICATE.

2.2    IN BIDS WHERE CONSORTIA I JOINT VENTURES I SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MUST SUBMIT A SEPARATE  TCS CERTIFICATE / PIN / CSD NUMBER.



NB: FAILURE TO PROVIDE ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.
NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE.


SIGNATURE OF BIDDER:                                                              …………………………………………… CAPACITY UNDER WHICH THIS BID IS SIGNED:                       …………………………………………… DATE:                                                                                              …………………………………………...

Please attach copies of the following documents. Failure to provide the following duly completed and up to date documents and certified where applicable will lead to automatic disqualification.

· Company registration documents.
· Tax Reference Number and Pin
· All Declarations Forms
· ID Document (for sole proprietors)
· Joint Venture Agreement (where applicable)
· Proof of payment for Municipal Services 
· Central Supplier Database Registration
· Form of Offer
· Pricing Schedule

SBD 4


3 BIDDER’S DISCLOSURE

1. PURPOSE OF THE FORM
Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.


2. Bidder’s declaration
2.1 Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest1 in the enterprise, employed by the state?	YES/NO

2.1.1 If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

	Full Name
	Identity Number
	Name	of	State institution

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	



2.2 Do you, or any person connected with the bidder, have a relationship


1 the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.



with any person who is employed by the procuring institution? YES/NO

2.2.1 If so, furnish particulars:
……………………………………………………………………………………
……………………………………………………………………………………


2.3 Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?	YES/NO

2.3.1 If so, furnish particulars:
…………………………………………………………………………….
…………………………………………………………………………….

3 DECLARATION

I,               the               undersigned, (name)	in
submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 I have read and I understand the contents of this disclosure;
3.2 I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;
3.3 The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium2 will not be construed as collusive bidding.
3.4 In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.
3.4 The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

3.5 There have been no consultations, communications, agreements or arrangements made by the bidder with any official of the procuring

2 Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.


institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

3.6 I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT.
I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.


	……………………………………      ………………………………
	  Signature		Date


                      ………………………………….        ………………………………
                         Position                                                     Name of Bidder
       
MBD 6.1

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2022

This preference form must form part of all tenders invited. It contains general information and serves as a claim form for preference points for specific goals.

NB:	BEFORE  COMPLETING  THIS  FORM,  TENDERS  MUST  STUDY  THE  GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS,
2022.

     






1. GENERAL CONDITIONS
1.1 The following preference point systems are applicable to invitations to tender:
· the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and 
· the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

1.2 To be completed by the organ of state
	(delete whichever is not applicable for this tender).
a) The applicable preference point system for this tender is the 90/10 preference point system.

b) The applicable preference point system for this tender is the 80/20 preference point system.

c) Either the 90/10 or 80/20 preference point system will be applicable in this tender. The lowest/ highest acceptable tender will be used to determine the accurate system once tenders are received.

1.3 Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for: 
(a) Price; and
(b) Specific Goals.


1.4 To be completed by the organ of state:
The maximum points for this tender are allocated as follows:
	
	POINTS

	PRICE
	80

	SPECIFIC GOALS
	20

	Total points for Price and SPECIFIC GOALS 
	100




1.5 Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

1.6 The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.

2. DEFINITIONS
(a)  “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation; 
(b) “price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts; 
(c) “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes; 
(d) “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and 
(e) “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).  

3. FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

3.1. POINTS AWARDED FOR PRICE

3.1.1   THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS 
	A maximum of 80 or 90 points is allocated for price on the following basis:

		80/20	or	90/10	

		or	
	Where
	Ps	=	Points scored for price of tender under consideration
	Pt	=	Price of tender under consideration
	Pmin	=	Price of lowest acceptable tender



3.2. FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT


3.2.1. POINTS AWARDED FOR PRICE

A maximum of 80 or 90 points is allocated for price on the following basis:
	

		            80/20	               or	            90/10	

		or	
	
Where
	Ps	=	Points scored for price of tender under consideration
	Pt	=	Price of tender under consideration
	Pmax	=	Price of highest acceptable tender

4. POINTS AWARDED FOR SPECIFIC GOALS 

4.1. In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender: 
4.2. In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of— 
(a) an invitation for tender for income-generating contracts, that either the 80/20 or 90/10 preference point system will apply and that the highest acceptable tender will be used to determine the applicable preference point system; or
 
(b) any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,  
then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system. 












Table 1: Specific goals for the tender and points claimed are indicated per the table below. 
(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such. 
Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)  
	The specific goals allocated points in terms of this tender
	Number of points
allocated
(80/20 system)
(To be completed by the organ of state)
PART A|B
	Number of points claimed (80/20 system)
(To be completed by the tenderer)

	Ownership:
	
	

	BBBEE Level 1
	5|6
	

	BBBEE Level 2
	4|5
	

	BBBEE Level 3-8
	2|3
	

	Empowerment
	
	

	1. an EME or QSE which is at least 100% owned by black people;
	2|0
	

	2. an EME or QSE which is at least 51% owned by black people;
	1|0
	

	3. an EME or QSE which is at 25% - 50% owned by black people;
	0.5|0
	

	RDP
	
	

	1. Enterprise Located within the District Municipality – Rural
	2|3
	

	2. Enterprise Located within the District Municipality – Urban
	1.5|2
	

	2. Enterprise Located within the Province
	0.5|1
	

	Other Specific Goal
	
	

	1. Enterprise 100% owned by Youth/Women/Disabled/ Military V
	1
	

	
	
	













DECLARATION WITH REGARD TO COMPANY/FIRM

4.3. Name of company/firm…………………………………………………………………….
4.4. Company registration number: …………………………………………………………...
4.5. TYPE OF COMPANY/ FIRM
	Partnership/Joint Venture / Consortium
	One-person business/sole propriety
	Close corporation
	Public Company
	Personal Liability Company
[bookmark: _Hlk117764996]	(Pty) Limited 
	Non-Profit Company
	State Owned Company
[TICK APPLICABLE BOX]





4.6. I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:
i) The information furnished is true and correct;
ii) The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;
iii) In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct; 
iv) If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

(a) disqualify the person from the tendering process;
(b) recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;
(c) cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;
(d) recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and
(e) forward the matter for criminal prosecution, if deemed necessary







	






……………………………………….
SIGNATURE(S) OF TENDERER(S)

SURNAME AND NAME:	 ……………………………………………………….
DATE:			………………………………………………………
ADDRESS:		………………………………………………………
			………………………………………………………
		………………………………………………………
		………………………………………………………


                              







(i)   


















											
				
								MBD 7.2

CONTRACT FORM · RENDERING OF SERVICES

THIS FORM MUST BE FILLED IN DUPLICATE BY BOTH THE SERVICE PROVIDER (PART 1) AND THE PURCHASER (PART 2).  BOTH FORMS MUST BE SIGNED IN THE ORIGINAL SO THAT THE SERVICE PROVIDER AND THE PURCHASER WOULD BE IN POSSESSION OF ORIGINALLY SIGNED CONTRACTS FOR THEIR RESPECTIVE RECORDS.
PART 1 (TO BE FILLED IN BY THE SERVICE PROVIDER)

1.	I hereby undertake to render services described in the attached bidding documents to (name of the institution)............... in accordance with the requirements and task directives I proposals specifications stipulated in Bid Number.......... at the price/s quoted.  My offer/s remain binding upon me and open for acceptance by the Purchaser during the validity period indicated and calculated from the closing date of the bid.

2.	The following documents shall be deemed to form and be read and construed as part of this agreement:
(i)       Bidding documents, viz
-         Invitation to bid;
-         Tax clearance certificate;
-         Pricing schedule(s);
-         Filled in task directiveIproposal;
-      Preference claims for Specific Goal(s) Contribution in terms of the Preferential Procurement Regulations 2022;
-         Declaration of interest;
-         Declaration of Bidder's past SCM practices;
-         Certificate of Independent Bid Determination;
-         Special Conditions of Contract; (ii)      General Conditions of Contract; and (iii)      Other (specify)
3.	I confirm that I have satisfied myself as to the correctness and validity of my bid; that the price(s) and rate(s) quoted cover all the services specified in the bidding documents; that the price(s) and rate(s) cover all my obligations and I accept that any mistakes regarding price(s) and rate(s) and calculations will be at my own risk.
4.	I accept full responsibility for the proper execution and fulfilment of all obligations and conditions devolving on me under this agreement as the principal liable for the due fulfillment of this contract.
5.	I declare that I have no participation in any collusive practices with any bidder or any other person regarding this or any other bid.
6.       I confirm that I am duly authorized to sign this contract.


REQUEST FOR A PANEL OF SERVICE PROVIDERS TO SUPPLY, INSTALL, COMMISSION AND MAINTAIN BACK-UP GENERATORS FOR UGU DISTRICT MUNICIPALITY FOR A PERIOD OF THIRTY-SIX (36) MONTHS
CONTRACT NO: UGU-07-1665-2024


NAME (PRINT):............... CAPACITY: ................... SIGNATURE    : ................ NAME OF FIRM: ................ DATE: ..................


WITNESSES

1   ...............

2   ...............

DATE:............


CONTRACT FORM · RENDERING OF SERVICES

PART 2 (TO BE FILLED IN BY THE PURCHASER)



1. I..................in my capacity I in my capacity as 

……………………………………accept your bid under reference number……………………………………………………………………………….

dated ................for the rendering of services indicated hereunder and/or further specified in the annexure(s).

2.       An official order indicating service delivery instructions is forthcoming.

3.	I undertake to make payment for the services rendered in accordance with the terms and conditions of the contract, within 30 (thirty) days after receipt of an invoice.




	

DESCRIPTION OF SERVICE
	
PRICE  (ALL APPLICABLE TAXES INCLUDED)
	

COMPLETION DATE
	
SPECIFIC GOAL LEVEL OF CONTRIBUTION
	MINIMUM
THRESHOLD FOR LOCAL PRODUCTION AND CONTENT (if applicable)

	
	
	
	
	





4.       I confirm that I am duly authorized to sign this contract.



SIGNED AT ............... ON      ..............






WITNESSES

1   ............NAME (PRINT)
.................

SIGNATURE

................
OFFICIAL STAMP




2   ..........
[bookmark: _Toc485799769][bookmark: _Hlk16518483]CERTIFICATE FOR PAYMENT OF MUNICIPAL SERVICES
DECLARATION IN TERMS OF CLAUSE 112(1) OF THE MUNICIPAL FINANCE MANAGEMENT ACT (NO.56
OF 2003) - (To be signed in the presence of a Commissioner of Oaths)
*FAILURE TO SUBMIT ANY PROOF AS REQUIRED, WILL INVALIDATE THE TENDER
I, _______________________________________, _________________ (full name and ID no.), hereby
acknowledge that according to SCM Regulation 38(1)(d)(i), the Municipality may reject the tender of the tenderer
if any municipal rates and taxes or municipal service charges owed by the Tenderer or any of its
directors/members/partners to Ugu District Municipality, or to any other municipality or municipal entity, are in
arrears for more than 3 (three) months.

I declare that I am duly authorised to act on behalf of __________________________________________ (name
of the firm) and hereby declare, that to the best of my personal knowledge, neither the firm nor any
director/member/partner of said firm is in arrears on any of its municipal accounts with any municipality in the
Republic of South Africa, for a period longer than 3 (three) months.

I further hereby certify that the information set out in this schedule and/or attachment(s) hereto is true and correct.

The Tenderer acknowledges that failure to properly and truthfully complete this schedule may result in the tender
being disqualified.

Director / Shareholder / partner.....................................................................................................................................................................................................

Physical /residential address of the Director /shareholder / partner..............................................................................................................................................

Municipal Account number(s)........................................................................................................................................................................................................

Director / Shareholder / partner.....................................................................................................................................................................................................

Physical /residential address of the Director /shareholder / partner..............................................................................................................................................

Municipal Account number(s)........................................................................................................................................................................................................

Physical address of the Business..................................................................................................................................................................................................

Municipal Account number(s)................................    .............................................    .............................................    ..................................................................

.............................................			..........................................................			........................
Signature 				Position 						Date

NB:  Bidders who reside/whose businesses are situated in the rural area and are not liable for any Municipal Payment for Services MUST submit an Affidavit (SAPS) in confirmation of their declaration.

NB: Bidders who are tenants and are not liable for any Municipal Payment for Services MUST submit a valid Lease Agreement

NB: Bidders who reside/operating their businesses in a property situated in an urban/ township area that they do not own or rent MUST submit the Municipal Account for the owner and an Affidavit from the owner confirming same.













COMMISSIONER OF OATHS
Signed and sworn to before me at...................................................................., on this ..........day of ......................................2024
by the Deponent, who has acknowledged that he/she knows and understands the contents of this Affidavit, it is true and correct to the best of his/her knowledge and that he/she has no objection to taking the prescribed oath, and that the prescribed oath will be binding on his/her conscience.
COMMISSIONER OF OATHS STAMP




COMMISSIONER OF OATHS:-

Name & Surname........................................................................................

Signature.....................................................................................................
		
Position:	................................................................................					

Address:..................................................................................
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ATTACH COPY OF THE LATEST MUNICIPAL ACCOUNT OR AFFIDAVIT OR LEASE AGREEMENT 




[Failure of a Bidder to submit this will invalidate the bid]

FORM OF OFFER AND ACCEPTANCE
[bookmark: _Toc348340009][bookmark: _Toc485799771]A.	OFFER
The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract in respect of the following works:

REQUEST FOR A PANEL OF SERVICE PROVIDERS TO SUPPLY, INSTALL, COMMISSION AND MAINTAIN BACK-UP GENERATORS FOR UGU DISTRICT MUNICIPALITY FOR A PERIOD OF THIRTY-SIX (36) MONTHS

Contract Number: UGU-07-1665-2024
The Bidder, identified in the Offer Signature block below, has examined the documents listed in the Specifications and addenda thereto as listed in the Tender Schedules, and by submitting this Offer has accepted the Conditions of Bid.
By the representative of the Bidder, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance, the Bidder offers to perform all of the obligations and liabilities of the Contractor under the Contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the Conditions of Contract identified in the Contract Data.

The offered total of the prices inclusive of Value Added Tax is:                             (AS PER THE PRICING SCHEDULE)
This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document to the Tenderer before the end of the period of validity stated in the Tender Data, whereupon the Tenderer becomes the party named as the Contractor in the Conditions of Contract identified in the Contract Data.
Signature: (of person authorized to sign the bidder):…………………………………………………...........
Name: (of signatory in capitals):…………………………………………………………………………...................
Capacity: (of Signatory):…………………………………………………………………………………….....................
Name of Bidder: (organisation):……………………………………………………………………….................
Address: …………………………………………………………………………………………………................................
Telephone number: 		……………………. Fax number: ………………………………................
Witness
Signature: …………………………………………………………………………………………………
Name: (in capitals):…………………………………………...…Date:……………………………………………
[Failure of a Bidder to fully complete and sign this form will invalidate the bid]





[bookmark: _Toc348340010][bookmark: _Toc485799772]B.	ACCEPTANCE
By signing this part of the Form of Offer and Acceptance, the Employer identified below accepts the Tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the Conditions of Contract identified in the Contract Data.  Acceptance of the Tenderer’s Offer shall form an agreement between the Employer and the Tenderer upon the terms and conditions contained in this Agreement and in the Contract that is the subject of this Agreement.
The terms of the contract are contained in
Part 1	Agreement, and Specifications (Agreement to be finalised after award)
Part 2	Pricing Schedule
and the schedules, forms and documents or parts thereof, which may be incorporated by reference into Parts 1 to 4 above.
Deviations from and amendments to the documents listed in the Specifications and any addenda thereto listed in the Tender Schedules as well as any changes to the terms of the Offer agreed by the Tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Agreement. No amendments to or deviations from said documents are valid unless contained in this Schedule, which must be duly signed by the authorised representatives of both parties.
Notwithstanding anything contained herein, this Agreement comes into effect on the date when the Tenderer receives one fully completed original copy of this document, including the Schedule of Deviations (if any). Unless the Tenderer (now Service Provider) within five days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this Agreement, this Agreement shall constitute a binding contract between the parties.
Signature:..................................................................................................................................
Name: (in capitals).....................................................................................................................
Capacity:		................................................................................................................................
Name of Employer (organisation)	........................................................................................
Address: 	…………………………………………………………………………………………....................................
Witness:  	
Signature: .................................

Name: 		.............................................
Date: 		.............................................
· 

[bookmark: _Hlk16074777]
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SCOPE OF WORK: BACK-UP GENERATOR MAINTENTANCE CONTRACT

1. Employer’s objectives

Ugu District Municipality seeks to establish a 3-year Maintenance, Servicing and Spares Supply contract for core, critical and auxiliary generator equipment in its establishment to achieve the following objectives:
· Improve turnaround time for the sourcing of spares and associated services.
· Minimise down time of any critical equipment and or unit process; and
· Mitigate against asset related operational risks associated with equipment failure.
 
The equipment and brand specific contracts will be established to form panels comprising of Original Equipment Manufacturers (OEM’s) where possible, the OEM’s accredited Agents/ Partners / Integrators, and or any other contractor/supplier specialising in the respective brands of equipment as described below.

Ugu District Municipality therefore seeks all suppliers and agents within the boundaries of South Africa that are geared up to aid Ugu District Municipality to achieve these objectives.


2. 	Description of the services 

The contracts scope of work shall be for:

· Supplying and delivering to prescribed sites the materials / spares for any of the listed equipment and brands as per the manufacturers Bill of Materials (BOM’s) and within the contractual time for completion.
· Supplying and delivering to prescribed site(s) the replacement equipment for the same make and model as that which exists in the location i.e., like for like only within the contractual time for execution/completion.
· Provision of specialized skilled labour to maintain, service, repair, and test equipment to manufacturers specifications and standards. Such shall be inclusive of requisite tools /equipment, supervision, and consumables.
· Supplying and delivering to prescribed site(s) the replacement equipment for the same make and model or similar approved as that which exists in the location i.e. like for like only within the contractual time for execution / completion. 
· Overhaul of units when required and upon approval from Ugu District Municipality Personnel.
· Supplying and installation of complete units.
· Supply and Install Vandal Proof Concrete Structures in Section D1 of BOQ. The sample drawing of a vandal proof concrete enclosure for a 450kVA generator to be approved by Ugu Project Engineer or delegated personnel prior construction of order of components. The structures to be quoted for are to be scaled and priced accordingly to accommodate the generator size being enclosed.

All work is to be as per Manufacturer’s Maintenance Manual and Maintenance & Engineering working procedures. 

After servicing of generator equipment, a complete technical, depreciation and life expectancy report to be compiled and submitted to Ugu District Municipality.

All work prior to being carried out is to be approved by Ugu District Municipality personnel.

The FAT (Factory Acceptance Test) is for the Generator being manufactured as required and to includes flights and accommodation for Ugu District Municipality two representatives.

All work to be carried out as per Ugu District Municipality Specification

Any equipment that may not have been included in the BOQ, within the duration of the contract, can be inserted as an addendum to the contract on a quarterly review basis upon site inspections and upon approval from Ugu District Municipality personnel.

The contractual turnaround time for the delivery of the prescribed scope shall be agreed with each supplier prior to signing of the contract and such times shall form part of the agreement.

Note: The Service Provider need not do all three (3) elements of the scope. As an example, the Service Provider Service Provider may only do supply and delivering of spare and / or complete equipment, or only provide specialised skilled labour to maintain. 

Table 3.1: List of equipment type and their brands that Ugu District Municipality currently has in its establishment.
	Equipment Type
	Brands Ugu has in its establishment

	Generators
	Cummins, Volvo Penta, Olympia, Perkins, Scania, Detroit, Deutz, Diesel Electric, Caterpillar




3. Extent of the services

3.2	On receipt of a purchase order against a contract, the Service Provider shall submit to the Engineer for his approval the Programme which shall contain the following: - 
(a) the order in which the Service Provider proposes to carry out the Works (including design, manufacture, delivery to site, installation, testing and commissioning). 
(b) the times when submissions and approval of the Service Provider 's drawings are required. 
(c) the times by which the Service Provider requires the employer: - 
(i) to furnish any Employer's Drawings, 
(ii) to provide access to Site, 
(iii) to have obtained any import licences, consents, way leaves, and approvals necessary for the purpose of the Works. The Service Provider shall submit the programme within 1 day after the order date.
Such program shall not have deliverables that exceed the contractual timeframes as referred to in clause above.

3.3	No material alteration to the Programme shall be made without the approval of the Engineer.

3.4	If the progress of the Works does not conform to the Programme, the Engineer may instruct the Service Provider to revise the Programme.

3.5	The Service Provider shall in all matters arising in the performance of the Contract, comply in all respects with, give all notices and pay all fees required by the provisions of any national or state statute, ordinance or other law or any regulation or by-law of any duly constituted authority.

3.6	The Service Provider shall comply with all the laws of the country of manufacture concerning the manufacture of the Plant, and the laws of the Republic of South African so far as such laws concern the manufacture, erection, and operation of the Works.

3.7	OEM Accreditation / Partnership / Integrator / Agent / Distributor Certificate or Letter

4. 	Use of reasonable skill and care 

4.1	The Service Provider is required to exercise reasonable skill and care in all activities undertaken.

4.2	The Service Provider shall, unless otherwise provided in the Contract, make his own arrangements for the engagement of all labour and for their payment, housing, feeding and transport.

4.3	On the Site, the Service Provider shall observe the normal working hours stated below. The Employer shall allow the Service Provider to carry out work on the Site continuously during such working hours. The Project Engineer may after consulting the Employer and the Service Provider, direct that work shall be done at other times. The extra cost, together with profit, shall be added to the Contract Price unless it has become necessary for the completion of the Works within the Time for Completion, and this is due to default of the Service Provider.

4.4	No work shall be carried out on the Site outside normal working hours or on the locally recognised days of rest, unless: -
(a) the Engineer so requires, or 
(b) the work is unavoidable or necessary for the saving of life or property or for the safety of the Work in which case the Service Provider shall immediately advise the Engineer, or 
(c) the Engineer gives his consent.

4.5	The Service Provider shall employ one or more competent representatives to supervise the carrying out of the Works on Site. They shall be fluent in the English language for day-to-day communications. Their names shall be communicated in writing to the Engineer before work on Site begins. Any instruction or notice which the Engineer gives to the Service Provider’s representatives shall be deemed to have been given to the Service Provider.
4.6	The Service Provider shall, upon the Engineer's written instruction, remove from the Works any person employed by him in the execution of the Works, who misconducts himself or is incompetent or negligent.

5. 	Co-operation with other services providers

5.1	If interaction with other service providers is required the Service Provider is expected to act professionally and any requests for meetings are to be made via Ugu District Municipality. All meetings are to be chaired by an Ugu District Municipality personnel / representative.

5.2	The Service Provider shall, in accordance with the Engineer's instructions, afford to other Service Providers engaged by the Employer to work on the Site and persons lawfully upon the Site all reasonable opportunities for carrying out their work provided that the same shall not obstruct or disturb the progress of the Works. The Service Provider shall also afford such opportunities to the Employees of the Employer.

6. 	Brief 

6.1	The Service Provider shall provide all Service Provider’s equipment necessary to complete the Works.

6.2	The Service Provider shall be entitled to use for the purposes of the Works such supplies of electricity, water and other services as may be available on the Site and of which details are given in the Preamble. The Service Provider shall pay the Employer a fair price for such use. The Service Provider shall at his own cost provide any apparatus necessary for such use.

6.3	The Service Provider shall from time to time during the progress of the Works clear away and remove all surplus materials and rubbish. On completion of the Works the Service Provider shall remove all Service Provider’s equipment and leave the entire Site and the Works clean and in a workmanlike condition, to the satisfaction of the Engineer.

6.4	All equipment to be supplied shall be new and all work to be done shall be executed in the manner set out in the Contract.

6.5	Where the manner of supply and execution is not set out in the Contract, the work shall be executed in a proper and workmanlike manner in accordance with recognised good practice.

6.6	Before the works are handed over in accordance with clause 10.7 the Service Provider shall supply operation and maintenance manuals together with drawings of the works as built. These shall be in such detail as will enable Employer to operate, maintain, adjust and repair all parts of the works.

6.7	All manuals and drawings shall be in English language and in such form and numbers as stated in the O&M manual specification.

6.8	The works shall not be considered complete for the purposes of taking over until such manuals and drawings have been supplied to the Employer.

7. 	Reference data

7.1	Ugu District Municipality O&M Manuals Standard Specification.

7.2	Functional design specifications

7.3	Manufacturers’ specifications

7.4	Ugu District Municipality Standard Specifications for Electrical and Mechanical Works


8. 	Applicable national and international standards 

All materials and equipment supplied must comply to relevant SANS standards.

9. 	Particular/Generic specifications

N/A

10. 	Completion of work

10.1	The Works shall be completed and shall have passed the Tests on Completion within the Time for Completion.

10.2	The Service Provider shall give to the Engineer a minimum of 1 days’ notice of the date after which he will be ready to make the Tests on Completion (the Tests). Unless otherwise agreed, the Test shall take place within 3 days after the said date on such day or days as the Engineer shall notify the Service Provider.

10.3	If the Engineer fails to appoint a time after having been asked to do so or does not attend at the time and place appointed, the Contractor shall be entitled to proceed with the Tests in his absence. The Tests shall then be deemed to have been made in the presence of the Engineer and the results of the Tests shall be accepted as accurate.

10.4	If the Tests are being unduly delayed by the Service Provider, the Engineer may by notice require the Contractor to make the Tests within 5 days after the receipt of such notice. The Service Provider shall make the Tests on such days within that period as the Service Provider may fix and of which he shall give notice to the Engineer.
If the Service Provider fails to make the Tests within 5 days, the Engineer may himself proceed with the Tests. All Tests so made by the Engineer shall be at the risk and cost of the Service Provider and the cost thereof shall be deducted from the Contract Price. The Tests shall then be deemed to have been made in the presence of the Service Provider and the results of the Tests shall be accepted as accurate.

10.5	Except where otherwise specified, the Employer shall provide free of charge such labour, materials, electricity, fuel, water, stores, apparatus and feedstock as may be reasonably required by the Service Provider to carry out the Tests.

10.6	If the Works or any Section fails to pass the Tests on the repetition thereof, the Engineer, after due consultation with Service Provider, shall be entitled to: -
(a) order one further repetition of the Tests, or 
(b) reject the Works or Section in which event the Employer shall have the same remedies against the Service Provider as are provided under Sub-Clause 16.5 or 
(c) issue a Taking-Over Certificate, if the Employer so wishes, notwithstanding that the Works are not complete. 

10.5	The Contract Price shall then be reduced by such amount as may be agreed by the Employer and the Service Provider or, failing agreement, as may be determined by arbitration. 
10.6	As soon as the Works or Section thereof has passed the Tests, the Engineer shall issue a Certificate to the Service Provider to that effect.

10.7	The Works shall be taken over by the Employer when they have been completed in accordance with the Contract, except in minor respects that do not affect the use of the Works for their intended purpose, have passed the Tests on Completion and a Taking-Over Certificate has been issued or deemed to have been issued.

10.8	The Employer shall not use any part of the Works unless a Taking-over Certificate has been issued in respect thereof. If nevertheless the Employer uses any part of the Works, that part which is used shall be deemed to have been taken over at the date of such use. The Engineer shall on request of the Service Provider issue a Taking-Over Certificate accordingly. If the Employer uses any part of the Works before taking over the Service Provider shall be given the earliest opportunity of taking such steps as may be necessary to carry out the Tests on Completion. 

11. 	Quality Management

11.1	The Service Provider must have an ISO 9001 quality management system or equivalent in place. A copy of the certificate / plan must be submitted as returnable.

11.2	The Service Provider shall give the Engineer full opportunity to examine, measure and test any work on Site which is about to be covered up or put out of view. The Service Provider shall give due notice to the Engineer whenever such work is ready for examination, measurement, or testing. The Engineer shall then, unless he notifies the Service Provider that he considers it unnecessary, without unreasonable delay carry out the examination, measurement, or testing.

11.3	If so instructed by the Engineer, the Service Provider shall expose any parts of the Works. The Service Provider shall reinstate and make good such parts to the Engineer's satisfaction. If any parts of the Works have been covered up or put up out of view by the Service Provider and are found to be in accordance with the Contract the cost incurred by the Service Provider in complying with the Engineer's instructions including profit shall be certified by the Engineer and added to the Contract Price.

11.4	The Engineer may, if so provided in the Contract or with the Service Provider’s consent, consent, delegate inspection and testing of Plant to an independent inspector. Any such delegation shall be affected and for this purpose such independent inspector shall be considered as an Engineer's Representative. Notice of such appointment (being not less than 3 days) shall be given by the Engineer to the Service Provider.

11.5	The Engineer shall be entitled during work execution to inspect, examine and test the materials and workmanship, and check the progress of manufacture / execution of all equipment to be supplied under the Contract. This shall take place on the Service Provider’s premises during working hours. If Plant is being manufactured on other premises, no such inspection, examination or testing shall release the Service Provider from any obligation under the Contract.

11.6	The Service Provider shall agree with the Engineer the time and place for the testing of any Plant as provided in the Contract. The Engineer shall give the Service Provider 24 hours’ notice of his intention to attend the tests. If the Engineer does not attend on the date agreed, the Service Provider may, unless the Engineer instructs the Service Provider not to do so, proceed with the tests, which shall be deemed to have been made in the Engineer's presence. The Service Provider shall forthwith forward to the Engineer duly certified copies of the test results. If the Engineer has not attended the test, he shall accept the validity of the test readings.

11.7	Where the Contract provides for tests on the premises of the Service Provider or of any Sub-contractor, the Service Provider shall provide such assistance, labour, materials, electricity, fuel, stores, apparatus, and instruments as may be necessary to carry out the tests efficiently.

11.8	When Plant has passed the tests, the Engineer shall furnish to the Service Provider a certificate or endorse the Service Provider’s test certificate to that effect.

11.9	If, because of the inspection, examination or testing referred to in Clause 15, the Engineer decides that any Plant is defective or otherwise not in accordance with the Contract, he may reject such Plant and shall notify the Service Provider thereof immediately. The notice shall state the Engineer's objections with reasons. The Engineer shall not reject any Plant for minor defects which do not affect the commercial operation of such plant. The Service Provider shall then with all speed make good the defect or ensure that any rejected Plant complies with the Contract. If the Engineer requires such Plant to be retested, the tests shall be repeated under the same terms and conditions. All costs incurred by the Employer by the repetition of the tests shall be deducted from the Contract Price.

11.10	The Service Provider shall apply in writing to the Engineer for permission to deliver any Plant or Service Provider’s equipment to the Site. No Plant or Service Provider’s Equipment may be delivered to the Site without the Engineer's written permission. The Service Provider shall be responsible for the reception on Site of the Plant and Service Provider’s Equipment.

11.11	The Engineer may at any time instruct the Service Provider to: - 
(a) suspend the progress of the Works, or 
(b) suspend delivery of Plant or Service Provider 's Equipment which is ready for delivery to the Site at the time for delivery specified in the Programme, or if no time is specified, at the time appropriate for it to be delivered, or 
(c) suspend the installation of Plant which has been delivered to the Site.

11.12	The additional costs incurred by the Service Provider in protecting, securing, and ensuring the Works or Plant and in following the Engineer's instructions and in resumption of the work, shall be added to the Contract Price. The Service Provider shall not be entitled, to be paid any additional costs if such suspension is necessary by reason of a default on the part of the Service Provider. The Service Provider shall not be entitled to any additional costs unless he notifies the Engineer of his intention to make such claim, within 14 days after receipt of the order to suspend progress or delivery or of the date of deemed suspension under Sub-clause 15.11.




12. 	Defects 

12.1	Where any part of the Works is taken over separately from the Works the Defects Liability Period for that part shall commence on the date it was taken.
12.2	The Service Provider shall be responsible for making good any defect in or damage to any part of the Works which may appear or occur during the Defects Liability Period, and which arises from, either: - 
(a) any defective materials, workmanship or design, or 
(b) any act or omission of the Service Provider during the Defects Liability Period. The Service Provider shall make good the defect or damage as soon practicable and at his own cost.
12.3	If any such defect appears or damage occurs, the Employer or the Engineer shall forthwith notify the Service Provider thereof.

12.4	The provisions of this Clause shall apply to all replacements or renewals carried out by the Service Provider as if the replacements and renewals had been taken over on the date they were completed. The Defects Liability Period for the Works shall be extended by a period equal to the period during which the Works cannot be used by reason of a defect or damage. If only part of the Works is affected the Defects Liability Period shall be extended only for that part.

12.5	If the Service Provider fails to remedy a defect or damage within a reasonable time, the Employer may fix a final time for remedying the defect or damage. If the Service Provider fails to do so, the Employer may: - 
(a) carry out the work himself or by others at the Service Provider 's risk and cost, provided that he does so in a reasonable manner. The costs properly incurred by the Employer in remedying the defect or damage shall be deducted from the Contract Price, but the Service Provider shall be deducted from the Contract Price, but the Service Provider shall have no responsibility for such work, or 
(b) require the Service Provider to grant the Employer a reasonable reduction in the Contract Price to be agreed or fixed by arbitration, or 
(c) if the defect or damage is such that the Employer has been deprived of substantially the whole of the benefit of the Works or a part thereof, he may terminate the Contract in respect of such parts of the Works, as cannot be put to the intended use. 

12.6	The Employer shall to the exclusion of any remedy be entitled to recover all sums paid in respect of such parts of the returning Plant to the Service Provider or otherwise disposing of it in accordance with the Service Provider’s instructions.

12.7	If the defect or damage is such that repairs cannot be expeditiously carried out on the Site, the Service Provider may with the consent of the Engineer, or the Employer remove from the Site for the purposes of repair any part of the Works which is defective or damaged.

12.8	If the replacements or renewals are such that they may affect the performance of on Completion the Works, the Employer may request that Tests on Completion be repeated to the extent necessary. 

12.9	The request shall be made by notice within 28 days after the replacement of renewal. The Tests shall be carried out in accordance with Clause 15.

12.10	When the Defects Liability Period for the Works or any part thereof has expired and the Service Provider has fulfilled all his obligations under the Contract for defects in the Works or that part, the Engineer shall issue within 28 days to the Employer and the Service Provider a Defects Liability Certificate to that effect.

13. 	Format of communications

All formal communication shall be undertaken in writing by email, fax or hard copy letter with the Ugu District Municipality Representative. All reports are to be compiled in Microsoft word and must be made available on CD, save where indicated differently in the O&M Manual standard specification.

14. 	Key personnel

1. Technical Expert
2. Artisan

the Key Persons are to be Principals or permanent employees of the firm.  Depending on the specific project requirements one individual may occupy more than one position. Any Key Personnel replaced shall be done so with equivalently qualified person.

15. 	Management meetings

Performance review meeting shall be held once every semester in Ugu District Municipality premises in Oslo beach and must be attended by the following personnel:
· Contracts Manager


16. 	Obligations of Ugu District Municipality

16.1	The Employer shall in reasonable time grant the Service Provider access to and possession of the Site, which may, however, not be exclusive to the Service Provider. The Employer shall to the extent stated in the Specification provide means of access for the delivery of all Plant and Service Provider’s equipment to the Site.

16.2	The Employer shall assist the Service Provider in ascertaining the nature and extent of any laws, regulations, orders or bye-laws, and customs in the country where the Plant is to be erected, which may affect the Service Provider in the performance of his obligation under the Contract. The Employer shall if so requested procure for the Service Provider copies thereof and information relating thereto at the Service Provider 's cost.

16.3	Any building, structure, foundation or means of access on the Site to be provided by the Employer shall be in a condition suitable for the reception, movement, installation, and maintenance of the Works within the time or times indicated in the Programme.
The Employer shall in due time obtain or grant all consents including permits-to-work, way leaves and approvals required for the Works.

17. 	Electronic payments

The service provider will be paid electronically through the normal Ugu procedures.

18. 	Ownership of plant / equipment

Plant to be supplied pursuant to the Contract shall become the property of the Employer at whichever is the earlier of the following times: - 
(a) when Plant is delivered to Site, or 
(b) when the Service Provider becomes entitled to payment of the value of the Plant.

19. 	Professional indemnity insurances 

Professional Indemnity Insurance  
	Cover is: R5 000 000 (Five Million Rands)
             Period of cover: For the period of performance
Insurance cover requirements will be confirmed on award.

20. 	Default

20.1	If the Service Provider is not executing the Works in accordance with the Contract or is neglecting to perform his obligations thereunder so as to seriously affect the carrying out of the Works, the Engineer may give notice to the Service Provider requiring him to make good such failure or neglect.

20.2	If the Contractor:
(a) has failed to comply within reasonable time with a notice under Sub-Clause 24.1, or
(b) assigns the Contract or Subcontracts the whole of the Works without the Employer’s written consent, or 
(c) becomes bankrupt or insolvent, has a receiving order made against him or compounds with his creditors, or carries on business under a receiver, trustee or manager for the benefit of his creditors or goes into liquidation,

The Employer may, after having given 7 days’ notice to the Service Provider, terminate the Contract and expel the Service Provider from the Site.
Any such expulsion and termination shall be without prejudice to any other rights or powers of the Employer, the Engineer or the Service Provider under the Contract. The Employer may upon such termination complete the Works himself or by any other Service Provider.
20.3	The Engineer shall, as soon as possible after such termination, certify the value of the Works and all sums then due to the Service Provider as at the date of termination.

20.4	The Employer shall not be liable to make any further payments to the Service Provider until the Works have been completed. When the Works are so completed, the Employer shall be entitled to recover from the Service Provider the extra costs, if any, of completing the Works after allowing sum due to the Contractor under Sub-Clause 24.3.
If there is no such extra cost the Employer shall pay any balance due to the Contractor.

20.5	The Service Provider’s liability shall immediately cease when the Employer expels him from the Site without prejudice to any liability thereunder that may have already occurred.

21. 	Operating hours 

Start: 07:30
Finish: 16:00

Note that with prior arrangements, the Maintenance personnel is available after hours for urgent and emergency work only.

22. 	Proof of compliance with the law

Proof of statutory / professional registration is required for key personnel as applicable in the following fields:
· Electrical Technician / Artisan that are doing LV must have a Wiremen’s license and those in MV must have a Masters License and Switching Certificate.
· Mechanical Technician / Mechanics that is in possession of a Trade Test Certificate.
· The Service Provider doing installations and maintenance of medium voltage systems must be registered with the Department of Labour

FUNCTIONALITY ASSESSMENT 

All Bidders are advised that this Bid is subject to a Functionality Assessment as follows: 
	Key aspect of criterion
	Basis for points allocation
	Score
	Max. Points
	Verification Method

	Experience of the bidder (A reference letter head of that institution is to be supplied for each successful complete project, signed by HOD department or delegated authority in the institution where the project was undertaken. Only contracts where approved reference letters supplied will be considered)
	Five or more reference letters of a similar contract in the last 5 years.
	Good
20 points
	20
	Reference letter on the institution’s letterhead.

	
	Three - Four reference letters of a similar contract in the last 5 years.
	Fair 
12 points
	
	Reference letter on the institution’s letterhead.

	
	One - Two reference letters of a similar contract in the last 5 years.
	Poor
6 points
	
	Reference letter on the institution’s letterhead.

	OEM Accreditation / Partnership / Integrator / Agent / Distributor Certificate or Letter
	Three or more OEM Accreditation Certificate or letter
	Good
15 points
	15
	Certified copy of the Accreditation. 

	
	One – two OEM Accreditation Certificate or letter.  
	Fair
7.5 points
	
	Certified copy of the Accreditation.

	
	No Accreditation 
	Poor
0 points
	
	N/A

	Electrical Technician / Artisan that are doing LV must have a Wiremen’s license and those in MV must have a Masters License or Switching gear Certificate.
	One MV Certificate.
	Good
10 points
	10
	Certified Copies of the Master License or Switching Gear Certificate. 

	
	One LV Certificate.
	Fair
5 points
	
	Certified Copies of the wiremen’s license 

	
	No Certificates 
	Poor
0 point
	
	N/A

	Mechanical Technician / Mechanics that is in possession of a Trade Test Certificate.

	Trade Test Certificate
	Good
15 points
	15
	Certified Copy

	
	No Certificate
	Poor
0 points
	
	N/A

	Bidder must be registered with the Department of Labour for Installations and maintenance of medium voltage systems. 
	Department of Labor (DOL) Certification. 
	Good
25 points
	25
	Certified Copy of the Compliance Certificate. 

	
	Proof of registration progress
	Fair
10 points
	
	DOL confirmation letter of registration process. 

	
	No roof or Certification 
	Poor
0 points
	
	N/A

	ISO 9001 quality management system (QMS) or equivalent in place. A copy of the certificate / a detailed QMS plan to be technically evaluated by the User Department and submitted back to the BEC.
	Certification  
	Good
15 points
	15
	Certified Copy of the ISO 9001 Certificate.  

	
	Detailed QMS plan  
	Fair
5 Points
	
	Detailed Plan

	
	
	Poor
0 points
	
	N/A

	TOTAL 
	
	
	100
	



N.B: Bidders are required to submit supporting documents to score full point.

The minimum qualifying score for functionality is 70%. Bidders whose score is less than 70% will not be eligible for further evaluation. 



















CK DOCUMENT OR CERTIFIED ID DOCUMENT (FOR SOLE PROPRIETORS)     

[Failure of a Bidder to submit this will invalidate the bid]                   

TAX REFERENCE NUMBER AND PIN

[bookmark: _Hlk168992017]                                                                 [Failure of a Bidder to submit this will invalidate the bid]


REQUEST FOR A PANEL OF SERVICE PROVIDERS TO SUPPLY, INSTALL, COMMISSION AND MAINTAIN BACK-UP GENERATORS FOR UGU DISTRICT MUNICIPALITY FOR A PERIOD OF THIRTY-SIX (36) MONTHS
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[bookmark: _Toc485799777]JOINT VENTURE AGREEMENT (WHERE APPLICABLE)

[Failure of a JOINT VENTURE Bidder to submit this will invalidate the bid]


	
[bookmark: _Toc485799778]CERTIFIED VALID BBBEE CERTIFICATE

[Bidder that does not submit this will not be awarded BBBEE points]



[bookmark: _Toc485799779]
[bookmark: _Hlk61859291]

CENTRAL SUPPLIER DATABASE REGISTRATION

[Failure of a Bidder to submit this will invalidate the bid]





SPECIFIC GOALS SUPPORTING DOCUMENTS

[Non-submission will result in no points being scored]























REFERENCE LETTER/S

[Non-submission will result in no points being scored]


























ELECTRICAL TECHNICIAN/S WIREMAN’S LICENSE AND MASTERS LICENSE AND SWITCHING CERTIFICATE
[bookmark: _Hlk168991995]
. [Non-submission will result in no points being scored]



























TRADE TEST CERTIFICATION OF MECHANICAL TECHNICIAN

. [Non-submission will result in no points being scored]
[bookmark: _Hlk149655297]
OEM ACCREDITATION/PARTNERSHIP/INTEGRATOR/AGENT/DISTRIBUTOR LETTER CERTIFICATION

[Non-submission will result in no points being scored]


























ISO 9001 ACCREDITATION OR QMS PLAN

[Non-submission will result in no points being scored]



























PRICING SCHEDULE

[Failure of a Bidder to submit this will invalidate the bid]
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