Specifications for servicing fire protection systems at ARC-NRE Arcadia campus:

1. Fire detection/alarm system (24 zones)

2. NAF/FM200 gas fire suppression systems x 6
including replacement of at least 2 cylinders

3. CO2 gas fire suppression system

Onsite briefing session required

Eligible companies must be SAQCC registered and SABS approved

