Specifications for servicing fire protection systems at ARC-NRE Arcadia campus:

- Fire detection/alarm system (24 zones)

- NAF/FM200 gas fire suppression systems x 6

including replacement of at least 2 cylinders

- CO2 gas fire suppression system

Onsite briefing session required

Eligible companies must be SAQCC registered and SABS approved