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INVITATION TO BID
(In terms of the Supply Chain Management Regulations (Government Gazette 27636 of 30 May 2005)


BID NO: NLM2025-006A

SUPPLY AND DELIVERY OF CABLE FAULT LOCATOR 
Closing Date and Time: WEDNESDAY, 13 NOVEMBER 2024 at 12H00



	
NAME OF BIDDER:
	
	Bidder VAT registered?
Yes: No:

	TOTAL BID PRICE (INCL VAT):
(Brought forward from MBD 3.1)
	
	


Please note that it is compulsory for all service providers to complete the above required information
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1. [bookmark: _TOC_250014]BID CHECKLIST

Bidders are to use this checklist to ensure that the bid documentation is complete for administrative compliance. The bidder is to indicate that the documentation is complete and included in the bid document by completing the table below.

Tick to indicate that the information is included
	Item
	Description
	Yes
	No
	n/a

	1.
	Is your business registered as accredited prospective supplier with the NALEDI LOCAL MUNICIPALITY?
	
	
	

	2.
	Is the bid document administration fee paid and a copy of the receipt attached to the bid document?
	
	
	

	3.
	Did you read and understand all pages of the bid document?
	
	
	

	4.
	Did you complete the bid documents in black ink?
	
	
	

	5.
	Did you provide a certified copy of your company registration and VAT registration certificates?
	
	
	

	6.
	Did you provide a certified copy of your identity document in case of sole proprietorship?
	
	
	

	7.
	Did  you  provide  registration  certificate  pertaining  to  the  relevant industry e.g. (Electrical Contractors Board), if applicable?
	
	
	

	8.
	Did you provide a covering letter?
	
	
	

	9.
	Did you provide an original and valid tax clearance certificate? (MBD2)
	
	
	

	10.
	Did you complete and sign the Bid Declaration Form? (section 3)
	
	
	

	11.
	Where	applicable,	is	the	resolution	taken	the	Board	of Directors/Members/Partners completed and signed? (section 4)
	
	
	

	12.
	Where applicable, is the resolution taken the Board of Directors of a Consortium or Joint Venture completed and signed? (section 5)
	
	
	

	13.
	Is invitation to bid completed and signed?(MBD 1)
	
	
	

	14.
	Is the Declaration of Interest completed and signed? (MBD 4)
	
	
	

	15.
	Is  the  Declaration  of  Bidder’s  Past  Supply  Management  Practices completed and signed? (MBD 8)
	
	
	

	16.
	Is the Certificate of Independent Bid Determination completed and signed? (MBD 9)
	
	
	

	17.
	Did you complete and sign the Previous Work Experience of a Similar Nature section? (section 9)
	
	
	

	18.
	Is  the  Preference  Points  Claim  Form  in  Terms  of  the  Preferential Procurement Regulation 2022 completed and signed? (MBD 6.1)
	
	
	

	19.
	Did you provide an original and valid B-BBEE status level verification certificate or a certified copy thereof or, if you qualify as an EME, did you provide a verification certificate? (MBD 6.1)
	
	
	

	20.
	Does the product/service offered conform to the Bid Specifications?
	
	
	

	21.
	Is Pricing Schedule completed?(MBD 3.1)
	
	
	

	22.
	Where  applicable,  is  the  Declaration  for  Procurement  Above  R10 million (all applicable taxes included) completed and signed? (MBD 5)
	
	
	

	23.
	Did you attach the annual financial statements as required in MBD 5? (For Procurements above R10 million)
	
	
	




2. [bookmark: _TOC_250013]SPECIAL CONDITIONS OF BID

1. The Municipality’s document must be kept as supplied and submitted with all schedules / forms fully completed.

2. Any other documents, certificates etc. must be attached as an annexure to the official Municipal document.

3. Where the Municipality’s official document is taken apart and not submitted as supplied, the bid might be rejected.

4. Schedules / forms not duly completed and signed by the bidder will result in a bid not being considered.

5. All Forms of Special Conditions in Specifications should be included.

6. The bid document must be completed in black ink, and prices must be VAT inclusive, unless otherwise specified.

7. The lowest or any Bid will not be necessarily be accepted, and the NALEDI LOCAL MUNICIPALITY reserves the right to accept the whole or any portion of a Bid.

8. All prices and details must be legible to ensure the bid will be considered for adjudication.

9. Corrections may not be made by means of correction fluid such as Tip – Ex, or any other similar product. In the event of a mistake being made, it should be crossed out in ink and be accompanied by a full signature at each and every alteration. The Municipality reserves the right to reject the bid if corrections are not made in accordance with the above.

10. All bid documents must include the following documents:
· Receipt (original) for bid documents;
· Certified copies of cc/co registration certificates;
· Certified copy of Identity document in the case of sole proprietorship;
· Original or certified copy of B-BBEE status level verification certificate; and
· Original copies of Tax clearance certificates.

11. The bidder may submit a comprehensive company profile, for example the founding company statements, as well as a detailed exposition of previous work done.

12. Bidders are required to be registered on the NALEDI LOCAL MUNICIPALITY’s Supplier Database. Consultants are required to be registered on the Municipality’s Consultant Roster System (Application forms are obtainable from the Finance Department of the Municipality).

13. No bid forwarded by e – mail, telegram, telex, facsimile or similar apparatus will be considered.

14. Late bids shall not be admitted for consideration.

15. Bids must be properly received and deposited in the bid box of the NALEDI LOCAL MUNICIPALITY on or before 12:00 on WEDNESDAY, 13 NOVEMBER 2024. Bid offers must be submitted in a sealed envelope properly marked in terms of the bid number and bid description, at the offices of the Municipality situated at 19A Market Street, VRYBURG, 8601.

16. Copyright / Patent Rights – Copyright in any document produced, and the patent rights or ownership in any plant, machinery, thing, system or process designed or devised, by a consultant in the course of the consultancy service is vested in the NALEDI LOCAL MUNICIPALITY.

[bookmark: _TOC_250012]3. BID DECLARATION

1. I/we Mr/Mrs/Messrs	duly assigned to represent the bidder for the purpose of this bid, hereby bid to supply the goods and/or render services described in the attached documents to the NALEDI LOCAL MUNICIPALITY on terms and conditions stipulated in this bid and in accordance with the specifications stipulated in the bid documents (which shall be taken as part of, and incorporated into this bid) at the prices reflected in the Pricing Schedule.

2. I/we agree that this offer shall remain valid for a period of 90 days commencing from the closing date and time of this bid.

3. I/We further agree that:

3.1 This bid and its acceptance shall be subject to the terms and conditions contained in the in the NALEDI LOCAL MUNICIPALITY’s Supply Chain Management Policy;

3.2 if I/we withdraw my/our bid within the period for which I/we have agreed that the bid shall remain open for acceptance, or fail to fulfil the contract when called upon to do so, the NALEDI LOCAL MUNICIPALITY may, without prejudice to its other rights, agree to the withdrawal of my/our bid or cancel the contract that may have been entered into between me/us and the NALEDI LOCAL MUNICIPALITY and I/we will then pay to the NALEDI LOCAL MUNICIPALITY any additional expense incurred by the NALEDI LOCAL MUNICIPALITY having either to accept any less favourable bid or, if fresh bids have to be invited, the additional expenditure incurred by the invitation of fresh bids and by the subsequent acceptance of any less favourable bid; the NALEDI LOCAL MUNICIPALITY shall also have the right to recover such additional expenditure by set-off against moneys which may be due or become due to me/us under this or any other bid or contract or against any guarantee or deposit that may have been furnished by me/us or on my/our behalf for the due fulfilment of this or any other bid or contract and pending the ascertainment of the amount of such additional expenditure to retain such moneys, guarantee or deposit as security for any loss the NALEDI LOCAL MUNICIPALITY may sustain by reason of my/our default;

3.3 If my/our bid is accepted the acceptance may be communicated to me/us by letter or order by certified mail or registered mail. Such posting shall be deemed to be proper service of such notice with effect from the date of posting/dispatch of such notice;

3.4 The law of the Republic of South Africa shall govern the contract created by the acceptance of my/our bid and that I/we choose domicilium citandi et executandi in the Republic of South Africa, where any and all legal notices may be served at (full street address of this place):




4. I/we furthermore confirm that I/we have satisfied myself/ourselves as to the correctness and validity of my/our bid; that the price(s) and rate(s) quoted cover all the work/item(s) specified in the bid documents and that the price(s) and rate(s) cover all my/our obligations under a resulting contract and that I/we accept that any mistakes regarding price(s) and calculations will be at my/our risk.

5. I/we hereby accept full responsibility for the proper execution and fulfilment of all obligations and conditions devolving on me/us under this agreement as the Principal(s) liable for the due fulfilment of this contract.

6. I/we agree that any action arising from this contract may in all respects be instituted against me/us and I/we hereby undertake to satisfy fully any sentence or judgment which may be pronounced against me/us as a result of such action.

7. I/we declare that I/we have participation/no participation* in the submission of any other offer for the supplies/services described in the attached documents. *If in the affirmative, state name(s) of bid(s) involved.










Name of Bidder:


Signature

	

4. [bookmark: _TOC_250011]RESOLUTION  TAKEN  BY  THE  BOARD  OF  DIRECTORS  /  MEMBERS  / PARTNERS
RESOLUTION of a meeting of the Board of Directors / Members / Partners of



(Name of Bidder)

Held at	On  	
(Place)	(Date)

RESOLVED THAT:

1. The enterprise submits a Bid to the NALEDI LOCAL MUNICIPALITY in respect of the following project:

NLM2025-006A: SUPPLY AND DELIVERY OF CABLE FAULT LOCATOR

2. Mr/Mrs/Ms  	

In his/her capacity as	and who will sign as follows:




(Specimen Signature)

be, and is hereby, authorised to sign the Bid and/or all other documents and/or correspondence in connection with and relating to the Bid, as well as to sign any contract, and/or all documentation resulting from the award of the bid to the enterprise mentioned above.

Note: The resolution must be signed by all the directors or members/partners of the bidding enterprise. Should the space provided below not be sufficient for all directors to sign, please provide a separate sheet in the same format as below.

	
	
Name
	
Capacity
	
Signature

	
1
	
	
	

	
2
	
	
	

	
3
	
	
	

	
4
	
	
	

	
5
	
	
	

	
6
	
	
	




Enterprise Stamp


5. [bookmark: _TOC_250010]RESOLUTION	TAKEN	BY	THE	BOARD	OF	DIRECTORS	OF	A CONSORTIUM OR JOINT VENTURE
RESOLUTION of a meeting of the Board of Directors / Members / Partners of



(Name of Bidder)

Held at	On  	
(Place)	(Date)

RESOLVED THAT:

1. The enterprise submits a Bid to the NALEDI LOCAL MUNICIPALITY in respect of the following project:

NLM2025-006A: SUPPLY AND DELIVERY OF CABLE FAULT LOCATOR

As a Consortium/Joint Venture comprising (list all the legally correct full names and registration numbers, if applicable, of the Enterprises forming the Consortium/Joint Venture)



(Enterprise full Name and Registration Number)



(Enterprise full Name and Registration Number)


2. Mr/Mrs/Ms  	

In his/her capacity as	and who will sign as follows:




(Specimen Signature)

be, and is hereby, authorised to sign the Bid and/or all other documents and/or correspondence in connection with and relating to the Bid, as well as to sign any contract, and/or all documentation resulting from the award of the Bid to the Consortium/Joint Venture enterprise mentioned above.

3. The enterprise in the form of a consortium or joint venture accept jointly and several liability with parties under item 1 above for the fulfilment of the obligations of the joint venture deriving from, and in any way connected with the contract to be entered into with the NALEDI LOCAL MUNICIPALITY in respect of the project described above under item 1.

4. The Consortium/Joint venture enterprise chooses as its domicilium citandi et executandi for all purposes arising from this joint venture agreement and contract with the NALEDI LOCAL MUNICIPALITY in respect of the project under item 1:



(Physical Address)

Note: The resolution must be signed by all the directors or members / partners of the bidding enterprise. Should the space provided below not be sufficient for all directors to sign, please provide a separate sheet in the same format as below.

	
	Name
	Capacity
	Signature

	1
	
	
	

	2
	
	
	

	3
	
	
	

	4
	
	
	

	5
	
	
	

	6
	
	
	



Enterprise Stamp



6. [bookmark: _TOC_250009]INVITATION TO BID (MBD 1)


YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF THE NALEDI LOCAL MUNICIPALITY


BID NUMBER:	NLM2025-006A
CLOSING DATE AND TIME:	WEDNESDAY, 13 NOVEMBER 2024 at 12H00
BID DESCRIPTION:	SUPPLY AND DELIVERY OF CABLE FAULT LOCATOR

The Successful bidder will be required to fill in and sign a written Contract Form (MDB 7)


NB: Bids must be properly received and deposited in the bid box of the NALEDI LOCAL MUNICIPALITY on or before the closing date and before the closing time. Bid offers must be submitted in a sealed envelope properly marked in terms of the bid number and bid description as indicated above. No bid offers will be accepted via e-mail, facsimile (fax) or telegram.

BID DOCUMENTS MAY BE POSTED TO:

P.O. Box 35 VRYBURG 8600

OR

DEPOSITED IN THE BID BOX SITUATED AT:

19A Market Street VRYBURG
8601

Bidders should ensure that bids are delivered timeously to the correct address. If the bid is late, it will not be accepted for consideration. The bid box is available during office hours (Monday to Friday, 07H30 to 16H15).
ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS – (NOT TO BE RE-TYPED)

THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2022, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT


NB:  NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE (as defined in Regulation 1 of the
Local Government: Municipal Supply Chain Management Regulations)
MBD 1





THE FOLLOWING PARTICULARS MUST BE FURNISHED
(FAILURE TO DO SO MAY RESULT IN YOUR BID BEING DISQUALIFIED)


NAME OF BIDDER	……………………………………………………………………………………………………………………… POSTAL ADDRESS	……...………………………………………………………………………………………………………………. STREET ADDRESS	……………………………………………………………………………………………………………………… TELEPHONE NUMBER CODE…………….……NUMBER……………………………………………………………………………….. CELLPHONE NUMBER ……………….……………………………………………………………………………………………………… FACSIMILE NUMBER CODE………………….NUMBER...……………………………………………………………………………… E-MAIL ADDRESS	……………………………………………………………………………………………………………………….. VAT     REGISTRATION     NUMBER……………….…………………………………………………………………………………………………
HAS AN ORIGINAL AND VALID TAX CLEARANCE CERTIFICATE BEEN ATTACHED? (MBD 2)	*YES / NO
· Delete if not applicable

HAS A B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE BEEN SUBMITTED? (MBD 6.1)	*YES / NO
· Delete if not applicable

IF YES, WHO WAS THE CERTIFICATE ISSUED BY?
· An accounting officer as contemplated in the Close Corporation Act (CCA)
· A verification agency accredited by the South African National Accreditation System (SANAS)
· A registered auditor
(Tick applicable box)

(A B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE MUST BE SUBMITTED IN ORDER TO QUALIFY FOR PREFERENCE POINTS FOR B-BBEE)

ARE YOU THE ACCREDITED REPRESENTATIVE
IN SOUTH AFRICA FOR THE GOODS/SERVICES/WORKS OFFERED?	*YES / NO
* Delete if not applicable
(IF YES ENCLOSE PROOF)


SIGNATURE OF BIDDER	………………………………………………………………………………………………….. DATE	………………………………………………………………………………………………….. CAPACITY UNDER WHICH THIS BID IS SIGNED …..………………………………………………………………………………………………

TOTAL BID PRICE	R………………………………. TOTAL NUMBER OF ITEMS OFFERED	…………………………………


ANY ENQUIRIES REGARDING THE BIDDING PROCEDURE MAY BE DIRECTED TO:


Municipality:	NALEDI LOCAL MUNICIPALITY Department:	Finance
Contact Person:	SUPPLY CHAIN MANAGEMENT OFFICE
Tel:	(053) 928 2247/61
Fax:	(053) 927 6181


ANY ENQUIRIES REGARDING TECHNICAL INFORMATION MAY BE DIRECTED TO:

Contact Person: 	T TSOTETSI
Tel:	053 928 2290
Cell:	



7. [bookmark: _TOC_250008]TAX CLEARANCE REQUIREMENTS (MBD 2)

It is a condition of bid that the taxes of the successful bidder must be in order, or that satisfactory arrangements have been made with South African Revenue Service (SARS) to meet the bidder’s tax obligations.

1 In order to meet this requirement Suppliers are required to complete in full the attached form TCC 001 “Application for a Tax Clearance Certificate” and submit it to any SARS branch office nationally.  The Tax Clearance Certificate Requirements are also applicable to foreign Suppliers / individuals who wish to submit quotations.

2 SARS will then furnish the supplier with a Tax Compliance Status pin, that will be valid for a period of 1 (one) year from the date of approval, which can be used by supplier to download a Tax Clearance Certificate via e-Filing to be submitted together with the Tax Compliance Status pin. 

3 Bidders should submit a proof of registration on the CSD (Central Supplier Database) by submitting a CSD report not older than fourteen (14) days from closing date of this Quotation document. Registration on the CSD can be accessed at www.csd.gov.za.

4 The original Tax Clearance Certificate and Tax Compliance Status pin must be submitted together with the Quotation.  Failure to submit the original and valid Tax Clearance Certificate and Tax Compliance Status pin will result in the invalidation of the Quotation.  Certified copies of the Tax Clearance Certificate and Tax Compliance Status pin will not be acceptable.

4	In quotations where Consortia / Joint Ventures / Sub-contractors are involved, each party must submit a separate Tax Clearance Certificate and a Tax Compliance status pin.

5 Copies of the TCC 001 “Application for a Tax Clearance Certificate” form are available from any SARS branch office nationally or on the website www.sars.gov.za.

6	Applications for the Tax Clearance Certificates may also be made via eFiling. In order to use this provision, taxpayers will need to register with SARS as eFilers through the website www.sars.gov.za.

MBD 2

[image: ]
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8. [bookmark: _TOC_250007]PRICING SCHEDULE – FIRM PRICES (MBD 3.1)

(PURCHASES)

NOTE:	ONLY FIRM PRICES WILL BE ACCEPTED. NON-FIRM PRICES (INCLUDING PRICES SUBJECT TO RATES OF EXCHANGE VARIATIONS) WILL NOT BE CONSIDERED

IN CASES WHERE DIFFERENT DELIVERY POINTS INFLUENCE THE PRICING, A SEPARATE PRICING SCHEDULE MUST BE SUBMITTED FOR EACH DELIVERY POINT

Name of Bidder:	…………………………………………………………………………………………….………………………… Bid number:		NLM2025-006A
Closing day and time:	WEDNESDAY, 13 NOVEMBER 2024 at 12H00
Bid description:                 SUPPLY AND DELIVERY OF CABLE FAULT LOCATOR

 OFFER TO BE VALID FOR 90 DAYS FROM THE CLOSING DATE OF BID.
[bookmark: _TOC_250006]
1.	EXECUTIVE SUMMARY

Firm quotations are hereby requested from registered and accredited service providers with the following specifications as a minimum:

· SUPPLY AND DELIVERY OF CABLE FAULT LOCATOR

2.	PURPOSE

That registered and accredited registered service providers supply and deliver the following item with he following minimum requirements:

SPECIFICATION FOR A 16kV 1024J SURGE GENERATOR WITH PORTABLE REFLECTOMETER AND CABLE FAULT PIN POINTER, ALL INSTALLED IN A SUITABLE TRAILER WITH BACK UP AC POWER SUPPLY AND ISOLATING TRANSFORMER


2.1 OPERATING CONDITIONS
The equipment shall be capable of satisfactory operation under the following climatic conditions: Operating Temperature: -10 °C … +50 °C 
Humidity (non- condensing): max 95%

2.2 SCOPE 
This Tender Enquiry is for the supply and delivery of a 16kV 1024J surge generator with portable reflectometer and cable fault pin pointer, all installed in a suitable trailer with back up ac power supply and isolating transformer in a compact system design for testing and fault locating on low and medium voltage cables.


2.3 QUALITY CONTROL AND ACCREDITATIONS
The following minimum requirements are mandatory
a) Training
Cable Fault location course accredited with proof of valid and current EWSETA Registration number. Proof of such current and valid registration to be provided by the tenderer on tender submission
EWSETA Free On-Site Training over 3 days for not more than 5 people must be provided on supply of the equipment.


b) Warranty
A warranty of at least one (1) year on the test equipment and three (3) years on the high voltage capacitor, from the date of delivery with the option to extend for an additional year if required.

c) ISO Compliance and Accreditation
A Valid ISO certification (with current certificate attached) in the name of the company tendering.  Proof of such current and valid certification to be provided by the tenderer on tender submission

d) CIDB Registration
Supplier to have a CIDB level 5 or higher. Proof of such current and valid registration to be provided by the tenderer on tender submission

e) Spares
Guarantee that sufficient stocks of spares for the equipment offered. Suppliers have local capacity for repairs to the equipment offered.

f) Experience
Submit documentation to substantiate the following with respect to previous similar projects as a body of evidence




2.4 COMPLIANCE WITH QUALITY CONTROL AND ASSURANCE  
	NO
	DESCRIPTION
	SPECIFIED REQUIREMENT
	COMPLY
	Required comments ONLY if Comply = No 

	1
	Track History and Minimum Experience 
	Minimum of 10 years trading in the cable fault location and diagnostics sector in the name of the business tendering.
	
Yes / No


	

	2
	EWSETA accreditation 
	Provide proof of Cable Fault location course accreditation with proof of valid and current EWSETA Registration number
	Yes / No
	

	3
	EWESTA Training
	Free, on-site for 3 days for up to 5 technicians
	Yes / No
	

	4
	Quality Assurance 
	Valid ISO certification (with certificate attached) in the name of the company tendering 
	Yes / No
	

	5
	Warranty
	(1) years on the test equipment and three (3) years on the high voltage capacitor, from the date of delivery with the option to extend for an additional year if required
	Yes / No
	

	6
	Spares Guarantee
	Minimum of 5 years spares supply guarantee
	Yes / No
	

	7
	Supplier to have a CIDB level 5 or higher
	Certificate to be submitted
	Yes / No
	

	8
	Local Supplier to be ISO9001 accredited
	Certificate to be submitted in the name of the Vendor.  
	Yes / No
	

	9
	Past Experience 
	Supply proof of least 30 Trailer/Vans with installations of 16/32kV cable fault location equipment the tenderer has delivered the past 10 years
	Yes / No
	








3 SPECIFICATION FOR 16kV 1024J SURGE GENERATOR WITH PORTABLE TDR

a) Surge Generator
The unit must have a peak power of 1024J, provides the power required to accurately pin-point cable faults through the acoustic method using the powerful pin-pointer.
The powerful high voltage source must allow testing at any voltage level between 0 to 16kV.

b) ISO Requirement 
The ISO Requirement is crucial to the correct operation of the system

c) Reflectometer 
The reﬂectometer must have the most modern pre-locating methods TDR (Time Domain Reﬂection) ICE (Impulse Current) ARC (Arc Reﬂection Method) and DECAY (Voltage Decay) methods which you can use on any of the 3 ranges (4- 8-16 kV) of the surge generator.


3.1 COMPLIANCE WITH SURGE GENERATOR WITH TDR WITH 4 OF 30M CABLE RACK AND REELS SPECIFICATION 
	NO
	DESCRIPTION
	SPECIFIED REQUIREMENT
	COMPLY
	Required comments ONLY if Comply = No 

	A
	Surge with Cable Reels
	
	

	1
	High voltage test 
	0 – 4kV / 0 – 8kV / 0 – 16kV DC
	Yes / No
	

	2
	DC test 
	4kV, 8kV, 16kV
	Yes / No
	

	3
	Peak power per scope

	@ 8kV – 1024J 
@ 16kV – 1024J 
@ 32kV – 1024J 
	Yes / No Yes / No Yes / No
	

	4
	Discharge frequency
	4 – 6 sec. 
Manual
	Yes / No Yes / No
	

	5
	Switch functions Key
	Yes
	Yes / No
	

	6
	Grounding
	Automatic
	Yes / No
	

	7
	Filter 
	ARC – ICE 
	Yes / No
	

	8
	Dimensions mm 
(h x w x d)
	Command Module: 700 x 635 x 650 

	Yes / No
	

	9
	Weight (approximate)
	105 kg
	Yes / No
	

	10
	Power supply
	220 VAC/50Hz
	Yes / No
	

	11
	Operating temperature
	-10 °C … +50 °C
	Yes / No
	

	12
	Accessories Included 



	Control Module
Reﬂectometer 
Switch Range key (4, 8 or 16 kV)
Switch functions Key (ARC Filter and Direct selection)
30m HV Output cable
Safety ground cable
Power cord
	Yes / No Yes / No Yes / No Yes / No Yes / No Yes / No Yes / No Yes / No 
	

	B
	ISO Requirement 
	
	
	

	1
	Features
	Absorption ratio
	Yes / No
	

	2
	
	AC/DC voltage test
	Yes / No
	

	3
	
	Automatic discharge function
	Yes / No
	

	4
	
	Ambient temperature test
	Yes / No
	

	5
	
	Output Voltage 	250V, 500V, 1000V, 2500V, 5000V
	Yes / No
	

	6
	
	Short Circuit Current ≥5mA
	Yes / No 
	

	7
	
	AC/DC automatic identification
	Yes / No
	

	8
	
	Resistance Measurement >1KHz
	Yes / No
	

	9
	
	Setting Range of Resistance Alarm Critical Value: 1Ω - 199Ω
	Yes / No
	

	10
	
	Setting Range of Current Alarm Critical Value: 1mA - 499mA
	Yes / No
	

	11
	
	Full range automatic shifting
	Yes / No
	

	12
	
	External magnetic field <40A/m
	Yes / No
	

	13
	
	External electric field <1V/m
	Yes / No
	

	C
	Reflectometer
	
	
	

	1
	Distance range
	1000 m to 250 Km @ 80 m/μsec
	Yes / No
	

	2
	Pulse width 	
	150ns to 8μs
	Yes / No
	

	3
	Pulse amplitude 
	20Vp to 100Vp
	Yes / No
	

	4
	Resolution 	
	1 m @ 80m/ μsec
	Yes / No
	

	5
	Operating frequency 
	80 MHz
	Yes / No
	

	6
	Methods 
	ARC
ICE
DECAY
	Yes / No Yes / No Yes / No
	

	7
	Output impedance 
	50 Ohm
	Yes / No
	

	8
	Measurement 	
	Movable cursor display
	Yes / No
	

	9
	VP/2 
	Adjustable between 50 m/μsec - 150m/μsec
	Yes / No
	

	10
	Zoom
	Yes
	Yes / No
	

	11
	Memory
	> 1000 reﬂectograms
	Yes / No
	

	12
	Connections 
	USB2.0 - BNC
	Yes / No
	

	13
	Display 				
	8.4" TFT high contrast colour, 800 x 600 pixels, LED backlight
	Yes / No
	

	14
	Dimensions mm
(h x w x d) 
	162 x 365 x 273
	Yes / No
	

	15
	Weight
	5 kg
	Yes / No
	

	16
	Power supply
	220 V AC / 50Hz
	Yes / No
	

	17
	Operating temperature
	-10 °C … +50 °C
	Yes / No
	



Optional Items that can be offered separately from the above specification include

· Additional length of HV Cable
· VLF Pressure Tester with a minimum test Voltage output of 34kV for 11kV cables
· Tan delta diagnostics system that’s integrates with the VLF system offered above








4 SPECIFICATION FOR A CABLE FAULT PIN-POINTER AND TABLET

4.1 SCOPE 
This Tender Enquiry is for the supply and delivery of a that The Cable fault pin -pointer and tablet must able to receive acoustic surge waves and audio frequencies. It must be used to pin-point cable faults in power cables and installations and to trace the route of underground cables.


4.2 SPECIFICATION
[bookmark: _Hlk174456677]The Cable fault pin -pointer and tablet must be used, in conjunction with a surge generator, to pinpoint the location of an underground power cable fault. The system must use an electromagnetic field and acoustic sound combined technique, together with an intuitive user interface, to allow the user to quickly and precisely pinpoint the location of the fault.
The tablet must have two modes; the Operator mode must provide an intuitive indication of the position of the cable, with an arrow showing the position of the fault relative to the user’s position. The Waveform Analysis mode must allow the user to diagnose the fault position from the magnetic field and audio waveforms.
The equipment must be complemented by a pair of noise-cancelling earphones to assist the user in hearing the sound of the discharge at the fault position in a noisy environment.

The surge generator, connected at one end of a faulty cable, generates periodic high voltage surges which cause flashovers at the fault point. This produces a transient electromagnetic field along the cable, together with an acoustic sound caused by the fault breakdown. The unit must detects both signals and measure the time delay between them to determine the proximity of the pin-pointer to the fault point. The electromagnetic field must be measured by two pick-up coils, arranged in an orthogonal manner, which also provide information about the position of the pin pointer with respect to the cable. This information, together with the time delay information, must allow the user to track the fault location quickly and precisely.


4.3 COMPLIANCE WITH SPECIFICATION
	NO
	DESCRIPTION
	SPECIFIED REQUIREMENT
	COMPLY
	COMMENTS

	
	Accuracy
	
	
	

	1
	Fixed point accuracy
	≤0.2m
	Yes / No
	

	
	Detector dynamic range
	
	
	

	2
	Sound channel
	>110dB
	Yes / No
	

	3
	Magnetic field channel
	>110dB
	Yes / No
	

	
	Operating frequency range
	
	
	

	4
	Sound channel
	100Hz—1500Hz
	Yes / No
	

	5
	Magnetic field channel
	160Hz—50000Hz
	Yes / No 
	

	
	Sound channel filter
	
	
	

	6
	No filter
	100Hz –1500Hz
	Yes / No
	

	7
	Low pass filter
	100Hz – 400Hz
	Yes / No
	

	8
	Band pass filter
	150Hz – 600Hz
	Yes / No
	

	9
	High pass filter
	200Hz – 1500Hz
	Yes / No
	

	
	Battery
	
	
	

	10
	Detector
	Lithium battery 2200mAh
	Yes / No
	

	11
	Tablet PC
	Lithium polymer battery 6000mAh
	Yes / No
	

	
	Charging
	
	
	

	12
	Detector
	Input: 100-240V – 50/60Hz 
Output: 8.4V/1A 
Class II
	Yes / No Yes / No Yes / No 
	

	13
	Tablet PC
	Input: 100-240V – 50/60Hz
	Yes / No
	

	
	Output 
	5.0V/2A
	
	

	14
	Continuous working hours
	Typically 12 hours
	Yes / No
	

	
	Dimensions and Weight
	
	
	

	15
	Detector
	230mm x 160mm (diameter x height excluding handle)
	Yes / No
	

	16
	Pin-pointer
	2.0kg
	Yes / No
	

	17
	Tablet
	216 x 128 x 24mm (excluding harness)
	Yes / No
	

	18
	Tablet
	1.1kg (including harness)
	Yes / No
	

	
	Environmental
	
	
	

	19
	Working temperature
	-10 to 50oC
	Yes / No
	

	20
	Working humidity
	40oC (20-90) % RH
	Yes / No
	

	21
	Storage temperature
	-20 to 50oC
	Yes / No
	

	22
	Protection class
	IP65
	Yes / No
	

	
	Standards
	
	
	

	23
	European Low Voltage Directives
	CE Compliance
	Yes / No
	

	[bookmark: _GoBack]
	Additional Features 
	
	
	

	24
	
	The electromagnetic field and acoustic sound combined technique locates the fault with an accuracy of up to 0.1m.
	Yes / No
	

	25
	

	Bluetooth wireless technology transfers information to a tablet APP with an easy to use interface to find the fault.
	Yes / No
	

	26
	
	Position indicator, showing cable location
	Yes / No
	

	27
	
	Hands-free harness to support the tablet
	Yes / No
	

	28
	
	Earphones allow the operator to listen to the fault discharge sound, to audibly identify the fault location
	Yes / No
	

	29
	

	Ergonomic, lightweight pin pointer, designed to reduce environmental noise and improve sound capturing capability
	Yes / No
	

	30
	
	Integral sound filters cater for different ground and soil conditions
	Yes / No
	

	31
	
	Waveform recognition, using machine learning technology, distinguishes the fault discharge sound signal from background noise
	Yes / No
	

	32
	
	Automatic earphone sound muting, to protect the operator
	Yes / No
	

	
	Accessories
	
	
	

	33
	Included
	Detector handle
Detector charger
Tablet Display
Case and harness for Display
Display Charger
Display Cables
Headphones
User Manual
	Yes / No
Yes / No
Yes / No
Yes / No
Yes / No
Yes / No
Yes / No
Yes / No
	

	34
	Manufacturer
	
	Yes / No
	

	35
	Country of Origin
	
	Yes / No
	

	36
	Quality Compliance
	
	Yes / No
	


5 
 SPECIFICATION FOR A MEDIUM SIZED EQUIPMENT TRANSPORT TRAILER

5.1 SCOPE 
This tender Enquiry is for the supply and delivery of a medium sized equipment transport trailer to suitably carry cable fault location equipment. 


5.2 SPECIFICATION
The medium sized equipment transport trailer must have the following specifications:

The medium sized equipment transport trailer must comply with all SABS and Road Ordinance requirements and will carry a twelve month conditional guarantee under normal road usage.  The trailer will be ID-Dotted and a full set of registration documents must be issued on delivery.

The medium sized equipment transport trailer must be a Two Wheel Heavy Duty Enclosed Test Equipment Transport Trailer, with Lockable heavy duty lid and Rear Opening Tailgate. The Trailer Will Be Fitted with A Front Panel Partition to store The Batteries. A Lockable Front Nose Cone Box Will Be Fitted to The Drawbar. The Trailer Will Be Fitted with Internal Top Hat Sections to Secure Various Equipment and The Floor Will Be Reinforced to Support and Secure Various Pieces of Equipment. Underbody Channel Sections Will Be Fitted to Accommodate the Cabling for The Machines.


5.3 ACCESSORIES
Optional 

· Mechanical override and park brake system with auto reverse release mechanism fitted

5.4 COMPLIANCE WITH SPECIFICATION
	NO
	DESCRIPTION
	SPECIFIED REQUIREMENT
	COMPLY
	COMMENTS

	
	Medium Trailer
	
	
	

	1
	Compliance 
	All SABS and Road Ordinance requirements 
	Yes / No
	

	2
	Guarantee
	twelve month conditional - under normal road usage
	Yes / No
	

	3
	Documents
	ID-Dotted and a full set of registration documents issued on delivery
	Yes / No
	

	4
	Design Configuration
	Two Wheel Heavy Duty Enclosed Test Equipment Transport Trailer 
	Yes / No
	

	
	
	Lockable heavy duty Lid 
	Yes / No
	

	
	
	Rear Opening Tailgate
	Yes / No
	

	
	
	A front panel partition to store the batteries and inverter
	Yes / No
	

	
	
	A Lockable Front Nose Cone Box fitted to the Drawbar
	Yes / No
	

	
	
	Fitted With Internal Top Hat Sections to Secure Various Equipment 
	Yes / No
	

	
	
	The floor is reinforced to support and secure the various pieces of Equipment
	Yes / No
	

	
	
	Underbody channel sections to accommodate the cabling for the equipment
	Yes / No
	

	5
	Body Dimensions
	2m long (excluding nose cone and drawbar) x 1,2m wide x 1m high
	Yes / No
	

	6
	Chassis Material
	76mm x 38 mm x 6mm thick mild steel hot rolled channel iron
	Yes / No
	

	7
	Floor Material
	3mm thick mild steel plate with additional under floor reinforcing to secure the equipment
	Yes / No
	

	8
	Body Material
	1,6mm & 1,2mm thick electro galvanized sheets (profile formed and panelled)
	Yes / No
	

	9
	Lid Material
	1,2mm thick electro galvanized sheets (profile formed and panelled) fitted with heavy duty lockable lid lock brackets
	Yes / No
	

	10
	Rear Tailgate Material
	Bottom hinged tubular frame with 1,2mm thick electro galvanized sheets (profile formed and panelled) with two side retainer chains to hold the tailgate in a horizontal position when opened
	Yes / No
	

	11
	Payload
	+/- 300 kg (tare +/- 400kg x gvm +/- 750 kg)
	Yes / No
	

	12
	Axle
	One 1600 kg 45mm solid en8 un braked beam axle with taper roller bearings
	Yes / No
	

	13
	Coupler	
	50mm ball and socket type (750 kg)
	Yes / No
	

	14
	Tyres
	195r14c x 8 ply steel belt radials (950 kg each)
	Yes / No
	

	15
	Rims
	14” x 5 stud white steel mag rims
	Yes / No
	

	16
	Suspension
	7 blade leaf springs type with shock absorbers
	Yes / No
	

	17
	Spare Wheel
	One fitted with locking bracket rear under body mount
	Yes / No
	

	18
	Mudguards
	All steel reinforced (outboard type)
	Yes / No
	

	19
	Jockey Wheel
	Heavy duty single wheel industrial retractable type
	Yes / No
	

	20
	Support Stands
	Two rear drop support stands fitted
	Yes / No
	

	21
	Lid Seals
	Large “d” rubber weather seals will be fitted on the lid and tailgate
	Yes / No
	

	22
	Lights
	12/24 volt protected led truck lights with rear chevron plate and side reflective tape
	Yes / No
	

	23
	Finish
	Yellow zinc etch primer and polyurethane paint (white)
	Yes / No
	

	24
	Optional
	Mechanical override and park brake system with auto reverse release mechanism fitted
	Yes / No
	

	25
	Manufacturer
	
	Yes / No
	

	26
	Country of Origin
	
	Yes / No
	



6 SPECIFICATION FOR A 48V 5000W POWER SUPPLY SYSTEM

6.1 SCOPE
This Tender calls for the supply and delivery of a 48V 5000W POWER SUPPLY SYSTEM suitable for powering and supplying true sine wave AC for a cable fault locating system.

6.2 SPECIFICATION

a) Two AC Outputs
The main output has no break functionality. The 48V 5000W POWER SUPPLY SYSTEM must take over the supply to the connected loads in the event of a grid failure or when shore/generator power is disconnected. The No break functionality is required to be less than 20 milliseconds. Computers and other electronic equipment should continue to operate without disruption.

The second output must be live only when AC is available on the input of the 48V 5000W POWER SUPPLY SYSTEM. Loads that should not discharge the battery, like a water heater for example can be connected to this output (second output available on models rated at 3 kVA and more).

b) AC power available even during a grid failure
The 48V 5000W POWER SUPPLY SYSTEM must be used in off grid as well as grid connected systems.
Loss of mains detection alarm must be included.

c) System configuring
In case of a stand-alone application, if settings have to be changed, this should be in a matter of minutes with a DIP switch setting procedure.

d) Features
i. Protection key:
a. output short circuit
b. overload
c. battery voltage too high
d. battery voltage too low
e. temperature too high
f. 230 VAC on inverter output
g. input voltage ripple too high
ii. Non-linear load, crest factor 3:1
iii. At 25˚C ambient
iv. Switches off when no external AC source available
v. Programmable relay that can a.o. be set for general alarm
a. DC under voltage or genset start/stop function
b. AC rating: 230 V/4A
c. DC rating: 4 A up to 35 VDC, 1 A up to 60 VDC





e) On-site Monitoring and control
Several options should be offered as optional extras including:  Battery Monitor, Multi Control Panel, Ve.Net Blue Power Panel, Colour Control Panel, smartphone or tablet (Bluetooth Smart), laptop or computer (USB or RS232).

f) Remote Monitoring and control
Ethernet Remote Control must be included
Data must be stored and displayed on the website, free of charge.

g) Remote configuring
When connected to the Ethernet, systems with optional Colour Control panel can be accessed remotely and settings can be changed.

6.3 COMPLIANCE WITH SPECIFICATION
	NO.
	DESCRIPTION
	SPECIFIED REQUIREMENT
	COMPLY
	Required comments ONLY if Comply = No

	1
	BATTERIES 
	4 x 12V, 105 A/h
	Yes / No
	

	2
	FEATURES 
	PowerControl 
	Yes / No
	

	
	
	PowerAssist 
	Yes / No
	 

	
	
	Transfer switch 100A
	Yes / No
	 

	3
	INVERTER
	Input voltage range (V DC) 9,5 – 17 V 19 – 33 V 38 – 66 V
	Yes / No
	 

	
	
	Output voltage: 230 VAC ± 2% 
	Yes / No
	 

	
	
	Frequency: 50 Hz ± 0,1% (1)
	Yes / No
	

	
	
	Cont. output power at 25°C 5000 VA
	Yes / No
	 

	
	
	Cont. output power at 25°C 4000 W
	Yes / No
	 

	
	
	Cont. output power at 40°C 3700 W
	Yes / No
	 

	
	
	Cont. output power at 65°C 3000 W
	Yes / No
	 

	
	
	Peak power 10 000 W
	Yes / No
	

	
	
	Maximum efficiency (%) 94 / 95 
	Yes / No
	

	
	
	Zero load power (W) 30 / 25 
	Yes / No
	

	
	
	Zero load power in AES mode 25 / 30 
	Yes / No
	

	
	
	Zero load power in Search mode 10/15 
	Yes / No
	

	4
	CHARGER
	AC Input voltage range: 187-265 VAC 
	Yes / No
	

	
	
	Input frequency: 45 – 65 Hz 
	Yes / No
	

	
	
	Power factor: 1
	Yes / No
	

	
	
	Charge voltage 'absorption' (V DC) 14,4 / 28,8 / 57,6
	Yes / No
	

	
	
	Charge voltage 'float' (V DC) 13,8 / 27,6 / 55,2
	Yes / No
	

	
	
	Storage mode (V DC) 13,2 / 26,4 / 52,8
	Yes / No
	

	
	
	Charge current house battery 120/70A
	Yes / No
	

	
	
	Battery temperature sensor Is this fitted or optional?
	Yes / No
	




	5
	GENERAL
	Auxiliary output 50 A
	Yes / No
	

	
	
	Programmable relay a - g
	Yes / No
	

	
	
	Bus communication port for parallel and three phase operation, remote monitoring and system integration
	Yes / No
	

	
	
	General purpose com. port 
	Yes / No
	

	
	
	Remote on-off 
	Yes / No
	

	
	
	Common Characteristics Operating temp. range: -40 to +65°C (fan assisted cooling) 
	Yes / No
	

	
	
	Humidity (non-condensing): max 95%
	Yes / No
	

	6
	ENCLOSURE
	Common Characteristics Material & Colour: aluminium (blue RAL 5012) 
	Yes / No
	

	
	
	Protection category: IP 21
	Yes / No
	

	
	
	Battery-connection: Four M8 bolts (2 plus and 2 minus connections)
	Yes / No
	

	
	
	230 V AC-connection: Screw terminals 30 mm2 (6 AWG) 
	Yes / No
	

	
	
	Weight 18 kg
	Yes / No
	

	
	
	Dimensions (hxwxd in mm) 444x328x240
	Yes / No
	

	7
	STANDARDS
	Safety EN-IEC 60335-1, EN-IEC 60335-2-29, IEC 62109-1
	Yes / No
	

	
	
	Emission, Immunity EN 55014-1, EN 55014-2, EN-IEC 61000-3-2, EN-IEC 61000-3-3, IEC 61000-6-1, IEC 61000-6-2, IEC 61000-6-3
	Yes / No
	

	
	
	Road vehicles 12V and 24V models: ECE R10-4
	Yes / No
	

	8
	ADDITIONAL FEATURES
	Protection key: 
a) output short circuit 
	Yes / No
	

	
	
	b) overload 
	Yes / No
	

	
	
	c) battery voltage too high
	Yes / No
	

	
	
	d) battery voltage too low 
	Yes / No
	

	
	
	e) temperature too high 
	Yes / No
	

	
	
	f) 230 VAC on inverter output 
	Yes / No
	

	
	
	g) input voltage ripple too high 
	Yes / No
	

	
	
	Non-linear load, crest factor 3:1
	Yes / No
	

	
	
	At 25˚C ambient 
	Yes / No
	

	
	
	Switches off when no external AC source available 
	Yes / No
	

	
	
	Programmable relay that can a.o. be set for general alarm, 
	Yes / No
	

	
	
	DC under voltage or genset start/stop function 
	Yes / No
	

	
	
	AC rating: 230 V/4A 
	Yes / No
	

	
	
	DC rating: 4 A up to 35 VDC, 1 A up to 60 VDC
	Yes / No
	






Optional Items for the Inverter Battery system
The following items can be offered as optional extra items 
For each items offered a price should be included
· Battery Monitor, 
· Multi Control Panel, 
· Colour Control Panel, 
· Smartphone or tablet (Bluetooth Smart), 
· Laptop or computer (USB or RS232).
· Data must be stored and displayed on the website, free of charge


7 SPECIFICATION FOR THE INSTALLATION

7.1 SCOPE
The trailer shall be fitted with:
a) The trailer shall be fitted with even flooring
b) Rear swing door
c) DB, wiring, plugs and lights
d) An earth spike and lead
e) Discharge/Earth stick rated for 11kV cables both XLPE and Paper cables.
f) 15kg Fire Extinguisher 
g) Measuring Wheel for measuring the distance to fault.
h) All the equipment listed from Clause 1 to 7 which encompasses a 16kV 1024J surge generator with portable reflectometer and cable fault pin pointer, all installed in a suitable trailer or test van with back up ac power supply and isolating transformer in a compact system design for testing and fault locating on low and medium voltage cables.

7.2 COMPLIANCE WITH SPECIFICATION
	NO
	DESCRIPTION
	SPECIFIED
	COMPLY
	Required comments ONLY if Comply = No

	1
	Installation
	The trailer shall be fitted with even flooring
	Yes / No
	

	
	
	Rear Swing Door
	Yes / No
	

	
	
	DB, wiring, plugs and lights
	Yes / No
	

	
	
	All the equipment listed from Clause 1 to 7 which encompasses a 16kV 1024J surge generator with portable reflectometer and cable fault pin pointer, all installed in a suitable trailer or test van with back up ac power supply and isolating transformer in a compact system design for testing and fault locating on low and medium voltage cables.
	Yes / No
	

	2
	Required Accessories 
	An earth spike and lead
	Yes / No
	

	
	
	Discharge/Earth stick rated for 11kV cables both XLPE and Paper cables.
	Yes / No
	

	
	
	15kg Fire Extinguisher 
	Yes / No
	

	
	
	Measuring Wheel for measuring the distance to fault.
	Yes / No
	

	
	Optional
Accessories
	11 - 33kV Voltage detector and stick 
	Yes / No
	


End of Specification


NB: Only bidders who are registered on the National Treasury Central Supplier Database (CSD) and bids accompanied by a FULL CSD report will be considered for evaluation. The registration on the CSD can be accessed at www.csd.gov.za.


1. PRICING SCHEDULE

	Item No.
	QTY
	Description of Goods / services required
	Unit Price
	TOTAL PRICE

	1
	1
	HVT-1000-16 HVSG 1000J 16kV Thumper with integrated SIM/ARC Filter, IR3000 Prelocation Scope, 30m of Cables in 19" Rack, 5000W Inverter and Batteries installed into a Medium Trailer
 Included: 
- HVSG1000-16 , 16kV Surge generator (Front), 1000J 25m cable - Cable Kit 5m - ULT5060 Cable Pinpointer 
- Listening Set (with display and built-in battery) - Medium Test Trailer Body
- Installation - Supply System - Trailer Accessories and Equipment - Discharge Rod Up to 35kV 100kOhm 4000J
	
	

	
	
	OTHER:
	
	

	
	
	VAT
	
	

	
	
	Total Quotation price (Including VAT) (Carry forward to front cover of this Quotation document)
	
	



Required by:	………………………………….

At:		………………………………….

Does offer comply with the specifications?	*YES / NO
				* Delete if not applicable

If not to specification, indicate deviation(s):	………………………………..……………………………………

………………………………………………………………………………………………………………………………

Period required for delivery: 						…………….……………...…... *Delivery: Firm/not firm
			                                                                                                                                           * Delete if not applicable

Delivery basis:								…..……………..…………………….

Note:	All delivery costs must be included in the Quotation price, for delivery at the prescribed destination.

______________________________________________________________________________________________
** “all applicable taxes” includes  value- added tax, pay as you earn, income tax, unemployment  insurance fund contributions and skills development levies.




9. PREVIOUS WORK EXPERIENCE OF A SIMILAR NATURE

List main work experience of a similar nature to this bid successfully executed and completed (or on-going) in the last five (5) years:

	

No
	

Institution / client / employer
	

Project description
	

Date started
	Date completed (indicate projected completion if on-going)
	

Project value in Rand
	

Name and contact details of contact person / reference at institution

	1
	
	
	
	
	
	

	2
	
	
	
	
	
	

	3
	
	
	
	
	
	

	4
	
	
	
	
	
	

	5
	
	
	
	
	
	

	6
	
	
	
	
	
	

	7
	
	
	
	
	
	

	8
	
	
	
	
	
	

	9
	
	
	
	
	
	

	10
	
	
	
	
	
	



Representatives of the NALEDI LOCAL MUNICIPALITY are hereby authorized to contact the above contact persons / references of the various institutions to verify the correctness of the information as supplied.

………………………………………….
Signature
…………………………………..
Date
………………………………………….
Position
…………………….……………………………………………
Name of Bidder
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10. [bookmark: _TOC_250005]DECLARATION OF INTEREST (MBD 4)

1. No bid will be accepted from persons in the service of the state*.
2. Any person, having a kinship with persons in the service of the state, including a blood relationship, may make an offer or offers in terms of this invitation to bid. In view of possible allegations of favouritism, should the resulting bid, or part thereof, be awarded to persons connected with or related to persons in service of the state, it is required that the bidder or their authorised representative declare their position in relation to the evaluating/adjudicating authority and/or take an oath declaring his/her interest.
3. In order to give effect to the above, the following questionnaire must be completed and submitted with the bid:

3.1	Full Name:	…………………………………………………………………………………………………………………………..

3.2	Identity Number: ………………………………………………………………………………………………………………………….. 3.3	Company Registration Number:	………………………………………………..………………………………………………… 3.4	Tax Reference Number:	………………………………………..…………………………………………………………
3.5	VAT Registration Number:	…………………………………………..………………………………………………………


3.6 Are you presently in the service of the state	*YES / NO
* Delete if not applicable
3.6.1 If so, furnish particulars.

…………………………………………………………………………………………………………………………………………………..

…………………………………………………………………………………..………………………………………………………………

3.7 Have you been in the service of the state for the past twelve months	*YES / NO
* Delete if not applicable

3.7.1 If so, furnish particulars.

…………………………………………………………………………………..………………………………………………………………

…………………………………………………………………………………..………………………………………………………………

3.8 Do you have any relationship (family, friend, other) with persons in the service of the state and who may be involved with the evaluation and or adjudication of this bid?	*YES / NO
* Delete if not applicable

3.8.1 If so, furnish particulars.

…………………………………………………………………………………..………………………………………………………………

…………………………………………………………………………………..………………………………………………………………

3.9 Are you aware of any relationship (family, friend, other) between a bidder and any persons in the service of the state who may be involved with the evaluation and or adjudication of this bid	*YES / NO
* Delete if not applicable

3.9.1 If so, furnish particulars

…………………………………………………………………………………..………………………………………………………………

…………………………………………………………………………………..………………………………………………………………











· MSCM Regulations: “in the service of the state” means to be –
(a) a member of –
(i) any municipal council;
(ii) any provincial legislature; or
(iii) the national Assembly or the national Council of provinces;

(b) a member of the board of directors of any municipal entity;
(c) an official of any municipality or municipal entity;
(d) an employee of any national or provincial department, national or provincial public entity or constitutional institution within the meaning of the Public Finance Management Act, 1999 (Act No.1 of 1999);
(e) a member of the accounting authority of any national or provincial public entity; or
(f) an employee of Parliament or a provincial legislature.
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3.10 Are any of the company’s directors, managers, principal shareholders or stakeholders in service of the state?	*YES / NO
* Delete if not applicable

3.10.1 If so, furnish particulars.

…………………………………………………………………………………..………………………………………………………………

…………………………………………………………………………………..………………………………………………………………

3.11 Are any spouse, child or parent of the company’s directors, managers, principal shareholders or stakeholders in service of the state?	*YES / NO
* Delete if not applicable

3.11.1 If so, furnish particulars.

…………………………………………………………………………………..………………………………………………………………

…………………………………………………………………………………..………………………………………………………………


CERTIFICATION


I, THE UNDERSIGNED (NAME)	……………………………………..……………………………………………………………

CERTIFY THAT THE INFORMATION FURNISHED ON THIS DECLARATION FORM IS CORRECT.

I ACCEPT THAT THE STATE MAY ACT AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE.


………………………………………….
Signature
…………………………………..
Date
………………………………………….
Position
…………………….……………………………………………
Name of Bidder



[bookmark: _TOC_250004]11.	DECLARATION	FOR	PROCUREMENT	ABOVE	R10	MILLION	(ALL APPLICABLE TAXES INCLUDED) (MBD 5)
For all procurement expected to exceed R10 million (all applicable taxes included), bidders must complete the following questionnaire:

1.	Are you by law required to prepare annual financial statements for auditing?	*YES / NO
* Delete if not applicable

1.1	If yes, submit audited annual financial statements for the past three years or since the date of establishment if established during the past three years.

………………………………………………………………

………………………………………………………………

2 Do you have any outstanding undisputed commitments for municipal services towards any municipality for more than three months or any other service provider in respect of which payment is overdue for more than 30 days?	*YES / NO
* Delete if not applicable

2.1 If no, this serves to certify that the bidder has no undisputed commitments for municipal services towards any municipality for more than three months or other service provider in respect of which payment is overdue for more than 30 days.

2.2 If yes, provide particulars.

……………………………………………………………………………………………..……………………………………………

……………………………………………………………………………………………..……………………………………………

……………………………………………………………………………………………..……………………………………………

……………………………………………………………………………………………..……………………………………………

3 Has any contract been awarded to you by an organ of state during the past five years, including particulars of any material non- compliance or dispute concerning the execution of such contract?	*YES / NO
* Delete if not applicable

3.1.1	If yes, furnish particulars

……………………………………………………………………………………………..……………………………………………

……………………………………………………………………………………………..……………………………………………

……………………………………………………………………………………………..……………………………………………

……………………………………………………………………………………………..……………………………………………

4 Will any portion of goods or services be sourced from outside the Republic, and, if so, what portion and whether any portion of payment from the municipality / municipal entity is expected to be transferred out of the Republic?	*YES / NO
* Delete if not applicable

4.1 If yes, furnish particulars

……………………………………………………………………………………………..……………………………………………

……………………………………………………………………………………………..……………………………………………

……………………………………………………………………………………………..……………………………………………

……………………………………………………………………………………………..……………………………………………
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CERTIFICATION


I, THE UNDERSIGNED (NAME)	……………………………………..……………………………………………………………

CERTIFY THAT THE INFORMATION FURNISHED ON THIS DECLARATION FORM IS CORRECT.

I ACCEPT THAT THE STATE MAY ACT AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE.


………………………………………….
Signature
…………………………………..
Date
………………………………………….
Position
…………………….……………………………………………
Name of Bidder



[bookmark: _TOC_250003]11.	PREFERENCE	POINTS	CLAIM	FORM	IN	TERMS	OF	THE PREFERENTIAL PROCUREMENT REGULATIONS 2022 (MBD 6.1)
This preference form must form part of all tenders invited.  It contains general information and serves as a claim form for preference points for specific goals. 

NB:	BEFORE COMPLETING THIS FORM, TENDERERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS, 2022


1. GENERAL CONDITIONS
1.1 The following preference point systems are applicable to invitations to tender:
· the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and 
· the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

1.2 To be completed by the organ of state
	(delete whichever is not applicable for this tender).
a) The applicable preference point system for this tender is the 90/10 preference point system.

b) The applicable preference point system for this tender is the 80/20 preference point system.

c) Either the 90/10 or 80/20 preference point system will be applicable in this tender. The lowest/ highest acceptable tender will be used to determine the accurate system once tenders are received.

1.3 Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for: 
(a) Price; and
(b) Specific Goals.

1.4 To be completed by the organ of state:
The maximum points for this tender are allocated as follows:
	
	POINTS

	PRICE
	80

	SPECIFIC GOALS
	20

	Total points for Price and SPECIFIC GOALS 
	100




1.5 Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

1.6 The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.

2. DEFINITIONS
(a)  “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation; 
(b) “price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts; 
(c) “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes; 
(d) “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and 
(e) “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).  



3. FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

3.1. POINTS AWARDED FOR PRICE

3.1.1   THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS 
[bookmark: _Hlk78214518]	A maximum of 80 or 90 points is allocated for price on the following basis:

		80/20	or	90/10	

		or	
	Where
	Ps	=	Points scored for price of tender under consideration
	Pt	=	Price of tender under consideration
	Pmin	=	Price of lowest acceptable tender

3.2. FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT


3.2.1. POINTS AWARDED FOR PRICE

A maximum of 80 or 90 points is allocated for price on the following basis:
	

		            80/20	               or	            90/10	

		or	
	
Where
	Ps	=	Points scored for price of tender under consideration
	Pt	=	Price of tender under consideration
	Pmax	=	Price of highest acceptable tender
4. POINTS AWARDED FOR SPECIFIC GOALS 

4.1. In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender: 
4.2. In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of— 
(a) an invitation for tender for income-generating contracts, that either the 80/20 or 90/10 preference point system will apply and that the highest acceptable tender will be used to determine the applicable preference point system; or
 
(b) any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,  
then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system. 










Table 1: Specific goals for the tender and points claimed are indicated per the table below. 
(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such. 
Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)  
	80/20

	Preference Points for Specific Goals
	Means of Verification
	Number of Points

	 
	 
	 

	Ownership by Black people
	 BEE Certificate/ Sworn Affidavit
BEE status:
· Level 1= 4
· Level 2= 3
· Level 3= 1
· Level 4 up 0
	4

	People or Business residing with Naledi Local Municipality
	Statement of Municipal Rates and Taxes of not more than Three (3) Months/ tribal letter
	4

	
	 
	

	 
	 
	

	Women
	Identification Document
	4

	 
	 
	

	People with disabilities
	Medical Report confirming disability
	4

	 
	 
	

	Youth (18 to 35 Years of age)
	Identification Document
	4

	 
	 
	 



	DECLARATION WITH REGARD TO COMPANY/FIRM

4.3. Name of company/firm…………………………………………………………………….
4.4. Company registration number: …………………………………………………………...
4.5. TYPE OF COMPANY/ FIRM
	Partnership/Joint Venture / Consortium
	One-person business/sole propriety
	Close corporation
	Public Company
	Personal Liability Company
[bookmark: _Hlk117764996]	(Pty) Limited 
	Non-Profit Company
	State Owned Company
[Tick applicable box]

4.6. I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:
i) The information furnished is true and correct;
ii) The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;
iii) In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct; 
iv) If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

(a) disqualify the person from the tendering process;
(b) recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;
(c) cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;
(d) recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and
(e) forward the matter for criminal prosecution, if deemed necessary.



……………………………………….
SIGNATURE(S) OF TENDERER(S)

SURNAME AND NAME:	 ……………………………………………………….
DATE:			………………………………………………………
ADDRESS:		………………………………………………………
			………………………………………………………
		………………………………………………………
		………………………………………………………














































































12. DECLARATION CERTIFICATE FOR LOCAL PRODUCTION AND CONTENT MBD 6.2

This Municipal Bidding Document (MBD) must form part of all bids invited. It contains general information and serves as a declaration form for local content (local production and local content are used interchangeably).

Before completing this declaration, bidders must study the General Conditions, Definitions, Directives applicable in respect of Local Content as prescribed in the Preferential Procurement Regulations, 2022 and the South African Bureau of Standards (SABS) approved technical specification number SATS 1286:201x.

1. General Conditions

1.1. Preferential Procurement Regulations, 2022 (Regulation 9.(1) and 9.(3) make provision for the promotion of local production and content.

1.2. Regulation 9.(1) prescribes that in the case of designated sectors, where in the award of bids local production and content is of critical importance, such bids must be advertised with the specific bidding condition that only locally produced goods, services or works or locally manufactured goods, with a stipulated minimum threshold for local production and content will be considered.

1.3. Regulation 9.(3) prescribes that where there is no designated sector, a specific bidding condition may be included, that only locally produced services, works or goods or locally manufactured goods with a stipulated minimum threshold for local production and content, will be considered.

1.4. Where necessary, for bids referred to in paragraphs 1.2 and 1.3 above, a two stage bidding process may be followed, where the first stage involves a minimum threshold for local production and content and the second stage price and B-BBEE.

1.5. A person awarded a contract in relation to a designated sector, may not sub-contract in such a manner that the local production and content of the overall value of the contract is reduced to below the stipulated minimum threshold.

1.6. The local content (LC) as a percentage of the bid price must be calculated in accordance with the SABS approved technical specification number SATS 1286: 201x as follows:


[image: ]LC = 1	x 100

Where
x	imported content
y	bid price excluding value added tax (VAT)

Prices referred to in the determination of x must be converted to Rand (ZAR) by using the exchange rate published by the South African Reserve Bank (SARB) at 12:00 on the date, one week (7 calendar days) prior to the closing date of the bid as required in paragraph 4.1 below.

1.7. A bid will be disqualified if:

	the bidder fails to achieve the stipulated minimum threshold for local production and content indicated in paragraph 3 below; and.
	this declaration certificate is not submitted as part of the bid documentation.

2. Definitions

2.1. “bid” includes advertised competitive bids, written price quotations or proposals;

2.2. “bid price” price offered by the bidder, excluding value added tax (VAT);

2.3. “contract” means the agreement that results from the acceptance of a bid by an organ of state;

2.4. “designated sector” means a sector, sub-sector or industry that has been designated by the Department of Trade and Industry in line with national development and industrial policies for local production, where only locally produced services, works or goods or locally manufactured goods meet the stipulated minimum threshold for local production and content;

2.5. “duly sign”means a Declaration Certificate for Local Content that has been signed by the Chief Financial Officer or other legally responsible person nominated in writing by the Chief Executive, or senior member / person with management responsibility(close corporation, partnership or individual).

2.6. “imported content” means that portion of the bid price represented by the cost of components, parts or materials which have been or are still to be imported (whether by the supplier or its subcontractors) and which costs are inclusive of the costs abroad, plus freight and other direct importation costs, such as landing costs, dock duties, import duty, sales duty or other similar tax or duty at the South African port of entry;

2.7. “local content” means that portion of the bid price which is not included in the imported content, provided that local manufacture does take place;

2.8. “stipulated minimum threshold” means that portion of local production and content as determined by the Department of Trade and Industry; and

2.9. “sub-contract” means the primary contractor’s assigning, leasing, making out work to, or employing another person to support such primary contractor in the execution of part of a project in terms of the contract.

3. The stipulated minimum threshold(s) for local production and content for this bid is/are as follows:



		
MBD 6.2


Description of services, works or goods

_______________________________

_______________________________

_______________________________

Stipulated minimum threshold

_______%

_______%

_______%



4. Does any portion of the services, works or goods offered
have any imported content?	YES / NO


4.1 If yes, the rate(s) of exchange to be used in this bid to calculate the local content as prescribed in paragraph 1.6 of the general conditions must be the rate(s) published by the SARB for the specific currency at 12:00 on the date, one week (7 calendar days) prior to the closing date of the bid.

The relevant rates of exchange information is accessible on www.reservebank.co.za.


Indicate the rate(s )of exchange against the appropriate currency in the table below:

Currency	Rates of exchange US Dollar
Pound Sterling Euro
Yen Other

NB: Bidders must submit proof of the SARB rate (s) of exchange used.


LOCAL CONTENT DECLARATION BY CHIEF FINANCIAL OFFICER OR OTHER LEGALLY RESPONSIBLE PERSON NOMINATED IN WRITING BY THE CHIEF EXECUTIVE OR SENIOR MEMBER/PERSON WITH MANAGEMENT RESPONSIBILITY (CLOSE CORPORATION, PARTNERSHIP OR INDIVIDUAL)

IN RESPECT OF BID No. ................................................................................. ISSUED BY: (Procurement Authority / Name of Municipality / Municipal Entity): .........................................................................................................................

NB	The obligation to complete, duly sign and submit this declaration cannot be transferred to an external authorized representative, auditor or any other third party acting on behalf of the bidder.

I, the undersigned, …………………………….................................................. (full names), do hereby declare, in my capacity as ……………………………………… ………..
of ...............................................................................................................(name of bidder entity), the following:

(a) The facts contained herein are within my own personal knowledge.

(b) I have satisfied myself that the goods/services/works to be delivered in terms of the above-specified bid comply with the minimum local content requirements as specified in the bid, and as measured in terms of SATS 1286.

(c) The local content has been calculated using the formula given in clause 3 of SATS 1286, the rates of exchange indicated in paragraph 4.1 above and the following figures:
Bid price, excluding VAT (y)                                                       R Imported content (x)                                                                    R
Stipulated minimum threshold for Local content (paragraph 3 above)
Local content % as calculated in terms of SATS 1286

If the bid is for more than one product, a schedule of the local content by product shall be attached.


3


(d) I accept that the Procurement Authority / Municipality /Municipal Entity has the right to reque\st that the local content be verified in terms of the requirements of SATS 1286.

(e) I understand that the awarding of the bid is dependent on the accuracy of the information furnished in this application. I also understand that the submission of incorrect data, or data that are not verifiable as described in SATS 1286, may result in the Procurement Authority / Municipal / Municipal Entity imposing any or all of the remedies as provided for in Regulation 13 of the Preferential Procurement Regulations, 2022 promulgated under the Policy Framework Act (PPPFA), 2000 (Act No. 5 of 2000).

SIGNATURE:				DATE: ___________



WITNESS No. 1 			DATE: ___________


        WITNESS No. 2 	DATE: ___________



13. [bookmark: _TOC_250002]DECLARATION  OF  BIDDER’S  PAST  SUPPLY  CHAIN  MANAGEMENT PRACTICES (MBD 8)
1. This serves as a declaration in ensuring that when goods and services are being procured, all reasonable steps are taken to combat the abuse of the supply chain management system.

2. The bid of any bidder may be rejected if that bidder or any of its directors have:
a. abused the municipality’s supply chain management system or committed any improper conduct in relation to such system;
b. been convicted for fraud or corruption during the past five years;
c. wilfully neglected, reneged on or failed to comply with any government, municipal or other public sector contract during the past five years; or
d. been listed in the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004).

3	In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

	Item
	Question
	Yes
	No

	3.1
	Is the bidder or any of its directors listed on the National Treasury’s database as a company or person prohibited from doing business with the public sector?

(Companies or persons who are listed on this Database were informed in writing of this restriction by the Accounting Officer/Authority of the institution that imposed the restriction after the audi alteram partem rule was applied).


The Database of Restricted Suppliers now resides on the National Treasury’s website (www.treasury.gov.za) and can be accessed by clicking on its link at the bottom of the home page.
	Yes
	No

	3.1.1
	If so, furnish particulars:

	3.2
	Is the bidder or any of its directors listed on the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004)?

The  Register  for  Tender  Defaulters  can  be  accessed  on  the  National  Treasury’s  website (www.treasury.gov.za) by clicking on its link at the bottom of the home page.
	Yes
	No

	3.2.1
	If so, furnish particulars:

	3.3
	Was the bidder or any of its directors convicted by a court of law (including a court of law outside the Republic of South Africa) for fraud or corruption during the past five years?
	Yes
	No

	3.3.1
	If so, furnish particulars:

	3.4
	Does the bidder or any of its directors owe any municipal rates and taxes or municipal charges to the municipality / municipal entity, or to any other municipality / municipal entity, that is in arrears for more than three months?
	Yes
	No

	3.4.1
	If so, furnish particulars:

	3.5
	Was any contract between the bidder and the municipality or any other organ of state terminated during the past five years on account of failure to perform on or comply with the contract?
	Yes
	No

	3.5.1
	If so, furnish particulars:


MBD 8



CERTIFICATION

I, THE UNDERSIGNED (FULL NAME)	…………..……………………………..…………………………………………….
CERTIFY THAT THE INFORMATION FURNISHED ON THIS DECLARATION FORM TO BE TRUE AND CORRECT.

I ACCEPT THAT, IN ADDITION TO CANCELLATION OF A CONTRACT, ACTION MAY BE TAKEN AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE.

………………………………………….
Signature
…………………………………..
Date
………………………………………….
Position
…………………….……………………………………………
Name of Bidder



14. [bookmark: _TOC_250001]CERTIFICATE OF INDEPENDENT BID DETERMINATION (MBD 9)

1 Section 4 (1) (b) (iii) of the Competition Act No. 89 of 1998, as amended, prohibits an agreement between, or concerted practice by, firms, or a decision by an association of firms, if it is between parties in a horizontal relationship and if it involves collusive bidding (or bid rigging).* Collusive bidding is a pe se prohibition meaning that it cannot be justified under any grounds.

2 Municipal Supply Regulation 38 (1) prescribes that a supply chain management policy must provide measures for the combating of abuse of the supply chain management system, and must enable the accounting officer, among others, to:

a. take all reasonable steps to prevent such abuse;

b. reject the bid of any bidder if that bidder or any of its directors has abused the supply chain management system of the municipality or municipal entity or has committed any improper conduct in relation to such system; and

c. cancel a contract awarded to a person if the person committed any corrupt or fraudulent act during the bidding process or the execution of the contract.

3 This MBD serves as a certificate of declaration that would be used by institutions to ensure that, when bids are considered, reasonable steps are taken to prevent any form of bid-rigging.

4 In order to give effect to the above, the attached Certificate of Bid Determination (MBD 9) must be completed and submitted with the bid:











































* Bid rigging (or collusive bidding) occurs when businesses, that would otherwise be expected to compete, secretly conspire to raise prices or lower the quality of goods and / or services for purchasers
who wish to acquire goods and / or services through a bidding process. Bid rigging is, therefore, an agreement between competitors not to compete.
MBD 9




CERTIFICATE OF BID DETERMINATION

I, the undersigned, in submitting the accompanying bid:

NLM2025-006A: SUPPLY AND DELIVERY OF CABLE FAULT LOCATOR
in response to the invitation for the bid made by:

NALEDI LOCAL MUNICIPALITY

do hereby make the following statements that I certify to be true and complete in every respect:


I certify, on behalf of:


(Name of Bidder)

that:


1. I have read and I understand the contents of this Certificate;

2. I understand that the accompanying bid will be disqualified if this Certificate is found not to be true and complete in every respect;

3. I am authorized by the bidder to sign this Certificate, and to submit the accompanying bid, on behalf of the bidder;

4. Each person whose signature appears on the accompanying bid has been authorized by the bidder to determine the terms of, and to sign, the bid, on behalf of the bidder;

5. For the purposes of this Certificate and the accompanying bid, I understand that the word “competitor” shall include any individual or organization, other than the bidder, whether or not affiliated with the bidder, who:
(a) has been requested to submit a bid in response to this bid invitation;
(b) could potentially submit a bid in response to this bid invitation, based on their qualifications, abilities or experience; and
(c) provides the same goods and services as the bidder and/or is in the same line of business as the bidder

6. The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However communication between partners in a joint venture or consortium* will not be construed as collusive bidding.

7. In particular, without limiting the generality of paragraphs 6 above, there has been no consultation, communication, agreement or arrangement with any competitor regarding:
(a) prices;
(b) geographical area where product or service will be rendered (market allocation)
(c) methods, factors or formulas used to calculate prices;
(d) the intention or decision to submit or not to submit, a bid;
(e) the submission of a bid which does not meet the specifications and conditions of the bid; or
(f) bidding with the intention not to win the bid.

8. In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications and conditions or delivery particulars of the products or services to which this bid invitation relates.

9. The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

10. I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No. 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No. 12 of 2004 or any other applicable legislation.

………………………………………….
Signature
…………………………………..
Date
………………………………………….
Position
…………………….……………………………………………
Name of Bidder




* Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.



15. [bookmark: _TOC_250000]Annexure A: Government Procurement: General Conditions of Contract (July 2010)
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General Conditions of Contract

1. Definitions

1. The following terms shall be interpreted as indicated:

1.1 “Closing time” means the date and hour specified in the bidding documents for the receipt of bids.

1.2 “Contract” means the written agreement entered into between the purchaser and the supplier, as recorded in the contract form signed by the parties, including all attachments and appendices thereto and all documents incorporated by reference therein.

1.3 “Contract price” means the price payable to the supplier under the contract for the full and proper performance of his contractual obligations.

1.4 “Corrupt practice” means the offering, giving, receiving, or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution.

1.5 "Countervailing duties" are imposed in cases where an enterprise abroad is subsidized by its government and encouraged to market its products internationally.

1.6 “Country of origin” means the place where the goods were mined, grown or produced or from which the services are supplied. Goods are produced when, through manufacturing, processing or substantial and major assembly of components, a commercially recognized new product results that is substantially different in basic characteristics or in purpose or utility from its components.

1.7 “Day” means calendar day.

1.8 “Delivery” means delivery in compliance of the conditions of the contract or order.

1.9 “Delivery ex stock” means immediate delivery directly from stock actually on hand.

1.10 “Delivery into consignees store or to his site” means delivered and unloaded in the specified store or depot or on the specified site in compliance with the conditions of the contract or order, the supplier bearing all risks and charges involved until the goods are so delivered and a valid receipt is obtained.

1.11 "Dumping" occurs when a private enterprise abroad market its goods on own initiative in the RSA at lower prices than that of the country of origin and which have the potential to harm the local industries in the RSA.

1.12 ”Force majeure” means an event beyond the control of the supplier and not involving the supplier’s fault or negligence and not foreseeable. Such events may include, but is not restricted to, acts of the purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions and freight embargoes.

1.13 “Fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of any bidder, and includes collusive practice among bidders (prior to or after bid submission) designed to establish bid prices at artificial non- competitive levels and to deprive the bidder of the benefits of free and open competition.

1.14 “GCC” means the General Conditions of Contract.

1.15 “Goods” means  all of the equipment, machinery,  and/or  other  materials  that  the  supplier is required to supply to the purchaser under the contract.



1.16 “Imported content” means that portion of the bidding price represented by the cost of components, parts or materials which have been or are still to be imported (whether by the supplier or his subcontractors) and which costs are inclusive of the costs abroad, plus freight and other direct importation costs such as landing costs, dock dues, import duty, sales duty or other similar tax or duty at the South African place of entry as well as transportation and handling charges to the factory in the Republic where the goods covered by the bid will be manufactured.

1.17 “Local content” means that portion of the bidding price, which is not included in the imported content provided that local manufacture does take place.

1.18 “Manufacture” means the production of products in a factory using labour, materials, components and machinery and includes other related value-adding activities.

1.19 “Order” means an official written order issued for the supply of goods or works or the rendering of a service.

1.20 “Project site,” where applicable, means the place indicated in bidding documents.

1.21 “Purchaser” means the organization purchasing the goods.

1.22 “Republic” means the Republic of South Africa.

1.23 “SCC” means the Special Conditions of Contract.

1.24 “Services” means those functional services ancillary to the supply of the goods, such as transportation and  any other incidental services, such  as  installation,  commissioning,  provision of technical assistance, training, catering, gardening, security, maintenance and other such obligations of the supplier covered under the contract.

1.25 “Supplier” means the successful bidder who is awarded the contract to maintain and administer the required and specified service(s) to the State.

1.26 “Tort” means in breach of contract.

1.27 “Turnkey” means a procurement process where one service provider assumes total responsibility for all aspects of the project and delivers the full end product / service required by the contract.

1.28 “Written” or “in writing” means hand-written in ink or any form of electronic or mechanical writing.

2. Application

2.1 These general conditions are applicable to all bids, contracts and orders including bids for functional and professional services (excluding professional services related to the building and construction industry), sales, hiring, letting and the granting or acquiring of rights, but excluding immovable property, unless otherwise indicated in the bidding documents.

2.2 Where applicable, special conditions of contract are also laid down to cover specific goods, services or works.

2.3 Where such special conditions of contract are in conflict with these general conditions, the special conditions shall apply.

3. General

3.1 Unless otherwise indicated in the bidding documents, the purchaser shall not be liable for any expense incurred in the preparation and submission of a bid. Where applicable a non-refundable
fee for documents may be charged.




3.2 Invitations to bid are usually published in locally distributed news media and on the municipality/municipal entity website.

4. Standards

4.1 The goods supplied shall conform to the standards mentioned in the bidding documents and specifications.

5. Use of contract documents and information inspection

5.1 The supplier shall not, without the purchaser’s prior written consent, disclose the contract, or any provision thereof, or any specification, plan, drawing, pattern, sample, or information furnished by or on behalf of the purchaser in connection therewith, to any person other than a person employed by the supplier in the performance of the contract. Disclosure to any such employed person shall be made in confidence and shall extend only so far as may be necessary for purposes of such performance.

5.2 The supplier shall not, without the purchaser’s prior written consent, make use of any document or information mentioned in GCC clause 5.1 except for purposes of performing the contract.

5.3 Any document, other than the contract itself mentioned in GCC clause 5.1 shall remain the property of the purchaser and shall be returned (all copies) to the purchaser on completion of the supplier’s performance under the contract if so required by the purchaser.

5.4 The supplier shall permit the purchaser to inspect the supplier’s records relating to the performance of the supplier and to have them audited by auditors appointed by the purchaser, if so required by the purchaser.

6. Patent Rights

6.1 The supplier shall indemnify the purchaser against all third-party claims of infringement of patent, trademark, or industrial design rights arising from use of the goods or any part thereof by the purchaser.

6.2 When a supplier developed documentation / projects for the municipality / municipal entity, the intellectual, copy and patent rights or ownership of such documents or projects will vest in the municipality / municipal entity.

7. Performance security

7.1 Within thirty (30) days of receipt of the notification of contract award, the successful bidder shall furnish to the purchaser the performance security of the amount specified in SCC.

7.2 The proceeds of the performance security shall be payable to the purchaser as compensation for any loss resulting from the supplier’s failure to complete his obligations under the contract.

7.3 The performance security shall be denominated in the currency of the contract, or in a freely convertible currency acceptable to the purchaser and shall be in one of the following forms:

(a) a bank guarantee or an irrevocable letter of credit issued by a reputable bank located in the purchaser’s country or abroad, acceptable to the purchaser, in the form provided in the bidding documents or another form acceptable to the purchaser; or
(b) a cashier’s or certified cheque.

7.4 The performance security will be discharged by the purchaser and returned to the supplier not later than thirty (30) days following the date of completion of the supplier’s performance obligations under the contract, including any warranty obligations, unless otherwise specified.



8. Inspections, tests and analyses

8.1 All pre-bidding testing will be for the account of the bidder.

8.2 If it is a bid condition that goods to be produced or services to be rendered should at any stage be subject to inspections, tests and analyses, the bidder or contractor’s premises shall be open, at all reasonable hours, for inspection by a representative of the purchaser or organization acting on behalf of the purchaser.

8.3 If there are no inspection requirements indicated in the bidding documents and no mention is made in the contract, but during the contract period it is decided that inspections shall be carried out, the purchaser shall itself make the necessary arrangements, including payment arrangements with the testing authority concerned.

8.4 If the inspections, tests and analyses referred to in clauses 8.2 and 8.3 show the goods to be in accordance with the contract requirements, the cost of the inspections, tests and analyses shall be defrayed by the purchaser.

8.5 Where the goods or services referred to in clauses 8.2 and 8.3 do not comply with the contract requirements, irrespective of whether such goods or services are accepted or not, the cost in connection with these inspections, tests or analyses shall be defrayed by the supplier.

8.6 Goods and services which are referred to in clauses 8.2 and 8.3 and which do not comply with the contract requirements may be rejected.

8.7 Any contract goods may on or after delivery be inspected, tested or analysed and may be rejected if found not to comply with the requirements of the contract. Such rejected goods shall be held at the cost and risk of the supplier who shall, when called upon, remove them immediately at his own cost and forthwith substitute them with goods, which do comply with the requirements of the contract. Failing such removal the rejected goods shall be returned at the suppliers cost and risk. Should the supplier fail to provide the substitute goods forthwith, the purchaser may, without giving the supplier further opportunity to substitute the rejected goods, purchase such goods as may be necessary at the expense of the supplier.

8.8 The provisions of clauses 8.4 to 8.7 shall not prejudice the right of the purchaser to cancel the contract on account of a breach of the conditions thereof, or to act in terms of Clause 22 of GCC.

9. Packing

9.1 The supplier shall provide such packing of the goods as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the contract. The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit, and open storage. Packing, case size weights shall take into consideration, where appropriate, the remoteness of the goods’ final destination and the absence of heavy handling facilities at all points in transit.

9.2 The packing, marking, and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the contract, including additional requirements, if any, and in any subsequent instructions ordered by the purchaser.

10. Delivery and documents

10.1 Delivery of the goods and arrangements for shipping and clearance obligations, shall be made by the supplier in accordance with the terms specified in the contract.



11. Insurance

11.1 The goods supplied under the contract shall be fully insured in a freely convertible currency against loss or damage incidental to manufacture or acquisition, transportation, storage and delivery in the manner specified.

12. Transportation

12.1 Should a price other than an all-inclusive delivered price be required, this shall be specified.

13. Incidental Services

13.1 The supplier may be required to provide any or all of the following services, including additional services, if any:

(a) performance or supervision of on-site assembly and/or commissioning of the  supplied goods;
(b) furnishing of tools required for assembly and/or maintenance of the supplied goods;
(c) furnishing of a detailed operations and maintenance manual for each appropriate unit of the supplied goods;
(d) performance or supervision or maintenance and/or repair of the supplied goods, for a period of time agreed by the parties, provided that this service shall not relieve the supplier of any warranty obligations under this contract; and
(e) training of the purchaser’s personnel, at the supplier’s plant and/or on-site, in assembly, start-up, operation, maintenance, and/or repair of the supplied goods.

13.2 Prices charged by the supplier for incidental services, if not included in the contract price for the goods, shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the supplier for similar services.

14. Spare parts

14.1 As specified, the  supplier may be required to provide any  or  all  of  the  following  materials, notifications, and information pertaining to spare parts manufactured or distributed by the supplier:

(a) such spare parts as the purchaser may elect to purchase from the supplier, provided that this election shall not relieve the supplier of any warranty obligations under the contract;and;
(b) in the event of termination of production of the spare parts:
(i) advance notification to the purchaser of the pending termination, in sufficient time to permit the purchaser to procure needed requirements; and
(ii) following such termination, furnishing at no cost to the purchaser, the blueprints, drawings, and specifications of the spare parts, if requested.

15. Warranty

15.1 The supplier warrants that the goods supplied under the contract are new, unused, of the most recent or current models, and that they incorporate all recent improvements in design and materials unless provided otherwise in the contract. The supplier further warrants that all goods supplied under this contract shall have no defect, arising from design, materials, or workmanship (except when the design and/or material is required by the purchaser’s specifications) or from any act or omission of the supplier, that may develop under normal use of the supplied goods in the conditions prevailing in the country of final destination.

15.2 This warranty shall remain valid for twelve (12) months after the goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the contract,



or for eighteen (18) months after the date of shipment from the port or place of loading in the source country, whichever period concludes earlier, unless specified otherwise.

15.3 The purchaser shall promptly notify the supplier in writing of any claims arising under this warranty.

15.4 Upon receipt of such notice, the supplier shall, within the period specified and with all reasonable speed, repair or replace the defective goods or parts thereof, without costs to the purchaser.

15.5 If the supplier, having been notified, fails to remedy the defect(s) within the period specified, the purchaser may proceed to take such remedial action as may be necessary, at the supplier’s risk and expense and without prejudice to any other rights which the purchaser may have against the supplier under the contract.

16. Payment

16.1 The method and conditions of payment to be made to the supplier under this contract shall be specified.

16.2 The supplier shall furnish the purchaser with an invoice accompanied by a copy of the delivery note and upon fulfilment of other obligations stipulated in the contract.

16.3 Payments shall be made promptly by the purchaser, but in no case later than thirty (30) days after submission of an invoice or claim by the supplier.

16.4 Payment will be made in Rand unless otherwise stipulated.

17. Prices

17.1 Prices charged by the supplier for goods delivered and services performed under the contract shall not vary from the prices quoted by the supplier in his bid, with the exception of any price adjustments authorized or in the purchaser’s request for bid validity extension, as the case may be.

18. Variation orders

18.1 In cases where the estimated value of the envisaged changes in purchase does not vary more than 15% of the total value of the original contract, the contractor may be instructed to deliver the goods or render the services as such. In cases of measurable quantities, the contractor may be approached to reduce the unit price, and such offers may be accepted provided that there is no escalation in price.

19. Assignment

19.1 The supplier shall not assign, in whole or in part, its obligations to perform under the contract, except with the purchaser’s prior written consent.

20. Subcontracts

20.1 The supplier shall notify the purchaser in writing of all subcontracts awarded under this contract if not already specified in the bid. Such notification, in the original bid or later, shall not relieve the supplier from any liability or obligation under the contract.

21. Delays in the supplier’s performance

21.1 Delivery of the goods and performance of services shall be made by the supplier in accordance with the time schedule prescribed by the purchaser in the contract.



21.2 If at any time during performance of the contract, the supplier or its subcontractor(s) should encounter conditions impeding timely delivery of the goods and performance of services, the supplier shall promptly notify the purchaser in writing of the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the supplier’s notice, the purchaser shall evaluate the situation and may at his discretion extend the supplier’s time for performance, with or without the imposition of penalties, in which case the extension shall be ratified by the parties by amendment of contract.

21.3 The right is reserved to procure outside of the contract small quantities or to have minor essential services executed if an emergency arises, the supplier’s point of supply is not situated at or near the place where the goods are required, or the supplier’s services are not readily available.

21.4 Except as provided under GCC Clause 25, a delay by the supplier in the performance of its delivery obligations shall render the supplier liable to the imposition of penalties, pursuant to GCC Clause 22, unless an extension of time is agreed upon pursuant to GCC Clause 22.2 without the application of penalties.

21.5 Upon any delay beyond the delivery period in the case of a goods contract, the purchaser shall, without cancelling the contract, be entitled to purchase goods of a similar quality and up to the same quantity in substitution of the goods not supplied in conformity with the contract and to return any goods delivered later at the supplier’s expense and risk, or to cancel the contract and buy such goods as may be required to complete the contract and without prejudice to his other rights, be entitled to claim damages from the supplier.

22. Penalties

22.1 Subject to GCC Clause 25, if the supplier fails to deliver any or all of the goods or to perform the services within the period(s) specified in the contract, the purchaser shall, without prejudice to its other remedies under the contract, deduct from the contract price, as a penalty, a sum calculated on the delivered price of the delayed goods or unperformed services using the current prime interest rate calculated for each day of the delay until actual delivery or performance. The purchaser may also consider termination of the contract pursuant to GCC Clause 23.

23. Termination for default

23.1 The purchaser, without prejudice to any other remedy for breach of contract, by written notice of default sent to the supplier, may terminate this contract in whole or in part:

(a) if the supplier fails to deliver any or all of the goods within the period(s) specified in the contract, or within any extension thereof granted by the purchaser pursuant to GCC Clause 21.2;
(b) if the supplier fails to perform any other obligation(s) under the contract; or
(c) if the supplier, in the judgement of the purchaser, has engaged in corrupt or fraudulent practices in competing for or in executing the contract.

23.2 In the event the purchaser terminates the contract in whole or in part, the purchaser may procure, upon such terms and in such manner, as it deems appropriate, goods, works or services similar to those undelivered, and the supplier shall be liable to the purchaser for any excess costs for such similar goods, works or services. However, the supplier shall continue performance of the contract to the extent not terminated.

23.3 Where the purchaser terminates the contract in whole or in part, the purchaser may decide to impose a restriction penalty on the supplier by prohibiting such supplier from doing business with the public sector for a period not exceeding 10 years.

23.4 If a purchaser intends imposing a restriction on a supplier or any person associated with the supplier, the supplier will be allowed a time period of not more than fourteen (14) days to provide reasons why the envisaged restriction should not be imposed. Should the supplier fail to respond within



the stipulated fourteen (14) days the purchaser may regard the supplier as having no objection and proceed with the restriction.

23.5 . Any restriction imposed on any person by the purchaser will, at the discretion of the purchaser, also be applicable to any other enterprise or any partner, manager, director or other person who wholly or partly exercises or exercised or may exercise control over the enterprise of the first-mentioned person, and with which enterprise or person the first-mentioned person, is or was in the opinion of the purchaser actively associated.

23.6 If a restriction is imposed, the purchaser must, within five (5) working days of such imposition, furnish the National Treasury, with the following information:

(i) the name and address of the supplier and / or person restricted by the purchaser;
(ii) the date of commencement of the restriction
(iii) the period of restriction; and
(iv) the reasons for the restriction.

These details  will  be  loaded in the National Treasury’s  central  database  of  suppliers  or  persons prohibited from doing business with the public sector.

23.7 . If a court of law convicts a person of an offence as contemplated in sections 12 or 13 of the Prevention and Combating of Corrupt Activities Act, No. 12 of 2004, the court may also rule that such person’s name be endorsed on the Register for Tender Defaulters. When a person’s name has been endorsed on the Register, the person will be prohibited from doing business with the public sector for a period not less than five years and not more than 10 years. The National Treasury is empowered to determine the period of restriction and each case will be dealt with on its own merits. According to section 32 of the Act the Register must be open to the public. The Register can be perused on the National Treasury website

24. Antidumping and countervailing duties and rights

24.1 When, after the date of bid, provisional payments are required, or anti-dumping or countervailing duties are imposed, or the amount of a provisional payment or anti-dumping or countervailing right is increased in respect of any dumped or subsidized import, the State is not liable for any amount so required or imposed, or for the amount of any such increase. When, after the said date, such a provisional payment is no longer required or any such anti-dumping or countervailing right is abolished, or where the amount of such provisional payment or any such right is reduced, any such favourable difference shall on demand be paid forthwith by the supplier to the purchaser or the purchaser may deduct such amounts from moneys (if any) which may otherwise be due to the supplier in regard to goods or services which he delivered or rendered, or is to deliver or render in terms of the contract or any other contract or any other amount which may be due to him.

25. Force Majeure

25.1 Notwithstanding the provisions of GCC Clauses 22 and 23, the supplier shall not be liable for forfeiture of its performance security, damages, or termination for default if and to the extent that his delay in performance or other failure to perform his obligations under the contract is the result of an event of force majeure.

25.2 If a force majeure situation arises, the supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the purchaser in writing, the supplier shall continue to perform its obligations under the contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the force majeure event.



26. Termination for insolvency

26.1 The purchaser may at any time terminate the contract by giving written notice to the supplier if the supplier becomes bankrupt or otherwise insolvent. In this event, termination will be without compensation to the supplier, provided that such termination will not prejudice or affect any right of action or remedy, which has accrued or will accrue thereafter to the purchaser.

27. Settlement of Disputes

27.1 If any dispute or difference of any kind whatsoever arises between the purchaser and the supplier in connection with or arising out of the contract, the parties shall make every effort to resolve amicably such dispute or difference by mutual consultation.

27.2 If, after thirty (30) days, the parties have failed to resolve their dispute or difference by such mutual consultation, then either the purchaser or the supplier may give notice to the other party of his intention to commence with mediation. No mediation in respect of this matter may be commenced unless such notice is given to the other party.

27.3 Should it not be possible to settle a dispute by means of mediation, it may be settled in a South African court of law.

27.4 Notwithstanding any reference to mediation and/or court proceedings herein,

(a) the parties shall continue to perform their respective obligations under the contract unless they otherwise agree; and
(b) the purchaser shall pay the supplier any monies due the supplier for goods delivered and / or services rendered according to the prescripts of the contract.

28. Limitation of Liability

28.1 Except in cases of criminal negligence or wilful misconduct, and in the case of infringement pursuant to Clause 6;

(a) the supplier shall not be liable to the purchaser, whether in contract, tort, or otherwise, for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the supplier to pay penalties and/or damages to the purchaser; and
(b) the aggregate liability of the supplier to the purchaser, whether under the contract, in tort or otherwise, shall not exceed the total contract price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment.

29. Governing language

29.1 The contract shall be written in English. All correspondence and other documents pertaining to the contract that is exchanged by the parties shall also be written in English.

30. Applicable law

30.1 The contract shall be interpreted in accordance with South African laws, unless otherwise specified.

31. Notices

31.1 Every written acceptance of a bid shall be posted to the supplier concerned by registered or certified mail and any other notice to him shall be posted by ordinary mail to the address furnished in



his bid or to the address notified later by him in writing and such posting shall be deemed to be proper service of such notice.

31.2 The time mentioned in the contract documents for performing any act after such aforesaid notice has been given, shall be reckoned from the date of posting of such notice.

32. Taxes and duties

32.1 A foreign supplier shall be entirely responsible for all taxes, stamp duties, license fees, and other such levies imposed outside the purchaser’s country.

32.2 A local supplier shall be entirely responsible for all taxes, duties, license fees, etc., incurred until delivery of the contracted goods to the purchaser.

32.3 No contract shall be concluded with any bidder whose tax matters are not in order. Prior to the award of a bid SARS must have certified that the tax matters of the preferred bidder are in order.

32.4 No contract shall be concluded with any bidder whose municipal rates and taxes and municipal services charges are in arrears.

33. Transfer of contracts

33.1 The contractor shall not abandon, transfer, cede assign or sublet a contract or part thereof without the written permission of the purchaser

34. Amendment of contracts

34.1 No agreement to amend or vary a contract or order or the conditions, stipulations or provisions thereof shall be valid and of any force unless such agreement to amend or vary is entered into in writing and signed by the contracting parties. Any waiver of the requirement that the agreement to amend or vary shall be in writing, shall also be in writing.

35. Prohibition of restrictive practices

35.1 In terms of section 4 (1) (b) (iii) of the Competition Act No. 89 of 1998, as amended, an agreement between, or concerted practice by, firms, or a decision by an association of firms, is prohibited if it is between parties in a horizontal relationship and if a bidder(s) is / are or a contractor(s) was / were involved in collusive bidding.

35.2 If a bidder(s) or contractor(s) based on reasonable grounds or evidence obtained by the purchaser has / have engaged in the restrictive practice referred to above, the purchaser may refer the matter to the Competition Commission for investigation and possible imposition of administrative penalties as contemplated in section 59 of the Competition Act No 89 0f 1998.

35.3 If a bidder(s) or contractor(s) has / have been found guilty by the Competition Commission of the restrictive practice referred to above, the purchaser may, in addition and without prejudice to any other remedy provided for, invalidate the bid(s) for such item(s) offered, and / or terminate the contract in whole or part, and / or restrict the bidder(s) or contractor(s) from conducting business with the public sector for a period not exceeding ten (10) years and / or claim damages from the bidder(s) or contractor(s) concerned.
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