BID SPECIFICATION

COVER PAGE (SUMMARY)

| RFQ Ref. No: | 0000000991 |
| --- | --- |
| Description: | Appointment of an accredited level 3 service provider for the Design, Supply, and Installation of structured network cabling Infrastructure for SITA on behalf of Department of Telecommunications and Postal Services (hereafter DCDT) with Maintenance and Support for a period of three (3) years |
| Non- Compulsory Briefing Session | 21 September 2021 at 11:00am |
| Closing Date for questions / queries | 24 September 2021 |
| RFQ Closing Details | 30 September 2021 TIME: 11:00AM (SOUTH AFRICAN TIME) |
| RFQ responses may be submitted to: https://ww1.gcommerce.gov.za/iss/login.aspx |  |
| RFQ Validity Period | 90 DAYS |

PROSPECTIVE BIDDERS MUST BE REGISTERED ON NATIONAL TREASURY’S CENTRAL SUPPLIER DATABASE (CSD) PRIOR TO SUBMITTING BIDS.

Contents

ANNEX A:	INTRODUCTION	4

1.	PURPOSE AND BACKGROUND	4

1.1.	PURPOSE	4

1.2.	BACKGROUND	4

2.	SCOPE OF BID	4

2.1.	SCOPE OF WORK	4

2.2.	DELIVERY ADDRESS	6

2.3.	CUSTOMER INFRASTRUCTURE AND ENVIRONMENT REQUIREMENTS	6

3.	REQUIREMENTS	6

3.1.	PRODUCT/ SERVICE / SOLUTION REQUIREMENTS	6

3.2.	PROJECT AND SERVICES REQUIREMENTS	6

4.	BID EVALUATION STAGES	7

ANNEX A.1:	ADMINISTRATIVE PRE-QUALIFICATION	8

5.	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS	8

5.1.	ADMINISTRATIVE PRE-QUALIFICATION VERIFICATION	8

5.2.	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS	8

6.	TECHNICAL MANDATORY	9

6.1.	INSTRUCTION AND EVALUATION CRITERIA	9

6.2.	TECHNICAL MANDATORY REQUIREMENTS	9

6.3.	DECLARATION OF COMPLIANCE	10

ANNEX A.2:	SPECIAL CONDITIONS OF CONTRACT (SCC)	11

7.	SPECIAL CONDITIONS OF CONTRACT	11

7.1.	INSTRUCTION	11

7.2.	SPECIAL CONDITIONS OF CONTRACT	11

7.3.	DECLARATION OF COMPLIANCE	19

ANNEX A.3:	COSTING AND PRICING	21

8.	COSTING AND PRICING	21

8.1.	COSTING AND PRICING EVALUATION	21

8.2.	COSTING AND PRICING CONDITIONS	21

8.3.	BID PRICING SCHEDULE	22

8.4.	DECLARATION OF ACCEPTANCE	22

ANNEX A.4:	Terms and definitions	23

10.	ABBREVIATIONS	23

ANNEX A.5:	ADDENDUM A: (Include any addendum if applicable)	24

ANNEX A.6:	TECHNICAL SCHEDULES	25

11.	TECHNICAL SCHEDULES	25

11.1.	LOCATION SCHEDULE	25

11.2.	EQUIPMENT AND QUANTITY SCHEDULE	25

11.2.1.	Structured Network Cabling Infrastructure - See Excel Spreadsheet Table – A	25

11.2.2.	Server room Infrastructure - See Excel Spreadsheet Table - C	25

ANNEX B:	Structured Network Cabling Infrastructure	26

ANNEX C:	Server room Infrastructure	29

ANNEX D: BIDDER SUBSTANTIATING EVIDENCE	30

11.0	MANDATORY REQUIREMENT EVIDENCE	30

11.1	BIDDER CERTIFICATION / AFFILIATION REQUIREMENTS	30

11.2	BIDDER CERTIFICATION / AFFILIATION REQUIREMENTS	30

11.3	BIDDER EXPERIENCE AND CAPABILITY REQUIREMENTS	30

11.4	PRODUCT / SERVICE FUNCTIONAL REQUIREMENT	30

11.5	LOCAL CONTENT REQUIREMENT (remove if not applicable)	31

ANNEX D:	32

ANNEX E:	33

ANNEX F:	34

ANNEX G:	35

INTRODUCTION

# PURPOSE AND BACKGROUND

## PURPOSE

The purpose of this RFX is to invite Suppliers (hereinafter referred to as “bidders”) to submit bids for the supply, installation and maintenance of a structured LAN cabling system and related electrical, environmental control systems to SITA on behalf of the Department of Telecommunications and Postal Services (hereafter DCDT) with Maintenance and Support for a period of thirty-six (36) months as and when required.

## BACKGROUND

Following the announcement by the President that the Department of Communications will be merging with the Department of Telecommunications and Postal Services. It has been planned that Department of Communications will move into the vacant floor space at 1166 Park St, Hatfield, Pretoria campus – current offices of the Department of Telecommunications and Postal Services.

SITA was task by the DCDT to undertake the ICT Project to upgrade the current LAN Network Infrastructure to accommodate the merging of the two departments. The existing network cable infrastructure is predominantly CAT 5 with a 1Gigabit fibre backbone, this infrastructure needs to be upgraded to accommodate the additional user requirements on the LAN w.r.t the merging of the two departments.

Upgrades of additional infrastructure is also required at the department’s office in the Western Cape at office in Parliament - 1001A, Parliament Towers, Parliament -120 Plein street, and at the DCDT Office 35 Mills street Strand.

# SCOPE OF BID

## SCOPE OF WORK

The merging of the two government departments, Department of Communication with the Department of Telecommunication and postal services to form the new Department of Communication and Digital Technologies, hereafter (DCDT). It has been planned that the Department of Communication will move into the vacant floor spaces at 1166 Park St, Hatfield Pretoria campus- the current offices of the department of Telecommunication and Postal Services

The scope of work by the bidder is to provide the following services; Design Supply, Installation. Moves and Changes (IMAC’s) as and when required and Maintenance of the newly installed structured cabling infrastructure. The moves and changes (IMAC’s) will be charged on a per unit cost as per the submitted price list.

The serve room also requires an upgrade, it is required that the service provider should Supply, Install and maintain an environmental monitoring system and ensure the server room complies with the environmental industry standards.

- Network Cabling infrastructure;

  - UTP CAT 6 cabling / DATA point including patch lead and fly lead

  - Move of Data point

  - Testing of Data point

  - Labelling of Data point

  - RJ45 connectors and boots

  - OM3 Fibre backbones from the access switches to the core switches

  - OM3 multi-mode Fibre backbone

  - Testing of Fibre installation

  - Labelling of Fibre installation

  - Cabinets, complete with UPS

  - Patch and brush panels including patch leads

  - Cabling routes  including if required

  - Break-fix and move of network points as and when required

  - Dedicated Power points for the installed network points

  - Remove of old network cabling infrastructure.

  - Certification

  - LAN design and layout

  - Signoff documentation

  - Labour Services and

  - One Year Workmanship Warranty

# Minimum 10 years Industry standard warranty on OEM structured cabling system (warranty period starts on date of acceptance certificate).

- Wireless Network Access infrastructure;

  - Spectrum Analysis

  - Labelling of Access Points

  - Testing of Acces points and

  - Mounting and connecting of Acces Device

- Server room infrastructure requirements as and when required;

(i)	Current network cabinets need to be replaced with two 42U cabinets with lockable front glass panels and perforated back panels that can lock:

(ii)   Install environmental control and monitoring system with warning SMS capabilities for fire detectors, smoke detectors, water detectors and power alarms ninterruptable power supply (UPS) equipment.

- Maintenace and Support requirements

- Provide Maintenance and Support for the current and newly-installed infrastructure for the duration of the contract.

- Project Management

## DELIVERY ADDRESS

The goods or services must be supplied or provided at the DCDT offices/sites las per address list / table as and when required as per Annex A.5 “Technical Schedules”. The exact delivery addresses will be supplied per work order.

|  | SITE | Address |
| --- | --- | --- |
|  | DCDT | 1166 Park St, Hatfield Pretoria campus |

## CUSTOMER INFRASTRUCTURE AND ENVIRONMENT REQUIREMENTS

The merging of the two government departments, Department of Communication with the Department of Telecommunication and postal services to form the new Department of Communication and Digital Technologies, hereafter (DCDT). It has been planned that the Department of Communication will move into the vacant floor spaces at 1166 Park St, Hatfield Pretoria campus- the current offices of the department of Telecommunication and Postal Services

The required work by the bidder is to provide the following services; Design Supply, Installation. Moves and Changes (IMAC’s) as and when required and Maintenance of the newly installed structured cabling infrastructure. The moves and changes (IMAC’s) will be charged on a per unit cost as per the submitted price list. The server room also requires an upgrade, it is required that the service provider should Supply, Install and maintain an environmental monitoring system and ensure the server room complies with the environmental industry standards.

Please refer to Annex B.

REQUIREMENTS

## PRODUCT/ SERVICE / SOLUTION REQUIREMENTS

To be determined during site assessments depending on COVIT-19 regulations and protocols.

Refer to bill of material for detailed description of equipment required in Annex A.5 or and Excel Spreadsheet.

## PROJECT AND SERVICES REQUIREMENTS

The goods and services must be provided in accordance with Section 9.2, Special Conditions of Contract.

# BID EVALUATION STAGES

- The bid evaluation process consists of several stages that are applicable according to the nature of the bid as defined in the table below.

- The bidder must qualify for each stage to be eligible to proceed to the next stage of the evaluation.

| Stage | Description | Applicable for this bid YES/NO |
| --- | --- | --- |
| Stage 1 | Administrative pre-qualification verification | YES |
|  | Local Content and Production evaluation |  |
| Stage 2A | Technical Mandatory requirement evaluation | YES |
| Stage 2B | Technical Functionality requirement evaluation | NO |
| Stage 2C | Technical Proof of Concept requirement evaluation | NO |
| Stage 3 | Special Conditions of Contract verification | YES |
| Stage 4 | Price / B-BBEE evaluation | YES |

ADMINISTRATIVE PRE-QUALIFICATION

# ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS

## ADMINISTRATIVE PRE-QUALIFICATION VERIFICATION

- The bidder must comply with ALL of the bid pre-qualification requirements in order for the bid to be accepted for evaluation.

If the Bidder failed to comply with any of the administrative pre-qualification requirements, or if SITA is unable to verify whether the pre-qualification requirements are met, then SITA reserves the right to-

  - Reject the bid and not evaluate it, or

  - Accept the bid for evaluation, on condition that the Bidder must submit within 7 (seven) days any supplementary information to achieve full compliance, provided that the supplementary information is administrative and not substantive in nature.

## ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS

- Submission of bid response: The bidder has submitted a bid response documentation pack –

  - that was completed and uploaded on the GCommerce system within the stipulated date and time as specified in the “Invitation to Bid” cover page.

Attendance of briefing session: If a briefing session is called, then the bidder has to sign the briefing session attendance register using the same information (bidder company name, bidder representative person name and contact details) as submitted in the bidder’s response document. The attendance of the briefing session is not compulsory.

- Registered Supplier. The bidder is, in terms of National Treasury Instruction Note 4A of 2016/17, registered as a Supplier on National Treasury Central Supplier Database (CSD).

# TECHNICAL MANDATORY

## INSTRUCTION AND EVALUATION CRITERIA

- The bidder must comply with ALL the requirements as per section 6.2 below by providing substantiating evidence in the form of documentation or information, failing which it will be regarded as “NOT COMPLY”.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response as “NOT COMPLY”.

- The bidder must complete the declaration of compliance as per section 6.3 below by marking with an “X” either “COMPLY”, or “NOT COMPLY” with ALL of the technical mandatory requirements, failing which it will be regarded as “NOT COMPLY”.

- The bidder must comply with ALL the TECHNICAL MANDATORY REQUIREMENTS in order for the bid to proceed to the next stage of the evaluation.

- No URL references or links will be accepted as evidence.

## TECHNICAL MANDATORY REQUIREMENTS

| TECHNICAL MANDATORY REQUIREMENTS | Substantiating evidence of compliance (used to evaluate bid) | Evidence reference (to be completed by bidder) |
| --- | --- | --- |
| - BIDDER CERTIFICATION / AFFILIATION REQUIREMENTS - AS per qualification in RFA 2168 /2020 | AS per qualification in RFA 2168 /2020 Note: SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 11.1> |
| - The bidder must be accredited with the OEM/OSM on an enterprise level for the supply, install and maintenance of the system/solution they are proposing to SITA, | AS per qualification in RFA 2168 /2020 NOTE: SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 11.2> |
| - LOCAL CONTENT REQUIREMENT <<include PPPFA 2017 requirements re Local Content SBD 6.2> |  | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 11.5 and Annexure D> |

## DECLARATION OF COMPLIANCE

|  | Comply | Not Comply |
| --- | --- | --- |
| The bidder declares by indicating with an “X” in either the “COMPLY” or “NOT COMPLY” column that – - The bid complies with each and every TECHNICAL MANDATORY REQUIREMENT as specified in SECTION 6.2 above; AND - Each and every requirement specification is substantiated by evidence as proof of compliance. |  |  |

SPECIAL CONDITIONS OF CONTRACT (SCC)

# SPECIAL CONDITIONS OF CONTRACT

## INSTRUCTION

- The successful supplier will be bound by Government Procurement: General Conditions of Contract (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the successful Supplier. However, SITA reserves the right to include or waive the condition in the signed contract.

- SITA reserves the right to –

  - Negotiate the conditions, or

  - Automatically disqualify a bidder for not accepting these conditions.

  - Award to multiple bidders.

- In the event that the bidder qualifies the proposal with own conditions, and does not specifically withdraw such own conditions when called upon to do so, SITA will invoke the rights reserved in accordance with subsection 7.1(2) above.

- The bidder must complete the declaration of acceptance as per section 8.3 below by marking with an “X” either “ACCEPT ALL” or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

## SPECIAL CONDITIONS OF CONTRACT

- CONTRACTING CONDITIONS

  - Formal Contract. The Supplier must enter into a formal written Contract (Agreement) with SITA internal

  - Right of Award. SITA reserves the right to award the contract for required goods or services to multiple Suppliers.

  - Right to Audit. SITA reserves the right, before entering into a contract, to conduct or commission an external service provider to conduct a financial audit or probity to ascertain whether a qualifying bidder has the financial wherewithal or technical capability to provide the goods and services as required by this tender.

- DELIVERY ADDRESS. The supplier must deliver the required products or services at as indicated in Section 2.2, Delivery Address

- DELIVERY SCHEDULE

  - The scope of work (Section 2.1) and Section 3 (Requirements) must be completed within <duration> after the contract has been awarded to all below SITA buildings i.e. decommission, supply, install and configure.

  - The Supplier is responsible to perform the work as outlined in the following Breakdown Structure (WBS):

(Complete the table below with the information required)

| WBS | Statement of Work | Delivery Timeframe |
| --- | --- | --- |
|  | Supply, install and test LAN structured cabling system as and when required as per Annex A.5, Table 1, including - UTP copper cabling system - Fibre backbone (including core drilling), - Cabinets, complete with UPS - Patch and fly leads. - Removal of (old) previously installed data cabling - Test and Certification of Structured network cabling installation - Maintenance and support | - Installed and certified Cat6 UTP copper structured cabling system. - Installed and certified OM3 fibre cabling system. - Installed and tested network cabinets with UPS. - Wi-Fi heat map indicating the optimal position for placement of Wi-Fi Aces Points. - Valid test results and OEM certificate of installation Maintenance and support on network cabling infrastructure |
|  | Supply, install and test server room environmental support equipment as and when required as per Annex A.5, Table 3, including - Environmental Monitoring system - Ensure server room comply to environmental requirements - Maintenance and support on the above equipment as and when required. | - Installed and tested Environmental monitoring system. - Dust proof; walls are painted with fire proof paint where applicable, fire rated door airflow for air conditioning / cooling is adequate Preventative maintenance for the duration of the warranty period. |

- SERVICES AND PERFORMANCE METRICS

  - The Supplier is responsible to provide the following services as specified in the Service Breakdown Structure (SBS):

(Complete table below with the information required)

| SBS | Service Element | Service Grade | Service Level |
| --- | --- | --- | --- |
|  | Cabling Maintenance break and fix: Maximum Guaranteed Time to Resolve | Office Hours | Next Business Day (NBD), 8h x 5d x NBD |
|  | Server Room Access Control, HVAC and UPS: Maximum Guaranteed Time to Resolve | Office hours | Next Business Day (NBD), 8h x 5d x NBD |

(b)  The Supplier must commence with project within 3 days after order is placed.

(c)  The Supplier must complete the Statement of Work within the agreed timelines as per the project plan and maintenance schedules for the duration of the entire contract period.

(d)The Supplier must provide maintenance and support on all installed goods for the period                   of the contract.

(Complete table below with the information required)

| SBS | Service Element | Service Grade | Service Level |
| --- | --- | --- | --- |

- SCOPE OF TECHNICAL SOLUTION DEVELOPMENT

- installation and configuration of Network LAN Cabling Infrastructure will be done strictly on an “as-and-when” required basis, as follows:

  - “As-and-when” conditions

    - SITA will initiate a request for service (RFS), indicating the specific bill of material, the installation address(es) and associated completion date and any special installation conditions; and

    - The supplier must respond to the RFS with

      - a quotation that is consistent with the supplier bid pricing schedule and

      - an implementation schedule indicating start and end-date.

    - SITA, after acceptance of the quotation and implementation schedule, issue a work order (WO) for the goods/services.

    - SITA will sign an acceptance certificate after a work order is successfully completed (refer deliverables in “SCOPE OF WORK” above).

    - Supplier will raise an invoice for payment together with a signed acceptance certificate.

  - Variation of goods or services conditions

    - The quantity of goods or services as specified in Annex A.5, Bill of Quantities is dependent on client operational requirements and may vary during the term of the contract. The supplier will therefore not be entitled to the full amount of the bid.

    - The supplier accepts that the product model or version as specified in the bill of material is dependent on the OEM life-cycle and that it may vary during the term of the contract.

- SUPPLIER PERFORMANCE REPORTING

  - The Supplier must for the duration of the project report to SITA Project manager and must provide periodic reports on the progress of the installation at an interval as determined by the SITA Project Manager.

  - The Supplier must for the duration of the contract provide for a call desk to report incidents or requests.

  - Monthly SLA meetings.

  - Supplier performance will be measured by the DELIVERY SCHEDULE and the SERVICES AND PERFORMANCE METRICS

  - The Supplier will report on a weekly basis to SITA/Client during the design, installation and implementation phase of the project; weekly written reports are to be presented to the SITA/Client on the progress of the preceding week until installation process has been completed.

  - Quarterly meetings to be scheduled between SITA/Client and service provider and also ADHOC meetings from both sided.

  - The Supplier is required to generate regular reports as outputs during the maintenance and support cycle within the following service levels (the report type will drive the service level agreement; definition of the content of each report type will be finalised at the time of concluding the contracted service level agreement).

- CERTIFICATION, EXPERTISE AND QUALIFICATION

  - Supplier must be PSIRA registered and complaint throughout the whole project.

  - The Supplier must utilise at least two (2) technical employees who are OEM/OSM security system enterprise certified for the entire period of the contract.

  - The Supplier represents that,

    - it has the necessary expertise, skill, qualifications and ability to undertake the work required in terms of the Statement of Work or Service Definition and;

    - it is committed to provide the Products or Services; and

    - perform all obligations detailed herein without any interruption to the Customer.

  - The Supplier must provide the service in a good and workmanlike manner and in accordance with the practices and high professional standards used in well-managed operations performing services similar to the Services;

  - The Supplier must perform the Services in the most cost-effective manner consistent with the level of quality and performance as defined in Statement of Work or Service Definition;

  - Original Equipment Manufacturer (OEM) or Original Software Manufacturer (OSM) work. The Supplier must ensure that work or service is performed by a person who is certified by Original Equipment Manufacturer or Original Software Manufacturer, including the minimum following certification:

- LOGISTICAL CONDITIONS

  - Hours of work, 08h00 – 16h30.

  - Hours of work. Normal working hours, 7h30 – 16h30

  - Provision to be made for work which will be Saturday and Sunday at the Head Office for two weekends.

  - In the event that SITA grants the Supplier permission to access SITA's Environment including hardware, software, internet facilities, data, telecommunication facilities and/or network facilities remotely, the Supplier must adhere to SITA's relevant policies and procedures (which policy and procedures are available to the Supplier on request) or in the absence of such policy and procedures, in terms of, best industry practice.

  - Tools of Trade. The Supplier must bring their necessary tools of trade in order for them to perform their duties adequately.

  - Tools of Trade. The Supplier must provide all tools of trade to ensure compliance to OEM standards.

  - On-site and Remote Support. The Supplier must give off-site and remote support, and only when off-site support is not sufficient, then on-site support will be required upon approval by SITA representative.

  - Support and Help Desk. After hours helpdesk support is required for the period of the first three months per site during weekdays including weekends and public holidays.

  - Support and Help Desk. The Supplier must for the duration of the contract provide for a call desk to report incidents or requests.

- SKILLS TRANSFER AND TRAINING

  - The Supplier must provide certified training on the proposed solution or product to technical staff and operator to enable SITA to operate and support the product or solution after implementation.

  - The formal basic and advanced certified training to be done for SITA operators and technical team.

- REGULATORY, QUALITY AND STANDARDS

  - The Supplier must for the duration of the contract ensure compliance with ISO/IEC General Quality Standards, ISO27001, and Protection of Personal Information Act (POPIA).

  - The Supplier must for the duration of the contract ensure compliance with General Quality Standards, ISO 9001

  - Performance Security. In terms of section 7.1 of the General Conditions of Contract, a successful bidder must provide to SITA within 30 days after award of the contract a performance security to the amount of at least 10% of the bid price. (remove if not applicable)

  - The Supplier must for the duration of the contract ensure compliance with SANS standards (SANS 10222-2) (remove if not applicable)

  - The Supplier must for the duration of the contract ensure that the proposed product or solution conform to the list of Government Minimum Interoperability Standards (MIOS) in the table below : (remove if not applicable)

- PERSONNEL SECURITY CLEARANCE

  - The Supplier personnel who are required to work with GOVERNMENT CLASSIFIED information or access government RESTRICTED areas must be a South African Citizen and at the expense of the Supplier be security vetted (pre-employment screening, criminal record screening and credit screening).

  - The Supplier must ensure that the security clearances of all personnel involved in the Contract remains valid for the period of the contract.

  - The Supplier must provide proof of security vetting

- CONFIDENTIALITY AND NON-DISCLOSURE CONDITIONS

  - The Supplier, including its management and staff, must before commencement of the Contract, sign a non-disclosure agreement regarding Confidential Information.

  - Confidential Information means any information or data, irrespective of the form or medium in which it may be stored, which is not in the public domain and which becomes available or accessible to a Party as a consequence of this Contract, including information or data which is prohibited from disclosure by virtue of:

    - the Promotion of Access to Information Act, 2000 (Act no. 2 of 2000);

    - being clearly marked "Confidential" and which is provided by one Party to another Party in terms of this Contract;

    - being information or data, which one Party provides to another Party or to which a Party has access because of Services provided in terms of this Contract and in which a Party would have a reasonable expectation of confidentiality;

    - being information provided by one Party to another Party in the course of contractual or other negotiations, which could reasonably be expected to prejudice the right of the non-disclosing Party;

    - being information, the disclosure of which could reasonably be expected to endanger a life or physical security of a person;

    - being technical, scientific, commercial, financial and market-related information, know-how and trade secrets of a Party;

    - being financial, commercial, scientific or technical information, other than trade secrets, of a Party, the disclosure of which would be likely to cause harm to the commercial or financial interests of a non-disclosing Party; and

    - being information supplied by a Party in confidence, the disclosure of which could reasonably be expected either to put the Party at a disadvantage in contractual or other negotiations or to prejudice the Party in commercial competition; or

    - information the disclosure of which would be likely to prejudice or impair the safety and security of a building, structure or system, including, but not limited to, a computer or communication system; a means of transport; or any other property; or a person; methods, systems, plans or procedures for the protection of an individual in accordance with a witness protection scheme; the safety of the public or any part of the public; or the security of property; information the disclosure of which could reasonably be expected to cause prejudice to the defence of the Republic; security of the Republic; or international relations of the Republic; or plans, designs, drawings, functional and technical requirements and specifications of a Party, but must not include information which has been made automatically available, in terms of the Promotion of Access to Information Act, 2000; and information which a Party has a statutory or common law duty to disclose or in respect of which there is no reasonable expectation of privacy or confidentiality;

  - Notwithstanding the provisions of this Contract, no Party is entitled to disclose Confidential Information, except where required to do so in terms of a law, without the prior written consent of any other Party having an interest in the disclosure;

  - Where a Party discloses Confidential Information which materially damages or could materially damage another Party, the disclosing Party must submit all facts related to the disclosure in writing to the other Party, who must submit information related to such actual or potential material damage to be resolved as a dispute;

  - Parties may not, except to the extent that a Party is legally required to make a public statement, make any public statement or issue a press release which could affect another Party, without first submitting a written copy of the proposed public statement or press release to the other Party and obtaining the other Party's prior written approval for such public statement or press release, which consent must not unreasonably be withheld.

- GUARANTEE AND WARRANTIES. The Supplier warrants that:

  - The warranty of goods supplied under this contract remains valid for twelve (12) months after the goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the contract, or for eighteen (18) months after the date of shipment from the port or place of loading in the source country, whichever period concludes earlier;

  - as at Commencement Date, it has the rights, title and interest in and to the Product or Services to deliver such Product or Services in terms of the Contract and that such rights are free from any encumbrances whatsoever;

  - the Product is in good working order, free from Defects in material and workmanship, and substantially conforms to the Specifications, for the duration of the Warranty period;

  - during the Warranty period any defective item or part component of the Product be repaired or replaced within 3 (three) days after receiving a written notice from SITA;

  - the Products is maintained during its Warranty Period at no expense to SITA;

  - the Product possesses all material functions and features required for SITA’s Operational Requirements;

  - the Product remains connected or Service is continued during the term of the Contract;

  - all third-party warranties that the Supplier receives in connection with the Products including the corresponding software and the benefits of all such warranties are ceded to SITA without reducing or limiting the Supplier’s obligations under the Contract;

  - no actions, suits, or proceedings, pending or threatened against it or any of its third-party suppliers or sub-contractors that have a material adverse effect on the Supplier’s ability to fulfil its obligations under the Contract exist;

  - SITA is notified immediately if it becomes aware of any action, suit, or proceeding, pending or threatened to have a material adverse effect on the Supplier’s ability to fulfil the obligations under the Contract;

  - any Product sold to SITA after the Commencement Date of the Contract remains free from any lien, pledge, encumbrance or security interest;

  - SITA’s use of the Product and Manuals supplied in connection with the Contract does not infringe any Intellectual Property Rights of any third party;

  - the information disclosed to SITA does not contain any trade secrets of any third party, unless disclosure is permitted by such third party;

  - it is financially capable of fulfilling all requirements of the Contract and that the Supplier is a validly organized entity that has the authority to enter into the Contract;

  - it is not prohibited by any loan, contract, financing arrangement, trade covenant, or similar restriction from entering into the Contract;

  - the prices, charges and fees to SITA as contained in the Contract are at least as favourable as those offered by the Supplier to any of its other customers that are of the same or similar standing and situation as SITA; and

  - any misrepresentation by the Supplier amounts to a breach of Contract.

- INTELLECTUAL PROPERTY RIGHTS

  - SITA retains all Intellectual Property Rights in and to SITA's Intellectual Property. As of the Effective Date, the Supplier is granted a non-exclusive license, for the continued duration of this Contract, to perform any lawful act including the right to use, copy, maintain, modify, enhance and create derivative works of SITA's Intellectual Property for the sole purpose of providing the Products or Services to SITA pursuant to this Contract; provided that the Supplier must not be permitted to use SITA's Intellectual Property for the benefit of any entities other than SITA without the written consent of SITA, which consent may be withheld in SITA's sole and absolute discretion. Except as otherwise requested or approved by SITA, which approval is in SITA's sole and absolute discretion, the Supplier must cease all use of SITA's Intellectual Property, at of the earliest of:

    - termination or expiration date of this Contract;

    - the date of completion of the Services; and

    - the date of rendering of the last of the Deliverables.

  - If so required by SITA, the Supplier must certify in writing to SITA that it has either returned all SITA Intellectual Property to SITA or destroyed or deleted all other SITA Intellectual Property in its possession or under its control.

  - SITA, at all times, owns all Intellectual Property Rights in and to all Bespoke Intellectual Property.

  - Save for the license granted in terms of this Contract, the Supplier retains all Intellectual Property Rights in and to the Supplier’s pre-existing Intellectual Property that is used or supplied in connection with the Products or Services.

  - Provide SITA with the compliant safety file.

- SUPPLIER DUE DILIGENCE

SITA reserves the right to conduct supplier due diligence prior to final award or at any time during the Contract period and this may include pre-announced/ non-announced site visits. During the due diligence process the information submitted by the bidder will be verified and any misrepresentation thereof may disqualify the bid or Contract in whole or parts thereof.

## DECLARATION OF COMPLIANCE

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Special Condition of Contract as specified in section 7.2 above by indicating with an “X” in the “ACCEPT ALL” column, OR - The bidder declares to NOT ACCEPT ALL the Special Conditions of Contract as specified in section 7.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the conditions that is not accepted. |  |  |
| Comments by bidder: Provide reason and proposal for each of the conditions not accepted as per the format: Condition Reference: Reason: Proposal: |  |  |

COSTING AND PRICING

# COSTING AND PRICING

## COSTING AND PRICING EVALUATION

- In terms of Preferential Procurement Policy Framework Act (PPPFA), the following preference point system is applicable to all Bids:

  - the 80/20 system (80 Price, 20 B-BBEE) for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); or

  - the 90/10 system (90 Price and 10 B-BBEE) for requirements with a Rand value above R50 000 000 (all applicable taxes included).

- This bid will be evaluated using the preferential point system of 80/20, subject to the following conditions –

  - If the lowest acceptable bid price is up to and including R50 000 000 (all applicable taxes included) then the 80/20 preferential point system will apply to all acceptable bids; or

  - If the lowest acceptable bid price is above R50 000 000 (all applicable taxes included) then the 90/10 preferential point system will apply to all acceptable bids;

- The bidder must complete the declaration of acceptance as per section 9.4 below by marking with an “X” either “ACCEPT ALL”, or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

- Bidder will be bound by the following general costing and pricing conditions and SITA reserves the right to negotiate the conditions or automatically disqualify the bidder for not accepting these conditions. These conditions will form part of the Contract between SITA and the bidder. However, SITA reserves the right to include or waive the condition in the Contract.

## COSTING AND PRICING CONDITIONS

- SOUTH AFRICAN PRICING. The total price must be VAT inclusive and be quoted in South African Rand (ZAR).

- TOTAL PRICE

  - All quoted prices are the total price for the entire scope of required services and deliverables to be provided by the bidder.

  - The cost of delivery, labour, S&T, overtime, etc. must be included in this bid.

  - All additional costs must be clearly specified.

- BID EXCHANGE RATE CONDITIONS. The bidders must use the exchange rate provided below to enable SITA to compare the prices provided by using the same exchange rate:

| Foreign currency | South African Rand (ZAR) exchange rate |
| --- | --- |
| 1 US Dollar |  |
| 1 Euro |  |
| 1 Pound |  |

## BID PRICING SCHEDULE

Note: Bidders must complete the bid pricing schedule in the Excel spreadsheet format provided and upload this as part of their submission on the GCommerce system.

NB: SITA reserves the right to negotiate pricing with the successful bidder prior to the award as well as envisaged quantities.

## DECLARATION OF ACCEPTANCE

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Costing and Pricing conditions as specified in section 8.2 above by indicating with an “X” in the “ACCEPT ALL” column, or - The bidder declares to NOT ACCEPT ALL the Costing and Pricing Conditions as specified in section 9.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the condition not accepted. |  |  |
| Comments by bidder: Provide the condition reference, the reasons for not accepting the condition. |  |  |

Terms and definitions

# ABBREVIATIONS

(Add all abbreviations used throughout the document, see below example)

PPPFA                    Preferential Procurement Policy Framework Act

ADDENDUM A: (Include any addendum if applicable)

TECHNICAL SCHEDULES

# TECHNICAL SCHEDULES

## LOCATION SCHEDULE

The Government Administration Agency’s offices, located in all nine provinces across South Africa as summarised below. Specific location will be communicated on an as-and when required basis.

| + |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Province |  | Town |  | Building |  |  | Physical Address |  | Comments |  |  |  |
| Gauteng |  | Hatfield |  | iParioli Building |  |  | 1166 Park Street, Hatfield, Pretoria |  | Head Office Campus |  |  |  |
| DCDT office in Parliament |  | Parliament |  | 1.Parliament Towers 2. Parliament |  |  | -1001A, Parliament Towers, Parliament -120 Plein street, Parliament |  | DCDT Offices in Parliament |  |  |  |
| DCDT office in Strand |  | Strand |  | DCDT Office |  |  | 35 Mills street Strand, Western Cape |  | DCDT Office in Strand |  |  |  |

## EQUIPMENT AND QUANTITY SCHEDULE

### Structured Network Cabling Infrastructure - See Excel Spreadsheet Table – A

### Server room Infrastructure - See Excel Spreadsheet Table - C

    - NOTE: - The offices in Strand and Parliament only requires Wi-Fi network points

- Strand 0ffice – 3-5 x network points with a switch and 12 U cabinet

- Parliament office – 1-3 network points to be connecting to an existing cabinet and switch

Structured Network Cabling Infrastructure

| Product/Service | Quantity |
| --- | --- |
| CABLING: UTP |  |
| UTP Cat6a Network points, including fly and patch leads saturated over various buildings and floors including the as per client’s floor layout. | 630 |
| 45-degree 50mm x 50mm adaptor | 630 |
| keystone | 630 |
| Punch plate 50mm x 50mm | 630 |
| Collar 50mm x 50mm collar | 630 |
| 50mm x 50mm blanks | 630 |
| Labelling (wrap around at the back connector and printer connector cable and patch panel | 1890 |
| Patch panel 24 port high density | 40 |
| Brush panel extended base | 40 |
| Cable installation and testing | 630 |
| Cable routes P801/802 (matching current trunking in building) are required estimated combine length 500m including corners & caps | 500 |
| Cable routes with wire baskets and saddles within the ceiling are required, estimated combine length 500m | 500 |
| CABLING: FIBRE |  |
| OM3, fibre cable, multimode 4-core uplinks (2 building / per floor for redundancy); combined estimated length 12000 metres; | 12000 |
| * Splice tray 24 port ST connectors (include labelling) | 10 |
| * Splicing estimated | 64 |
| * Splice cassette * Splice protectors * PG 13" glands | 6 |
| * Multi Mode LC mid-couplers | 48 |
| * Fibre labelling (warning tag and arrow tags) | 72 |
| *3.0-meter patch leads LC to LC and labelling. | 42 |
| Core Drilling 100mm (17 x 2) and fire proofing | 18 |
| Fibre cable installation and testing | 6000 |
| *Service Plan within warranty period |  |
| CABINETS |  |
| 25U lockable network cabinets,600mm x 1000mm complete with: * Lockable side panels * Lockable front glass and solid rear doors * Rear Punched Profiles * 4 way fan * 5 metal power unit * Depth Members * Universal Plinth 150mm * Earth Bar * 304mm Light Duty Cable Tray * 2 x Base Blanking Plates * 2 x Base Brush Cable Entry * Key ring Tag 25mm * M6 Cage Nut Kit ( 50 x washer, screws and cage nuts) * 10 x Cable loom saddles * Surge protection (2u main unit). | 13 |
| 42U Cabinet lockable network cabinets,600mm x 1000mm complete with: * 1-meter depth with plinth * Perforated Front and Back Doors * Brush Entry * 4-way fans * 10-way metal power units * 300mm wire tray 3m length * Patching, labelling etc * M6 Cage Nut Kit (96 x washer, screws and cage nuts) * Earth Bar * 20 x Cable loom saddles * Surge protection (2u main unit) | 2 |
| Standard Rack 12U x 600 x 100 Wall Side mount - Complete with: Lockable front and rear doors. Fitted, Earth Bar, Cage Nut Kits sets, 2 x Fan Single and 4 x M6 Bolts,5 metal power unit, Brush Cable Entry | 1 |
| CABLING: NETWORK UPS |  |
| UPS, 2kVA, 5 min backup, outputs: 8 x C13, 1 x C19, USB/Serial and SNMP management, rack mountable, including: * Installed in each of the 25U Cabinets (Ref A3.1) * Service Plan within warranty period of 3 years. | 13 |
| GENERAL AND SERVICES |  |
| Cable routes with wire baskets and saddles within the ceiling, P801/802 (matching current trunking in building) are required. | 1 |
| Minimum 10 years Industry standard warranty on OEM structured cabling system (warranty period starts on date of acceptance certificate). | 1 |
| Project management | 1 |
| Schematic layout for each floor | 1 |
| Certification with test results for each floor. | 1 |
| Signoff documentation (detail to be included to be confirmed with SITA project manager. | 1 |
| Workmanship Warranty 1 Year | 1 |
| Other cost (please specify below) - - |  |

Server room Infrastructure

| Product/Service | Quantity |
| --- | --- |
| Server Room Environmental |  |
| Supply and Install 600 x 600mm Vented Floor Tiles | 4 |
| Re-Fitment of Fire Door | 1 |
| Fire Sealing and Fire Painting All uncovered holes will be sealed with Fire Proof Foam | 1 |
| Environmental Monitoring systems PC and Screen | 1 |
| Environmental Monitoring system Software | 1 |
| Smoke detectors | 4 |
| Water detectors | 4 |
| Heat sensors | 4 |
| GENERAL AND SERVICES |  |
| Removal of debris | 1 |
| Traveling cost | 1 |
| Project management | 1 |
| Copies of signoff documentation (1 + 3 copies); (Detail o be included to be confirmed with SITA project manager.) | 4 |
| Workmanship Warranty 1 year | 1 |
| 3-year OEM Warranty on installed products | 1 |
| Other cost (Please specify below) - - | 1 |

- ANNEX D: BIDDER SUBSTANTIATING EVIDENCE

# 11.0	MANDATORY REQUIREMENT EVIDENCE

## BIDDER CERTIFICATION / AFFILIATION REQUIREMENTS

Attach PSIRA registration documentation (valid certificate, license or membership card) here.

## BIDDER CERTIFICATION / AFFILIATION REQUIREMENTS

Attach a copy of a valid OEM/OSM enterprise certificate for the supply and installation of access control systems here.

## BIDDER EXPERIENCE AND CAPABILITY REQUIREMENTS

Complete table below, noting that:

  - Bidder must provide references from at least two (2) customers to whom at least one (1) project each for the supply and installation of access control systems were delivered; and

  - Project end-date must be current or not older than 5 years from date this bid is advertised,

  - Scope of work must be related.

Table 1: References

| No | Company name | Reference Person Name, Tel and/or email | Project Scope of work | Project Start and End-date |
| --- | --- | --- | --- | --- |
| 1 | <Company name> | <Person Name> <Tel> <email> | < Provide the details of the scope for installation of access control system was provided> | Start Date: End Date: |
| 2 | <Company name> | <Person Name> <Tel> <email> | < Provide the details of the scope for installation of access control system was provided> | Start Date: End Date: |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |

## PRODUCT / SERVICE FUNCTIONAL REQUIREMENT

(The bidder must submit the relevant evidence supporting the above requirement)

## LOCAL CONTENT REQUIREMENT (remove if not applicable)

(SBD 6.2 must be completed if the request has Electrical and Telecom cable requirements for ICT requests)

(Non-ICT requirements – refer to SBD 6.2 for designated sectors)

I, the bidder (Full names)………………………………………………….representing (company name)…………………………………………………………….. Hereby confirm that I comply with the above Technical Mandatory Requirements and understand that it will form part of the contract and is legally binding.

Thus done and signed at ……………………………………. On this………day of……………….20….

……………………………….

Signature

Designation: