| ICT EQUIPMENT |  |
| --- | --- |
| Request for quotation REQUEST FOR THE SUPPLY, INSTALLATION, CONFIGURATION, AND COMMISSIONING OF A SERVER ROOM UNINTERRUPTED POWER SUPPLY (UPS) SYSTEM and a BIOMETRIC ACCESS CONTROL SYSTEM RFQ NO: EHCSVR2026 |  |
| 4. EVALUATION OF THE QUOTATIONS | Scope of work |
| RFQ will be evaluated in terms of the below-mentioned criteria: - Stage One - Phase One: Mandatory Compliance - Phase Two: Compulsory Administrative Compliance - Stage Three - Price and preference points (80/20) STAGE ONE - PHASE ONE: MANDATORY REQUIREMENTS A mandatory site assessment visit is required for all prospective bidders. •The purpose of the site visit is to allow bidders to assess the server room environment, electrical infrastructure, space constraints, access points, and any other conditions that may affect the scope of work and pricing. •A site attendance register will be issued and must be signed during the visit. •Failure to attend the mandatory site assessment and sign the register will result in automatic disqualification. NB: Service providers who fail to comply with the above requirements will be disqualified and will not proceed to Phase 2 of the evaluation. STAGE ONE - PHASE TWO: ADMINISTRATIVE COMPLIANCE - Certified Director’s ID copy. (Not older than three months from the closing date) - CK - Up to date municipal account/statement for the company (not in arrears for more than 90 days). In case a bidder is a lessee, a valid original or certified copy of a lease agreement must be supplied - Company pricing with letter head - Valid BBBEE/affidavit (failure to comply bidder will forfeit points allocations of specific goals (80/20 specific goals points allocations as per threshold) - Bank letter not older than three months - Respond to RFQ (RFQ document) - Signed MBD Forms - Valid Tax Pin STAGE THREE: PRICE AND PREFERENCE POINTS EVALUATION IN TERMS OF PPPFA REGULATIONS 2022 (AS AMENDED): Evaluation In Terms of PPPFA Regulations 2022 (As Amended): This bid will be evaluated and adjudicated according to the 80/20 preference point system, in terms of which a maximum of 80 points will be awarded for prize and 20 points will be awarded for specific goals CSD report. 80/20 Preference Point Com; Points. PRICE; 80. SPECIFIC GOALS; 20. Bidder HDI (5pts; 5. Woman (3 pts); 3. Disability (2pts); 2. Youth (2pts); 2. Within Ekurhuleni (8pts); 8. Total; 20. Closing Date Date: 19 February 2026 Delivery Address: Cnr Victoria Street and Linton Street Chris Hani Village Germiston 1400 (next to Fire Station) Time:11h00 am Compulsory Briefing session Date: 16 February 2026 Address: Cnr Linton Jones Street and Victoria Street Germiston (next to the fire station) Time: 14:00 pm Submission must hand be delivered to EHC head office: Cnr Victoria Street and Linton Street Chris Hani Village Germiston 1400 (next to Fire Station) in a sealed envelope stating the description and RFQ NO: EHCSVR2026 and IN A RED TENDER BOX BY THE RECEPTION. PLEASE SIGN SUBMISSION REGISTER FAILURE TO SIGN WILL RESULT TO DISQUALIFICATION NB: please usure to drop the bid document in a red box by EHC reception The entity reserves its following rights: - To award the bid in part or in full, - Not to make any award in this bid or accept any bids submitted, - Request further technical information from any bidder after the closing date, - Verify information and documentation of the bidder(s), - Not to accept any of the bids submitted, - To withdraw or amend any of the bid conditions by notice in writing to all bidders before closing of the bid and post-award, and - If an incorrect award has been made to remedy the matter in any lawful manner it may deem fit. - Termination the employer may give notice of intention to terminate this agreement where the contractor has failed to: - proceed with the work, - comply timeously with a contract instruction, - Remedy a specified default within such period the employer may forthwith give notice to the contractor of termination of this agreement Quotations are subject to the Standard Conditions of Tender and the Supply Chain Management Policy of EHC The entity reserves the right to negotiate with the shortlisted bidder prior to the award and with the successful bidder post award. The terms and conditions for negotiations will be communicated to the shortlisted bidder prior to the invitation to negotiations. This phase is meant to ensure value for money is achieved through the measure of quality that will assess the monetary cost of the items or services against the quality and or benefits of that item or services. The entity reserves the right to conduct due diligence during the evaluation phases, before the final award, or at any time during the contract period and this may include pre-announced/ non-announced site visits. During the due diligence process, the information submitted by the bidder will be verified and any misrepresentation thereof may disqualify the bid in whole or in part. Quotation & Submission Requirements •Bidders should carefully examine the entire TOR; Bidders should become fully aware of the nature of the work and conditions likely to be encountered in performing the work. •Quotation s are to be prepared in such a way as to provide a straightforward, concise delineation of the bidders’ capabilities to satisfy the requirements of this RFQ. •Emphasis should be placed on: (I) conformance to the RFQ instructions; (ii) responsiveness to the RFQ requirements; and (iii) completeness and clarity of content. | 1.BACKGROUND Ekurhuleni Housing Company (“EHC”) is a Municipal Entity set up in 2000. It was established to undertake the development and management of rental housing stock for low and moderate-income households in the City of Ekurhuleni. Ekurhuleni Housing Company (EHC) derives its mandate from the City of Ekurhuleni (CoE). This mandate is informed by the national housing imperatives that are outlined through the Rental Housing Act, the Social Housing Act, and the MFMA. EHC provides and manages affordable rental housing for the lower income market as an integral part of efforts to eradicate the housing backlog in the Ekurhuleni Metropolis. The main target market comprises of home seekers whose household incomes meet the criteria for the Consolidated Capital Grant (CCG), which comprise of the Restructuring Capital Grant and the Institutional Housing Subsidy, which are available to beneficiaries whose total household income is between R1850 and R22 000 per month. 2.SCOPE OF WORK 1.1Uninterrupted Power Supply (UPS) System The service providers are required to supply and install a UPS system capable of providing stable, uninterrupted power to the following critical ICT infrastructure located in the server room: Equipment to be powered: •Two (2) Server Towers •One (1) Air Conditioning Unit – Jet Air R410A •One (1) 48-port Network Switch •Six (6) Wi-Fi Access Points •Biometric system (server room door device and PC) •Server room lighting Minimum UPS Requirements: •Adequate capacity to support all listed equipment simultaneously •Online double-conversion UPS (or equivalent enterprise-grade solution) •Minimum backup runtime of 60–120 minutes under full load (bidders to specify) •Automatic Voltage Regulation (AVR) •Surge protection and power conditioning •LCD/monitoring panel and management software •Expandable battery option (advantageous) •Suitable rack-mounted or floor-standing cabinet •Compliance with relevant electrical, safety standards •Valid Electrical Certificate of Compliance (CoC) upon completion 1.2Biometric Access Control System Supply, installation, configuration, and commissioning of a biometric access control system to enhance server room security and restrict unauthorized access. Scope Includes: •Fireproof server room door to be controlled by a biometric device •Biometric access control PC and management software •Facial recognition and fingerprint authentication •Biometric authentication Access •User enrolment and access-level management •Integration with access logs, audit trails, and reporting •Fail-safe operation in the event of power failure Minimum Requirements: •Facial recognition and Fingerprint reader •Centralized management software •Access logs and audit trails •Anti-tailgating and tamper alerts (advantageous) •Compatibility with Windows-based PCs •Secure data storage and encryption - PRICING SCHEDULE Description; Unit Price; Quantity; Total (UPxQ. Uninterrupted Power Supply (supply, installation, commissioning); R; 1. Biometric system (supply, installation, configuration; R; 1. Sub total; R. VAT; R. Total. PLEASE NOTE: THE EHC WILL NOT BE HELD RESPONSIBLE FOR UNDERPRICING DUE TO MISINTERPRETATION OF THE SPECIFICATION. All prices must be VAT inclusive and include all other related costs. Enquiries to be emailed to the supply chain Department dollyp@ehco.org.za; thozamad@ehco.org.za; patriciam@ehco.org.za; scminterns@ehco.org.za PLEASE NOTE: THE EHC WILL NOT BE HELD RESPONSIBLE FOR UNDER PRICING DUE TO MISINTERPRETATION OF THE SPECIFICATION |
| Submissions must hand delivered to EHC head office (at Agnus and Victoria Street Germiston 1400 next to fire station) in a sealed envelope stating RFQ NO and Description: EHCSVR2026 and IN A RED TENDER BOX BY THE RECEPTION. PLEASE SIGN SUBMISSION REGISTER. Contact Person Technical (Specification queries) Mathinyane Selane mathinyanes@ehco.org.za Supply Chain Management (only queries related to SCM) Dolly Phatlane/Patricia Mngomezulu Thozama Dalindyebo, dollyp@ehco.org.za/patriciam@ehco.org.za /thozamad@ehco.org.za |  |