Agricultural Research Council

Plant Health and Protection

Private Bag X134, Queenswood, Pretoria 0121

Reference #: 07_09/24

PURCHASE AND DELIVERY OF A FINE SCALE DIGITAL ANALYTICAL BALANCE

PRODUCT DESCRIPTION AND SPECIFICATIONS:

- Weighing range: Approximately 10 mg to 520 g.

- Readability: 0.0001 g (0.1 mg).

- Repeatability (Max): 0.00025g (0.25 mg).

- Calibration: Internal (Automatic) and External.

- Pan diameter: ≥ 100 mm.

- Display: Touchscreen.

- Anti-draught chamber: Glass [Approx dimensions (W x D x H): 190 x 190 x 226 mm].

QUANTITY: One (1) digital analytical balance.

PROPOSED EXAMPLES: Radwag AS 520.X2.Plus Series or equivalent.

*PLEASE PROVIDE A DETAILED QUOTE* - Quotes should be fully itemised with a breakdown of all component parts so far as is possible. This should include the brand, model and list of included add-ons, accessories, adapters and/or spares if any, as well as the cost of delivery. Please specify any warranty if included.

DELIVERY LOCATION: 		Agricultural Research Council – Plant Health and Protection

KwaMhlanga/Moloto Road (R573)

Roodeplaat West, Pretoria, 0039

25°36’55.4”S 28°21’51.9”E

ENQUIRIES:		Anthony King

Mobile: 082 480 5016

E-mail: KingA@arc.agric.za