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									Reference #: 07_09/24

PURCHASE AND DELIVERY OF A FINE SCALE DIGITAL ANALYTICAL BALANCE


PRODUCT DESCRIPTION AND SPECIFICATIONS:

· Weighing range: Approximately 10 mg to 520 g. 
· Readability: 0.0001 g (0.1 mg).
· Repeatability (Max): 0.00025g (0.25 mg).
· Calibration: Internal (Automatic) and External.
· Pan diameter: ≥ 100 mm.
· Display: Touchscreen.
· Anti-draught chamber: Glass [Approx dimensions (W x D x H): 190 x 190 x 226 mm].


QUANTITY: One (1) digital analytical balance. 


PROPOSED EXAMPLES: Radwag AS 520.X2.Plus Series or equivalent.


*PLEASE PROVIDE A DETAILED QUOTE* - Quotes should be fully itemised with a breakdown of all component parts so far as is possible. This should include the brand, model and list of included add-ons, accessories, adapters and/or spares if any, as well as the cost of delivery. Please specify any warranty if included.    


DELIVERY LOCATION: 		Agricultural Research Council – Plant Health and Protection
	KwaMhlanga/Moloto Road (R573)
	Roodeplaat West, Pretoria, 0039
	25°36’55.4”S 28°21’51.9”E

ENQUIRIES:		Anthony King
Mobile: 082 480 5016 
E-mail: KingA@arc.agric.za 
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