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[bookmark: Summary]Tender Number: 2021/079

Tender Title: MKONDENI WORKSHOP POWER SUPPLY SYSTEM

[bookmark: Tender_Notice]T1.1	TENDER NOTICE AND INVITATION TO TENDER 
 
Umgeni Water is a state owned business enterprise and it operates within the South African legislative parameters of the Water Services Act 108 of 1997, Public Finance Management Act 1 of 1999 and Public Audit Act 25 of 2004.  

Competent and experienced service providers are invited to tender for the following: 

Mkondeni Workshop Power Supply System  

In addition to the Eligibility Criteria specified in Clause F2.1 of the tender document, tenderers are required to fulfil the following:


Tenderers are required to achieve at least 35% Contract Participation Goals (CPG) including a minimum 10% Black  Women participation and another 10% for  Local participation of the value of goods, services and works paid to one or more targeted enterprises to comply with Umgeni Water’s BBBEE policy initiative.

CIDB grading of 4 EB/EP or higher is required

	Industry/sector/sub-sector           
	Minimum threshold for local content

	Electrical and telecom cables
	90%

	Transformers and Shunt Reactors      
	90%



Evaluation method: 

The tender will firstly be evaluated on eligibility. If found to be eligible, it will be further evaluated in two stages i.e.
· Functionality shall be assessed.  A minimum functionality score of 70 points is required for the tender to be considered further.  
· Price & Preference using the 80/20 Preference Point Scoring System in terms of PPPFA 

Instructions for accessing and for the submission of tender documents: 

Tender Submission 
The physical address for and the submission of Tenders is:

Umgeni Water, 310 Burger Street, Pietermaritzburg.

How to Access Tender documents  

Tender documents are available from the Supply Chain Management Office. Documents will be issued by email, upon request and submission of proof of payment to spha.mthembu@umgeni.co.za.   Documents will only be issued in electronic format, during working hours from 09h00 to15h00 from   07 June 2021   to 18 June 2021 


A non-refundable tender fee of R 200    payable by Electronic Fund Transfer is required before collecting the Tender Document. Proof of EFT payment is to be provided on collection. The said transfers may be made to:

BANK NAME;		NEDBANK LIMITED
ACCOUNT NAME:	UMGENI WATER BOARD – MAIN ACCOUNT
ACCOUNT NUMBER:	1196366594
REFERENCE:		 2021/079 and Company Name.
 
NOTE: 	1 TENDER DOCUMENTS SHALL NOT BE ISSUED IF INCORRECTLY REFERENCED.
2 TENDERER TO FORWARD NOTIFICATION OF PAYMENT BY E-MAIL TO Spha Mthembu AT spha.mthembu@umgeni.co.za

NOTE: NO CASH PAYMENT WILL BE ACCEPTED WHEN ISSUING TENDER DOCUMENTS

Queries relating to the issue of these documents shall be addressed to: Mr Sphamandla Mthembu, Tel No.:033 341 1325, e-mail: spha.mthembu@umgeni.co.za. 

A non-compulsory clarification meeting with representatives of Umgeni Water shall take place at Umgeni Water, Mkondeni Regional Offices, 7 Portland Road, Pietermaritzburg on 22 June 2021 starting at 10h00.

Prospective tenderers will be issued with a detailed PowerPoint presentation with an overview regarding the tendering procedures and scope of work.

Only Tenderers who have collected the Tender documents may attend this non-compulsory meeting.

No tender documents will be issued at the clarification meeting.  

The closing time for submission of tenders is 12h00 on 15 July 2021.

Tenders are to be deposited in the tender box located outside the main entrance at Umgeni Water, 310 Burger Street, Pietermaritzburg.

Persons aggrieved by decisions or actions taken by Umgeni Water, may lodge an appeal within 7 days of the date of the intention to award advertisement appearing in the relevant print media. 

The appeal (clearly stating reasons for appeal) and queries with regard to the decision of award are to be directed, in writing only to the Supply Chain Management Office, 
Attention:  Supply Chain Management 
Email: appeals@umgeni.co.za  

Note that appeals not addressed to the abovementioned email will not be considered.

Umgeni Water’s standard conditions of tender are available on Umgeni Water’s website https://www.umgeni.co.za/pdf/cm009_standard_conditions_of_tender.pdf
	
For any other tender adverts, please visit this website.

Umgeni Water Reserves the Right to Award the Contract In Whole or In Part  
[bookmark: Tender_Data] 
T1.2	TENDER DATA (INCLUDING SPECIAL CONDITIONS OF TENDER)

The conditions of tender are the Umgeni Water Standard Conditions of Tender (document number: SCM009, a copy of which may be obtained from Umgeni Water Supply Chain Management office or can be downloaded from the following web site:
https://www.umgeni.co.za/pdf/cm009_standard_conditions_of_tender.pdf

For purposes of this Contract the following Special Condition of Tender shall apply:

F.3.8 Test for responsiveness
Sub-Clause F.3.8.1 Add the following new sub-clause:
“d) Meets the minimum Functionality requirement stated in the Tender Data.”

F3.11.5 Method 4: Financial offer, quality and preferences
Delete this Clause in its entirety and substitute with:

	“F.3.11.5 Functionality 
	Each member of the Employer’s tender evaluation committee is to independently score each 	tender in respect of functionality offered in accordance with the provisions of F.3.11.9. The 	committee is then to calculate the final score for each tender as the average of the score from 	each committee member, rejecting all tender offers that fail to score the minimum number of 	points stated in the tender data, if any.”

Clause F.3.11.9 Scoring Quality
Substitute the word ‘quality’ wherever it appears with the word ‘functionality’.

The Standard Conditions of Tender make several references to the Tender Data for details that apply specifically to this tender.  The Tender Data shall have precedence in the interpretation of any ambiguity or inconsistency between it and the Standard Conditions of Tender. 

Each item of data given below is cross-referenced to the clause in the Standard Conditions of Tender to which it mainly applies.

	Clause number
	Tender Data

	
	F.1.1 Actions

	F.1.1
	The Employer is Umgeni Water

	
	F.1.2 Tender Documents

	F.1.2
	The Tender Documents issued by the Employer comprise the following documents:

VOLUME 1 – Tendering Procedures and Returnable Documents 
Part T1:  Tendering procedures
Part T2:  Returnable documents

VOLUME 2 – Offer, Contract, Price, Scope of Work and Site Information
Part C1:  Agreements and Contract data 
Part C2:  Pricing data
Part C3:  Scope of work
Part C4: Site information
Part C5:	Annexures 
   C5.1	Umgeni Water Insurance Summary and Claims Procedure
   C5.2	Drawings
   C5.3	Umgeni Water Particular Specification for OHSA 1993 Health and Safety
	C5.4	Asset Numbering Standard
	C5.5	O-M Manual Version 2
	C5.6	Part Spec Construction Health – Safety
	C5.7	Particular Spec for Instrumentation
	C5.8	Quality Assurance Procedure
	C5.9	Standard Spec for Mechanical Works
	C5.10	Technical Spec for Electrical Installations

	
	F.1.4 Communication and Employer’s agent  

	F.1.4
	The Employer’s agent is : Sphamandla Mthembu

Tender Queries


	
	Name:
Address:
Tel:   
E-mail:
	 Sphamandla Mthembu
 310 Burger Street, Pietermaritzburg 
 033 341 1325
    spha.mthembu@umgeni.co.za

	
	F.1.5 The Purchaser’s right to accept or reject any tender offer

	F.1.5.2
	The minimum period will be 3 months

	
	F.2.1 Eligibility

	F.2.1
	Umgeni Water will only consider submissions from tenderers who satisfy the following criteria:
a) the Tenderer or any of its directors/shareholders is not listed on the Register of Tender Defaulters in terms of the Prevention and Combating of Corrupt Activities Act of 2004 as a person prohibited from doing business with the public sector; 
b) the Tenderer has not:
i) abused the Employer’s Supply Chain Management System; or
ii) failed to perform on any previous contract and has been given a written notice    to this effect;
c) the Tenderer has completed and signed the Declaration of Interest and there are no conflicts of interest which may impact on the Tenderer’s ability to perform the contract in the best interests of the Purchaser or potentially compromise the tender process and persons in the employ of the state are permitted to submit tenders or participate in the contract;
d) the Tenderer has completed and signed the Declaration of Independent Tender Determination and has arrived at the accompanying tender independently from, and without consultation, communication, agreement or arrangement with any competitor. 
e) Tenderers are required to achieve at least 35% Contract Participation Goals (CPG) including a minimum 10% Black  Women participation and another 10% for  Local participation of the value of goods, services and works paid to one or more targeted enterprises to comply with Umgeni Water’s BBBEE policy initiative.
f) A CIDB grading of 4 EB/EP or higher is required

	
	F.2.7 Clarification meeting

	
 F.2.7
	There shall be a non-compulsory clarification meeting.  The details for which are stated in the Tender Notice and Invitation to Tender.

	
	F.2.12 Alternative tender offers

	F.2.12
	No alternative tender offers shall be considered.

	F.2.12

	Criteria for Alternative Tender Offers

No alternative Tender offers will be considered.

	
	F.2.13 Submitting a tender offer

	F.2.13.3
	Parts of each tender offer communicated on paper shall be submitted as an original.

	F.2.13.5 and F.2.13.7

	The Employer’s details and address for delivery of tender offers are stated in T1.1 Tender Notice and Invitation to Tender. 

Identification details
The identification details which must be stated in the tender offer outer package are:  
Tender Number
Title of Tender
Closing Date
Closing Time
Tenderer’s Name
Tenderer’s Address

Tenders issued in more than one volume shall be returned in the same manner and bound separately as per the tender volumes issued.  
The tender box is available to the public 24 hours per day and 7 days per week.  It is the Tenderers sole responsibility to ensure that tenders are placed in the tender box and only Tenders that have been placed in the tender box before the stipulated closing date and time shall be considered.  

	F.2.13.6
	A two-envelope system is not applicable  

	
	F.2.15 Closing time

	F.2.15
	The closing time for submission of tender offers is as stated in T.1.1 Tender Notice and Invitation to Tender.

	
	F.2.16 Tender offer validity

	F.2.16.1
	The tender offer validity period is 120 days from the closing date.

	
	F.2.19 Inspections, tests and analysis

	F.2.19
	Access shall be provided for the following inspections, tests and analysis:
Factory Acceptance Testing (FAT)at the supplier’s facility
Site Acceptance Testing (SAT)
Testing of the miniature substation and standby Generator 

	
	F.2.20 Submit securities, bonds, policies, etc.

	F.2.20
	The Tenderer is required to submit with his Tender a letter of intent from an approved Financial Services Provider registered with the Financial Services Board to provide the Insurances to the format included in Part T2.2 of this procurement document.

	
	F.2.23 Certificates

	F.2.23
	The Tenderer is required to submit with his tender:
1) A Tax Compliance Status (TCS) letter (with pin) issued by the South African Revenue Services.
2)  A valid affidavit or a certified copy B-BBEE Status Level Certificate or sufficient evidence to confirm status as a qualifying EME  
3) Central Supplier Database (CSD) Report   
4)  Proof of good standing in terms of the COID Act
5) Certificate of Independent Bid Determination
6) Company Registration Certificate
CIDB registration certificate 



	
	F.3.4 Opening of tender submissions

	F.3.4
	Tenders shall be opened immediately after the closing time for tenders as stipulated in T1.1 Tender Notice and Invitation to Tender. 

	
	F3.8 Test for responsiveness

	F.3.8
	The minimum qualifying Functionality Evaluation Score shall be 70 (Seventy points

	
	F.3.11 Evaluation of tender offers

	F.3.11.3
F.3.11.7
F.3.11.8
	The procedure for the evaluation of responsive tenders is Method 2 (Financial Offer and Preference) in accordance with F.3.11.3 using formula 2 in F.3.11.7

	F.3.11.9

	The table below lists the returnable schedules that set out the scoring criteria and sub-criteria, and the percentage weighting for the score achieved against the relevant schedule:

Returnable Schedule	Weighting %
		
T2.2.09	Tenderer’s Experience	30
T2.2.11	Experience of Key Personnel	20
T2.2.14	Quality Assurance and Environmental Management	10
T2.2.15	Method Statement	30
T2.2.16	Preliminary Programme	10

Failure to score a single point in any of the criteria listed above will deem the bid to be non-responsive and the bidder will be disqualified.
	
The score allocated by each Bid Evaluation Committee member for a tender shall be the sum, of the scores relevant to each of the above listed returnable schedules multiplied by the percentage weighting for each as shown above.

	
	F.3.17 Provide copies of the contracts

	F.3.17
	The number of paper copies of the signed contract to be provided by the Employer is one.

	
	F3.18 Provide written reasons for actions taken

	F3.18
	Refer to Section 39 of the Supply Chain Management Policy. 
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[bookmark: List_of_Returnable_Documents]T2.1   LIST OF ALL RETURNABLE DOCUMENTS AND SCHEDULES

The Tenderer shall complete and submit the following returnable schedules and documents: 


	


	Tenderer’s Check List
	Page
No.

	T2.2.1	Authority for Signatory
	
	T2.3

	T2.2.2	Declaration of Interest
	
	T2.10

	T2.2.3	Declaration of Tenderer’s Past Supply Chain Management Practices`
	
	T2.13

	T2.2.4	Tax Compliance Status Letter Requirements
	
	T2.16

	T2.2.5	Proof of Attendance at the Compulsory Clarification/Site Meeting
	
	T2.17

	T2.2.6	Certificate of Independent Bid Determination
	
	T2.18

	T2.2.7     Contract Participation Goals (CPG)
	
	T2.21

	T2.2.8     Local Production and Content Declaration Certificate (SBD 6.2)
	
	T2.24  

	T2.2.9 	Tenderer’s Experience
	
	T2.30

	T2.2.10 	Key Personnel Assigned to the Work
	
	T2.32

	T2.2.11 	Experience of Key Personnel
	
	T2.33

	T2.2.12 	Proposed Organization and Staffing
	N/A
	T2.36

	T2.2.13 	Tenderer’s Schedule of Plant and Equipment
	N/A
	T2.38

	T2.2.14 	Quality Assurance and Environmental Management
	
	T2.40

	T2.2.15 	Method Statement
	
	T2.42

	T2.2.16 	Preliminary Programme
	
	T2.44

	T2.2.17	Registration Certificate / Agreement / ID Document
	
	T2.46

	T2.2.18	Amendments, Qualifications and Alternatives
	
	T2.47

	T2.2.19	Record of Addenda to Tender Documents
	
	T2.49

	T2.2.20	VAT Registration Certificate
	
	T2.50

	T2.2.21	Schedule of Proposed Sub-Supplier
	
	T2.51

	T2.2.22	Preference Points claim form in terms of the PPPFA Regulations  2017, substantiated by the B-BBEE Verified Status Level Verification Certificate
	
	T2.52

	T2.2.23	Proof of Purchase of Tender Document
	
	T2.59

	T2.2.24	Goods and Services Sourced Internationally
	
	T2.60

	T2.2.25	Letter of Good Standing in terms of COID Act
	
	T2.62

	T2.2.26 	Tenderer’s Financial Standing
	
	T2.63

	T2.2.27 	Suppliers Health and Safety Declaration
	
	T2.64

	T2.2.28  	Pro forma OHS Notification
	
	T2.65

	T2.2.29	Letter of Intent for Public Liability
	
	T2.66

	T2.2.30 	Letter of Intent for Performance Guarantee
	
	T2.67

	T2.2.31  Registration Certificates
	
	T2.68

	T2.2.32 Central Supplier Database (CSD) Report
	
	T2.69



[bookmark: Returnable_Documents]
T2.2.1	AUTHORITY FOR SIGNATORY

Fill in the relevant portion applicable to the type of organization

A. COMPANIES

If a Tenderer is a company, a certified copy of the resolution by the board of directors, personally signed by the chairperson of the board, authorizing the person who signs this Tender to do so, as well as to sign any contract resulting from this Tender and any other documents and correspondence in connection with this Tender and/or contract on behalf of the company must be submitted with this Tender, that is before the closing time and date of the Tender

AUTHORITY BY BOARD OF DIRECTORS

By resolution passed by the Board of Directors on 		20	

Mr/Mrs 	  (whose signature appears below) has been duly authorized to sign all documents in connection with this Tender on behalf of 

(Name of Company) 	

IN HIS/HER CAPACITY AS: 	


SIGNED ON BEHALF OF COMPANY: 	
(PRINT NAME)


SIGNATURE OF SIGNATORY:  		DATE: 	


WITNESSES:  	



B. SOLE PROPRIETOR (ONE - PERSON BUSINESS)

I, the undersigned 	

hereby confirm that I am the sole owner of the business trading as


	


			
SIGNATURE		DATE



C.	PARTNERSHIP

The following particulars in respect of every partner must be furnished and signed by every partner:

Full name of Partner		Residential Address		Signature

					

					

					

					

We, the partners in the business trading as 	
 
hereby authorize 	
to sign this Tender as well as any contract resulting from the Tender and any other documents and correspondence in connection with this Tender and /or contract on behalf of


					
Signature		Signature		Signature


					
Date		Date		Date

D.	CLOSE CORPORATION

In the case of a close corporation submitting a Tender, a certified copy of the Founding Statement of such corporation shall be included with the Tender, together with the resolution by its members authorizing a member or other official of the corporation to sign the documents on their behalf.

By resolution of members at a meeting on 	 20	

at 	

Mr/Ms ..................................................................................., whose signature appears below, has been authorized to sign all documents in connection with this Tender on behalf of (Name of Close Corporation)

	

	

SIGNED ON BEHALF OF CLOSE CORPORATION:

(PRINT NAME) 	

IN HIS/HER CAPACITY AS 	   DATE: 	



SIGNATURE OF SIGNATORY:  		



WITNESSES:	1.		


	2.		


E.	CO-OPERATIVE

A certified copy of the Constitution of the co-operative must be included with the Tender, together with the resolution by its members authoring a member or other official of the co-operative to sign the Tender documents on their behalf.

By resolution of members at a meeting on 	 20	

at 	

Mr/Ms ..................................................................................., whose signature appears below, has been authorized to sign all documents in connection with this Tender on behalf of (Name of Co-Operative)

	

SIGNATURE OF AUTHORIZED REPRESENTATIVE/SIGNATORY:

(PRINT NAME) 	

IN HIS/HER CAPACITY AS 	   

DATE: 	


SIGNED ON BEHALF OF CO-OPERATIVE:  	

NAME IN BLOCK LETTERS:  	


WITNESSES:	1.		


	2.		

F.	JOINT VENTURES

If a tenderer is a joint venture, a certified copy of the resolution/agreement passed/reached signed by the duly authorised representatives of the enterprises, authorising the representatives who sign this tender to do so, as well as to sign any contract resulting from this tender and any other documents and correspondence in connection with the tender and/or contract on behalf of the joint venture must be submitted with this tender, before the closing time and date of the tender.
	
Authority to sign on behalf of the Joint Venture:

By resolution/agreement passed/reached by the joint venture partners on 	 20	

Mr/Mrs 	, Mr/Mrs 	

Mr/Mrs 	and Mr/Mrs 	
(whose signatures appear below) have been duly authorised to sign all documents in connection with this tender on behalf of:

(Name of Joint Venture)  	

In his/her capacity as: 	

Signed on behalf of (COMPANY NAME): 	
(PRINT NAME)

Signature 	   Date: 	

In his/her capacity as: 	

Signed on behalf of (COMPANY NAME): 	
(PRINT NAME)

Signature 	   Date: 	

In his/her capacity as: 	

Signed on behalf of (COMPANY NAME): 	
(PRINT NAME)

Signature 	   Date: 	

In his/her capacity as: 	

Signed on behalf of (COMPANY NAME): 	
(PRINT NAME)

Signature 	   Date: 	


G.	CONSORTIUM

If a tenderer is a consortium, a certified copy of the resolution/agreement passed/reached signed by the duly authorised representatives of the enterprises, authorising the representatives who sigh this tender to do so, as well as to sign any contract resulting from this tender and any other documents and correspondence in connection with the tender and/or contract on behalf of the consortium must be submitted with this tender, before the closing time and date of the tender.

Authority to sign on behalf of the consortium:

By resolution/agreement passed/reached by the consortium partners on 	20	

Mr/Mrs 	, 
(whose signature appear below) have been duly authorised to sign all documents in connection with this tender on behalf of:

(Name of Consortium) 	

In his/her capacity as: 	



Signature 	   Date: 	

T2.2.2	DECLARATION OF INTEREST

1.	Any legal person, including persons employed by the state¹, or persons having a kinship with persons employed by the state, including a blood relationship, may make an offer or offers in terms of this invitation to bid (includes a price quotation, advertised competitive bid, limited bid or proposal).  In view of possible allegations of favouritism, should the resulting bid, or part thereof, be awarded to persons employed by the state, or to persons connected with or related to them, it is required that the bidder or his/her authorised representative declare his/her position in relation to the evaluating/adjudicating authority where- 

· the bidder is employed by the state; and/or
 
· the legal person on whose behalf the bidding document is signed, has a relationship with persons/a person who are/is involved in the evaluation and or adjudication of the bid(s), or where it is known that such a relationship exists between the person or persons for or on whose behalf the declarant acts and persons who are involved with the evaluation and or adjudication of the bid. 

2.	In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

2.1 Full Name of bidder or his or her representative: 	

2.2 Identity Number: 	

2.3 Position occupied in the Company (director, trustee, shareholder²): 	

2.4 Company Registration Number: 	

2.5 Tax Reference Number: 	

2.6 VAT Registration Number: 	

2.6.1	The names of all directors / trustees / shareholders / members, their individual identity numbers, tax reference numbers and, if applicable, employee / persal numbers must be indicated in paragraph 3 below.
¹“State” means –
(a) any national or provincial department, national or provincial public entity or constitutional institution within the meaning of the Public Finance Management Act, 1999 (Act No. 1 of 1999);
(b) any municipality or municipal entity;
(c) provincial legislature;
(d) national Assembly or the national Council of provinces; or
(e) Parliament.
	
²”Shareholder” means a person who owns shares in the company and is actively involved in the management of the enterprise or business and exercises control over the enterprise.	

2.7 Are you or any person connected with the bidder	YES / NO
presently employed by the state?

2.7.1 If so, furnish the following particulars:
Name of person / director / trustee / shareholder/ member: 	
Name of state institution at which you or the person connected to the bidder is 
employed: 	
Position occupied in the state institution: 	

Any other particulars:
	
	
	

2.7.2 If you are presently employed by the state, did you obtain	YES / NO
the appropriate authority to undertake remunerative 
work outside employment in the public sector?

2.7.2.1 If yes, did you attached proof of such authority to the bid	YES / NO
document?

(Note: Failure to submit proof of such authority, where
applicable, may result in the disqualification of the bid.

2.7.2.2 If no, furnish reasons for non-submission of such proof:
	
	
	

2.8 Did you or your spouse, or any of the company’s directors / 	YES / NO	
trustees / shareholders / members or their spouses conduct 
business with the state in the previous twelve months? 

2.8.1 If so, furnish particulars:
	
	
	

2.9 Do you, or any person connected with the bidder, have	YES / NO
	any relationship (family, friend, other) with a person 
	employed by the state and who may be involved with 
	the evaluation and or adjudication of this bid? 

2.9.1 If so, furnish particulars.
	
	
	

2.10 Are you, or any person connected with the bidder,	YES / NO
	aware of any relationship (family, friend, other) between 
any other bidder and any person employed by the state
who may be involved with the evaluation and or adjudication
of this bid? 
	
2.10.1 If so, furnish particulars.
	
	
	

2.11 Do you or any of the directors / trustees / shareholders / members 	YES / NO	
of the company have any interest in any other related companies 
whether or not they are bidding for this contract? 

2.11.1 If so, furnish particulars:
	
	
	
3 
Full details of directors / trustees / members / shareholders

	Full Name
	Identity Number
	Personal Tax Reference Number
	State Employee Number / Persal Number 

	
	
	
	


	
	
	
	


	
	
	
	


	
	
	
	


	
	
	
	


	
	
	
	


	
	
	
	


	
	
	
	


	
	
	
	




4 DECLARATION

I, THE UNDERSIGNED (NAME) 	

CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 2 and 3 ABOVE IS CORRECT. 
I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 23 OF THE GENERAL CONDITIONS OF CONTRACT SHOULD THIS DECLARATION PROVE TO BE FALSE.  




				
	Signature	Date

				
	Position	Name of bidder

T2.2.3 	DECLARATION OF TENDERER’S PAST SUPPLY CHAIN MANAGEMENT PRACTICES 
(To be completed by Tenderer)

1 This Section must form part of all Tenders invited.  

2 It serves as a declaration to be used by Umgeni Water in ensuring that when goods and services are being procured, all reasonable steps are taken to combat the abuse of the supply chain management system. 

3 The Tender of any Tenderer may be disregarded if such Tenderer, or any of its directors have-

a. abused Umgeni Water ’s supply chain management system;
b. committed fraud or any other improper conduct in relation to such system; or
c. failed to perform on any previous contract.

4 In order to give effect to the above, the following questionnaire must be completed and submitted with the Tender.

	Item
	Question
	Yes
	No

	4.1
	Is the Tenderer or any of its directors listed on the National Treasury/Umgeni Water’s database as companies or persons prohibited from doing business with the public sector?
	Yes
|_|

	No
|_|


	4.1.1
	If so, furnish particulars 	
	
	

	4.2
	Is the Tenderer or any of its directors listed on the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004)?
	Yes
|_|
	No
|_|

	4.2.1
	If so, furnish particulars 	
	
	

	4.3
	Was the Tenderer or any of its directors convicted by a court of law (including a court outside of the Republic of South Africa) for fraud or corruption during the past five years?
	Yes
|_|
	No
|_|

	4.3.1
	If so, furnish particulars 	
	
	

	4.4
	Was any contract between the Tenderer and any organ of state terminated during the past five years on account of failure to perform on or comply with the contract?
	Yes
|_|
	No
|_|

	4.4.1
	If so, furnish particulars 	
	
	




CERTIFICATION

I, THE UNDERSIGNED

(FULL NAME) 	

CERTIFY THAT THE INFORMATION FURNISHED ON THIS DECLARATION FORM IS TRUE AND CORRECT.  I ACCEPT THAT, IN ADDITION TO CANCELLATION OF A CONTRACT, ACTION MAY BE TAKEN AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE. 

			
Signature	Date

	
Position

	
Name of Tenderer



T2.2.4	TAX COMPLIANCE STATUS LETTER REQUIREMENTS 

It is a condition of a Tender that the taxes of the successful Tenderer must be in order, or that satisfactory arrangements have been made with South African Revenue Service (SARS) to meet the Tenderer’s tax obligations.

· Bidders must ensure compliance with their tax obligations. 
· Bidders are required to submit their unique personal identification number (pin) issued by SARS to enable the organ of state to verify the taxpayer’s profile and tax status.
· Application for Tax Compliance Status (TCS) pin may be made via e-filing through the SARS website www.sars.gov.za.
· Bidders may also submit a printed TCS certificate together with the bid. 
· In bids where consortia / joint ventures / sub-contractors are involved, each party must submit a separate   TCS certificate / pin / CSD number.
· Where no TCS is available but the bidder is registered on the Central Supplier Database (CSD), a CSD number must be provided. 
· No bids will be considered from persons in the service of the state, companies with directors who are persons in the service of the state, or close corporations with members in the service of the state.

T2.2.4	TAX COMPLIANCE STATUS LETTER REQUIREMENTS (Continued………..)

[Tax Compliance Status (TCS) Letter obtained from SARS to be inserted here]


T2.2.5	PROOF OF ATTENDANCE AT THE NON-COMPULSORY CLARIFICATION / SITE MEETING

CERTIFICATE OF ATTENDANCE 

TENDER No.   2021/079  

This is to certify that 
(Tenderer) 	
of (address) 	
	
	 
was represented by the person(s) named below at the compulsory meeting held for all Tenderers at (location)	
	on (date) 	 
starting at (time)	
I / We acknowledge that the purpose of the meeting was to acquaint myself / ourselves with the site of the works and / or matters incidental to doing the work specified in the Tender documents in order for me / us to take account of everything necessary when compiling our rates and prices included in the Tender.

Particulars of person(s) attending the meeting:

Name: 		Signature: 	

Capacity: 	


Name: 		Signature: 	

Capacity: 	


Attendance of the above person(s) at the meeting is confirmed by the Purchaser's representative, namely:

Name: 		Signature: 	

Capacity: 		Date and Time: 	




T2.2.6	CERTIFICATE OF INDEPENDENT TENDER DETERMINATION 

1 This section must form part of all tenders¹ invited.

2 	Section 4 (1) (b) (iii) of the Competition Act No. 89 of 1998, as amended, prohibits an agreement between, or concerted practice by, firms, or a decision by an association of firms, if it is between parties in a horizontal relationship and if it involves collusive tendering (or tender rigging).² Collusive tendering is a pe se prohibition meaning that it cannot be justified under any grounds.

3 Treasury Regulation 16A9 prescribes that accounting officers and accounting authorities must take all reasonable steps to prevent abuse of the supply chain management system and authorizes accounting officers and accounting authorities to:

a. disregard the tender of any tenderer if that tenderer, or any of its directors have abused the institution’s supply chain management system and or committed fraud or any other improper conduct in relation to such system.
b. cancel a contract awarded to a supplier of goods and services if the supplier committed any corrupt or fraudulent act during the tendering process or the execution of that contract.

4 This SBD serves as a certificate of declaration that would be used by institutions to ensure that, when tenders are considered, reasonable steps are taken to prevent any form of tender-rigging.

5 In order to give effect to the above, the attached Certificate of Tender Determination (SBD 9) must be completed and submitted with the tender:



¹ Includes price quotations, advertised competitive tenders, limited tenders and proposals.

2 Tender rigging (or collusive tendering) occurs when businesses, that would otherwise be expected to compete, secretly conspire to raise prices or lower the quality of goods and / or services for purchasers who wish to acquire goods and / or services through a tendering process. Tender rigging is, therefore, an agreement between competitors not to compete.


T2.2.6 CERTIFICATE OF INDEPENDENT TENDER DETERMINATION (continued)

I, the undersigned, in submitting the accompanying tender:

	
(Tender Number and Description)

in response to the invitation for the tender made by:

	
 (Name of Institution)


do hereby make the following statements that I certify to be true and complete in every respect:

I certify, on behalf of:  	 that:
(Name of Tenderer)

1. I have read and I understand the contents of this Certificate;
2. I understand that the accompanying tender will be disqualified if this Certificate is found not to be true and complete in every respect;
3. I am authorized by the tenderer to sign this Certificate, and to submit the accompanying tender, on behalf of the tenderer;
4. Each person whose signature appears on the accompanying tender has been authorized by the tenderer to determine the terms of, and to sign the tender, on behalf of the tenderer;
5. For the purposes of this Certificate and the accompanying tender, I understand that the word “competitor” shall include any individual or organization, other than the tenderer, whether or not affiliated with the tenderer, who:
(a) has been requested to submit a tender in response to this tender invitation;
(b) could potentially submit a tender in response to this tender invitation, based on their qualifications, abilities or experience; and
(c) provides the same goods and services as the tenderer and/or is in the same line of business as the tenderer
6. The tenderer has arrived at the accompanying tender independently from, and without consultation, communication, agreement or arrangement with any competitor. However communication between partners in a joint venture or consortium3 will not be construed as collusive tendering.
7. In particular, without limiting the generality of paragraphs 6 above, there has been no consultation, communication, agreement or arrangement with any competitor regarding:
(a) prices;
(b) geographical area where product or service will be rendered (market allocation)
(c) methods, factors or formulas used to calculate prices;
(d) the intention or decision to submit or not to submit, a tender;
(e) the submission of a tender which does not meet the specifications and conditions of the tender; or
(f) tendering with the intention not to win the tender.
8. In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications and conditions or delivery particulars of the products or services to which this tender invitation relates.
9. The terms of the accompanying tender have not been, and will not be, disclosed by the tenderer, directly or indirectly, to any competitor, prior to the date and time of the official tender opening or of the awarding of the contract.
10. I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to tenders and contracts, tenders that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

3 Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.



			
Signature	Date

			
Position	Name of Tenderer








T2.2.7  CONTRACT PARTICIPATION GOALS 
  
Objective
The objective of Umgeni Water’s empowerment initiative is to bring about meaningful transformation in all procurement projects and in particular in the built environment / construction and consulting industry through achieving one or more of the following objectives:
· Meaningful Economic Participation;
· Local Economic Development;
· Transfer of Technical, Management and Entrepreneurial Skills; and
· Creation of sustainable Black Enterprises
	
Contract Participation Goals
Contract Participation Goal (CPG) – the final value of services paid to the CPG Partner/s based on the final contract value. 

At the time of awarding the contract the 35% minimum CPG amount will be based on the contract award value exclusive of the following:
· VAT, CPA and Contingencies.

During contract implementation, adjustments relating to Provisional Sums and Contingencies linked to the CPG allocation will be agreed upon between the parties to the contract, as and when the need arises.  

CPG Partner/s – Service provider/s selected from Umgeni Water’s Supply Chain Management (SCM) Enterprise Development Database. However, should the database not contain suitable CPG Partner/s, the tenderer may propose suitable CPG Partner/s for Umgeni Water’s consideration.

Tenderers (the main supplier irrespective of BBBEE classification) who are on Umgeni Water’s SCM Enterprise Development Database are not exempt from this requirement and are still required to have a CPG Partner.

Tenderers are required to achieve at least 35% Contract Participation Goals (CPG) including a minimum 10% Black  Women participation and another 10% for  Local participation of the value of goods, services and Works paid to one or more enterprises (CPG Partner/s)

· 35% includes any special materials 
· 35% excludes VAT, CPA and Contingencies.
· The tenderer will be required to achieve the actual Rand value committed for CPG, adjusted according to the following:
· Variation Orders – Each VO will be evaluated by the Employer’s Agent and the Project Manager to determine whether it should be counted, in its entirety or partially, as part of CPG or not.
· Re-measureable Items (including CPA, and provisional sums) – Each re-measureable item change will be evaluated by the Employer’s Agent and the Project Manager to determine whether it should be counted as part of CPG or not.

Within 2 weeks of the award of contract, the tenderer will be required to submit a cash flow projection for the main contractor and the CPG Partner/s


Applicability
The CPG target is applicable to all contracts to be adjudicated through the Umgeni Water procurement process and shall be achieved through the following mechanisms:-
· CPG Partner/s selection is concluded after adjudication of tenders and before contract award is made.
· The CPG Partner/s shall be selected according to the following criteria:
· CPG Partner/s are to be obtained from Umgeni Water’s database of suppliers specifically earmarked for CPG purposes.
· In the event of services where Umgeni Water does not have an applicable service provider on its database, the tenderer may propose a suitable CPG Partner/s for consideration by Umgeni Water.
· Main service provider may propose a suitable CPG Partner/s, but Umgeni Water reserves the right to provide or arrange a CPG Partner/s to work with the successful company. 
· Sub-contracting of the CPG Partner/s at the same rate / price that the tenderer would have offered to Umgeni Water whilst making profit margins consistent to the profit margins that the main supplier would have made under normal trading processes.
· Value of the work to be sub contracted shall be at least 35% (minimum of 10% shall be due to Black  Women participation and another 10% for  Local participation) of the total contract value excluding VAT, CPA and Contingencies.
· CPA is payable to the CPG Partner/s as per the indices stipulated in the contract document. 
· The work allocated to the CPG Partner shall be performed by the CPG Partner directly and may not be allocated or sub-contracted out to other contractors/consultants/service providers.
· The main supplier shall not substitute any CPG Partner/s without the written approval of Umgeni Water.
· The working capital arrangements between the main supplier and the CPG Partner/s must be agreed upon between the two parties prior to commencement of works to ensure that the CPG Partner does not have cash flow challenges during contract implementation.

Invoicing and Payment
The monthly measurement and payment will be according to the following guideline:
· Submission of payment certificate by the Supplier– by 25th of each month, or the nearest previous working day. The submission from the supplier shall include the signature of the CPG Partner indicating agreement with the measurements and rates applicable to the work undertaken by the CPG Partner.
· Payment to the Supplier – on the last day of the following month;
· The CPG Partner must be paid within reasonable time but no later than 3 working days after the Main Supplier has been paid by Umgeni Water; and
· The submission from the Supplier must include a schedule that clearly shows the following:
· Total Contract Sum
· Total amount payable to CPG Partner/s excluding current month
· Amount payable to CPG Partner for current month
· % split of Total amount payable to Main supplier and CPG Partner/s

Monitoring and Reporting on CPG 
· Umgeni Water will monitor CPG implementation on site. This may include direct contact with CPG Partner/s on site for verification purposes.
· The CPG Partner shall be in agreement with the measurement and payment for work completed, for the purposes of submitting payment certificates, as determined by the supplier. Should disagreements arise, Umgeni Water reserves the right to intervene to resolve the disagreement.
· CPG Partner/s shall attend all contractual meetings relevant to their scope of work including contract award negotiations, monthly contract site meetings and technical meetings where applicable.

Eligibility Criteria
For tenders where the CPG target is applicable, those that do not offer a minimum CPG participation of 35% (including minimum 10% Black  Women participation and another 10% for  Local participation) according to the requirements mentioned above, will be deemed ineligible.





DECLARATION REGARDING CONTRACT PARTICIPATION GOALS

I, the undersigned, in submitting the accompanying bid:

________________________________________________________________________
                                                     (Bid Number and Description)
 
in response to the invitation for the bid made by:
UMGENI WATER

do hereby make the following declaration and certify the statements contained herein to be true and complete in every respect:

I certify, on behalf of:_______________________________________________________that:
(Name of Bidder)
1. I have read and I understand the contents of this Declaration and the fully completed bid document accompanying this declaration;
1. I understand and declare that the accompanying bid will, and must, be disqualified if this Declaration is found not to be true and complete in every respect;
1. I understand and declare that in the event that this bid is successful, I will be required to, and shall, fully implement the commitments that are submitted with this bid, in particular regarding the Bidder’s contract participation goals and commitments towards the allocation of certain portion of the contract to small and emerging entities.  Failure to implement such commitments as outlined in the bid document (in particular, as detailed in the bill of quantities) and or failure to provide the relevant information within the prescribed period as determined in the Letter of Intention to Award the Bid, shall automatically disqualify this bid from further consideration and the Employer has the right to, and must, then award the bid to the next highest ranked bidder; and as a result I or the bidder or any of its directors shall have no recourse against Umgeni Water.
1. I am authorized by the bidder to sign this Declaration, and to submit the accompanying bid, on behalf of the bidder;
1. Each person whose signature appears on the accompanying bid has been authorized by the bidder to determine the terms of, and to sign the bid, on behalf of the bidder;
1. I am aware that, and do consent to, the disqualification of my or the bidder’s future bids with Umgeni Water in the event that the commitments made herein are not fulfilled and that such non-fulfillment amounts to abuse of Umgeni Water’s supply chain policies and procedures and/or empowerment objectives which must be penalized, over and above the contractual sanctions as agreed to in line with the contract signed with Umgeni Water, with a sanction of restricting me and or my company (the bidder) and or any of its directors from conducting business with Umgeni Water for a period not exceeding ten (10) years.
1. I consent that should my company (the Bidder) deviate from the commitments and the spirit of the CPG objectives as agreed to, shall amount to a repudiation of the contractual arrangement between the two parties (Umgeni Water and the Bidder); and Umgeni Water shall have the right to terminate the contract with immediate effect and without giving my company (the Bidder) prior notice to remedy the breach.

________________________ 	      __________________	         _________________
Full Names & Surname  		      Signature			            Date
(Duly authorized)


________________________				_____________________________
Position 							Name of Bidder
 

T2.2.8	DECLARATION CERTIFICATE FOR LOCAL PRODUCTION AND CONTENT FOR DESIGNATED SECTORS 

This Standard Bidding Document (SBD) must form part of all bids invited. It contains general information and serves as a declaration form for local content (local production and local content are used interchangeably).

Before completing this declaration, bidders must study the General Conditions, Definitions, Directives applicable in respect of Local Content as prescribed in the Preferential Procurement Regulations, 2017,  the South African Bureau of Standards (SABS) approved technical specification number SATS 1286:2011 (Edition 1) and the Guidance on the Calculation of Local Content together with the Local Content Declaration Templates [Annex C (Local Content Declaration: Summary Schedule), D (Imported Content Declaration: Supporting Schedule to Annex C) and E (Local Content Declaration: Supporting Schedule to Annex C)].

1. General Conditions

1.1. Preferential Procurement Regulations, 2017 (Regulation 8) makes provision for the promotion of local production and content.

1.2. Regulation 8(2) prescribes that in the case of designated sectors, where in the award of bids local production and content is of critical importance, such bids must be advertised with the specific bidding condition that only locally produced goods, services or works or locally manufactured goods, with a stipulated minimum threshold for local production and content will be considered.

1.3. Where necessary, for bids referred to in paragraph 1.2 above, a two stage bidding process may be followed, where the first stage involves a minimum threshold for local production and content and the second stage price and B-BBEE.

1.4. A person awarded a contract in relation to a designated sector, may not sub-contract in such a manner that the local production and content of the overall value of the contract is reduced to below the stipulated minimum threshold.

1.5. The local content (LC) expressed as a percentage of the bid price must be calculated in accordance with the SABS approved technical specification number SATS 1286: 2011 as follows: 

	LC = [1 -[image: ] x / y] * 100

Where
	x 	is the imported content in Rand
	y	is the bid price in Rand excluding value added tax (VAT) 

Prices referred to in the determination of x must be converted to Rand (ZAR) by using the exchange rate published by South African Reserve Bank (SARB) at 12:00 on the date of advertisement of the bid as indicated in paragraph 4.1 below.

The SABS approved technical specification number SATS 1286:2011 is accessible on http://www.thedtic.gov.za/sectors-and-services-2/industrial-development/industrial-procurement/ at no cost.  at no cost.  




1.6 A bid may be disqualified if –

(a)  this Declaration Certificate and the Annex C (Local Content Declaration: Summary Schedule) are not submitted as part of the bid documentation; and

(b)  the bidder fails to declare that the Local Content Declaration Templates (Annex C, D and E) have been audited and certified as correct.

2. Definitions

2.1. “bid” includes written price quotations, advertised competitive bids or proposals;

2.2. “bid price” price offered by the bidder, excluding value added tax (VAT);

2.3. “contract” means the agreement that results from the acceptance of a bid by an organ of state;

2.4. “designated sector” means a sector, sub-sector or industry that has been designated by the Department of Trade and Industry in line with national development and industrial policies for local production, where only locally produced services, works or goods or locally manufactured goods meet the stipulated minimum threshold for local production and content;

2.5. “duly sign” means a Declaration Certificate for Local Content that has been signed by the Chief Financial Officer or other legally responsible person nominated in writing by the Chief Executive, or senior member / person with management responsibility(close corporation, partnership or individual).

2.6. “imported content” means that portion of the bid price represented by the cost of components, parts or materials which have been or are still to be imported (whether by the supplier or its subcontractors) and which costs are inclusive of the costs abroad (this includes labour or intellectual property costs), plus freight and other direct importation costs, such as landing costs, dock duties, import duty, sales duty or other similar tax or duty at the South African port of entry;

2.7. “local content” means that portion of the bid price which is not included in the imported content, provided that local manufacture does take place;

2.8. “stipulated minimum threshold” means that portion of local production and content as determined by the Department of Trade and Industry; and

2.9. “sub-contract” means the primary contractor’s assigning, leasing, making out work to, or employing another person to support such primary contractor in the execution of part of a project in terms of the contract.

3. The stipulated minimum threshold(s) for local production and content (refer to Annex A of SATS 1286:2011) for this bid is/are as follows:








4.	Does any portion of the services, works or goods offered
	have any imported content?						
	(Tick applicable box)

	YES
	
	NO
	



4.1	If yes, the rate(s) of exchange to be used in this bid to calculate the local content as prescribed in paragraph 1.5 of the general conditions must be the rate(s) published by SARB for the specific currency at 12:00 on the date of advertisement of the bid.

The relevant rates of exchange information is accessible on www.reservebank.co.za.

Indicate the rate(s) of exchange against the appropriate currency in the table below (refer to Annex A of SATS 1286:2011):

	Currency 
	Rates of exchange

	US Dollar
	

	Pound Sterling
	

	Euro
	

	Yen
	

	Other
	



NB: Bidders must submit proof of the SARB rate (s) of exchange used.

5.	Were the Local Content Declaration Templates (Annex C, D and E) audited and certified as correct?
	(Tick applicable box)

	YES
	
	NO
	



5.1. If yes, provide the following particulars:

(a) Full name of auditor:	………………………………………………………
(b) Practice number:	………………………………………………………………………..
(c) Telephone and cell number:	……………………………………………………………….
(d) Email address:	………………………………………………………………………..

(Documentary proof regarding the declaration will, when required, be submitted to the satisfaction of the Accounting Officer / Accounting Authority)


6.	Where, after the award of a bid, challenges are experienced in meeting the stipulated minimum threshold for local content the dti must be informed accordingly in order for the dti to verify and in consultation with the AO/AA provide directives in this regard.




LOCAL CONTENT DECLARATION
(REFER TO ANNEX B OF SATS 1286:2011)

	LOCAL CONTENT DECLARATION BY CHIEF FINANCIAL OFFICER OR OTHER LEGALLY RESPONSIBLE PERSON NOMINATED IN WRITING BY THE CHIEF EXECUTIVE OR SENIOR MEMBER/PERSON WITH MANAGEMENT RESPONSIBILITY (CLOSE CORPORATION, PARTNERSHIP OR INDIVIDUAL) 

IN RESPECT OF BID NO. .................................................................................

ISSUED BY: (Procurement Authority / Name of Institution): .........................................................................................................................
NB   

1     The obligation to complete, duly sign and submit this declaration cannot be transferred        to an external authorized representative, auditor or any other third party acting on behalf of the bidder.

2     Guidance on the Calculation of Local Content together with Local Content Declaration Templates (Annex C, D and E) is accessible on http://www.thedtic.gov.za/sectors-and-services-2/industrial-development/industrial-procurement/. Bidders should first complete Declaration D.  After completing Declaration D, bidders should complete Declaration E and then consolidate the information on Declaration C. Declaration C should be submitted with the bid documentation at the closing date and time of the bid in order to substantiate the declaration made in paragraph (c) below.  Declarations D and E should be kept by the bidders for verification purposes for a period of at least 5 years. The successful bidder is required to continuously update Declarations C, D and E with the actual values for the duration of the contract.

I, the undersigned, …………………………….................................................... (full names),
do hereby declare, in my capacity as ……………………………………… ………..
of ...............................................................................................................(name of bidder entity), the following:

(a)	The facts contained herein are within my own personal knowledge.

(b)	I have satisfied myself that:

(i)        the goods/services/works to be delivered in terms of the above-specified bid comply with the minimum local content requirements as specified in the bid, and as measured in terms of SATS 1286:2011; and
(ii)        the declaration templates have been audited and certified to be correct.

(c)	The local content percentage (%) indicated below has been calculated using the formula given in clause 3 of SATS 1286:2011, the rates of exchange indicated in paragraph 4.1 above and the information contained in Declaration D and E which has been consolidated in Declaration C:

Electrical and Telecom Cables
	Bid price, excluding VAT (y)    
	R

	Imported content (x), as calculated in terms of SATS 1286:2011
	R

	Stipulated minimum threshold  for local content (paragraph 3 above) 
	

	Local content %, as calculated in terms of SATS 1286:2011
	



	Bid price, excluding VAT (y)    
	R

	Imported content (x), as calculated in terms of SATS 1286:2011
	R

	Stipulated minimum threshold  for local content (paragraph 3 above) 
	

	Local content %, as calculated in terms of SATS 1286:2011
	


Transformers and Shunt Reactors      

If the bid is for more than one product, the local content percentages for each product contained in Declaration C shall be used instead of the table above.  
The local content percentages for each product has been calculated using the formula given in clause 3 of SATS 1286:2011, the rates of exchange indicated in paragraph 4.1 above and the information contained in Declaration D and E.

(d)	I accept that the Procurement Authority / Institution has the right to request that the local content be verified in terms of the requirements of SATS 1286:2011.

(e)	I understand that the awarding of the bid is dependent on the accuracy of the information furnished in this application. I also understand that the submission of incorrect data, or data 	that are not verifiable as described in SATS 1286:2011, may result in the Procurement Authority / Institution imposing any or all of the remedies as provided for in Regulation 13 of the Preferential Procurement Regulations, 2017 promulgated under the Preferential Policy Framework Act (PPPFA), 2000 (Act No. 5 of 2000).

	SIGNATURE:                                                  			DATE: ___________

	WITNESS No. 1                                              			DATE: ___________

	WITNESS No. 2                                              			DATE: ___________




In terms of the guideline document for calculating local content, Annexure C (attached) must be submitted with the tender. Please add it here.


T2.2.8	DECLARATION CERTIFICATE FOR LOCAL PRODUCTION AND CONTENT FOR DESIGNATED SECTORS (Continued……) 

[image: ]

T2.2.9	TENDERER’S EXPERIENCE 

The experience of the Tenderer or joint venture partners in the case of an unincorporated joint venture or consortium will be evaluated on the basis of experience in similar projects or similar areas and conditions in relation to the scope of work.

The evaluation will consider experience in relation to the management of programmes and projects and the provision of cost consulting services in relation to programmes of work as opposed to projects where bills of quantities have been used.

Tenderers should very briefly describe his or her experience in this regard relevant to the scope of work and attach this to this schedule. 

The description should be put in tabular form with the following headings:


	Description of work (service)
	Period / Year
	Value of work (i.e. the service provided) inclusive of VAT (Rand)
	Company (Where the Service was provided)
	Contact details

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	



Note to tenderer: only information relating to similar projects is to be provided in the above table.
Copies of completion certificates are to be attached to the last page of this returnable. Information in the table without the certificates attached will not be considered.



Scoring of the Tenderer’s experience will be as follows:         30              

	DESCRIPTION
	MAX POSSIBLE SCORE

	Company experience in services comprising supply and installation of miniature substation and standby generator (submit proof of previous experience).


                      
· 1 projects – 35 point 
· 2 projects – 50 points
· 3 projects – 70 points
· 5 additional point for every project  more than 3 projects to a maximum of 100 points


	
100











T2.2.9	TENDERER’S EXPERIENCE (Continued)


INSERT HERE


[bookmark: Key_Personnel_Assigned_to_the_Work]T2.2.10	KEY PERSONNEL ASSIGNED TO THE WORK

Insert in the table below the key personnel and their proposed function

KEY PERSONNEL SCHEDULE

	No.
	Proposed Function
	Key Person Name 

	1. 
	
Electrical Engineer/Technologists

	

	2. 
	
Electrical Supervisor/ Forman

	





[bookmark: Experience_of_Key_Personnel]T2.2.11	EXPERIENCE OF KEY PERSONNEL

Provide relevant information as prescribed below for the following Key Persons proposed in the tender to fulfil the following positions:

Key Person Positions
A. Electrical Engineer/Technologist
B. Electrical Supervisor or Foreman


The experience of each key person, relevant to the scope of work, will be evaluated from the following:

1) General experience (total duration of activity), level of education and training and positions held by the key person.

2) The education, training and experience of the person, in the specific sector, field, subject, etc which is directly linked to the scope of work. 

A CV of each key person of not more than 3 pages should be attached to this schedule. 

Each CV should be structured under the following headings:

1. Personal particulars
          - name
          - date and place of birth
          - place (s) of tertiary education and dates associated therewith
2. Qualifications
3. Name of current employer and position in enterprise
4. Overview last 10 years of experience (year, organization, position and projects)
5. Outline of recent assignments / experience that has a bearing on the scope of work
6. Contactable references 


The scoring of the experience of key staff will be as follows:        20          

	Experience of Electrical Engineer/ Technologist (BSc, BEng or BTech) in the installation of miniature substation, LV and MV transformers and standby generator.

· 1yr – 15 points
· 2yrs – 20 points
· 3yrs – 30 points
· 5 additional point  for every year more than 3 years to a maximum of 50 points

Experience of Electrical Supervisor/Foreman in the installation of electrical panel. Miniature substation, transformers and standby generators:

· 1yr – 15 points
· 2yrs – 20 points
· 3yrs – 30 points
· 5 additional points  for every year more than 3 years to a maximum of 50 points
	

100























T2.2.11	EXPERIENCE OF KEY PERSONNEL (Continued)

INSERT KEY PERSONNEL CVs HERE


T2.2.12 	PROPOSED ORGANIZATION AND STAFFING – NOT APPLICABLE

The Tenderer should propose the structure and composition of their team i.e. the main disciplines involved, the key staff member / expert responsible for each discipline, and the proposed technical and support staff and site staff.  The roles and responsibilities of each key staff member / expert should be set out as job descriptions.  In the case of an association / joint venture / consortium, it should, indicate how the duties and responsibilities are to be shared.

The Tenderer must attach his / her organization and staffing proposals to this page.

The scoring of the proposed organization and staffing will be as follows:         0     

	No submission (score 0)
	No Organizational and Staffing proposal submitted.

	Poor
(score 40)
	The organization chart is sketchy; the staffing plan is weak in important areas. 
There is no clarity in allocation of tasks and responsibilities.

	Satisfactory 
(score 70)
	The organizational chart is complete and detailed, the technical level and composition of the staffing arrangements are adequate.

	Good
(score 90)
	Besides meeting the “satisfactory” rating, staff are well balanced i.e. they show good co-ordination, complimentary skills, clear and defined duties and responsibilities. 
Some members of the project team have worked together before on limited occasions.

	Very good
(score 100)
	Besides meeting the “good” rating, the proposed team is well integrated and several members have worked together extensively in the past.




T2.2.12	PROPOSED ORGANIZATION AND STAFFING (Continued)


INSERT HERE






T2.2.13	TENDERER’S SCHEDULE OF PLANT AND EQUIPMENT  - NOT APPLICABLE        

The following are lists of major items of relevant equipment that I / we presently own or lease and will have available for this contract if my / our Tender is accepted. 

(a) Details of major equipment that is owned by me / us and immediately available for this contract. 

	DESCRIPTION (type, size, capacity etc)
	QUANTITY
	YEAR OF MANUFACTURE

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


Attach additional pages if more space is required

(b)	Details of major equipment that will be hired, or acquired for this contract if my / our Tender is accepted

	DESCRIPTION (type, size, capacity etc)
	QUANTITY
	HOW ACQUIRED

	
	
	HIRE/
BUY
	SOURCE

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Attach additional pages if more space is required

The Tenderer undertakes to bring onto site without additional cost to the Employer any additional plant not listed but which may be necessary to complete the contract within the specified contract period.

Failure to complete this form properly and correctly, will lead to the conclusion that the Tenderer does not have the necessary plant and equipment resources at its disposal, which will prejudice its Tender.


SIGNATURE: 		DATE: 	
(of person authorized to sign on behalf of the Tenderer)



T2.2.13	TENDERER’S SCHEDULE OF PLANT AND EQUIPMENT (Continued)

The scoring of the scheduled plant and equipment will be as follows:              

Note to the Compiler: This table is only an example to serve as guideline in developing an appropriate scoring table. The maximum possible score shall at all times remain 100. The various categories below shall be modified and the scores proportioned according to project requirements. Delete this note.
   


	 
	Unit
	 
	Very Good
	Good
	Satisfactory 
	Poor

	Tracked Excavator (20 Ton or more) 
	No. 
	 
	>3
	3
	2
	<2

	Points Allocated 
	 
	 
	25.0
	20
	10
	0.0

	*Tracked Side Boom Pipe Layer 
(45 ton or larger)
	No. 
	 
	>3
	3
	2
	<2

	Points Allocated 
	 
	 
	25.0
	20
	10
	0.0

	Tipper Trucks - total cub. meter capacity
	m3
	 
	>40
	40
	30
	<30

	Points Allocated 
	 
	 
	25.0
	20
	10
	0.0

	*Crane (5 ton or greater crane capacity) - for pipe loading / off-loading 
	No. 
	 
	>3
	3
	2
	<2

	Points Allocated 
	 
	 
	20.0
	16
	8
	0.0

	Self-powered Welding Machines  (400Amp or more)
	No. 
	 
	>4
	6
	3
	<3

	Points Allocated 
	 
	 
	25.0
	20
	10
	0.0

	Power Generators (400Amp or more)
	No. 
	 
	>2
	2
	1
	<1

	Points Allocated 
	 
	 
	10.0
	8
	4
	0.0

	Compactors - (Bomag 90 equivalent)
	No. 
	 
	>4
	4
	2
	<2

	Points Allocated 
	 
	 
	10.0
	8
	4
	0.0

	Compactors - Wackers
	No. 
	 
	>6
	6
	4
	<4

	Points Allocated 
	 
	 
	10.0
	8
	4
	0.0

	Compressor (500cfm or more)
	No. 
	 
	>2
	2
	1
	<1

	Points Allocated 
	 
	 
	10.0
	8
	4
	0.0

	Workshop for Fabricating, Coating and Lining of  Specials
	 
	 
	>1
	1
	<1
	-

	Points Allocated 
	 
	 
	10.0
	8
	4
	0.0

	Grader  (16.5t / 190kw or larger)
	No. 
	 
	>1
	1
	<1
	-

	Points Allocated 
	 
	 
	5.0
	4
	2
	0.0

	Dozer - D4 equivalent or larger
	No. 
	 
	>2
	2
	1
	<1

	Points Allocated 
	 
	 
	5.0
	4
	2
	0.0

	Water Carts 
	m3
	 
	>20
	20
	10
	<10

	Points Allocated 
	 
	 
	10.0
	8
	4
	0.0

	Pipe Transporting Trucks (7 Ton or more flat-bed)
	No. 
	 
	>4
	4
	2
	<2

	Points Allocated 
	 
	 
	10.0
	8
	4
	0.0

	* Side Boom and Cranes to have Spreader bars with Slings
	
	
	




T2.2.14	QUALITY ASSURANCE AND ENVIRONMENTAL MANAGEMENT 

1. Does the Tenderer have a quality management system which is certified in terms of ISO 9001: 2015 	YES	NO


2. If “yes”, Tenderer to supply brief summary of structure of system:
	
	
	
	
	
	
	
YES	NO
Date

3. If “no”, does the Tenderer intend to apply for certification? 	

By when?	

OR
YES	NO

4. If “no”, does the Tenderer have its own system?		

5. If “yes”, please supply details of the system	
	
	
	
	
	

6. Does the Tenderer have an environmental management system which is certified in terms of ISO 14001 	YES	NO


7. If “yes”, Tenderer to supply brief summary of structure of system:
	
	
	
	
	
	
YES	NO
Date

8. If “no”, does the Tenderer intend to apply for certification? 

By when?	

OR
YES	NO

9. If “no”, does the Tenderer have its own system?	

10. If “yes”, please supply details of the system 	
	
	
	
	

If the Tenderer does not intend to apply for certification it shall submit details of the quality / environmental management system presently in place.


[The Tenderer shall insert here a copy of the company’s quality assurance plan, control procedures and the relevant documentation supporting its commitment to environmental management.  In the event of these documents being too extensive to be included in the procurement document, an abbreviated version of the master document will be included, referring to the master document.]

Scoring of Quality Assurance and Environmental Management will be as follows:      10     


	QUALITY ASSURANCE AND ENVIRONMENTAL MANAGEMENT

	No submission
(score 0)
	No Quality Assurance Plan & support documents submitted

	Poor
(score 40)
	The approach to Quality and Environmental Management is poor / is unlikely to satisfy project objectives or requirements.  The Tenderer has misunderstood certain aspects of the scope of work and does not deal with the critical aspects of the project.

	Satisfactory 
(score 70)
	The approach is specifically tailored to address the specific project objectives and methodology and is sufficiently flexible to accommodate changes that may occur during execution.  The quality plan and approach to managing risk etc. is specifically tailored to the critical characteristics of the project.

	Good
(score 90)
	The approach is specifically tailored to address the specific project objectives and methodology and is sufficiently flexible to accommodate changes that may occur during execution.  The quality plan and approach to managing risk etc. is specifically tailored to the critical characteristics of the project. The Tenderer has environmental management system which is certified in terms of ISO 14 000.

	Very good
(score 100)
	Besides meeting the “good” rating, the important issues are approached in an innovative and efficient way, indicating that the Tenderer has outstanding knowledge of state-of-the- art approaches.
The approach paper details ways to improve the project outcomes and the quality of the outputs.




T2.2.15	METHOD STATEMENT   

The method statement must respond to the Scope of Work and outline the proposed approach / methodology.  The method statement should articulate what value the Tenderer will add by in achieving the stated objectives for the project.

The Tenderer must as such explain his / her understanding of the objectives of the assignment and the Purchaser’s stated and implied requirements, highlight the issues of importance, and explain the technical approach they would adopt to address them.  The approach paper should explain the methodologies which are to be adopted, demonstrate the compatibility of those methodologies with the proposed approach.  The approach should also include a quality plan which outlines processes, procedures and associated resources, applied by whom and when, to meet the requirements and indicate how risks will be managed and what contribution can be made regarding value management.

The method statement shall cover but not limited to the following:
· How the installation is going to be done as the workshop will be operating during the project? E.g. the generator must be installed first so that it can be used to supply power when installing the miniature substation. 
· Safe installation without interfering the power supply in the workshop.
· Offsite work to be done prior to the installation of equipment.
· How the workshop will be supplied with power during the installation, e.g. the removal of the existing transformer and the installation of standby generator.
· Site Acceptance testing of the system
· Factory Acceptance testing of the miniature substation and standby generator.
· How commissioning and testing of the system will be conducted?


The Tenderer must attach his / her approach paper to this page.  The approach paper should not be longer than 8 pages.


The scoring of the approach paper will be as follows:    30      	

	Technical approach and methodology

	No submission (score 0)
	No Method Statement submitted

	Poor
(score 40)
	The technical approach and / or methodology is poor / is unlikely to satisfy project objectives or requirements.  The Tenderer has misunderstood certain aspects of the scope of work and does not deal with the critical aspects of the project.

	Satisfactory 
(score 70)
	The approach is generic but tailored to address the general project objectives and methodology.  The approach does not deal with the critical characteristics of the project. 
The quality plan, manner in which risk is to be managed is very generic. 


	Good
(score 90)
	The approach is specifically tailored to address the specific project objectives and methodology and is sufficiently flexible to accommodate changes that may occur during execution.  The quality plan and approach to managing risk is specifically tailored to the critical characteristics of the project.


	Very good
(score 100)
	Besides meeting the “good” rating, the important issues are approached in an innovative and efficient way, indicating that the Tenderer has outstanding knowledge of state-of-the- art approaches.
The approach paper details ways to improve the project outcomes and the quality of the outputs.



T2.2.15	METHOD STATEMENT (Continued)

INSERT HERE





T2.2.16	PRELIMINARY PROGRAMME 

The Tenderer shall detail below or attach a preliminary programme reflecting the proposed sequence and tempo of execution of the main work components.  The programme shall be in accordance with the information supplied in the Contract, requirements of the Project Specifications and with all other aspects of his Tender.

The following is guiding information indicating what should be included in the preliminary programme:

· Introduce a program with dates e.g Gantt chart
· Careful consideration of the duration of the project and aligning this with the requirements of Umgeni Water’s Procedures for health and safety while working on portable water works sites that are operational all the time.
· Carefully considered installation Plan ensuring no or minimum interruption to Umgeni Water’s operations.
· Programme catering for the time to allow for observation of Umgeni Water’s access protocols to sites and observation of COVOD protocols in place at the time of implementation.
· Programme to allow for the convening of project Progress Meetings.
Programme to allow for the Testing, commissioning and handover plan implementation and rework should there be defects in equipment and or workmanship


The contract should note that the contract is required to be completed, commissioned and handed over to the Purchaser by the date specified in the contract data.

	PROGRAMME

	Component / sub component
	WEEKS / MONTHS

	

	

	

	

	

	

	

	

	

	

	

	

	

	
	

	

	

	

	

	

	

	

	

	

	

	

	

	

	
	

	

	

	

	

	

	

	

	

	

	

	

	

	

	
	

	

	

	

	

	

	

	

	

	

	

	

	

	

	
	

	

	

	

	

	

	

	

	

	

	

	

	

	

	
	

	

	

	

	

	

	

	

	

	

	

	

	

	

	
	

	

	

	

	

	

	

	

	

	

	

	

	

	

	
	

	

	

	

	

	

	

	

	

	

	

	

	

	

	
	

	

	

	

	

	

	

	

	

	

	

	

	

	

	
	



Note:	The programme must be based on the completion time as specified in the Contract Data.  No other completion time that may be indicated on this programme will be regarded as an alternative offer, unless it is listed in supported by a detailed statement to that effect, all as specified in the Tender Data.









Scoring of the preliminary programme will be as follows:     10     

	
	Suitability of programme

	No submission (score 0)
	No preliminary programme submitted

	Poor
(score 40)
	Programme is inadequate and/or considered unrealistic and does not achieve required completion date

	Satisfactory 
(score 70)
	Programme is considered realistic and adequately shows the main components and compliance with completion date

	Good
(score 90)
	Programme is considered realistic and includes the main components and sub subcomponents and compliance with completion date

	Very good
(score 100)
	Programme is considered realistic and includes the main components and subcomponents and linkages and compliance with completion date




T2.2.16	PRELIMINARY PROGRAMME (Continued)

INSERT HERE






T.2.2.17	REGISTRATION CERTIFICATE / AGREEMENT / ID DOCUMENT 

Important note to Tenderer: The relevant supporting documents to the organization tendering i.e. Registration Certificates for Companies, Close Corporations and Partnerships, or Agreements and Powers of Attorney for Joint Ventures and Consortiums, or ID documents for Sole Proprietors, all as referred to in the foregoing forms and in T2.1, must be inserted here

INSERT HERE



T2.2.18	AMENDMENTS, QUALIFICATIONS AND ALTERNATIVES 

(This is not an invitation for amendments, deviations or alternatives but should the Tenderer desire to make any departures from the provisions of this contract he shall set out his proposals clearly hereunder.  Umgeni Water will not consider any amendment, alternative offers or discounts unless forms (a), (b) and (c) have been completed to the satisfaction of the Purchaser).


I / We herewith propose the amendments, alternatives and discounts as set out in the tables below:

(a)	AMENDMENTS		- NOT APPLICABLE

	PAGE, CLAUSE OR
ITEM NO.
	PROPOSED AMENDMENT

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	



[Notes:	(1)	Proposals for amendments to the General and Special Conditions of Contract are not acceptable, and will be ignored;
	(2)	The Tenderer must give full details of all the financial implications of the amendments and qualifications in a covering letter attached to his Tender.

(b)	ALTERNATIVES	- NOT APPLICABLE

	PROPOSED ALTERNATIVE
	DESCRIPTION OF ALTERNATIVE

	
	

	
	

	
	

	
	

	
	

	
	



[Notes: 	(1)	Individual alternative items that do not justify an alternative Tender, and an alternative offer for time for completion should be listed here. 
	(2)	In the case of a major alternative to any part of the work, a separate Bill of Quantities, programme, etc, and a detailed statement setting out the salient features of the proposed alternatives must accompany the Tender.
	(3)	Alternative Tenders involving technical modifications to the design of the works and methods of construction shall be treated separately from the main Tender offer.]


(c)	UNCONDITIONAL DISCOUNTS 

	ITEM ON WHICH DISCOUNT IS OFFERED
	DESCRIPTION OF DISCOUNT OFFERED

	
	

	
	

	
	

	
	

	
	

	
	



[Note:	The Tenderer must give full details of the discounts offered in a covering letter attached to his Tender, failing which, the offer for a discount may have to be disregarded.]






Signature		Date		





 
T2.2.19	RECORD OF ADDENDA TO TENDER DOCUMENTS

I / We confirm that the following communications amending the Tender documents that I / we received from Umgeni Water or his representative before the closing date for submission of Tenders have been taken into account in this Tender.

A signed copy of each addendum shall be inserted after this page.

	ADDENDUM No
	DATE
	TITLE OR DETAILS

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	




			
Signature	Date
(of person authorized to sign on behalf of the Tenderer )




 T2.2.20	VAT REGISTRATION CERTIFICATE

[VAT Registration Certificate obtained from SARS to be inserted here]


T2.2.21	SCHEDULE OF PROPOSED SUB-SUPPLIERS 

Important note to Tenderer: The relevant supporting documents to the organization tendering i.e. Registration Certificates for Companies, Close Corporations and Partnerships, or Agreements and Powers of Attorney for Joint Ventures and Consortiums, or ID documents for Sole Proprietors, all as referred to in the foregoing forms and in T2.1, must be inserted here

We notify you that it is our intention to employ the following Sub-Suppliers for work in this contract. 
If we are awarded a contract we agree that this notification does not change the requirement for us to submit the names of proposed Sub-Suppliers in accordance with requirements in the contract for such appointments.  If there are no such requirements in the contract, then your written acceptance of this list shall be binding between us.

	
	Name and address of proposed Sub-Supplier
	Nature and extent of work
	Previous experience with Sub-Supplier.

	1. 
	
	
	

	2. 
	
	
	

	3. 
	
	
	

	4. 
	
	
	

	5. 
	





	
	




Signature		Date	

Name		Position	

Tenderer	





T2.2.22	PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2017 

This preference form must form part of all tenders invited.  It contains general information and serves as a claim form for preference points for Broad-Based Black Economic Empowerment (B-BBEE) Status Level of Contribution 

NB:         BEFORE COMPLETING THIS FORM, TENDERERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF B-BBEE, AS PRESCRIBED IN THE PREFERENTIAL PROCUREMENT REGULATIONS, 2017. 


1. GENERAL CONDITIONS

0. The following preference point systems are applicable to all tenders:

· the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and 
· the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

0. The value of this tender is estimated not to exceed R50 000 000 (all applicable taxes included) and therefore the 80/20 system shall be applicable.

0. Preference points for this tender shall be awarded for: 

1. Price; and
1. B-BBEE Status Level of Contribution.
(Refer Clause 5.7) 

1.3.1     The maximum points for this tender are allocated as follows:

                                                                                                                                        POINTS

1.3.1.1  PRICE                                                                                                                 80 

1.3.1.2  B-BBEE STATUS LEVEL OF CONTRIBUTION                                                20   
            
            Total points for Price and B-BBEE must not exceed                                     100.

0. Failure on the part of a tenderer to fill in and/or to sign this form and submit a B-BBEE Affidavit, Verification Certificate from a B-BBEE Verification Agency accredited by the South African National Accreditation System (SANAS) or a Registered Auditor approved by the Independent Regulatory Board of Auditors (IRBA), issued prior to 01 January 2017 together with the tender, will be interpreted to mean that preference points for B-BBEE status level of contribution are not claimed.

0. The purchaser reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the purchaser.

1. DEFINITIONS

1. “all applicable taxes” includes value-added tax, pay as you earn, income tax, unemployment insurance fund contributions and skills development levies;

1. “B-BBEE” means broad-based black economic empowerment as defined in section 1 of the Broad -Based Black Economic Empowerment Act;

1. “B-BBEE status level of contributor” means the B-BBEE status received by a measured entity based on its overall performance using the relevant scorecard contained in the Codes of Good Practice, or Sector Code on Black Economic Empowerment, issued in terms of section 9(1) of the Broad-Based Black Economic Empowerment Act;

1. “tender” means a written offer in a prescribed or stipulated form in response to an invitation by an organ of state for the provision of services, works or goods, through price quotations, advertised competitive tendering processes or proposals; 

1. “Broad-Based Black Economic Empowerment Act” means the Broad-Based Black Economic Empowerment Act, 2003 (Act No. 53 of 2003);

1. “comparative price” means the price after the factors of a non-firm price and all unconditional discounts that can be utilized have been taken into consideration;

1. “consortium or joint venture” means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract;

1. “contract” means the agreement that results from the acceptance of a tender by an organ of state;

1. “EME” – (Exempted Micro Enterprise) means an Entity with annual turnover of R10 million or less 

1. “Firm price” means the price that is only subject to adjustments in accordance with the actual increase or decrease resulting from the change, imposition, or abolition of customs or excise duty and any other duty, levy, or tax, which, in terms of the law or regulation, is binding on the Supplier and demonstrably has an influence on the price of any supplies, or the rendering costs of any service, for the execution of the contract;

1. “functionality” means the measurement according to predetermined norms, as set out in the tender documents, of a service or commodity that is designed to be practical and useful, working or operating, taking into account, among other factors, the quality, reliability, viability and durability of a service and the technical capacity and ability of a tenderer; 

1. “non-firm prices” means all prices other than “firm” prices; 
            
1. “person” includes a juristic person;

1. “QSE” – (Qualifying Small Enterprise) means an Entity that qualifies for measurement under the QSE scorecard with turnover of R10 million or more but less than R50 million.

1. “rand value” means the total estimated value of a contract in South African currency, calculated at the time of tender invitations, and includes all applicable taxes and excise duties;

1. “sub-contract” means the primary Supplier’s assigning, leasing, making out work to, or employing, another person to support such primary Supplier in the execution of part of a project in terms of the contract; 

1. “total revenue” – means the total income of an entity from its operations as determined under South African Generally Accepted Accounting Practice, as per Codes of Good Practice on Black Economic Empowerment, issued in terms of section 9(1) of the Broad-Based Black Economic Empowerment Act and promulgated in the Government Gazette on 9 February 2007;  

1. “trust” means the arrangement through which the property of one person is made over or bequeathed to a trustee to administer such property for the benefit of another person; and

1. “trustee” means any person, including the founder of a trust, to whom property is bequeathed in order for such property to be administered for the benefit of another person.


1. ADJUDICATION USING A POINT SYSTEM

2. The tenderer obtaining the highest number of total points will be awarded the contract.

2. Preference points shall be calculated after prices have been brought to a comparative basis taking into account all factors of non-firm prices and all unconditional discounts;.

2. Points scored must be rounded off to the nearest 2 decimal places.

2. In the event that two or more tenders have scored equal total points, the successful tender must be the one scoring the highest number of preference points for B-BBEE.  

2. However, when functionality is part of the evaluation process and two or more tenders have scored equal points including equal preference points for B-BBEE, the successful tender must be the one scoring the highest score for functionality. 

2. Should two or more tenders be equal in all respects, the award shall be decided by the drawing of lots. 


1. POINTS AWARDED FOR PRICE

3. THE 80/20 PREFERENCE POINT SYSTEMS 

A maximum of 80 points is allocated for price on the following basis:

                                                           
                                                           80/20                     

                                                                                 
                        [image: cid:image001.png@01D2A87D.10535200]           
               Where:

               Ps        =       Points scored for comparative price of tender under consideration
               Pt         =       Comparative price of tender under consideration
               Pmin     =       Comparative price of lowest acceptable tender




1. Points awarded for B-BBEE Status Level of Contribution

4. In terms of Regulation 6 (2) and 7 (2) of the Preferential Procurement Regulations 2017, preference points must be awarded to a tenderer for attaining the B-BBEE status level of contribution in accordance with the table below:









	B-BBEE Status Level of Contributor
	Number of points
(90/10 system)
	Number of points 
(80/20 system)

	1
	10
	20

	2
	9
	18

	3
	6
	14

	4
	5
	12

	5
	4
	8

	6
	3
	6

	7
	2
	4

	8
	1
	2

	Non-compliant contributor
	0
	0



4. Tenderers who qualify as EMEs in terms of the B-BBEE Act must submit a certificate issued by an Accounting Officer as contemplated in the CCA, prior to 01 May 2015 or a B-BBEE Affidavit with B-BBEE Status Level Certificates.      

4. Tenderers other than EMEs must submit their original and valid B-BBEE status level Affidavit QSE (For entities whose turnover is between R10 Million and R50 Million, with 51% to 100% Black Ownership) verification certificate or a certified copy thereof, substantiating their B-BBEE rating issued by a Registered Auditor approved by IRBA (prior to 1 January 2017) or a Verification Agency accredited by SANAS.

4. A trust, consortium or joint venture, will qualify for points for their B-BBEE status level as a legal entity, provided that the entity submits their B-BBEE status level certificate for consortiums or joint ventures and affidavit for trusts.

4. A trust, consortium or joint venture will qualify for points for their B-BBEE status level as an unincorporated entity, provided that the entity submits their consolidated B-BBEE scorecard as if they were a group structure and that such a consolidated B-BBEE scorecard is prepared for every separate tender.

4. Tertiary institutions and public entities will be required to submit their B-BBEE status level certificates in terms of the specialised scorecard contained in the Amended B-BBEE Codes of Good Practice, Gazette No. 38766.

4. A person will not be awarded points for B-BBEE status level if it is indicated in the tender documents that such a tenderer intends sub-contracting more than 25% of the value of the contract to any other enterprise that does not qualify for at least the points that such a tenderer qualifies for, unless the intended sub-Supplier is an EME that has the capability and ability to execute the sub-contract.

4. A person awarded a contract may not sub-contract more than 25% of the value of the contract to any other enterprise that does not have an equal or higher B-BBEE status level than the person concerned, unless the contract is sub-contracted to an EME that has the capability and ability to execute the sub-contract. 

1. TENDER DECLARATION
1. 
5. Tenderers who claim points in respect of B-BBEE Status Level of Contribution must complete the following:

1. B-BBEE STATUS LEVEL OF CONTRIBUTION CLAIMED IN TERMS OF PARAGRAPHS 1.3.1.2 AND 5.1 


6. B-BBEE Status Level of Contribution: ....................      =     ..................  (maximum of 10 or 20 points)

(Points claimed in respect of paragraph 7.1 must be in accordance with the table reflected in paragraph  5.1 and must be substantiated by means of a B-BBEE certificate issued by a Verification Agency accredited by SANAS or a Registered Auditor approved by IRBA (prior to 01 January 2017) or an Accounting Officer as contemplated in the CCA).

1. SUB-CONTRACTING

7. Will any portion of the contract be sub-contracted?                      YES / NO (delete which is not applicable)

0. If yes, indicate:

1. what percentage of the contract will be subcontracted? ............................................ %
1. the name of the sub-Supplier? ................................................................................. 
1. the B-BBEE status level of the sub-Supplier? ........................................................... 
1. whether the sub-Supplier is an EME? YES / NO (delete which is not applicable)



1. DECLARATION WITH REGARD TO COMPANY/FIRM

8. Name of organization:                      .................................................................................. 

8. VAT registration number:                  .................................................................................. 

8. Company Registration number:         .................................................................................. 

8. TYPE OF COMPANY/ FIRM

       Partnership/Joint Venture / Consortium
       One person business/sole propriety
       Close corporation
       Company
       (Pty) Limited
[TICK APPLICABLE BOX]

9.5        DESCRIBE PRINCIPAL BUSINESS ACTIVITIES

  	
	
	
	

9.6        COMPANY CLASSIFICATION

       Manufacturer
       Supplier
       Professional supplier
       Other suppliers, e.g. transporter, etc.
         [TICK APPLICABLE BOX]

9.7       Total number of years the company/firm has been in business?........................................... 

9.8       I/we, the undersigned, who is / are duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the B-BBE status level of contribution indicated in paragraph 7 of the foregoing certificate, qualifies the company/ firm for the preference(s) shown and I / we acknowledge that:

1. The information furnished is true and correct

1. The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form

1. In the event of a contract being awarded as a result of points claimed as shown in paragraph 7, the Supplier may be required to furnish documentary proof to the satisfaction of the purchaser that the claims are correct; 

1. If the B-BBEE status level of contribution has been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the purchaser may, in addition to any other remedy it may have –

1. disqualify the person from the tendering process;

1. recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

1. cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

1. restrict the tenderer or Supplier, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

1. forward the matter for criminal prosecution



........................................................................... 
SIGNATURE(S) OF TENDERER(S):

DATE:................................................................. 

ADDRESS:......................................................... 

........................................................................... 

........................................................................... 

WITNESSES:

1. ................................................................. 

1. ................................................................. 


T2.2.22      .../continued   B-BBEE STATUS LEVEL VERIFICATION CERTIFICATES

Tenderers not submitting a valid original or a certified copy B-BBEE Status Level Verification Certificate or are non-compliant contributors to B-BBEE do not qualify for preference points for B-BBEE but will not be disqualified from the tendering process. 


T2.2.23	PROOF OF PURCHASE OF TENDER DOCUMENT 

INSERT HERE


T2.2.24	GOODS AND SERVICES SOURCED INTERNATIONALLY      


INTRODUCTION

The National Industrial Participation (NIP) Programme, which is applicable to all government procurement contracts that have an imported content, became effective on the 1 September 1996. The NIP policy and guidelines were fully endorsed by Cabinet on 30 April 1997. In terms of the Cabinet decision, all state and State Owned Entities purchases / lease contracts (for goods, works and services) entered into after this date, are subject to the NIP requirements. NIP is obligatory and therefore must be complied with. The Industrial Participation Secretariat (IPS) of the Department of Trade and Industry (DTI) is charged with the responsibility of administering the programme.

1. PILLARS OF THE PROGRAMME

1.1 The NIP obligation is benchmarked on the imported content of the contract. Any contract having an imported content equal to or exceeding US$ 10 million or other currency equivalent to US$ 10 million will have a NIP obligation. This threshold of US$ 10 million can be reached as follows:

(a) Any single contract with imported content exceeding US$10 million.
or
(b) Multiple contracts for the same goods, works or services each with imported content exceeding US$3 million awarded to one seller over a 2 year period which in total exceeds US$10 million.
or
(c) A contract with a renewable option clause, where should the option be exercised the total value of the imported content will exceed US$10 million.
or
(d) Multiple suppliers of the same goods, works or services under the same contract, where the value of the imported content of each allocation is equal to or exceeds US$ 3 million worth of goods, works or services to the same government institution, which in total over a two (2) year period exceeds US$10 million.

1.2 The NIP obligation applicable to suppliers in respect of sub-paragraphs 1.1 (a) to 1.1 (c) above will amount to 30 % of the imported content whilst suppliers in respect of paragraph 1.1 (d) shall incur 30% of the total NIP obligation on a pro-rata basis.

1.3 To satisfy the NIP obligation, the DTI would negotiate and conclude agreements such as investments, joint ventures, sub-contracting, licensee production, export promotion, sourcing arrangements and research and development (R&D) with partners or suppliers.

1.4 A period of seven years has been identified as the time frame within which to discharge the obligation.

2. REQUIREMENTS OF THE DEPARTMENT OF TRADE AND INDUSTRY

2.1 In order to ensure effective implementation of the programme, successful tenderers (Suppliers) are required to, immediately after the award of a contract that is in excess of R10 million (ten million Rands), submit details of such a contract to the DTI for reporting purposes.

2.2 The purpose for reporting details of contracts in excess of the amount of R10 million (ten million Rands) is to cater for multiple contracts for the same goods, works or services; renewable contracts and multiple suppliers for the same goods, works or services under the same contract as provided for in paragraphs 1.1.(b) to 1.1. (d) above.

3. TENDER SUBMISSION AND CONTRACT REPORTING REQUIREMENTS OF TENDERERS AND SUCCESSFUL TENDERERS (SUPPLIERS)

3.1 Tenderers are required to sign and submit this Section together with the tender on the closing date and time.

3.2 In order to accommodate multiple contracts for the same goods, works or services; renewable contracts and multiple suppliers for the same goods, works or services under the same contract as indicated in sub-paragraphs 1.1 (b) to 1.1(d) above and to enable the DTI in determining the NIP obligation, successful tenderers (Suppliers) are required, immediately after being officially notified about any successful tender with a value in excess of R10 million (ten million Rands), to contact and furnish the DTI with the following information:
· Tender / contract number.
· Description of the goods, works or services.
· Date on which the contract was accepted.
· Name, address and contact details of the government institution.
· Value of the contract.
· Imported content of the contract, if possible.

3.3 The information required in paragraph 3.2 above must be sent to the Department of Trade and Industry, Private Bag X 84, Pretoria, 0001 for the attention of Mr Elias Malapane within five (5) working days after award of the contract. Mr Malapane may be contacted on telephone (012) 3941401, facsimile (012) 3942401 or e-mail at Elias@thedti.gov.za for further details about the programme.

4. PROCESS TO SATISFY THE NIP OBLIGATION

4.1 Once the successful tenderer (Supplier) has made contact with and furnished the DTI with the information required, the following steps will be followed:
(a) the Supplier and the DTI will determine the NIP obligation;
(b) the Supplier and the DTI will sign the NIP obligation agreement;
(c) the Supplier will submit a performance guarantee to the DTI;
(d) the Supplier will submit a business concept for consideration and approval by the DTI;
(e) upon approval of the business concept by the DTI, the Supplier will submit detailed business plans outlining the business concepts;
(f) 	the Supplier will implement the business plans; and
(g) the Supplier will submit bi-annual progress reports on approved plans to the DTI.

4.2 The NIP obligation agreement is between the DTI and the successful tenderer (Supplier) and, therefore, does not involve the purchasing institution.


Tender number 		Closing date 	

Name of tenderer 	

Postal address 	

	

Signature 		Name (in print) 	

Date 	



T2.2.25	LETTER OF GOOD STANDING IN TERMS OF COID ACT
(Compensation for Occupational Injuries and Diseases Act)



INSERT HERE





T2.2.26	TENDERER’S FINANCIAL STANDING 

In terms of the standard conditions of Tender, the Tenderer shall provide information about its commercial position, which includes information necessary for the Purchaser to evaluate the Tenderer's financial standing. 

To that end the Tenderer must provide with its Tender a bank rating, certified by its banker, to the effect that it will be able to successfully complete the contract at the Tendered amount within the specified time for completion.

However, should the Tenderer be unable to provide a bank rating with its Tender, it shall state the reasons as to why it is unable to do so, and in addition provide the following details of its banker and bank account that it intends to use for project:


Name of account holder:  		


Name of Bank:		Branch: 	

Account number:		Type of account: 	

Telephone number:		Facsimile number: 	

Name of contact person (at bank:		

Failure to provide either the required bank details or a certified bank rating with its Tender, will lead to the conclusion that the Tenderer does not have the necessary financial resources at its disposal to complete the contract successfully within the specified time for completion.
 
The Purchaser undertakes to treat the information thus obtained as confidential, strictly for the use of evaluation of the Tender submitted by the Tenderer.






SIGNATURE: 		DATE: 	
(of person authorized to sign on behalf of the Tenderer)

 T2.2.27	SUPPLIERS HEALTH AND SAFETY DECLARATION

In terms of Clause 5(1)9(h) of the OHSA 1993 Construction Regulations 2014 (referred to as "the Regulations" hereafter), a Supplier may only be appointed to perform construction work if the Purchaser is satisfied that the Supplier has the necessary competencies and resources to carry out the work safely in accordance with the Occupational Health and Safety Act No 85 of 1993 and the OHSA 1993 Construction Regulations 2014. 

To that effect a person duly authorized by the Tenderer must complete and sign the declaration hereafter in detail. 

Declaration by Tenderer

1. I the undersigned hereby declare and confirm that I am fully conversant with the Occupational Health and Safety Act No 85 of 1993 (as amended by the Occupational Health and Safety Amendment Act No 181 of 1993), and the OHSA 1993 Construction Regulations 2014.

2. I hereby declare that my company / enterprise have the competence and the necessary resources to safely carry out the construction work under this contract in compliance with the Construction Regulations and the Purchaser's Health and Safety Specifications.

3. I hereby undertake, if my Tender is accepted, to provide a sufficiently documented Health and Safety Plan in accordance with CR7(1) of the Construction Regulations, approved by the Purchaser or its representative, before I will be allowed to commence with construction work under the contract.  I hereby agree that my company/enterprise will not have a claim for compensation for delay or extension of time because of my failure to obtain the necessary approval for the said safety plan.

4. I confirm that copies of my company's approved Health and Safety Plan, the Purchaser's Safety Specifications as well as the OHSA 1993 Construction Regulations 2014 will be provided on site and will at all times be available for inspection by the Supplier's personnel, the Purchaser's personnel, the Engineer, visitors, and officials and inspectors of the Department of Labour.

5. I hereby confirm that adequate provision has been made in my Tendered rates and prices in the bill of quantities to cover the cost of all resources, actions, training and all health and safety measures envisaged in the OHSA 1993 Construction Regulations 2014, including the cost for specific items that may be scheduled in the bill of quantities.

6. I hereby confirm that I will be liable for any penalties that may be applied by the Purchaser in terms of the said Regulations for failure on my part to comply with the provisions of the Act and the Regulations as set out in Regulation 30 of the Regulations.

7. I agree that my failure to complete and execute this declaration to the satisfaction of the Purchaser will mean that I am unable to comply with the requirements of the OHSA 1993 Construction Regulations 2014, and accept that my Tender will be prejudiced and may be rejected at the discretion of the Purchaser.

8. I am aware of the fact that, should I be awarded the contract, I must submit the notification required in terms of Regulation 4 of the OHSA 1993 Construction Regulations 2014 (example attached hereafter) before I will be allowed to proceed with any work under the contract.



SIGNATURE: 		DATE: 	
(of person authorized to sign on behalf of the Tenderer)

T2.2.28	PRO FORMA OHS NOTIFICATION 

PRO FORMA NOTIFICATION FORM IN TERMS OF THE OCCUPATIONAL HEALTH AND SAFETY ACT 1993, CONSTRUCTION REGULATIONS 2014

[In terms of Regulation 4 of the Construction Regulations 2014, the successful Tenderer must complete and forward this form prior to commencement of work to the office of the Department of Labour.]

1.	(a)	Name and postal address of Supplier: ……………………………………………………………..

(b)	Name of Supplier’s contact person: ………………………………………………………………………
Telephone number: ………………………………………………………………………………………………
2.	Supplier’s compensation registration number: …………………………………………………………..
3.	(a)	Name and postal address of Purchaser: . ………………………………………………………….
(b)	Name of Purchaser’s contact person or agent: ………………………………………………………….
Telephone number: ………………………………………………………………………………………………
4.	(a)	Name and postal address of designer(s) for the project: ……………………………………………………………………………………………………………………………………………………………………………………………………………………………………

(b)	Name of designer's contact person: ………………………………………………………………………
       Telephone number: …………………………………………………………………………………………
5.	Name of Supplier’s construction supervisor on site appointed in terms of Regulation 6(1): Telephone number: …………………………………………………………………………………………
6.	Name/s of Supplier’s sub-ordinate supervisors on site appointed in terms of regulation 6(2). …………………………………………………………………………………………………………………
7.	Exact physical address of the construction site or site office: ……………………………………………………………………………………………………………………………………………………………………………………………………………………………………
8.	Nature of the construction work: …………………………………………………………………………..
	
9.	Expected commencement date:
10.	Expected completion date:
11.	Estimated maximum number of persons on the construction site:
12.	Planned number of Sub-contractors on the construction site accountable to Supplier:
13.	Name(s) of Sub-contractors already chosen:
	

SIGNED BY:

SUPPLIER: 		DATE: 	

PURCHASER: 		DATE: 	

 
T2.2.29 	LETTER OF INTENT FOR PUBLIC LIABILITY

INSERT HERE





T2.2.30	LETTER OF INTENT FOR PERFORMANCE GUARANTEE

[The Tenderer must attach hereto a letter from the bank or institution with whom it has made the necessary arrangements, to the effect that the said bank or institution will be prepared to provide the required performance guarantee when asked to do so. The Tenderer must also attach proof that the institution that will provide the performance guarantee is registered and in good standing with the Financial Services Conduct Authority.]
]


INSERT HERE



T2.2.31   REGISTRATION CERTIFICATES



Insert required registration Certificates such as CIDB














































T2.2.32 CENTRAL SUPPLIER DATABASE (CSD) REPORT





Insert Here



































MKONDENI WORKSHOP POWER SUPPLY SYSTEM		UMGENI WATER
		TENDER NO. 2021/079
		T2: RETURNABLE DOCUMENTS 
	T2.70.



	


	
CONTRACT NO:  2021/079


	

MKONDENI WORKSHOP POWER SUPPLY SYSTEM


	
VOLUME 2 – Offer, Contract, Pricing, Scope of Work and Site Information





	Issued by:

Umgeni Water
310 Burger Street 
Pietermaritzburg 

	Tender Queries:

Contact Name: Sphamandla Mthembu 
Telephone:       033 341 1325

	













Name of Service Provider:  	


 






















TABLE OF CONTENTS

DESCRIPTION		PAGE	SHEET
			COLOUR

VOLUME 1

THE TENDER 

T1	TENDERING PROCEDURES	
T1.1	Tender Notice and Invitation to Tender	T1.1	White	
T1.2	Tender Data	T1.3	Pink

T.2 	RETURNABLE DOCUMENTS
T2.1	List of Returnable Documents	T2.1	Yellow
T2.2	Returnable Schedules and Documents	T2.3	Yellow


VOLUME 2

THE CONTRACT

C.1 	AGREEMENTS AND CONTRACT DATA
C1.1	Form of Offer and Acceptance	C1.2	Yellow
C1.2	Contract Data	C1.7	Yellow

C.2 	PRICING DATA
C2.1	Pricing Instructions	C2.1	Yellow
C2.2	Pricing Schedule	C2.2	Yellow

C.3 	SCOPE OF WORK	C3.1	Blue
	 C3.1.	SCOPE DESCRIPTION	………………………………….C3.4
C3.2.	Technical Specification for Miniature Substation ..........C3.6
     
C.4 	SITE INFORMATION	C4.1	Green



MKONDENI WORKSHOP POWER SUPPLY SYSTEM		UMGENI WATER
		CONTRACT NO. 2021/079
		CONTENTS
i


[bookmark: Form_of_Offer_and_Acceptance]C.1 	AGREEMENTS AND CONTRACT DATA

IMPORTANT NOTE ON C1.1:

ALL Tenderers MUST complete and sign Form A:  OFFER (the first page hereafter).

Form B: ACCEPTANCE will be signed by the Employer and then only in the case of the successful Tenderer.

Form C: SCHEDULE OF DEVIATIONS must be signed by the Employer as well as the successful Tenderer after award of the contract.

Form D: CONFIRMATION OF RECEIPT must be signed by the successful Tenderer on receipt of a fully completed original copy of the Agreement including the Schedule of Deviations, if any. 






C1.1	FORM OF OFFER AND ACCEPTANCE

A.  OFFER

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of Mkondeni Workshop Power Supply System

The Tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender.

The Tenderer, identified in the Offer signature block, has examined the draft contract as listed in the Acceptance section and agreed to provide this Offer.

Use this wording in place of the preceding paragraph in the case where a contract is negotiated with a single Tenderer as there will be no Tender Data.  Delete row if not applicable.  This will be very rarely used. Delete this note.

By the representative of the Tenderer, deemed to be duly authorized, signing this part of this Form of Offer and Acceptance the Tenderer offers to perform all of the obligations and liabilities of the Service Provider under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

THE OFFERED TOTAL OF THE PRICES INCLUSIVE OF VAT IS: 

(in words)	Rand; 

(in figures)  R	

The Tenderer confirms that he has read the Standard General Services Contract referred to in C1.2 Contract Data.

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document to the Tenderer before the end of the period of validity stated in the Tender Data, whereupon the Tenderer becomes the party named as the Contractor in the Conditions of Contract identified in the Contract Data.

Signature(s) (of persons authorized to sign the acceptance)  		
Name(s) 		

Capacity		

For the Tenderer:

(Insert name and address of organization)	

	

Name & Signature of Witness 	

Date 		

B:  ACCEPTANCE

By signing this part of the Form of Offer and Acceptance, the Employer identified below accepts the Tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the Conditions of Contract identified in the Contract Data.  Acceptance of the Tenderer’s Offer shall form an agreement between the Employer and the Tenderer upon the terms and conditions contained in this Agreement and in the Contract that is the subject of this Agreement.

The terms of the contract are contained in:

C.1	Agreement, and Contract Data, (which include this Agreement)
C.2	Pricing Data, including the Bill of Quantities
C.3	Scope of Work
C.4	Site Information
C.5	Annexures

and the schedules, forms, drawings and documents or parts thereof, which may be incorporated by reference into Parts 1 to 5 above.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules as well as any changes to the terms of the Offer agreed by the Tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Agreement.  No amendments to or deviations from said documents are valid unless contained in this Schedule, which must be duly signed by the authorized representatives of both parties.

The Tenderer shall within two weeks after receiving a completed copy of this Agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any other bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the Conditions of Contract identified in the Contract Data. Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this Agreement.
Notwithstanding anything contained herein, this Agreement comes into effect on the date when the Tenderer receives one fully completed original copy of this document, including the Schedule of Deviations (if any).  Unless the Tenderer (now Service Provider) within five days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this Agreement, this Agreement shall constitute a binding contract between the parties.

Signature: (of person authorized to sign the acceptance) 	
Name: (of signatory in capitals)		
Capacity: (of Signatory) 		
Name of Employer: (organization)	Umgeni Water
Address	310 Burger Street, Pietermaritzburg
Telephone number: 033 3411111	Fax number: 	

AS WITNESS
 
Signature:	   Name: (in capitals) 	
Date: 	
C:  SCHEDULE OF DEVIATIONS

The extent of deviations from the tender documents issued by Umgeni Water prior to the tender closing date is limited to those permitted in terms of the Tender Data and the Conditions of Tender.

A Tenderer’s covering letter will not necessarily be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid become the subject of agreements reached during the process of offer and acceptance, the outcome of such agreement shall be recorded here.

Any other matters arising from the process of offer and acceptance either as a confirmation, clarification or change to the tender documents and which it is agreed by the Parties becomes an obligation of the contract shall also be recorded here.

Any change or addition to the tender documents arising from the above agreements and recorded here shall also be incorporated into the final draft of the Contract.

1.	Subject:		
	Details:		
		
2.	Subject:		
	Details:		
		
3.	Subject:		
	Details:		
		
4.	Subject:		
	Details:		
		
5.	Subject:		
	Details:		
		
6.	Subject:		
	Details:		
		
7.	Subject:		
	Details:		
		

By the duly authorized representatives signing this Schedule of Deviations, Umgeni Water and the Tenderer agree to and accept the foregoing Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and addenda thereto as listed in the Tender Schedules, as well as any confirmation, clarification or change to the terms of the offer agreed by the Tenderer and Umgeni Water during this process of offer and acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the Tenderer of a completed signed copy of this Agreement shall have any meaning or effect in the contract between the parties arising from this Agreement.

FOR THE TENDERER:

Signature:		
Name:		
Capacity:		
Tenderer: (Name and address of organization)	

Witness:
Signature:		
Name: 		
Date: 		

FOR UMGENI WATER

Signature:		
Name:		
Capacity:		

Witness:
Signature:		
Name: 		
Date: 		



D:  CONFIRMATION OF RECEIPT

The Tenderer, (now Service Provider), identified in the Offer part of this Agreement hereby confirms receipt from the Employer, identified in the Acceptance part of this Agreement, of one fully completed original copy of this Agreement, including the Schedule of Deviations on this


FOR THE CONTRACTOR:

Signature:		
Name:		
Capacity:		

Signature and name of witness:

Signature:		
Name: 		




[bookmark: Contract_Data]C.1.2	CONTRACT DATA (INCLUDING SPECIAL CONDITIONS OF CONTRACT)

The Conditions of Contract are the Umgeni Water Standard Services Contract (document number: SCM027), a copy of which may be obtained from the Umgeni Water Supply Chain Management office or can be downloaded from the following web site: www.umgeni.co.za/sustainable_development/sud.asp

Each item of data given below is cross-referenced to the clause in the Conditions of Contract to which it mainly applies.

Special Conditions of Contract


1. National Treasury Central Supplier Database

The successful Tenderer is required to provide proof of registration with the National Treasury Central Supplier Database (CSD) prior to the award of  contract.

2. Application of Contract Price Adjustment Factor

Contract Price Adjustment will be/not be applicable

3. Progress  Payments

Payment of Payment Certificates shall be effected on or before but not later than the last day of the month following the month in which the Invoice and accompanying statement was dated”. 




PART 1: DATA PROVIDED BY THE EMPLOYER

	Clause
	Data

	1
	The Employer is  Umgeni Water

	1
	The Contract is Mkondeni workshop power supply system 


	1
	The Period of Performance is 52 weeks from the Commencement Date.

	3.4 
	The authorized and designated representative of the Employer is:
Name:	Thabiso Radebe

The address for receipt of communications is:
Telephone:	033 341 1874
Facsimile:	033 341 0000
E-mail:	Thabiso.radebe@umgeni.co.za
Address:	7 Portland road, Mkondeni 

	3.5
	The location for the performance of the Contract is Umgeni Water, Mkondeni Workshop, 7 Portland Road, Pietermaritzburg.

	3.13
	The programme shall be submitted within 14 Days of the Contract becoming effective.

	5.4.1
	The Service Provider is required to provide the following insurances:
1.	Public Liability Insurance      
	Minimum Cover is: 	R5 000 000 (Five million rand)      
	Period of cover:     For the period of performance      
	 

2.	Professional Indemnity Insurance       
	Minimum Cover is: 	R5 000 000 (Five million rand)      
	Period of cover:   For the period of performance         

Insurance cover requirements will be confirmed on award

	5.5
	The Service Provider is required to obtain the Employer’s prior approval in writing before taking any of the following actions:
a)	Drawing must be approved post the manufacturing of miniature substation
b)	FAT must be approved before the installation of any equipment’s.

	8.1
	The Service Provider is to commence the performance of the Services within 14 Days of date that the Contract becomes effective.

	12.2.1/2/3
	Interim settlement of disputes is to be by mediation

	
	In the event that the parties fail to agree on a mediator, the mediator is nominated by the Association of Arbitrators (Southern Africa) 

	12.2.4 
	Final settlement is by litigation.

	13.1.3
	All persons in a joint venture or consortium shall carry a minimum General indemnity insurance of the value stipulated in clause 5.4.1 of the Contract Data.

	15
	The interest rate will be prime interest rate of the Employer’s bank at the time that the amount is due.





PART 2:	DATA PROVIDED BY THE SERVICE PROVIDER 

	Clause
	Data

	1
	The Service Provider is.

Name:  	

Address:  	

	

Telephone: 		Facsimile:  	


	5.3
	The authorized and designated representative of the Service Provider is:

Name:  	

The address for receipt of communications is:

Address:  	

	

Telephone: 		Facsimile:  	


	5.5
7.1.2
	The Key Persons and their jobs / functions in relation to the services are:

	Name
	Specific duties
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[bookmark: Pricing_Data]PART C2:	PRICING DATA

[bookmark: Scope_of_Work]PRICING TO BE DONE BY MEANS OF BILL OF QUANTITIES

Note to Compiler: Select the appropriate pricing strategy for the Scope of Work and delete the other pricing strategies. Delete this note.

C2.1	Bill of Quantities 

2.1.1 Definition of unit rates – the tenderer is required to review the scope of work defined within C3 and to determine all the resources required resulting in the unit rates to achieve the work components within the scope.
2.1.2 Bill of Quantities – the tenderer is required to fill in the Bill of Quantities and complete the pricing calculations set down in C2.2 Pricing Schedule, and carry forward the tender amount from the C2.2 Pricing Schedule to the Offer C1.1.
2.1.3 Payment – the tenderer will be paid the amounts per quantity of each item delivered on a monthly basis.
2.1.4 Prices – must remain firm for a 12 month period and thereafter, will be subject to CPI escalation on the anniversary of the contract.  A 30 day notice period prior to price increases is required.
2.1.5 The service providers shall provide prices (VAT exclusive) for ALL items listed in the table. Failure to provide prices in any of the items listed will deem this tender to be non-responsive.

	



C2.2	Pricing Schedule – Bill of Quantities


	ITEM NO
	PAYMENT REF
	ITEM DESCRIPTION
	UNIT
	QTY
	RATE
	Amount per Item

	1.
	Part 1: Preliminary and General

	1.1.
	
	Contractual requirements
	Sum
	1
	
	R

	1.2.
	
	Safety File as specified in the document
	Sum
	1
	
	R

	1.3.
	
	Issue Certificate of Compliance (COC) for the installation
	Sum
	1
	
	R

	1.4.
	
	The Contractor shall allow the sum for Operation, Health and Safety Act compliance
	Sum
	1
	
	R

	1.5.
	
	Site establishment and removal 
	Sum
	1
	
	R

	1.6.
	
	Allow for three UW personnel to attend factory acceptance test for both Generator and Miniature Substation
	Sum
	1
	
	R

	
	TOTAL – CARRIED FORWARD TO SUMMARY PAGE
	
	R





































	ITEM NO:
	PAYMENT REF 
	ITEM DESCRIPTION
	UNIT
	QTY
	RATE
	Amount per Item
(excl VAT)

	2.
	
	PART 2: MKONDENI WORKSHOP MINIATURE SUBSTATION

	2.1.
	
	Supply 630kVA the Miniature substation as specified in the Technical Specification 
	Sum
	1
	
	R

	2.2.
	
	Decommission transformer and dispose as per project leader instruction.
	Sum
	1
	
	R

	2.3.
	
	Install Miniature Substation as per technical specifications
	Sum
	1
	
	R

	2.4.
	
	Allow for coastal spec for the enclosure as per technical specification
	Sum
	1
	
	R

	2.5.
	
	Factory Acceptance Test (FAT) as specified in the Technical Specification
	Sum
	1
	
	R

	2.6.
	
	Allow for a day training Umgeni  Water on operation, installation and maintenance of the Miniature substation
	Sum
	1
	
	R

	2.7.
	
	Installation of lightning protection and earthling protection as specified in the technical specification. 
	Sum
	1
	
	R

	2.8.
	
	On site tests, commission and handover the installation of the Miniature substation.
	Sum
	1
	
	R

	2.9.
	
	Trenching, backfilling as specified in the scope and technical specification. After back filling, the Contractor shall supply and install concrete cable markers.
	m
	30
	
	R

	2.10.
	
	Supply and install 150 meter of 50mm2 4-core ECE cable to supply Regional offices from electrical panel to main distribution in regional office. Contractor shall carry out cable terminations as per Umgeni Water specifications, Cable shall be laid in a 550mm deep trench as per Umgeni Electrical specifications.
	m
	150
	
	R

	2.11.
	
	Trenching, backfilling as specified in the scope and technical specification. After back filling, the Contractor shall supply and install two concrete cable markers.
	m
	130
	
	R

	
	
	Total Carried Forward
	R




	
	Total brought forward 
	R

	2.12.
	
	Plinth modification for the miniature substation 
	Sum
	1
	
	R

	2.13.
	
	Handing over documents: Operation and Manual File consisting of drawings, manuals etc. as per Umgeni Water specifications and SANS Standards.
	Sum
	1
	
	R

	TOTAL – CARRIED FORWARD TO SUMMARY PAGE
	
	R















































	ITEM No
	PAYMENT
REF
	DESCRIPTION
	UNIT
	QTY
	RATE
	AMOUNT
R-C

	3
	PART 3: MKONDENI WORKSHOP STANDBY GENERATOR 

	3.1
	
	Decommission an existing Generator and dispose as per project leader instruction
	Sum 
	1
	
	R

	3.2
	
	Supply and installation of 630kVA Genset as specified in the technical specifications.
	Sum
	1
	
	R

	3.3
	
	Supply and installation of generator canopy as specified in the technical specifications.
	Sum
	1
	
	R

	3.4
	
	Supply and install Changeover switch as specified in the technical specifications.
	Sum 
	1
	
	R

	3.5
	
	Supply and installation of load bank and circuit to prevent wet stacking when load is below 35%.
	Sum 
	1
	
	R

	3.6
	
	Supply and install 60 meter of 300mm2 4-core ECE cable (30 meter from main CB to Genset Changeover Switch and 30 meter from Genset to main MCC bus bars). Contractor shall carry out cable terminations as per Umgeni Water specifications, Cable shall be laid in a 550mm deep trench as per Umgeni Electrical specifications.
	m
	60
	
	R

	3.7
	
	Allow for termination of all cables, including cable joint and allow for cable accessories i.e. lugs, glands, cable joining kits and cable clamps.
	Sum
	1
	
	R

	3.8
	
	Trenching, backfilling as specified in the scope and technical specification. After back filling, the Contractor shall supply and install two concrete cable markers.
	M
	20
	
	R

	3.9
	
	Handing over documents: Operation and Manual File consisting of drawings, manuals etc. as per Umgeni Water specifications and SANS Standards
	Sum
	1
	
	R

	3.10
	
	Onsite training on maintenance, operation with different disciples, covering the whole of Genset from control panel,  electrics and  mechanics 
	Hours
	1
	
	R

	
	Total Carried Forward to Summary Page
	R












	PART
	DESCRIPTION
	AMOUNT
R-C

	PART 1
	Preliminary and General
	R

	PART 2
	Mkondeni Workshop Miniature Substation
	R

	PART #
	MKONDENI WORKSHOP STANDBY GENERATOR
	R

	A - Total for all Items excluding VAT
(Use to calculate CPG amount and percentage)
	R

	
	

	B CONTINGENCIES
Add 10% of Subtotal A	
	
R

	C SUBTOTAL (A + B)	
	R

	D VALUE ADDED TAX
Add 15 % of Subtotal G	
(Provisional sum based on current rate of VAT)
	

R

	TOTAL (C+D) CARRIED TO FORM,  C1.1, FORM OF OFFER 
	R








PART C3:	SCOPE OF WORK

C3.1.	SCOPE DESCRIPTION

Umgeni Water requires an electrical contractor to supply, decommission and install 630kVA 11kVA, 420V miniature substation at Mkondeni Workshop.

[bookmark: _Toc54088803]C3.1.1.	Miniature Substation 

The Contractor is to decommission existing transformers, supply and install new Miniature substation. 
1.1.1. Design and manufacture a (type A- long) 630kVA 11kVA, 400V miniature substation as specified in Technical Specifications and SANS 1029.
1.1.2. Miniature substation as specified on Technical Specification.
1.1.2.1. MV side of the transformer shall be fitted with an RM6 switchgear as specified in technical specification, MV Switchgear
1.1.2.2. LV Side of the transformer shall be fitted with switchgear as specified in the technical specifications.
1.1.2.3. A natural oil cooled transformer as specified in technical specification
1.1.3. Allow for transporting three Umgeni Water Representatives to witness factory acceptance tests (FAT) from Umgeni Mkondeni to the manufacturing factory and back.  
1.1.4. Supply, deliver, offload to Mkondeni transformer yard and positioned as per Project Manager’s instruction.
1.1.5. Decommission transformer and dispose as per project leader instruction. 
1.1.6. Facilitate a day training to Umgeni Water (10 representatives) on the operation, installation, maintenance of the new supplied Miniature Substation 
1.1.7. Carry out quality control of the installation, and ensure that the installation is as per the Supplier’s operation and maintenance manual. Sign off and approve the installation. Carry out all necessary tests as per operation and maintenance manuals from the manufacture. 
1.1.8. Supply and install 150 meter of 50mm2 4-core ECC cable to supply Regional offices from electrical panel to main distribution in regional office. Contractor shall carry out cable terminations as per Umgeni Water specifications, Cable shall be laid in a 550mm deep trench as per Umgeni Electrical specifications.
1.1.9. Installation of lightning protection and earthling protection.
1.1.10. Hand over the installation with all required documents as per Umgeni Water Operation and Maintenance Manual. 
 
[bookmark: _Toc54088804]C3.1.2.	Standby Generator Scope

1.2.1. Decommission an existing Generator and to be disposed as per instruction from the project leader. 
1.2.2. Supply and install 630kVA standby diesel generator set with a capacity of eight hour back up time at full load, as specified on the technical specifications. 
1.2.3. Supply and install automatic changeover panel as specified in technical specifications section.
1.2.4. Design a load bank that prevents wet stacking when the load is less than 35% of the generator set. 
1.2.5. Assembly a 630kVA standby generator with a canopy as per technical specifications section 3, deliver and install a generator set to site.
1.2.6. Supply and installation of 60 meters 300 mm2 4-core ECC cable from the generator to changeover switch.
1.2.7. Supply all cable termination accessories including glands, lugs, saddles etc. 
1.2.8. Carry out all cable terminations required.
1.2.9. Test commission and hand over the installation.
The Contractor shall keep in mind that all work that will involve power interruption will have to be done per Umgeni Water’s approval.
Ensure that all work is done according to Umgeni Water particular specification for mechanical work, electrical and instrumentation installations.

























[bookmark: _Toc54088806]C3.2.	Technical Specification for Miniature Substation 
[bookmark: _Toc54088807]C3.2.1.	Miniature Substation 
This specification provides for the design, manufacture, supply and delivery of a new 630kVA,
11KV/ 400V transformer with a Schneider RMU on the MV side. 
This Miniature substation shall be designed, constructed and installed as per Umgeni Water
Specifications and SANS 1092:2010.
     The supplied Transformer set shall meet or exceed the following specifications: -
	
Item
	Subclause of NRS 004
	
Description
	
Schedule A
	
Schedule B

	1
2

3

4
5



6



7

8
9

10
11
12
13
14
15

16


17
18
19

20
21
22
23

24
	4.1.1.4
4.1.1.5

4.1.2.8

4.1.3.2
4.2.1.3



4.2.2.1.1



4.2.2.1.4

4.2.2.2.1
4.2.2.2.3

4.2.2.4.2
4.3.1
4.3.2
4.4.2.3
4.4.2.4
4.5.2

4.5.2


4.5.3
4.6.2
4.6.3.1

4.6.3.2
4.6.3.3
4.6.4
6.1.4

6.1.5
	Nominal MV voltage	
Rated   lightning   impulse   withstand   voltage level (MV equipment)
Rated supply voltage of closing and opening devices and auxiliary and control circuits
Rated maximum power of the mini-sub kVA Service conditions
a)	humidity
b)	ambient air pollution
Mini-sub type



Mini-sub design

Base type (if not steel)
Is a base with a removable section required?

Are roof-lifting lugs required? Enclosure material
LV assemble, material of structural parts
Is a lock protection facility required?
Is a 10 mm Allen cap screw required? Method of sealing the cover (i.e. welded or
bolted).
Flat plate (e.g. glass, clear polycarbonate) oil level indicator fitted in accordance with
SANS 780.
Positioning of transformer bushings Is black epoxy tar paint required? Suitable paint or coating system used to
protect against corrosion 
protection for mild steel Corrosion protection for 3CR12 steel Paint colour
LV earth bus bar, if required

Is a separate earthing configuration required?
	11kV                                         
List 2                                 

12 000V                

630kVA	  


N/A	       
N/A                         
type A-long,            



Modular design     

Yes                                                                                         

Yes                         

Yes                       

Mild steel              
Mild steel              
Yes                        

Yes                       

Bolted                  

Yes                              


Yes on a steel base 

Yes

Yes


C12 Avocado as of SANS 1091
Yes

Yes

	

	Item
	Subclause of
NRS 004
	Description
	Schedule A
	Schedule B

	25
26
27
28
29
30

31
32

33
34

35
36
37

38

39

40

41

42
43
44

45
46


47
48


49


50

51

52
	6.2.1
6.2.2.1
6.2.2.4
6.2.2.5
6.2.3.2
6.2.3.2

6.2.3.2
6.2.3.2

6.2.5.1
6.3.2.1

6.3.3.2.2
6.3.3.2.5
6.3.3.2.8

6.3.3.3.1

6.3.3.3.5

6.3.3.3.10

6.3.3.4.3

6.3.3.4.4
6.3.3.4.5
6.3.3.4.6

6.3.3.5.1
6.3.3.5.2


6.3.3.5.4
6.3.3.5.5


6.3.3.5.6


6.3.3.5.7

6.3.3.5.8

6.3.3.5.9
	Barriers to be metallic
Equipment required in MV compartment
CT ratios
Protection CT type and class
Type of MV cables to be terminated
Number of cores of MV cables to be terminated
Size of MV cable to be terminated mm2
Type of MV cable to be terminated

Are earth fault indicators required?
Cables from the LV bushing of the transformer to the LV busbars to be flame retardant.
State finishing method.
Method of busbar colour coding
Number of outgoing LV feeder bays
Provide a separate LV earth busbar? Gland plate arrangement as indicated in
figure C.9 to be provided?
Gland hole diameters, if not ∅ 65 mm and
∅ 52 mm
Are MCCBs to be used?

Number and rating of each MCCB Are vertical fuse pillars to be used?
Number of fuse pillars and the fuse rating of each fuse pillar?
Provide LV ammeters for all three phases? Provide one voltmeter with a selector switch to
enable any one of the phase voltages to be
read?
Provide metering for outgoing circuits?
Provide main LV switch-disconnector in the LV compartment in order to isolate the LV busbars from the transformer?
Provide main LV circuit-breaker in the LV compartment between the transformer and the LV busbars?
Provide a single-phase 16 A three-pin socket- outlet in accordance with SANS 60884-1?
Provide an LV compartment lampholder in accordance with SANS 61184
Standardized street lighting panel to be provided?
	Yes                     
CB 	    
As per CB            specifications      
 PILC/XLPE         
 three-core           

95                                       

Three-core             

Yes                     
Yes                                   
Yes
xxxxxxxxxxx 

6/ phase                         

Yes                             


Yes                         

65mm                     

Yes                     

1                         

No                             

No	

No                           
No                         


No                     

No                            

Yes                      


No                             
No                          
 No                                 
	





















	
Item
	Sub clause of
NRS 004
	
Description
	
Schedule A
	
Schedule B

	53


54
55
56
57

58
59

60

61
62

63

64
65
66
	6.3.3.5.10


6.3.3.5.10
6.3.3.6.1
6.4.4
7.5.2

8.1.1
8.4.3

8.4.4

8.4.7
8.4.7

8.5

8.6.1
8.6.5
9.1
	Transformer unit shall be fitted with a top-oil thermoelectric temperature-sensing element?

The maximum allowable temperature Auxiliary circuit wiring details Transformer vector group
Paint thickness to be verified to SANS 2808

Method for attaching labels
Primary  voltage,  secondary  voltage  and  kVA
rating stencilled on the front, centre.
Stock number stencilled on the side or rear of the mini-sub.
Colour of main circuit designation labels
Method  for  fixing  and  removal  of  main  circuit designation labels
Any other notices, nameplates or labels required?
Documentation to be supplied on handing over 
Any other diagrams
Method used to attach and detach the supports
	
Yes                     

As pet transformer spec.
DYN II
Yes                             

Bolted on
Yes                      

Yes                                      

Yellow back        ground and black 
Bolts through          threads no nuts       

No 	             
O& manual as        specified                   
Line diagram 
N/A
	





[bookmark: _Toc48572029][bookmark: _Toc54088808]C3.2.2. MV Switchgear 
1.2.10. [bookmark: _Toc54088809]Unit type and rating:
· Merlin Gerin, 12kV, 50Hz (NE-BI) RM6 2-way Ring Main Unit rated at 630A full load current 
· 20kA fault level for 1 sec at 50 Hz as per IEC62271-200
· 28kV impulse RMS withstand voltage at 50 Hz
· Circuit breakers to be motorized to allow remote switching via plug in/out lanyard 10m long.
1.2.11. [bookmark: _Toc54088810]Configuration: 
· 1 No. 630A load make, fault break switch disconnector for ring main cable 
· 1 No. 630A Circuit Breaker for transformer feed 
· Integral Earth switch on switch disconnector and circuit breaker
1.2.12. [bookmark: _Toc54088811]Protection and indication:
· Ring Main Earth fault indication relay on each leg.
· Electronic adjustable SEPAM on the circuit for transformer protection.
· Cable alive indicators- Supply cables and transformer feeders
	
1.2.13. [bookmark: _Toc54088812]Cable Entries: 
· Cable Box with removable Gland Plate on bottom, with no cross brace suitable for Raychem heat shrink and 3M or equal approved Trifurcating termination kit and Elastimold screened cable connection for transformer
· The cable box shall be rated for an internal arch of 16kA, 1sec.
1.2.14. [bookmark: _Toc54088813]Factory Tests:
· Pressure test
· Operation of protection
· Functional Test on isolation and short circuit breakers
	
1.2.15. [bookmark: _Toc54088814]Site/Commission Test:
· Pressure test
· Phase rotation 
· Protection operation
· Functional test on isolation and circuit breakers
· Setting of protection
	
1.2.16. [bookmark: _Toc54088815]Enclosure
· The enclosure shall have a degree of protection of at least IP35 in accordance with
SANS 60529.
· Ventilation louvres shall be provided for the mini-sub MV and LV compartments
· The positions of the MV and LV equipment shall be such that the MV and LV cable entry positions correspond to the plinth design

1.2.17. [bookmark: _Toc54088816]General Arrangement:
· All Necessary safety and identification labelling 
· Indoor type mounted on a 600mm box stand and feet to straddle 1-metre wide trench.

1.2.18. [bookmark: _Toc54088817]Colour:
· Complete Unit including cable boxes and box stand to be grey hammertone vedoc VEP 7306

[bookmark: _Toc48572030][bookmark: _Toc54088818]C3.2.3.	LV Switchgear


The LV switchgear shall be equipped with Air Circuit Breaker (ACB) rated at 1250A nominal current, 420V to supply the MCC cubicle, with busbars which will enable the termination of 300mm2 4 core XLPE , PVC Insulated, PVC bedded, AWA PVC sheathed 600 / 1000V cables manufactured to SANS 1507-4) cables per phase. These cables shall be installed in a trefoil formation









[bookmark: _Toc48572031][bookmark: _Toc54088819]C.3.2.4.	Transformer specifications 
Specifications listed below:
· Rating: 630kVA
· Voltage ratio: 11/0.4kV
· conservator type unit
· Oil Natural Air Natural (ONAN)
	Transformer Technical Data sheet

	Description
	Unit
	Guaranteed Value

	Transformer Type
	-
	Distribution

	Standards
	-
	SANS 780 & IEC 60076

	Type
	-
	Free Breathing

	Installation
	-
	Miniature Substation

	Max. Ambient Temperature
	-
	40°C

	Altitude
	-
	<=1800m

	Nominal Power
	kVA
	630

	Primary Voltage
	kV
	11

	Secondary Voltage
	kV
	0.42

	Rated Frequency
	Hz
	50

	Cooling System 
	-
	ONAN

	No of Windings per leg
	-
	2

	No of Phases
	-
	3

	Tap Changer
	-
	NLTC

	Tap Range
	-
	±2.5% & 5&

	Coolant
	-
	Mineral Oil

	No-Load Losses
	kW
	±1.1

	Load Losses
	kW
	±5.4

	Impedance
	%
	4.5 to 5.5

	Temperature Rise Top Oil
	K
	60°C

	Temperature Rise Windings
	K
	65°C

	Basic Insulation Level

	-Primary (Non-exposed/ Exposed)
	kV
	75 / 95

	-Secondary (Non-exposed / Exposed )
	kV
	25 / 30

	Power Frequency Withstand Voltage

	-Primary – Induced Voltage
	kV
	Double Primary Voltage @ 100Hz

	-Secondary – Induced Voltage
	kV
	Double Secondary Voltage @ 100Hz

	Separate Source Withstand Test

	-Primary 
	kV
	28

	-Secondary
	kV
	2.5

	Vector Group
	-
	Dyn11

	Winding Material HV & LV
	-
	Cu /Cu

	Core Material
	-
	Grain Orientated Silicon Steel

	Location of HV Bushings
	-
	Tank Side

	Location of LV Bushings
	-
	Tank Side

	HV Bushing Materiel 
	-
	Porcelain

	LV Bushings Materiel
	-
	Porcelain



[bookmark: _Toc48572032][bookmark: _Toc54088820]C.3.2.5.	Decommissioning of existing transformer.
1.2.1. Decommission existing transformer, remove termination in the main electrical panel.
1.2.2. Run the generator to power the workshop while installing the Miniature substation.
1.2.3. The new miniature substation should be installed by replacing the decommissioned transformer and made to operate.
1.2.4. Transformer terminations, lugs, nuts, accessories, etc; is to be catered for installation.
[bookmark: _Toc48572033][bookmark: _Toc54088821]C.3.2.6.	Factory Acceptance Test (FAT)
1.2.5. The contractor to allow three Umgeni Water representative to witness the FAT.
1.2.6. The contractor to allow for expenses with regards to travelling, accommodation, etc; for the Umgeni Water representatives should the FAT be at a location out of Kwa-Zulu Natal.

Miniature substation, Transformer drawings, testing, results and certificates are to be submitted to the Project Leader, which are to be in accordance with Umgeni Water Electrical Specifications and SANS Standards.

[bookmark: _Toc54088822]C3.3.	Technical Specification for Standby Generator 


This specification provides for the design, manufacture, supply and delivery of a new fully 630kVA, 400V, 50Hz diesel generator set for Mkondeni workshop. 
The generator will be installed in a generator room. The supplied Generator set shall meet or exceed the following specifications
2.3.1. [bookmark: _Toc54088823]General 

	Frequency (Hz)
	50

	Voltage (V)
	              400/230

	Power (kVA)
	630  

	Standard Control Panel
	Digital controller



	
2.3.2. [bookmark: _Toc54088824] Engine Data

	Speed (RPM)
	1500

	Maximum stand-by power at rated RPM (kW)
	630

	Frequency output 
	50Hz

	Engine rating (kW)
	60

	Governor type
	                                  Electric



2.3.3. [bookmark: _Toc54088825]Exhaust System
	Max. exhaust back pressure (mm H2O)
	4.5



3.3.5. [bookmark: _Toc54088826]Fuel System

Generator tank shall have a fuel capacity to last for 8 hours of continuous operation at full load without being refilled.
Fuel tanks shall be designed in a way that it can be easily drained in an event of the diesel contamination. It shall also be positioned in a way that will provide ease during fuel refilling and or refueling.
It shall be fitted with a fuel gauge linked to the electrical control panel for displaying the fuel level.  
[bookmark: _Toc54088827]Please note the oil drain valve shall be extended with a pipe to make it easy to drain oil. 
Note, the diesel tank shall be fitted with a level switch with shall have two alarm levels. 
· 1st level to sound alarm when the diesel level is below 30%
· 2nd level cut the Engine when the level is below 10%

	Consumption @ 100% load (L/h)
	11.1

	Consumption @ 75% load (L/h)
	8.6

	Consumption @ 50% load (L/h)
	6.3

	Consumption @ 25% load (L/h)
	3.8

	
	



3.3.6. [bookmark: _Toc54088828] Oil System

	Oil capacity (L)
	8.5

	Min. oil pressure (bar)
	1

	Max. oil pressure (bar)
	5

	Oil consumption 100% load (L/h)
	≤ 0.2

	Oil sump capacity (L)
	32



3.3.7. [bookmark: _Toc54088829]Coolant System

	Max ambient temp, Deg. C at rated load
	50

	Radiator system capacity, including Engine 
	15 Ltr

	Water pump type 
	Centrifuge gear driven



3.3.8. [bookmark: _Toc54088830]Alternator Data

	Number of Phase
	3 phase

	Power factor (Cos Phi)
	0.8

	Current @0.8PF (Amps)
	62.6

	Type
	4 pole, Rotating field

	Exciter Type 
	Brushless (Permanent magnet)

	Voltage regulator 
	Solid state

	insulation 
	Class H

	Temperature rise 
	125 Deg. C (Class H)

	Bearing
	1, Sealed 

	Coupling
	Flexible disc close coupled

	Voltage regulation: No load to full load
	2 phase sensing, ± 1%

	One step load acceptance
	100% of rated

	Unbalance load capability
	25% of rated current


3.3.9. [bookmark: _Toc54088831]Control panel 

The control unit shall allow operation in manual or automatic mode. I shall be equipped with an LCD screen; a user-friendly display that offers high-quality basic functions to guarantee simplicity and reliable operation of the generating set. 

Control panel shall come with an identical display to be installed in the control room mainly for displaying parameters. Contractor shall supply and install network cables (Ethernet cable) and accessories.   

It shall also be programmable on site and shall, as a minimum, incorporate the following parameters

	Controller type
	Features 
	Display parameter 
	Audio Visual Warning
	 Shut down with audio visual annunciation

	Digital Controller
	Compact and microprocessor based fully configuration unit.
	Engine Oil pressure
	Low Oil pressure 
	Low Oil pressure

	
	Graphic display 
	Coolant temperature 
	High  Coolant temperature 
	High Coolant temperature

	
	Integrated DG set controller
	Fuel level indication %
	Low Battery Voltage 
	Engine Over speed

	
	Incorporate both engine and alternator parameter in one console
	Battery voltage 
	Low fuel level
	Engine underspend

	
	Fully configurable digital out put
	Engine RPM
	
	Low Fuel

	
	Remote start 
	Genset running hours
	
	Over load

	
	
	Gen- Volts-Phase- Neutral& Phase-Phase 
	
	Under voltage

	
	
	Generator current (Amps)
	
	Over voltage

	
	
	Power factor 
	
	Over frequency

	
	
	KWHR
	
	Under frequency

	
	
	KW
	
	


[bookmark: _Toc54088832]







3.3.10. Change over panel

Contractor shall design an automatic change over switch panel. 
The change over panel shall be sized to withstand the full load current from the generator set and shall withstand the short circuit current of generator. The changeover panel shall be linked to the supply specified bellow; 
Supply Voltage:          		 415 / 230V 4-wire
Frequency:                 		 50 Hz
Power:	630kVA
Earthing system:         		 TN-S

Raw Power Supply authority:      Umgeni Water

This panel shall be designed and constructed as per Umgeni Water Electrical specifications.

3.3.11. [bookmark: _Toc54088833]Cable work 
· [bookmark: _Toc54088834]Supply and install 60 meter of 300mm2 4-core ECE cable (30 meter from main CB to Genset Changeover Switch and 30 meter from Genset to main MCC bus bars).
· [bookmark: _Toc54088835]Contractor shall carry out cable terminations as per Umgeni Water specifications, Cable shall be laid in a 550mm deep trench as per Umgeni Electrical specifications.
· [bookmark: _Toc54088836]After back filling, the Contractor shall supply and install concrete cable markers.

































1.	Employer’s objectives
 	Describe the Employer’s objectives for the services.
	
	Installation of miniature substation and standby generator, the project will upgrade the size to meet the upgrade in Mkondeni system and the installation of standby generator to back-up power during main power outages.

2. 	Description of the services 
Provide a short description of the services and outline what the service provider is to provide.

Umgeni Water requires an electrical contractor to supply, decommission the existing transformer and install 630kVA 11kVA, 420V miniature substation and standby Generator at Mkondeni Workshop.
3. 	Extent of the services
Provide a brief outline of the extent of services and key deliverables, as appropriate.

supply and installation of Miniature substation and standby generator.

4. 	Use of reasonable skill and care 
Identify the work for which the service provider is required to exercise reasonable skill and care.
The installation must be done by the master electrician (with wireman’s license). The workmanship must be taken to consideration in all the installation. 

5. 	Co-operation with other services providers
Identify other service providers on the contract and establish how interactions are to take place.
The Specified Generator will be source under the existing UW contract.

6. 	Brief 

· Design and manufacture a (type A- long) 630kVA 11kVA, 400V miniature substation as specified in Technical Specifications and SANS 1029.
Miniature substation as specified on Technical Specification.
MV side of the transformer shall be fitted with an RM6 switchgear as specified in technical specification, MV Switchgear
· LV Side of the transformer shall be fitted with switchgear as specified in the technical specifications.
· A natural oil cooled transformer as specified in technical specification.
· Carry out quality control of the installation, and ensure that the installation is as per the Supplier’s operation and maintenance manual. Sign off and approve the installation. Carry out all necessary tests as per operation and maintenance manuals from the manufacture.
· Supply and install 630kVA standby diesel generator set with a capacity of eight hour back up time at full load, as specified on the technical specifications.
· Supply and install automatic changeover panel as specified in technical specifications section.
· Design a load bank that prevents wet stacking when the load is less than 35% of the generator set.
· Assembly a 630kVA standby generator with a canopy as per technical specifications section 3, deliver and install a generator set to site.

The Contractor shall keep in mind that all work that will involve power interruption will have to be done per Umgeni Water’s approval.
Ensure that all work is done according to Umgeni Water particular specification for mechanical work, electrical and instrumentation installations. 


7. 	Reference data
State the reports, surveys, agreements, etc. upon which the service provider is to base his brief, if any.
Not Applicable

8. 	Applicable national and international standards 
	8.1.	SANS 1092:2010.
	8.2.	SANS 1091
0	8.3.	IEC 62271-2000
8.4.	SANS 60529.
8.5.	SANS 780 
8.6.	IEC 60076
8.7.	SANS 1507-4

9. 	Particular/Generic specifications
Attach or make reference to particular (purpose written) or generic (standard in-house) specifications (purpose written for the contract or specifications of the procuring department or General associations) which are applicable to the services.

Not Applicable

10. 	Approvals 
Identify all those parties from whom the service provider has to obtain approvals and outline the procedures that are to be followed.

The contractor must get approval of drawings from project leader and the equipment must be approve in the FAT.

11. 	Procurement 
State requirements appropriate to the methodology and procedures that are to be followed. (See Annex A of SANS 1O396:2003).  Make reference to preference schedules, if any.

State the number, title and edition of resource specifications applicable to the contract and all data and definitions required e.g. definitions of target groups, weighting factors, etc. (Refer to SANS 1O396 for specific guidance)

Not Applicable

12. 	Access to land / buildings / sites 
Describe arrangements for access to land / buildings / sites and any restrictions relating thereto.
 
No restriction once the contractor is inducted on site.

13. 	Planning and programming
Refer to Returnable Schedule T2.2.A16 and state requirements for format of programme, level of detail, critical path activities and their dependencies, frequency of updating, key dates, etc.

Provide particulars of phased completion, programme constraints, milestone dates for completion etc., as necessary.

The project must be within 6 months for the construction, putting in consideration of the waiting period for the generator and miniature substation assembling. The program shall also include the shutdowns and the plant to supply power during the changing of the transformer. 

List the activities to be carried out by the Employer or by others which are to be included in the service provider’s programme.

Municipality and UW electrical artisan switching, earthing and locking out in the municipality substation in the event of removing the existing transformer.

14. 	Software application for programming 
Not Applicable.

15. 	Quality management
Refer to Returnable Schedule T2.2.A9 and Briefly describe;
- what quality management systems the service provider will be required to    operate, and
- the intention of the Employer in terms of the monitoring of quality 
  management, who will carry out such monitoring (Employer or agent)   
and if the monitoring forms part of a quality management system or will require only an occasional   verification.

16. 	Format of communications
State formats of different types of communications and attach pro formas of such documents to the end of the scope of work.

Also state requirements for the format of documents which are to be retained, e.g. microfilm, computer tapes / CDs or original form.

17. 	Key personnel
Refer to Returnable Schedule T2.2.17 and C1.2 Part 2: Contract Data to be provided by the Service Provider. 

18. 	Management meetings
Provide particulars of times, days, location, attendance requirements, etc., as required, and state requirements for representatives having the necessary delegated authority.

Inception meeting will be schedule with the contractor at Mkondeni boardroom, contractor representative must be their project manager.

19. 	Forms for contract administration 
State requirements, if any, for use of standard forms for contract administration purposes and attach pro forma documents as annexures (Refer to Part C5).    

Also state if forms are available in electronic format. 
Not Applicable

20. 	Electronic payments
State details required / procedures to obtain electronic payments, as relevant.

The payments will be per the BOQ, the payment schedule must be done in a spreadsheet format.

21. 	Daily records
State requirements for daily records of time spent.

Site register to be filled daily.

22. 	General indemnity insurances 
Refer to C.1.2 Contract Data Clause 5.4.1 and state number of copies and the place where policies 	are to be presented.

23. 	Payment certificates
State requirements for substantiation of claims in payment certificates to expedite verification and certification by Employer’s representative.

Payment certificate will be sent to UW project leader

24. 	Use of documents by the Employer 
State the purpose for which the Employer will be using any documents provided by the service provider e.g., construction, maintenance, extension, rebuilding, etc.

Service provider must provide documentation as per the standard and datasheet to be approved.

25. 	Property provided for the Service provider’s use 
List all property to be provided by the Employer and others for the service provider's use.

Not Applicable

26. 	Proof of compliance with the law
State specific documents / methods by which compliance with any legislation is to be verified, as necessary.
All compliance certificate must be sent and department of labour documentation for the equipment that fall in their category.
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[bookmark: Site_Information]PART C4:	SITE INFORMATION

Mkondeni workshop is located in Mkondeni industrial park, 9 Portland road.

	Site Description
	Longitude
	Latitude

	UW – Mkondeni Workshop
	30.419909
	-29.653351
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C5.1        Umgeni Water Insurance Summary and Claims Procedure
C5.2	Drawings
C5.3	Umgeni Water Particular Specification for OHSA 1993 Health and Safety
	C5.4	Asset Numbering Standard
	C5.5	O-M Manual Version 2
	C5.6	Part Spec Construction Health – Safety
	C5.7	Particular Spec for Instrumentation
	C5.8	Quality Assurance Procedure
	C5.9	Standard Spec for Mechanical Works
	C5.10	Technical Spec for Electrical Installations
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Annex C

Local Content Declaration - Summary Schedule 

(C1) Tender No.

(C2) Tender description: 

(C3) Designated product(s)

(C4) Tender Authority:

(C5) Tendering Entity name:

(C6) Tender Exchange Rate: Pula EU GBP

(C7) Specified local content %

Calculation of local content Tender  summary

Tender item 

no's

Tender price 

- each 

(excl VAT)

Exempted 

imported 

value

Tender value  

net of 

exempted 

imported  

content

Imported 

value

Local value

Local 

content % 

(per item)

Tender 

Qty

Total tender 

value

Total exempted 

imported content

Total Imported 

content

(C8) (C10) (C11) (C12) (C13) (C14) (C15) (C16) (C17) (C18) (C19)

 (C20)  Total tender  value R  0

Signature of tenderer from Annex B (C21) Total Exempt imported content R  0

(C22) Total Tender value net of exempt imported content R  0

(C23) Total Imported content R  0

(C24) Total local content R  0

Date:  (C25) Average local content % of tender



Note: VAT to be excluded from all 

calculations



List of items

(C9)
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