NEC3 Supply Contract (SC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________) |  |
| for | Supply and delivery of Lighting and Small Power spares at Medupi Power Station for a period of 60 months (5 years) on as and when required (ADHOC)Insert title of the goods and services |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | [●] |
| Part C2 | Pricing Data | [●] |
| Part C3 | Scope of Work | [●] |
| CONTRACT No. | [Insert at award stage] |  |

# PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] | [●] |
| C1.2a | Contract Data provided by the Purchaser | [●] |
| C1.2b | Contract Data provided by the Supplier [to be inserted from Returnable Documents at award stage] | [●] |
| C1.3 | Proforma Guarantees | [●] |

C1.1 Form of Offer & Acceptance

## Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply and delivery of Lighting and Small Power spares at Medupi Power Station for a period of 60 months (5 years) on as and when required (ADHOC)

The tenderer, identified in the Offer signature block, has

| either | examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender. |
| --- | --- |
| or | examined the draft contract as listed in the Acceptance section and agreed to provide this Offer. |

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

|  | The offered total of the Prices exclusive of VAT is | R [●] Rate based |
| --- | --- | --- |
|  | Value Added Tax @ 15% is | R [●] Rate based |
|  | The offered total of the amount due inclusive of VAT is | R [●] Rate based |
|  | (in words) [●] Rate based |  |

This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Purchaser | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | [●] | [●] |
| 2 | [●] | [●] |
| 3 | [●] | [●] |
| 4 | [●] | [●] |
| 5 | [●] | [●] |
| 6 | [●] | [●] |
| 7 | [●] | [●] |

By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Purchaser |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of | (Insert name and address of organisation) |  | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 SC3 Contract Data

# Part one - Data provided by the Purchaser

| Clause |  |  |  | ## Statement |  |  | ## Data |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  | ## General |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | The conditions of contract are the core clauses and the clauses for Options |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | X1: Price adjustment for inflation |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | X2 Changes in the law |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | X7: Delay damages |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | X17: Low performance damages |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Z: Additional conditions of contract |  |  |  |  |  |  |  |  |
|  |  |  |  | of the NEC3 Supply Contract (April 2013) |  |  | (If the December 2009 edition is to be used delete April 2013 and replace by December 2013) |  |  |  |  |  |  |  |  |
| 10.1 |  |  |  | The Purchaser is (name): |  |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state-owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |  |  |  |  |
|  |  |  |  | Address |  |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |  |  |  |  |
|  |  |  |  | Tel No. |  |  | [●] |  |  |  |  |  |  |  |  |
|  |  |  |  | Fax No. |  |  | [●] |  |  |  |  |  |  |  |  |
| 10.1 |  |  |  | The Supply Manager is (name): |  |  | Lebo Pebane |  |  |  |  |  |  |  |  |
|  |  |  |  | Address |  |  | Medupi Power station |  |  |  |  |  |  |  |  |
|  |  |  |  | Tel |  |  | 017 612 6663 |  |  |  |  |  |  |  |  |
|  |  |  |  | Fax |  |  | N/A |  |  |  |  |  |  |  |  |
|  |  |  |  | e-mail |  |  | pebanel@eskom.co.za |  |  |  |  |  |  |  |  |
| 11.2(13) |  |  |  | The goods are |  |  | Lighting and Small Power Spares |  |  |  |  |  |  |  |  |
| 11.2(13) |  |  |  | The services are |  |  | Supply and delivery of Lighting and Small Power spares Contract at Medupi Power Station for a period of 60 months (5 years) on as and when required (ADHOC) |  |  |  |  |  |  |  |  |
| 11.2(14) |  |  |  | The following matters will be included in the Risk Register |  |  | Late delivery, Delivery of a wrong, Obsolete spares/ items |  |  |  |  |  |  |  |  |
| 11.2(15) |  |  |  | The Goods Information is in |  |  | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |  |  |  |  |  |
| 11.2(15) |  |  |  | The Supply Requirements as part of the Goods Information is in |  |  | Annexure A to this Contract Data |  |  |  |  |  |  |  |  |
| 12.2 |  |  |  | The law of the contract is the law of |  |  | the Republic of South Africa |  |  |  |  |  |  |  |  |
| 13.1 |  |  |  | The language of this contract is |  |  | English |  |  |  |  |  |  |  |  |
| 13.3 |  |  |  | The period for reply is |  |  | Two (2) weeks |  |  |  |  |  |  |  |  |
| ## 2 |  |  |  | ## The Supplier’s main responsibilities |  |  | Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |  |
| ## 3 |  |  |  | ## Time |  |  |  |  |  |  |  |  |  |  |  |
| 30.1 |  |  |  | The starting date is. |  |  | TBC |  |  |  |  |  |  |  |  |
| 30.1 |  |  |  | The delivery date of the goods and services is: |  |  | goods and services |  |  |  |  |  | delivery date |  |  |
|  |  |  |  |  |  |  | 1 | As per purchase order |  |  |  |  | As per purchase order |  |  |
|  |  |  |  |  |  |  | 2 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 3 |  |  |  |  |  |  |  |  |
| 30.2 |  |  |  | The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date. |  |  | As per agreed date on the purchase order |  |  |  |  |  |  |  |  |
| 31.1 |  |  |  | The Supplier is to submit a first programme for acceptance within |  |  | One (1) week of the Contract Date. |  |  |  |  |  |  |  |  |
| 32.2 |  |  |  | The Supplier submits revised programmes at intervals no longer than |  |  | Two (2) weeks. |  |  |  |  |  |  |  |  |
| ## 4 |  |  |  | ## Testing and defects |  |  |  |  |  |  |  |  |  |  |  |
| 42 |  |  |  | The defects date is |  |  | Fifty-two (52) weeks after Delivery. |  |  |  |  |  |  |  |  |
| 43.2 |  |  |  | The defect correction period is |  |  | To be agreed within 48 Hours, on the first working day from receipt of the Purchaser’s written defects notification |  |  |  |  |  |  |  |  |
|  |  |  |  | except that the defect correction period for |  |  | [●] is [●] weeks |  |  |  |  |  |  |  |  |
|  |  |  |  | and the defect correction period for |  |  | [●] is [●] weeks |  |  |  |  |  |  |  |  |
| 42.2 |  |  |  | The defects access period is |  |  | Five (5) days |  |  |  |  |  |  |  |  |
|  |  |  |  | except that the defect access period for |  |  | [●] is [●] |  |  |  |  |  |  |  |  |
|  |  |  |  | and the defect access period for |  |  | [●] is [●] |  |  |  |  |  |  |  |  |
| ## 5 |  |  |  | ## Payment |  |  |  |  |  |  |  |  |  |  |  |
| 50.1 |  |  |  | The assessment interval is |  |  | between the twenty-five (25) days of each successive month. |  |  |  |  |  |  |  |  |
| 51.1 |  |  |  | The currency of this contract is the |  |  | South African Rand |  |  |  |  |  |  |  |  |
| 51.2 |  |  |  | The period within which payments are made is |  |  | Eight to nine (8-9) weeks after valid invoice is accepted. |  |  |  |  |  |  |  |  |
| 51.4 |  |  |  | The interest rate is |  |  | the publicly quoted prime rate of interest (calculated on a 365-day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |  |  |  |  |
| ## 6 |  |  |  | ## Compensation events |  |  | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |  |
| ## 7 |  |  |  | ## Title |  |  | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |  |
| ## 8 |  |  |  | ## Risks, liabilities, indemnities and insurance |  |  |  |  |  |  |  |  |  |  |  |
| 80.1 |  |  |  | These are additional Purchaser’s risks |  |  | Only the risks under sub-clause 80.1 of the NEC3 SC |  |  |  |  |  |  |  |  |
| 88.1 |  |  |  | The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to |  |  | R0.0 (zero Rand) |  |  |  |  |  |  |  |  |
| 88.2 |  |  |  | For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to |  |  | (1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event and (2) for all other existing Purchaser’s property, the applicable deductible as at contract date |  |  |  |  |  |  |  |  |
| 88.3 |  |  |  | The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to: |  |  | R[●] [This is a commercial decision, but consider using the total of the Prices. Delete this note after inserting a Rand amount] |  |  |  |  |  |  |  |  |
| 88.4 |  |  |  | The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to |  |  | R[●] [This is a commercial decision, but consider using at least the total of the Prices. Delete this note after inserting the Rand amount] |  |  |  |  |  |  |  |  |
| 88.5 |  |  |  | The end of liability date is |  |  | One (1) year after Delivery of the whole of the goods and services. |  |  |  |  |  |  |  |  |
| ## 9 |  |  |  | ## Termination and dispute resolution |  |  |  |  |  |  |  |  |  |  |  |
| 94.1 |  |  |  | The Adjudicator is |  |  | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |  |  |  |  |  |
|  |  |  |  | Address |  |  | [●] |  |  |  |  |  |  |  |  |
|  |  |  |  | Tel No. |  |  | [●] |  |  |  |  |  |  |  |  |
|  |  |  |  | Fax No. |  |  | [●] |  |  |  |  |  |  |  |  |
|  |  |  |  | e-mail |  |  | [●] |  |  |  |  |  |  |  |  |
| 94.2(3) |  |  |  | The Adjudicator nominating body is: |  |  | the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za) |  |  |  |  |  |  |  |  |
| 94.4(2) |  |  |  | The tribunal is: |  |  | arbitration |  |  |  |  |  |  |  |  |
| 94.4(5) |  |  |  | The arbitration procedure is |  |  | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |  |  |
| 94.4(5) |  |  |  | The place where arbitration is to be held is |  |  | South Africa |  |  |  |  |  |  |  |  |
|  |  |  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is |  |  | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |  |  |
| ## 10 |  |  |  | ## Data for Option clauses |  |  |  |  |  |  |  |  |  |  |  |
| X1 |  |  |  | Price adjustment for inflation |  |  |  |  |  |  |  |  |  |  |  |
| X1.1 |  |  |  | The base date for indices is |  |  | Rates are fixed and firm for first 12 months after first order placement date. There after CPA escalation will apply. Base date will be the month before the month which the enquiry closes. |  |  |  |  |  |  |  |  |
|  |  |  |  | The proportions used to calculate the Price Adjustment Factor are: |  |  | Proportion |  | Linked to index for |  |  |  |  | Index prepared by Bavuyile Mcondobi |  |
|  |  |  |  |  |  |  | 85%. |  | Electrical Engineering |  |  |  |  | SEIFSA [Table: G-1] |  |
|  |  |  |  |  |  |  | 5% |  | Non-adjustable |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 100 |  |  |  |  |  |  |  |  |
| X2 |  |  |  | Changes in the law |  |  |  |  |  |  |  |  |  |  |  |
| X2.1 |  |  |  | A change in the law of |  |  | [●] is a compensation event if it occurs after the Contract Date |  |  |  |  |  |  |  |  |
| X7 |  |  |  | Delay damages |  |  |  |  |  |  |  |  |  |  |  |
| X7.1 |  |  |  | Delay damages for Delivery are |  |  | Delivery of |  |  |  |  | amount per day |  |  |  |
| No. |  | KPA |  |  |  |  | Employer’s Requirement |  |  |  |  | Damages payable by Contractor |  |  |  |  |
| 1 |  | On time delivery to Medupi Power Station |  |  |  |  | All deliveries to be delivered as per agreed lead time of the contract working from the time the supplier acknowledge receipt of an official Eskom Order Number that start with 45 number |  |  |  |  | 5% of full purchase order cost for 10days of delay of purchase order up to maximum of 10% of total value. |  |  |  |  |
| 2 |  | On time delivery to Medupi Power Station |  |  |  |  | All deliveries to be delivered as per agreed lead time of the contract working from the time the supplier acknowledge receipt of an official Eskom Order Number that start with 45 number |  |  |  |  | Failure to deliver will lead to contract termination. And a contractor will not be considered to do business with Medupi Power Station for two (2) years after termination of a contract |  |  |  |  |
| X17 |  |  |  | Low performance damages |  |  |  |  |  |  |  |  |  |  |  |
| X17.1 |  |  |  | The amounts for low performance damages are: |  |  | amount |  |  | performance level |  |  |  |  |  |
|  |  |  |  |  |  |  | Contractor’s full cost |  |  | for Premature failure and defects rectification |  |  |  |  |  |
|  |  |  |  |  |  |  | 5% of Purchase order value |  |  | for Defects between 32-45 days |  |  |  |  |  |
|  |  |  |  |  |  |  | 7.5% of Purchase order value |  |  | for Delays between 46-59 days |  |  |  |  |  |
|  |  |  |  |  |  |  | 10% of Purchase order value |  |  | for Delays between 60 days and more |  |  |  |  |  |
| Z |  |  |  | The additional conditions of contract are |  |  | Z1 to Z15 always apply for Eskom |  |  |  |  |  |  |  |  |
| Z1 |  |  | Cession delegation and assignment |  |  |  |  |  |  |  |  |  |  |  |  |
| Z1.1 |  |  | The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z1.2 |  |  | Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2 |  |  | Joint ventures |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.1 |  |  | If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.2 |  |  | Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.3 |  |  | The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z3 |  |  |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |  |  |  |  |  |
| Z3.1 |  |  |  | Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change. |  |  |  |  |  |  |  |  |  |  |  |
| Z3.2 |  |  |  | The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager. |  |  |  |  |  |  |  |  |  |  |  |
| Z3.3 |  |  |  | Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services. |  |  |  |  |  |  |  |  |  |  |  |
| Z3.4 |  |  |  | Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |  |  |  |  |  |
| Z4 |  |  | Confidentiality |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.1 |  |  | The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time). Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.2 |  |  | If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.3 |  |  | In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.4 |  |  | The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager. All rights in and to all such images vests exclusively in the Purchaser. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.5 |  |  | The Supplier ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z5 |  |  | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |  |  |  |  |  |
| Z5.1 |  |  | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z6 |  |  |  | Health, safety and the environment: Add to core clause 25.4 |  |  |  |  |  |  |  |  |  |  |  |
| Z6.1 |  |  |  | The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. Without limitation the Supplier: warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |  |  |  |
| Z6.2 |  |  |  | The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |  |  |  |
| Z7 |  |  | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.1 |  |  | Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.2 |  |  | If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.3 |  |  | The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z8 |  |  | Notifying compensation events |  |  |  |  |  |  |  |  |  |  |  |  |
| Z8.1 |  |  | Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9 |  |  | Purchaser’s limitation of liability |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9.1 |  |  | The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9.2 |  |  | The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z10 |  |  | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |  |  |  |  |  |
| Z10.1 |  |  | or had a business rescue order granted against it. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z11 |  |  | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |  |  |  |  |  |
| Z11.1 |  |  | If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12 |  | Ethics |  |  |  |  |  |  |  |  |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Affected Party |  |  |  |  | means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |  |  |  |  |  |  |  |  |  |
| Coercive Action |  |  |  |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |  |  |  |
| Collusive Action |  |  |  |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |  |  |  |
| Committing Party |  |  |  |  | means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, |  |  |  |  |  |  |  |  |  |
| Corrupt Action |  |  |  |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |  |  |  |  |  |  |  |  |  |
| Fraudulent Action |  |  |  |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |  |  |  |  |  |  |  |  |  |
| Obstructive Action |  |  |  |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |  |  |  |  |  |  |  |  |  |
| Prohibited Action |  |  |  |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |  |  |  |  |  |  |  |  |  |
| Z12.1 |  | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12.2 |  | The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12.3 |  | If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12.4 |  | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation. |  |  |  |  |  |  |  |  |  |  |  |  |

Z13	Insurance

Z __13.1	Replace core clause 84 with the following:

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued. |

INSURANCE TABLE A

Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the goods, plant and materials; The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.. Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract; Loss of or damage to property Purchaser’s property The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance. Other property The replacement cost Death of or bodily injury The amount required by the applicable law.. Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law.

Z _13.2		Replace core clause 87 with the following:

| Insurance by the Purchaser |  |  |  | 87 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 87.1 | The Purchaser provides the insurances stated in the Insurance Table B |  |
|  |  |  |  |  | INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |
| Z14 |  | Nuclear Liability |  |  |  |  |
| Z14.1 |  | The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |  |  |  |
| Z14.2 |  | The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.3 |  | Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.4 |  | The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |  |  |  |
| Z14.5 |  | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |  |  |  |
| Z15 |  | Asbestos |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |
| AAIA |  |  |  | means approved asbestos inspection authority. |  |  |
| ACM |  |  |  | means asbestos containing materials. |  |  |
| AL |  |  |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4-hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |  |  |
| Ambient Air |  |  |  | means bbreathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |  |  |
| Compliance Monitoring |  |  |  | means ccompliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| OEL |  |  |  | means ooccupational exposure limit. |  |  |
| Parallel Measurements |  |  |  | means mmeasurements performed in parallel, yet separately, to existing measurements to verify validity of results. |  |  |
| Safe Levels |  |  |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| Standard |  |  |  | means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |  |  |
| SANAS |  |  |  | means the South African National Accreditation System. |  |  |
| TWA |  |  |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalized to the baseline of a 4-hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |  |  |
| Z15.1 |  | The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short-term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |  |  |  |
| Z15.2 |  | Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance, the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |  |  |  |
| Z15.3 |  | The Purchaser manages asbestos and ACM according to the Standard. |  |  |  |  |
| Z15.4 |  | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |  |  |  |
| Z15.5 |  | The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |  |  |  |
| Z15.6 |  | The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations. |  |  |  |  |
| Z15.7 |  | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation. |  |  |  |  |

Annexure A:	Supply Requirements

[Notes: The example given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive is based on Incoterms 2000.   However, users will probably wish to use Incoterms 2010 which the details below are based on.    Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

## The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place.  Delete all the other groups and this note]

| Group | Category | Term | Delivery Place |
| --- | --- | --- | --- |
| E | departure | EXW |  |
| F | main carriage unpaid | FCA, FAS, FOB |  |
| C | main carriage paid | CFR, CIF, CPT, CIP |  |
| D | arrival | DAT, DAP, DDP |  |

The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

| A | The Supplier’s obligations | B | The Purchaser’s obligations |
| --- | --- | --- | --- |
| A1 | Provision of goods in conformity with contract | B1 | Payment of the price |
| A2 | Licences, authorisations and formalities | B2 | Licences, authorisations and formalities |
| A3 | Contracts of carriage and insurance | B3 | Contracts of carriage and insurance |
| A4 | Delivery | B4 | Taking delivery |
| A5 | Transfer of risks | B5 | Transfer of risks |
| A6 | Division of costs | B6 | Division of costs |
| A7 | Notice to the buyer | B7 | Notice to the seller |
| A8 | Proof of delivery, transport document or equivalent electronic message | B8 | Proof of delivery, transport document or equivalent electronic message |
| A9 | Checking - packing - marking | B9 | Inspection of goods |
| A10 | Other obligations | B10 | Other obligations |

[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.]

All other information NOT pertinent to the above is given in the balance of the Goods Information

## The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]

| 1. The requirements for the supply are | [State the constraints on how the Supplier manufactures, prototypes, tests and stores the goods including order and timing] |  |
| --- | --- | --- |
| 2. The requirements for transport are | [State the extent to which the Supplier transports the goods and the mode of transport] |  |
| 3. The delivery place is | [State the location where the goods are to be placed by the Supplier, such as whether it is a dispatch department at the Supplier’s premises, the Purchaser is to collect or other location the Purchaser may require. If the delivery place for the services is different to the goods state it here] |  |
| 4. Actions of the Parties during supply | Action | Party which does it |
|  | Giving notice of Delivery | Supplier |
|  | Checking packing and marking before dispatch | Supplier |
|  | Contracting for transport | Supplier |
|  | Pay costs of transport | Supplier |
|  | Arrange access to delivery place | Purchaser |
|  | Loading the goods | Supplier |
|  | Unloading the goods | Purchaser |
| For international procurement | Undertake export requirements |  |
|  | Undertake import requirements |  |
| 5. Information to be provided by the Supplier | Title of document |  |
|  | Packing lists for cases and their contents |  |
|  | Copy of invoice for the goods |  |
|  | Delivery Note |  |
|  | Test results and maintenance manuals |  |
| For international procurement | Licences, authorisations and other formalities associated with export of the goods |  |
|  | Air Waybill or Bill of Lading with associated landing, delivery and forwarding order |  |
|  | The Bill of Entry endorsed by the importation authority |  |
|  | Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay |  |
|  | Invoice from the importation clearing agent showing airline fees, landing charges, wharf age and dock dues as applicable |  |
|  | Specify other import documents required by authorised officials. |  |

All other information NOT pertinent to the above is given in the balance of the Goods Information

C1.2 Contract Data

# Part two - Data provided by the Supplier

[Instructions to the contract compiler: (delete this note before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left-hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Notes to a tendering supplier:

- Please read both the NEC3 Supply Contract (SC3) and the relevant parts of its Guidance Notes (SC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.

- The number of the clause which requires the data is shown in the left-hand column for each statement however other clauses may also use the same data

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 10.1 | The Supplier is (Name): |  |  |  |  |
|  | Address |  |  |  |  |
|  | Tel No. |  |  |  |  |
|  | Fax No. |  |  |  |  |
| 11.2(8) | The Goods Information for the Supplier’s design is in: |  |  |  |  |
| 11.2(11) | The tendered total of the Prices is | R , (in words) Rate based |  |  |  |
| 11.2(12) | The price schedule is in: |  |  |  |  |
| 11.2(14) | The following matters will be included in the Risk Register |  |  |  |  |
| 25.2 | The restrictions to access for the Supply Manager and Others to work being done for this contract are |  |  |  |  |
| 30.1 | The delivery date of the goods and services is: | goods and services |  | delivery date |
|  |  | 1 | [●] | [●] |
|  |  | 2 | [●] | [●] |
|  |  | 3 | [●] | [●] |
| 31.1 | The programme identified in the Contract Data is contained in: |  |  |  |  |
| 63.2 | The percentage for overheads and profit added to the Defined Cost is | % |  |  |  |

# Part 2: Pricing Data

NEC3 Supply Contract

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions | 2 |
| C2.2 | The price schedule | [●] |

C2.1 Pricing assumptions

# How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

| Identified and defined terms | 11 11.2 | (11) The Prices are the amounts stated in the price column of the Price Schedule. Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate. |
| --- | --- | --- |
|  |  | (12) The Price Schedule is the price schedule unless later changed in accordance with this contract. |
| Assessing the amount due | 50.2 | The amount due is the Price for each lump sum item in the Price Schedule which the Supplier has completed, where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate, plus, other amounts to be paid to the Supplier, less amounts to be paid by or retained from the Supplier. Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due. |

This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

# Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.

# Preparing the price schedule

Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has

- Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;

- Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

- Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices;

- Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;

- Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.

## Format of the price schedule

Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier.

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule

| Material No. | Description | Long Description | UoM | Quantity | Rate (R) |
| --- | --- | --- | --- | --- | --- |
| 35183 | RECEPTACLE ELECT: WELDING SOCKET;5;5;380 | RECEPTACLE, ELECTRICAL: TYPE: WELDING SOCKET; POLE: 5; WIRE: 5; POTENTIAL: 380 V; CURRENT: 63 A; CONNECTION FEMALE, 3 PIN + NEUTRAL + EARTH, WACO CCE TYPE 6TH | No | 1 |  |  |
| 146419 | LAMP HID: HIGH PRESSURE SODIUM;220 V;250 | LAMP, HIGH INTENSITY DISCHARGE: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 220 V; POWER: 250 W; BASE: ES; COLOR: OPAQUE FINISHED; SUPPL P/N: NAVE250W; REFERENCE NO: NAV-E; 10/SON/E; LENGTH 227MM; ELLIPTICAL SHAPE; OPAQUE FINISHED | No | 1 |  |  |
| 211462 | FIXTURE FLUOR:220 VAC;58 W; LG 1.52 M;2 | FIXTURE, FLUORESCENT LIGHTING: POTENTIAL: 220 VAC; POWER: 58 W; LENGTH: 1.52 M; LAMP: 2; PIN TYPE: LH/RH; MOUNT: CEILING; SUPPL P/N: 2XTLD58W | No | 1 |  |  |
| 242874 | BALAST LMP: SPOTLIGHT;220 V;1;3 A;250 W | BALLAST, LAMP: TYPE: SPOTLIGHT; POTENTIAL: 220 V; LAMP ACCOMMODATION QUANTITY: 1; CURRENT: 3 A; POWER: 250 W; LAMP STYLE: HIGH PRESSURE SODIUM; BALLAST STYLE: RAPID START; LENGTH: 140 MM; MOUNT: BASE PLATE; WIDTH: 65 MM; SUPPL P/N: NAHJ250; ON STATOR | No | 1 |  |  |
| 245435 | BALAST LMP: ELECTRONIC;220 VAC;1;160 MA | BALLAST, LAMP: TYPE: ELECTRONIC; POTENTIAL: 220 VAC; LAMP ACCOMMODATION QUANTITY: 1; CURRENT: 160 MA; POWER: 36 W; LAMP STYLE: FLUORESCENT; LENGTH: 345 MM; HEIGHT: 28 MM; WIDTH: 30 MM; MANUF P/N: QT-FIT 5/8, 1 X 18-39W | No | 1 |  |  |
| 544884 | LAMP FLUOR: TUBE;18 W;59 V; BI-PIN; CW; G13 | LAMP, FLUORESCENT: TYPE: TUBE; POWER: 18 W; POTENTIAL: 59 V; BASE: BI-PIN; COLOR: CW; LENGTH: 589.8 MM; BULB: G13; CLASSIFICATION: EEL-B; MANUF P/N: TL-D 18W/33-640 1SL/25 | No | 1 |  |  |
| 583399 | LAMP FLUOR: SWITCHGEAR CABINET;18 W;230 V | LAMP, FLUORESCENT: TYPE: SWITCHGEAR CABINET; POWER: 18 W; POTENTIAL: 230 V; BASE: G13; COLOR: WHITE; LENGTH: 682 MM; BULB: FLUORESCENT; MANUF P/N: SZ4138.190; REFERENCE NO: 135370(P+S); LAMP INCLUDE SZ2586.010 (230VAC, 6A) | No | 1 |  |  |
| 591832 | BALAST LMP: HP SODIUM;240 VAC;1;1 A;70 W | BALLAST, LAMP: TYPE: HP SODIUM; POTENTIAL: 240 VAC; LAMP ACCOMMODATION QUANTITY: 1; CURRENT: 1 A; POWER: 70 W; LAMP STYLE: METAL HALIDE; BALLAST STYLE: EXTERNAL SUPERIMPOSED IGNITOR Z; LENGTH: 110 MM; HEIGHT: 55 MM; SPECIFICATION: NAHJ70.128; MOUNT: BASE; WIDTH: 65 MM | No | 1 |  |  |
| 594056 | FIXTURE FLUOR:230 V;54 W; LG 1.228 M;2 | FIXTURE, FLUORESCENT LIGHTING: POTENTIAL: 230 V; POWER: 54 W; LENGTH: 1.228 M; LAMP: 2; PIN TYPE: BI-PIN; TYPE: INDUSTRIAL; REFERENCE NO: M95-228/54-ELB; IP 20; BI-PIN ROTA-LOCK LAMP HOLDERS DESIGNED FOR USE WITH T5 16 MM DIAMETER FLUORESCENT LAMPS; THE LOUVER IS FIXED TO THE BODY; BODY COLD ROLLED MILD STEEL WITH A WHITE EPOXY POWDER COATED FINISH; LAMP BASE G5 | No | 1 |  |  |
| 596532 | FIXTURE FLUOR:230 VAC;54 W; LG 4 FT;2 | FIXTURE, FLUORESCENT LIGHTING: POTENTIAL: 230 VAC; POWER: 54 W; LENGTH: 4 FT; LAMP: 2; PIN TYPE: 2 PIN; MOUNT: CEILING; TYPE: INDUSTRIAL; SLIM TYPE TO BE USED IN THE ENERGY SAVER BUILDINGS | No | 1 |  |  |
| 612566 | LAMP FLUOR: SLIMLINE;36 W;220 V;2 PIN; T8 | LAMP, FLUORESCENT: TYPE: SLIMLINE; POWER: 36 W; POTENTIAL: 220 V; BASE: 2 PIN; COLOR: WHITE COOL; LENGTH: 1.8 M; BULB: T8; CLASSIFICATION: GENERAL; SUPPL P/N: L36W/640; QUANTITY PER PACKAGE: 25 | No | 1 |  |  |
| 612567 | LAMP FLUOR: COMPACT;13 W;220 V;4 PIN | LAMP, FLUORESCENT: TYPE: COMPACT; POWER: 13 W; POTENTIAL: 220 V; BASE: 4 PIN; COLOR: WHITE COOL; LENGTH: 188 MM; BULB: G24Q-1; CLASSIFICATION: GENERAL; SUPPL P/N: 13W/840 - D/E; LAMP, FLOURESCENT, 13W/840 - D/E, COMPACT, 13W, 220V. QUANTITY PER PACKAGE: 25 | No | 1 |  |  |
| 615990 | LAMP FLUOR: TUBE;54 W;230 VAC; TWIN; LG 4 | LAMP, FLUORESCENT: TYPE: TUBE; POWER: 54 W; POTENTIAL: 230 VAC; BASE: TWIN; COLOR: WHITE COOL; LENGTH: 4 FT; BULB: T8; SPECIFICATION: COOL WHITE FQ 54W/840 HO T8 | No | 1 |  |  |
| 615991 | LAMP FLUOR: TUBE;80 W;230 VAC; TWIN; LG 5 | LAMP, FLUORESCENT: TYPE: TUBE; POWER: 80 W; POTENTIAL: 230 VAC; BASE: TWIN; COLOR: WHITE COOL; LENGTH: 5 FT; BULB: T5; SPECIFICATION: COOL WHITE FQ 80W/840 HO T5 | No | 1 |  |  |
| 615992 | LAMP FLUOR: TUBE;58 W;230 VAC; TWIN; LG 5 | LAMP, FLUORESCENT: TYPE: TUBE; POWER: 58 W; POTENTIAL: 230 VAC; BASE: TWIN; COLOR: WHITE COOL; LENGTH: 5 FT; BULB: T8; SPECIFICATION: COOL WHITE FQ 58W/840 HO | No | 1 |  |  |
| 616506 | LAMP FLUOR: LUMISTAR 175 HALOGEN BULB;100 | LAMP, FLUORESCENT: TYPE: LUMISTAR 175 HALOGEN BULB; POWER: 100 W; POTENTIAL: 24 VDC; BASE: G6.35; COLOR: CLEAR; LENGTH: 50 MM; BULB: T3; SPECIFICATION: LUMISTER 175; 24 V 100 W 2 PIN | No | 1 |  |  |
| 618195 | LAMP FLUOR: COMPACT ENERGY SAVER;18 W;230 | LAMP, FLUORESCENT: TYPE: COMPACT ENERGY SAVER; POWER: 18 W; POTENTIAL: 230 VAC; BASE: 4 PIN; COLOR: WHITE COOL; LENGTH: 145 MM; BULB: G24Q-2; CLASSIFICATION: GENERAL; SPECIFICATION: 18/840-G24Q-2 | No | 1 |  |  |
| 618196 | LAMP FLUOR: COMPACT ENERGY SAVER;26 W;230 | LAMP, FLUORESCENT: TYPE: COMPACT ENERGY SAVER; POWER: 26 W; POTENTIAL: 230 VAC; BASE: 4 PIN; COLOR: WHITE COOL; LENGTH: 165 MM; BULB: G24Q-2; CLASSIFICATION: GENERAL; SPECIFICATION: 26/840-G24Q-2 | No | 1 |  |  |
| 618197 | LAMP HID: HIGH PRESSURE SODIUM;230 VAC;70 | LAMP, HIGH INTENSITY DISCHARGE: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 230 VAC; POWER: 70 W; BASE: GES; COLOR: CLEAR; BULB: E27; CLASSIFICATION: NON HAZARDOUS; SPECIFICATION: HPST-70W/E27/HO; DIMENSIONS: DIA 38 X LG 156 MM | No | 1 |  |  |
| 618198 | LAMP HID: HIGH PRESSURE SODIUM;230 VAC | LAMP, HIGH INTENSITY DISCHARGE: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 230 VAC; POWER: 600 W; BASE: GES; COLOR: CLEAR; BULB: E40; CLASSIFICATION: NON HAZARDOUS; SPECIFICATION: HPST-600W/E40/HO; DIMENSIONS: DIA 46 X LG 285 MM | No | 1 |  |  |
| 618199 | LAMP HID: HIGH PRESSURE SODIUM;230 VAC | LAMP, HIGH INTENSITY DISCHARGE: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 230 VAC; POWER: 400 W; BASE: E40; COLOR: CLEAR; BULB: T46; CLASSIFICATION: NON HAZARDOUS; SPECIFICATION: HPST-400W/645 E40/HO; DIMENSIONS: DIA 47 X LG 168 MM | No | 1 |  |  |
| 618200 | LAMP HID: HIGH PRESSURE SODIUM;230 VAC | LAMP, HIGH INTENSITY DISCHARGE: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 230 VAC; POWER: 250 W; BASE: GES; COLOR: CLEAR; BULB: E40; CLASSIFICATION: NON HAZARDOUS; SPECIFICATION: HPST-250W/E40/HO; DIMENSIONS: DIA 46 X LG 260 MM | No | 1 |  |  |
| 618201 | LAMP HID: HIGH PRESSURE SODIUM;230 VAC | LAMP, HIGH INTENSITY DISCHARGE: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 230 VAC; POWER: 100 W; BASE: GES; COLOR: CLEAR; BULB: E40; CLASSIFICATION: NON HAZARDOUS; SPECIFICATION: HPST-100W/E40/HO; DIMENSIONS: DIA 46 X LG 211 MM | No | 1 |  |  |
| 618206 | BALAST LMP: HIGH PRESSURE SODIUM;230 VAC | BALLAST, LAMP: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 230 VAC; LAMP ACCOMMODATION QUANTITY: 2; CURRENT: 0.8-0.7 A; POWER: 54 W; LAMP STYLE: TL-54W; BALLAST STYLE: ELECTRONIC WARM START; SPECIFICATION: HF-P 254/255-TL5 HO/PL-L | No | 1 |  |  |
| 618207 | BALAST LMP: HIGH PRESSURE SODIUM;220 VAC | BALLAST, LAMP: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 220 VAC; LAMP ACCOMMODATION QUANTITY: 2; CURRENT: 0.8-0.7 A; POWER: 58 W; LAMP STYLE: TL-58W; BALLAST STYLE: ELECTRONIC WARM START; SPECIFICATION: HF-P 254/255-TL5 HO/PL-L | No | 1 |  |  |
| 618208 | BALAST LMP: HIGH PRESSURE SODIUM;240 VAC | BALLAST, LAMP: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 240 VAC; LAMP ACCOMMODATION QUANTITY: 2; CURRENT: 0.8-0.7 A; POWER: 80 W; LAMP STYLE: TL5/PL-L 80 W; BALLAST STYLE: ELECTRONIC WARM START; LENGTH: 425 MM; HEIGHT: 22 MM; SPECIFICATION: HF-P 2X80W-TL5/PL-L; WIDTH: 30 MM | No | 1 |  |  |
| 618209 | BALAST LMP: HIGH PRESSURE SODIUM;220 VAC | BALLAST, LAMP: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 220 VAC; LAMP ACCOMMODATION QUANTITY: 2; CURRENT: 0.8-0.7 A; POWER: 80 W; LAMP STYLE: TL5-80W; BALLAST STYLE: ELECTRONIC WARM START; LENGTH: 425 MM; HEIGHT: 22 MM; SPECIFICATION: HF-P 254/255 TL5 HO/PL-L; WIDTH: 30 MM | No | 1 |  |  |
| 618551 | FIXTURE FLUOR:230 VAC;80 W; LG 5 FT;2 | FIXTURE, FLUORESCENT LIGHTING: POTENTIAL: 230 VAC; POWER: 80 W; LENGTH: 5 FT; LAMP: 2; BALLAST: ELECTRONIC; PIN TYPE: 2 PIN; MOUNT: CEILING; CLASSIFICATION: NON HAZARDOUS; TYPE: CONTROL ROOM OFFICE | No | 1 |  |  |
| 618552 | FIXTURE FLUOR:230 VAC;(2) 80 W; LG 5 FT;2 | FIXTURE, FLUORESCENT LIGHTING: POTENTIAL: 230 VAC; POWER: (2) 80 W; LENGTH: 5 FT; LAMP: 2; BALLAST: ELECTRONIC; PIN TYPE: 2 PIN; MOUNT: WALL OUTDOOR; CLASSIFICATION: VAPOURPROOF; TYPE: PLUS WING EMERGENCY; SUPPL P/N: 2X80-RL-ECG-T5 | No | 1 |  |  |
| 623351 | BALAST LMP: ELECTRONIC;230 V;2;0.35 A;35 | BALLAST, LAMP: TYPE: ELECTRONIC; POTENTIAL: 230 V; LAMP ACCOMMODATION QUANTITY: 2; CURRENT: 0.35 A; POWER: 35 W; LAMP STYLE: T5; BALLAST STYLE: FLUORESCENT; LENGTH: 21.27 MM; HEIGHT: 21.27 MM; MOUNT: SCREW FLAT; WIDTH: 30 MM; REFERENCE NO: ELXC235.857 | No | 1 |  |  |
| 623778 | LAMP FLUOR: COMPACT LIGHT BULB;13 W;95 V | LAMP, FLUORESCENT: TYPE: COMPACT LIGHT BULB; POWER: 13 W; POTENTIAL: 95 V; BASE: 4 PIN; COLOR: WHITE COOL; LENGTH: 95.5 MM; BULB: G24Q-1; CLASSIFICATION: GENERAL; SPECIFICATION: MASTER PL-C 13W/840; SUPPL P/N: 4P-1CT/5X10CC | No | 1 |  |  |
| 624848 | BALAST LMP: HS/HI;230 VAC;1;1.2 A;100 W | BALLAST, LAMP: TYPE: HS/HI; POTENTIAL: 230 VAC; LAMP ACCOMMODATION QUANTITY: 1; CURRENT: 1.2 A; POWER: 100 W; LAMP STYLE: (1) 1000 W; BALLAST STYLE: ELECTRONIC WARM START; LENGTH: 70.37 MM; HEIGHT: 70.27 MM; SPECIFICATION: 1X100W ELECTRONIC BALLAST; MOUNT: BOLTED; WIDTH: 52.4 MM; MANUF P/N: NAHJ100.941; REFERENCE NO: 1611707 | No | 1 |  |  |
| 624854 | LAMP FLUOR: QUARTZ METAL HALIDE;1000 W | LAMP, FLUORESCENT: TYPE: QUARTZ METAL HALIDE; POWER: 1000 W; POTENTIAL: 230 V; BASE: E40; COLOR: CLEAR; LENGTH: 296 MM; BULB: E40; CLASSIFICATION: IP X 8; SPECIFICATION: 20597; MANUF P/N: 20597; REFERENCE NO: 20597 | No | 1 |  |  |
| 625778 | LAMP FLUOR: ENERGY SAVING;13 W;230 V | LAMP, FLUORESCENT: TYPE: ENERGY SAVING; POWER: 13 W; POTENTIAL: 230 V; BASE: G24D-1; COLOR: WHITE COOL; LENGTH: 135 MM; BULB: G24Q-1; SUPPL P/N: TL5 HO 24W/840; REFERENCE NO: 13W/840-D; MASTER | No | 1 |  |  |
| 625800 | LAMP FLUOR: MASTER TLS HO;24 W;230 VAC; G5 | LAMP, FLUORESCENT: TYPE: MASTER TLS HO; POWER: 24 W; POTENTIAL: 230 VAC; BASE: G5; COLOR: WHITE COOL; LENGTH: 563.2 ML; BULB: TUBULAR 16 MM ENVELOPE; CLASSIFICATION: LOW PRESSURE MERCURY DISCHARGE LAMPS WITH TUBULAR 16MM ENVELOPE; SUPPL P/N: TL5 HO 24W/840; REFERENCE NO: 24W/840; MASTER | No | 1 |  |  |
| 625897 | BALAST LMP: FLUORESCENT;220-240 VAC;2;13 | BALLAST, LAMP: TYPE: FLUORESCENT; POTENTIAL: 220-240 VAC; LAMP ACCOMMODATION QUANTITY: 2; CURRENT: 0.12 A; POWER: 13 W; LAMP STYLE: PLC 13W TWO LAMPS; BALLAST STYLE: ELECTRONIC; LENGTH: 122.68 MM; HEIGHT: 79.13 MM; SPECIFICATION: CDZ213LY6P; MOUNT: HOLDING; WIDTH: 33 MM; SUPPL P/N: CDZ213LYP; REFERENCE NO: CDZ213LY6P | No | 1 |  |  |
| 630886 | BALAST LMP: FLUORESCENT;220-240 VDC;4;13 | BALLAST, LAMP: TYPE: FLUORESCENT; POTENTIAL: 220-240 VDC; LAMP ACCOMMODATION QUANTITY: 4; CURRENT: 0.045-0.163 A; POWER: 13 W; LAMP STYLE: FLUORESCENT; LENGTH: 102.55 MM; HEIGHT: 31.1 MM; SPECIFICATION: 22176405Z; WIDTH: 66.75 MM; SUPPL P/N: 22176405; REFERENCE NO: 22176405 | No | 1 |  |  |
| 633926 | LAMP FLUOR: COMPACT;18 W;230 VAC;4 PIN | LAMP, FLUORESCENT: TYPE: COMPACT; POWER: 18 W; POTENTIAL: 230 VAC; BASE: 4 PIN; COLOR: WHITE COOL; LENGTH: 143.49 MM; BULB: G24Q-2; CLASSIFICATION: GENERAL; SUPPL P/N: G24Q-2; REFERENCE NO: G24Q-2 | No | 1 |  |  |
| 633927 | HOLDER LAMP: FLUORESCENT;2 PIN G24D-2;18 | HOLDER, LAMP: TYPE: FLUORESCENT; LAMP BASE: 2 PIN G24D-2; POWER: 18 W; MATERIAL: AL DIE CAST; SPECIFICATION: BEKABULB 18 W CFL | No | 1 |  |  |
| 634055 | LAMP: DULUX D;26 W;220 V; G24D-3 | LAMP: TYPE: DULUX D; POWER: 26 W; POTENTIAL: 220 V; BASE: G24D-3; COLOR: WHITE LUMILUX COOL; DULUX D 26W/840, 2 TUBES, 2-PIN BASE G24D-3, 1800 LM | No | 1 |  |  |
| 635499 | FIXTURE: BEKABULK; STAINLESS STEEL;18 W | FIXTURE: TYPE: BEKABULK; MATERIAL: STAINLESS STEEL; RATING: 18 W; FRONT VIEW: LENGTH-325MM, WIDTH-155MM. REAR VIEW: LENGTH-355MM, WIDTH-152MM. RATINGS 230VAC, FERQUENCY 50HZ | No | 1 |  |  |
| 636770 | LAMP FLUOR: GENERAL;20 W;220 V; G13; LG 600 | LAMP, FLUORESCENT: TYPE: GENERAL; POWER: 20 W; POTENTIAL: 220 V; BASE: G13; COLOR: BLACKLIGHT WHITE; LENGTH: 600 MM; BULB: T8; REFERENCE NO: FTL040; F 16A; 250V | No | 1 |  |  |
| 637745 | BALAST LMP: DIMMING;220-240 VAC;4;0.2 A | BALLAST, LAMP: TYPE: DIMMING; POTENTIAL: 220-240 VAC; LAMP ACCOMMODATION QUANTITY: 4; CURRENT: 0.2 A; POWER: 14 W; LAMP STYLE: T5; BALLAST STYLE: ELECTRONIC; LENGTH: 350 MM; REFERENCE NO: 188602ELXD 424.628 | No | 1 |  |  |
| 642505 | FIXTURE: LED; ALUMINIUM;53 W; LEDLUME MINI | FIXTURE: TYPE: LED; MATERIAL: ALUMINIUM; DIMENSIONS: WD 235 X LG 450 X HT 88 MM; RATING: 53 W; REFERENCE NO: LEDLUME MINI; 16 LED NW; 5965 LM; 50HZ; IP66; TA 35 DEG C | No | 1 |  |  |
| 642506 | LAMP HID: HIGH PRESSURE MERCURY VAPOR;220 | LAMP, HIGH INTENSITY DISCHARGE: TYPE: HIGH PRESSURE MERCURY VAPOR; POTENTIAL: 220 V; POWER: 400 W; BASE: E40; COLOR: WHITE COOL; BULB: ED120; ELIPTIC SHAPE | No | 1 |  |  |
| 642508 | LAMP FLUOR: SHORT;11 W;220 V;4 PIN; WHITE | LAMP, FLUORESCENT: TYPE: SHORT; POWER: 11 W; POTENTIAL: 220 V; BASE: 4 PIN; COLOR: WHITE; LENGTH: 214 MM; BULB: CFL; REFERENCE NO: S/E 11W/840 2G7; 2G7 | No | 1 |  |  |
| 642706 | INVERTER: FLUORESCENT EMERGENCY LIGHTING | INVERTER: TYPE: FLUORESCENT EMERGENCY LIGHTING; POWER: 6-80 W; OUTPUT RATING: 0.026-0.348 A; INPUT RATING: 230 V; MANUF P/N: EMXS 180.000; REFERENCE NO: 188792; LAMP 6-80W; BALT NICD 4.8V 1.8AH | No | 1 |  |  |
| 646358 | FIXTURE HID: INDUSTRIAL;70 W;230 V | FIXTURE, HIGH INTENSITY DISCHARGE: TYPE: INDUSTRIAL; POWER: 70 W; POTENTIAL: 230 V; LAMP: HIGH PRESSURE SODIUM; DIMENSIONS: WD 320 X LG 440 X HT 217 MM; LAMP HOLDER E27; LUMEN 5600 | No | 1 |  |  |
| 646359 | FIXTURE HID: INDUSTRIAL;100 W;230 V | FIXTURE, HIGH INTENSITY DISCHARGE: TYPE: INDUSTRIAL; POWER: 100 W; POTENTIAL: 230 V; LAMP: HIGH PRESSURE SODIUM; DIMENSIONS: WD 320 X LG 440 X HT 217 MM; EMERGENCY; IP66; LAMP HOLDER E40; LUMEN 10 000 | No | 1 |  |  |
| 647836 | LAMP HID: HIGH PRESSURE SODIUM;230 V;600 | LAMP, HIGH INTENSITY DISCHARGE: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 230 V; POWER: 600 W; BASE: E40; COLOR: RA25; DIMENSIONS: DIA 46 X LG 285 MM; SUPPL P/N: HST 600W; REFERENCE NO: 631 000 066 021; LAMP OPERATING CURRENT: 5.8 AMP | No | 1 |  |  |
| 647837 | LAMP HID: HIGH PRESSURE SODIUM;230 V;100 | LAMP, HIGH INTENSITY DISCHARGE: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 230 V; POWER: 100 W; BASE: E40; COLOR: RA20; DIMENSIONS: DIA 46 MM; SUPPL P/N: HSE 100W/HO; ZONE 22; COLOUR CODE RAL 9017 | No | 1 |  |  |
| 647838 | LAMP HID: HIGH PRESSURE SODIUM;230 V;250 | LAMP, HIGH INTENSITY DISCHARGE: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 230 V; POWER: 250 W; BASE: E40; COLOR: RA25; DIMENSIONS: DIA 46 MM; SUPPL P/N: HST 250W; RAL 9017; ZONE 22 | No | 1 |  |  |
| 647839 | LAMP HID: HIGH PRESSURE SODIUM;230 V;1000 | LAMP, HIGH INTENSITY DISCHARGE: TYPE: HIGH PRESSURE SODIUM; POTENTIAL: 230 V; POWER: 1000 W; BASE: E40; COLOR: RA20; SUPPL P/N: HST 1000W | No | 1 |  |  |
| 648166 | LAMP HID: METAL HALIDE;230 V;250 W; E40 | LAMP, HIGH INTENSITY DISCHARGE: TYPE: METAL HALIDE; POTENTIAL: 230 V; POWER: 250 W; BASE: E40; COLOR: RA90; MANUF P/N: HIT 250W | No | 1 |  |  |
| 648167 | LAMP FLUOR: LINEAR;36 W;230 V; G13; LG 1270 | LAMP, FLUORESCENT: TYPE: LINEAR; POWER: 36 W; POTENTIAL: 230 V; BASE: G13; COLOR: WHITE COOL; LENGTH: 1270 MM; MANUF P/N: L36W | No | 1 |  |  |
| 648168 | LAMP FLUOR: LINEAR;58 W;230 V; G13; LG 1570 | LAMP, FLUORESCENT: TYPE: LINEAR; POWER: 58 W; POTENTIAL: 230 V; BASE: G13; COLOR: WHITE COOL; LENGTH: 1570 MM; MANUF P/N: L58W | No | 1 |  |  |
| 648169 | LAMP FLUOR: COMPACT;26 W;230 V; G24Q-3 | LAMP, FLUORESCENT: TYPE: COMPACT; POWER: 26 W; POTENTIAL: 230 V; BASE: G24Q-3; COLOR: WHITE; LENGTH: 140 MM; MANUF P/N: TC-DEL 26W | No | 1 |  |  |
| 648988 | IGNITER:VS HPS LAMP; PLASTIC; Z400MK | IGNITER: TYPE: VS HPS LAMP; MATERIAL: PLASTIC; MANUF P/N: 142894; REFERENCE NO: Z400MK; 220-240V; 50-60HZ; HS 70(DE)-400 W; LB MAX 5A; USE ON ACC LIGHT FITTINGS | No | 1 |  |  |
| 649131 | LAMP HID: METAL HALIDE;230 V;1000 W; E40 | LAMP, HIGH INTENSITY DISCHARGE: TYPE: METAL HALIDE; POTENTIAL: 230 V; POWER: 1000 W; BASE: E40; COLOR: WHITE; BULB: HIT 1000; SUPPL P/N: HQI-T1000D | No | 1 |  |  |
| 654345 | FUSE CARTD:4 A;250 VAC; CAP; DIA 5 X LG 20 | FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 250 VAC; CONNECTION TYPE: CAP; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: FAST BLOW; CASE MATERIAL: GLASS; MANUF P/N: F4AL250V | No | 1 |  |  |
| 654347 | FUSE CARTD:10 A;250 V; CAP; DIA 5 X LG 20 | FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 250 V; CONNECTION TYPE: CAP; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: FAST BLOW; CASE MATERIAL: GLASS; MANUF P/N: F10AL250V | No | 1 |  |  |
| 654353 | FUSE CARTD:2 A;250 V; CAP; DIA 5 X LG 20 | FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 V; CONNECTION TYPE: CAP; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: FAST BLOW; CASE MATERIAL: GLASS; MANUF P/N: F2AL250V | No | 1 |  |  |
| 654355 | FUSE CARTD:5 A;250 V; CAP; DIA 5 X LG 20 | FUSE, CARTRIDGE: CURRENT: 5 A; POTENTIAL: 250 V; CONNECTION TYPE: CAP; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: FAST BLOW; CASE MATERIAL: GLASS; MANUF P/N: F5AL250V | No | 1 |  |  |
| 654357 | FUSE CARTD:1 A;250 V; CAP; DIA 5 X LG 20 | FUSE, CARTRIDGE: CURRENT: 1 A; POTENTIAL: 250 V; CONNECTION TYPE: CAP; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: FAST BLOW; CASE MATERIAL: GLASS; MANUF P/N: F1AL250V | No | 1 |  |  |
| 654380 | FUSE CARTD:3.15 A;250 V; CAP; FAST BLOW | FUSE, CARTRIDGE: CURRENT: 3.15 A; POTENTIAL: 250 V; CONNECTION TYPE: CAP; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: FAST BLOW; CASE MATERIAL: GLASS; MANUF P/N: F3.15AL250V | No | 1 |  |  |
| 654382 | FUSE CARTD:6 A;250 V; CAP; DIA 5 X LG 20 | FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 250 V; CONNECTION TYPE: CAP; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: FAST BLOW; CASE MATERIAL: GLASS; MANUF P/N: F6A250V | No | 1 |  |  |
| 654384 | FUSE CARTD:8 A;250 V; CAP; DIA 5 X LG 20 | FUSE, CARTRIDGE: CURRENT: 8 A; POTENTIAL: 250 V; CONNECTION TYPE: CAP; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: FAST BLOW; CASE MATERIAL: GLASS; MANUF P/N: F8AL250V | No | 1 |  |  |
| 656069 | CONTACTOR: MOTOR HEATING-LIGHTING;400 V;4 | CONTACTOR: TYPE: MOTOR HEATING-LIGHTING; LINE VOLTAGE: 400 V; COIL VOLTAGE: 220 V; CURRENT: 25 A; POLE: 4; ENCLOSURE RATING: IP20; SPECIFICATION: IEC 60947; CONTACT ARRANGEMENT: 4NO; MAXIMUM CURRENT RATING: 25 A; MANUF P/N: A9C20834; POLLUTION DEGREE 2; AMBIENT AIR TEPERATURE FOR OPERATION -5 TO 60 DEG C; HEIGHT 81MM; WIDTH 36MM; DEPT 60MM | No | 1 |  |  |
| 656262 | CONTACTOR: MOTOR CONTROL;690 VAC;220 V;40 | CONTACTOR: TYPE: MOTOR CONTROL; LINE VOLTAGE: 690 VAC; COIL VOLTAGE: 220 V; CURRENT: 40 A; POLE: 3; ENCLOSURE RATING: IP20; CONTACT ARRANGEMENT: 3NO; MAXIMUM CURRENT RATING: 60 A; MANUF P/N: LC1D40AM7; TE SYS D; HEIGHT 122MM; WIDTH 55MM; DEPTH 120MM | No | 1 |  |  |
| 656343 | EARTH LEAKAGE: CIRCUIT BREAKER;63 A;230 V | EARTH LEAKAGE: TYPE: CIRCUIT BREAKER; CURRENT: 63 A; POTENTIAL: 230 V; POLE: 2; LEAKAGE CURRENT: 30 MA; INTERRUPT CAPACITY: 1500 A; MANUF P/N: A9R41263; HEIGHT: 91MM; WIDTH 36MM: DEPTH 73.5MM; PROTECTION CLASS TYPE AC | No | 1 |  |  |
| 659223 | LAMP QRTZ:1000 W;220 V; E40; COOL WHITE | LAMP, QUARTZ: POWER: 1000 W; POTENTIAL: 220 V; BASE: E40; COLOR: COOL WHITE; BULB: METAL HALIDE; SUPPL P/N: HPI-T 1000W/543 E40 1SL/4; DIA 66 X LG 382MM; LUMINOUS FLUX 85000; COLOR TEMP 4300K; MAX CURRENT 14.2 A | No | 1 |  |  |
| 659245 | SWITCH:LR 100; DAY/NIGHT;200-250 V;15 A | SWITCH: TYPE: DAY/NIGHT; POTENTIAL: 200-250 V; CURRENT: 15 A; CONTACT ARRANGEMENT: 1NO 1NC; ACTION: 1P; OEM P/N: LR 100; REFERENCE NO: FSW-50090-PL; 20MM MALE ENTRY; IP54; COMPACT AND DISCREET; FALL ON CIRCULTRY | No | 1 |  |  |
| 659247 | IGNITER: ELECTRONIC SUPERIMPOSED | IGNITER: TYPE: ELECTRONIC SUPERIMPOSED; SIZE: DIA 50 X LG 88 MM; MATERIAL: ALUMINIUM; MANUF P/N: Z 1000 S; REFERENCE NO: 140430; FOR HS 250-1000W AND HI 250-1000 W LAMPS; OPERATING PARAMETERS 220-240 V; LOAD CAPACITY 20-100 PF; IGNITION VOLTAGE 4-5 KV; SCREW TERMINALS 0.75-4 MM2 | No | 1 |  |  |
| 659249 | BALAST LMP: LOW LOSS;230 V;1;325 MA;26 W | BALLAST, LAMP: TYPE: LOW LOSS; POTENTIAL: 230 V; LAMP ACCOMMODATION QUANTITY: 1; CURRENT: 325 MA; POWER: 26 W; LAMP STYLE: FLUORESCENT; BALLAST STYLE: MAGNETIC; LENGTH: 110 MM; HEIGHT: 28 MM; MOUNT: BASE; WIDTH: 42 MM; REFERENCE NO: 509502; TYPE TC-D/TC-T; BASE G24D-3/GX24D-3 | No | 1 |  |  |
| 659296 | LAMP LED: PANEL;230 VAC | LAMP, LIGHT EMITTING DIODE: APPLICATION: PANEL; POTENTIAL: 230 VAC; MANUF P/N: NSYLAMLDS; MULTI-FIXING; WITH SOCKET SCHUKO; RATED LAMP WATTAGE 10 W; CONTROL TYPE BUILT IN SWITCH; WD 40 X HT 63 X LG 372 MM; MATERIAL PC (UL94 V-0); COLOUR BLACK RAL 9005; IP DEGREE OF PROTECVTION IP20; ELECTRICAL INSULATION CLASS I; AMBIENT TEMPERATURE FOR OPERATION -16 TO 65 DEG C; COLOR: BLACK; BASE TYPE: INTEGRAL | No | 1 |  |  |
| 659321 | RECEPTACLE ELECT: WALL;1;3;220 V;16 A | RECEPTACLE, ELECTRICAL: TYPE: WALL; POLE: 1; WIRE: 3; POTENTIAL: 220 V; CURRENT: 16 A; DIMENSIONS: WD 50 X HT 100 MM; MANUF P/N: 2571P+6541/101P; ONE LEVER; TWO WAY SWITCH; COLOUR WHITE; CLASSIC RANGE | No | 1 |  |  |
| 659322 | RECEPTACLE ELECT: WALL;1;3;220 V;16 A; STL | RECEPTACLE, ELECTRICAL: TYPE: WALL; POLE: 1; WIRE: 3; POTENTIAL: 220 V; CURRENT: 16 A; DIMENSIONS: WD 50 X HT 100 MM; CASING MATERIAL: STL; MANUF P/N: 2471P+6541/101P; COLOUR WHITE; CLASSIC 1 LEVER 1 WAY SWITCH | No | 1 |  |  |
| 663284 | BKR CCT LV: DIN RAIL; MINIATURE;1;6 A;500 | BREAKER, CIRCUIT, LOW VOLTAGE: TYPE: MINIATURE; CURRENT RATING: 6 A; POLES: 1; MOUNT: DIN RAIL; VOLTAGE PROTECTION LEVEL: 500 VAC; SHORT TIME CURRENT: 48 A; SERVICE SHORT CIRCUIT BREAKING CAPACITY: 4500 A; ULTIMATE SHORT CIRCUIT BREAKING CAPACITY: 6 KA; POLLUTION CLASS: 3; ENCLOSURE RATING: IP20 B; SPECIFICATION: IEC 60947-2; EN 60898-1; APPLICATION: COAL STACKER/RECLAIMER; PROTECTION: THERMAL MAGNETIC; CONTROL TYPE: TOGGLE; MANUF P/N: A9F64106; REFERENCE NO: ACTI 9 IC60A; C CURVE; AMBIENT TEMPERATURE FOR OPERATION -35 TO 70 DEG C; WIDTH 18 MM; DEPTH 78.5 MM; COLOUR WHITE | No | 1 |  |  |
| 663698 | SENSOR: MULTI;6-8 M;230 V AC; PLUG;1 M | SENSOR: TYPE: MULTI; RANGE: 6-8 M; RATING: 230 VAC; ELECTRICAL CONNECTION: PLUG; DIMENSIONS: WD 16.4 X LG 44.7 X HT 15.8 MM; CABLE LENGTH: 1 M; SCALE: ON/OFF; MANUF P/N: LRII663 | No | 1 |  |  |
| 694272 | BKR CCT LV: DIN RAIL; MINIATURE;2;6 A;4100 | LAMP: TYPE: LED; POWER: 455 W; POTENTIAL: 198-264 VAC; BASE: SCREW TERMINAL; COLOR: COOL WHITE; CLASSIFICATION: DUST AREA; SPECIFICATION: SANS 60598/62262; UNIT PACKAGE QUANTITY: 1; REFERENCE NO: OMNIBLAST-E; 5700K; LINE CURRENT: 1-98 AMP; LEDS: 96; LED CURRENT: 1400MA; POWER CONSUMPTION: 455W; MASS: 17KG; LIFETIME RESIDUAL FLUX@TG 25DEG C; 70%@100 000H; IP66; IMPACT RESISTANCE (POLYCARBONATE); LUMEN: 55 500; HIGH-IMPACT POLYCARBONATE; FINISH: UNPAINTED ALUMINIUM; IK 10; BODY: MARINE GRADE; OPERATING TEMPERATURE: (TA); -20DEG C TO 40DEG C | No | 1 |  |  |
| 714953 | BOX DISTR: MEDUIM VOLTAGE POWER KIOSK;800 | LAMP: TYPE: LED TUBE; POWER: 22 W; POTENTIAL: 230 VAC; BASE: T8; COLOR: COOL WHITE; REFERENCE NO: LEDT8-A5FR-CW; FROSTED; 1.5 METRE | No | 1 |  |  |
| 715396 | BALAST LMP: CONTROL GEAR;230 V;1;10.3 A;1 | LIGHT: TYPE: LED RETROFIT TUBE; POWER: 16 W; POTENTIAL: 230 VAC; COLOR: COOL WHITE; DIMENSION: 1150 MM X 16 MM; POWER FACTOR: 0.95; IP20; TEMP: -10 TO 45 DEG; COVER: FROSTING; WORKING LIFE SPAN: 25 000; LUMENS: 1280; LUMINOUS EFFICIENCY: 80 IM/W | No | 1 |  |  |
| 719701 | BALLAST: CONVENTIONAL; METAL | LIGHT: TYPE: LED RETROFIT TUBE; POWER: 18 W; POTENTIAL: 220 VAC; COLOR: 4000K; POWER FACTOR: >0.9; TEMP: -10 TO 45 DEG; COLOR RENDERING INDEX: >80; LUMENS: 1800; WORKING LIFESPAN TIME: >25000HRS; DIMENSIONS: 1200 MM X 26 MM | No | 1 |  |  |
| 721552 | BALLAST: CONTROL GEAR; WD180 LGX 53 X HT66 | LIGHT: TYPE: LED; POWER: 4.5 W; POTENTIAL: 220-240 V; COLOR: DAYLIGHT; REFERENCE NO: LVPAR165036-4.5; BULB BASE: GU10; COLOR TEMPERATURE: 6500 K; LUMENS: 430 IM; VOLTAGE: 230 V; WATTAGE: 4.5 W; BULB SHAPE: PAR16; BEAM ANGLE: 36 DEGREES | No | 1 |  |  |
| 721632 | BULB: FLUORESCENT; DIA 16 X LG 850 MM | BREAKER, CIRCUIT, LOW VOLTAGE: TYPE: MINIATURE; CURRENT RATING: 6 A; POLES: 2; MOUNT: DIN RAIL; VOLTAGE PROTECTION LEVEL: 4100 V; SHORT TIME CURRENT: 6 KA; POLLUTION CLASS: 3; SPECIFICATION: IEC 60947-2; APPLICATION: BREAKERS; PROTECTION: OVERLOAD/SHORT CIRCUIT; SUPPL P/N: A9F64206 | No | 1 |  |  |
| 722828 | LAMP FLUOR: LED;18 W;220-240 V; G5;2PIN | LIGHT: TYPE: ZONE 2 LED; POWER: 98 W; POTENTIAL: 100-200 VAC; COLOR: AMBER; REFERENCE NO: NLED-EX 4FT 500MA 98W; COLOUR TEMP: 4000K; COLOUR RENDERING INDEX:>RA80; IP68; AMBIENT TEMP: -20 DEG C TO 40 DEG C; POWER FACTOR: >0.9; RATED LIFETIME: 50 000HR; INSTALLATION: WALL; CEILING; BRACKET AND POLE MOUNTING; DIMENSIONS 1.704 M X 176 MM X 145 MM; PROVIDE THE HAZLOC EQUIPMENT CERTIFICATE | No | 1 |  |  |
| 723999 | BALLAST: CONTROL GEAR; PLASTIC | LIGHT: TYPE: B40 RETROFIT LED; POWER: 55 W; POTENTIAL: 230 VAC; REFERENCE NO: B40 PLATE-LG-50W-LED; COLOUR TEMP 4000 K COLOUR RENDERING INDEX 80 50HZ IP65 AMBIENT TEMP -25 TO 65 DEG C POWER FACTOR 0.95 RATED LIFETIME 50 000HR INSTALLATION WALL CEILLING BRACKET & POLE MOUNTING APPLICATIO TUNNEL, CONVEYOR, INDUSTRIAL AND SECURITY; DIMENSION 385MM X 245MM X 50MM WEIGHT 4,35KG. | No | 1 |  |  |
| 725184 | BALLAST: ELECTRONIC FLAMEPROOF; TIN | LIGHT: TYPE: LED HIGHBAY; POWER: 150 W; POTENTIAL: 220-240 VAC; COLOR: AMBER; REFERENCE NO: NHL100-LED HIGHBAY V2; COLOUR TEMP: 5000K; COLOUR RENDERING INDEX: RA70; 50/60HZ; IP65; POWER FACTOR:>0.92; RATED LIFETIME: 176000HRS; DIMENSIONS: 271 X 178 MM | No | 1 |  |  |
| 727249 | FUSE:1.5 A;250 V; CARTRIDGE; WD 20 X LG 5 | BOX, DISTRIBUTION: TYPE: MEDUIM VOLTAGE POWER KIOSK; WIDTH: 800 MM; LENGTH: 800 MM; DEPTH: 800 MM2; MATERIAL: STAINLESS STEEL; SPECIFICATION: 240-55714363 | No | 1 |  |  |
| 727375 | BALLAST: ELECTRONIC; WD 40 X LG 80 X HT 22 | BALLAST, LAMP: TYPE: CONTROL GEAR; POTENTIAL: 230 V; LAMP ACCOMMODATION QUANTITY: 1; CURRENT: 10.3 A; POWER: 1 KW; SUPPL P/N: 528548; MODEL NO: 4050732446603; REFERENCE NO: NAHJ 1000.089 1000W; DIMENSIONS: LG 203MM X WD 188MM X HT 92MM | No | 1 |  |  |
| 727506 | LAMP LED:ST8E - 1.5M 20W/840 T8;20 W;160 | BALLAST: TYPE: CONVENTIONAL; DIMENSIONS: WD 41 X LG 110 X HT 28 MM; MATERIAL: METAL; REFERENCE NO: 509502; LAMP POWER: 26W; NOMINAL VOLTAGE: 230V; PROTECTION CLASS: I | No | 1 |  |  |
| 731016 | MODULE PWR SUP: I/P 100-120 V; O/P 24 V | BALLAST: TYPE: CONTROL GEAR; DIMENSIONS: WD180 LGX 53 X HT66 MM; MATERIAL: METAL; SUPPL P/N: NAHJ250 | No | 1 |  |  |
| 731714 | FUSE: FAST BLOW FERRULE;15 A; GLASS;250 V | BULB: TYPE: FLUORESCENT; DIMENSIONS: DIA 16 X LG 850 MM; MANUF P/N: HO 39W/840 FLH1; COLOUR: 840 COOL WHITE; BASE: G5; OSRAM LUMILUX T5FQ HO; EAN: 40503000591704 | No | 1 |  |  |
| 731858 | ISOL:4 POLE SWITCH DISCONNECTOR; PLASTIC | LAMP, LIGHT EMITTING DIODE: DESIGNATION: LED; DIMENSION: 700 X 524 X 400 MM; POWER: 640 W; COLOR TEMPERATURE: 4000 K; LENS TYPE: 41808 MS; LUMINOUS FLUX: 86000 LM; CURRENT: 2.78 A; NUMBER OF LED: 96; APPLICATION: HIGHBAY; POTENTIAL: 230 V | No | 1 |  |  |
| 672556 | LAMP: LED;455 W;198-264 VAC; COOL WHITE;1 | LAMP, FLUORESCENT: TYPE: LED; POWER: 18 W; POTENTIAL: 220-240 V; BASE: G5; COLOR: COOL WHITE; LENGTH: 1463 X 16 MM; BULB: 2PIN; ECOFIT LEDTUBE G5 T5 LINEAR SHAPE, 18W T8, 4000K, GLASS TUBE DOUBLE ENDED | No | 1 |  |  |
| 676448 | LAMP: LED TUBE;22 W;230 VAC; T8; COOL WHITE | BALLAST: TYPE: CONTROL GEAR; DIMENSIONS: WD 40 X LG 80 X HT 21 MM; MATERIAL: PLASTIC; SUPPL P/N: 24138831; SQUARE BASIC HIGH FREQUENCY 1X4 - 13W; 220 - 240V DC; PRE HEAT STARTING | No | 1 |  |  |
| 682003 | LIGHT: LED RETROFIT TUBE;16 W;230 VAC | BALLAST: TYPE: ELECTRONIC FLAMEPROOF; DIMENSIONS: WD 30 X LG 270 X HT 21 MM; MATERIAL: TIN; SUPPL P/N: QT-FIT T5/T8 2X54-58; -2XT5 H 54W/2XT8 L58W FREQUENCY 50/60HZ; VOLTAGE 2200240V; CURRENT 0.48A; TEMPERATURE 75 DEG C | No | 1 |  |  |
| 682007 | LIGHT: LED RETROFIT TUBE;18 W;220 VAC | LAMP, FLUORESCENT: TYPE: LED; POWER: 90 W; POTENTIAL: 220-240 VAC; BASE: JBLS; COLOR: 4000K; LENGTH: 1.5 M; CLASSIFICATION: NON HAZARDOUS; SPECIFICATION: IEC 60598; REFERENCE NO: J70073; JBLS 1500-200 LED 90W 350MA/SSC/IP66 | No | 1 |  |  |
| 688464 | LIGHT: LED;4.5 W;220-240 V; DAYLIGHT | FUSE: CURRENT: 1.5 A; POTENTIAL: 250 V; CONNECTION: CARTRIDGE; DIMENSIONS: WD 20 X LG 5 MM; DATASHEET MUST BE PROVIDED | No | 1 |  |  |
| 708255 | LIGHT: ZONE 2 LED;98 W;100-200 VAC; AMBER | BALLAST: TYPE: ELECTRONIC; DIMENSIONS: WD 40 X LG 80 X HT 22 MM; MATERIAL: PLASTIC; NOMINAL VOLTAGE 220-240V; MAINS FREQUENCY 50 HZ; 176-254 DC VOLTAGE; OPERATING FREQUENCY 40KHZ MAX NO OF ECGS ON THE CIRCUIT BREAKER 10A 36; 16A 59; STARTING TIME 1.5S; STADARD ACC TO EN 61347-2 TO EN 55015: 2006 + A1: 2007/ACC TO EN 61000-3-2 TO EN 61547; MOUNTING HOLE SPACING LENGTH 72 MM | No | 1 |  |  |
| 708279 | LIGHT: B40 RETROFIT LED;55 W;230 VAC | LAMP, LIGHT EMITTING DIODE: DESIGNATION: ST8E - 1.5M 20W/840 T8; POWER: 20 W; COLOR TEMPERATURE: 4000 K; LUMINOUS FLUX: 2000 LM; CURRENT: 160 MA; SUPPL P/N: 4058075437357; OVERALL LENGTH 1514,2MM ; WIDTH 28MM ; WEIGHT 500G ; IEC62471 | No | 1 |  |  |
| 708285 | LIGHT: LED HIGHBAY;150 W;220-240 VAC | LAMP, FLUORESCENT: TYPE: LED TUBE T8; POWER: 24 W; POTENTIAL: 100-240 V; BASE: T8; COLOR: WHITE; LENGTH: 1.5 M; CLASSIFICATION: NON HAZARDOUS AREA; COLOUR CODE: 840; COLOUR TEMPERATURE: 4500K; COLOUR RENDERING INDEX: RA82; NOMINAL BEAM ANGLE: 160 DEG; AMBIENT TEMP: -10 DEG C TO 45 DEG C; RATED LUMINOUS FLUX FROSTED TUBE: 2297LM; PRODUCT CODE-FROSTED TUBE: LP1205 | No | 1 |  |  |
| 722127 | LAMP LED: LED;700 X 524 X 400 MM;640 W;96 | MODULE, POWER SUPPLY: TYPE: SINGLE OUTPUT SWITCHING MODULE; INPUT: 100-120 V; OUTPUT: 24 V; SUPPL P/N: LRS-150-24; IEC 80950-1:2005 | No | 1 |  |  |
| 725301 | LAMP FLUOR: LED;90 W;220-240 VAC; JBLS | FUSE: TYPE: FAST BLOW FERRULE; CURRENT: 15 A; MATERIAL: GLASS; POTENTIAL: 250 V; CONNECTION: PUSH-IN CARTAGE 1,5 MM2; DIMENSIONS: DIA 5 X LG 20 MM; SPECIFICATION: ANSI/ESD S20.20:2014 & BS E 61340-5-1;2007; SUPPL P/N: F600 15A/100 | No | 1 |  |  |
| 730996 | LAMP FLUOR: LED TUBE T8;24 W;100-240 V; T8 | ISOLATOR: TYPE: 4 POLE SWITCH DISCONNECTOR; APPLICATION: ISOLATING VOLTAGE; MATERIAL: PLASTIC; POTENTIAL: 600 V; SUPPL P/N: 1SCA105413R1001; DIMENSIONS NET WIDTH 64MM; HT 93MM; DP 73MM & NET WEIGHT 0.3KG; CONTAINER INFORMATION PACKAGE LEVEL1 UNITS: 1 PIECE WD 84MM; HT 82; LG 103MM; EAN: 641701939343; DIN RAILS MOUNTING SWITCH-DISCONNECTOR/NON-FUSIBLE DISCONNECT SWITCH WITH PROTECTED CLAMPS TERMINAL | No | 1 |  |  |
| 742306 | LAMP FLUOR: EMERGENCY LED;18 W;230 VAC; T8 | LAMP, FLUORESCENT: TYPE: EMERGENCY LED; POWER: 18 W; POTENTIAL: 230 VAC; BASE: G13; COLOR: COOL DAYLIGHT; LENGTH: 1.2 M; BULB: T8; REFERENCE NO: EMG-LEDTD-A4FR-CW; LUMENS 88LM/W POTENTIAL 230VAC COLOUR TEMP CW (4200K) /DL (6000K) COLOUR RENDERING INDEX, 75, BEAM ANGEL, 270 DEG, BATTERY BACKUP, 1HR @ 300LM, BATTERY, INTEGRATED, POWER FACTOR 0.95, DIAMETER 26MM. ESTIMATED LIFE SPAN, 0000HRS DIMMABLE NO DIFFUSER FROSTED MATERIAL PC | No | 1 |  |  |
| 754313 | LAMP LED: LED;60 W;4000K; PANEL;5290-6570 | LAMP, LIGHT EMITTING DIODE: DESIGNATION: LED; POWER: 60 W; COLOR TEMPERATURE: 4000K; LENS TYPE: PANEL; LUMINOUS FLUX: 5290-6570 LM; CURRENT: 850 MA; APPLICATION: INTERIOR; POTENTIAL: 200-240 VAC | No | 1 |  |  |
|  | 32A 1P CB C60H | 32A 1P CB C60H | No | 1 |  |  |
|  | 16A 2P CB C60H | 16A 2P CB C60H | No | 1 |  |  |
|  | 55.32 2P C/O Relay | 55.32 2P C/O Relay | No | 1 |  |  |
|  | 20A AC1 CONT 4P | 20A AC1 CONT 4P | No | 1 |  |  |
|  | 40A 8P Mechanical Change Over Main Switch | 40A 8P Mechanical Change Over Main Switch | No | 1 |  |  |
|  | ISW Bypass 32A 1P ISOL | ISW Bypass 32A 1P ISOL | No | 1 |  |  |
|  | 20VA TX | 20VA TX | No | 1 |  |  |
|  | 2XT-16/80W EMG EMXs Control Unit | 2XT-16/80W EMG EMXs Control Unit | No | 1 |  |  |
|  | 2XT-16/80W EMG Battery Pack & ECG | 2XT-16/80W EMG Battery Pack & ECG | No | 1 |  |  |
|  | TC-DEL-18 EMG TLX5 Control Unit | TC-DEL-18 EMG TLX5 Control Unit | No | 1 |  |  |
|  | TE-DEL18 /21-840 EMG Battery Pack | TE-DEL18 /21-840 EMG Battery Pack | No | 1 |  |  |
|  | Single Phase Isolator 30A 100X100 Diamond Range | Single Phase Isolator 30A 100X100 Diamond Range | No | 1 |  |  |
|  | 16A SSO White 100X100 Classic Range | 16A SSO White 100X100 Classic Range | No | 1 |  |  |
|  | 20A 1P CB C60H | 20A 1P CB C60H | No | 1 |  |  |
|  | 40A AC3 CONT | 40A AC3 CONT | No | 1 |  |  |
|  | T-16/ 54W EMG GPX - 65E Control Unit | T-16/ 54W EMG GPX - 65E Control Unit | No | 1 |  |  |
|  | 16A SSO Ded Red Standard Range | 16A SSO Ded Red Standard Range | No | 1 |  |  |
|  | Econo RJ11 Telephone Shutt White Diamond Range | Econo RJ11 Telephone Shutt White Diamond Range | No | 1 |  |  |
|  | Econo RJ45 Data Shutt White Diamond Range | Econo RJ45 Data Shutt White Diamond Range | No | 1 |  |  |
|  | 100A CONTACT | 100A CONTACT | No | 1 |  |  |
|  | T-16/54W | T-16/54W | No | 1 |  |  |
|  | 1xT-16/80w + wing Dim | 1xT-16/80w + wing Dim | No | 1 |  |  |
|  | 1XT-16/80W Dimmable Electronic Type T5 Control Unit | 1XT-16/80W Dimmable Electronic Type T5 Control Unit | No | 1 |  |  |
|  | 1X80w Open Channel T5 Elb | 1X80w Open Channel T5 Elb | No | 1 |  |  |
|  | Type -B3 Dimmable Electronic Type T5 Control Unit | Type -B3 Dimmable Electronic Type T5 Control Unit | No | 1 |  |  |
|  | TC-DEL-26/21 -840 TCO electronic Control gear | TC-DEL-26/21 -840 TCO electronic Control gear | No | 1 |  |  |
|  | TC-DEL-26/21-840 Battery Pack | TC-DEL-26/21-840 Battery Pack | No | 1 |  |  |
|  | TC-L 24/ 21-840 2G11 | TC-L 24/ 21-840 2G11 | No | 1 |  |  |
|  | 4xT-16/24w Qti Dali 4X24/21-840/Dim Control electronic gear | 4xT-16/24w Qti Dali 4X24/21-840/Dim Control electronic gear | No | 1 |  |  |
|  | 4x TC-L-24/21-840 (actilume) Qti Dali 4X24/21 -840Dim Control Unit and dimmable control gear | 4x TC-L-24/21-840 (actilume) Qti Dali 4X24/21 -840Dim Control Unit and dimmable control gear | No | 1 |  |  |
|  | 3xT-16/24w Qti Dali 3X24/21-840 dimmable electronic gear | 3xT-16/24w Qti Dali 3X24/21-840 dimmable electronic gear | No | 1 |  |  |
|  | 3xTC-L-36 /21-840 Qti Dali 3X36/21-840 Dim | 3xTC-L-36 /21-840 Qti Dali 3X36/21-840 Dim | No | 1 |  |  |
|  | T-16/14W 21-840 colour Battery Pack Up | T-16/14W 21-840 colour Battery Pack Up | No | 1 |  |  |
|  | 2XT-16/54W Tridonic Acto EMG DLB 2X28/454 T5 electronic Control gear Unit | 2XT-16/54W Tridonic Acto EMG DLB 2X28/454 T5 electronic Control gear Unit | No | 1 |  |  |
|  | Tridonic Acto 2XT16-54/21-840 T5 Control Unit | Tridonic Acto 2XT16-54/21-840 T5 Control Unit | No | 1 |  |  |
|  | 16A SSO White Standard Range | 16A SSO White Standard Range | No | 1 |  |  |
|  | 2 xT16/54w CS260 T5 Dim Surface | 2 xT16/54w CS260 T5 Dim Surface | No | 1 |  |  |
|  | Type U EXE 2X54w ZONE 1.2 GLANDS | Type U EXE 2X54w ZONE 1.2 GLANDS | No | 1 |  |  |
|  | Type U1 EXE 2X58w ZONE 1.2 GLANDS EMG | Type U1 EXE 2X58w ZONE 1.2 GLANDS EMG | No | 1 |  |  |
|  | 150W/HPS BULKHEAD | 150W/HPS BULKHEAD | No | 1 |  |  |
|  | 2X9W/BULKHEAD/ TC 9 | 2X9W/BULKHEAD/ TC 9 | No | 1 |  |  |
|  | 250W/HPS High Bay (Super) E40 | 250W/HPS High Bay (Super) E40 | No | 1 |  |  |
|  | 250W/HPS Low Bay (Super) E40 | 250W/HPS Low Bay (Super) E40 | No | 1 |  |  |
|  | 250W/HPS Floodlight (Super) E40 | 250W/HPS Floodlight (Super) E40 | No | 1 |  |  |
|  | 12F 2x36W/F Zone 2 G13 | 12F 2x36W/F Zone 2 G13 | No | 1 |  |  |
|  | 20X 600W/HPS Floodlight (Super) E40 | 20X 600W/HPS Floodlight (Super) E40 | No | 1 |  |  |
|  | 4xT-16/80W G5 | 4xT-16/80W G5 | No | 1 |  |  |
|  | 100W HPST/HO/E10090 LED EMG 12VBULKHEAD | 100W HPST/HO/E10090 LED EMG 12VBULKHEAD | No | 1 |  |  |
|  | 100W HPS-T HO/EM12W 10090/LED Maintained Emergency LED Bulk head c/w lamp | 100W HPS-T HO/EM12W 10090/LED Maintained Emergency LED Bulk head c/w lamp | No | 1 |  |  |
|  | 100W HPS-T HO/EM12W 10090/LED/Z22 Maintained Emergency LED Bulk head c/w lamp, for Zone 22 | 100W HPS-T HO/EM12W 10090/LED/Z22 Maintained Emergency LED Bulk head c/w lamp, for Zone 22 | No | 1 |  |  |
|  | 2X58W/F Batten Maintained Emergency EM; incl. Wing reflector | 2X58W/F Batten Maintained Emergency EM; incl. Wing reflector | No | 1 |  |  |
|  | 100W HPS-T HO/Z22 Bulk head c/w HST 100W lamp, rated for Zone 22 applications. | 100W HPS-T HO/Z22 Bulk head c/w HST 100W lamp, rated for Zone 22 applications. | No | 1 |  |  |
|  | Zone 2 250-Watt Floodlights | Zone 2 250-Watt Floodlights | No | 1 |  |  |
|  | TC-DEL 26 | TC-DEL 26 | No | 1 |  |  |
|  | VLN 258 ZONE 2 | VLN 258 ZONE 2 | No | 1 |  |  |
|  | TC-DEL13 840 G24 q-1 | TC-DEL13 840 G24 q-1 | No | 1 |  |  |
|  | TC-DEL 18W | TC-DEL 18W | No | 1 |  |  |
|  | HPST 600W/HO / 600 HST-MF | HPST 600W/HO / 600 HST-MF | No | 1 |  |  |
|  | LAMP HPST 250W/HO, 00171 E40 | LAMP HPST 250W/HO, 00171 E40 | No | 1 |  |  |
|  | LAMP HIT 250W CLEAR TUBULAR, METAL HALIDE | LAMP HIT 250W CLEAR TUBULAR, METAL HALIDE | No | 1 |  |  |
|  | T-16/80W Plus EMG | T-16/80W Plus EMG | No | 1 |  |  |
|  | LAMP HPST 100W/HO, 00169 E40 FOR BULKHEAD STND & EMG | LAMP HPST 100W/HO, 00169 E40 FOR BULKHEAD STND & EMG | No | 1 |  |  |
|  | IGNITOR Z35/400W FOR 250W HPS | IGNITOR Z35/400W FOR 250W HPS | No | 1 |  |  |
|  | IGNITOR 600-1000W 600W HPST/HO | IGNITOR 600-1000W 600W HPST/HO | No | 1 |  |  |
|  | CHOKE HS 600W 230/240V | CHOKE HS 600W 230/240V | No | 1 |  |  |
|  | CHOKE HS 250 230/240V OHS 250 FOR BEKABAY 250W HPS | CHOKE HS 250 230/240V OHS 250 FOR BEKABAY 250W HPS | No | 1 |  |  |
|  | CHOKE 26W TC - DEL, MATCH BOX FOR SERIES - 71126 | CHOKE 26W TC - DEL, MATCH BOX FOR SERIES - 71126 | No | 1 |  |  |
|  | CHOKE EL 36W EXPLOSION PROOF FOR PROTECTALINE 2X36 ZONE 1 | CHOKE EL 36W EXPLOSION PROOF FOR PROTECTALINE 2X36 ZONE 1 | No | 1 |  |  |
|  | CHOKE 18 PL 230V EC18W A27, BALLASTS 230V L 18D 230 FOR SERIES - 21118 | CHOKE 18 PL 230V EC18W A27, BALLASTS 230V L 18D 230 FOR SERIES - 21118 | No | 1 |  |  |
|  | CAPACITOR 105 C STUD/60MF/250V FOR 600W HPS | CAPACITOR 105 C STUD/60MF/250V FOR 600W HPS | No | 1 |  |  |
|  | CAPACITOR 105 C STUD/30MF/250V FOR 250W HPST/HO | CAPACITOR 105 C STUD/30MF/250V FOR 250W HPST/HO | No | 1 |  |  |
|  | CAPACITOR M8 STUD/45MF/250V FOR 1000W HPST | CAPACITOR M8 STUD/45MF/250V FOR 1000W HPST | No | 1 |  |  |
|  | CAPACITOR M8 STUD/10MF/250V FOR 1000W HPST | CAPACITOR M8 STUD/10MF/250V FOR 1000W HPST | No | 1 |  |  |
|  | CAPACITOR M8 STUD/30MF/250V FOR BEKATEC SDS 250W MH | CAPACITOR M8 STUD/30MF/250V FOR BEKATEC SDS 250W MH | No | 1 |  |  |
|  | CAPACITOR M8 STUD/12MF/250V FOR BULKHEADS - STD & EMG | CAPACITOR M8 STUD/12MF/250V FOR BULKHEADS - STD & EMG | No | 1 |  |  |
|  | LH E40/PORC/SCREW STRADA/SUN, 29.401.3700.00 600W HPST/HO | LH E40/PORC/SCREW STRADA/SUN, 29.401.3700.00 600W HPST/HO | No | 1 |  |  |
|  | Ni - CD 12V 800mAh BATTERY PAC FOR BULKHEADS - STD & EMG | Ni - CD 12V 800mAh BATTERY PAC FOR BULKHEADS - STD & EMG | No | 1 |  |  |
|  | BATTERY PACK 5x1.2V/2AH, 6V, NICAD, SC5T FOR SERIES TC DEL 26W | BATTERY PACK 5x1.2V/2AH, 6V, NICAD, SC5T FOR SERIES TC DEL 26W | No | 1 |  |  |
|  | BEKANOVA DIFF POL ASS, UNPAINTED FOR BULKHEADS - STD & EMG | BEKANOVA DIFF POL ASS, UNPAINTED FOR BULKHEADS - STD & EMG | No | 1 |  |  |
|  | DIFFUSER 7 SER B/H FACET ACR FOR SERIES - 71126 | DIFFUSER 7 SER B/H FACET ACR FOR SERIES - 71126 | No | 1 |  |  |
|  | ECG T8 2X58W ZONE2, RESIN ENCAPSULATED, L410MM FOR VLN 258 ZONE 2 | ECG T8 2X58W ZONE2, RESIN ENCAPSULATED, L410MM FOR VLN 258 ZONE 2 | No | 1 |  |  |
|  | EM INVERTER TLX/1HR, 6-65W, 1HR, 5x2AH FOR SERIES - 21118 | EM INVERTER TLX/1HR, 6-65W, 1HR, 5x2AH FOR SERIES - 21118 | No | 1 |  |  |
|  | GASKET SIL SPONGE 11x5 PRL400W FOR 250W HPST/HO | GASKET SIL SPONGE 11x5 PRL400W FOR 250W HPST/HO | No | 1 |  |  |
|  | GASKET SIL PRL 1000 GLASS FOR PROJECTOLUX 600W HPST/HO | GASKET SIL PRL 1000 GLASS FOR PROJECTOLUX 600W HPST/HO | No | 1 |  |  |
|  | GLASS PRL 400W, 307x440x4 FOR 250W HPST/HO | GLASS PRL 400W, 307x440x4 FOR 250W HPST/HO | No | 1 |  |  |
|  | GLASS PRL 1KW, 504 X 410 X 4 FOR PROJECTOLUX 1000W HPST | GLASS PRL 1KW, 504 X 410 X 4 FOR PROJECTOLUX 1000W HPST | No | 1 |  |  |
|  | GLASS S.D. 400W, 385x370x4 -2X8MM HOLES FOR BEKATEC SDS 250W MH | GLASS S.D. 400W, 385x370x4 -2X8MM HOLES FOR BEKATEC SDS 250W MH | No | 1 |  |  |
|  | BALLAST, LAMP: TYPE: ELECTRONIC; LAMP ACCOMMODATION QUANTITY: 2; LAMP STYLE: T5; BALLAST STYLE: FLUORESCENT; POWER: 35W; POTENTIAL: 230 V CURRENT: 0.35A; LENGTH: 21.27MM; HEIGHT: 21 MM; MOUNT: SCREW FLAT, WIDTH:30MM, REFERENCE NO: ELXC235 | BALLAST, LAMP: TYPE: ELECTRONIC; LAMP ACCOMMODATION QUANTITY: 2; LAMP STYLE: T5; BALLAST STYLE: FLUORESCENT; POWER: 35W; POTENTIAL: 230 V CURRENT: 0.35A; LENGTH: 21.27MM; HEIGHT: 21 MM; MOUNT: SCREW FLAT, WIDTH:30MM, REFERENCE NO: ELXC235 | No | 1 |  |  |
|  | IGNITER: Z 1000 | IGNITER: Z 1000 | No | 1 |  |  |
|  | Magsol pro 80W complete | Magsol pro 80W complete | No | 1 |  |  |
|  | TT-TL-0400 | TT-TL-0400 | No | 1 |  |  |
|  | TTBat 54 batteries | TTBat 54 batteries | No | 1 |  |  |
|  | TTBC Dual battery charger | TTBC Dual battery charger | No | 1 |  |  |

Note:

The contract period is for 5 years, all the quantities are subject to change thereof.

# Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Purchaser’s Goods Information |  |
| C3.2 | Supplier’s Goods Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

# C3.1: Purchaser’s Goods Information

Contents

Part 3: Scope of Work	13

C3.1: Purchaser’s Goods Information	14

1	Overview and purpose of the goods and services	15

2	Specification and description of the goods	15

2.1	Purchaser’s design	15

2.2	Procedure for submission and acceptance of Supplier’s design	15

2.3	Other requirements of the Supplier’s design	15

2.4	Use of Supplier’s design	16

2.5	Manufacture & fabrication	16

2.6	Factory acceptance testing (FAT)	16

2.7	Other tests and inspections and commissioning in place of use	16

2.8	Operating manuals and maintenance schedules	16

3	Supply Requirements	17

4	Specification of the services to be provided	17

5	Constraints on how the Supplier Provides the Goods	17

5.1	Programming constraints	17

5.2	Work to be done by the Delivery Date	17

5.3	Marking the goods	18

5.4	Constraints at the delivery place and place of use	18

5.5	Cooperating with Others	18

5.6	Services & other things to be provided by the Purchaser or Supplier	19

5.7	Management meetings	19

5.8	Documentation control	19

5.9	Health and safety risk management	19

5.10	Environmental constraints and management	20

5.11	Quality	20

5.12	Invoicing and payment	20

5.13	Insurance provided by the Purchaser	20

5.14	Contract change management	21

5.15	Provision of bonds and guarantees	21

5.16	Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier	21

6	Procurement	21

6.1	Subcontracting	21

6.1.1	Preferred subcontractors	21

6.1.2	Limitations on subcontracting	21

6.1.3	Spares and consumables	21

6.1.4	Other requirements related to procurement	22

6.1.5	Cataloguing requirements	22

7	List of drawings	22

7.1	Drawings issued by the Purchaser	22

C3.2	Supplier’s Goods Information	1

# Overview and purpose of the goods and services

Medupi Power Station intend to establish a contract for the supply and delivery of Lighting & Small Power spares contract on an as and when required basis for a period of 5 years.  The contract will address all the requirements of Lighting and Small Power.

# Specification and description of the goods

The specification of the goods is provided as Annexure A

## Purchaser’s design

Unless obsolete, the spare must be the same (e.g. same Part Number / serial number) as specified on this works information or contract and/or scope of work and the part number will also be used to perform quality control checks. Unless an alternative spare is proposed the required spares shall be the same, in all aspects, as the original components. The spares shall also conform to the same specifications as the original components. This includes all aspects such as design, materials and material specifications, manufacturing and manufacturing processes, testing, and operating and storage specification.

Where equipment or spares, including the whole assembly, have been upgraded/modified, the Supplier shall indicate this to the Employer as part of the tender. The Employer shall be made aware immediately where the upgrade/modification to the component is only identified subsequent to the tender being issued. The detailed compatibility to the existing component shall be indicated including changes required to fit the upgraded/modified spare. This includes hardware, firmware, and software upgrade/modification. Approved alternative components shall be accepted provided they comply with the requirements.

If the components to be supplied will be obsolete, or envisaged to be obsolete, in the 5 years subsequent to tender being issued, the Supplier shall indicate this to the Employer and indicate viable alternatives thereof. Written evidence or proof from the OEM/Authorised distributor shall be submitted to the Employer stating the year in which the component will/has become obsolete.

## Procedure for submission and acceptance of Supplier’s design

The following documentation must be submitted per luminaire offered once the contractor is:

- Proof of compliance to the SANS 60598-1 (by accredited laboratory)

- Proof of compliance to the SANS 475 (by accredited laboratory)

- Proof of compliance to the EN 55015 (by accredited laboratory)

- Completed technical Schedule B in Appendix 1, in Eskom Generation Power Station Lighting and Small Power Installation Standard 240-55714363

- IES and/or LTD files supplied in electronic format. Proposed Relux simulation (electronic .RDF file)

- Photometric test reports per luminaire offered. (by reputable accredited laboratory)

- Luminaire guarantee certificate.

- Certificate indicating lead time for delivery from date of order

- Luminaire maintenance strategy.

- No luminaire will be approved or tested if these test reports are not provided.

- Provide data sheet

## Other requirements of the Supplier’s design

Eskom Generation Power Station Lighting and Small Power Installation Standard 240-55714363 must be followed such as the following:

## Luminaire samples to be submitted – Compulsory once the contract is awarded to ensure that to photometric, electrical and magnetic interference performance test are done and meet Eskom and SABS are met

One sample of all different luminaires that is proposed must accompany each submission for inspection and to undergo photometric, full electrical and electromagnetic interference performance tests in the Eskom RT&D laboratories to verify compliance to the photometric, electrical and electromagnetic interference data submitted.

All samples not meeting the set criteria can be returned on request. Samples that met the set criteria will be retained for reference purposes for the period the luminaire will be considered acceptable (typically a period of five years).

## Use of Supplier’s design

Refer to scope of work 240-87840666 Medupi Power Station Lighting & Small Power Spares Procurement Contract and Eskom Generation Power Station Lighting and Small Power Installation Standard 240-55714363.

## Manufacture & fabrication

Unless an alternative spare is proposed the required spares shall be the same, in all aspects, as the original components mentioned in the scope of work. The spares shall also conform to the same specifications as the original components. This includes all aspects such as design, materials and material specifications, manufacturing and manufacturing processes, testing, and operating and storage specifications.

## Factory acceptance testing (FAT)

The supplier shall ensure all the tests reports for critical spares are submitted during delivery of the spares.

Completed technical Schedule B in Appendix 1 of 240-55714363 Eskom Generation Power Station Lighting and Small Power Standard

- IES and/or LTD files supplied in electronic format.

- Proposed Relux simulation (electronic .RDF file)

- Photometric test reports per luminaire offered. (by reputable accredited laboratory)

- Luminaire guarantee certificate.

## Other tests and inspections and commissioning in place of use

Refer to scope of work 240-87840666 Medupi Power Station Lighting & Small Power Spares Procurement Contract and 240-55714363 Eskom Generation Power Station Lighting and Small Power Standard.

## Operating manuals and maintenance schedules

Consideration should be given to obtaining operating manuals and maintenance schedules before Delivery of the whole of the goods if any when there is still financial incentive for the Supplier to do so.  Luminaire maintenance strategy to be provided.

# Supply Requirements

- Provide a quotation for each listed spare item in BOQ in Appendix C

- Supply procured spares as requested by the Employer.

- Provide spares technical information/ datasheets/ test sheets/results and/or product brochures in accordance with this SOW. Timeously inform the Employer of any delays or when outstanding or additional information from the Employer is required.

- Responsible to ensure that a quality product is delivered.

- Responsible to ensure that every effort is made to keep to the agreed program and delivery plan.

- Provide Materials Management with populated DCFs for cataloguing of spares and record keeping.

- Conform to all the other requirements stipulated in this document.

- All supplier employees entering site for spares delivery shall comply with Eskom’s policies and site regulations, adherence to Eskom’s Life Saving Rules, adherence to Generation Occurrence Management Procedure, Smoking Policy, zero tolerance on alcohol usage, etc. These requirements will be detailed during the induction training process.

- Ensure that all staff brought onto site in connection with this SOW should be able to fluently.

- speak, understand, and write in English language.

- Luminaire samples must be submitted

The following documentation must be submitted per luminaire offered once the contractor is:

- Proof of compliance to the SANS 60598-1 (by accredited laboratory)

- Proof of compliance to the SANS 475 (by accredited laboratory)

- Proof of compliance to the EN 55015 (by accredited laboratory)

- Completed technical Schedule B in Appendix 1, in Eskom Generation Power Station Lighting and Small Power Installation Standard 240-55714363

- IES and/or LTD files supplied in electronic format. Proposed Relux simulation (electronic .RDF file)

- Photometric test reports per luminaire offered. (by reputable accredited laboratory)

- Luminaire guarantee certificate.

- Certificate indicating lead time for delivery from date of order

- Luminaire maintenance strategy.

- No luminaire will be approved or tested if these test reports are not provided.

- Provide data sheet

# Specification of the services to be provided

# Constraints on how the Supplier Provides the Goods

## Programming constraints

- Employer to be informed in time if the supply plan to make early delivery.

- Contractor’s vehicles to be road worthy before they can be used to deliver spares to the station.

## Work to be done by the Delivery Date

- Supplier to quote Medupi Power Station’s official purchase order in all delivery notes and invoices.

- Lighting & Small Power Spares must be well packaged and safely transported.

- Medupi Power Station’s main store to acknowledge receipt of goods by stamping and signing the delivery note of the supplier upon delivery.

- Items that require quality inspection, will be booked for quality inspection to be performed by the end user.

- Only Lighting & Small Power Spares that meet the specification will be accepted.

- Items identified for wrong specifications will be rejected and rejected items to be communicated to the supplier to make collection and deliver the correct items within 14 days.

## Marking the goods

All supplied spares shall be packaged in such a manner that they will be transported and stored without damage. This includes preventing damage or degradation due to moisture ingress, dust, ultraviolet light, and foreign objects.  The Eskom Power Station Essential System Spares Preservation shall be used in addition to the Contractor Transportation and Storage procedures.

Different spare types shall be packaged separately such that each spare type can be stored separately.  Packaging shall be such that the spare can be identified without opening the packaging. Packaging shall be of material that will not be damaged, to an extent possible, by harsh weather conditions during transportation. If that is not possible, then the packaging shall be protected against such conditions.

Where possible, packaging to be such that procured spares can be positively identified through the packaging. Where this is not possible, the packaging to be such that it allows opening and

Delivery packaging shall include as a minimum the following details:

a.   Purchase Order Number

b.   Part Description, Serial Number

c.   Eskom SAP Material number

d.   Drawing number, where applicable

e.   Physical address for Medupi Power Station and the Supplier

f.    Contact details of the Supplier

g.   Delivery notes number

## Constraints at the delivery place and place of use

Supplier must follow Eskom Life Saving Rules when delivering goods to Medupi Power Station.

1. Buckle up

No person may drive any vehicle on Eskom business and/or on Eskom premises:

- Unless the driver and all passengers are wearing seat belts

2. Be Sober

- No person is allowed drive any vehicle on Eskom premises while under the influence of drugs and/or alcohol

Medupi Power Station’s main store delivery times are as follows:

08h00 A.M to 15h30 P.M Monday to Thursday

08h00 A.M to 11h30 A.M on Friday

No delivery will be accepted afterhours, weekends and including public holidays, unless the Supplier has

requested the Purchaser in writing prior to delivery to site.

## Cooperating with Others

Supplier shall make the purchaser aware of any cooperation with other suppliers if it will impact the delivery of spares i.e., transport arrangement. The supplier must speak English Fluently.

## Services & other things to be provided by the Purchaser or Supplier

Refer to scope of work 241-2022842 Medupi Power Station Chloride Lighting & Small Power spares supply & delivery contract scope of work.

## Management meetings

Management and Reporting

a.   The Contractor to be represented at any ad-hoc meetings that may arise to address any scope and safety related matters.

b.   Liaison meetings shall be held with the Employer’s Representative or his/her delegate on as and when required basis to discuss any technical details, or concerns. Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | On quarterly basis | Teams | Employer’s representative and supplier |
| Overall contract progress and feedback | On quarterly basis | Teams | Purchaser, Supplier, and ___ |

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Documentation control

- During the tender process a quality criterion will be defined that the Contractor must comply to.

- The Contractor shall ensure that any witness, hold, and inspection points are strictly adhered to.

- All Quality References and Standards as stipulated in this document will be adhered to.

- The Contractor to comply with the Employer’s quality documentation management system and processes.

## Health and safety risk management

The Supplier shall comply with the following requirements governing health and safety in Eskom and South Africa:

- Basic Conditions of Employment Act No 75 of 1997.

- Occupational Health and Safety Act and Regulations No 85 of 1993.

- National Road Traffic Act 93 of 1996.

- 32-37 Eskom Substance Abuse Procedure.

- 240-62196227 Life- Saving Rules.

- 32-727 SHEQ Policy

- 240-62946386 Vehicle and Driver Safety Management Procedure

- 32-520 Risk Assessment procedure

- COIDA Act

## Environmental constraints and management

- The Supplier shall comply with all applicable environmental laws, permits, regulations and rules, guidelines and Environmental procedures for Eskom.

- Supply to ensure that waste receptacles are provided where required. Waste disposal shall be a responsibility of the client.

## Quality

The Supplier shall comply with all applicable Quality laws, regulations and rules, guidelines, and Quality procedures for Eskom. Medupi Power Station is certified for ISO 9001:2015.

## Invoicing and payment

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.

The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

Name and address of the Supplier and the Supply Manager;

The contract number and title;

Supplier’s VAT registration number;

The Purchaser’s VAT registration number.

Description of goods and services provided for each item invoiced based on the Price Schedule;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

(add other as required)

## Insurance provided by the Purchaser

| Name and Surname | Contact Details | e-mail address |
| --- | --- | --- |
| Mr Wiseman Khoza | +27 11 800 6268 | Wiseman.khoza@eskom.co.za |
| MR Krishan Chaithoo | +27 11 800 4455 | ChaithK@eskom.co.za |
| Ms Thembi Mabanga | +27 11 800 6509 | thembi.mabanga@eskom.co.za |
| Ms Mamosidi Katane- Mathibela | +27 11 800 6380 | KataneE@eskom.co.za |
| Mr Velaphi Mabaso | +27 11 800 3836 | Velaphi.mabaso@eskom.co.za |
| Ms Beverley Jemaine-Cain | +27 11 800 3331 | Beverley.jemaine-cain@eskom.co.za |

## Contract change management

In case of compensation event either party will notify the other. Then the NEC 3 TSC compensation event process will be followed. No work to be done until Purchaser provide permission.

## Provision of bonds and guarantees

The Purchaser may withhold payment of amounts due to the Supplier until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Supplier by the Supply Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Supplier does not affect the Purchaser’s right to termination stated in this contract.

## Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier

# Procurement

## Subcontracting

### Preferred subcontractors

SC does not make use of nominated subcontracting, but the Purchaser may list which subcontractors or sub-suppliers the Supplier is required to enter into subcontracts with (if any).  This is usually only required where plant and materials need to be obtained from a particular supplier or group of suppliers in order to comply with operational standards for the goods.

### Limitations on subcontracting

The Purchaser may require that the Supplier must subcontract certain specialised work, or that the Supplier shall not subcontract more than a specified proportion of the whole of the contract.

### Spares and consumables

N/A

### Other requirements related to procurement

Other requirements such as ASGISA or socio political enhancements the Supplier is to provide as part of Providing the Goods and Services (if any) could be included here.

### Cataloguing requirements by the Supplier

The Supplier shall assist the Purchaser in cataloguing the spares provided under this contract. This includes ensuring that all spare parts are properly identified, described, and categorized according to the Purchaser's inventory management system. The Supplier shall provide all necessary technical data, including part numbers, descriptions, specifications, and any other relevant details to facilitate the accurate cataloguing of each spare part.

The Supplier shall also collaborate with the Purchaser to ensure that the cataloguing process is completed in a timely manner and that all information is accurate and up to date. Failure to provide the required information or assistance with cataloguing may result in delays or issues with the acceptance of the spares.

Refer to scope of work 240-87840666 Medupi Power Station Lighting & Small Power Spares Procurement Contract.

# List of drawings

## Drawings issued by the Purchaser

N/A

# C3.2	Supplier’s Goods Information

This section of the Goods Information will always be contract specific depending on the nature of the goods and services. It is most likely to be required for supply contracts where the tendering supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.

This section could also be compiled as a separate file.

This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.

International Chamber of Commerce, Incoterms 2010, Paris, January 2011

Either April 2013 or December 2009 Edition as stated by Purchaser in Contract Data part 1.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902, or www.ecs.co.za